| Company Name: | FUSE CHANGE/RESET PROCEDURES |
| --- | --- |
| Mine Name: |  |

# PREREQUISITE:  Classroom PPT completion

# DUTY 1: PREPARATION/ JOB ASSIGNMENT

Learner will be able to demonstrate how to safely change a fuse or perform a proper reset. Learner will also be able to explain job duties, why they are conducted, any associated risk, and how to implement appropriate controls.

| Job Steps | Importance Narrative (Consider Safety, Production, and Maintenance) | Importance Ranking 1-Important 2-Very important 3-Critical | Satisfactory or Needs Work | Procedures/Risk Resolution/ Notes/Comments |
| --- | --- | --- | --- | --- |
| Properly identify the equipment |  |  |  |  |
| Inspect PPE |  |  |  |  |
| Turn off the power |  |  |  |  |
| Lockout/tag out |  |  |  |  |
| Inspect test equipment |  |  |  |  |
| Verify the circuit |  |  |  |  |

# Duty 2: Fuse change

Learner will be able to demonstrate how to safely perform the job.  Learner will also be able to explain job duties, why they are conducted, any associated risk, and how to implement appropriate controls.

| Job Steps | Importance Narrative (Consider Safety, Production, and Maintenance) | Importance Ranking 1-Important 2-Very important 3-Critical | Satisfactory or Needs Work | Procedure/Risk Resolution Notes/Comments |
| --- | --- | --- | --- | --- |
| (Fuse change only) Open bucket/enclosure |  |  |  |  |
| Test meter on known power source |  |  |  |  |
| Check power |  |  |  |  |
| Remove bad fuse(s) |  |  |  |  |
| Install new fuse(s) |  |  |  |  |
| Visually inspect bucket |  |  |  |  |
| Close door |  |  |  |  |
| Restore power |  |  |  |  |
| Call for start |  |  |  |  |
| Remove bad fuse(s) from area |  |  |  |  |
| Reset procedures |  |  |  |  |
| Reset control circuit |  |  |  |  |
| Ask for start |  |  |  |  |
| Follow procedures for call out if needed |  |  |  |  |

# Duty 3: Clean Up

Learner will be able to demonstrate how to store equipment properly.  Learner will also be able to explain job duties, why they are conducted, any associated risk, and how to implement appropriate controls.

| Job Steps | Importance Narrative (Consider Safety, Production, and Maintenance) | Importance Ranking 1-Important 2-Very important 3-Critical | Satisfactory or Needs Work | Procedure/Risk Resolution Notes/Comments |
| --- | --- | --- | --- | --- |
| Remove PPE |  |  |  |  |
| Return meter |  |  |  |  |
| Store gloves |  |  |  |  |