## Switchboard
|  | Note: |  | Tan cells are unlocked. Make all entries in these cells only. Use UPPERcase.
This Schedule is for use only with major switchboards where all loads are 3-phase and breakers have adjustable-trip settings; 1 breaker per line. Columns are numbered, buckets are lettered. Move between tan cells using the Tab key or mouse. "Save-as" in the form "switchboardname.xls". Import loads up to feeder panel. At bottom, delete color coding not used. Date is Mmm-yy. Only the colored section will print, in 8.5x11 landscape.
[5 empty] | POWER SWITCHBOARD | [5 empty] | LOCATION | [6 empty] | BUILDING | [6 empty] | MAXIMO#
SWITCHBOARD CHARACTERISTICS | [10 empty] | FEEDER INFORMATION | [13 empty] | REVISION LEVEL
| VOLTS |  | AMPS |  |  | WIRE | 4 | NEUTRAL |  | BUS | NO. OF WIRES AND SIZE | [8 empty] | CONDUIT SIZE |  |  |  |  | DATE | BY | LETTER
| MANUFACTURER |  |  |  |  | MOUNTING |  | FREE-STAND |  |  | FEEDER SOURCE | [8 empty] | ENTRANCE
| MODEL | [5 empty] | NEMA TYPE |  | 1 |  | FEEDER BREAKER FRAME | [8 empty] | XFMR RATING
| RATED FAULT WITHSTAND |  |  |  | 65 | KAIC | FAULT DUTY |  |  | KA | FEEDERCIRCUIT # | [5 empty] | AMPS |  |  | VOLTS
| ARC-FLASH HAZARD CATEGORY |  |  |  |  | SPECIFICATIONS: ALL LOADS 3-PHASE UNLESS OTHERWISE SHOWN. MEET ALL PROVISIONS OF SPECIAL SPECIFICATION.
ADDITIONAL NOTES:
R | B | CIRCUIT | [11 empty] | PLUG SETTINGS |  |  |  |  | OPTIONS
E | K | BREAKER |  | BUCKET NAMEPLATE | [6 empty] | AMPS |  |  | LONG | TIME | SHORT | TIME | INST. | GND | ELEC | KIRK | C. L. | REMARKS
V | T | TYPE | [8 empty] | FRAME | TRIP | LOAD | P. U. | DELAY | P. U. | DELAY | P. U. | FLT | OPR | KEY | FUSE
1A
1B
1C
1D
| 1E | [7 empty] | `
1F
1G
1H
2A
2B
2C
2D
2E
2F
2G
2H
3A
3B
3C
3D
3E
3F
3G
3H
| 120/208 COLOR CODING |  |  |  |  | 277/480 COLOR CODING | [6 empty] | 0 | TOTAL LOAD, 3-PHASE | [9 empty] | MEDIUM-VOLTAGE CODING
| A-BLACK, B-RED, C-BLUE |  |  |  |  | A-BROWN, B-ORANGE, C-YELLOW | [17 empty] | PHASES - ALPHANUMERIC TAGS
| NEUTRAL-WHITE (IF USED) |  |  |  |  | NEUTRAL-GRAY (IF USED) | [17 empty] | GROUND - GREEN OR BARE
| GROUND - GREEN |  |  |  |  | GROUND-GREEN W/YELLOW TRACER | [7 empty] | Switchboard Schedule modified Oct 08 by Hoe | [9 empty] | Printed: | 2008-11-19
q
ac51