## Comments-MT
COMPARISON OF GENERATOR DATABASES -- MONTANA
COMMENTS-Montana
| Plant Name | Unit | Location | Fuel | SummerE Capacity | SummerW Capacity | NP Capacity | Plant NP Capacity Subtotal | Comments
NATURAL GAS
0
COAL
BGI 1 in CEC; cross ref to (19) replacing Yellowstone Energy in WECC
1 | Colstrip | 1 | Colstrip MT | BIT | 307 | 307 | 358.4
2 | Colstrip | 2 | Colstrip MT | BIT | 307 | 307 | 358.4
3 | Colstrip | 3 | Colstrip MT | BIT | 740 | 740 | 778
4 | Colstrip | 4 | Colstrip MT | BIT | 740 | 740 | 778 | 2272.8
5 | J.E. Corette | 1 | Billings MT | BIT | 160 | 160 | 163 | 163 | Name=J.E. Corette
6 | Thompson River | 1 |  | Coal/Wood | 12.5 |  | 16.5 |  | New plant; Fuel=coal and wood waste
OIL
7 | [8 empty] | Located in WY
8 | [8 empty] | Located in WY
9 | [8 empty] | Located in WY
10 | [8 empty] | Located in WY
11 | [8 empty] | Located in WY
OTHER
12 | Montana 1 | 1 | Colstrip MT | WC | 39 | 39 | 41.5 | 41.5 | aka Colstrip1 Energy in WECC; QF owned by Colstrip Energy LP; fuel=waste coal
13 | Helena Waste | 1 | Helena MT | MSW | 0 | 0 |  | 0 | Helena Waste 150 kW, only used for emergency power; does not feed into grid
14 | [8 empty] | Libby units retired
14 | [8 empty] | Libby units retired
16 | [8 empty] | Mariah wind (Genesys) not confirmed; see wind comments below
17 | [8 empty] | Misc. Wind-Livingston; See below for comments on wind
18 | [8 empty] | CEC listed Montana1; substituted for WECC Colstrop1 Energy in (12)
19 | BGI 1 | 1 | Billings MT | PC | 57 | 57 | 65 | 65 | aka Yellowstone Energy in WECC; QF owned by Yellowstone Energy LP; fuel=waste coke
| Total MW | [6 empty] | 2542.3
Located in PNW; State Undetermined
| General Chemical | 1 | Little Am. | NG | 32 | 32 |  | Not located in MT
| HYDRO--WECC | [6 empty] | COMMENTS
| Big Fork | 1 | Flathead County MT | WAT | 1.7 | 1.7 | 1.7 | Name is "Bigfork Dam" not "Big Fork"
| Big Fork | 2 | Flathead County MT | WAT | 1.7 | 1.7 | 1.7
| Big Fork | 3 | Flathead County MT | WAT | 0.75 | 0.75 | 0.75
| Black Eagle | 1 | Great Falls MT | WAT | 6 | 6 | 7.84 | DEC lists Black Eagle as 24 MW nameplate
| Black Eagle | 2 | Great Falls MT | WAT | 6 | 6 | 7.84
| Black Eagle | 3 | Great Falls MT | WAT | 7 | 7 | 5.6
| Boulder Creek | 1 | Lake CO MT | WAT | 0.35 | 0.35 | 0.35
| Broadwater Dam | 1 | Toston MT | WAT | 6 | 6 | 9.66
| Cochrane | 1 | Great Falls MT | WAT | 26 | 26 | 24
| Cochrane | 2 | Great Falls MT | WAT | 26 | 26 | 24
| Hauser | 1 | Helena MT | WAT | 2 | 2 | 2.8
| Hauser | 2 | Helena MT | WAT | 2 | 2 | 2.8
| Hauser | 3 | Helena MT | WAT | 3 | 3 | 2.8
| Hauser | 4 | Helena MT | WAT | 3 | 3 | 2.8
| Hauser | 5 | Helena MT | WAT | 3 | 3 | 2.8
| Hauser | 6 | Helena MT | WAT | 3 | 3 | 3
| Hellroaring Hydro | 1 | Lake CO MT | WAT | 0.2 | 0.2 | 0.18
| Hellroaring Hydro | 2 | Lake CO MT | WAT | 0.2 | 0.2 | 0.18
| Holter | 1 | Wolf Creek MT | WAT | 9 | 9 | 9.6
| Holter | 2 | Wolf Creek MT | WAT | 9 | 9 | 9.6
| Holter | 3 | Wolf Creek MT | WAT | 9 | 9 | 9.6
| Holter | 4 | Wolf Creek MT | WAT | 9 | 9 | 9.6
| Hungry Horse | 1 | SF Flathead MT | WAT | 106 | 106 | 107
| Hungry Horse | 2 | SF Flathead MT | WAT | 106 | 106 | 107
| Hungry Horse | 3 | SF Flathead MT | WAT | 106 | 106 | 107
| Hungry Horse | 4 | SF Flathead MT | WAT | 106 | 106 | 107
| Hutchinson Creek | 1 | Hutchinson CR | WAT | 1 | 1 | 1 | Not located in MT
| Hutchinson Creek | 2 | Hutchinson CR | WAT | 0 | 0 | 1 | Not located in MT
| Hutchinson Creek | 3 | Hutchinson CR | WAT | 0 | 0 | 1 | Not located in MT
| Hutchinson Creek | 4 | Hutchinson CR | WAT | 0 | 0 | 1 | Not located in MT
| Kerr | 1 | Polson MT | WAT | 60 | 60 | 70.56
| Kerr | 2 | Polson MT | WAT | 60 | 60 | 70.56
| Kerr | 3 | Polson MT | WAT | 60 | 60 | 70.56
| Lake Creek | 1 | Libby MT | WAT | 1.2 | 1.2 | 1
| Lake Creek | 2 | Libby MT | WAT | 3.5 | 3.5 | 3.5
| Libby | 1 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
| Libby | 2 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
| Libby | 3 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
| Libby | 4 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
| Libby | 5 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
| Madison | 1 | Ennis MT | WAT | 2 | 2 | 2.25
| Madison | 2 | Ennis MT | WAT | 2 | 2 | 2.25
| Madison | 3 | Ennis MT | WAT | 2 | 2 | 2.25
| Madison | 4 | Ennis MT | WAT | 2 | 2 | 2.25
| Milltown | 1 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64 | Milltown dam down to 2.4 MW and will be removed entirely as part of Superfund project
| Milltown | 2 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown | 3 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown | 4 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown | 5 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Misc. Hydro | (10) | MT | WAT | 3 | 3
| Morony | 1 | Great Falls MT | WAT | 24 | 24 | 22.5
| Morony | 2 | Great Falls MT | WAT | 24 | 24 | 22.5
| Mystic | 1 | Fishtail MT | WAT | 5.5 | 5.5 | 5 | DEC lists Mystic as 12.5 nameplate
| Mystic | 2 | Fishtail MT | WAT | 5.5 | 5.5 | 5
| Noxon Rapids | 1 | Clark Fork R MT | WAT | 100 | 100 | 91.8
| Noxon Rapids | 2 | Clark Fork R MT | WAT | 100 | 100 | 76.8
| Noxon Rapids | 3 | Clark Fork R MT | WAT | 100 | 100 | 91.8
| Noxon Rapids | 4 | Clark Fork R MT | WAT | 100 | 100 | 91.8
| Noxon Rapids | 5 | Clark Fork R MT | WAT | 127 | 127 | 114
| P.E.C. Headworks | 1 | Moses Lake | WAT | 7 | 7 | 6.65 | PEC Headworks not in MT
| Rainbow | 1 | Great Falls MT | WAT | 5 | 5 | 4
| Rainbow | 2 | Great Falls MT | WAT | 5 | 5 | 4
| Rainbow | 3 | Great Falls MT | WAT | 5 | 5 | 4
| Rainbow | 4 | Great Falls MT | WAT | 5 | 5 | 4
| Rainbow | 5 | Great Falls MT | WAT | 5 | 5 | 4
| Rainbow | 6 | Great Falls MT | WAT | 5 | 5 | 4
| Rainbow | 7 | Great Falls MT | WAT | 5 | 5 | 5.8
| Rainbow | 8 | Great Falls MT | WAT | 5 | 5 | 5.8
| Ryan | 1 | Great Falls MT | WAT | 10 | 10 | 8
| Ryan | 2 | Great Falls MT | WAT | 10 | 10 | 8
| Ryan | 3 | Great Falls MT | WAT | 10 | 10 | 8
| Ryan | 4 | Great Falls MT | WAT | 10 | 10 | 8
| Ryan | 5 | Great Falls MT | WAT | 10 | 10 | 8
| Ryan | 6 | Great Falls MT | WAT | 10 | 10 | 8
| Strawberry Creek | 1 | MT | WAT | 0.5 | 0.5 | 0.5 | Strawberry Creek -- 190 kW QF facility in NEW QF. It's not the 1.5 MW listed in WECC
| Strawberry Creek | 2 | MT | WAT | 0.5 | 0.5 | 0.5
| Strawberry Creek | 3 | MT | WAT | 0.5 | 0.5 | 0.5
| Thompson Falls | 1 | Clark F R MT | WAT | 5.5 | 5.5 | 7 | DEQ lists Thompson Falls as 87.5 nameplate
| Thompson Falls | 2 | Clark F R MT | WAT | 5.5 | 5.5 | 7
| Thompson Falls | 3 | Clark F R MT | WAT | 5.5 | 5.5 | 7
| Thompson Falls | 4 | Clark F R MT | WAT | 5.5 | 5.5 | 7
| Thompson Falls | 5 | Clark F R MT | WAT | 5.5 | 5.5 | 7
| Thompson Falls | 6 | Clark F R MT | WAT | 5.5 | 5.5 | 7
| Thompson Falls | 7 | Clark F R MT | WAT | 52 | 52 | 49.95
Omitted from WECC Hydro list:
[8 empty] | Canyon Ferry | Bureau of Rec; 49.8 MW nameplate; 58.9 MW summer capability
[8 empty] | Ft. Peck | Corps of Engineers; 3 of 5 unites (118 MW of 185.3 MW nameplate)
can be shifted btw east and west grids; about 40% goes west.
[8 empty] | South Dry Creek | 2 MW NEW QF
[8 empty] | Tiber Dam | 7.5 MW; new dam, included in Genesys
[8 empty] | Yellowtail | Bureau of Rec; 250 MW nameplate; 288 MW summer capability
2 of 4 units can go east grid but normally don't
| WIND | [6 empty] | COMMENTS
WECC data
| Misc. Wind | (3) | NR Livingston MT | WND | 0 | 0
Genesys data
| Mariah |  |  |  | 0.1
MT DEQ lacks good wind data
NCAT lists 896 kW of small wind; largest machines as follow:
Browning, MT -- 100 kW
Livingston, MT -- 4 machines, 65 kW each
Other facilities:
Two Dot, MT -- 455 kW (7x 65 kW)
Martinsdael, MT -- 715 kW (11 x 65 kW)

## Compare-MT
COMPARISON OF GENERATOR DATABASES -- MONTANA
| COMMENTS-Montana | [8 empty] | WECC-Montana | [7 empty] | CEC-Montana | [5 empty] | SSGWI-Montana |  |  |  |  | Genesys-Montana
| Plant Name | Unit | Location | Fuel | SummerE Capacity | SummerW Capacity | NP Capacity | Plant NP Capacity Subtotal | COMMENTS | Plant Name | Unit | Location | Fuel | SummerE Capacity | SummerW Capacity | NP Capacity | Plant NP Capacity Subtotal | Unit Name | Unit No | Unit Type | Fuel | Unit Max Rating | Plant Subtotal MW | Thermal Name | SSGWI Plant # | Fuel | MaxMW Normal | Plant Subtotal MW | Source Name | SourceP Type | Fuel Type | Capacity | Plant Subtotal MW
| NATURAL GAS | [8 empty] | NATURAL GAS | [7 empty] | NATURAL GAS | [5 empty] | NATURAL GAS |  |  |  |  | NATURAL GAS
[8 empty] | 0 | [8 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
| COAL | [8 empty] | COAL | [7 empty] | COAL | [5 empty] | COAL |  |  |  |  | COAL
[9 empty] | BGI 1 in CEC; cross ref to (19) replacing Yellowstone Energy in WECC | [7 empty] | 0 | [5 empty] | 0 | BGI 1 | 42 | Coal | 57 | 57 |  |  |  |  | 0
1 | Colstrip | 1 | Colstrip MT | BIT | 307 | 307 | 358.4 |  |  | Colstrip | 1 | Colstrip MT | BIT | 307 | 307 | 358.4 |  | Colstrip | 1 | ST | Coal-NWPUS | 307 |  | Colstrp1 | 101 | Coal | 2094 |  | Colstrip 1 | Coal | Coal | 153.5
2 | Colstrip | 2 | Colstrip MT | BIT | 307 | 307 | 358.4 |  |  | Colstrip | 2 | Colstrip MT | BIT | 307 | 307 | 358.4 |  | Colstrip | 2 | ST | Coal-NWPUS | 307 | [6 empty] | Colstrip 2 | Coal | Coal | 153.5
3 | Colstrip | 3 | Colstrip MT | BIT | 740 | 740 | 778 |  |  | Colstrip | 3 | Colstrip MT | BIT | 740 | 740 | 778 |  | Colstrip | 3 | ST | Coal-NWPUS | 740 | [6 empty] | Colstrip 3 | Coal | Coal | 518
4 | Colstrip | 4 | Colstrip MT | BIT | 740 | 740 | 778 | 2272.8 |  | Colstrip | 4 | Colstrip MT | BIT | 740 | 740 | 778 | 2272.8 | Colstrip | 4 | ST | Coal-NWPUS | 740 | 2094 |  |  |  |  | 2094 | Colstrip 4 | Coal | Coal | 518 | 1343
5 | J.E. Corette | 1 | Billings MT | BIT | 160 | 160 | 163 | 163 | Name=J.E. Corette | Corette | 1 | Billings MT | BIT | 160 | 160 | 191 | 191 | J E Correte | 1 | ST | Coal-NWPUS | 160 | 160 | Corette1 | 107 | Coal | 160 | 160 | J.E. Corrette | Coal | Coal | 160 | 160
6 | Thompson River | 1 |  | Coal/Wood | 12.5 |  | 16.5 |  | New plant; Fuel=coal and wood waste | [8 empty] | Thompson River | 1 | CGST | Coal-NWPUS | 9 | [6 empty] | Thompson R. Cogen | STCG | Coal | 12.5
| OIL | [8 empty] | OIL | [7 empty] | OIL | [5 empty] | OIL |  |  |  |  | OIL
7 | [8 empty] | Located in WY | Grant Village | 1 | Yellowstone PK | DFO | 1.6 | 1.6 | 1.6
8 | [7 empty] | 0 | Located in WY | Grant Village | 2 | Yellowstone PK | DFO | 1.6 | 1.6 | 1.6 | 3.2 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
9 | [7 empty] | 0 | Located in WY | Lake | 1 | Yellowstone Park MT | DFO | 3 | 3 | 2.75 | 2.75 | Lake | 1 | IC | FO#2-WECC | 3 | 3 |  |  |  |  | 0 |  |  |  |  | 0
10 | [8 empty] | Located in WY | Old Faithful | 1 | Yellowstone PK | DFO | 1 | 1 | 1 |  | Old Faithful | 1 | IC | FO#2-WECC | 2
11 | [7 empty] | 0 | Located in WY | Old Faithful | 2 | Yellowstone PK | DFO | 1 | 1 | 1 | 2 | [5 empty] | 2 |  |  |  |  | 0 |  |  |  |  | 0
| OTHER | [8 empty] | OTHER | [7 empty] | OTHER | [5 empty] | OTHER |  |  |  |  | OTHER
12 | Montana 1 | 1 | Colstrip MT | WC | 39 | 39 | 41.5 | 41.5 | aka Colstrip1 Energy in WECC; QF owned by Colstrip Energy LP; fuel=waste coal | Colstrip Energy | 1 | Colstrip MT | WC | 39 | 39 | 41.5 | 41.5 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
13 | Helena Waste | 1 | Helena MT | MSW | 0 | 0 |  | 0 | Helena Waste 150 kW, only used for emergency power; does not feed into grid | Helena Waste | 1 | Helena MT | MSW | 0 | 0 |  | 0 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
14 | [8 empty] | Libby units retired | Libby | 1 | Libby MT | WDS | 7.5 | 7.5 | 7.5
14 | [8 empty] | Libby units retired | Libby | 2 | Libby MT | WDS | 5 | 5 | 5 | 12.5 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
16 | [7 empty] | 0 | Mariah wind (Genesys) not confirmed; see wind comments below | [7 empty] | 0 | [5 empty] | 0 |  |  |  |  | 0 | Mariah | Wind | Wind | 0.1 | 0.1
17 | [7 empty] | 0 | Misc. Wind-Livingston; See below for comments on wind | Misc. Wind | (3) | NR Livingston MT | WND | 0 | 0 |  | 0 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
18 | [7 empty] | 0 | CEC listed Montana1; substituted for WECC Colstrop1 Energy in (12) | [7 empty] | 0 | [5 empty] | 0 | Montann1 | 291 | Othe | 39 | 39 |  |  |  |  | 0
19 | BGI 1 | 1 | Billings MT | PC | 57 | 57 | 65 | 65 | aka Yellowstone Energy in WECC; QF owned by Yellowstone Energy LP; fuel=waste coke | Yellowstone Energy | 1 | Billings MT | PC | 57 | 57 | 65 | 65 | [5 empty] | 0 |  |  |  |  | 0 |  |  |  |  | 0
| Total MW | [6 empty] | 2542.3 |  | Total MW | [6 empty] | 2590.75 | [5 empty] | 2259 |  |  |  |  | 2350 |  |  |  |  | 1503.1
[10 empty] | Located in PNW; State Undetermined | [13 empty] | Generic |  |  |  |  | Generic
| General Chemical | Not located in MT | [7 empty] | General Chemical | 1 | Little Am. | NG | 32 | 32 | [8 empty] | Dm_Mt | 845 | Gas | 1000 |  | Stone Container | STCG | Mill Residue | 10.9
[29 empty] | MT RPS/SBC Wind 04 | Wind | Wind | 0.7
| HYDRO-Comments | [8 empty] | HYDRO | [18 empty] | MT RPS/SBC Wind 05 | Wind | Wind | 0.9
| Bigfork Dam | Name is "Bigfork Dam" not "Big Fork" | [7 empty] | Big Fork | 1 | Flathead County MT | WAT | 1.7 | 1.7 | 1.7 | [12 empty] | MT RPS/SBC Wind 06 | Wind | Wind | 1
| Bigfork Dam | [8 empty] | Big Fork | 2 | Flathead County MT | WAT | 1.7 | 1.7 | 1.7 | [12 empty] | MT RPS/SBC Wind 07 | Wind | Wind | 1.2
| Bigfork Dam | [8 empty] | Big Fork | 3 | Flathead County MT | WAT | 0.75 | 0.75 | 0.75 | [12 empty] | MT RPS/SBC Wind 08 | Wind | Wind | 1.3
| Black Eagle | DEC lists as 24 MW nameplate | [7 empty] | Black Eagle | 1 | Great Falls MT | WAT | 6 | 6 | 7.84 | [12 empty] | MT RPS/SBC Wind 09 | Wind | Wind | 1.5
| Black Eagle | [8 empty] | Black Eagle | 2 | Great Falls MT | WAT | 6 | 6 | 7.84 | [12 empty] | MT RPS/SBC Wind 10 | Wind | Wind | 1.6
| Black Eagle | [8 empty] | Black Eagle | 3 | Great Falls MT | WAT | 7 | 7 | 5.6 | [12 empty] | MT RPS/SBC Wind 11 | Wind | Wind | 1.8
[10 empty] | Boulder Creek | 1 | Lake CO MT | WAT | 0.35 | 0.35 | 0.35 | [12 empty] | MT RPS/SBC Wind 12 | Wind | Wind | 2.2
[10 empty] | Broadwater Dam | 1 | Toston MT | WAT | 6 | 6 | 9.66
[10 empty] | Cochrane | 1 | Great Falls MT | WAT | 26 | 26 | 24 | [12 empty] | Retired
[10 empty] | Cochrane | 2 | Great Falls MT | WAT | 26 | 26 | 24 | [12 empty] | CONOCO Billings | IC | No. 2 FO | 19
[10 empty] | Hauser | 1 | Helena MT | WAT | 2 | 2 | 2.8 | [12 empty] | Decker Coal ICs | IC | No. 2 FO | 6
[10 empty] | Hauser | 2 | Helena MT | WAT | 2 | 2 | 2.8 | [12 empty] | Montana Refining | IC | No. 2 FO | 8
[10 empty] | Hauser | 3 | Helena MT | WAT | 3 | 3 | 2.8 | [12 empty] | Rail Energy of Montana (Butte) | IC | No. 2 FO | 6.2
[10 empty] | Hauser | 4 | Helena MT | WAT | 3 | 3 | 2.8
[10 empty] | Hauser | 5 | Helena MT | WAT | 3 | 3 | 2.8 | [12 empty] | HYDRO
[10 empty] | Hauser | 6 | Helena MT | WAT | 3 | 3 | 3 | [12 empty] | Tiber Dam | Hyd | Water | 7.5
[10 empty] | Hellroaring Hydro | 1 | Lake CO MT | WAT | 0.2 | 0.2 | 0.18
[10 empty] | Hellroaring Hydro | 2 | Lake CO MT | WAT | 0.2 | 0.2 | 0.18
[10 empty] | Holter | 1 | Wolf Creek MT | WAT | 9 | 9 | 9.6
[10 empty] | Holter | 2 | Wolf Creek MT | WAT | 9 | 9 | 9.6
[10 empty] | Holter | 3 | Wolf Creek MT | WAT | 9 | 9 | 9.6
[10 empty] | Holter | 4 | Wolf Creek MT | WAT | 9 | 9 | 9.6
[10 empty] | Hungry Horse | 1 | SF Flathead MT | WAT | 106 | 106 | 107
[10 empty] | Hungry Horse | 2 | SF Flathead MT | WAT | 106 | 106 | 107
[10 empty] | Hungry Horse | 3 | SF Flathead MT | WAT | 106 | 106 | 107
[10 empty] | Hungry Horse | 4 | SF Flathead MT | WAT | 106 | 106 | 107
| Hutchinson Creek | Not located in MT | [7 empty] | Hutchinson Creek | 1 | Hutchinson CR | WAT | 1 | 1 | 1
| Hutchinson Creek | Not located in MT | [7 empty] | Hutchinson Creek | 2 | Hutchinson CR | WAT | 0 | 0 | 1
| Hutchinson Creek | Not located in MT | [7 empty] | Hutchinson Creek | 3 | Hutchinson CR | WAT | 0 | 0 | 1
| Hutchinson Creek | Not located in MT | [7 empty] | Hutchinson Creek | 4 | Hutchinson CR | WAT | 0 | 0 | 1
[10 empty] | Kerr | 1 | Polson MT | WAT | 60 | 60 | 70.56
[10 empty] | Kerr | 2 | Polson MT | WAT | 60 | 60 | 70.56
[10 empty] | Kerr | 3 | Polson MT | WAT | 60 | 60 | 70.56
[10 empty] | Lake Creek | 1 | Libby MT | WAT | 1.2 | 1.2 | 1
[10 empty] | Lake Creek | 2 | Libby MT | WAT | 3.5 | 3.5 | 3.5
[10 empty] | Libby | 1 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
[10 empty] | Libby | 2 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
[10 empty] | Libby | 3 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
[10 empty] | Libby | 4 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
[10 empty] | Libby | 5 | Kootenay River MT | WAT | 119.6 | 119.6 | 105
[10 empty] | Madison | 1 | Ennis MT | WAT | 2 | 2 | 2.25
[10 empty] | Madison | 2 | Ennis MT | WAT | 2 | 2 | 2.25
[10 empty] | Madison | 3 | Ennis MT | WAT | 2 | 2 | 2.25
[10 empty] | Madison | 4 | Ennis MT | WAT | 2 | 2 | 2.25
| Milltown dam | down to 2.4 MW and will be removed entirely as part of Superfund project | [7 empty] | Milltown | 1 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown dam | [8 empty] | Milltown | 2 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown dam | [8 empty] | Milltown | 3 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown dam | [8 empty] | Milltown | 4 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
| Milltown dam | [8 empty] | Milltown | 5 | Clark Fork River MT | WAT | 0.8 | 0.8 | 0.64
[10 empty] | Misc. Hydro | (10) | MT | WAT | 3 | 3
[10 empty] | Morony | 1 | Great Falls MT | WAT | 24 | 24 | 22.5
[10 empty] | Morony | 2 | Great Falls MT | WAT | 24 | 24 | 22.5
| Mystic | DEC lists as 12.5 nameplate | [7 empty] | Mystic | 1 | Fishtail MT | WAT | 5.5 | 5.5 | 5
| Mystic | [8 empty] | Mystic | 2 | Fishtail MT | WAT | 5.5 | 5.5 | 5
[10 empty] | Noxon Rapids | 1 | Clark Fork R MT | WAT | 100 | 100 | 91.8
[10 empty] | Noxon Rapids | 2 | Clark Fork R MT | WAT | 100 | 100 | 76.8
[10 empty] | Noxon Rapids | 3 | Clark Fork R MT | WAT | 100 | 100 | 91.8
[10 empty] | Noxon Rapids | 4 | Clark Fork R MT | WAT | 100 | 100 | 91.8
[10 empty] | Noxon Rapids | 5 | Clark Fork R MT | WAT | 127 | 127 | 114
| PEC Headworks | Not located in MT | [7 empty] | P.E.C. Headworks | 1 | Moses Lake | WAT | 7 | 7 | 6.65
[10 empty] | Rainbow | 1 | Great Falls MT | WAT | 5 | 5 | 4
[10 empty] | Rainbow | 2 | Great Falls MT | WAT | 5 | 5 | 4
[10 empty] | Rainbow | 3 | Great Falls MT | WAT | 5 | 5 | 4
[10 empty] | Rainbow | 4 | Great Falls MT | WAT | 5 | 5 | 4
[10 empty] | Rainbow | 5 | Great Falls MT | WAT | 5 | 5 | 4
[10 empty] | Rainbow | 6 | Great Falls MT | WAT | 5 | 5 | 4
[10 empty] | Rainbow | 7 | Great Falls MT | WAT | 5 | 5 | 5.8
[10 empty] | Rainbow | 8 | Great Falls MT | WAT | 5 | 5 | 5.8
[10 empty] | Ryan | 1 | Great Falls MT | WAT | 10 | 10 | 8
[10 empty] | Ryan | 2 | Great Falls MT | WAT | 10 | 10 | 8
[10 empty] | Ryan | 3 | Great Falls MT | WAT | 10 | 10 | 8
[10 empty] | Ryan | 4 | Great Falls MT | WAT | 10 | 10 | 8
[10 empty] | Ryan | 5 | Great Falls MT | WAT | 10 | 10 | 8
[10 empty] | Ryan | 6 | Great Falls MT | WAT | 10 | 10 | 8
| Strawberry Creek | 190 kW QF facility in NEW QF. It's not the 1.5 MW listed in WECC | [7 empty] | Strawberry Creek | 1 | MT | WAT | 0.5 | 0.5 | 0.5
[10 empty] | Strawberry Creek | 2 | MT | WAT | 0.5 | 0.5 | 0.5
[10 empty] | Strawberry Creek | 3 | MT | WAT | 0.5 | 0.5 | 0.5
| Thompson Falls | DEQ lists as 87.5 nameplate | [7 empty] | Thompson Falls | 1 | Clark F R MT | WAT | 5.5 | 5.5 | 7
[10 empty] | Thompson Falls | 2 | Clark F R MT | WAT | 5.5 | 5.5 | 7
[10 empty] | Thompson Falls | 3 | Clark F R MT | WAT | 5.5 | 5.5 | 7
[10 empty] | Thompson Falls | 4 | Clark F R MT | WAT | 5.5 | 5.5 | 7
[10 empty] | Thompson Falls | 5 | Clark F R MT | WAT | 5.5 | 5.5 | 7
[10 empty] | Thompson Falls | 6 | Clark F R MT | WAT | 5.5 | 5.5 | 7
[10 empty] | Thompson Falls | 7 | Clark F R MT | WAT | 52 | 52 | 49.95
Omitted from WECC:
| Canyon Ferry | Bureau of Rec; 49.8 MW nameplate; 58.9 MW summer capability
| Ft. Peck | Corps of Engineers; 3 of 5 unites (118 MW of 185.3 MW nameplate)
can be shifted btw east and west grids; about 40% goes west.
| South Dry Creek | 2 MW NEW QF
| Tiber Dam | 7.5 MW; new dam, included in Genesys
| Yellowtail | Bureau of Rec; 250 MW nameplate; 288 MW summer capability
2 of 4 units can go east grid but normally don't
WIND
MT DEQ lacks good wind data
NCAT lists 896 kW of small wind; largest machines as follow:
Browning, MT -- 100 kW
Livingston, MT -- 4 machines, 65 kW each
Other sources
Two Dot, MT -- 455 kW (7x 65 kW)
Martinsdale, MT -- 715 kW (11 x 65 kW)