## KVS
SPREADSHEET FOR CALCULATION OF AFB LAB EQUIPMENT AND SUPPLIES (NATIONAL LEVEL)
Country | Number of AFB smears done during previous year | [5 empty] | THE FORMULAS IN THIS SPREADSHEET ARE PROTECTED.
XXX |  | 1000 |  |  |  |  | USE "Tools", "Protection", "unprotect sheet" TO UNDO IT, AT OWN RISK OF ERASING FORMULAS!
Period | Number of AFB microscopy units to be supplied
XXX |  | 10
Number of months requirement
12
Item | Factor: Quantity per carton / box / bottle | Unit | Factor: Quantity per smear (pcs or ml ready stain) | Factor: Qty per month per microscopy unit | Factor: Formulation of stains (g or ml/ml) | Consumption for the period (measuring units) | 100% Reserve Stock | Stock left | Quantity to be requested | Cartons / boxes / bottles requested | Total order approved | Item
Laboratory items to be supplied
Sputum containers | 1000 | pc | 1 |  |  | 1000 | 1000 | 0 | 2000 | 2 | 0 | Sputum containers
Microscope slides | 50 | pc | 1 |  |  | 1000 | 1000 | 0 | 2000 | 40 | 0 | Microscope slides
Burning spirit | 5000 | ml | 2 |  |  | 2000 | 2000 | 0 | 4000 | 0.8 | 0 | Burning spirit
Basic Fuchsin | 25 | g | 4 |  | 0.003 | 12 | 12 | 0 | 24 | 0.96 | 0 | Basic Fuchsin
Phenol crystals | 500 | g | 4 |  | 0.05 | 200 | 200 | 0 | 400 | 0.8 | 0 | Phenol crystals
Denatured alcohol | 5000 | ml | 6.4 |  | 1 | 6400 | 6400 | 0 | 12800 | 2.56 | 0 | Denatured alcohol
Hydrochloric acid 37% | 2500 | ml | 6 |  | 0.03 | 180 | 180 | 0 | 360 | 0.144 | 0 | Hydrochloric acid 37%
Methylene blue | 25 | g | 4 |  | 0.003 | 12 | 12 | 0 | 24 | 0.96 | 0 | Methylene blue
Slide holding boxes | 1 | pc |  | 0.02 |  | 2.4 | 2.4 | 0 | 4.8 | 4.8 | 0 | Slide holding boxes
Spiritlamps | 1 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Spiritlamps
Microscope, complete | 1 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Microscope, complete
Microscope bulbs | 1 | pc |  | 0.1 |  | 12 | 12 | 0 | 24 | 24 | 0 | Microscope bulbs
Microscope mirrors | 1 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Microscope mirrors
Immersion objective 100X | 1 | pc |  | 0.02 |  | 2.4 | 2.4 | 0 | 4.8 | 4.8 | 0 | Immersion objective 100X
Eyepiece 10X | 1 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Eyepiece 10X
Xylene | 2500 | ml |  | 10 |  | 1200 | 1200 | 0 | 2400 | 0.96 | 0 | Xylene
Immersion oil | 100 | ml |  | 20 |  | 2400 | 2400 | 0 | 4800 | 48 | 0 | Immersion oil
Filter paper, circular, small | 100 | pc |  | 4 |  | 480 | 480 | 0 | 960 | 9.6 | 0 | Filter paper, circular, small
Grease pencils | 12 | pc |  | 0.2 |  | 24 | 24 | 0 | 48 | 4 | 0 | Grease pencils
Diamond pencils | 1 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Diamond pencils
Staining bottle 250 ml, with spout, for acid alcohol / methylene blue | 1 | pc |  | 0.04 |  | 4.8 | 4.8 | 0 | 9.6 | 9.6 | 0 | Staining bottle 250 ml, with spout, for acid alcohol / methylene blue
Staining bottle 250 ml, with screwcap, for carbolfuchsin stain | 1 | pc |  | 0.02 |  | 2.4 | 2.4 | 0 | 4.8 | 4.8 | 0 | Staining bottle 250 ml, with screwcap, for carbolfuchsin stain
Dropper bottle 25 ml for immersion oil | 1 | pc |  | 0.02 |  | 2.4 | 2.4 | 0 | 4.8 | 4.8 | 0 | Dropper bottle 25 ml for immersion oil
Stains stock bottle 1 Ltr, plastic (3 stains) | 1 | pc |  | 0.06 |  | 7.2 | 7.2 | 0 | 14.4 | 14.4 | 0 | Stains stock bottle 1 Ltr, plastic (3 stains)
Staining bridge | 1 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Staining bridge
Plastic funnel, small, for carbolfuchsin stain filtration during staining | 1 | pc |  | 0.02 |  | 2.4 | 2.4 | 0 | 4.8 | 4.8 | 0 | Plastic funnel, small, for carbolfuchsin stain filtration during staining
Disinfectant, ml | 5000 | ml |  | 500 |  | 60000 | 60000 | 0 | 120000 | 24 | 0 | Disinfectant, ml
Nichrome wire for bacteriological loops, 22 SWG bare | 1 | reel 125 g |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 2.4 | 0 | Nichrome wire for bacteriological loops, 22 SWG bare
Bacteriological loop holder | 5 | pc |  | 0.01 |  | 1.2 | 1.2 | 0 | 2.4 | 0.48 | 0 | Bacteriological loop holder
Notes | data concerning nos. of smears done the previous 1 year, nos. of microscopy units to be supplied, nos. of months requirement to be calculated and stocks left have to be entered in the respective boxes (heavy black borders)
factors in the columns with "Factor:" in the heading should be adapted according to the real situation in the NTP
for the column "Formulation of stains", particular attention must be given to concentration and type of stains used
the column "Total order approved" should be filled with rounding of packing units and eventually taking into account other factors such as budget available