## Sheet1
WR Form B-1 U.S. DEPARTMENT OF COMMERCE |  |  |  | STATION: |  |  |  | NAME:
NATIONAL OCEANIC AND ATMOSPHERIC ADMINISTRATION
|  |  |  | STATION ELEVATION (Hp) NEAREST FOOT |  |  |  | TITLE:
NATIONAL WEATHER SERVICE WESTERN REGION |  |  |  | 100
|  |  |  | DATE: |  |  |  | HOME STATION:
COMPARATIVE BAROMETER READINGS
DIGIQUARTZ STANDARD |  | COMPARED MERCURY BAROMETER |  |  | COMPARED ASI/DASI |  | COMPARED ASOS |  | COMPARED PRECISION ANEROID
Serial Number: |  | Serial Number: |  |  | Serial Number: |  | Serial Number: |  | Serial Number:
ACTUAL ELEVATION (FT) | 100 | ACTUAL ELEVATION (FT) | 100 |  | ACTUAL ELEVATION (FT) | 100 | ACTUAL ELEVATION (FT) | 100 | ACTUAL ELEVATION (FT) | 100
TIME OF OBSERVATION (24 HOUR CLOCK) | OBSERVED READING | ATTACHED THERMOMETER (NEAREST .5°F | OBSERVED READING | BAROMETER READING CORRECTED FOR TEMP | OBSERVED ALSTG (MASTER) | CONVERTED STATION PRESSURE | OBSERVED ALSTG | CONVERTED STATION PRESSURE | OBSERVED STATION PRESSURE IN/HG | OBSERVED STATION PRESSURE IMBs
SUM |  |  | SUM
MEAN |  |  | MEAN
Mercury Scale / Caparillary Correction
Mercury Gravity Correction
Mercury Residual Correction
Mercury Removal (Elevation) Correction
Mercury Sum Correction
SUMMARY OF COMPARISONS BETWEEN INSTRUMENTS | [7 empty] | CONVERSION DATA
|  | DIGIQUARTZ | MERCURY | ASI / DASI | ASOS | PRECISION ANEROID (IN/HG) | PRECISION ANEROID (MBs) | MBs to IN/HG = .295299 ¦ IN/HG to MBs = 33.86389
Station Pressure | [7 empty] | GENERAL INSTRUCTIONS
Mean Station Pressure removal Correction | [7 empty] | Five comparisons readings made at intervals of not less than 15 minutes. Comparisons are required before and after any removal of barometer from its normal position. The object of comparitive readings is to asertain accutately the departure of the compared barometer or ASOS from the inspection home station standard
Mean Altimeter
ALSTG Correction From Standard | [7 empty] | When explanatory remarks are necessary place them in the remarks section. Once completed, one copy will be filed with the inspection WS B-33 and one will be filed at the regional headquarters
ALSTG Correction From Mercury
REMARKS, COMMENTS AND RECOMMENDATIONS

## Sheet2
| 0.000101 | 0.5 | 0.000102 | -30.5
|  | 5.05e-05 | -0.003111 |  | 0.0031615 | 0.094719 | 29.9505
29.96 | [6 empty] | 0.094714
| 1 | 0.000101 | 0.5 |  | 1.0001
[6 empty] | 29.96 | 29.8653