Large Clone Maxi-Prep

Version Number:		3.4

Production Start Date:	01/02/02

Version 3.4 Date:		06/09/04

Authors:			Miranda Harmon-Smith, Anna Ustaszewska

Reviewed/Revised by:	Tijana Glavina

# Summary

The QIAGEN Maxi-Prep kit is used to isolate BAC, fosmid or cosmid DNA from glycerol stocks of clones submitted to the JGI. NOTE: This protocol does not contain an exonuclease to remove the E. Coli contamination.

# Materials & Reagents

| Materials/Reagents/Equipment Disposables 50-ml Serological Pipet 25-ml Serological Pipet 10-ml Serological Pipet 5-ml Serological Pipet Inoculation Loop 1-ml Cryovial-Nunc Reagents QIAGEN Plasmid Maxi Kit (25): (QIAGEN-tip 500, RNase A (100mg/ml), P1 Buffer, P2 Buffer, P3 Buffer, QBT Buffer, QC Buffer, QF Buffer) LB Broth TE Buffer, pH 8.0 99.9% Isopropanol, HPLC Grade 100% Ethanol (200 Proof) Chloramphenicol (98%) Kanamycin Sulfate Sodium Dodecyl Sulfate (SDS) 1N Sodium Hydroxide Pure Bright Germicidal Bleach Glycerol, for molecular biology, 99% Milli-Q Water Materials/Reagents/Equipment Equipment 250-ml Centrifuge Bottles 50-ml Centrifuge Bottles Sorvall/Beckman Centrifuges Rotors (SLA 1500, JA 14, SA 600, JA 17) 4900 Upright Shaker Easypet Precision 180 Series water bath | Vendor Falcon Falcon Falcon Falcon - - QIAGEN Teknova Ambion Acros AAPER Alcohol (LBNL) Aldrich USB Sigma-Aldrich J.T. Baker Monahan Paper Company Sigma Millipore Milli-Q System Vendor - - Sorvall/Beckman Sorvall/Beckman Innova Eppendorf - | Stock Number 357550 357525 357551 357543 - - 12163 L8000 9849 67-63-0 6810-13289 857440-25G 25389-94-0 L4522 1310-73-2 775011 G5516-1L - Stock Number - - - - - - - |
| --- | --- | --- |

# Procedure

NOTE: All reagents/stock solutions should be prepared prior to the start of the procedure.

1. Entering Clones into the Isolation Queue (Do when time permits – day prior to or day of prep).

  - Go the Isolations Excel file in the following directory: \\Octopus\ProdSeq\Lib\Libraries Shared.

  - Copy all of the JGI Clone IDs from the appropriate date. Paste into notepad.

  - In the Venonat database (http://venonat.jgi-psf.org/psf/PSF.home), click on Libraries DB ( select Library Reports ( select Query/Enter Project Form.

    - Paste the Clone ID from step 1.2 into Project ID box.

    - Click on SUBMIT.

  - Click on the highlighted Library name.

  - Under the Queue to Process dropdown menu, select Ready to Isolate.

  - Double check to make sure that the right vector, insert size, etc. information is listed.

  - Click on SUBMIT (sent to Isolations Queue).

  - Select and copy the next Clone ID from the Isolations notepad file, and repeat steps 1.3 –1.7. Continue until all of the clones have been entered and sent to the Isolations Queue.

  - Check the Isolation Queue in Venonat database to make sure all libraries have been entered

2. Inoculation

NOTE: The day prior to inoculation, incoming glycerol stocks or stabs should be streaked onto a small agar plate containing the appropriate antibiotic to ensure inoculation from a single colony of growth. Incubate the plate at 37(C for 16-18 hours or until the colonies are large enough from which to pick. Place streaked clones in the 4(C deli until ready for inoculation. Glycerol stocks coming from LLNL do not need to be streaked since they were picked from a single colony prior to shipping. Used streaked plates and stab cultures are kept in the deli for up to 1 month before being discarded in autoclave waste.

  - Pull the streaked clones from the 4(C deli. If you are inoculating from a glycerol stock, pull a designated clone for inoculation out of the freezer to thaw on ice. If any of the clones are cosmids, remove the Kanamycin antibiotic from the freezer so that it can thaw at room temperature.

  - Label twenty-five 500-ml flasks 1-25 with tape. Record in your lab notebook which clones (use JGI ID’s) are designated 1-25.

  - Measure 250ml of LB Broth in a graduated cylinder and then pour into each flask. Record the LB lot # in your notebook or on the Isolations Excel spreadsheet. Use the same LB lot for all clones being isolated, if possible.

  - Remove the appropriate antibiotic from the small freezer in room 139 and add the correct amount to each flask. Tip the flask so the tip of the pipette touches the LB broth and dispense the antibiotic.

    - For BAC or fosmid clones: add 110µl of 34mg/ml of Chloramphenicol per sample flask. Final concentration = 15μg/ml.

    - For cosmid clones: add 313µl of 20mg/ml of Kanamycin per sample flask. Final concentration = 25μg/ml.

  - Inoculate each flask with a single colony from a streaked plate (use a sterile pipette tip or an inoculating loop) or 12µl of glycerol stock. Tilt the flask to avoid touching the pipette to the inside of the flask. Only the tip should touch the growth medium.

  - Grow culture flasks at 37 (C for 18 – 20 hours at 200rpm in the Innova 4900 upright shaker (Rm146). Press the Start button and wait to make sure the shaker is running properly.

3. Prep for next day:

  - Make sure that all the plastic ware you will be using is autoclaved. You will need for each sample: one 250-ml centrifuge bottle and four 50-ml centrifuge tubes. If you plan to inoculate again tomorrow, make sure you will have enough 500-ml flasks.

  - Make sure you have enough Qiagen reagents and columns. For the isolation of 25 samples, use an entire QIAGEN kit. If there are remaining reagents due to a small sample batch, label the bottles and kit with the date, your initials, and approximately how much buffer is left: i.e. enough for 10 clones. Do not use left over reagents if more than a week has passed.

  - Add RNase A (entire tube, approximately 280ul) to P1 buffer and mix by inversion. Place the P1 buffer and the P3 buffer in the deli at 4(C for use the next day.

  - Label the 250-ml centrifuge bottles (1-25) with tape and 4 sets of twenty-five 50-ml centrifuge tubes 1-25 with a sharpie. Check the condition of the tubes for debris. If debris is present do not use. Put the 50-ml tubes in racks and cover the tops of the tubes with a paper towel so that nothing falls into them overnight.

  - Label 25 cryovial tubes with a “fat label” and 1-25 on the top if making glycerol stock tubes the next day.

  - Creating labels for glycerol stock tubes and 2 sets of Eppendorf tubes for isolated DNA:

NOTE: Glycerol stocks should be relabeled around the tube with a “fat label” containing the JGI ID number and Source I.D. name and a round label on top with the library name. Glycerol stocks are stored in the Glycerol Stock Freezer for future use.

    - Go the Isolations file in the following directory:

\\Octopus\ProdSeq\Lib\Libraries Shared

    - Copy the JGI Clone ID and source clone name columns that contain the samples that are to be quantified.

    - Paste the JGI Clone ID and clone name columns into notepad.

    - Go to the Fat Labels document in \\Octopus\ProdSeq\Lib\Libraries Shared.

    - From notepad, copy and paste the ID and clone name into each fat label. Do this in triplicate as you will need one label for the glycerol stock vial, DNA for shearing tube, and DNA isolation tube.

    - Print on the label paper.

    - Place the labels on 1.5-ml Eppendorf tubes (2 sets) and glycerol stock tubes (cryovials).

    - Prepare round labels for on top of each tube with the library name.

### 4. Isolation-modified Qiagen Large Construct protocol

NOTE: Be careful during transfer steps not to mix up the clones. Also, if making glycerol stocks for each clone, aliquot 300μl of 30% glycerol into each labeled cryovial prior to adding cell culture aliquot.

  - Remove culture flasks from shaker incubator. Pour each culture into its corresponding 250-ml centrifuge bottle. Check for washer in the cap, w/o –leaking occurs. If making a glycerol stock, remove 600μl aliquot and place in labeled cryovial tube containing 300ul 30% glycerol. Tighten caps well. Place the glycerol stock tubes in the –80oC freezer after labeling the tops with the round library name labels.

  - Pellet the cells by spinning the 250-ml centrifuge bottle down at 4(C for 15 minutes at 4,500 rpm. Clean out water in centrifuge if present (may cause off-balance). You can load all 4 centrifuges at once being sure appropriate rotors are in.

NOTE 1: Make sure the appropriate rotors are in the centrifuges depending on which centrifuge you will be using and whether you will be spinning the 250-ml bottles or 50-ml tubes.

NOTE 2: While spinning clean used flasks-, remove tape, rinse the flasks with water in the sink and put in the autoclave bin. Get ice in ice bucket for subsequent step and place 1 set of 25 tubes into the ice.

  - Turn on water bath to heat to 65oC. Place elution buffer (QF) in water with lid slightly opened.

NOTE: This buffer needs to be heated to 65oC to better elute the DNA from the column.

  - After the centrifuge spin, decant the supernatant into a waste beaker. Pour the supernatant away from the pellet – invert the bottle on a paper towel to drain.

    - Add 5% hypochlorite solution (bleach) to the supernatant to kill leftover bacterial cells. The final concentration of the hypochlorite should be 0.5%.

NOTE: Usually we collect 4L of supernatant at once, so you need to add 400ml of 5% hypochlorite solution to end up with 0.5% solution. If you have any other volume of the supernatant, you need to add appropriate amount of the 5% hypochlorite to achieve the final concentration needed.

    - Dump the waste down the sink after 10-15 minutes and wash it down the sink with cold water.

  - Resuspend the cell pellet in 10ml of P1 (Resuspension) buffer. Make sure RNase has been added (Refer to Reagent/Stock Preparation). To resuspend:

    - Use the Easypet and a sterile 10-ml pipet to squirt the P1 buffer into the bottle.

    - Suck approximately 5mls back into the pipet and squirt it at the pellet again. Repeat several times until there are no visible cell clumps or cells attached to the wall of the bottle.

    - Discard the pipet in the autoclave waste container and use a new pipet for each sample.

  - Set one timer for 5 minutes and another for 15 minutes but do not start the timers. Obtain the P2 buffer from the kit and check for precipitation. If precipitate, warm to 37oC to resuspend.

  - Gently add 10ml of P2 (lysis) buffer to the resuspended cells by gently letting it drip down the side of the bottle. As soon as you add the P2 buffer to the first bottle, start the 5-minute timer. Do not mix. Obtain the P3 buffer from the deli for the next step.

Important! Do not shake the centrifuge bottle. Vigorous shaking at this step could lead to shearing of the bacterial genomic DNA and make it impossible to separate BAC from genomic DNA. P2 Buffer should be closed immediately after use to avoid acidification from CO2 in the air.

  - At the end of 5 minutes, gently add 10ml of chilled P3 (Neutralization) buffer to the lysed material. As soon as you add the P3 buffer to the first bottle, start the 15-minute timer. Do not mix.

Important! The cells should lyse for no longer than 5 minutes. Sufficient mixing occurs when buffer is introduced to the solution. No separate mixing is needed.

  - Immediately after all 25 bottles have the P3 added, pour the contents of the 250-ml centrifuge bottles into 50-ml centrifuge bottles being careful to minimize shaking. Put on ice until the 15-minute neutralization step is completed.

NOTE: Steps 4.8 and 4.9 should all occur within the 15-minute neutralization period.

  - Place caps on the 50-ml tubes immediately after pouring contents into the tubes. Again, be careful not to disturb the contents.

  - Spin 1: At the end of the 15-minute neutralization period, centrifuge the samples at 4(C for 30 minutes at 15,000rpm. The BAC DNA will remain in solution; the genomic DNA, proteins, cell debris, and SDS will form a pellet. Be sure to load the tubes in the centrifuge with the numbers facing out. Also make sure correct rotor is in place for the 50-ml tubes.

  - While spinning:

- Clean the used 250-ml centrifuge bottles by removing tape, filling with warm water, and scrubbing with bottlebrush. Rinse with water and place in the gray wash bins.

- Discard the ice.

  - Spin 2: After the 30-minute spin is complete, gently transfer the supernatant to a clean 50-ml centrifuge tube and spin at 4(C for 15 minutes at 15,000rpm. It is important to do this step gently in order to minimize the transfer of waste materials into the clean tube. Pour away from the pellet to avoid dislodging. You can re-use the same lids being sure to keep the same lid with the same sample throughout. i.e. the lid from tube 1 always gets put on tube 1.

  - While spinning:

- Set up the batch of Qiagen columns using the blue racks. Each rack holds four columns so you will need 7 racks for a batch of 25. Place 50-ml waste tubes in the bottom and new columns in the top of the rack. Label each column 1-25 with a sharpie. Equilibrate the columns with 10ml of QBT (Equilibration) buffer. Allow the buffer to empty by gravity flow.

- Wash the dirty centrifuge tubes from the first spin. Remove the number on the outside with 100% ethanol. In the sink, fill the tubes with water and use the bottlebrushes to scrub them out. Rinse with hot water and place in the gray wash bins.

  - Spin 3: After the 15-minute spin is complete, transfer the supernatant to a clean 50-ml centrifuge tube and spin one last time at 4(C for 15 minutes at 15,000rpm. Again, pour away from the pellet. Re-use the same lids. Put the tubes in the centrifuge with numbers facing out.

  - While spinning: Wash the dirty centrifuge bottles from spin 2 as previously done.

  - After the final spin is complete, immediately pour the entire supernatant gently into the equilibrated column and allow it to empty by gravity flow. Try to minimize disturbance of the precipitate as it could clog the columns and pour away from the pellet.

  - Wash the columns 2 times with 30ml (fill to the top of column) aliquots of QC (Wash) buffer. Allow emptying by gravity flow. You will need to discard the flow-through after each wash into a waste beaker because it contains ethanol. The waste will later be dumped into the red SAA Hazardous waste carboy under the lab bench.

NOTE: The BAC DNA will bind to the membrane in the QIAGEN-tip and all contaminants will be washed through.

  - Elute the DNA from the columns into a clean 50-ml centrifuge tube with heated (65(C) QF (Elution) buffer: Make sure the tubes are straight up/down to prevent spilling. Good alignment.

  - Add 8ml of the heated QF buffer then reheat the buffer bottle in water bath while buffer is eluting out the DNA.

  - Add another 7ml of reheated QF buffer to finish off the elution.

NOTE: Because of its large size, BAC DNA elutes most efficiently at 65(C. That is why it is important to not let the buffer cool during elution.

  - Empty remaining QF buffer into the hazardous waste and discard used columns into the biohazard waste container.

  - Precipitate the DNA by adding 10.5ml of 100% isopropanol at room temperature to each tube. Gently dispense isopropanol down the side of the tube. Cap the tubes with new lids (make sure there is a seal inside the lid). Mix well by inverting the tube 4-5 times. Centrifuge at 4(C for 30 minutes at 14,000rpm.

  - Carefully decant the supernatant as not to disturb the precipitated DNA pellet. The isopropanol pellet will have a glassy appearance (invisible) and will be relatively loosely attached to the side of the bottle. Pour away from the pellet, which should be on the numbered side of the bottle. After decanting ( place tube back up right in rack ( save caps in order to re-use them for the next step.

  - Wash the DNA pellet:

- Add 5ml of 70% ethanol to the pellet (make fresh daily ~125ml). Dispense ethanol away from the pellet, down opposite side of tube from which the pellet is on.

- Spin down at 4(C for 15 minutes at 14,000rpm.

NOTE: The ethanol pellet may be visible as a flocculent white material.

  - Carefully decant the ethanol away from the pellet without disturbing the DNA pellet. Gently place the tube upside-down on a paper towel to get rid of excess ethanol and minimize drying time. Leave upside down until all are decanted.

  - Air dry the pellet in a vent hood for 1-3 hour until the majority of the ethanol has evaporated. Angle the tubes so that the ethanol does not contact the DNA pellet (keep numbered side facing up). Over-drying the pellet will make the DNA more difficult to redissolve.

NOTE: Drying usually takes 3 or more hours until all traces of ethanol droplets are gone.

  - Resuspend the pellet in 400µl of TE buffer (pH 8.0). Put new, sterile caps on the tubes (tightly) and swirl the buffer around in the bottle so that all of the DNA will get resuspended.

NOTE: If you are processing a sample that had visibly less growth following the incubation step, i.e. smaller cell pellet, resuspend DNA in only 200μl of TE buffer. This makes the sample more likely to pass the Quantification step later on.

  - Leave the tubes to resuspend overnight in a deli refrigerator at 4(C. Angle the tubes so that the TE completely submerges the DNA pellet to ensure that the whole pellet goes back into solution. Anchor the tube rack so that the rack does not tip over. Numbers on tubes should be facing down when rack is tilted.

  - In the morning, swirl the buffer up and down the sides of the tube, centrifuge the tubes for 1 min at 14,000 rpm, and transfer the contents of the tubes to 1.5-ml Eppendorf tubes labeled on top 1-25 and on the side with a fat label. Place DNA tubes in DNA stock freezer for later use in quantification step, unless using same day to quantify then place in deli.

  - Clean used 50-ml tubes using same procedure as before. Clean off numbers from outside and rinse with water. Place in gray wash bins.

5. Pass samples in the database to the next step (Quantification)

  - In the Venonat database, click on Libraries DB ( click on Isolations Queue ( click on Click here to assign projects to a batch.

  - Select the operator initials, type in Large Clone Maxi-Prep as the protocol, and select all of the project IDs that you isolated.

  - Click on SUBMIT.

  - Click on Click Here.

  - Under the QC dropdown menu, select whether the isolation passed or failed (with a given reason).

  - Select whether a new glycerol stock was made or not.

  - Enter the source Library name.

  - Click on SUBMIT.

# Reagent/Stock Preparation

70% Ethanol (v/v)

Add 350ml of 100% ethanol and 150ml of Milli-Q water to a 1-L bottle.

Total volume: 500ml.

P1 (Resuspension) Buffer

50mM Tris·Cl, pH 8.0

10mM EDTA

100mg/ml RNase A

P2 (Lysis) Buffer

200mM NaOH

1% SDS (w/v)

If necessary:

Add 262.5ml of Milli-Q water, 75ml of 1N NaOH, and 37.5ml of SDS to a 500-ml bottle.

Total volume: 370ml

Make fresh the day of the large clone isolation procedure.

P3 (Neutralization) Buffer

3.0M Potassium Acetate, pH 5.5

Make sure P3 buffer is ice cold before starting the large clone isolation procedure.

QBT (Equilibration) Buffer

750mM NaCl

50mM MOPS, pH 7.0

15% isopropanol (v/v)

0.15% Triton X-100 (v/v)

QC (Wash) Buffer

1.0M NaCl

50mM MOPS, pH 7.0

15% isopropanol (v/v)

QF (Elution) Buffer

1.25M NaCl

50mM Tris·Cl, pH 8.5

15% isopropanol (v/v)

LB Broth

1% Tryptone

0.5 % Yeast Extract

1% Sodium Chloride

Chloramphenicol (34 mg/ml) Preparation:

Add 0.51g of chloramphenicol to 15ml of 100% ethanol to make a 34mg/ml chloramphenicol solution.

Kanamycin (20 mg/ml) Preparation:

Add 0.6g of kanamycin to 30ml of Milli-Q water to make a 20mg/ml kanamycin solution.

TE Buffer

10mM Tris, pH 8.0

1mM EDTA, pH 8.0

# SOP Approval

| DEPARTMENT | APPROVED BY | DATE |
| --- | --- | --- |
| Lab Supervisor |  |  |
| Research & Development |  |  |
| Instrumentation |  |  |
| QC |  |  |
| Purchasing |  |  |
| EH & S |  |  |
| Informatics |  |  |
| Seq Assessment & Analysis |  |  |
| Dept Head of Prod Seq |  |  |

# Appendix

AUDIT TRACKING

6/01/04 – 6/03/04 – Danielle Mihalkanin and Erika Lindquist performed an audit between 7:30PM (6/01) – 1:30PM (6/03). The user was Jenny Grant. Changes incorporated into the protocol on 8/26/04.