SEWS 10.1.1 (1 of 3)	Sheet 1 of ______

SCREENING EVALUATION WORK SHEET (SEWS)

Piping System ID No.:

Equipment Class: Piping

Performance Category:

System Description and Fluid Boundaries:

Piping System Function and Contents

Operability	Pressure Boudary	Position Retention

Piping Layout and Structural Boundaries

Piping System Location and Reference Drawings

Piping Materials and Sizes

Weights

Concurrent Pressure and Temperature

Input Response Spectra and SAM-Reference

Final	Preliminary

Applicability

Ductile material	D/t<50	-20¡F ² T ² 250¡F	Reference Spectra

SEWS 10.1.1 (2 of 3)	Sheet 2 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Piping System ID No.:

Equipment Class: Piping

Screening Criterion (Section 10.1.1)

Screening

Criterion

Met

Notes

Construction: Piping, components and supports shall be undamaged and of good construction.

Internal Degradation: Piping and components shall be free of signigicant internal degradation.

External Corrosion: Piping, components and supports shall be free of significant external corrosion.

Vertical Span: Piping shall be well supported vertically.

Lateral Span: Piping shall be sufficiently restrained in the lateral direction.

Anchor Motion: Piping shall have sufficient flexibility to accommodate the seismic motions of structures, equipment and headers to which it is attached.

Mechanical Joints: Piping shall not contain mechanical joints which rely solely on friction.

Flanged Joints: Flanged joints shall withstand the expected seismic moments without leakage.

Equipment Nozzle Loads: Equipment shall not be subjected to large seismic loads from the piping systems.

Eccentric Weights: Eccentric Weights in piping systems shall be evaluated.

Flexible Joints: Flexible joints shall be properly restrained to keep relative end movements within vendor limits.

Evaluation of Pipe Supports: Pipe supports shall be capable of withstanding seismic loads without failure.

Interaction with Other Components: The piping being reviewed shall not be a source of interactions by displacement or swing impact on adjacent components.

No other concerns

SEWS 10.1.1 (3 of 3)	Sheet 3 of ______

SCREENING EVALUATION WORK SHEET (SEWS) (Cont.)

Piping System ID No.:

Equipment Class: Piping

Comments

Screening Walkdown(s):

Date	Time	Team Members

Recommend Resolution

q	Maintenance action:

q	Further evaluation:

q	Retrofit design:

q	Other:

q	No further action required.  Equipment is seismically adequate.

All aspects of the equipment's seismic adequacy have been addressed.

Evaluation by:  			Date:

(All team members)