Site Survey:  Gan, Maldives

7-12 October 2003

by Peter Budgen

Scope of Survey

To report on the viability of Gan as a GUAN (Global Climate Observing System (GCOS) Upper Air Network) station.

General

The Maldives is a small country that has very few resources of its own.  The most important one that has been recognised is that of tourism, based on the excellence of the underwater scenery, and scope for other watersport activities.  To this end a large amount of effort has been put into building up the necessary infrastructure from around 1973 with the opening up of the first resort hotels in the Male area.  Since then many of the islands in the North and South Male Atolls have been developed as tourist centres.  In recent years other adjacent atolls have also started to be developed.

With the facilities left by the RAF in 1976, Gan has long been regarded as a site for development as a tourist centre with direct international flights being possible there because of the long runway.  However, effort in using Gan since 1976 has centred around a number of garment factories on the island, plus small-scale tourism based on the only hotel in the atoll in the former Gan Sergeants Mess.  Tourist access has been via small feeder aircraft from Male.  However, many of the facilities on Gan have required replacement in recent years, much as a result of old age as neglect.

Since my last visit to Gan in 1988 there has been something of a noticeable economic renaissance in Addu Atoll with investment by the Maldives Government in some major projects, including the provision of a new electricity supply from a generating station, and commencement of construction of a new deepwater harbour on Hittadu.   A new, paved road also now stretches from Gan in the south to the northern end of Hittadu, some 15km in length.  This road, opened in October 2002, is by far the longest in the whole of the Maldives.

The local fishing industry has also been improved, with a number of larger, motorised fishing boats.  These are capable of being at sea longer than just one day, rather than the small, traditional sailing dhonis that have been used previously.  A new small harbour has been constructed on Maradu especially for these new boats, with two government owned factory ships lying just offshore in the lagoon.

Work has already started on the construction of a new airport terminal building on Gan, removal and replacement of the old fuel storage tanks, and construction of a new, large tourist resort hotel on Willingilli, the uninhabited island next to Gan.  Longer term plans are already in hand to develop other islands in the neighbouring atolls to the north of Addu.

All this planned tourist-based activity will hopefully more than compensate for the forthcoming closure of the garment factories on Gan and their relocation to Sri Lanka.

It was most noticeable during this visit, in comparison to my previous visit in 1988, that there was a definite air of relative prosperity in Addu, with a wide variety of local shops, restaurants, satellite TV antennas and cars or motorcycles.

Maldives Meteorological Department

Although I only had the chance to visit two offices, the National Meteorological Centre (NMC) at Hulhule Airport, Male, and the observing office on Gan, Addu Atoll, it would appear that the Maldives Meteorological Department is well run.  Both offices were clean, tidy and reasonably well equipped for their respective purposes.

I last visited both offices in September 1988, and at once noticed the positive difference between then and now.  In particular the Gan office has been refurbished and slightly enlarged.  However, both offices had fairly up to date equipment, especially the NMC, which has recently acquired a Corobor SADIS system.

The Met Department had successfully persuaded the Airport Authority that as SADIS is basically an aviation facility it would be more appropriate if they were to purchase it, rather than the Met Department.  Previously the NMC had an ageing TCDL SADIS system, but this could no longer be supported as the company had ceased operating.  The new system utilised the existing Matra-Marconi receiver, antenna and low noise amplifier.  All that was purchased in the end was an up to date computer and software.  A large monitor and printer were all sourced locally to minimise the initial costs.

Apart from the old American Enterprise W100 windfinding radar, which has not been operational for very many years, the only noted equipment failure is with the chart recorder for the Vaisala wind system, where it had taken a long time for Vaisala Finland to respond to requests by fax, email and phone for a replacement printer head.

Gan: Buildings

Apart from the refurbished and extended main office, the first thing I noticed was that the balloon filling building was no longer in position.  Where it had been was not only empty of any building, but the site had been landscaped to remove any trace of former buildings.  However, I was quickly reassured that a new building had been erected to the east of the Met Department.  At present it is unused for its intended purpose, and a large part of the interior is being used as a repository for old office benches and desks.

The old Electrolyser hydrogen generator and storage tank had been moved into position, but no attempt had been made to make them operational.  Indeed there is still no mains electricity or water supply laid into the building, although I was assured there would be no difficulty to do so.

One item that had, however, been installed outside under the overhanging eves was a 3000 litre storage tank for collected rain water.  This water is used for drinking purposes, although I could see no evidence of any filtration or purification facilities.  I did notice a large number of similar tanks outside domestic houses and other buildings on the neighbouring islands.

Nevertheless, the new building will be suitable for balloon filling and housing the Proton HOGEN hydrogen generator, possibly even without the removal of the existing Electrolyser generator and tank.  There is plenty of internal space for balloon filling activities.  The large sliding door is situated on the prevailing leeward side of the building.  Immediately in front of the building there is a steel lattice aerial support tower and its necessary mooring cables.  However, there is ample room for launching balloons to the side of the balloon shed.  It is not ideal, but still a long way from being unsatisfactory.

The main building has a large observing office looking out towards the western end of the runway, and the newly rebuilt fire section.  The room is air conditioned and has a number of PCs and associated peripherals on desks alongside the windows.  Other desks are adjacent to the other walls.  In all there is plenty of room to house extra equipment relating to any new radiosonde system.

The Senior Met Officer’s office is on the opposite side of the entrance corridor to the observing office, and has a view directly to the south and the main runway.  In addition there are other rooms that are used as rest areas or are relatively unused.  With a little ingenuity it would be possible to create a storage area for sondes and balloons that could be kept cooler and less humid than in a further corrugated metal storage building between the main office block and the balloon filling building.   The other two buildings do not have any air conditioning facilities, and the internal conditions could get very hot and humid.

I was assured, both in Gan and Male, that there would be no problem about the Met Department laying on mains electricity and water to the balloon filling building, as well as removing the old junk, and possibly even the old Electrolyser hydrogen generator.  I was assured that there would be an adequate electricity supply for the HOGEN generator, namely 190-240V, 50/60Hz, 12.0kVA.

Gan: Electricity Supply

One of the other positive features about Gan was that the old electricity generators left by the RAF in 1976 have now been retired.  Indeed even in 1988 at least one had already been replaced.  A new mains electricity supply to the whole atoll has been provided by the State Electricity Board (Statel) through a new generating station on Hittadu.

The present electricity supply is reckoned to be very reliable, with no power cuts or significant variations in voltage.  Information about this came from not only the met staff, but also some ex-patriate staff who are constructing the new Gan airport terminal building.  The good electricity supply is also evidenced by the fact that although many of the PCs in use have a UPS and/or voltage stabiliser, there are those that do not.  These latter PCs in use have been running without any bother.  However, to be on the safe side it will still be prudent to include a UPS with voltage stabilising facilities to prevent equipment damage caused by voltage surges or spikes from external means, eg. lightning, etc.

The electricity supply is rated at 240V, 50Hz, with UK-style 13A square pin outlets.

Gan: Telecommunications

This topic caused the most bother in attempting to ascertain the true situation, as different informers gave me varying, or even conflicting, information.

Current practice on Gan for disseminating surface observations (synoptic and METAR) is for a telefax message to be prepared on a PC and then sent as an ordinary fax to the NMC in Male.  They transcribe it and pass it on to Delhi.

As a backup to the telefax method, messages are dictated over the phone to the NMC.

Various informants stated that email/internet is not used from Gan for routine observation messages, because internet is not reliable or because of connection problems.  Different explanations were advanced on the cause of these problems, but no definitive answer was received on Gan.  Mention had been made of the limited number of lines between Gan and Male, as well as the limited number of ports into the local Internet Service Provider (ISP).  These reasons are probably very valid in view of the large, and increasing, numbers of people using the phone and internet in Addu Atoll, causing congestion at peak times.  The final, and probably correct, explanation was given in Male that access to the internet was severely restricted to prevent any misuse, and to minimise the size of the phone bills.

It came as something of a shock to learn about the cost of telecommunications in the Maldives in general, and Gan in particular.  The Gan Met Department currently only has one telephone line to cater for all its needs.  Use of the phone is severely restricted, and no international calls are allowed under any circumstances.

The monthly phone bill for Gan is about 10,000 Rufiyaa.  This is equivalent to £500 or $780 per month.  Line charges are about 2,000 Rufiyaa (£100 or $156) per month.  Internet access is by modem only.  Broadband is not yet available on Gan.  However, observed internet connection speeds were a very respectable 50.2 kB/sec.

Although hopes exist for improving the telecomm situation from Gan, it is likely that there will be no immediate improvement in the situation, because of cost restrictions.  Whether this will hold true after the airport on Gan begins international operations in October 2004 remains to be seen.

Although the current telefax method is not an ideal solution for transmitting data to Male, it will probably be adequate for use with the upper air messages until something better is available.

Gan:  Staff

There are about 12 observers on Gan at present to cover the observing programme, with supposedly 4 on at any one time.  However, when I visited the office on the Friday morning there was only one person visible, although it must be said that Fridays in the Maldives are the equivalent of Sundays in Christian countries.  Nevertheless I have no reason to disbelieve the assurance that sufficient staff are available for their current needs.

The additional work involved with any upper air system is probably about 2 hours for a single ascent.  I feel this could be accommodated within the present staff levels for a 1200UTC (1700 local time) flight, but probably not for an additional flight at 0000UTC.

I was informed that there was little turnover of staff on Gan, as the Met Department is considered to be a good place to work.

Mr Abdullah Algeen, Deputy Director of the Maldives Met Department, said that plans are in hand to recruit extra staff in the near future for Gan to coincide with the increase in work involved with the international status change of the airport in October 2004.  In particular there will be a need for 4 forecasters and 2 observers, or possibly 1 observer and 1 technician.  None has been recruited yet and they will need training before they can take up positions.

Gan:  Management

The present Senior Met Officer, Mr Ali Wafir, has been in post for well over 20 years now.  He is local, with a home on Midu on the eastern side of the atoll.  It is obvious that he runs an efficient office, and appears very competent.  I was not formally introduced to any of the observing staff, but noticed they went about their business with a quiet efficiency.  This was even true when I arrived unannounced at the office on the Friday morning.  Only one observer appeared to be on duty, but I did see him carry out an observation and send it by the telefax link.

I enquired about any quality management systems that may be in place, but I was sceptical about their assurances that they did have some.  The procedures that were described to me were more related to quality assurance than quality management.  I received a similar response when talking to Mr Algeen in Male.

There are no technical staff permanently based on Gan.  Although Mr Wafir indicated that there would be no difficulty in recruiting a suitable candidate from Addu Atoll, Mr Algeen later informed me they have no immediate plans to recruit anybody. However, the possibility has not entirely been ruled out.  There appeared to be no other external sources of technical staff on Gan, although I did not get the opportunity to seek any out.  It is probably safe to assume the only technical staff available to handle equipment problems on Gan will be those based at NMC Male.

My feeling was that there is a great deal of commitment to having an upper air system on Gan.  Both Mr Wafir and Mr Algeen appreciated the importance of having such a station on the equator, even more so than at Male.  Such an equatorial site is of great significance not only to the Indian Ocean but also on a regional or global basis.  Even Mr Abdullahi Majeed, the Deputy Minister of Home Affairs, Housing and the Environment (and current Director of the Met Department) was actively keen to have the station operational.

Maldives Government Budget

This topic has been difficult to assess.  It is obvious that the Met Department under Mr Algeen is determined to make the most efficient use of the money allocated to them.  I did not notice any wasteful practices, and certainly in the case of the telecommunications on Gan all the staff were conscious of the costs involved.

With just the current commitment to maintaining the observing network and forecasting duties at the NMC Male it is obvious that the Met Department strives to keep all its equipment operational and fairly up to date.  There are also modest plans for improvement with the possible introduction of a few automatic weather stations to islands to the north of Male, where there is currently only one observing site at Hanimaadhoo in the extreme north.

Some improvements are being somewhat enforced on them with the upgrade of the Gan airport to international status in October 2004.  This will coincide with the opening of a new large hotel on the neighbouring island of Willingilli, alleged to become the largest hotel in the Maldives.  There are also future plans for opening other resort hotels on one or more atolls to the north of Addu Atoll.  All this tourist activity will help ensure the long-term viability of Gan International Airport, even when the various garment factories on Gan cease operations and relocate back to Sri Lanka late in 2004.  So far there seems to have been little increase in the regular budget for the Met Department to compensate for the extra strains placed on it.

All in all, my honest opinion is that the Maldives Met Department is going to find its resources stretched to the limit, not only in maintaining the present level of commitment, but also with an increase in commitment with the upgrade of Gan airport to international status.

Mr Majeed was reasonably confident that the 2004 budget submission would be approved in the next month or so.  It is obviously too late now for the 2004 budget submission to be altered, but he felt that there may be some scope for increasing the budget amount in 2005 and onwards.  However, whether that increase could cover a possible $72,000 per year for radiosondes and balloons at this stage is very debatable.

Recommendations

Gan holds an almost unique place in meteorological and climatological circles in that it is one of the very few ocean-based sites situated on the equator, being only 35 minutes of latitude south.  It is therefore of some importance for not only local reasons, but also regional and global considerations to have an upper air observing station there.

My recommendation is that for the purposes of the project for redeveloping Gan as a GUAN station a Vaisala DigiCORA III system using RS80 GPS sondes should be installed there.  Current staffing levels on Gan and budgetary constraints will prevent more than one ascent per day being undertaken.

Additionally a new hydrogen generator system, such as the Proton Energy Systems HOGEN 40 should be provided.

My main reasons for choosing the Vaisala GPS system rather than a direct tracking system, such as radio-theodolite, are:

- There are no technical staff permanently based on Gan at present, or for the foreseeable future, and the GPS system has the benefit of being very reliable, with no electro-mechanical equipment requiring higher levels of preventative and curative maintenance.

- With the very slack upper wind structure the instances of balloons passing overhead are quite frequent, requiring very good tracking properties in whatever system is chosen.  GPS systems are much more reliable than radio-theodolite systems in this respect.

- For one-man operation, which is all that current staffing levels on Gan will allow, launching and locating GPS sondes is very much simpler than with radio-theodolite sondes.

Actions: United Kingdom

- Provide one Vaisala DigiCORA III radiosonde system, including a suitable uninterruptible power supply (UPS) with voltage stabilising facilities.

- Provide an initial supply of at least 400 radiosondes and suitable balloons for one year’s operation.  If project funds are sufficient then consideration should be given to providing further sondes and balloons, not necessarily at the same time as installation.

- Installation of the equipment on Gan, either by manufacturer’s staff or Met Office staff, as appropriate.

- Provision of on-site training for all operating staff on Gan in the use and operation of the equipment.

- Provision of on-site technical training for at least two technicians from NMC Male in the care and maintenance of the equipment.

Actions: WMO

- Provide one Proton Energy Systems HOGEN 40 hydrogen generator, including storage tanks and suitable water de-ionising equipment.

- Installation of the equipment on Gan by manufacturer’s staff.

- Provision of on-site technical training for at least two technicians from NMC Male in the care and maintenance of the equipment.

Note:  Any equipment provided should be consigned to the Maldives Meteorological Department through the Resident Representative of UNDP in Male to facilitate customs clearance, etc.

Actions:  Maldives Meteorological Department

- Clear the balloon filling building of all extraneous items, including the existing Electrolyser hydrogen generator and storage tank.

- Provide a mains electricity supply to the building, and a suitable junction box in the hydrogen generator area capable of supplying 240V, single phase, 50Hz, 12.0kVA power to the new hydrogen generator.

- Provide suitable and adequate gas-proof lighting inside the balloon filling building.

- Make provision for water from the rain water storage tank outside the balloon filling building to be available at the new hydrogen generator position.  Provision should also be made for filtration of this water.

- As a backup facility for the new hydrogen generator also provide a mains water supply.

- Provide suitable balloon filling equipment, such as hoses, nozzles, and operator protective clothing.  Any balloon filling equipment should have adequate earth connections to facilitate the dispersal of static electricity build-up caused during the balloon filling process.

- Provide suitable and adequate storage facilities for the radiosondes and balloon being provided under the project.  Although any such storage space does not need to be kept to the same ambient conditions as for electronic equipment, such as PCs, it should have some form of temperature and humidity control.  Unventilated and non-air conditioned buildings would not be suitable for storage of the radiosondes and balloons.