Green Building Construction and "Energy Showcase"

National Conservation Training Center

Shepherdstown, West Virginia

by David Guthrie, U.S. Fish and Wildlife Service

Overview

The Fish and Wildlife Service's National Conservation Training Center is a training campus of 16 buildings comprising 350,000 energy-using gross square feet.  It will meet fish and wildlife related training needs for professionals in the Service as well as other Federal, State and private entities.  Elements of the facility include classroom and laboratory training facilities, dormitories, dining facilities, an education outreach component, day care, site infrastructure, support facilities, and utilities.  Approximately 250 students could attend the Center at any given time to take comprehensive technical and management training courses in support of environmental activities.

Construction of the Center began in July 1994.  The Center opened in September 1997 with completion of the fourth dormitory scheduled for the spring of 1998.

The Service's goal for construction of the Center was to utilize low-risk energy conservation management technologies and applications that are readily available, easily maintained, and cost effective.  In addition, siting of the project met a number of goals such as:  increased biodiversity on the site; new meadows; enhanced woodlands (and no net loss of trees); reinforced hedgerows; and maintenance of cropland for demonstration farming.

Engineering design work included analyzing building envelopes and lighting for energy efficiency using two new computer programs developed by the Department of Energy and Battelle Pacific Northwest Laboratories.  Designs for the nineteen buildings at the Center were analyzed.  All buildings passed program requirements, and thus were in compliance with "Energy Conservation Performance Standards for New Buildings" (10 CFR 435).  In addition, another computer program developed by the

Trane Corporation (TRACE) confirmed that the FY 2000 building energy use goal would be achieved, which it was.

The following are some of the key energy management and green Federal purchasing features of the Center.

Passive Solar Energy Design

- Buildings oriented on an east/west axis to take advantage of southern exposure;

- Larger window area on south side of the buildings than on the north side;

- Sun screens for windows;

- Brick floors behind windows for solar gain;

- Extended roof lines (overhangs) for summer shading without precluding winter sun; and

- Landscaping for optimum summer shading and wind breaks;

Heating, Ventilation, and Air Conditioning (HVAC)

- The lowest life-cycle cost effective HVAC system was specified, including:

  - Water is chilled using cheaper off-peak electricity and stored for use during peak hours when electricity is more expensive;

  - Heat pumps supplemented with electric heat; and

  - Centralized mechanical controls and variable speed motors.

- Use of non-chlorofluorocarbons (CFC's) or CFC substitutes in HVAC systems.

Lighting

- Lighting uses energy-efficient electronic ballasts and T-8 lamps.

- Ambient and task lighting are specified throughout.

- Clerestory lighting provides natural light.

- Lighting complies with 10 CFR 435, as determined by LTGSTD 2.4.

Insulation

- Center is "superinsulated":

- Argon-filled, double-pane (not "low e") windows with high insulation values (R = 6-7) are used;

- Insulation in ceiling and walls exceeds code requirements (up to R = 52); and

- Floors, foundations, and masonry voids are filled with insulation (up to R = 25).

- Building envelopes comply with 10 CFR 435, as determined by ENVSTD 2.4.

Use of Recycled Materials

Many of the materials were selected for sustainability, within the limitations of Federal procurement and "Buy America" requirements.  Initial ideas for low-maintenance natural wood siding (i.e., redwood and red cedar) were not chosen for environmental reasons such as limited second growth and maintenance of spotted owl habitat.

- Specifications require:

  - Use of 100% fly ash as an additive in normal proportion in the cement;

  - Reclaimed metals in low-maintenance metal (all-steel) siding instead of redwood and red cedar;

  - Available range is approximately 30 - 70% recycled steel:

    - Due to contracting requirements, more than one supplier had to be specified (i.e., we couldn't isolate the highest percentage recycled steel supplier);

    - As such, an approximately 30% recycled steel content specified by 3 manufacturers was selected;

  - Recovered materials in the insulation:

    - For example, cellulose material in acoustic tile is 100% recycled material;

  - Resilient flooring made from recycled tires for high impact and physical training areas:

    - Except for pigmentation, additives, and adhesives, 100% of material in these areas was recycled tires; and

  - Drywall with high content of recycled gypsum (made from recycled drywall).

    - Did not specify gypsum, which is calcium sulfate, CaSO4.H2O, manufactured as a byproduct from sulfur dioxide air pollution control processes.

  - Use of other recycled materials was encouraged.

Indoor Air Quality

- Interior finishes and related systems such as adhesives, laminates, and inherent materials were specified with the intent of reducing Volatile Organic Compounds (VOC's), which could result in deterioration of indoor air quality.

- Air flushing of all Center buildings will occur after installation of materials and prior to occupancy.

Aesthetics

Aesthetically, the buildings were designed to fit the scale and character of surrounding rural structures such as the Hendrix farm, which was built in the 1700's.  View corridors, areas immediate to the historic farm, and a historic race track located next to the farm were protected.  In response to local concerns about maintaining the agricultural character of the area, the farmland in the foreground was maintained.

Protection of Cultural Resources

Before construction was initiated, archeological surveys and studies were conducted to protect and record cultural resources.  Prehistoric artifacts, Native American encampments, homestead sites from the 18th and 19th centuries, and two cemeteries were found.

For more information, see http://training.fws.gov/