1. BACKGROUND:	1

1.1. General: I3MP	1

2. SCOPE OF WORK:	1

3. POINT OF CONTACT:	1

4. APPLICABLE DOCUMENTS:	2

4.1. Attachments:	2

4.1.1. List:	2

4.1.2. Order of Precedence:	2

4.2. Provided by Site  (Site Specific Documents):	2

4.3. Other Documents:	2

5. REQUIREMENTS:	3

5.1. Period of Performance:	3

5.2. Task Discrepancy Reporting:	3

5.3. Material Specifications:	3

5.3.1. Contractor Furnished Materials.	3

5.4. Engineering:	4

5.4.1. Minor Engineering Deficiencies:	4

5.4.2. Significant Engineering Deficiency:	4

5.4.3. Value Engineering:	4

5.5. Outside Plant:	4

5.5.1. Cable / Duct Tracking	4

5.5.2. OSP Cutover Plan	4

5.6. Optical Network: (not applicable)	5

5.7. Data Network:	5

5.7.1. Voice over Internet Protocol (VoIP), (if applicable)	5

5.7.2. Select Data Equipment:	5

5.7.3. Communication Cabinets/Racks:	6

5.7.4. Cable Management:	6

5.7.5. Network Integration Scheme:	6

5.7.6. IP Addressing Scheme:	6

5.7.7. System Cutover Plan:	6

5.7.8. Turn Key Migration of Data Users.	6

5.7.9. Equipment De-Installation:	7

5.7.10. Network Component System Software Code Compliance:	7

5.7.11. Network Security Provisioning and Configuration of Network Components (L2/L3), and Security Configuration Workgroup	8

5.7.12. Responsibilities for and Prohibitions on Contractor Personnel Use of Government Information Systems (IS) May 2005.	8

5.7.13. Grounding and Bonding:	10

5.8. Communications Shelters	10

5.9. Voice Switch (Not Applicable)	10

5.10. Site Specific / Unique Conditions	10

5.10.1. Site Access/Limitations:	10

5.10.2. Secure Buildings and Rooms:	11

5.10.3. Digging Limitations:	11

5.10.4. Work Schedule:	11

5.10.5. Seismic Zone.	11

5.10.6. Excavation and Backfilling:	12

5.10.7. Road Crossings:	12

5.10.8. Digging Permits:	12

5.10.9. Utilities:	12

5.10.10. Historical and Archeological Considerations:	12

5.10.11. Ponds/Wetlands/Creeks and Habitat for Endangered Species:	13

5.10.12. Asbestos/Lead-Based Paint:	13

5.10.13. Contaminated Areas and Soil Type:	13

5.10.14. Restoration:	13

5.10.15. Waste Disposal:	14

5.10.16. Storm Water Pollution Plan:	14

5.10.17. Office Space/Temporary Storage:	14

5.10.18. Dispensary and Hospital Facilities	15

5.10.19. Fiber Cable Management System:	15

5.10.20. Facility ID Assignments	15

5.11. Testing:	15

5.11.1. Cable Plant Test:	15

5.11.2. Data Component Testing:	16

5.11.3. DWDM Testing (Not Applicable)	16

5.11.4. System Acceptance Test (SAT):	16

5.11.5. Network Thirty-Day (30) Burn-In Test:	16

5.11.6. DCO/Voice Tests and Inspections (Not applicable)	17

5.12. Other Project Support:	17

5.12.1. Program Management Office:	17

5.12.2. Technical and Installation Support:	17

5.12.3. Safety Provisions/Plan:	17

5.12.4. Damage:	17

5.13. Logistics Support / Warranty:	18

5.13.1. Equipment Warranty:	18

5.13.2. Network System Warranty:	18

5.13.3. Software Upgrades:	18

5.13.4. Outside Plant Cable Warranty:	18

5.13.5. Construction Warranty:	18

5.13.6. Voice Warranty (Not Applicable)	18

5.13.7. RESERVED	19

5.13.8. RESERVED	19

5.13.9. Supportability Strategy / Maintenance Plan:	19

5.14. Separately Priced Options:	19

5.14.1. Resident System Support Specialist (RS3)	19

5.14.2. Test, Measurement, and Diagnostic Equipment (TMDE)	20

5.14.3. Training	20

5.14.4. Additional Network Hardware/Modules	20

5.14.5. Data Network Spares	21

5.14.6. Voice Spare Parts (not applicable)	21

6. MEETINGS AND BRIEFINGS:	21

6.1. Formal/PSR Meeting Agendas:	22

6.2. Formal/PSR Meeting Minutes:	22

6.3. Post Award/ Kick-Off Meeting:	22

6.4. Project Status Reviews (PSR):	22

7. GOVERNMENT INSPECTIONS:	22

7.1. Quality Assurance:	22

7.2. Contractor Quality Assurance and Surveillance Program (QASP).	22

7.3. Government Quality Assurance.	24

8. PROJECT DELIVERABLES AND FORMAT:	24

8.1. Deliverables:	24

8.2. Bi-Weekly Status Report	24

8.3. Project Schedule:	24

8.4. Contractor Manpower Reporting:	24

8.5. Final Project Drawings:	25

8.5.1. Red-Lined Project Drawings:	25

8.5.2. Outside Plant:	26

8.5.3. Inside Plant:	26

8.5.4. Rack Face Elevations:	26

8.5.5. Floor Plan:	26

8.5.6. Network Diagram:	26

8.5.7. Plant-In-Place Drawings:	26

8.6. Deliverables Format and Distribution	27

8.6.1. Deliverables Format.	27

8.6.2. Deliverables Distribution.	27

9. PROJECT CLOSEOUT REQUIREMENT/FINAL ACCEPTANCE	27

9.1. Final I3MP (OSP/Data/Voice) Systems Acceptance.	27

9.2. Discrepancies.	27

10. SOURCE SELECTION CRITERIA – BASIS FOR AWARD	28

10.1. Management Subfactors	28

10.2. Technical Subfactors	28

10.3. Price:	29

11. Deliverable Breakdown Performance Matrix	30

# BACKGROUND:

The Project Manager, Defense Communications Systems – CONUS (PM DCS-C) is managing the Installation Information Infrastructure Modernization Program (I3MP) upgrade implementation at Ft Indiantown Gap, PA.  The United States Army Information Systems Engineering Command (USAISEC), Fort Huachuca, AZ, provides technical oversight and engineering support for this project.

## General: I3MP

I3MP is a single integrated effort encompassing the three product lines within the I3MP program - Infrastructure (Outside/Inside Plant), Data, and Voice - as a single project. The Government will provide an approved engineering design plan (EDP, Attachment A) along with a prioritized order of execution as part of this integrated effort.

# SCOPE OF WORK:

This Performance Based Statement of Work (PBSOW) requires the contractor to Engineer, Furnish, Install, Secure, Test, Document and Cutover the I3MP upgrade of the OSP infrastructure and the optical, data and voice networks as defined in the EDP, Attachment A.  The EDP is generic and is not vendor specific.   The engineering required as part of this effort will be related to vendor specific requirements and/or proposed Engineering Changes (Value or Required).  The contractor shall select the equipment suites to implement the design, plus develop and implement the network/IP addressing scheme.  The contractor shall perform all work necessary to ultimately make the new I3MP system(s)/network(s), as well as the supporting OSP infrastructure completely operational.  The contractor shall implement network security for the components provided under this task in accordance with the Army regulations, DoD regulations, and DISA Security and Technical Implementation Guides.  During the life of the resulting delivery order, subsequent I3MP (OSP/Optical/Data/Voice) or customer funded (add) efforts may be initiated.  If required, a follow-on PBSOW for additional efforts will be issued.

All site specific documentation provided by the government represents the government's best effort to capture existing requirements and conditions at time of collection and is believed to be accurate.  It is understood that the environment at Fort Indiantown Gap is constantly changing and therefore variations may be discovered.    A post award change in design, in of itself, will not necessitate a modification to a delivery order resulting from this solicitation.

# POINT OF CONTACT:

PM-DCASS Integrated Product Team (IPT) Leader:

Anne Marie Grieco

PEO EIS

PM DCASS/PM DCS-C

Building 283, Squire Hall, Fort Monmouth, NJ  07703-5605

Voice DSN:  997-6657

Voice CML:  (732) 427-6657

FAX CML:  (732) 532-7498

Email:  Annemarie.grieco@us.army.mil

# APPLICABLE DOCUMENTS:

## Attachments:

### List:

This PBSOW, the Statement of Instructions (SOI), and the EDP (Attachment A) comprise this solicitation package. All other Attachments and additional documents (ie. CAD Drawings and Pictures) applicable for this I3MP solicitation package will be provided from the GSA Contracting Officer via CD upon request.  The following documents are to be used for information and guidance and will be used as needed to meet the requirements.   NOTE:  Deviations from the requirements in the guides listed below are allowed but the contractor must provide justification and acquire government approval prior to implementation.

- Attachment A:	Engineering Design Plan (EDP)

- Attachment B:	Outside Plant Design and Performance Requirements (OSPDPR) June 2004

- Attachment C:	Installation Information Infrastructure Modernization Program (I3MP) Data Performance Requirements Version 1.2

- Attachment D:	RS3 Job Description – For Information only.

- Attachment E:  	DWDM Guidance Document (Not applicable for this package)

- Attachment F:	IPV6 Guidance Memo

- Attachment G:	Grounding Guidelines

- Attachment H:	Communications Hut Guidelines

- Attachment I:	DoD Voice Networks Generic Switching Center Requirements (GSCR) (Not applicable for this package)

- Attachment J:	Davis Bacon Clauses and Rates

- Attachment K:	Business Analysis Report (BAR)

- Attachment L:	Optical Core Power Guidance (Not applicable for this package)

- Attachment M:  	Unique Item Identification (UID) Requirements

### Order of Precedence:

IF conflicts exist between the above documents the following order of precedence applies; PBSOW, Engineering Design Plan, Outside Plant Design and Performance Requirements (OSPDPR), and Installation Information Infrastructure Modernization Program (I3MP) Data Performance Requirements.  Upon discovery, all conflicts shall be brought to the attention of the IPT Leader and the Contracting Officer (KO) for joint resolution.

## Provided by Site  (Site Specific Documents):

Additional Site Drawings and Utility Location Maps may be available upon request after Delivery Order Award.

## Other Documents:

- Office of the Army CIO/G6, DOD IT Standards Registry (DISR), Version 04-2.0, Releases of DISR will change frequently; therefore the contractor shall use the latest version.

- American National Standards Institute (ANSI)/ Electronic Industries Association (EIA)/ Telecommunications Industries Association (TIA) Commercial Building Wiring Standard, EIA/TIA 568-B (series 1-3) Apr 2001.

- Rural Utilities Services (RUS) Telecommunications Standards for Outside Plant 1751F-643.

- Department of Defense Instruction (DoDI) 8500.2, Information Assurance (IA) Implementation, 6 February 2003

- Army Regulation (AR) 25-2, Information Assurance, Headquarters Department of the Army (HQDA), 14 November 2003

- Defense Information Systems Agency (DISA) Network Infrastructure Security Technical Implementation Guide, Version 6, 29 October 2004

- DISA DoD Telecommunications and Defense Switching Security Technical Implementation Guide, Version 2, 15 December 2004.

- MIL-STD-130 (latest revision) 	Identification Marking of U.S. Military Property

# REQUIREMENTS:

## Period of Performance:

All work associated with this delivery order shall be completed NLT 18 months from the date of the Post Award/Kick-Off meeting.  The contractor proposed and accepted schedule in response to this solicitation shall become the required period of performance, not to exceed the 18 month threshold (see Section 8.3).  This does not include the separately priced options.

## Task Discrepancy Reporting:

Throughout the period of this Delivery Order (DO) if material discrepancies or conflicting guidance between requirements documents are discovered, the contractor shall notify an I3MP PM-DCASS (IPT Lead) representative within one (1) day to obtain resolution.

## Material Specifications:

All material used by the contractor shall comply with Appendix B: the OSPDPR, Appendix C:  I3MP Data Performance Requirements and Appendix F:  IPV6 Guidance Memo.  The contractor is encouraged to specifically identify any material used that is of high quality.   In lieu of hard copy, the contractor may supply web site addresses imbedded in their proposal for specific information.  Examples of materials requiring specifications include the following:  Manholes, hand holes, pedestals, inner duct, environmental huts, protected entrance terminals, cabinets, splice cases, fiber, electronics, and any other material whereby the technical specifications may significantly vary from one mfg/part# to another. All material specified for use shall be Underwriters Laboratories (UL) listed.  Proposed materials containing technical specifications may be awarded added value, and therefore may not be substituted without government approval.

### Contractor Furnished Materials.

All materials furnished by the contractor shall be permanently identified, stenciled and/or tagged in accordance with Unique Item Identification (UID) Requirements (Attachment M), I3A Standards and commercial practices.

## Engineering:

### Minor Engineering Deficiencies:

The contractor shall provide expertise necessary to avoid unforeseeable construction obstacles or to correct minor unforeseeable EDP, Attachment A deficiencies. The aggregate of these changes will not result in a delivery order price increase nor materially affect the engineering design.

### Significant Engineering Deficiency:

The Contracting Officer and IPT Team Leader will be notified within one (1) day when the remedy to correct an unforeseeable construction obstacle or unforeseeable EDP, Attachment A deficiency will result in a delivery order cost increase or will materially change the design. The contractor shall not proceed with any corrective action until formally notified by the Contracting Officer. The Government will take the necessary actions, with support from the Contractor, to confirm and resolve the situation. The contractor shall initiate or propose actions to avoid a work stoppage and continue alternative work to minimize or eliminate project critical path delays and costs.  When a request for proposal is issued by the government to address an engineering change/modification, the contractor shall respond within 5 business days with a technical and price proposal.  Re-engineering efforts required to resolve implementation issues shall be considered within scope of the firm fixed price of this task and executed as a collaborative effort between the contractor and ISEC.  If the re-engineered solution results in a cost increase or decrease as compared to the original design, that adjustment shall be made via the modification process.

### Value Engineering:

The Government will consider any contractor proposed Value Engineering Change to the EDP.  The Value Engineering Change must clearly indicate how the change is in the best interest of the government.  If the contractor is knowledgeable of a superior solution for any part of the government provided EDP, the Value Engineering Change shall be presented to the government immediately for consideration.  A Value Engineering Change must be approved by the government prior to initiating any portion of the change.  Should the Government reject the Value Engineering Change, the contractor shall be responsible for completing the installation of the I3MP project IAW the engineering design provided by the Government.

## Outside Plant:

The contractor shall Engineer, Furnish, Install and Test (EFI&T) the I3MP OSP detailed in Attachment A – Engineering Design Plan (EDP) employing Best Commercial Practices. Specific installation and suggested testing specifications are provided in the OSPDPR (Attachment B).

### Cable / Duct Tracking

In addition to complying with all the OSPDPR duct construction requirements the contractor will attach a continuous conductive material externally, internally, or integrally on all non conductive installations, including concrete encased duct systems.  A copper wire line or a coated conductive tape may be used for this conductive material. This will enable the locating and tracking of all cable construction and underground ducting by using a metal detector.

### OSP Cutover Plan

The contractor shall develop a cutover plan.  This plan shall be submitted to the Government for review and approval 45 calendar days prior to the planned cutover.

## Optical Network: (not applicable)

## Data Network:

The contractor shall Engineer, Furnish, Install, Secure and Test (EFIS&T) the network detailed in the EDP (Attachment A).  The contractor shall be responsible for implementing, integrating, and making fully operational, the data network as designed in the EDP.  The contractor shall be responsible for component installation, interfacing legacy networks, power systems and electrical devices needed for the design, and internal riser cabling. The final installed product will be a complete operational system as verified by the Systems Acceptance Test (SAT).   The contractor shall provide a test plan to the government for approval 45 calendar days prior to the planned cutover, as well as other related plans as required in this PBSOW.

### Voice over Internet Protocol (VoIP), (if applicable)

The contractor shall ensure that the provided data solution is a Joint Interoperability Test Command (JITC) certifiable Command and Control Voice Grade Local Area Network (C2 VGLAN).

### Select Data Equipment:

The contractor shall provide an analysis report covering the equipment selected.  The analysis shall discuss the methodology and criteria used to select data networking equipment.  The equipment proposed shall be approved by the US Army Information Systems Engineering Command, Technology Integration Center (TIC), and the Joint Interoperability Test Center (JITC) and VoIP capable.  If the proposed equipment is not listed as TIC approved and JITC certified, the contractor shall provide justification and rationale as to why the equipment is superior to the Government approved equipment.  In addition, the contractor shall show how they plan to achieve TIC approval and JITC certification for the equipment.  Government approval shall be obtained prior to ordering any equipment through submission of the Select Data Equipment Report. A copy of the most recent TIC approved equipment list is provided with this PBSOW.  The Selected Network Equipment Report shall be submitted NLT 45 calendar days prior to ordering any electronics equipment.  The proposed equipment shall be upgradeable to IPv6 capability, which shall, at a minimum, pass IPv6 packets.  The contractor shall provide separate pricing for the purchase of required software patches, upgrades, firmware to ensure that all data assets installed under this delivery order are IPV6 capable (see Attachment F).  All proposed EUB switches shall be Power Over Ethernet (PoE).

#### Equipment Power Requirement:

The power budget for electronic equipment is usually vendor specific, and as such, may not have been specifically addressed in the EDP (Attachment A).  The contractor shall ensure that there is sufficient primary and back up power to fully operate the new network and the old network equipment simultaneously from installation through de-activation of the old network equipment. Therefore, the contractor shall provide any power upgrades and/or ancillary equipment required to ensure a complete and operational system that meets the reliability and availability requirements specified in this solicitation.

### Communication Cabinets/Racks:

The contractor shall provide rack face elevations for the selected vendor equipment for all MCNs/ADNs and EUBs.  The Contractor shall make reasonable efforts to install racks or cabinets that match the color and the height of the current cabinets or racks.  All new equipment cabinets shall be lockable and keyed alike. All keys shall be accounted for and turned over to the DOIM. All cabinets shall be locked after work is complete.  All new racks/cabinets shall maintain a minimum of 4 RU sparing after all equipment is installed in the rack/cabinet.  Government approval shall be obtained before the Contractor deviates from the minimum sparing requirement.  All wall mounted racks/cabinets shall be mounted on a contractor provided backboard.

### Cable Management:

Cable management shall be used between equipment and patch panels as needed. If no cable management exists, the contractor shall provide cable management. Cable management shall be installed in racks/cabinets as well as on walls where needed.

### Network Integration Scheme:

The contractor shall coordinate with the Fort Indiantown Gap DOIM and ISEC lead engineer to develop, implement, and document a secure network integration scheme, including IP addressing, VPNs, VLANs, protocols, connection of hosts, and Legacy networks.

### IP Addressing Scheme:

The contractor shall coordinate with the Fort Indiantown Gap DOIM and ISEC lead engineer to develop the IP addressing scheme in accordance with the EDP, Attachment A.  IP addresses are sensitive, but unclassified information that must be safeguarded. The contractor will handle IP addresses in a strictly confidential and protected manner.  The Contractor shall ensure, and issue a written confirmation to the government, the IP Addressing Scheme is finalized NLT 30 calendar days after equipment is ordered.

### System Cutover Plan:

The contractor shall coordinate all equipment cutovers to the new network with the DOIM POC and building IMO.  The contractor shall provide the Government with a Cutover Plan, to include a cutover schedule, for approval 60 calendar days prior to users being cutover to the new I3MP network.  The cutover plan shall be in sufficient detail to address all of the requirements of a turnkey cutover. The contractor’s Cutover Plan shall be subject to review and approval by the IPT Leader in coordination with the DOIM and ISEC.  The plan shall address, at a minimum, all work activities identified in the detailed work breakdown schedule (WBS) for network cutover and rollback.  To minimize service disruptions non-duty hour cutovers are recommended for systems identified as priority or sensitive by the DOIM. The contractor shall submit a final system cutover schedule to the government no less than ten (10) business days prior to the cutover. The Government will accept the system after all requirements have been met and documented.

### Turn Key Migration of Data Users.

Contractor shall provide a “turn key” migration of the data users from the existing data network to the new contractor provided data network after a successful SAT.  This turn key migration of data users will be executed entirely by contractor personnel with limited support from DOIM personnel.  DOIM support will be limited to providing approvals for IP addressing, connectivity testing of network equipment, and trouble desk reporting.  Contractor personnel will perform the “turn key” migration of end users and devices.  The Contractor actions shall include but are not limited to:

- Assist the DOIM in briefing all IMOs and Server Administrators.

- Coordinate with the DOIM to develop a schedule to cutover the switches, servers, and other network components to the I3MP network.

- Migrate users at a maximum rate of 25% per week with 100% migration complete at the end of the thirty (30) calendar day burn-in.

- Assist the DOIM in hot swaps of switches and connection of existing network switches to the I3MP switches (legacy connections).

- Any device (legacy or new) that cannot be cutover to the new data network for any reason shall be identified to the DOIM and IPT Leader for resolution.

- Provide all hardware necessary to provide connectivity between all I3MP data switches and existing/new patch panels including, but not limited to patch cables and jumpers.

- Perform verification testing during and/or after cutover to ensure print services, e-mail, and other software applications function in the same manner (or better) on the new network.

- Identify and Coordinate with the DOIM and End –Users, the planned network re- configurations and the IP addressing scheme.

- Provide the I3MP Product Leader with a User Migration Plan sixty (60) calendar days prior to the commencement of SAT. This contractor plan shall be subject to review and approval by the IPT Leader in coordination with the DOIM and ISEC.

If Applicable:

- Reconfigure the end-user PC from static IP address to a DHCP service.

- Provide and load any necessary software patches for the end user PCs to achieve the cutover of the DHCP oriented network.

- Identify those devices and systems, which cannot be transitioned to a DHCP service, and developing the appropriate method to transition them to the new network using static IP services.

Contractor is not required to run new premise wire nor buy new software for end-user devices to achieve cutover to the new network. However, any devices, which cannot be transitioned due to legacy issues, shall be explicitly identified in the submitted cutover plan.

### Equipment De-Installation:

The contractor shall de-install equipment as indicated in the EDP, Attachment A.  De-Installed equipment that is not being reutilized somewhere else in the network shall be turned over to the Government for disposition.  The contractor shall coordinate with the DOIM for accountability requirements and turn-in location and procedures.

### Network Component System Software Code Compliance:

The contractor shall implement the latest TIC and Joint Interoperability Test Center (JITC) approved version of code for C2VG-LAN unless an Information Assurance Vulnerability Alert (IAVA) or High category vulnerability in accordance with Common Vulnerability Exposures (CVE) classification requires a newer version of code to be implemented.  The contractor must specifically identify what each software operating system version they are implementing on the network components and if all security patches have been applied to reduce known vulnerabilities.  The contractor shall submit for approval, NLT 45 calendar days prior to ordering equipment, which code version they plan to implement and verify the code version against latest TIC approved code version and IAVA compliancy.

### Network Security Provisioning and Configuration of Network Components (L2/L3), and Security Configuration Workgroup

The contractor shall coordinate with the DOIM and the I3MP Security Engineer on all security settings prior to implementing the security settings. The contractor shall provide; network/security configurations, system and equipment warranties, software upgrades, required documentation to support DITSCAP or its successor, and RS3 support as defined in this document.  The contractor, in coordination, with the DOIM IA Rep and I3MP Security Engineering personnel shall determine specific security requirements to be configured prior to implementation of network components.    The contractor shall perform all recommended security configurations of components.  Suggested areas, but not inclusive are areas of access restrictions, passwords, SNMP, device clocks, specific network services, access lists, ports, VLANs, trunks, and filtering security controls.  Specifics of the contractor’s approach must be documented in the Migration Plan, and be accomplished prior to burn-in.

### Responsibilities for and Prohibitions on Contractor Personnel Use of Government Information Systems (IS) May 2005.

The contractor is reminded that, in addition to any other clauses in this contract, contractor personnel granted password access to Government IS or access to Government networks (including connecting contractor-owned assets to Government networks) shall comply with the following responsibilities and prohibitions:

#### Responsibilities:

##### Participate in annual Information Assurance (IA) training inclusive of threat identification, physical security, acceptable use policies, malicious content and logic, and non-standard threats such as social engineering.  Sign and comply with local installation Acceptable Use Policy.

##### Mark and safeguard files, output products, and storage media per the classification level and disseminate them only to individuals authorized to receive them and with a valid need to know.

##### Protect IS and IS peripherals located in their respective areas in accordance with physical security and data protection requirements.

##### Practice safe network and Internet operating principles and take no actions that threaten the integrity of the system or network.

##### Safeguard and report any unexpected or unrecognizable output products.

##### Report the receipt of any media (for example, CD-ROM, floppy disk) received to the Information Assurance Manager (IAM) or System Administrator (SA), as appropriate, for authorization to use.

##### Use anti-virus (AV) products on all files, attachments, and media before opening or introducing them into the IS.

##### Report all known or suspected security incidents, spam, chain letters, and violations of acceptable use to the SA, IAM, or Information Assurance Security Officer (IASO).

##### Immediately report suspicious, erratic, or anomalous IS operations, and missing or added files, services, or programs to the SA in accordance with local policy and cease operations on the affected IS.

##### Comply with password or pass-phrase policy directives and protect passwords from disclosure.

##### Invoke automatic password-protected screen locks on the workstation after not more than 10 minutes of non-use or inactivity.

##### Log off IS at the end of each workday.

##### Access only that data, control information, software, hardware, and firmware for which they are authorized access and have a need to know, and assume only authorized roles and privileges.

#### Prohibited Activities. The following activities are specifically prohibited.  Users will not—

##### Use IS for personal commercial gain or illegal activities.

##### Use IS in any manner that interferes with official duties, undermines readiness, reflects adversely on the Army, or violates standards of ethical conduct.

##### Intentionally send, store, or propagate sexually explicit, threatening, harassing, political, or unofficial public activity (that is, spam) communications. (Law Enforcement/Criminal Investigators, attorneys, or other official activities, operating in their official capacities only, shall be exempted from this requirement.)

##### Participate in on-line gambling or other activities inconsistent with public service.

##### Release, disclose, or alter information without the consent of the data owner, the original classification authority (OCA) as defined by AR 380–5, the individual’s supervisory chain of command, Freedom of Information Act (FOIA) official, Public Affairs Office, or disclosure officer’s approval.

##### Attempt to strain, test, circumvent, or bypass security mechanisms, or perform network line monitoring or keystroke monitoring (unless this is required by the Performance Work Statement of this contract).

##### Modify the system equipment or software, use it in any manner other than its intended purpose, introduce malicious software or code, or add user-configurable or unauthorized software (for example, instant messaging, peer-to peer applications).

##### Relocate or change IS equipment or the network connectivity of IS equipment without proper security authorization. Connect a non-Government IS to a Government network without authorization from an IAM or IASO.

##### Share personal accounts and passwords or permit the use of remote access capabilities by any individual.

##### Disable or remove security or protective software or mechanisms and their associated logs.

#### Any Violation Of The Provisions Listed Above May Result In The Following:  loss of, or limitations on, use of equipment and services; assessment of costs of any investigation, damage or repair to Government IS; any other contractual remedies provided for by this contract up to and including termination of this task for default; and criminal penalties.  If the contract Performance Based Statement of Work (PBSOW) prescribes different requirements than listed in this clause, the PWS takes precedence over this clause in only the areas where it conflicts.

### Grounding and Bonding:

All I3MP installed equipment will be grounded and comply with the Grounding and Bonding Guidance, Version2, Attachment G.

## Communications Shelters

The contractor shall furnish and install two pre-fab shelters IAW the EDP, Attachment A and Attachment H.

## Voice Switch (Not Applicable)

## Site Specific / Unique Conditions

Reference the attached EDP (Attachment A) and BAR for information.

### Site Access/Limitations:

Reference the attached EDP (Attachment A) and BAR for information.

#### Access Coordination:

The contractor shall coordinate with site POC, a minimum of ten (10) business days prior to the start of the project to gain access to the various installation locations in and around the site.  The site POC will coordinate access to specific buildings. The contractor shall also coordinate with site POC concerning security clearance issues.  Certain buildings may have sensitive areas within the buildings and require escorts.  Access coordination needs to be accomplished well in advance to commence work.  In addition, at a minimum, a National Agency Check (NAC) is required to perform work in these buildings.  POC’s for access will be provided upon delivery order award.

#### Citizenship:

Only U.S. citizens shall be allowed to work at Fort Indiantown Gap, PA.

### Secure Buildings and Rooms:

The contractor will comply with the DOIM’s Physical Access and Key Control policies

### Digging Limitations:

No digging will be permitted on FIG until the Environmental Analysis (EA) has been completed.  Estimated time of completion for the EA is April 06. The contractor shall limit crews to digging in no more than three (3) locations at any one time. The contractor shall describe in detail what constitutes a dig crew and a location.  The contractor shall coordinate all digging with DPW ten (10) business days prior to the start of breaking ground.  Additional simultaneous OSP ground crews will be considered by exception and coordinated with the DOIM POC and DPW.

#### General Permitting Requirements:

The contractor shall be responsible to obtain all permits as well as any other approval from Government agencies necessary to perform their work.  The contractor shall, at the award of the contract, meet with the DOIM as well as any government agency deemed necessary to coordinate and approve outside plant work.  Any delays in obtaining permits, environmental assessments, etc. shall be at the cost of the contractor and not of the Government.

#### Construction Plan

The contractor shall submit for approval by the DPW representative a construction plan indicating the type and extent of construction to be performed.  The contractor shall be responsible for obtaining the installation construction approval prior to commencing any construction.  The contractor shall apply for, coordinate and comply with local guidance and procedures concerning construction approval.  Procedures and POC’s for obtaining construction approval shall be coordinated through the DOIM.  Any construction must be necessary and integral to IT objectives to Engineer, Furnish, Install, Secure, Test, Document and Cutover the I3MP upgrade of the OSP infrastructure and the optical, data and voice networks as defined in the EDP, Attachment A.

### Work Schedule:

Normal working hours shall be Monday through Friday, from 7:30 am to 4:30 pm.  The contractor shall make arrangements with the DOIM, one (1) week prior for any OSP work that cannot be performed within normal business hours.  Building access will only be available during the normal business days.  Some work performance may have to be conducted after normal business hours for areas that would impede normal office operations or vehicular traffic flow.  Some vehicular traffic routes may be limited during times of physical training.  Prior coordination is required to perform work after normal business hours. POC is Ericka Smith (717) 861-2702.

### Seismic Zone.

The upgrade shall be installed in accordance with the seismic zone requirements applicable to this location.  A reference for Seismic zones can be found at www.cusec.org/S_zones /NMSZ/nmsz_home.htm.

### Excavation and Backfilling:

The contractor shall perform all excavation and backfilling IAW the OSPDPR, Attachment B and the EDP, Attachment A and DPW.

### Road Crossings:

Reference the attached EDP, Attachment A.  Contractor shall submit a Traffic Control Plan as required by the Ft Indiantown Gap Digging Permit application.  Paved roadways/parking areas shall be crossed using the cut and resurface, push & bore, or directional bore method, as identified on the project drawings.

### Digging Permits:

The contractor shall be responsible for obtaining a digging permit prior to commencing any excavation.  The contractor shall apply for, coordinate and comply with local guidance and procedures concerning digging permits.  Procedures and POC's for obtaining digging permits shall be coordinated through the DOIM.  Prior to digging in any location in the project area it is the integrator's responsibility to ensure that required digging permits have been obtained and approved or authorized.  Failure to acquire the required permits will result in the contractor being responsible for the repairs to damaged utilities and reimbursement to the government (or affected non-governmental organizations) for loss of service of the damaged utility(ies).  The contractor shall immediately notify the government upon damaging any utilities, and complete the repair of such within 24 hours.  If not fixed within 24 hours, the installation will repair the damage and charge the contractor.  POC is Mr. Thomas Wood (717) 861-8870.

### Utilities:

The contractor shall coordinate all utility locates through the DOIM and DPW.   The contractor shall apply for, coordinate and comply with local guidance and procedures concerning utility locates.  Procedures and POC's for obtaining utility locates shall be coordinated through the DOIM.  Prior to digging in any location in the project area it is the integrator's responsibility to ensure that required utility locates have been accomplished.  Failure to acquire the required utility locates will result in the contractor being responsible for the repairs to damaged utilities and reimbursement to the government (or affected non-governmental organizations) for loss of service of the damaged utility(ies).  The contractor shall immediately notify the government upon damaging any utilities, and complete the repair of such within 24 hours.  If not fixed within 24 hours, the installation will repair the damage and charge the contractor.   All site workers shall be required to carry emergency POC/phone number information on their person at all times.  Digital pictures shall be taken by the contractor before all digs/construction and after restoration.  Pictures shall be time/date stamped. POC is Mr. Thomas Wood (717) 861-8870.

### Historical and Archeological Considerations:

The contractor is responsible for contacting the site environmental office and the historical/architecture office within 10 calendar days of award of contract.  Through coordination with these offices the contractor will determine the required permits and procedures that must be obtained/followed for the project.  The contractor shall take the actions required to obtain these permits.  The contractor is responsible for adhering to all identified and applicable environmental/historical/architecture guidelines and requirements as they pertain to the project.  Failure by the contractor to take the appropriate steps in a timely manner to obtain the required permits will not result in additional costs to the government or additional time in the schedule.  Conditions beyond the contractor's control may temper the schedule requirement.  Failure of the contractor to acquire the required permits or to follow established procedures will result in the contractor being responsible for repairs or clean-up efforts due to damage to the sensitive areas resulting from project actions.  The contractor shall comply with all local guidance and procedures.  Any and all items of prehistoric, historic and military relics or memorabilia, which may be discovered in the course of the construction activities, shall remain the property of the Government.  Examples of such items include but are not limited to: printed matter or other papers, buttons, buckles, or fragments of uniforms, buried weapons, bayonets, sabers, cannon balls, ammunition, fragments of structures or foundations, in short any item of historical or archaeological value. Federal legislation provides for the protection, preservation and collection of scientific, pre-historical, historical and archaeological data, including relics and specimens that might otherwise be lost due to alteration of terrain or building features as a result of any federal construction project. Any person, who, without permission, injures, destroys, excavates, appropriates or removes any historical or prehistoric artifact, object of antiquity or archaeological resource from public lands of the United States is subject to arrest and penalty of law. Cultural resources on Federal property are protected and managed by the Archaeological Resources Protection Act of 1979 and other applicable laws.  The contractor shall exercise care so as not to disturb or damage artifacts or fossils (should any be uncovered) during the excavation operations.  Should the contractor or any parties operating or associated with the performance of this contract discover evidence of possible scientific, prehistoric, historic or archaeological finds within the work limit lines or adjacent to work area shall immediately cease work at that location and notify the site POC.  The contractor shall provide the site POC, Ms. Rita Meneses (717) 861-9415 with all information as to the specific location and nature of the findings.

### Ponds/Wetlands/Creeks and Habitat for Endangered Species:

FIG Environmental Office will provide information. POC is Mr. Joe Keller.

### Asbestos/Lead-Based Paint:

FIG Environmental Office will provide asbestos studies, upon request. POC Mr. Joe Keller (717-861-9462.  All OSHA compliance methods should be submitted to POC two weeks prior to core drilling through wall, ceilings and floors.

### Contaminated Areas and Soil Type:

If digging exposes any suspected contaminated soil, the digging in this area must stop and the Contracting Officer or his/her representative shall be notified.

### Restoration:

#### Re-Seeding, Re-Sodding, Re-Paving Or Patching Asphalt And/Or Concrete  Pavements:

All areas affected by this construction effort shall be restored to the same condition, or better than it was prior to the construction. The normal period for such restoration is 72 hours after the work for an area is completed.  For further guidance on restoration see the EDP, Attachment A and OSPDPR, Attachment B.

#### Photgraphic Records:

A photographic record, in a digital format, shall be recorded of any construction area (inside or outside) prior to start of, and after completion of construction.   The photo records shall be of sufficient detail so that a reasonable person will be able to determine the state/condition of the project area prior to and after the construction.  The photo record shall include a date stamp of the date taken.   The photo records shall be labeled for easy identification of the area in the photo.  A digital file of the photo records shall be maintained on site by the integrator and shall be made available to the government POC (DOIM or QA) within 12 hours of request.  Digital copies of the photos shall be provided to the IPT lead on monthly basis.  A complete copy of the photo records shall be provided to the government prior to completion of project.

### Waste Disposal:

The contractor shall handle and dispose of wastes to prevent contamination of the work site and adjacent areas. Wastes shall be placed in containers as work progresses. Containers shall be emptied or removed from the site on a regular basis.

NOTE (1) Burning of rubbish or site removable construction debris will not be permitted.

NOTE (2) Rubbish and construction debris will not be disposed of in the “Post Sanitary Disposal Containers” (Dumpsters).

#### Non-Hazardous Waste Disposal:

Recyclable wastes such as cardboard will be separated and recycled to the maximum extent possible. Construction debris that cannot be recycled will be disposed of at an approved waste facility. Upon completion of daily work, areas shall be clean and free of debris.

#### Hazardous Waste Disposal:

If digging exposes any suspected hazardous waste material, the digging in this area must stop and the Contracting Officer or his/her representative shall be notified.

#### Removals:

Demolition materials shall not be stockpiled at the site. Materials shall be removed and disposed of continuously. Disposal of material shall be at a legal site off Government property.

### Storm Water Pollution Plan:

A written stormwater pollution prevention plan is not required; however, the contractor shall visit and review the site locations with the base environmental personnel as part of the submission process of obtaining digging permit approvals. As a general rule at Fort Indiantown Gap when trenching activities occur, the stormwater prevention measures are determined on a site-by-site basis to determine what stormwater prevention measures are necessary or if required prior to beginning any trenching activities.

### Office Space/Temporary Storage:

Office Space/Temporary Storage: Space will be allocated to the contractor to set up his trailer for use as an office or storage area for supplies. The contractor shall be responsible for the physical security of all materials until final acceptance.  Also, the contractor shall be responsible for the removal and disposal of all administrative trash and construction trash or debris.  Any materials damaged, lost, and/or stolen prior to final acceptance shall remain the contractor's responsibility to repair and/or replace, as required.  The contractor shall be on site to receive, inventory, move, and store all equipment at all times.

#### Staging Area

The Government will provide project unsecure staging area for staging material and the contractor’s equipment at Fort Indiantown Gap. The contractor shall provide all temporary office space and material storage containers throughout the duration of the project. Electrical service will be provided by the DPW. The contractor shall use only the areas designated by the DPW to stage material and equipment. Communications services will be provided by commercial communication service providers offering services within the area at the contractor’s expense.

### Dispensary and Hospital Facilities

The Post Hospital facilities are available for use by the contractor only for the emergency treatment of his personnel injured at the job site. Charges to the contractor for the use of said facilities will be at prevailing rates for the services provided and bill and payment will be made by separate transaction between the Hospital and the contractor.

### Fiber Cable Management System:

All cable and conduit infrastructure installed as part of this I3MP Implementation shall be tagged/labeled in accordance with the OSPDPR, Attachment B and TIA/EIA Standards.

### Facility ID Assignments

Final manhole and handhole numbers and cable ID assignments will be assigned by the DOIM office at Fort Indiantown Gap during the implementation phase of the project and shall be indicated on the final redline drawings. Building numbers for the new communication shelters will be assigned by the Fort Indiantown Gap DPW and shall be indicated on the final red-lined drawings.

## Testing:

The contractor shall perform sufficient commercial testing to ensure the installed I3MP network meets the specifications of this PBSOW and all testing shall be done with security applied.  At a minimum the tests listed in the subparagraphs below shall be performed. The EDP,

OSPDPR and Installation Information Infrastructure Modernization Program (I3MP) Data Performance Requirements Version 1.2 (Attachments A, B, and C) provide suggested test plans that the contractor may choose to follow.  Should the contractor decide to develop their own test plans these plans must be submitted to the Government no later than 60 calendar days in advance of the scheduled tests.  The contractor shall perform all tests the contractor proposes and the Government reserves the right to witness any and all testing.  The contractor will ensure that prior to testing; an Interim Authority to Test (IATT) is acquired from the Government. The test results shall be available for Government review.  The contractor shall have their own test equipment required for all testing.

### Cable Plant Test:

The contractor shall test all new cable installed and all existing cable strands being reused. The Government has tested all Government Furnished Equipment (GFE) cable that is recommended for use as identified in the EDP.  The EDP (Attachment A) and the OSPDPR (Attachment B) provide suggested test plans to accomplish and document this testing. If no existing cable strands meet the OSP Performance Specifications, the contractor shall notify the IPT leader for resolution. The contractor shall record and provide results of all cable testing.

### Data Component Testing:

The contractor shall test all new and any reused equipment that is connected to the new data network via GigE technology.

### DWDM Testing (Not Applicable)

The contractor shall utilize the equipment manufacturer’s standard commercial quality assurance practices to verify that the system meets requirements.  The contractor shall perform pre-tests of the equipment and the network before services are transferred from the existing network. The contractor shall emulate the maximum amount of traffic that can be carried by the designed DWDM transport network. The contractor shall ensure that all new core DWDM/GigE connections between the MCNs and ADNs, Server Farm, IOA&M and the ADRP router are provisioned and turned up before testing.   The contractor shall document all preliminary test results.  The results shall be available for Government review at any time. The contractor shall provide his own test equipment required for testing.  The system shall not be cutover/committed without specific Government approval in writing.  System and equipment downtime shall not be permitted without prior Government approval.  The Government will inspect the work performed and prepare a list of any discrepancies.  The discrepancy list shall include any problem(s) identified during inspections conducted by either the contractor or Government, or both.  The Government reserves the right to refuse final acceptance until all discrepancies have been resolved IAW the requirements of the PBSOW.  The contractor shall ensure that all equipment is operating properly before and after cutover of the new system.  The final installed product will be a complete operational system as verified by the Systems Acceptance Test (SAT).  The contractor shall provide a DWDM test plan to the government for approval 45 calendar days prior to the planned cutover.

### System Acceptance Test (SAT):

The contractor shall create and perform a SAT to demonstrate to the Government that the installed and secured data network performs in accordance with Government requirements. The contractor shall perform the SAT to demonstrate to the Government that the installed data network and outside plant infrastructure are capable of supporting all services that are dependant on the contractor installed I3MP infrastructure.  The contractor shall record the results of the SAT and provide the Government with a completed SAT document.  The contractor shall correct all deficiencies found during the SAT. Designated Government representatives shall witness the SAT. The Government representatives will sign the SAT, only after the system meets all of the requirements in the SAT.  The contractor shall provide notification of testing to the Government (60) calendar days in advance of the test.  Government’s acceptance of the network will be based upon the results of the tests.  The Government reserves the right to refuse final acceptance until all discrepancies have been resolved IAW the requirements of the PBSOW, EDP, and applicable standards documents.

### Network Thirty-Day (30) Burn-In Test:

The contractor shall perform a thirty-day burn-in test after the SAT to demonstrate to the Government that the network infrastructure is able to support operational users and meet the network performance standards required by the PBSOW, EDP, and applicable standards.  Immediately following a successful SAT, the contractor shall move a subset of the post’s operational users at the minimum rate of 25% per week onto the new backbone, to show that existing functional user requirements can be met.  This shall continue during the burn-in period until all users have been migrated.  For the 30-day burn-in test, users moved to the backbone will need access to the existing infrastructure, to include voice services as well as hosts and servers for data communications. The contractor shall provide a Rollback Plan sixty (60) calendar days prior to the cutover. The contractor shall correct all deficiencies found during the burn-in test. The Government will accept the system after all system requirements have been met and documented.

### DCO/Voice Tests and Inspections (Not applicable)

## Other Project Support:

### Program Management Office:

The contractor shall establish and implement a program management office function to manage all technical performance, cost, schedule, personnel, and deliverable requirements of the contract.

### Technical and Installation Support:

The prime contractor shall furnish an on-site technical and installation support manager, who is responsible to manage, schedule, oversee, administer and make decisions regarding the day-to-day installation work on site. The on-site manager shall attend meetings with the DOIM and Government personnel as necessary or as requested.  Interaction with the Government QA and site personnel in the resolution of problems, issues and scheduling of work is required.  Coordination with the site and Government QA regarding work, access, dig crews, clean up, and restoration is required.

### Safety Provisions/Plan:

In performing this contract, the contractor shall ensure the safety and health of their employees and other persons; by preventing damage to body and limb, property, materials, supplies and equipment. For these purposes, the contractor shall: (1) Insure that any additional measures the site POC determines to be reasonably necessary for this purpose are taken (2) All work done on site shall be performed in a safe manner, in compliance with Corps of Engineer, Federal, State and local safety laws and regulations. To ensure this is accomplished, prior to commencement of work, an acceptable Accident Prevention Plan shall be submitted to the Contracting Officer or his/her representative. This plan shall be written by the prime contractor and will implement in detail pertinent requirements of US Corps of Engineers Safety and Health Requirements Manual CEM 385 1-1, Occupational Safety and Health Administration (OSHA) Standards 29 CFR 1910 and other applicable regulations. The plan shall include but not be limited to measures the contractor shall take to control hazards associated with materials, services, operations or equipment.

### Damage:

The contractor shall immediately repair and/or replace all facilities and/or equipment damaged by the contractor and/or their subcontractors. All areas affected shall be restored to their original condition.  The contractor shall include a Damage Incident log in their monthly progress report submitted to the government.

## Logistics Support / Warranty:

The contractor shall provide the following logistical support.

### Equipment Warranty:

The warranty shall ensure the components of the network continue to function as tested and accepted by the Government at SAT.  The contractor shall provide a minimum two (2) year commercial equipment warranty for all equipment installed under this contract, starting from final acceptance of the data network.  Equipment shall be maintainable by the user without voiding the warranty coverage. Equipment components, which are expandable, shall be expandable by the user without voiding the warranty coverage.  The warranty shall also include 24 hours/7 days a week emergency off-site technical assistance for remote diagnostics and troubleshooting as required via a modem connection.  The contractor may propose additional warranty periods as value added.

### Network System Warranty:

The system warranty will ensure system availability for the physical network and its functionality as tested and accepted by the Government at the System Acceptance Test (SAT). The contractor shall propose a minimum two (2) year commercial system warranty, starting from final acceptance of the data system.

### Software Upgrades:

The contractor shall provide a no cost software upgrade once a year (for the length of the system warranty) upon the Government request for such services. Note: Software is required to be TIC approved software. With respect to system warranty, an upgrade is defined as any software version other than what is currently authorized on the system. The contractor shall conduct laboratory testing (one laboratory test per year) to verify that the functionality of the system is maintained as specified in the original SAT. The contractor shall update the SAT to incorporate new functionality as required by the Government. This new SAT will become the basis for the system warranty for the remainder of the warranty period.

### Outside Plant Cable Warranty:

The contractor shall provide a minimum two (2) year commercial cable warranty for all cable installed under this contract. Cable warranty coverage commences upon completion of the final acceptance.

### Construction Warranty:

The contractor shall provide a minimum two (2) year construction warranty. The construction warranty covers all workmanship, material, manhole, duct, and concrete encasement under this PBSOW. Construction warranty coverage commences upon completion of the final acceptance.

### Voice Warranty (Not Applicable)

As a minimum, the contractor shall provide a full/unlimited two (2) year warranty for all contractor provided hardware/software, materials, and workmanship to include all GFE relocated/re-used equipment.  The warranty shall include emergency off-site technical assistance as required via a modem connection, and if necessary, on-site emergency technical assistance.  The contractor shall replenish all spare parts utilized during the warranty period.  The warranty period shall begin upon Government acceptance of the equipment (upon signing the DD-Form 250).

### RESERVED

### RESERVED

### Supportability Strategy / Maintenance Plan:

The contractor shall provide a detailed Supportability Strategy Plan for executing logistical support, to include, but not limited to, the maintenance, technical data, training, the use of Mail-Back/Carry-in (MBCI), hardware repair, OEM repair, firmware upgrades, software upgrades, telephone technical support and on-site technical support. There will be no GFE test equipment provided under this contract.   The contractor shall submit the Supportability Strategy / Maintenance Plan 60 calendar days prior to the System Acceptance Testing (SAT).

#### Voice Manufacturer’s Maintenance Practices. (not applicable)

The contractor shall provide updated maintenance practices relative to the new software/hardware NLT 60 calendar days prior to cutover.  The Government requires that all practices be submitted on CD-ROM format where possible.  As a minimum, the contractor shall provide two copies of the updated practices to the site.  Maintenance practices shall include, but are not limited to, all commercial documentation required for the other systems provided by the contractor such as MAAPs, rectifiers, power supplies, consoles, etc.  The commercial documentation shall address maintenance as well as operational information.  The new MAAPs specified herein shall be used to view and print the maintenance practices.

#### Configuration Management Plan (CMP):

The contractor shall provide a detailed Configuration Management Plan (CMP).  This plan shall identify all hardware, software (code version), media, firmware (HSMF), device configuration parameters, associated documentation of a system.  At a minimum, the CMP shall include all installation configuration data required to assist in maintenance, configuration control, and inventory of the system.  The CMP shall include the confirmation to show UID reporting has been completed.  The contractor shall submit the CMP 60 calendar days prior to System Acceptance Testing (SAT) date.

## Separately Priced Options:

Due to funding availability each option may be separately funded at a later date or the Government may elect to fund all or part of the options at the time of award. Pricing for these options shall be valid for 24 months from the award date of this delivery order. NOTE: When submitting the requested separately priced options in the proposal, the contractor shall clearly designate each pricing breakout as a “SEPARATELY PRICED OPTION” and label accordingly.

### Resident System Support Specialist (RS3)

(Separately priced option)

The contractor shall provide two pricing structures for the Government to retain an RS3 on-site: One for a 24 month period and one 36-month period.  The start date for the RS3's periods of performance shall be 90 calendar days prior to SAT.  The RS3 shall function as a contractor expert who will provide continuing on-site transitional assistance to the DOIM in order to operate and maintain the system. This individual requires a SECRET clearance (see Appendix D, RS3 Functional Requirements).  The Government will provide the RS3 workspace (desk, chair, etc.), phone line and an email address for the support period.  Contractor shall provide a separately priced option(s), separate from the initial period, to allow the Government to retain the RS3 for an additional option year(s) beyond the initial period.  Government approval of individual proposed for the RS3 position is required before hiring.  The contractor shall submit RS3 resume and qualifications 60 calendar days prior to expected hire date.

### Test, Measurement, and Diagnostic Equipment (TMDE)

(Separately priced option)

The contractor shall recommend and propose as a separately priced option (see 5.14.2) appropriate TMDE required for the site technicians to support the installed network.  Contractor’s technical proposal shall, at a minimum, address the purpose for which each test set is being recommended, the quantity required, the requirement for calibration and where calibration can be obtained, and the estimated lead time for delivery.  The contractor shall propose, at a minimum, the following test equipment: (Optical) Time Domain Reflectometer; Power Meter Test Equipment; Optical Talk Set; and Sniffer/Protocol Analyzer.  The PM, the site and contractor will discuss the recommended TMDE and decide on the type and quantity of TMDE that is appropriate.  The contractor shall provide a minimum two (2) year commercial warranty on all TMDE.  The contractor shall provide, as separately priced options, the following test equipment. If this option is exercised the contractor shall provide a minimum two (2) year commercial warranty on all TMDE:

#### Metallic/Optical Time Domain Reflectometer

#### Power Meter Test Equipment

#### Optical Talk Set

#### Sniffer/Protocol Analyzer.

### Training

(Separately priced option)

The contractor shall propose a training program for site personnel covering the installed hardware and software baseline. The training shall include basic to advanced concepts on configuration, diagnostics, troubleshooting, theory, and protocols. The contractor shall provide commercial (formal) hands-on training related to the effort for a minimum of four (4) people. The training as a minimum shall cover the new optical equipment, network management, hardware and software, and Test, Measurement & Diagnostic Equipment (TMDE). The contractor shall propose both on-site (priced per class) and off-site (priced per person) training programs. Each training class shall be a separately priced option.

### Additional Network Hardware/Modules

(Separately priced option for each sub-item)

Pricing on the following hardware/modules options should be based on purchases of increments of 5.

#### EUB 10/100 Modules: Price per 24, 32 or 48 port module (depending on the type of switch used, and the vendor selected).

#### MCN / ADN Gigabit Modules: Price per 8-port module.  The modules shall be broken out by types of interface (Multimode and Single Mode).

#### EUB 24 Port Switch.

#### EUB 48 Port Switch.

#### EUB Small Chassis Switch with 1 GBIC and 1 24 Port 10/100 Ethernet module.

#### EUB Medium Chassis Switch with 1 GBIC and 1 24 Port 10/100 Ethernet module.

#### EUB Large Chassis Switch with 1 GBIC and 1 24 Port 10/100 Ethernet module.

### Data Network Spares

(Separately priced option)

The contractor shall provide a list of required spare parts for all aspects of this implementation (Optical, Data, and Voice as applicable) and associated pricing with this proposal.  The contractor prepared, Government approved spare parts list shall be the basis for all sparing. Spare parts shall be available on-site in order to maintain the required network availability for all users on the network and to prevent any network downtime. The spare parts list shall include the range, quantity and depth of spares required to support all equipment installed under this delivery order. The list shall include the name and part number and the unit price for the item.  The contractor shall be responsible for replenishment and repair of all spares during the delivery order period. The contractor shall insure that the spares have the most current or appropriate version of software/firmware installed. The contractor shall be responsible for replenishment spares within seven (7) calendar days after use of any spare is used/expended.

The contractor shall provide a list of required spare parts and associated pricing with this proposal. The list shall include the name, part number, the unit price and number required for each spare part.

### Voice Spare Parts (not applicable)

(Separately priced option)

The contractor shall provide spare parts to support the system.  Only Minimum essential spare parts shall be provided.  The contractor shall restock any spare parts utilized during the warranty period.  The contractor shall include in his proposal a listing of all spare parts furnished to the site. The listing will include the part number, description, quantity and the manufacturer (if other than the switch manufacturer).

# MEETINGS AND BRIEFINGS:

The contractor shall participate in formal and informal meetings and present briefings and progress overviews when requested to do so by the Government at no additional cost.  The number of formal meetings is estimated at four per year and may be conducted at the site or at Fort Monmouth, NJ.  The contractor shall also participate in telephonic meetings and video teleconferences (VTC) when scheduled by the Government.  The contractor shall participate in the following two (2) meetings, held weekly: an operational meeting for the site to work out day to day coordination with the contractor; and a project/progam management meeting for status and issues.  Agendas and meeting minutes for weekly meetings shall be provided by the contractor to the government NLT 1 day prior and 1 day after respectively.

## Formal/PSR Meeting Agendas:

The contractor shall provide a detailed meeting Agenda recommendation to the Government project lead at least five (5) business days prior to meeting.  The Government project lead will then finalize the agenda and forward to the required participants.  The contractor shall include any existing action items for both the Government and contractor.

## Formal/PSR Meeting Minutes:

The contractor shall provide meeting minutes for all formal meetings attended by the contractor. Minutes shall identify date, location, purpose of meeting, attendees, agreements, and action items with identification of responsible parties. The contractor shall provide electronic minutes within five (5) business days of each meeting, to include all action items and discrepancies (i.e., description, status, required and actual closure dates, and resolution). This deliverable is not required as a milestone in the project schedule.

## Post Award/ Kick-Off Meeting:

The contractor shall schedule a meeting to jointly review with the Government all of the engineering documentation to ensure a thorough understanding of the requirements.  The Government and contractor shall agree upon this meeting, no later than 30 calendar days after award.

## Project Status Reviews (PSR):

If requested, a PSR meeting, with appropriate IPT members (site and PM personnel) may be conducted by telephone conference, VTC or on-site.

# GOVERNMENT INSPECTIONS:

The Government will perform spot inspections and conduct random (periodic) inspections during the installation process to insure that the contractor is adhering to the referenced standards and practices. The Government will participate in the final test procedures.

## Quality Assurance:

The contractor shall perform Quality Assurance (QA) on all contractor-installed material, equipment, cable systems, and power systems IAW best commercial practices. The contractor QA shall report any discrepancies between what was ordered and what is delivered/ implemented performed to the Government IPT Lead and QA within 1 day of discovery for resolution.  No material proposed may be substituted with an alternate product unless approved by the government prior to delivery.  The contractor shall correct all deficiencies reported by Government QA personnel who will inspect the contractor’s work. The contractor shall issue a QA certification statement to the Government validating that the installed system is free from installation deficiencies and defects for the support service period selected. This statement shall also certify that Government documented contractor defects have been corrected and shall be submitted prior to submission of the final Systems Acceptance.

## Contractor Quality Assurance and Surveillance Program (QASP).

It is the desire and objective of the Government that the Contractor establishes, operates and maintains a highly effective and open quality control program for all services provided under this PBSOW.  The Contractor shall establish and develop data collection methods to record data ensuring work accomplished meets acceptable performance and technical standards.  The Contractor’s internal quality control program shall establish tracking records for all measurable contract performance requirements listed within the contract.  The data shall identify trends, potential and actual problem areas, and any required corrective action by the Contractor or the Government.  The QASP shall be submitted with the proposal and remain in effect during this task’s period of performance (including any option periods if exercised).  Any changes to the QASP shall be provided to the KO and PM office at least ten (10) business days prior to implementation.

The QASP shall, as a minimum, include the following provisions:

- Address overall project management, administration of equipment operations and maintenance.

- Present a comprehensive program to plan and deliver quality services described in this task to the Government.

- Describe a method acceptable to the Government to identify and prevent deficiencies in the quality of service performed under this contract before the level of performance becomes unacceptable and address processes for corrective actions without dependence upon Government direction.

- Establish an inspection system covering all services required by this contract specifying areas to be inspected on a scheduled or unscheduled basis and the title of the individual who will do the inspection.

- Contain specific quality control techniques for all contract services.

- Require documentation of all Contractor quality control inspections and corrective actions be maintained by the Contractor throughout the term of this contract.  Inspection documents shall be made available to the government Quality Assurance (QA) representative and Contracting Officer (KO).

- Describe methods of direct or indirect communications by the Contractor Quality Control (QC) representative regarding performance of the contract.  The communications shall include regular and formal meetings with the government QA representative. Informal communications shall be addressed.

- Include a customer complaint feedback system for correction of validated complaints and to inform the customer of corrections and describe how users or other interested parties may identify problem areas or situations to the Contractor.

- Provide for a weekly meeting with the government QA representative to discuss workload or problems associated with contract performance, as needed.

- The Contractor’s QC representative shall provide for the submission of monthly and quarterly Performance Data to the government QA representative and to the KO. A checklist with columns shall list services required, services completed, service not completed or services not required during this period shall be prepared.  The checklist shall be provided to the government QA representative for comments regarding performance of monthly services.

## Government Quality Assurance.

The Government will perform periodic quality assurance review and validation of Contractor’s performance data and records.  Review and validation may occur at any time during normal duty hours by providing 48 hour notification to the Contractor.  The government QA representative will primarily employ validation of contractor recorded performance data and contractor historical records and procedures.  Quality review methods may include, but not be limited to, inspection of Government-specified documents, evaluation of the Contractor’s overall performance, general compliance with task requirements, and best commercial practices.  The government QA representative may employ any of the following validation methods in conducting evaluation of services provided.

a.  Periodic validation of Contractor work

b.  Periodic surveillance and inspection of ongoing actions

c.  Review of contractor QC certification statements.

d.  Response to service outages.

# PROJECT DELIVERABLES AND FORMAT:

## Deliverables:

The contractor shall obtain Government approval on all deliverables (unless otherwise stated below). A deliverable shall be deemed acceptable when the Government determines that it includes all of the elements of the required work. Government approval will be provided within 30 calendar days after submission (unless otherwise stated).  The Government reserves the right to refuse final acceptance of deliverables until all discrepancies have been resolved.  All deliverables shall be posted on a contractor provided Project Management website or emailed to the government project team on or before the due date.

## Bi-Weekly Status Report

The Bi-Weekly Status Report shall include a summary of milestones completed, significant actions, on-site issues / concerns and overall project status compared to schedule and work to be completed in the following two week period.

## Project Schedule:

The contractor shall prepare as part of their proposal a project schedule for the entire period of the delivery order commencing with the award date and ending on final systems acceptance based on the priorities outlined in this PBSOW.  The schedule will be made part of the delivery order (DO). The schedule shall consist of manageable tasks of defined duration. Tasks shall culminate with specific intermediate milestones. Task duration shall be entered as calendar days. Task relationships shall be established to provide for a project critical path. The project schedule shall be viewable as a Gantt chart. The schedule will be finalized within 30 calendar days of the delivery order (DO).  The project schedule shall be updated and tracked throughout the period of performance as milestones are achieved or delayed.  The critical path shall update based on progress made.  The Government will be the final approval authority for all meeting dates.  Project deliverables shall be included in the schedule.

## Contractor Manpower Reporting:

“The Office of the Assistant Secretary of the Army (Manpower & Reserve Affairs) operates and maintains a secure Army data collection site where the contractor will report ALL contractor manpower (including subcontractor manpower) required for performance of this requirement.  The contractor is required to completely fill in all the information in the format using the following web address https://contractormanpower.army.pentagon.mil.

The required information includes: (1) Contracting Office, Contracting Officer, Contracting Officer’s Technical Representative;, (2) Contract number, including task/delivery order number; (3) Beginning and ending dates covered by reporting period; (4) Contractor name, address, phone number, e-mail address, identity of contractor employee entering data;, (5) Estimated direct labor hours (including sub-contractors); (6) Estimated direct labor dollars paid this reporting period (including sub-contractors); (7) Total payment (including sub-contractors); (8) Predominant Federal Service Code (FSC) reflecting services provided by contractor (and separate predominant FSC for each sub-contractor if different); (9) Estimated data collection cost; (10) Organizational title associated with the Unit Identification Code (UIC) for the Army Requiring Activity {[The UIC and organizational title associated with the Army Requiring Activity is W6DY15 for PM Defense Communications and Army Switched Systems, Fort Monmouth (PM Def Comms & Army Switched Sys)]. (11) Locations where contractor and sub-contractors perform the work (specified by zip code in the US and nearest city, country, when in an overseas location, using standardized nomenclature provided on web site); (12) Presence of deployment or contingency contract language; and (13) Number of contractor and sub-contractor employees deployed in theater this reporting period (by country). As part of its submission, the contractor will also provide the estimated total cost (if any) incurred to comply with this reporting requirement.  Reporting period will be the period of performance not to exceed 12 months ending 30 September of each government fiscal year and must be reported by 30 October of each calendar year.  Contractors may use a direct XML data transfer to the database server or fill in the fields on the website.  The XML direct transfer is a format for transferring files from a contractor’s systems to the secure web site without the need for separate data entries for each required data element at the web site.  The specific formats for the XML direct transfer may be downloaded from the web site.

## Final Project Drawings:

All final As-Builts shall be submitted to the government for acceptance NLT 90 calendar days after cutover.

### Red-Lined Project Drawings:

The contractor will provide as-built drawings of the installed communications infrastructure upgrade in AutoCAD Release 2002 or later. The as-built drawings will be created from the existing engineering drawings provided to the installation contractor, or from Geographic Information System (GIS) site maps provided from the installation or from ISEC-FDED. The as-built drawings will be created to be geo-spatially correct, using a Global Positioning System (GPS) to accurately locate manholes, handholes, pedestals, building entrances and paths installed under the engineering project. GPS data will be collected to a sub-meter accuracy using the WGS-84 coordinate system and will be projected in a state plane coordinate system. All as-built drawings will be created in accordance with the drafting standards provided by ISEC-FDED and the Tri-Services Spatial Data Standards (SDS).  Throughout the installation process, the contractor shall maintain an up to date, redline, copy of all changes made to the original project design drawings. The contractor shall enter such changes and corrections on the project design drawings promptly, but in no case later than on a weekly basis. The contractor shall, upon completion of the final subsystem acceptance test, furnish three sets of the redlined drawings depicting the actual installation and final network configuration for the types of drawings specified below.  One copy of the drawings shall be provided to the site Project Lead, one copy to the site POC, and one copy shall be provided to USAISEC-FDED, ATTN:  Infrastructure, 1435 Porter St., Suite 200, Fort Derrick, MD 21702-5047.

### Outside Plant:

OSP drawings redlined to reflect actual installation.  The level of details on the OSP drawing shall include but not be limited to, the number and size of ducts installed, maintenance hole locations, and cable tags for all cables installed by this project.

#### Maintenance Hole:

Maintenance hole butterfly drawings redlined to reflect actual installation.   The level of details in the butterfly drawings shall include but not be limited to, the cables, splice cases, ground rods, ground cables, and ducts installed by this project.  Cable shall be tagged on the drawings with cable identification. The contractor shall coordinate with the Government regarding the cabling numbering format plan.

### Inside Plant:

Inside Plant (IN) drawings redlined to reflect actual installation to include but not limited to new equipment, new cable paths, new power components/circuits, new grounding system components, etc.

### Rack Face Elevations:

Rack Face Elevations for equipment in the core locations and EUBs shall reflect the actual installation. The level of detail in the Rack Face Elevations shall, at a minimum, include what manufacturer and model of equipment is installed, how it is equipped, patch panels, cable management and other equipment installed. Port quantities per switch/patch panel shall be detailed; however granularity to the individual port level is not required. Existing equipment can be represented with text defining the manufacturer and model in an appropriately sized box.

### Floor Plan:

If the selected equipment does not fit into the footprint provided in the EDP, Attachment A, the contractor shall redline the Inside Plant (IN) drawing to reflect the required footprint.

### Network Diagram:

Network diagrams of the network shall be redlined to reflect actual network installation, depicting both logical and physical topology.

### Plant-In-Place Drawings:

The contractor shall also provide an updated version of the site PIPDs that includes all work installed under this project as depicted on the redline drawings.  The contractor shall contact ISEC FDED (send an email to aimadmin@isecfdeo-emh1.army.mil) requesting the most current version of the site PIPDs NLT ninety (90) calendar days prior to scheduled project closeout.   Within sixty calendar days after receipt of the request, ISEC FDED will provide the contractor with the latest version of the site PIPDs and detailed instructions outlining the drafting standards and procedures to be followed in performing the update of the files.  The contractor shall deliver the updated PIPDs to the Government NLT sixty (60) calendar days after completion of the implementation at the site.

## Deliverables Format and Distribution

### Deliverables Format.

The contractor shall provide documents in the following formats. Documents shall be delivered in hard copy and electronic format utilizing the following applications.

- AutoCAD 2002

- Microsoft Office 2002

- Microsoft Project 2002

The contractor shall provide ANSI “D” sized hard copies of all drawings in color on white paper.

### Deliverables Distribution.

Deliverables shall be delivered to the following organizations in the quantities specified.

NOTE: Government email servers may have file size limitations.

GSA COTR – 1 electronic or CD-ROM copies

PM-DCASS		 - 1 electronic or CD-ROM copies

ISEC-TIC		 - 1 electronic or CD-ROM copy, 1 hard copy

ISEC-FDED - 		1 electronic or CD-ROM copy, 1 hard copy

DOIM			 - 1 electronic or CD-ROM copy, 1 hard copy

DPW			 - 1 electronic or CD-ROM copy, 1 hard copy

# PROJECT CLOSEOUT REQUIREMENT/FINAL ACCEPTANCE

## Final I3MP (OSP/Data/Voice) Systems Acceptance.

The contractor will notify the Government (GSA COTR and the IPT Lead) upon completion of all delivery order tasks. This notification shall include a compact disk-read only memory (CD-ROM) containing all final deliverables created during the lifetime of the project. The Government will provide formal acknowledgement that all terms of this delivery order have been accepted.

## Discrepancies.

The Government reserves the right to refuse final acceptance until all discrepancies have been resolved (to the satisfaction of the Government).  The Government will review all test results and prepare a list of discrepancies, if any.  The discrepancy list shall include any problem(s) detected/identified during testing and/or inspections conducted by either the contractor or Government, or both.  As a minimum, a thirty-day burn-in period shall be conducted (after cutover) prior to the contractor requesting Government acceptance.  During the burn-in period, the contractor shall be responsible for maintaining, isolating and correcting any problem(s) identified as a result of the modernization.  Problems identified during the burn-in period shall be documented, provided to the Government, and corrected prior to acceptance.    Any problems identified after the burn-in period shall be corrected during the warranty period.

# SOURCE SELECTION CRITERIA – BASIS FOR AWARD

Proposals will be evaluated and selection will be made based on the following factors using Best Value approach:

- Management

- Technical

- Price

Management is the most important factor and is more important than Technical. Technical and Management combined are significantly more important than Price.  Price is the least important factor.

Past Performance is a factor for award and shall be evaluated per FAR 16.505 - “Past performance on earlier orders under the contract, including quality, timeliness and cost control”.  Poor performance on previous orders may deem an offeror technically unacceptable.

## Management Subfactors

- Demonstrated understanding of the scope of this project

(PBSOW para. 2.; 4.)

- Demonstrated understanding of the deliverables

(PBSOW para. 4.; 5.11; 8.; 9., 11.)

- Management Team

(PBSOW para. 5.12.1 thru 5.12.2)

- Management Approach – ie. How does the offer propose to expertly manage the Fort Indiantown Gap project to accomplish all of the project goals as outlined by the PMI and this SOW.

(PBSOW para. 2.; 5.1; 5.10; 5.12.1 thru 5.12.3)

- Demonstrated understanding of milestone schedule for implementation

(PBSOW para. 5.1; 6.; 8.3; 11)

- Demonstrated ability to execute proposed management plans through documented applicable experience.

(PBSOW para. 5.2, 5.4, 7.1 thru 7.2)

## Technical Subfactors

- Clarity, completeness, and performance of the integrated technical solution proposed.

(PBSOW para. 4., 5.5 thru 5.10)

- Technical approach – ease of implementation, quality, training, and OA&M considerations. (PBSOW para. 4.; 5.2; 5.4 thru 5.11; 7.)

- Equipment Selection / Material specifications – quality, reliability, performance, and ease of use. (PBSOW para. 4; 5.3; 5.6 thru 5.9)

- Technical expertise of technical team.

(PBSOW para. 5.4; 5.5; 5.6; 5.7; 5.11; 5.12; 5.14)

- Demonstrated experience of the technical team.

(PBSOW para. 5.5; 5.6; 5.7; 5.12; 5.14.1)

- Logistics Support / Warranty approach.

(PBSOW para. 5.13; 5.14)

## Price:

For evaluation purposes, all requirements including options in the PBSOW will be considered the “Evaluated Bottom Line Price”.   The Evaluated Bottom Line Price total shall include all phases / categories / options, etc.    Each phase, category, and option shall have a subtotal.  All subtotals shall equal the “Evaluated Bottom Line Price”.

It is anticipated that the base award for this effort will be the outside and inside plant portion of the task, with the data network being ordered as an option.  The offeror shall propose the data network requirements found in Section 5.7 of this PBSOW and applicable Sections of the EDP as a separately priced option.  The offeror shall breakout pricing for each OSP, ISP, and Data Network pieces of this task as structured in the EDP with a separate bottomline price shown for the data equipment solution.

The EDP, Attachment A, provides additional details on how to breakout pricing for all phases / categories / options.  Proposals submitted shall be firm fixed price.  Any unsolicited options proposed will not be considered part of this task’s evaluated price.

# Deliverable Breakdown Performance Matrix

Each deliverable contained in this matrix is critical to the successful performance and completion of this project.  It is not a comprehensive list of all activities required.  Contractor shall meet ALL requirements in the PBSOW to include activities not listed in this matrix.  The Deliverable List found in Section 8.1 of this PBSOW is hereby incorporated by reference.

| NO. | NAME | DESCRIPTION | FORMAT | PBSOW REFERENCE | STANDARD FOR PERFORMANCE | REQUIRED DATE | IMPACT IF NOT RECEIVED |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1.0 | Project Schedule | The schedule shall consist of manageable tasks of defined duration. Tasks shall culminate with specific intermediate milestones. Project deliverables (paragraph 8.1) shall be included in the schedule | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 8.3 | Fitness for Use, Completeness, proper relationships between tasks to provide for critical path management. | With Proposal and updated Monthly | Unsuccessful performance. |
| 2.0 | Period of Performance | Contractor shall complete the project in accordance with their proposed and accepted Project Schedule. | MS Word, Excel, and Project 2002 as appropriate. | Section 5.1 | Timeliness, Completeness, Quality | Within 15 calendar days of award | Unsuccessful performance. |
| 3.0 | Task Discrepancy Report | The contractor shall notify an I3MP PM-DCASS (IPT Lead) representative of any material discrepancies or conflicting guidance between requirements documents. | MS Word, Excel, Project and AutoCAD 2002, and E-Mail as appropriate. | Section 5.2 | Timeliness, Completeness, Accuracy | Within one (1) business day | Performance notice to the contract file. |
| 4.0 | Minor Engineering Deficiencies | Contractor provides expertise in risk management relative to I3MP project to avoid unforseeable construction obstacles. | MS Word, Excel, and Project 2002 as appropriate, email, and meeting minutes. | Section 5.4.1 | Timeliness, Completeness, Effectiveness | Ongoing | Applied to overall performance rating for task. |
| 5.0 | Significant Engineering Deficiencies | KO and IPT Lead notified within 1 day. Contractor demonstrates expertise in project management by taking action to avoid work stoppage and continue alternative work to minimize or eliminate project critical path delays and costs | MS Word, Excel, and Project 2002 as appropriate. | Section 5.4.2 | Timeliness, Completeness, Effectiveness | Within 1 business day | Unsuccessful performance. |
| 6.0 | OSP Cutover Plan | Comprehensive OSP Cutover Plan describing the contractor’s approach and detailed schedule of sequenced activities (WBS) for transitioning services onto the newly placed OSP fiber optic network. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.5.2 | Timeliness, Completeness, Effectiveness Realism. Adherence to PMI standards for project management. | 45 Calendar days prior to planned cutover | Project Halted |
| 7.0 | DWDM Test/Cutover Plan NOT APPLICABLE | Comprehensive DWDM Test and Cutover Plan describing the contractor’s approach and detailed schedule of sequenced activities (WBS) for transitioning services onto the newly placed DWDM optical network. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.6; 5.11.3 | Timeliness, Completeness, Realism, Effectiveness; Adherence to PMI standards for project management. | 45 Calendar days prior to planned cutover | Project Halted |
| 8.0 | Data Network Test Plan | Comprehensive Data Network Test Plan describing the contractor’s approach and detailed schedule of sequenced activities (WBS) for transitioning services onto the newly installed data network. Plan shall address applicable integration issues related to other facets of this task, such as OSP, ISP, DWDM, and Voice testing and cutover requirements. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7 | Usability and timeliness; Plan must minimize service interruptions to users. | 45 Calendar days prior to planned cutover | Project Halted |
| 9.0 | Select Network Data Equipment Report | Government approval shall be obtained prior to ordering any data equipment through submission of the Select Equipment Reports. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.6 & 5.7.2 | Clarity, accuracy, completeness, timeliness | Submitted NLT 45 calendar days prior to ordering equipment. | Project halted. |
| 10.0 | IP Addressing Scheme | The Contractor shall ensure the IP Addressing scheme for the new network is finalized in a timely fashion | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7.6 | Clarity, accuracy, completeness, timeliness | Written confirmation to the government NLT 30 calendar days after ordering equipment. | Unsuccessful Performance |
| 11.0 | System Cutover Plan (to include schedule) | The plan shall address at a minimum network cutover and rollback strategies. To minimize service disruptions non-duty hour cutovers are recommended for systems identified as priority or sensitive by the DOIM. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7.7 | Effective communication, coordination, and preparation; timeliness | 60 Calendar days Prior to Planned Cutover of Users | Project halted. |
| 12.0 | Final System Cutover Schedule | Finalize System Cutover plan and add detail necessary to ensure a well coordinated transition. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7.7 | Effective communication, coordination, and preparation; timeliness | 10 business days prior to cutover | Project halted. |
| 13.0 | User Migration Plan | Plan shall identify and sequence all activities in the WBS for the Turn Key Migration of Users requirement. Plan shall address all elements described in the PBSOW and Project Management elements relative to the effort in conformance with PMI ANSI standards for project management. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7.8 (9) | Completeness, timeliness, effectiveness | 60 calendar days prior to commencement of SAT | Project halted. |
| 14.0 | Network Component Code Compliance | The contractor must specifically identify what each software operating system version they are implementing on the network components and if all security patches have been applied to reduce known vulnerabilities. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7.10 | Timeliness, Accuracy | Within 45 calendar days prior to ordering equipment | Unsuccessful performance. |
| 15.0 | Network Security Provisioning & Configuration of Network Components | The contractor shall address configuration and security requirements as defined. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.7.11 | All provisions of the requirement are met. Coordination is executed with timeliness and quality. All documented in the Migration Plan | Requirements must be met prior to implementing security settings/burn-in. | Unsuccessful performance. |
| 16.0 | Voice Deliverables NOT APPLICABLE | Standard commercial deliverables and documentation reflecting the configuration and installation plan (to include schedule) for the system(s) and related equipment/software. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.9.1 | Includes minimally all items listed in the PBSOW with additional details as needed to reduce risks, increase quality and performance, and ease implementation. | Within 30 calendar days of award and prior to commencement of work. | Project Halted |
| 17.0 | Voice Pre-Cutover and Post Cutover Meetings NOT APPLICABLE | Identifies all hardware, software, media, firmware (HSMF) and associated documentation of a system and the procedures used to manage the configuration of the system. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.9.2 | Minimally shall include all HSMF installation configuration to assist in maintenance, configuration control, and inventory of the system. | At SAT | Unsuccessful performance. |
| 18.0 | Access Coordination | The contractor shall coordinate with site POC and provide project plans describing the need for access to the various installation locations in and around the site. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.10.1.1 | Timeliness, detailed plan for access requirements delivered and adhered to. | NLT ten (10) business days prior to the start of the project | Unsuccessful performance. |
| 19.0 | Traffic Control Plan | Contractor shall submit a Traffic Control Plan as required by the Ft Indiantown Gap Digging Permit application. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.10.7 | Level of Detail, Timeliness, Execution of Plan. | With Digging Permit | Project Halted. |
| 20.0 | Digging Coordination / Construction Plan | The contractor shall submit for approval by the DHPW representative a construction plan indicating the type and extent of construction to be performed. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.10.3 | Clarity, accuracy, completeness, timeliness | Submitted NLT 14 calendar days prior to planned start of construction. | Project halted. |
| 21.0 | Utility Repair | The contractor shall take the necessary steps to minimize the risk of Utility damage. However, if an incident occurs, the contractor shall immediately notify the government and complete the repair within 24 hours. All utility damage/repairs shall be logged. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.10.9 | Quality of repair, timeliness, documentation | Repair completed within 24 hours | Unsuccessful performance. |
| 22.0 | Restoration | All areas affected by this construction effort shall be restored to the same condition, or better than it was prior to the construction. | Documentation and photos | Section 5.10.14 | Restoration performed in accordance with the PBSOW, EDP, and OSPDPR. | Within 72 hours after work is completed. | Unsuccessful performance; Corrective measures taken. |
| 23.0 | Test Plans | Describes the contractor’s plan for fulfilling requirement to perform sufficient commercial testing to ensure the installed I3MP network meets the specifications of Attachments A, B, and C. | MS Word, Excel, and Project 2002 as appropriate. | Section 5.11 | Timeliness, completeness, Meets minimum requirements of the EDP | NLT 45 calendar days in advance of scheduled tests. | Unsuccessful performance. |
| 24.0 | SAT Test Notification/Schedule | Coordination effort by the contractor which gives the government time to schedule and ISEC engineer to be onsite for SAT witnessing and sign-off | MS Word, Excel, Project and email as appropriate. | Section 5.11.4 | Detail, comprehensiveness, timeliness, adherence to the plan. | NLT 60 calendar days prior to commencement | Unsuccessful performance. |
| 25.0 | System Acceptance Test (SAT) and SAT Documentation | Demonstrates to the Government that the installed data network performs in accordance with Government requirements. | MS Word 2000 | Section 5.11.4 | Clarity, Effectiveness, Timeliness, Comprehensive | Test date shall be submitted 60 calendar days prior to start date. SAT must be completed and signed by government prior to system acceptance | Unsuccessful performance. |
| 26.0 | Rollback Plan | The Rollback Plan shall be submitted to ensure if problems are identified after migration of users, there is an expedient method to moving back to the old network with minimal interruption in service. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.11.5 | Usability and timeliness; Plan must minimize service interruptions to users. | Within 60 calendar days prior to planned cutover | Project Halted |
| 27.0 | Accident Prevention Plan | Plan to ensure the safety and health of their employees and other persons; by preventing damage to body and limb, property, materials, supplies and equipment. The plan shall include but not be limited to measures the contractor shall take to control hazards associated with materials, services, operations or equipment. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.12.3 | Complies with the PBSOW requirements. Timeliness, and completeness. | Within 30 calendar days of award and prior to commencement of work. | Project Halted |
| 28.0 | Damage Incident Log | Log shall detail damage, corrective action taken, and timeframes. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.12.4 | Accuracy and Completeness. Kept up to date. | Submitted in the Monthly Progress Report. | Unsuccessful performance. |
| 29.0 | Spares | Spare parts shall be available on-site in order to maintain the required network availability for all users on the network and to prevent any network downtime. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.14.5 | Shall include the range, quantity and depth of spares required to support all equipment installed under this delivery order. | Available during the life of the period of performance and replenished within 7 calendar days of utilization. | Unsuccessful performance. |
| 30.0 | Supportability Strategy/Maintenance Plan | Plan for executing logistical support, to include, but not limited to, the maintenance, technical data, training, the use of Mail-Back/Carry-in (MBCI), hardware repair, OEM repair, firmware upgrades, software upgrades, telephone technical support and on-site technical support. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.13.9 | Clarity, accuracy, completeness, timeliness | NLT 60 calendar days prior to commencement of SAT | Unsuccessful performance. |
| 31.0 | Voice Manufacturer’s Maintenance Practices NOT APPLICABLE | Maintenance practices relative to the new software/hardware. As a minimum, the contractor shall provide two copies of the updated practices to the site. Maintenance. The new MAAPs specified herein shall be used to view and print the maintenance practices. | CD-ROM where possible | Section 5.13.9.1 | Complies with PBSOW and commercial practices. | NLT 60 calendar days prior to cutover. | Unsuccessful performance. |
| 32.0 | Configuration Management Plan | Identifies all hardware, software, media, firmware (HSMF) and associated documentation of a system and the procedures used to manage the configuration of the system. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 5.13.9.2 | Minimally shall include all HSMF installation configuration to assist in maintenance, configuration control, and inventory of the system. | At SAT | Unsuccessful performance. |
| 33.0 | Resident System Support Specialist (RS3) | RS3 shall function as a contractor expert who will provide continuing on-site transitional assistance to the DOIM in order to operate and maintain the system. This individual requires a SECRET clearance. RS3’s resume and qualifications shall be submitted for review and approval. | MS Word, Excel as appropriate. | Section 5.14.1 | Timeliness; High level of relative expertise demonstrated. | Start date shall be 90 calendar days prior to SAT or as specified on the delivery order for the Option. | Unsuccessful performance. |
| 34.0 | Meeting Agendas | Meeting agendas shall be drafted by the contractor to include any existing action items and with sufficient detail to be utilized as a meeting guideline. IPT Lead will finalize and distribute unless otherwise agreed to. | MS Word, Excel, Project and AutoCAD 2002, and E-Mail as appropriate. | Section 6.1 | Sufficient detail, timeliness | NLT 5 calendar days prior to meeting | Unsuccessful performance. |
| 35.0 | Meeting Minutes | Minutes shall identify date, location, purpose of meeting, attendees, agreements, and action items with identification of responsible parties, to include description, status, required and actual closure dates, and resolution. | MS Word, Excel, and Project 2002 as appropriate. | Section 6.2 | a. Timeliness. b. Completeness c. Effective Utilization | Within 5 business days of each meeting | Unsuccessful performance. |
| 36.0 | Post Award/Kickoff Meeting | The contractor shall schedule a meeting to jointly review with the Government all of the engineering documentation to ensure a thorough understanding of the requirement. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 6.3 | Effective communication, coordination, and preparation; timeliness | NLT 30 calendar days after award | Unsuccessful performance. |
| 37.0 | QA Certification Statements | Issued to the Government validating that the installed system is free from installation deficiencies and defects for the support service period selected. This statement shall also certify that Government documented contractor defects have been corrected. | MS Word, Excel, and Project 2002 as appropriate. | Section 7.1 | a. Timeliness. b. Completeness c. Effective Utilization | Prior to submission of the final Systems Acceptance. | Unsuccessful performance. |
| 38.0 | Contractor Quality Assurance and Surveillance Program (QASP) | Used to perform sufficient inspection and tests of all items of work, including that of sub-contractor(s), to ensure conformance to all applicable specifications and drawings with respect to contractor installed materials, equipment, cable systems and power systems. Workmanship and functional performance shall also be monitored. | MS Word, Excel, and Project 2002 as appropriate. | Section 7.2 | a. Timeliness. b. Completeness c. Effective Utilization | Within 15 calendar days of award | Unsuccessful performance. |
| 39.0 | Performance Data | A checklist listing services required, services completed, service not completed or services not required shall be prepared. The checklist shall be provided to the government QA representative for comments regarding performance of monthly services. | MS Word, Excel, and Project 2002 as appropriate. | Section 7.2.1 j. | a. Timeliness. b. Completeness c. Effective Utilization | Monthly and Quarterly for the entire period of performance. | Unsuccessful performance. |
| 40.0 | Bi-Weekly Status Report | A summary of milestones completed, significant actions, on-site issues / concerns and overall project status compared to schedule and work to be completed in the following two week period. | MS Word, Excel, and Project 2002 as appropriate. | Section 8.2 | a. Timeliness. b. Completeness c. accuracy | Biweekly for the entire period of performance. | Unsuccessful performance. |
| 41.0 | Contractor Manpower Reporting | The contractor is required to completely fill in all the information in the format using the following web address https://contractormanpower.army.pentagon.mil. | Web | Section 8.4 | Timeliness, completeness, Accuracy | Submit every 12 months ending 30 Sept.. Throughout the period of performance | Unsuccessful performance. |
| 42.0 | Redlined Project Drawings | Throughout the installation process, the contractor shall maintain an up to date, redline, copy of all changes made to the original project design drawings. | AutoCAD 2002 | Section 8.5.1 | Accuracy, Completeness; Timeliness | Weekly as changes in drawings occur. | Unsuccessful performance. |
| 43.0 | Final Project Drawings | Throughout the installation process, the contractor shall maintain an up to date, redline, copy of all changes made to the original project design drawings. | AutoCAD 2002 | Section 8.5 | Accuracy, Completeness; Timeliness | Weekly as changes in drawings occur. | Unsuccessful performance. |
| 44.0 | Final Systems Acceptance | The contractor will notify the Government upon completion of all delivery order tasks. This notification shall include a compact disk-read only memory (CD-ROM) containing all final deliverables created during the lifetime of the project. | MS Word, Excel, Project and AutoCAD 2002 as appropriate. | Section 9.0 | Completeness | Prior to Acceptance | Unsuccessful performance. |

# Text boxes

PERFORMANCE BASED STATEMENT OF WORK (PBSOW)

FOR

INSTALLATION INFORMATION INFRASTRUCTURE

MODERNIZATION PROGRAM (I3MP)

FT INDIANTOWN GAP, PA

CONNECTIONS CATEGORY 3

TASK ID: 02FM216502