Inspection Location and Date	Inspection Performed By

## - ELECTRICAL -

| Yes | No | Note: Document discrepancies/observations/suggestions in the spaces provided (below) and detail corrective actions in the Kalman Monthly Safety Meeting report. |
| --- | --- | --- |
| ( | ( | Are electrical appliances (computers, fans, heaters, etc.) properly grounded? |
| ( | ( | Do extension cords have a grounding conductor? |
| ( | ( | Are extension cords “daisy-chained” together. |
| ( | ( | Is the number of built-in electrical outlets sufficient to meet the requirements of the employees? |
| ( | ( | Are flexible cords and cables free of splices, knots, fraying, cuts or taps? |
| ( | ( | Are all disconnecting switches and circuit breakers labeled to indicate their use or equipment served? |
| ( | ( | Is sufficient access and working space provided and maintained around all electrical equipment to permit ready and safe operations and maintenance? |
| ( | ( | Are electrical enclosures (such as switches, receptacles, and junction boxes) provided with tight fitting covers or plates? |
| ( | ( | Are employees who regularly work on or around energized electrical equipment or lines instructed in the cardiopulmonary resuscitation (CPR) methods? |
| ( | ( | Are all workstations clean, sanitary, orderly and free of combustible materials? |
| ( | ( | Are combustible scrap, debris and waste stored safely and removed from the work site properly? |
| ( | ( | Are accumulations of combustible dust routinely removed from surfaces (in particular, areas near electrical outlets)? |

### DISCREPANCIES/OBSERVATIONS/SUGGESTIONS

- WALKWAYS -

| Yes | No | Note: Document discrepancies/observations/suggestions in the spaces provided (below) and detail corrective actions in the Kalman Monthly Safety Meeting report. |
| --- | --- | --- |
| ( | ( | Are aisles and passageways clear? |
| ( | ( | Are aisles and walkways marked, as appropriate? |
| ( | ( | Are holes in the floor, sidewalk or other walking surface repaired properly, covered or otherwise made safe? |
| ( | ( | Are materials or equipment stored in such a way that sharp objects will not interfere with the walkway? |
| ( | ( | Are changes in floor elevation readily identifiable? |
| ( | ( | Are aisles or walkways that pass near industrial machinery, welding operations or similar hazardous operations arranged so employees will not be subjected to potential hazards? |
| ( | ( | Is adequate headroom provided for the entire length of any aisle or walkway? |
| ( | ( | Are standard guardrails provided wherever aisle or walkway surfaces are elevated more than 30 inches above any adjacent floor or the ground? |
| ( | ( | Is material on elevated surfaces piled, stacked or racked in a manner to prevent it from tipping, falling, collapsing, or rolling into walkways? |

### DISCREPANCIES/OBSERVATIONS/SUGGESTIONS

- FLOOR & WALL OPENINGS -

| Yes | No | Note: Document discrepancies/observations/suggestions in the spaces provided (below) and detail corrective actions in the Kalman Monthly Safety Meeting report. |
| --- | --- | --- |
| ( | ( | Are toeboards installed around the edges of permanent floor openings (where persons may pass below the opening)? |
| ( | ( | Is the glass in the windows, doors, glass walls, etc. (which are subject to potential human impact) of sufficient thickness and type for the condition of use? |
| ( | ( | Are grates or similar type covers over floor openings (such as floor drains) of such design that foot traffic or rolling equipment will not be affected by the grate spacing? |
| ( | ( | Are floor or wall openings in fire resistive construction provided with doors or covers compatible with the fire rating of the structure and provided with a self-closing feature, when appropriate? |

### DISCREPANCIES/OBSERVATIONS/SUGGESTIONS

- STAIRS & STAIRWAYS -

| Yes | No | Note: Document discrepancies/observations/suggestions in the spaces provided (below) and detail corrective actions in the Kalman Monthly Safety Meeting report. |
| --- | --- | --- |
| ( | ( | Are standard stair rails or handrails on all stairways having four or more risers? |
| ( | ( | Are all stairways at least 22 inches wide? |
| ( | ( | Do stairs have landing platforms have not less than 30 inches in the direction of travel and extend 22 inches in width at every 12 feet or less of vertical rise? |
| ( | ( | Do stairs angle no more than 50 and no less than 30 degrees? |
| ( | ( | Are step risers on stairs uniform from top to bottom? |
| ( | ( | Are steps on stairs and stairways designed or provided with a surface that renders them slip resistant? |
| ( | ( | Are stairway handrails located between 30 and 34 inches above the leading edge of stair treads? |
| ( | ( | Do stairway handrails have at least 3 inches of clearance between the handrails and the wall or surface they are mounted on? |
| ( | ( | Where doors or gates open directly on a stairway, is there a platform provided so the swing of the door does not reduce the width of the platform to less than 21 inches? |
| ( | ( | Where stairs or stairways exit directly into any area where vehicles may be operated, are adequate barriers and warnings provided to prevent employees stepping into the path of traffic? |

### DISCREPANCIES/OBSERVATIONS/SUGGESTIONS

- GENERAL -

| Yes | No | Note: Document discrepancies/observations/suggestions in the spaces provided (below) and detail corrective actions in the Kalman Monthly Safety Meeting report. |
| --- | --- | --- |
| ( | ( | Is there a posted list of hazardous substances used in your workplace? |
| ( | ( | Is there a written Hazard Communication Program dealing with Material Safety Data Sheets (MSDS), labeling and employee training? |
| ( | ( | Is there an employee training program for hazardous substances? |
| ( | ( | Are employees trained in how to recognize tasks that might result in occupational hazard exposure? |
| ( | ( | Is protection against the effects of occupational noise exposure provided when sound levels exceed those of the OSHA noise standard? |
| ( | ( | Are employees trained in whom to contact and what to do in an emergency? |
| ( | ( | Is proper storage practiced to minimize the risk of fire including spontaneous combustion? |
| ( | ( | Are employees aware of the location and operation of fire extinguishers? |
| ( | ( | Are extinguishers free from obstructions or blockage? |
| ( | ( | Are all extinguishers serviced, maintained and tagged at intervals not to exceed 1 year? |
| ( | ( | Are employees aware that they shall not expose themselves to potential harm when determining whether to extinguish a small fire or to evacuate to a safe area? |
| ( | ( | Are employees aware that they must report any and all instances of sexual harassment or workplace violence? |
| ( | ( | In the event of emergency, do employees (or their immediate family) have the ability to contact the employee’s supervisor 24 hours per day? |
| ( | ( | Are employees trained in whom to contact and what to do in an emergency? |

### DISCREPANCIES/OBSERVATIONS/SUGGESTIONS