Tier 1 Templates

Tier 1 notices must be issued for the following violations or situations:

- Total coliform MCL violations where fecal coliform or E. coli are present, or failure to test for fecal coliform or E. coli when any repeat sample tests positive for coliform (some times referred to as an acute violation of the Total Coliform Rule);

- Nitrate, nitrite, or total nitrate and nitrite MCL violations, or failure to take a confirmation sample for nitrate or nitrite within 24 hours after learning that an initial sample exceeded the MCL;

- Exceedance of the nitrate MCL by non-community water systems that have been granted permission by the primacy agency to continue to exceed the MCL of 10 mg/l, although they must not exceed 20 mg/l;

- Chlorine dioxide MRDL violations when one or more of the samples taken in the distribution system exceeded the MRDL on the day after a chlorine dioxide measurement taken at the entrance to the distribution system exceeded the MRDL, or when required samples are not taken in the distribution system;

- Turbidity MCL violations of 5 NTU or more, if elevated to Tier 1 by the primacy agency, or if consultation does not occur within 24 hours of the violation (see Chapter 6);

- Treatment technique violations resulting from a single exceedance of turbidity limits, if elevated to Tier 1 by the primacy agency, or if consultation does not occur within 24 hours of the violation (see Chapter 6);

- The occurrence of a waterborne disease outbreak or other waterborne emergency such as a treatment failure, chemical spill or overfeed, sewage spill, or natural disaster; and

- Other violations or situations which could cause serious health effects, as determined by your primacy agency.

The pages that follow contain templates for these Tier 1 violations or situations, as listed below. Along with each template are instructions, including the required method of delivery and suggestions for completing individual sections of the notice.  These instructions are designed to supplement Chapter 5, so you may see much of the information repeated here.

Mandatory language on health effects, which must be included as written with blanks filled in, is presented in italics (141.205(d)).

You must also include the following italicized language in all notices, where applicable (141.205(d)). Use of this language does not relieve you of your obligation to take steps reasonably calculated to notify all persons served:

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

Templates

Nitrate MCL Exceedance Notice–Template 1-1	33

Spanish Nitrate MCL Exceedance Notice–Template 1-1A	35

Nitrate Failure to Take a Confirmation Sample Notice–Template 1-2	37

Non-community PWSs Allowed Up to 20 mg/L Nitrate Notice–Template 1-3	39

Fecal Coliform or E. coli Notice–Template 1-4	41

Spanish Fecal Coliform or E. coli Notice–Template 1-4A	43

Waterborne Disease Outbreak Notice–Template 1-5	45

IESWTR or LT1 CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance as Tier 1 Notice–Template 1-6	47

Chlorine Dioxide MRDL (Tier 1) Notice–Template 1-7

Tier 1 "Problem Corrected" Notice–Template 1-8

Template on Reverse

Since exceeding the nitrate maximum contaminant level is a Tier 1 violation, you must provide public notice to persons served as soon as practical but within 24 hours after you learn of the violation (141.202(b)). During this time period you must also contact your primacy agency. You should also coordinate with your local health department. This template is also applicable to nitrite and total nitrate and nitrite violations. You must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served.

The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice. If you do, you must still include all required elements and leave the health effects language in italics unchanged. This language is mandatory (141.205(d)). If you post or hand deliver, print your notice on letterhead, if available.

Alternative Sources of Water

If you are providing alternative sources of water for infants, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets the standard for nitrates by contacting the bottler and asking for the most recent test results.

Repeat Notices

If this is a repeat notice (as required by your primacy agency), or if your system’s nitrate levels fluctuate around the MCL, you may wish to include an explanation similar to the following:

You were initially notified of high nitrate levels on [give date]. Since that time we have been monitoring the nitrate concentration every three months. Seasonal fluctuations in nitrate concentrations have been observed, due to nitrates contained in fertilizer. It appears that high nitrates occur during the later summer and fall. Note that prior to [year] we were meeting drinking water standards for nitrate.

Corrective Action

In your notice, describe corrective actions you are taking. The bullet below describes one action commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own:

- We are investigating water treatment and other options. These may include drilling a new well, mixing the water with low-nitrate water from another source, or buying water from another water system.

After Issuing the Notice

Make sure to send your primacy agency a copy of each type of notice and a certification that you have met all the public notice requirements within ten days after issuing the notice (141.31(d)). You should also issue a follow-up notice in addition to meeting any repeat notice requirements your primacy agency sets.

You should notify health professionals in the area of the violation.  People may call their doctors with questions, and the doctors should have the information they need to respond appropriately. They also need to make sure the water is not provided to infants in their care.

DRINKING WATER WARNING

[System] water has high levels of nitrate –

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

Water sample results received [give date] showed nitrate levels of [level and units]. This is above the nitrate standard, or maximum contaminant level (MCL), of [state/federal MCL]. Nitrate in drinking water is a serious health concern for infants less than six months old.

Nitrate in drinking water can come from natural, industrial, or agricultural sources (including septic systems and run-off). Levels of nitrate in drinking water can vary throughout the year.

What should I do?  What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Water, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Excessive boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However, if you are pregnant or have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe corrective action and when system expects to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].      State Water System ID#: ___________.

Date distributed:______.

Template on Reverse

The template on reverse is a Spanish translation of Template 1-1 for nitrate. All the instructions of Template 1-1 apply. This template is an exact translation of the English template, so if you need to modify the English templates, you should modify this template accordingly. Schools or universities may be able to provide low cost translations. See Chapter 4 for suggestions on creating effective multilingual notices.

AVISO SOBRE SU AGUA POTABLE

Agua del sistema [system name] tiene altos niveles de nitratos –

NO DAR DE BEBER ESTA AGUA A BEBES MENORES DE 6 MESES DE EDAD NI USARLA PARA HACER LECHE DE FORMULA

Resultados de mustras de agua recibidos en [date of violation in Spanish (day-month-year)] muestran concentraciones de nitratos en el agua de [level and units in Spanish].  Este nivel está por encima de la norma, o nivel máximo de contaminación (NMC) de [state/federal MCL in Spanish]. Nitratos en agua potable puede generar serios problemas de salud para bebés menores de 6 meses de edad.

Nitratos en el agua pueden provenir de fuentes naturales, industriales or de la agricultura (incluyendo descargas de tanques sépticos y lluvias).  Las concentraciones de nitratos en el agua potable varían a lo largo del año.

¿Qué debo hacer?  ¿Qué es la significa de este?

- NO LE DE ESTA AGUA A BEBES.  Bebés menores de seis (6) meses que ingieran agua con nitratos en exceso del nivel máximo de contaminación (NMC) se pueden enfermar seriamente y, de no ser tratados, pueden morir.  Los síntomas incluyen dificultad en respirar y síndrome de bebé azul.  El síndrome de bebé azul se refiere al color azulado que toma la piel del bebé.  Los síntomas en los bebés pueden desarrollarse con rapidez, con el deterioro de su salud en los días subsiguientes. Si los síntomas ocurren en infantes menores de seis (6) meses de edad, busque atención médica inmediatamente.

- Agua, jugo o leche en polvo para bebés menores de seis (6) meses de edad no debe prepararse con agua del grifo.  Debe emplear agua embotellada u otra agua baja en nitratos hasta próximo aviso.

- No hierva el agua.  Hervir, congelar, filtrar o dejar el agua en reposo no reduce el nivel de nitratos.  De hecho, al hervir el agua puede aumentar aún más la concentración de nitratos, debido a que los nitratos permanecen cuando parte del agua se evapora.

- Adultos e infantes mayores de seis (6) meses de edad pueden tomar el agua del grifo.  (Los nitratos son peligrosos para los bebés debido a que ellos no pueden procesar los nitratos de la misma manera que los adultos).  Sin embargo, si usted está embarazada o tiene algún problema de salud en particular, puede optar por hacer una consulta con su médico.

¿Qué se está haciéndo al respecto?

[Describe corrective action and when the system expects to return to compliance in Spanish.]

Para mayor información, favor contactar a [name of contact] al teléfono [phone number] o escribiendo a [mailing address].

Por favor comparta esta información con otros que pueden tomar de esta agua, colocando este aviso en lugares visibles, o remitiéndolo por correo, o entregandolo manualmente.  Es de particular interés distribuir este aviso ampliamente si usted lo recibe representando un negocio, un hospital u hogar de infantes u hogar de ancianos o comunidad residencial.

Este aviso ha sido enviado a usted por [system].  Numero de Identificación :  ___________.

Fecha de distribución: ________.

Template on Reverse

Since failure to take a confirmation sample for nitrate within 24 hours after learning that an initial sample exceeded the MCL is a Tier 1 violation, you must provide public notice to persons served as soon as practical but within 24 hours after you learn of the violation (141.202(b)). During this time period you must also contact your primacy agency. You should also coordinate with your local health department. This template is also applicable to nitrite and total nitrate and nitrite violations. You must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served.

The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice. If you do, you must still include all required elements and leave the health effects language in italics unchanged. This language is mandatory (141.205(d)). If you post or hand deliver, print your notice on letterhead, if available.

Alternative Sources of Water

If you are providing alternative sources of water for infants, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets the standard for nitrates by contacting the bottler and asking for the most recent test results.

Repeat Notices

If this is a repeat notice (as required by your primacy agency), or if your system’s nitrate levels fluctuate around the MCL, you may wish to include an explanation similar to the following:

You were initially notified of our system’s failure to take a confirmation sample following high nitrate level on [give date]. Since that time we have taken a confirmation sample on [give date] that also resulted in a high nitrate level.  We are currently monitoring the nitrate concentration every three months. Seasonal fluctuations in nitrate concentrations have been observed, due to nitrates contained in fertilizer. It appears that high nitrates occur during the later summer and fall. Note that prior to [year] we were meeting drinking water standards for nitrate.

Corrective Action

In your notice, describe corrective actions you are taking. The bullet below describes one action commonly taken by water systems with nitrate/nitrite violations. You can use the following language, if appropriate, or develop your own:

- We are in the process of collecting a confirmation sample to determine if we have high nitrate levels.  If the sample shows we are meeting our drinking water standards, you will not receive another notice.  However, if the sample shows that we do have high nitrate levels in our water, another notification will be issued within 24 hours after we receive the results

After Issuing the Notice

Make sure to send your primacy agency a copy of each type of notice and a certification that you have met all the public notice requirements within ten days after issuing the notice (141.31(d)). You should also issue a follow-up notice in addition to meeting any repeat notice requirements your primacy agency sets.

You should notify health professionals in the area of the violation.  People may call their doctors with questions, and the doctors should have the information they need to respond appropriately. They also need to make sure the water is not provided to infants in their care.

DRINKING WATER WARNING

[System] did not take a confirmation sample to determine if the water has high levels of nitrate –

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

We are required to monitor your drinking water for nitrate on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. Water sample results received on [give date] showed nitrate levels of above the nitrate standard, or maximum contaminant level (MCL), of [MCL].  We were required to take a confirmation sample within 24 hours.  We did not complete the required confirmation sample monitoring and therefore cannot be sure of the quality of our drinking water during that time. Nitrate in drinking water is a serious health concern for infants less than six months old.

Nitrate in drinking water can come from natural, industrial, or agricultural sources (including septic systems and run-off). Levels of nitrate in drinking water can vary throughout the year.

What should I do?  What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Water, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Excessive boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However, if you are pregnant or have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe corrective action and when system expects to return to compliance.]  After receiving the results of our first sample, we failed to collect a second sample within 24 hours to confirm the results of the first sample.  We have since collected the second sample and are waiting for the results.

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].      State Water System ID#: ___________.

Date distributed:______.

Template on Reverse

Non-community water systems that have received approval by their primacy agency to exceed the nitrate maximum contaminant level of 10 mg/l but no more than 20 mg/l are required to provide Tier 1 notification.  You do not incur a violation but are still required to provide public notice to persons served as soon as practical but within no more than 24 hours of learning of the situation (141.202(b)). You must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Posting in conspicuous locations

- Hand or direct delivery

- Radio

- Television

You may need to use additional methods if needed to reach all persons served.

The language encouraging distribution of the notice is included on this template; however, if you post this notice, omit the mandatory language to encourage distribution.  If you modify the notice, you must leave the health effects language in italics unchanged. This language is mandatory (141.205(d)).

Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated. If you are providing bottled water, make sure it meets U.S. Food and Drug Administration (FDA) and/or state bottled water safety standards.

Continuous Notices

As long as nitrate levels exceed 10 mg/L, continuous posting of this notice is a requirement (141.209(b))

After Issuing the Notice

Be sure to send your primacy agency a copy of each type of notice and a certification that you have met all the public notification requirements within ten days after issuing the notice (141.31(d)).

DRINKING WATER WARNING

[System] water has high levels of nitrate –

DO NOT GIVE THE WATER TO INFANTS UNDER 6 MONTHS OLD OR USE IT TO MAKE INFANT FORMULA

Water sample results show nitrate levels of [level and units]. This is above the nitrate standard or maximum contaminant level (MCL), of 10 mg/l.  Nitrate in drinking water is a serious health concern for infants less than six months old.

We have been given permission by [primacy agency] to provide water in excess of the standard as long as:

- Nitrate levels do not exceed 20 mg/l.

- The water is not made available to children under 6 months of age.

- We continuously post this notice meeting all public notice requirements.

- Local and state health officers are notified annually.

- No adverse health effects result.

What should I do?  What does this mean?

- DO NOT GIVE THE WATER TO INFANTS. Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. Blue baby syndrome is indicated by blueness of the skin. Symptoms in infants can develop rapidly, with health deteriorating over a period of days. If symptoms occur, seek medical attention immediately.

- Water, juice, and formula for children under six months of age should not be prepared with tap water. Bottled water or other water low in nitrates should be used for infants until further notice.

- DO NOT BOIL THE WATER. Boiling, freezing, filtering, or letting water stand does not reduce the nitrate level. Excessive boiling can make the nitrates more concentrated, because nitrates remain behind when the water evaporates.

- Adults and children older than six months can drink the tap water (nitrate is a concern for infants because they can’t process nitrates in the same way adults can). However, if you are pregnant or have specific health concerns, you may wish to consult your doctor.

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].      State Water System ID#: ___________.

Date distributed:______.

Template on Reverse

Since exceeding the fecal coliform or E. coli maximum contaminant level is a Tier 1 violation, you must provide public notice to persons served as soon as practical but within 24 hours after you learn of the violation (141.202(b)). During this time, you must also contact your primacy agency. You should also coordinate with your local health department. You may also have to modify the template if you also have high nitrate levels or other coliform MCL violations. You must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served.

The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice. If you do, you must still include all required elements and leave the health effects language in italics unchanged. This language is mandatory (141.205(d)).  If you post or hand deliver, print your notice on letterhead, if you have it.

Population Served

Make sure it is clear who is served by your water system--you may need to list the areas you serve.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with fecal coliform or E. coli violations. You can use one or more of the following actions, if appropriate, or develop your own:

- We are chlorinating and flushing the water system.

- We are switching to an alternate drinking water source.

- We are increasing sampling for coliform bacteria to determine the source of the contamination.

- We are repairing the wellhead seal.

- We are repairing the storage tank.

- We are restricting water intake from the river/lake/reservoir to prevent additional bacteria from entering the water system and restricting water use to emergencies.

After Issuing the Notice

Send a copy of each type of notice and a certification that you have met all the public notice requirements to your primacy agency within ten days from the time you issue the notice (141.31(d)).

It is recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately. In addition, health professionals, including dentists, use tap water during their procedures and need to know of contamination so they can use bottled water.

It is a good idea to issue a “problem corrected” notice when the violation is resolved. See Template 1-8.

DRINKING WATER WARNING

[System] water is contaminated with [fecal coliform/E. coli]

BOIL YOUR WATER BEFORE USING

Fecal coliform [or E. coli] bacteria were found in the water supply on [give date]. These bacteria can make you sick, and are a particular concern for people with weakened immune systems.

Bacterial contamination can occur when increased run-off enters the drinking water source (for example, following heavy rains). It can also happen due to a break in the distribution system (pipes) or a failure in the water treatment process.

What should I do?  What does this mean?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, and people with severely compromised immune systems.

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice. People at increased risk should seek advice about drinking water from their health care providers.

What is being done?

[Describe corrective action.]  We will inform you when tests show no bacteria and you no longer need to boil your water. We anticipate resolving the problem within [estimated time frame].

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1-800-426-4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].      State Water System ID#: ___________.

Date distributed: ______.

Template on Reverse

The template on reverse is a Spanish translation of Template 1-4 for fecal coliform or E. coli. All the instructions of Template 1-4 apply. This template is an exact translation of the English template, so if you need to modify the English templates, you should modify this template accordingly. Schools or universities may be able to provide low cost translations. See Chapter 4 for suggestions on creating effective multilingual notices.

AVISO SOBRE SU AGUA POTABLE

El Agua del Sistema [system name] esta contaminado con [bacterias coliformes fecales/E. coli]

HIERVAN EL AGUA ANTES DE USARLA

Bacterias coliformes fecales (o E. coli) fueron encontradas en su servicio de agua el dia [date of violation in Spanish (day-month-year)].  Estas bacterias pueden enfermarle, y son especialmente peligrosas para personas con las defensas bajas o sistemas imunológicos débiles.

Contaminación bacteriana puede ocurrir cuando exceso de aguas rebasan sus cauces y entran a las fuentes de agua potable (por ejemplo, luego de una lluvia fuerte).  También pueden ocurrir cuando se rompe un sistema de recolección de aguas negras, o cuando hay una falla en el tratamiento de agua.

¿Qué debo hacer?  ¿Qué es la significa de este?

- NO BEBA EL AGUA SIN ANTES HERVIRLA.  Hierva toda el agua, déjela hervir por un minuto, y déjela reposar antes de usarla, o utilize agua embotellada.  Agua hervida o embotellada debe ser usada para beber, hacer hielo, lavarse los dientes, lavar los platos y para preparar la comida hasta próximo aviso.  Hierviendo morta a bacteria y otros organismos en el agua.

- Coliformes fecales o E. coli son bacterias cuya presencia indica que el agua esta contaminada con desechos humanos o de animales. Microbios de esos desechos pueden causar diarrhea, cólicos, nausea, dolores de cabeza u otros síntomas.  Pueden representar un peligro para la salud de bebés, niños y niñas de corta edad y personas con sistemas immunológicos en alto riesgo.

- Los síntomas descritos arriba no ocurren solamente debido a los microbios.  También pueden ser causados por otros motivos.  Si usted siente estos síntomas y estos persisten, usted puede optar por hacer una consulta con su médico.  Personas en situaciones de alto riesgo deben consultar con sus proveedores de servicios médicos.

¿Qué se está haciéndo al respecto?

[Describe corrective action in Spanish]  Le informaremos cuando las pruebas demuestren que no hay bacterias y que usted ya no necesita hervir su agua.  Anticipamos que resolveremos el problema el [date of expected resolution in Spanish day-month-year].

Para mayor información, por favor póngase en contacto con [contact name] al [phone number] o escribiendo a [mailing address].

Por favor comparta esta información con otros que pueden tomar de esta agua, colocando este aviso en lugares visibles, o remitiéndolo por correo, o entregandolo manualmente.  Es de particular interés distribuir este aviso ampliamente si usted lo recibe representando un negocio, un hospital u hogar de infantes u hogar de ancianos o comunidad residencial.

Este aviso ha sido enviado a usted por [system].  Numero de Identificación :  _____.

Fecha de distribución: ______.

Template on Reverse

Since a waterborne disease outbreak is a Tier 1 situation, you must provide public notice to persons served as soon as practical but within 24 hours after you learn of the situation (141.202(b)). You must contact your primacy agency during this time. You should coordinate with your local health department as well. You must also issue a public notice if you are experiencing a waterborne emergency other than a waterborne disease outbreak, such as one caused by flooding or treatment failure. In such cases, you may be able to modify this template to apply to your situation. Check with your primacy agency for more direction. More information on waterborne disease outbreaks and emergencies is available from the Centers for Disease Control and Prevention (http://www.cdc.gov/health/diseases.htm, 1 (800) 311-3435). For a waterborne disease outbreak or other emergency, you must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served. If you post or hand deliver, print your notice on letterhead, if available. The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio, TV notice, or posting.

Describing the Outbreak

If known, list any organisms detected, the number of affected people, any water treatment problems contributing to the waterborne disease outbreak, and any sources of contamination, such as flooding.

Potential Health Effects

No mandatory health effects language exists for waterborne disease outbreaks. You may wish to use the sentence below, if appropriate, or contact your primacy agency or health department. These symptoms are common to many diseases caused by microscopic organisms:

- Symptoms may include nausea, cramps, diarrhea, jaundice, and associated headaches and fatigue.

Population at Risk

Some people who contract waterborne diseases can be affected more severely than others, as described on the reverse page. The specific language on the reverse is not mandatory, but you must provide information on the population at risk. In addition, make sure it is clear who is served by your water system--you may need to list the areas you serve.

Corrective Action

In your notice, describe the corrective actions you are taking. Listed below are some steps commonly taken by water systems with waterborne disease outbreaks. You can use one or more of the following actions, if appropriate, or develop your own:

- We are repairing our filtration system.

- We are increasing sampling for disease-causing organisms.

Make sure to send a copy of each type of notice and a statement certifying that you’ve met all public notification requirements to your primacy agency within ten days after issuing the notice (141.31(d)). It is a good idea to issue a “problem corrected” notice when the waterborne disease outbreak is under control. See Template 1-8.

It is recommended that you notify health professionals in the area of the outbreak. People may call their doctors with questions about how the situation may affect their health, and the doctors should have the information they need to respond appropriately. In addition, health professionals, including dentists, use tap water during their procedures and need to know of contamination so they can use bottled water.

DRINKING WATER WARNING

BOIL YOUR WATER BEFORE USING

Disease-causing organisms have entered [system’s] water supply.

These organisms are causing illness in people served by [system]. We learned of a waterborne disease outbreak from [agency] on [give date].

What should I do?  What does this mean?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.

- [Describe symptoms of the waterborne disease.] If you experience one or more of these symptoms and they persist, contact your doctor. People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers.

What is being done?

[Describe the corrective action and when the outbreak might end.]

We will inform you when you no longer need to boil your water.

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1-800-426-4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].      State Water System ID#: ___________. Date distributed: ______.

Template on Reverse

If your primacy agency has designated this turbidity single exceedance as a Tier 1 violation (141.202(a)), you must provide public notice to persons served within 24 hours after it has been designated Tier 1 (141.202(b)). Turbidity violations are Tier 2 by default, but may frequently be elevated to Tier 1 by your primacy agency. In addition, violations are automatically elevated if you are unable to consult with your primacy agency within 24 hours. In such cases, you must issue a notice within the next 24 hours. You may elevate the violation to Tier 1 yourself as well. You should also coordinate with your local health department. One or both agencies should tell you whether to instruct consumers to boil water. You must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served. If you post or hand deliver, print your notice on letterhead, if you have it.

The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice or posting. If you modify the notice, you must leave the health effects language in italics unchanged. This language is mandatory (141.205(d)).

Population Served

Make sure it is clear who is served by your water system--you may need to list the areas you serve.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with a single turbidity exceedance. You can use one or more of the following actions, if appropriate, or develop your own:

- We are adding chemicals that reduce turbidity.

- We are sampling both untreated and treated water for the presence of coliform bacteria.

- We are monitoring chlorine levels and will adjust them as needed to compensate for filtration problems.

  - We are inspecting and repairing the filters.

Source of the Problem

If you know why the turbidity is high, explain it in your notice. For instance, unusual conditions such as heavy rains and flooding can overburden the water plant and treated water may therefore not meet the standards. In addition, run-off from parts of the watershed could contain increased concentrations of sediment and animal waste.

After Issuing the Notice

Send a copy of each type of notice and a certification that you have met public notice requirements to your primacy agency within ten days after you issue the notice (141.31(d)).  It is a good idea to issue a “problem corrected” notice when the violation is resolved. See Template 1-8.

It recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately. In addition, health professionals, including dentists, use tap water during their procedures and need to know of potential microbiological contamination so they can use bottled water.

DRINKING WATER WARNING

[System] has high turbidity levels

BOIL YOUR WATER BEFORE USING

We routinely monitor your water for turbidity (cloudiness). This tells us whether we are effectively filtering the water supply. A water sample taken [give date] showed turbidity levels of [number] turbidity units. This is above the standard of [standard] turbidity units. Because of these high levels of turbidity, there is an increased chance that the water may contain disease-causing organisms.

What should I do?  What does this mean?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, washing dishes, brushing teeth, and food preparation until further notice.

- Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease causing organisms. These organisms include bacteria, viruses, and parasites, which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches. People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice about drinking water from their health care providers.

- The symptoms above are not caused only by organisms in drinking water. If you experience any of these symptoms and they persist, you may want to seek medical advice.

What is being done?

[Describe corrective action and when the system expects to return to compliance.]

We will inform you when turbidity returns to appropriate levels and when you no longer need to boil your water.

For more information, please contact [name of contact] at [phone number] or [mailing address]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1-800-426-4791.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].     State Water System ID#: ___________.

Date distributed: ______.

Template on Reverse

Since exceeding the chlorine dioxide MRDL when one or more of the samples taken in the distribution system on the day after exceeding the MRDL at the entrance of the distribution system or when required samples are not taken in the distribution system is a Tier 1 violation, you must provide public notice to persons served as soon as practical but within 24 hours after you learn of the violation (141.202(b)).  (Exceeding the chlorine dioxide MRDL at the entry point to the distribution system only is a Tier 2 violation; modify this template or Template 2-3 to create a Tier 2 notice.)   You must also contact your primacy agency within 24 hours of learning of the violation or situation. You should also coordinate with your local health department. You must use one or more of the following methods to deliver the notice to consumers (141.202(c)):

- Radio

- Television

- Hand or direct delivery

- Posting in conspicuous locations

You may need to use additional methods (e.g., newspaper, delivery of multiple copies to hospitals, clinics, or apartment buildings), since notice must be provided in a manner reasonably calculated to reach all persons served. If you post or hand deliver, print your notice on letterhead, if you have it.

The notice on the reverse is appropriate for hand delivery or a newspaper notice. However, you may wish to modify it before using it for a radio or TV notice. If you do, you must still include all required elements and leave the health effects language in italics unchanged. This language is mandatory (141.205(d)).

Alternative Sources of Water

If you are selling or providing bottled water, your notice should say where it can be obtained. Remember that bottled water can also be contaminated or be high in chlorine dioxide if the bottler uses municipal water. Make sure the bottled water meets the standard by contacting the bottler and asking for the most recent test results.

Population at Risk

The language on the reverse lists “young children” as one of the groups at increased risk. Because the potential health effects of chlorine dioxide are based on tests on laboratory animals, there is no way to determine at exactly what age the water is safe to drink. If your consumers have questions, encourage them to err on the side of caution.

Corrective Action

In your notice, describe corrective actions you are taking. Listed below are some steps commonly taken by water systems with chlorine dioxide violations. You can use one or more of the following actions, if appropriate, or develop your own:

- We are resetting the generator to generate the correct amount of chlorine dioxide.

- We are repairing the generator.

- We have already fixed the problem but it will take additional time for the extra chlorine dioxide to be flushed from the distribution system (pipes).

After Issuing the Notice

Make sure to send your primacy agency a copy of each type of notice and a certification that you have met all the public notice requirements within ten days after issuing the notice (141.31(d)). You should also issue a follow-up notice in addition to meeting any repeat notice requirements your primacy agency sets.

It is a good idea to issue a “problem corrected” notice when the violation is resolved. See Template 1-8.

It recommended that you notify health professionals in the area of the violation.  People may call their doctors with questions about how the violation may affect their health, and the doctors should have the information they need to respond appropriately.

DRINKING WATER WARNING

PREGNANT WOMEN AND YOUNG CHILDREN

SHOULD NOT DRINK THE WATER

Sampling results received [give date] showed chlorine dioxide levels of [level and units]. This is above the standard, or maximum residual disinfectant level (MRDL) of 0.8 milligrams per liter. Chlorine dioxide is used for disinfection, but too much of it over a short period of time may harm the development of children, infants, and fetuses.

Chlorine dioxide is used in small amounts every day to kill bacteria and other organisms that may be in your drinking water. A problem occurred with our chlorine dioxide generator, and too much chlorine dioxide was released.

What should I do?  What does this mean?

- DO NOT USE THIS WATER IF YOU ARE PREGNANT OR GIVE IT TO YOUNG CHILDREN. Bottled water should be used until further notice. Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant mothers who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.

The chlorine dioxide violations reported today include exceedances of the EPA standard within the distribution system which delivers water to consumers. Violations of the chlorine dioxide standard within the distribution system may harm human health based on short-term exposures. Certain groups, including fetuses, infants, and young children, may be especially susceptible to nervous system effects from excessive chlorine dioxide exposure. There are no obvious symptoms, but chlorine dioxide can affect development of the nervous system.

- Water, juice, and formula for young children and for pregnant women should not be prepared with tap water.

- Adults who are not pregnant and older children can drink the tap water because their nervous systems are already developed. However, if you have specific health concerns, you may wish to consult your doctor.

What is being done?

[Describe corrective action and when you expect to return to compliance.]

For more information, please contact [name of contact] at [phone number] or [mailing address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].      State Water System ID#: _____.

Date distributed: ____.

Template on Reverse

It is a good idea to issue a notice when a serious violation or situation has been resolved.  Although EPA regulations do not require such notices, your primacy agency may require you to issue one.  You should coordinate with your local health department as well. Below are some recommended methods for a “problem corrected” notice. You should use the same delivery methods you used for the original notice.

- Radio

- Television

- Newspaper

- Hand or direct delivery

- Posting in conspicuous locations

You may wish to use additional methods (e.g., delivery of multiple copies to hospitals, clinics, or apartment buildings) if necessary to reach all persons served. If you post or hand deliver, print your notice on letterhead, if available.

The notice on the reverse is very general and can be used for any violation or situation. However, to help restore consumers’ confidence in the water system, you should modify the notice to fit your situation. Although the public should have seen your initial notice, there may be additional information you learned after the notice was issued. Therefore, you should describe the violation or situation again and discuss how the problem was solved.

DRINKING WATER PROBLEM CORRECTED

Customers of [system] were notified on [give date] of a problem with our drinking water and were advised to [describe recommended action]. We are pleased to report that the problem has been corrected and that it is no longer necessary to [describe recommended action]. We apologize for any inconvenience and thank you for your patience.

[Add further details here when appropriate.]

As always, you may contact [contact name] at [phone number] or [mailing address] with any comments or questions.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by [system].     State Water System ID#: ___________.  Date distributed: ______.

# Text boxes

# Instructions for Non-community PWSs Allowed Up to 20 mg/L Nitrate Notice – Template 1-3

# Instructions for Nitrate Failure to Take a Confirmation Sample Notice – Template 1-2

# Instructions for Tier 1 “Problem Corrected” Notice – Template 1-8

# Instructions for Chlorine Dioxide MRDL (Tier 1) Notice – Template 1-7

# Instructions for IESWTR or LT1 CFE Maximum Turbidity Exceedance, or Turbidity Single Exceedance as Tier 1 Notice – Template 1-6

# Instructions for Waterborne Disease Outbreak Notice – Template 1-5

# Instructions for Spanish Fecal Coliform or E. coli Notice – Template 1-4A

# Instructions for Fecal Coliform or E. coli Notice – Template 1-4

# Instructions for Spanish Nitrate MCL Exceedance Notice – Template 1-1A

# Instructions for Nitrate MCL Exceedance Notice – Template 1-1