Kennedy Space Center Integrated Communications Services (KICS)

J-1, Performance Work Statement

March 4, 2003

# 1.0	CONTRACT OVERVIEW

Kennedy Space Center (KSC) Vision:

The Kennedy Space Center desires to: acquire world-class support for existing systems and services, modernize its communications infrastructure, increase communication services customer satisfaction, develop a service-based communication support model, and use this model to meet future communications needs.  The desired end state is analogous to the telecommunications industry (i.e. shared, high capacity infrastructure, 99.999% availability, coherent access to large quantities of dissimilar information).  This includes, but is not limited to: voice, video, telemetry, audio, and data.  KSC seeks establishment of affiliation with the telecommunications (Telecom) industry and related technology providers.  The affiliates primary role will be to infuse knowledge, technologies, design and operational methodologies into KSC’s communications systems in order to achieve KSC’s modernization goals.

The contractor shall perform contract phase-in and operational support activities so as to assure seamless phase-in and implementation of the new contract without any impact to existing communications infrastructure or mission operations.

The contractor shall perform communications and IT system design, development, operations, planning, maintenance, modernization, engineering, and life cycle management for the Kennedy Space Center and NASA Initiatives.  The goals associated with this effort include: increased responsiveness to customer needs, increased levels of customer service and satisfaction, and operational support for multiple concurrent users.

The contractor shall implement, maintain and utilize security IT hardware and software techniques, upgrades, plans and tools to ensure the highest integrity and security of KSC IT communication systems and services.

The contractor shall perform its responsibilities, including: program management; design, engineering, operation and maintenance of assigned facilities, ground systems; information technology; logistics; and institutional support, in the most cost-effective and efficient manner while supporting the government’s top priorities for safety, security, mission success, customer satisfaction and infrastructure stewardship.

The contractor shall perform all necessary program management including technical and business functions to plan, implement, track, report, and deliver the required products and services described in this Performance Work Statement (PWS). The contractor shall provide all personnel and other resources, except as otherwise specified in the contract, necessary to accomplish these functions. The contractor shall execute these management functions while maintaining flexibility and responsiveness to changing requirements.

The contractor shall implement a comprehensive safety and mission assurance program that emphasizes safety, health, and environmental stewardship in accordance with the NASA Safety Hierarchy described below in section 3.0.

The contractor shall, to the fullest extent possible, and consistent with the nature and cost effectiveness of the work, utilize its Telecom affiliate as a team member for the accomplishment of these goals.  “Affiliate,” as used in this PWS, means a party obtained via subcontract or other legally binding agreement services that will support design, implementation, and operations associated with this KSC Vision.

Under this contract, the contractor shall have broad mission and day-to-day responsibilities of increasing customer satisfaction, performing communications system and IT development, operations and modernization for the government and designees.  Therefore, the general scope of the contract covers any communications or IT services or related activities arising from the PWS in support of human exploration and development of space, earth and space science exploration, or related enabling functions.

This contract will require the contractor to maintain and operate KSC’s communications infrastructure to support KSC communications needs while still migrating towards a service based model over the life of the contract.  Taking existing systems, and their supporting infrastructure, and collapsing them to a common communications infrastructure without negatively impacting operational support levels will support implementation of this vision.  As this process progresses, the capabilities provided by these systems will move away from a “Cost Plus” model and into a priced service model available through the IDIQ catalog of services portion of the KICS contract.  Key outcomes desired from this migration include improved flexibility of communications systems and infrastructure, and improved responsiveness.

# 2.0	BUSINESS MANAGEMENT

The contractor shall perform all business functions necessary to execute and administer the Kennedy Integrated Communication Services (KICS) contract under the guidelines of the center’s safety, health, and environmental policies.  The contractor shall develop, implement, and update a Business Management Plan (DRD-M-1), which details the contractor’s approach to managing financial responsibilities, technical activities, quality processes, and all other aspects of contract implementation.

The contractor shall manage and control intra-company, subcontractor, and vendor activities required to fulfill the contract.  The contractor shall be accountable for the quality and timeliness of the goods, services, and Indefinite Delivery/Indefinite Quantity (ID/IQ) efforts under this contract.  The contractor shall provide visibility for the government into all aspects of intra-company, subcontractors, and vendor activities.

The contractor shall provide the government with a quarterly KICS contract review, which includes, but is not limited to:  financial status, indirect rate reviews and contract cost forecast (with estimate to complete), cost savings and cost avoidance initiatives, systems status, on-going projects, completed projects, planned or proposed projects, risks and risk abatement planning, and safety and health data.

The contractor shall provide monthly status reviews and develop, maintain and report performance-based metrics associated with cost, schedule, and quality performance.  The contractor shall define and implement project controls for managing changes to the overall contract cost and schedule.

The contractor shall develop, implement, and maintain a risk management program (reference NPG 8000.4, Risk Management Procedures and Guidelines).

The contractor shall perform to the communication service standards as shown in Section L.18.3, Attachment C, Table 1, and deliver communication services in accordance with Section L.18.3, Attachment C, Table 2.

The contractor shall assist KSC in reaching its business management objectives of:

- Providing safety, health, and environmental stewardship

- Providing quality communication systems with no impacts to operational activities

- Providing flexible communication resources to meet customer requirements

- Providing personnel and processes that are timely and responsive to customer needs

- Providing expertise in communication systems

- Modernizing KSC communication systems infrastructure

- Delivering communication services within contract value

- Providing state of the art technology in communication systems

- Beginning and finishing projects on schedule and within budget

- Providing communications infrastructure stewardship

- Managing costs, including labor rates and indirect cost growth

## 2.1	Phase-In Plan

The contractor shall develop and implement a Phase-In Plan (DRD-M-2), which defines the contractor’s approach to and estimated costs of phasing communication services from the incumbent contractor while minimizing operational impacts to various center customers.  The phase-in shall be complete within 90 days of contract start.  The phase-in plan will address partnering with the incumbents and provide a time and cost estimate for implementation.  All communication systems shall be fully operational throughout the contract phase-in.  The contractor shall provide a phase-in status to the government at a minimum of once per week.

## 2.2	Financial Management

The contractor shall develop, implement, and maintain an integrated financial management system for planning, tracking, compiling, and reporting contract costs.  The contractor shall provide all other necessary financial support required by the government to meet the budgeting, cost reporting, billing, and disclosure requirements of the contract.  The contractor shall develop and submit reports to the government per the Work Breakdown Structure (WBS) provided in Appendix 6.  The contractor shall provide financial systems that support NASA’s transition to full cost accounting.

The contractor shall provide financial reports in accordance with the requirements of the Financial Report (DRD-M-3), and NF533.  Additionally, the offeror shall complete selected portions of NPD 9501.3A, Earned Value Management as directed by the government.

The contractor shall develop and implement a rolling five-year Technical and Cost Plan (DRD-M-4) to define planned work and estimate the cost of work to be performed or planned during the subsequent five years. This plan shall be revised and updated every year.  The contractor shall support the government’s development of yearly operating plans with respect to cost and workforce assessment of KICS related responsibilities.  The contractor shall support cost impact assessment of requirements changes, hardware modifications or upgrades, special studies, and Indefinite Delivery/Indefinite Quantity (ID/IQ) support.

The contractor shall conduct a Monthly Financial Review meeting within 14 days after the close of the reporting month to provide the government Contracting Officer’s Technical Representative (COTR) insight into contract cost and workforce utilization.  The contractor shall provide accurate expenditures and forecasts of labor and material costs and workforce utilization.  The contractor shall develop and propose cost and workforce utilization metrics, including trend analysis, to the government for revision and agreement. The proposed metrics will reflect sustaining engineering, operations and maintenance activities, and ID/IQ support.

The contractor shall identify and inform the government of financial risks to the contract, utilizing a contractor-developed risk mitigation plan, and implement this risk mitigation plan.  This risk mitigation plan will be reviewed during the Monthly Financial Review meeting.

## 2.3	Technical Management

The contractor shall implement the contract requirements in a manner which ensures all activities required by this PWS are properly accomplished and recorded.  The contractor shall implement a sustaining engineering and maintenance program.  The contractor shall manage contract resources to account for surge, non-standard, and recovery requirements in addition to collecting, tracking and enforcing warranties provided for services, maintenance, or equipment related to communication services covered in the contract.  The contractor shall recommend, develop, and implement innovative approaches consistent with government regulations that improve services and customer satisfaction provided under this contract.

The contractor shall propose, purchase, incorporate, and operate commercially available systems as replacements for all obsolete Government Furnished Property (GFP).  The contractor shall develop and implement a technical refresh program, which identifies components and systems requiring replacement or upgrade.  The proposal of GFP to be replaced will be part of the Technical and Cost Plan. The government will approve any upgrade or replacement of GFP.

The contractor shall provide the government unrestricted on-line access to all data generated in the performance of this contract and utilize web-based interfaces whenever possible.  Contract deliverables shall be made available to the government using automated, on-line systems.

The contractor shall identify and inform the government of technical risks to the contract, develop risk mitigation plans, and implement approved risk mitigation plans.  The contractor shall provide technical risks assessments during the weekly configuration and availability meetings.  An urgent technical risk which impacts safety, health, security or day-to-day operations shall be brought to the attention of the government immediately.

The contractor shall participate in weekly status (configuration and availability) meetings with associated communications systems government organizations.

### 2.3.1	Work Control

The contractor shall implement a work control process. This process must plan, schedule, execute, monitor, document and improve KICS-provided communication services. This process shall include In-Family and Out-of-Family (see Section 4) services, developmental activities, and exhibit sufficient flexibility to adapt to future contract requirements. The contractor shall utilize MAXIMO as the KICS work control system.

The contractor’s work control system and business processes shall track and predict personnel and system resource usage and shall incorporate and utilize a resource leveling function across operations and maintenance, sustaining engineering, program support and ID/IQ.  The contractor’s work control system shall have the capability to provide online reports to identified government and customer users.

The contractor shall provide an integration function for all communication services under contract.  The integration function shall provide status to the government on all scheduled work, outages, and other items pertinent to the contractor’s provision of communication services.

The contractor shall ensure critical communication services (e.g. security, fire alarms, OIS-D, paging and area warning, OTV, and other critical systems identified in attachment J-1 section 4.0) are available and operational 24 hours per day, 7 days per week.  The contractor shall staff an existing communications control center 24 hours per day, 7 days a week to document customer requests for service.  The communications control center shall initiate remediation activities by the appropriate KICS contractor organization or transfer the request to the appropriate KSC contractor for remediation.

For administrative communication services (e.g. phones, voice mail, video conferencing), the contractor shall respond to customer requests for service and correct service deficiencies from 6:00 a.m. Eastern to 8:00 p.m. Eastern, Monday through Friday except when specifically approved by the government.

The contractor shall support pre-planned program customer requirements and operational processing up to 24 hours per day, 7 days a week.  In response to unplanned outages, schedule disruptions or to declared contingencies, the contractor shall support up to 24 hours per day, 7 days a week.   The contractor shall perform outages and execute maintenance actions during non-mission critical and off-shift timeframes in order to minimize risk to program operations and to limit impacts to center wide processes (reference Section 2.3.5, Outage Management).

The contractor shall provide a weekly work schedule, with associated resource usage, for each system. The work schedules shall contain all work with the exception of In-Family and Task Order work items.  The work schedules shall show all planned work for the current fiscal year as well as the previous week.  All completed work shown on the schedules shall be indicated as such.  The contractor shall also integrate all the system work schedules and provide, on a weekly basis, an integrated master KICS work schedule.

The contractor shall provide a technical status report to the government on a weekly basis.  The report shall address, but is not limited to, project status, significant maintenance actions, system anomalies, customer support issues, near-term outages, issues and concerns, and planning status of future work.  The contractor shall provide minutes and track and maintain an action item log through completion of corrective action.

The contractor shall schedule activities to include the following minimum information:

- Work orders to be executed

- Task duration, including start and end times

- Identification of hazardous operations and associated control area requirements

- Task leader and phone number

- Personnel resources, by function, required for each activity

- Parts required to implement the task

- Related system outages and impact times

The contractor shall provide schedule activities information to the government during the weekly status meetings. Scheduling information shall also be incorporated into the 11-day work schedule described above.

### 2.3.2	Requirements

The contractor shall develop and maintain a process for collecting and documenting customer requirements. The contractor shall be responsible for the entirety of communication systems from data source to delivery at the customer interface point. The contractor shall assist KICS customers in development of communication system requirements and documentation of requirements in official databases.

The contractor shall respond to requirements in the Program Requirements Document (PRD) using the Automated Support Requirements System (ASRS) in accordance with KSC GP60-3, Automated Support Requirements System Handbook.  The contractor shall provide a closed-loop, tracking mechanism to ensure requirements are documented in work control procedures, implemented, and verified within the database.

The contractor shall develop and implement a web-based tool for KICS customers to document communication support requirements and obtain work schedules.

For requirements that cannot or will not be met, the contractor shall prepare, process, and present waivers and exceptions to provide justification for approval by the appropriate government authority.

On an as requested basis, the contractor shall provide the government with status of completed and open requirements to include estimated hours and/or cost to complete.

### 2.3.3	Reviews

The contractor shall provide support and technical input with respect to communication systems at the reviews listed in Table 2.1.

| FUNCTION | REVIEW |
| --- | --- |
| STS | Flight Hardware Move/Mate Readiness Review |
|  | S0017, Terminal Count Demonstration Test (TCDT) Pre-Test Briefing |
|  | S0026, Orbiter Landing |
|  | S5023, Orbiter Rollover |
|  | A5214, Orbiter Rollout |
|  | S0009, Pad Validation |
|  | S0014, Flight Readiness Firing |
|  | S0037, LH2/L02 Load Demonstration |
|  | Payload Interface Test (S07XXX) as applicable |
|  | Launch Readiness Review (LRR) |
|  | S0007, Launch Countdown Pre-Test Briefing |
|  | S0007, Launch Countdown Post-Test Briefing |
|  | S0007 and S0017 OMI Reviews |
| ISS/Payloads | Payload Test as applicable |
|  | Payload Test OMI Review as applicable |
|  | Launch Site Support Plans |
|  | Program Requirement Documentation Review |
|  | Payload Readiness Review (PRR) |
|  | Ground Operations Readiness Review (GORR) |
| LSPO | Launch Management Coordination Meeting (LMCM) |
|  | Launch Readiness Review (LRR) |
|  | Flight Readiness Review (FRR) |
| Institutional | Major Moves |
|  | Emergency Preparedness Plan Annual Review |
|  | Center Director Annual Holiday Outage Review |
|  | Facility construction and modification as applicable |
|  | Institutional reviews and boards as applicable |
|  | CoF Design Reviews |
|  | Monthly Financial Review |
|  | KICS Quarterly Contract Review |
| All | Anomaly/investigation reviews as applicable |
|  | Constraint and Pre-Test reviews as applicable |

Table 2.1:  Program Reviews

### 2.3.4	Meetings

The contractor shall provide support and technical input with respect to communication systems at various program and institutional meetings at KSC including, but not limited to, meetings listed in Table 2.2.  The contractor shall respond to action items identified at meetings.

| FUNCTION | MEETING |
| --- | --- |
| STS | Launch Countdown Working Group (LCWG) |
|  | Launch Commit Criteria Working Group |
| ISS/Payloads | Ground Operations Working Group (GOWG) |
|  | Technical Interchange Meeting (TIM) |
|  | ICS Status Meeting |
|  | Monthly Facility IPT |
| LSPO | Ground Operations Working Group (GOWG) |
|  | Technical Interchange Meeting (TIM) |
|  | Communication and Telemetry Requirements Meeting |
| Institutional | Outage Planning Meetings |
|  | Major Moves |
|  | Weekly Systems Status Meeting |

Table 2.2:  Meetings

### 2.3.5	Outage Management

The contractor shall plan and implement communication system and facility outages at KICS supported facilities.  The contractor shall develop an outage identification, review and customer approval process, to ensure outages have been properly coordinated and approved by KSC customers prior to implementation.  The contractor shall ensure outages are scheduled, initiated and recovered during periods of non-critical program or center processing and shall ensure communication systems maintenance, update, test, checkout and repair are completed as defined by requirements in the PRD and section 4.0.  The contractor shall recover from unplanned outages in a manner  which limits impacts to critical center or mission processing operations.  For each outage, the contractor shall maintain a list of impacted systems and approving organizations. The KICS outage task leader shall ensure all affected parties are notified when planned outages exceed planned timelines or when unplanned outages occur.

### 2.3.6	Training

The contractor shall provide trained, knowledgeable, experienced, and certified personnel for assigned tasks in accordance with Section 8.0.  The contractor shall maintain trained and knowledgeable personnel through the course of the contract as technology advances and infrastructure modernization progresses.

The contractor shall maintain a technical reference library, which contains KICS-developed documentation, drawings, and publications for customer education and use.  The contractor shall provide adequate training to the government on any new systems, hardware, or software utilized in support of this contract.

### 2.3.7	Configuration Management

The contractor shall perform configuration management on all assigned hardware and software.  The contractor shall provide configuration documentation for all communication systems and components operated under this contract such as, but not limited to: engineering drawings, circuit path routing, and access control.  The contractor shall maintain the documentation of assigned systems to the “as-built” configuration.  The contractor shall make configuration management data and information available to the government as requested.

The contractor shall provide a configuration control board and implement a configuration control process to receive, evaluate, prioritize, track and implement configuration control within communications systems.

### 2.3.8	Security Management

The contractor shall operate a security program in accordance with governing Agency, Department of Defense (DOD), Department of Homeland Security, and KSC directives as revised.  The contractor shall develop, update and implement a Security Plan (DRD-M-5), which provides security planning for all personnel, facility, equipment, and communications security to assure compliance with, but not limited to, the following:  NFS 1852.204-76, Security Requirements for Unclassified Technology Information Resources, FAR 52.204-2, Security Requirements, NFS 1852.223-75, Major Breach of Safety or Security, KSC Local Security Controls, NPG 2810.1, Security of Information Technology, and KSC CIO policies.  The contractor shall submit IT Security Plans for review and approval by KSC’s IT Security Manager. The contractor shall implement IT specific security in accordance with the requirements of the PWS, Section 4.0 and 6.0.

The contractor shall ensure personnel have the required PRP and security clearances for access to controlled facilities and systems at Kennedy Space Center.

### 2.3.9	Emergency Management

The contractor shall develop, update and implement an Emergency Preparedness Plan (DRD-M-6) in compliance with JHB 2000, Consolidated Comprehensive Emergency Management Plan and JDP-KSC-P-3014, Generic Emergency Procedures Document. The plan shall include the contractor’s assigned communication systems, hardware, software, infrastructure, equipment, data storage and operations.  The contractor shall plan for and participate in drills and implement the Emergency Preparedness Plan for declared institutional and customer emergencies.

The contractor shall designate a KICS Emergency Coordinator responsible for supporting emergency preparedness planning and implementation.

### 2.3.10	Data Management

The contractor shall develop, update and implement a data management program, which provides for the management, preparation, publication, control, and distribution of data generated during the performance of this contract in compliance with NPD 1440.6, NASA Records Management.  The contractor shall develop and maintain data repositories to support contract requirements including Data Requirements Document (DRD)/Data Requirements List (DRL) related products.  The contractor shall provide for the handling and control of customer and proprietary data and software.  The contractor shall provide a Data Accession List of documents produced and maintained for this contract.

The contractor shall develop, update and implement an Export Control Plan (DRD-M-7).  The contractor shall identify an export control focal point to represent the contractor at the KSC Export Control Working Group (ECWG).  The contractor shall apply for all required export licenses within 30 days of contract start.

The contractor shall maintain the documentation baseline and ensure all new data storage (hardcopy and electronic) and KICS work control information and maintain compatibility with work control management systems of Shuttle, ISS, Institutional, and Launch Services Program Office contractors.  The contractor shall maintain and integrate all legacy and historical system documentation data into any new documentation and workflow process.

The contractor shall maintain existing documentation and all documentation developed as part of the contract. The contractor shall provide the library functions to catalog, store (electronic format), and maintain data.  The contractor shall make the data available to the government as requested.

The contractor shall maintain and operate a repository for engineering documentation that includes a formal release system.  The contractor’s repository and release system shall include basic engineering drawings and all released revisions, for contractor drawings, vendor drawings, shop drawings and work orders.

The contractor shall create and provide to the government unrestricted, on-line access to data stored and produced under this contract.  All data made available to the government under this contract shall be retrievable, editable, and compatible with government hardware and software systems.  This on-line access capability shall first be made available at the completion of the phase-in period and then maintained throughout the duration of the contract.

The contractor shall create, submit for government approval and implement the communication systems Data Impoundment Plan by the completion of the phase-in period.  The plan shall address data associated with communication systems that control data access, capture communication system configuration, and restrict data release to specified organizations.

## 2.4	Quality Management

The contractor shall ensure the communication systems processes and procedures provide quality services and products to the government, continuously improve these products and services, ensure the safety of its personnel and assets, provide a healthy work environment for its personnel, provide environmental stewardship of the with respect to the communication systems at Kennedy Space Center and other assigned sites under this contract, and ensure customer satisfaction.

The contractor shall develop, maintain, and implement a Quality Management Plan (DRD-M-8).

The contractor shall comply with existing Consolidated Space Operations Contract (CSOC) operating procedures, safety variances, Memoranda of Understanding (MOU), Memoranda of Agreement (MOA), and Associate Contractor Agreements (ACAs) until modified or cancelled.  The contractor shall obtain government approval on any modifications to or cancellations of the above listed documents.  The contractor shall revise the existing quality documents within one year of contract start.  The contractor shall develop, update, and implement KICS required plans and processes.

### 2.4.1	Customer Satisfaction

The contractor shall provide the communication services defined and described in this PWS so as to ensure the satisfaction of Space Shuttle, International Space Station (ISS), Launch Services Program Office (LSPO), Institutional, and future KSC customers while utilizing continuous improvement methods (Section 2.4.4) to succeed in the dynamic KSC work environment.

The contractor shall provide customer management support to the government for all program customers to include, but not limited to: Shuttle, ISS, LSPO, Institutional customers, and potential future KSC projects and programs.  The support includes, but is not limited to: participating in internal KSC planning meetings, assisting Center customers in defining site and program processing requirements, and documenting site requirements.

### 2.4.2	Quality Assurance

The contractor shall establish, certify and maintain a Quality Management System (QMS) that, as a minimum, certifies and adheres to the requirements of ANSI/ISOASQ 9001-2000 American National Standard Quality Management Systems – Requirements, and revisions, throughout the contract duration.  The contractor’s initial QMS shall become registered by a Registration Accreditation Board (RAB)-certified third party registration body within 18 months of the effective date of the contract.  The contractor’s full version of the QMS shall be registered by July 01, 2005 by a Registration Accreditation Board (RAB)-certified third party registration body.  The registration scope shall be the contractor’s quality system scope as defined in the contractor’s quality manual.  The QMS procedures, planning, and all other documentation and data that comprise the QMS shall be made available to NASA for review on an as-requested basis.  Existing quality documents that meet the requirements of this contract may continue to be used.  NASA may perform any necessary inspections, verifications, and evaluations, to ascertain compliance to requirements and the adequacy of the implementing procedures.  The contractor shall require major subcontractors (major subcontractors defined as providing greater than 30% of the KICS workforce) to demonstrate and maintain ISO 9001-2000 QMS certification and shall require sub-tier suppliers to demonstrate quality processes to achieve control of the services and supplies provided.  In addition, the contractor’s QMS shall make provisions for the following supplements to the 9001-2000 elements:

- Customer Verification of Subcontracted Product  - The contractor shall submit procurement documents to the designated NASA representative for determination of the need for Government Source Inspection (GSI) prior to release of the procurement.

- Procurements, which require GSI, shall include the following statement, “The Government has the right to inspect any or all of the work included in this order at the supplier’s plant.”

The contractor shall collect and compile evidence derived from empirical data including, but not limited to: test results, analysis reports, inspection records, and delivery logs to establish that the products and services delivered to the government are in compliance with the requirements and specifications of the KICS contract.

The contractor shall develop, implement and update a process to control and improve the quality of products and services provided under this contract.  The contractor shall develop a set of parameters with government concurrence, to be monitored by contractor quality personnel for the measurement and verification of critical processes that control key product characteristics.  The measurements shall include, but not be limited to, data on product and service quality, workmanship errors and rework.  The process shall be auditable by the government and documented by the contractor.

The contractor shall participate in the Government/Industry Data Exchange Program (GIDEP) and NASA advisory reporting systems in accordance with NPG 8735.1, Procedure for Exchanging Parts, Materials, and Safety Problem Data Utilizing the Government-Industry Data Exchange Program and NASA Advisories.

The contractor shall notify the government of mission critical hardware/software anomalies and make available all trouble tickets on said hardware/software.  The contractor shall provide the government status on such problem reports and notification of anomaly correction in a timely manner.

In the event of a program or center incident or contingency, the contractor shall support any government investigation and make available all pertinent documentation.

### 2.4.3	Reliability and Maintainability

Within one year of contract start, the contractor shall develop and implement a reliability and maintainability program that meets the requirements of NPD 8720.1, NASA Reliability and Maintainability Program Policy, and NASA-STD-8729.1, Planning, Developing, and Managing an Effective Reliability and Maintainability (R&M) Program.  The contractor shall develop and implement a process that ensures the reliability and maintainability throughout the lifecycle of the communication systems and equipment for which the contractor is responsible.  The process shall include assessments of reliability and maintainability performance against baseline allocations; preparation of reliability and safety analysis assessments and trend analyses; and participation in failure reviews.

### 2.4.4	Continuous Improvement

The contractor shall develop, update, and implement a continuous improvement program in accordance with ANSI/ISOASQ 9001-2000 American National Standard Quality Management Systems – Requirements.

The contractor shall initiate action, including requesting government approval, to change requirements that are indicated, by trending and data analysis, to be unreasonable or unnecessary, and to improve processes that result in products or services that fail to meet requirements.

### 2.4.5	Work Documentation and Authorization

By completion of the phase-in period, the contractor shall develop and implement a work order process that documents, controls, authorizes, schedules, executes, and reviews all work performed on communication system hardware, software, and facilities.  The contractor’s process shall perform configuration control of work orders, to include work order publication, revision, and release.  The contractor shall ensure work orders provide detailed instructions for all activities, identify hazardous activities and associated control areas, track as-built configuration, and verify approved requirements are satisfied.

### 2.4.6	Foreign Object Debris (FOD) Prevention

The contractor shall ensure its personnel adhere to the KSC FOD prevention program KHB 5310.1D Reliability and Maintenance Requirements and FOD prevention program, Ground Operations Plan 5-4).

### 2.4.7	Energy Conservation

The contractor shall develop and implement an energy conservation program.  The contractor shall, on an as-requested basis, report to the government on measures taken to reduce energy consumption and provide quantified or estimated cost savings data.  Energy conservation shall not be applied at the expense of quality and customer support.  All new equipment, where applicable, shall have a high energy efficiency rating.

# 3.0	Safety, Health, and Environmental Stewardship

NASA has established its safety priorities as follows:

(1) Safety for the Public

(2) Safety for Astronauts and Pilots

(3) Safety for the NASA and Contractor Workforce

(4) Safety for High-Value Equipment and Property

The contractor shall assist KSC in reaching its safety goals by ensuring freedom from those conditions that can cause death, injury, occupational illness, damage to or loss of equipment or property, or damage to the environment.

## 3.1	Safety and Occupational Health

The contractor shall develop, implement, and maintain a comprehensive safety and occupational health program, which ensures the protection of personnel, property, equipment, and the environment.  The contractor shall submit a Safety and Occupational Health Plan (DRD-SHE-1), which describes its approach to maintaining the health and welfare of its employees and assets.

The contractor shall comply with KHB 1710.2, KSC Safety Handbook and all applicable federal, state, and local government safety laws, regulations, and policies.

The contractor shall comply with all safety and mission assurance ground operations requirements of the STS, ISS, and LSPO programs.

The contractor shall comply with the maximum work time rules in accordance with Section 3.4 of KHB 1710.2, KSC Safety Practices Handbook.  The contractor shall maintain a list of critical positions and make this list available to the government as requested.

The contractor shall take, or cause to be taken, any other safety, and occupational health measures the government may reasonably direct.

The contractor shall investigate all work-related incidents, accidents, and close calls, to the extent necessary to determine their causes and furnish the government a report in a timely fashion, in such form as the government may require, of the investigative findings and proposed or completed corrective actions.

The contractor shall implement any corrective actions directed by the government.

The contractor shall assist authorized government representatives in examination of sites or areas where work under this contract is being performed in order to determine the adequacy of the contractor’s safety and occupational health measures.

The contractor shall obtain government approval on all hazardous procedures prior to execution.

The contractor shall institute a risk management process for assuring personnel and property will be protected from injury or harm as a result of exposure to hazards in accordance with Agency and KSC guidelines, policies and directives reflected in this section.  The risk management process shall be implemented at contract start and shall provide prompt and thorough investigation and reporting of accidents or “near misses” and shall incorporate methods for review, deviations and approvals of operating procedures.

The contractor shall support, participate and incorporate KSC Super Safety and Health Day into workforce education, operational planning, system availability while ensuring contract requirements are met.

### 3.1.1	Voluntary Protection Program

The contractor shall be compliant with the Voluntary Protection Program (VPP) STAR certification requirements within 24 months after contract start.  The contractor shall demonstrate to the government compliance with OSHA Star certification requirements in the same format required for the OSHA Star certification application.  The contractor shall document its progress toward and maintenance of compliance with VPP Star certification requirements in quarterly Internal Surveillance Reports (DRD-SHE-2).  If the contractor obtains OSHA VPP Star certification, the contractor shall provide the government with a copy of all reports submitted to OSHA for the purpose of maintaining Star certification.

### 3.1.2	Systems Safety

The contractor shall develop and implement a process at contract start, as documented for the identification, mitigation and control of hazards throughout the complete life cycle (design, development, manufacture, test, operations, maintenance, and disposal) of the facilities, equipment and processes for which the contractor is responsible.  The process shall include quantitative or qualitative risk assessments, hazard analyses, and other analytical methods.  The contractor shall select the type of assessment based on the identified level of risk.   The contractor shall submit all system safety assessments to NASA Safety for review and approval in a timely fashion.

### 3.1.3	Operations Safety

The contractor shall develop and implement a process in which testing, operations, and maintenance activities are assessed for hazards.  The process shall identify how personnel and property will be protected from injury or harm as a result of exposure to these hazards.  The process shall provide for hazardous operation surveillance, hazardous procedure review, and risk assessments associated with deviations from procedures or safety and health requirements.  The contractor shall document the assessments and make the assessments available for government review as requested.

### 3.1.4	Mishap Investigating and Reporting

The contractor shall investigate and report mishaps, in accordance with NPG 8621.1, NASA Procedures and Guidelines for Mishap Reporting, Investigating, and Record keeping, NPD 8621.1, NASA Mishap and Close-Call Reporting, Investigating, and Record Keeping, and KHB 1710.2, Kennedy Space Center Safety Practices Handbook.  The contractor shall include a human factors assessment, root cause analysis and any remedial/corrective actions performed in all investigation reports.

The contractor shall immediately notify and promptly report to the government any accident, incident, or exposure resulting in fatality, lost-time occupational injury, occupational disease, contamination of property beyond any stated acceptable limits set forth in the contract schedule; or property loss of $25,000 or more, or close call (a situation or occurrence with no injury, no damage or only minor damage (less than $1,000) but possesses the potential to cause any type mishap, or any injury, damage, or negative mission impact, that may be of immediate interest to NASA, arising out of work performed under this contract.  The contractor shall provide quarterly reports specifying lost-time frequency rate, number of lost-time injuries, exposure, and accident/incident dollar losses as specified in the contract schedule for work conducted on premises owned or controlled by the government.

The contractor shall develop and implement a call tree with government contacts for the reporting of a mishap, close call incident, equipment problem or a system going out of specification.  The contractor shall report incidents and problems within four hours of the occurrence.

The contractor shall provide summary data on mishaps, incidents or close calls (DRD-SHE-3).

### 3.1.5	Lessons Learned

The contractor shall develop, update and implement a process, to capture, disseminate, and implement safety and occupational health lessons learned in accordance with NPG 8621.1, NASA Procedures and Guidelines for Mishap Reporting, Investigating, and Record keeping, and NPG 7120.5, NASA Program and Project Management Processes and Requirements.  The contractor shall enter the lessons learned into the government provided Lessons Learned Information System operated by the Goddard Space Flight Center (GSFC).

### 3.1.6	Industrial Hygiene

The contractor shall develop, update and implement an industrial hygiene process in accordance with the requirements of NPG 1820.1, Hearing Conservation, KHB 1840.1, Industrial Hygiene Handbook, KHB 1820.3, KSC Hearing Loss Prevention Program, and KHB 1820.4, KSC Respiratory Protection Program.

## 3.2	Environmental Stewardship

The contractor shall develop and implement an environmental protection program to ensure the welfare of the KSC environment and of other locations where work is performed in support of this contract in accordance with KMI 8800.8, KSC Environmental Management and KHB 8800.6, KSC Environmental Control Handbook.  The contractor shall comply with all applicable federal, state, and local government environmental laws and regulations.  The contractor shall prepare and submit, to the appropriate regulatory agency, any and all documentation required in support of this contract.

The contractor shall support KSC recycling and remediation initiatives.

The contractor shall apply for and maintain all necessary permits required by Federal, state or local rules and regulations.  Permits shall be submitted through the NASA/KSC Environmental Program Office.

The contractor shall handle all waste streams generated by their processes in accordance with KHB 8800.7, Waste Management Handbook.

# 4.0	Communications System Services

The contractor shall provide Communications System Services, which include, but are not limited to system Operations, Sustaining Engineering, Customer Requirements Tracking, Communications Control, Maintenance, and Analysis and Assessment.  Communication systems deliver voice, visual imaging and timing communication services and data.  The Communication services provided under this PWS support Operational and Institutional communications system customers at KSC and NASA occupied facilities that are listed in attachment J-1 appendix 7.

The operational communication systems provide communication capabilities for ground processing, testing, launch, and landing (including contingency landing sites), and expendable launch vehicle activities.  The institutional center-wide communications systems provide services for all KSC users, including KSC and NASA occupied facilities on CCAFS, CONUS and TAL.

The contractor shall provide communication system services up to customer end-equipment interfaces, Customer Owned and Maintained (COAM) interfaces, and external and other service provider demarcation points (Attachment J-3).  The contractor shall maintain, operate, configure, de-configure, integrate, de-integrate, implement modifications to, refurbish communications, decommission obsolete equipment, and dispose of obsolete system hardware and software listed in attachment J-1 appendix 5.

The contractor shall provide end-to-end traceability for all communication system requirements and related work.  The contractor shall provide system status on communication system tasks including but not limited to trouble tickets, in-family work, out-of-family work, missions and upgrade project tasks.  The contractor shall prepare, update, and provide performance-to-plan and open item status reports for pre-launch briefings and post-launch and landing reviews.

The contractor shall coordinate and obtain support from other contractors and government organizations providing services at KSC and NASA occupied facilities on CCAFS, CONUS and TAL.  The contractor shall track all support requests, both internal and those forwarded to other contractors or government organizations, for all assigned communication systems related work.

## 4.1	Communications Systems and Services Activities

The contractor shall provide operations, maintenance, sustaining engineering, communications control, customer requirements support, engineering analysis and assessment, and documentation for all KICS systems.

The contractor shall provide readiness status of KICS systems to activity review boards that are responsible for mission readiness.  The readiness status shall include, but not be limited to testing results and status of training, certification, hardware/software and procedures.  DRD-T-1 contains these readiness data requirements.

### 4.1.1	Operations

The contractor shall ensure that all KICS communications systems are operationally ready for scheduled customer and contractor processing activities.  The contractor shall provide end-to-end communications configuration, validation, and support.  The contractor shall schedule communication services to accomplish KICS requirements and avoid impact to operations and administrative activities.

The contractor shall implement a work control process (2.3.1) that identifies resources, work authorization instructions and task times for work to be performed on KICS communication services.  The work control process shall be operational at the completion of the phase in period of the contract.  The contractor shall utilize the work control process to request and offer services from/to other KSC contractors.  The contractor shall develop and follow government approved Standard Practice Instruction – Communications Systems Work Control procedures.

The contractor shall support out-of-family work for assigned systems. Out-of-family work includes changes that affect the system baseline design and/or system architecture and adds, moves and changes that require configuration change or engineering. An architecture change is the addition of new capability, change in system topology, system modification, or system software change. Out-of-family work require NASA signature on both a work plan and on the work order, work order resubmission number, etc. The contractor shall accept NASA direction from an Integrated Data System (IDS) communications Technical Review Panel (TRP) consisting of department manager and a NASA branch chief (if required) and or their designees who review and disposition change request and assessments (except for fast track and hot track work orders). The contractor shall activate and validate out-of-family modifications or new capabilities at the end of installation and prior to hardware and system turnover operations. The contractor shall coordinate with the user organization during final activation and validation.

The contractor shall support in-family work that provides services based on the as-designed system or fits within established capacities. Changes can involve for example adding cards to a chassis (but not adding another chassis to a system).  NASA signature is not required. The contractor shall coordinate with the user organization during final activation and validation.

The contractor shall complete communications systems installations in new facilities including make-it-work modifications during joint occupancy and assume maintenance following acceptance of the facility.  The contractor shall perform integrated testing, if required, after the installation of non-KICS equipment and systems.

The contractor shall coordinate KICS system outages with the government, KSC contractors and any affected customers.  The contractor shall request and coordinate all utility and facility services with the appropriate KSC service contractor.

The contractor shall coordinate and obtain authorization for all new contractor and new customer equipment radio frequency transmissions from the KSC Frequency Control Officer Spectrum Manager per the requirements of KHB 2570.1, KSC Radio Frequency Spectrum Management Handbook.  The contractor shall ensure that all newly purchased equipment is issued a Radio Frequency Authorization (RFA) by the KSC Frequency Control Officer Spectrum Manager.  The contractor shall ensure that any contractor assigned equipment replacement item is within the spectrum bandwidth previously approved for contractor or customer use by the KSC Frequency Control Officer Spectrum Manager.

### 4.1.2	Maintenance

The contractor shall implement a maintenance program for all communication system hardware, software, and contractor managed support equipment.  The level of maintenance provided shall ensure the reliability, cost effectiveness, serviceability, and longevity of the assigned systems.  The contractor shall develop and maintain a Five Year Maintenance plan (DRD-T-7) to describe planned maintenance activities and resources required.

The contractor shall maintain the historical communication systems maintenance and repair data for trending purposes (DRD-T-8).

The contractor shall maintain warranty guarantee and maintenance contract records for assigned communication systems for any warranty, guarantee or maintenance contract period.  The contractor shall investigate the failure of any covered hardware or software, and report findings to the government during the established reviews. The contractor shall notify the government of actions that void a warranty, guarantee, or maintenance contract during the established reviews.

### 4.1.3	Sustaining Engineering

The contractor shall provide overall communications systems engineering and integration services.  The contractor shall also support and coordinate advanced technology development as per 4.1.3.3.  The contractor shall perform sustaining engineering for all communications systems including software and firmware identified in attachment J-1 appendix 5 to meet the original design intent (i.e., form, fit and function).  The contractor shall document their overall approach for these tasks in the Sustaining Engineering Plan (DRD-T-2).  The contractor shall perform engineering and task level support to upgrade systems and equipment performance and to improve safety, reliability, maintainability, functionality, and cost effectiveness.

The contractor shall provide systems engineering, development integration, and advanced technology development support for all assigned communications systems to the demarcation point (Attachment J-3) with systems and equipment under the responsibility of other KSC contractors.  The contractor shall ensure that no change on the contractor’s side of the interface causes an overall system outage or degradation on the other side of the interface.  The contractor maintained and updated technical data shall include those documents that identify each part and its configuration at any level of assembly required to support KSC activity.

#### 4.1.3.1		Systems Engineering

The contractor shall provide end-to-end communications systems engineering and service integration.  The contractor shall document the communications system services in a services catalog (DRD-T-3).  The contractor shall manage the configuration of the integrated architecture baseline.  The contractor shall document the current architecture and planned architecture changes in the Architecture Baseline (DRD-T-4).  The contractor shall provide communications systems/services element trade-off analysis as defined in (DRD-T-5).

Typical systems engineering functions include:

- Safety and mission assurance activities

- Coordination of activities that pertain to KSC communication system interfaces with non-KICS systems

- Tracking work forwarded to non-KICS organizations when applicable to communications systems.

- End-to-end system requirement integration

- Requirements management, analysis and requirements/design trade studies

- Establishing systems engineering processes

- Operations and development systems standards support, coordination, and control

- Integrated architecture baseline configuration management and planning, including schedule and change control

- Design analyses, architecture trade-off, and Make or Buy assessments

- System-level functional designs development

- Engineering strategies development

- Service capacity, performance, and life cycle cost forecasting

- External interface negotiation and design

- Facilitate and coordinate the commercialization and consolidation of services across the contract, consistent with the strategic architecture

- Evaluating and testing commercial off-the-shelf (COTS) software and hardware products including development and engineering tools

- Operations concept development

- Proactive end-to-end risk analysis management and abatement

- Conduct design reviews and maintain records for communications system projects and out-of-family tasks.

- Support design reviews for existing and new facilities on KSC and NASA occupied areas as assigned.

- Preliminary and final engineering assessments

#### 4.1.3.2		Development Integration

The contractor shall provide end-to-end technical integration for communication assets into the KICS architecture and services infrastructure.  These assets may or may not have been developed by the KICS contractor.

Typical integration functions include:

- System-level integration

- System-level verification

- System-level acceptance testing

- End-to-end testing

#### 4.1.3.3		Advanced Technology Development

The contractor shall support advanced research and technology development for potential application in future communications systems.  The results from these efforts shall be documented in Advanced Technology Development Reports that are defined in (DRD-T-6).

Typical advanced technology development products include:

- Technology insertion recommendations

- Technology projects assessments

- Market research and trade studies

- Monitor industry forums, trade shows and standards development

### 4.1.4	KICS Communication Control

The contractor shall provide Communication Control functions in support of KICS communication systems and services.  Contractor shall provide a single customer point of contact for all KICS communication systems and services.  Communication control responsibilities include but are not limited to screening, logging, triage, assigning-routing, resolution, and customer feedback.  Contractor shall provide Communications Control services 24 hours per day, 7 days per week.

Contractor responsibilities also include serving as the focal point for communications scheduling, access to communications facilities and assets, outage coordination, customer trouble ticket processing and reporting, coordination with other KSC/CCAFS/ER helpdesks and consoles.

The contractor shall provide communication support services in support of all operational and institutional communications at KSC including the KSC LC39, Payloads Area and Industrial Area.  Communication support services at KSC shall support CCAFS, CONUS, Transatlantic Abort Landing (TAL) sites and Eastern Range (ER) tests as required.

Communications Control services shall meet or exceed performance standards as listed in Section L.18.3, Attachment C, Table 1.

### 4.1.5	Customer Requirements

The contractor shall provide communication system services up to customer end-equipment interfaces, Customer Owned and Maintained (COAM) interfaces, and external and other service provider demarcation points (Attachment J-3).  The communication contractor customers include but are not limited to resident NASA and contractor users, other government agency users and transient users.

The contractor shall respond to Customer Service Requests (CSR), Program Requirements Documents (PRD), NISN Service Requests (NSR), Telephone Service Requests (TSR), and Automated Support Requirements System (ASRS) requirements and verify the accuracy of the requirements.  Requirements accuracy includes: first need date, mission related requirements and technical content.  The contractor shall coordinate requirements to ensure requested service delivery by User Need Date (UND) in advance of mission contingent arrival.

The contractor shall provide end-to-end tracking and status of all communication system requirements.  The contractor shall provide feedback to customer on communication system requirements including but not limited to system status on trouble tickets, in-family work, out-of-family work, missions and upgrade project tasks.  The contractor shall prepare, update, and provide performance-to-plan and open item status reports for pre-launch briefings and post-launch and landing reviews.

The contractor shall provide a uniform requirements acceptance process.  Contractor shall ensure multiple requirements integration to deliver timely response to all work in process and effective customer requirements processing across all systems and services.

Customer satisfaction metric in Section L.18.3, Attachment C, Table 1 covers time performance and customer satisfaction for these processes.

### 4.1.6	Analysis and Assessment

The contractor shall perform engineering analyses and assess communications system impacts to safety, reliability, operability, scheduling, documentation and logistics as directed by the government.

The contractor shall include in the analyses and assessments as a minimum:

- Implementation strategy

- Proposed coordination with other contractors

- Effects of proposed design, implementation, and operations on other contractors systems and operations

- Cost estimate

- Installation and testing requirements

- Environmental analyses

- Documentation per existing federal and state regulations

- Any necessary trade studies

## 4.2	Communications Systems

The contractor shall be responsible for operating, maintaining, and sustaining an array of communications systems at KSC.  These systems interface with various onsite and offsite contractors, government organizations, educational institutions, commercial businesses, vehicle, and payload customers.  The contractor shall adhere to the “clear frame” practice during critical operations.  The “clear frame” practice freezes configuration of all operational communications for periods of up to 72 hours for Shuttle operations and 24 hours for ELV operations.  The contractor shall propose methods over the life of the contract to minimize the impact of the “clear frame” practice.  The following systems utilize a wide range of government and industry standards to deliver services to the KSC user community:

- Voice Communications

- Visual Imaging and Timing Communication services

- Transmission

- Cable Systems

- Administrative Telephone System

- Institutional Computer Networks

- Network IT Security

The contractor shall provide competent staffing to comply with the “Personnel Support” requirements in each of the respective service areas as delineated below.

The contractor shall integrate these systems listed above and with other external systems based at or affiliated with KSC to meet the Center’s communication requirements.  A listing of GFP for KSC Communications is located in attachment J-1 appendix 5.

All communications services listed shall meet or exceed the performance standards listed in Section L.18.3, Attachment C, Table 1.

### 4.2.1	Voice Communications

The contractor shall provide voice communications services and support end-to-end configuration and validation to meet operational and institutional requirements at KSC and the NASA occupied facilities at the CCAFS, CONUS, and TAL.

The contractor shall also provide voice communications services to the KSC News Facility and various locations throughout KSC, including, but not limited to: Point-to-point telephones, commercial audio communications, conference and Mission Briefing Room audio, Shuttle forward link and NISN network tail circuits at KSC.

The contractor shall provide voice communications services for Shuttle launch and landing at contingency landing sites in the continental US sites and transatlantic sites.  The contractor shall also provide voice communications services at the Shuttle Processing Area (SPA) at the Dryden Flight Research Facility.

The systems associated with these services include, but are not limited to the following:

#### 4.2.1.1		Operational Intercommunication System (OIS-D)

ADDRESS/LOCATION:	KSC Building M6-138 (CD&SC) and Building K6-900 (LCC)

PERSONNEL SUPPORT:	24 hours x 5 days/week on-site; Weekend call-in.                                 On-site 24 hours x 7 days/week during major tests, launch, and landings.

FUNCTIONAL DESCRIPTION:

The Digital Operational Intercommunications System (OIS-D) is a fully digital, multi-channel, voice conferencing communication system.  It consists of two system centers, one in the LC39 area and one in the Industrial area, with a common channel interface to allow intercommunication.  It supports all KSC test and launch operations facilities.  The major hardware components are the Group Processor Assembly (GPA), Data Transmission Equipment (DTE), Central Summing Network (CSN), End Instrument (EI), Technical Control (TC), Record and Playback Subsystem (RPS) and Offnet Processor Subsystem (OPS).   Brief descriptions of all hardware components follow:

Group Processor Assembly (GPA) Rack - The GPA is the principle rack assembly, it provides the interface between the user End Instruments (EI) and the Central Summing Network (CSN).  Each GPA can support up to 119 EIs, they are installed at each major operational KSC facility, and they provide the first level of audio summation.

Data Transmission Equipment (DTE) Rack - The DTE racks are used to support transmission on fiber between the GPA and CSN for distances over 50 feet.  The equipment converts an electrical T3 to an optical signal and back to an electrical T3.

Central Summing Network (CSN) - The CSN performs the second level voice conferencing, summing all voice contributions from the GPAs.  Each system center has its own CSN.  The CSN creates a global sum of digital audio traffic by successively adding pairs of 512 channel DS3 inputs until a 512 channel global sum is produced.

End Instruments (EI) - The EI is an operator controlled, multichannel, microprocessor-based device that provides the interface to the GPA.  They communicate with the GPA over 19-AWG twisted pair at 130 kbps bipolar bit stream.  Descriptions of the six types of instruments are provided below.

(1) 51D - The 51D EI is a multimonitor, 19-inch rack mounted, single user-8 channel /dual user-4 channel unit for controlled environment (indoor) use.

(2) 52D - The 52D EI is a multimonitor, 19-inch rack mounted, single user-4 channel /dual user-2 channel unit for controlled environment (indoor) use.

(3) 53D - The 53D EI is functionally equivalent to the 52D, however, it is contained in a sealed, able to be purged, deep-drawn aluminum housing for use in hazardous environments.  The unit is designed to be wall mounted or mounted on a portable cart.

(4) 55D – The 55D is a desktop unit with 4 channels and a speaker for controlled environment (indoor) use.

(5) 57D - The 57D is a rack mounted speaker monitor that can be used with a 51D or 52D unit.  The unit is muted when the EI user is transmitting.

(6) 58D - The 58D is a wall mounted speaker monitor that can be used with a 53D unit, but not in outdoor locations or hazardous environments.

(7) 59D - The 59D is a desk-mounted speaker monitor for use in office areas.

Technical Control Workstations (Tech Control) - Tech Control provides overall monitoring and control capability for the OIS-D system operators.  The Intel-based workstations are running UNIX System V with X Windows as the windowing environment.  The machines are linked together over an Ethernet to the CSNs and OPS.

Record and Playback Subsystem (RPS) - RPS provides continuous recording of all channels in OIS-D by combining inputs from both the LC39 and Industrial Area CSN. Three digital recording units with two digital recorders in each unit will allow for recording of 1000 channels with 100% redundancy.  Analog tape dubbing is provided through a separate playback recorder and analog cassette decks.

Offnet Processor Subsystem (OPS) - OPS is a redundant T1/T3 conferencing voice switch that provides both T1 interfaces out of OIS-D and individual audio channel interfaces through channel banks.  This provides for off-center communications through both NISN and Transmission Management System (TMS).  The interface is also used to bring radio-nets into OIS-D.  OPS has a T3 interface with the two system center CSNs and has an input and output capability of 92 T1 links.  Currently 26 channels banks and 38 T1s are being used to provide the off-site and audio interfaces.

OIS-D consists of 4230 EIs, 57 GPAs, 49 DTE racks, 19 racks of CSN, 10 racks of OPS, 8 racks of RPS, 14 channel banks, 65 chargers and 35 battery banks.

OIS-D is a KSC designed system utilizing both custom and COTS hardware.  Software for the system was written in a mixture of ‘C’ and Assembly language, and is in excess of a million lines of code.

UNIQUE REQUIREMENTS:

OIS-D is a criticality 1S rated system meaning that failure of OIS-D to operate properly during the presence of a hazardous condition could cause loss of life and or vehicle.

FACILITY DESCRIPTION:

The primary OIS-D facilities are located in Building M6-138 (CD&SC) and Building K6-900 (LCC) that serve as system centers.  GPAs and DTE equipment are housed in communications rooms located at the LCC, VAB, OPFs, Pads, PCC, CD&SC, VPF, MPPF, PHSF, HSB, O&C, and SSPF.  EIs, in addition to being located in facilities occupied by GPAs, are also located at and in CX-J, CX-D, CCF, VABR, Security Headquarters, KSCNF, Ammonia Boiler Facility, MLPs, EML, CIF, LETF, TCF, SAEF-2, SPOC, HMF, plus various boxcars and trailers.

#### 4.2.1.2		Quintron Operational Intercommunication System (OIS-Q)

ADDRESS/LOCATION:	KSC Building J6-2313 (LACB), SLF facilities     Crawler/Transporter 1 and 2 Dryden Shuttle Processing Area (DFRC SPA)

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 x 7 during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The Quintron Digital Operational Intercommunications System (OIS-Q) is a commercial off the shelf provided by Quintron Systems Incorporated using their DICES III equipment.  OIS-Q is used in locations that have minimal or unique communication requirements.  Each system consists of a centrally located redundant microprocessor controlled digital switch and the user instruments are fed by twisted pair cable or multi-mode fiber optic cable at T1 data rates.  OIS-Q has the ability to integrate telephones, both conventional and point-to-point, paging, radio nets, and voice conferences.

There are three systems in place at KSC.  They are located at the KSC Shuttle Landing Facility (SLF), Crawler Transporter I and Crawler Transporter II.  The systems consist of 3 system controllers, five 40-channel communication units, thirty-five 10-channel communication units, and eight T1 channel bank assemblies.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

KSC Building J6-2313 (LACB), SLF facilities, Crawler/Transporter 1 and 2, Dryden Shuttle Processing Area (DFRC SPA)

#### 4.2.1.3		Paging and Area Warning System (P/AWS)

ADDRESS/LOCATION:	KSC Building M6-138 (CD&SC), Building K6-900 (LCC)

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

Paging and Area Warning System (P/AWS) - The Kennedy Space Center Paging and Area Warning System is a center wide system designed to provide emergency, operational and administrative announcements to KSC Personnel.  The system also provides a series of warning signals for various emergency conditions.  The Area Warning signal is used to precede evacuation instructions and/or emergency directives.  The Weather Warning Signal precedes weather status announcements.  Along with the audio announcements, the P/AWS provides flashing beacon and strobe lights in high noise areas.

The P/AWS is controlled from two identical control systems, one located in the LCC and the other in the CD&SC.  Each serves its respective area.  Paging panels are located throughout the LCC and other control areas throughout KSC.  All panels are wired to their associated control system.  Each control system feeds the paging zones in its respective area.  The LCC system feeds all of the LC-39 area, while the CD&SC System feeds the KSC Industrial Area.  The two systems are linked together to facilitate all area paging.

Each paging area (building/facility) has a subsystem for its own audio distribution and warning lights (if equipped).  The associated P/AWS Control System interfaces to these local audio distribution subsystems through a standardized P/AWS interface called a Control Tray.  The audio distribution system takes audio and control signals from the control tray, and distributes them to the speaker networks with one or more power amplifiers.  The control tray offers audio feedback and control status back to the control system.

The hazardous operational areas of KSC are required to have redundant P/AWS systems.  Such areas will have identical redundant paging networks.  Some of these areas have reserve power systems as well.  The system consists of 50 warning beacons, over 300 power amplifiers, and over 3000 speakers located throughout KSC.  P/AWS is a KSC designed system utilizing both custom and COTS hardware.  Software for the system was written in a mixture of ‘C’ and Assembly language.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

The primary Paging facilities are the LCC and CD&SC which house the redundant digital switches P/AWS is in approximately 150 buildings and facilities across KSC.

#### 4.2.1.4		Radio Systems

ADDRESS/LOCATION:	KSC Building M6-138 (CD&SC), 500’ Weather Tower, SLF, MARGO, CM&S

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The KSC Radio Systems are composed of handheld and mobile transceivers with associated fixed base stations and remote control units.  There are two different systems in place, an analog conventional system and a digital trunked system.  The contractor shall operate and maintain both systems.  At no time shall more than 3% of the users be required to keep both a conventional and trunked radio in order to be in communication with all the parties to which they must communicate.

The following describes the analog system:  There are 20 networks used in support of specific operational tasks associated with Shuttle and Payload processing, another 8 special networks for SLF Air Ground, Ground Control, and Crawler Transporter operations.  Additionally, there are 27 support networks to provide for such functions as security, fire, medical, safety, and base support and maintenance operations.  There is also a radio paging system consisting of voice and numeric radio pagers, a paging encoder and a paging transmitter.

The operational networks consists of transmitters located at 500 foot weather tower north of VAB and receivers located on 300 foot weather tower at building M6-791, approximately 8 miles south.  In addition, the majority of these networks have additional receivers located at the VAB and connect to the network via Spectra-TAC combiners.  All networks are interconnected via wire lines and audio bridges and are accessed through tone remote control units and are interfaced to the OIS systems through tone interfaces.  Engineering, operations and repair of all base stations and audio interfaces are the responsibility of this contract.

Overall the system consists of 43 Base stations, 270 remotes, and approximately 3000 mobiles and portables.

The following describes the trunked system:

The system is a Motorola Smartzone 3.0 system with both a simulcast site and four non-simulcast sites.  The simulcast site consists of two-transceivers at Kennedy Space Center, one on the 500 ft weather tower in the LC-39 area, and one on the radio shop tower in the Industrial Area.  The non-simulcast sites are at Margo, Shilo, and at PAFB, and CCAFS.  The Air Force also has consoles, radios, base stations, and audio interfaces.

In addition to the equipment associated with a typical trunked system, KSC has 16 interfaces to allow audio cross-patching between conventional radio nets and trunked talk groups (using BIMs), and 56 interfaces to allow audio cross patching between OIS channels and trunked talk groups.  Each OIS-to-talkgroup interface is achieved in part via a Radio Control Panel (RCP.)   This arrangement appears to the trunked radio system as if there is a console for every OIS-to-talkgroup patch, and makes KSC very atypical among users of trunked radio systems.

There are three locations on KSC that contain consoles: the LCC contains 6 consoles, the CD&SC contains one console, and the CIF contains one console.

There are approximately 1453 portables, 568 mobiles, and 25 base station radios that the contractor must track, program, and maintain.

While the Air Force maintains the equipment at PAFB and CCAFS, this contractor shall maintain the KSC equipment and the shared equipment, and serve as integrator and system engineer of the entire system.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

KSC Building M6-138 (CD&SC), 500’ Weather Tower, SLF, MARGO, CM&S

#### 4.2.1.5		Audio Distribution System

ADDRESS/LOCATION:	KSC Building M6-138 (CD&SC), Building K6-900 (LCC), VABR, KSC News Facility, and Banana River Repeater

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

This system consists of 4-wire / 2-wire audio bridges used to distribute mostly non-OIS-D circuits to required operator locations, line conditioning equipment (amplifiers, attenuators, filters, transformers, etc.) and signaling and supervision equipment (direct line service units) for point-to-point telephones.

The audio system also includes a T3C carrier equipped with one M13 multiplexer with a capability of up to 28 T1 circuits between the LCC and the CD&SC.  The 12 T1s in use support individual audio circuits as well as OIS-D Ethernet traffic.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

KSC Building M6-138 (CD&SC), Building K6-900 (LCC), VABR, KSC News Facility, and Banana River Repeater

#### 4.2.1.6		Voice Distribution Management System (VDMS)

ADDRESS/LOCATION:	KSC Building M6-138 (CD&SC), Building K6-900 (LCC), Building 1193 (VABR), MILA, Building 355 (O&C), Building 360 (CIF), SLF, Building (VAB), CCAFS XY, Building 60680 Hangar AE and Hangar L

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The Voice Distribution Management System (VDMS) is a multinodal, multiaggregate multiplexer system for local routing of communication signals in the KSC vicinity.  The system routes over 300 operational voice and data circuits within the various sites at KSC, CCAFS, MILA and other locations.  The VDMS is the primary interface between the KSC OIS-D System and the NISN Interface which routes KSC circuits to the various other NASA Centers.

The System is comprised of General DataComm (GDC) Megamux Transport Management System Multiplexers and Fibermux Magnum 100 Mbit per second fiber optic multiplexers.  The system is located at the CD&SC, with multiplexers throughout the primary communications locations at KSC and CCAFS.  The VDMS is monitored by system control computers, which automatically monitor system performance.  These computers also control the system.  The TMS and Magnum systems are designed to be highly reliable, and will automatically reroute circuits around system failures to the full extent possible.  This auto routing feature is essential due to the critical nature of the VDMS function. The network consists of approximately twenty GDC multiplexers fed by nine Fibermux nodes on three 100 Mbit/sec backbone loops.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

CD&SC, LCC, VABR, MILA, O&C, CIF, SLF, VAB, CCAFS XY, Hangar AE and Hangar L

#### 4.2.1.7		Astrocomm System

ADDRESS/LOCATION:	Building K6-900 (LCC), CD&SC

PERSONNEL SUPPORT:	Staffed as required; Weekend call-in                       	                     24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The Shuttle Astrocomm system provides interconnection of five Orbiter on-board voice circuits to the LCC control room consoles and OIS-D.  Two independent intercommunication circuits are tied directly from the LCC to the Orbiter via umbilical cables.  Two independent air-to-ground (A/G) full-duplex, S-band radio circuits are via the MILA Unified S-Band (USB) Spaceflight and Tracking and Data Network (STDN) Station, and one A/G half-duplex, ultra-high frequency (UHF) radio circuit is via the MILA USB STDN Station.

UNIQUE REQUIREMENTS:

Astrocomm is a criticality 1S rated system meaning that failure of Astrocomm system to operate properly during the presence of a hazardous condition could cause loss of life and or vehicle.

FACILITY DESCRIPTION:

LCC, CD&SC, Pad A, Pad B, OPF 1, 2, 3

#### 4.2.1.8		Voice Recording System

ADDRESS/LOCATION:	KSC Building M6-138 (CD&SC),

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The Voice recording system is a central audio recording facility used to record Shuttle OIS circuits and other operational audio circuits such as radio nets, paging announcements and special audio circuits.  The system has the capability of recording 240 circuits on two Dictaphone 9000 recorders and to produce copies on cassette for operational analysis.  In addition there are 3 20-channel recorders and 1 20-channel recorder to support the 2 crawler transporters and the Transportable Communication System (TCS).

UNIQUE REQUIREMENTS:	None

FACILITY DESCRIPTION:		KSC Building M6-138 (CD&SC)

#### 4.2.1.9		Public Affairs Audio Systems

ADDRESS/LOCATION:	KSC News Facility

PERSONNEL SUPPORT:	8 hours x 5 days/week and as required for special events

FUNCTIONAL DESCRIPTION:

Audio support, consisting of audio signal amplification, transmission, conditioning, switching, and distribution is provided by fixed equipment in the KSC news facility and from portable systems.  Audio support is provided for events such as Shuttle launches, landings, and rollouts; astronaut arrivals; unmanned launches; Air Force launches; press briefings; NASA briefings; and other special events.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

Banana Creek VIP area, West Causeway area, East Causeway area, Static Test Road, North Kennedy Parkway, Banana Creek Astronaut Dependents area, and the Mid-field Park Site.

### 4.2.2	Visual Imaging and Timing Communications Services

The contractor shall provide visual imaging and timing communications services and support end-to-end configuration and validation to meet operational and institutional requirements at KSC and the NASA occupied facilities at the CCAFS.

The systems associated with these services include but are not limited to the following:

#### 4.2.2.1		Operational Television (OTV)

ADDRESS/LOCATION:	Operational Television Control Center; LCC

PERSONNEL SUPPORT:	24 hours x 5 days/week; Weekend call-in                                      24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The Operational Television (OTV) system is a combination of analog and digital systems. The digital systems provide a Unified Control System (UCS) using Serial Digital Interface (SDI) while the analog camera, routing and control system to for the implementation of a closed circuit surveillance system.

Video cameras mounted in protective housings on pan and tilt units throughout the pad sites are remotely operated from Room 1P2 in the LCC.  There are also cameras in the VAB and in the OPF’s.  An analog video switcher in the LCC allows for the input of 192 cameras to be sent out to any (or all) of 512 output destinations. Also in the LCC are recording decks, timing equipment for time registration on the video, and all other remote camera controls.  There are remote controls for the video switcher assigned outputs located in the Headquarters Building and in the CIF Building.

Approximately 75 Video Cameras and their associated pan and tilt apparatus are connected per pad to the PTCR via the NASA designed TV-39 cables. The new digital system uses a new fiber optic and copper cable assembly for this purpose and will send signals through the PTCR directly to 1P2.  In the PTCR, the Camera Control Unit dissects the TV-39 signals, separating control from video.  Baseband video signals are multiplexed onto fiber optic cables for transmission back to the television control center.  In the LCC, the video is demodulated from the carrier frequencies amplified and fed into the Grass Valley Video Switcher, and directly fed to over 500 monitors and test locations.  The switch is controlled in the LCC.  The switch has a per channel bandwidth of 8 MHz and is expandable to 512 in by 512 out.  Approximately five channels of the switcher or output are fed to BCDS for general distribution.  Particular camera signals are sent to particular users via fiber using PCO E/O And O/E transmitters and receivers.

UNIQUE REQUIREMENTS:

The operational television system acquisition instruments (cameras and Pan and Tilts) are required to be environmentally housed for long term exposure to the elements associated with shuttle blasts and year round operation in the Florida climate

FACILITY DESCRIPTION:

LCC, Bldg. K-6-900, Rm.1P2. Launch Control Rooms 1-4, LC-39 Pads 39 A and B.  Vehicle Assembly Bldg, K6-848 and OPF 1, 2, and 3.

#### 4.2.2.2		KSC Public Affairs Television (KSCTV)

ADDRESS/LOCATION:	KSC Press Site, Television Control Facility Bldg. K7-1205

PERSONNEL SUPPORT:	16 hours x 5 days/week, exceptions during NASA events

FUNCTIONAL DESCRIPTION:

During NASA missions, this television signal consists of live, high quality, continuous, audio and video coverage of launch and landing, unclassified downlink information, news conferences, and other events as available, in response to the documentary, engineering, and Shuttle television requirements for public release.  The system at the Press Site provides the technical operations for both broadcast quality audio and video programming.

During launch, landing and other major events, primary sources used to create NASA Select television are individually distributed live at the originating location for use by media creating independent programming.  Unedited action views from each camera are replayed on NASA Select shortly after the event.  NASA Select is originated at KSC, JSC, or ARC/DRFR in order to provide the best coverage of the mission and is made available at participating NASA Centers, either as real time or near real time delayed broadcasts.

The KSC Press Site provides a centralized location for media personnel as assemble to interface with the KSC TV system.  Included at the Press Site is the KSC News Facility, the PAO Dome, the Press Corp. Grandstands and the Joint Industry Press Release Trailer.  The major networks also have permanent facilities on the LC39 Press Site.

The Press Site has provisions for direct video feed distribution of the NASA remote cameras.  There are 19 distribution boxes located around the Press Site with 24 isolated video outputs and 1 RF feed which includes the local broadcast channels.

In addition to these feeds there are also four small stump boxes, each providing five NASA Select baseband feeds and five RF signal feeds.  There are 18 positions in the grandstands with feeds of baseband NASA Select, RF signals and NASA Select Audio.  A total of 52 RF cable drops are provided in the stump boxes.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

KSC Press Site, Television Control Facility Bldg. K7-1205

#### 4.2.2.3		Payloads Operational Video Systems

ADDRESS/LOCATION:	Operations Control, O&C, M7-355, and SSPF

PERSONNEL SUPPORT:	8 hours x 5 days/week; Weekend call-in and as required for major processing events

FUNCTIONAL DESCRIPTION:

The Payloads Operational Video System provides visual information distribution between the several payloads handling facilities including, the Operations and Checkout (O&C) Bldg, the Vertical Processing Facility (VPF), the Payload Handling and Safing Facility (PHSF), and the Spacecraft Assembly and Encapsulation Facility II (SAEF II). The Payloads video system is designed to provide for a central routing center (O&C) which will distribute video information from the various facilities to various user groups, safety, and security personnel, located throughout KSC.  Applicable functional subsystems for the payload closed circuit television system are black and white cameras, remote controlled pan and tilt units, monitors, O&C routing switcher, distribution, and synchronization, video recording. The O&C video operations act as the control center for the Payloads Operational Video Sub-systems.  The heart of the O&C video system is a 128 x 400 routing switcher. This system is designed for maximum versatility in providing different payload test conductors and service personnel visual information at different stages of in-process testing and to more than one payload customer at one time.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

O&C, SSPF, M7-1061, M7-355; VPF, M7-1469; SAEFII, M7-1210; PHSF, M7-1354

#### 4.2.2.4		Broadband Communications Distribution System (BCDS)

ADDRESS/LOCATION:	North Head End, LCC, Bldg. K6-900                                       South Head End, and CIF Bldg.  M6-342

PERSONNEL SUPPORT:	8 hours x 5 days/week; Weekend call-in and as required during special events

FUNCTIONAL DESCRIPTION:

Broadband Communications Distribution System (BCDS) is a coaxial cable, Radio Frequency (RF), distribution system.  Using frequency division multiplexing, it assigns radio channels over the coaxial cable for specific user needs and information allocation.  It provides for the distribution of composite video and provides a two-way path for data communications as a Local Area Network (LAN).

There are two interconnected BCDS systems:  LAN-A (Industrial Area) and LAN-C (LC39 Area).  LAN-C serves the following buildings: VABR, MFF, OSB, VAB, LCC and the PCC.  The headend for LAN-C is in the VABR. LAN-A serves the Industrial Area.  The headend for LAN A is the CIF Building.

The basic function of the broadband (LAN-C) system is to provide local organization and off-air television stations to different users.  It also is the transmission media for multiple data channels that are non-critical to launch operations.

The broadband systems utilize .875” coaxial cable to carry RF signals that originate in the VABR.  Origination is accomplished using inputs from local off-air antennas, satellite dishes, and outputs from a Grass Valley video switcher located in the LC, O&C and SSPF.  Signals from the video switcher and the satellite receivers are modulated using DX Communications, Inc., television modulators.  Local off-air channels are processed using Jerrold processors.  The local origination, satellite, and local off-air channels use the outbound 150 MHz to 450 MHz bandwidth.  The broadband systems also use C-Cor mid split distribution amplifiers.  The 5 MHz - 112 MHz bandwidth is used for inbound data channels.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION

North Headend, LCC, Bldg. K-6-900. South Headend, CIF Bldg.  M6-342.  All major facilities in the both the Industrial Area and LC39 Area.

#### 4.2.2.5		Timing & Countdown (T&CD)

ADDRESS/LOCATION:	Major KSC facilities

PERSONNEL SUPPORT:	8 hours x 5 days/week.

FUNCTIONAL DESCRIPTION:

The T&CD systems are operated and maintained through a Joint Services Contracts (F08650-94-C-001) with the Air Force, however, the contractor shall be responsible for sustaining engineering. Timing and Countdown (T&CD) signals are generated and distributed from two Central Timing Stations (LCC and CIF) to all areas of KSC and systems as needed (LPS, OTV, photography, transmission systems, etc).  Timing reference signals are distributed on a continuous basis while countdown signals are provided as needed for center program and institutional customer support.  Each Central Timing Station consists of 16 equipment racks, operational consoles with timing management computers, test equipment and bench repair stations.  Additional distribution/signal conditioning equipment is found throughout KSC in Communication rooms (ex. SSPF 4, and O&C 3 dedicated racks).   Also, over 400 T&CD displays are distributed over KSC.

UNIQUE REQUIREMENTS:	None

FACILITY DESCRIPTION:		Major KSC facilities

#### 4.2.2.6		Photo Services

The contractor shall provide photo services for all of KSC, including but not limited to, retirements, awards, special PAO events, KARS picnics and other events.  There are services in support of Operations and services that have End Products.

##### 4.2.2.6.1	Operations

The contractor shall provide motion picture, still photographic and video products and services. This includes support to institutional and engineering requirements. The contractor shall develop and maintain the Photographic Acquisition Distribution Document (PADD) that documents how the contractor will meet each photographic program requirement.

The contractor shall provide support of the Photo Optical Control Systems (POCS), Set-ups (F-1), Retrieval and Metric.

###### 4.2.2.6.1.1	Photo Optical Control Systems (POCS)

ADDRESS/LOCATION:		Pads, PCC, SLF, and 500’ Weather Tower

PERSONNEL SUPPORT:		8 hours x 5 days/week.

FUNCTIONAL DESCRIPTION:

POCS is operated and maintained through a Joint Services Contracts (F08606-92-C-001) with the Air Force, however, the contractor shall be responsible for sustaining engineering. The Photo Optical Control System (POCS) is used to control all Pad, SLF and remote unmanned cameras used for Shuttle Launch and Landings.  POCS is a UNIX computer based system POCS provides full redundancy, camera function control and returns camera status to console operators.  POCS also provides RF signals to start remote cameras.  The cameras are a mixture of Mitchell, Milliken, and Photosonic motion picture cameras.  They are primarily 35 and 16mm but do include 70mm Photosonics.  The still cameras are composed of Hasselblads, Hulchers, and Nikons.  There are 35mm and 70mm.  The motion picture cameras run in the operational range 3fps for fueling cameras to 400 fps on the perimeter.  POCS tech control consoles (8) are located at the PCC along with 4 racks of central computer and fiber optical transmission equipment. Additional equipment is located at each Pad and SLF.  Every camera site/location contains fiber optic mux/demux and distribution equipment.  POCS currently has enough end-item hardware to control 180 cameras at any one time.  The POCS requires computer operational set-up per the Photographic Acquisition Distribution Document (PADD).

UNIQUE REQUIREMENTS:

The photo system acquisition instruments are required to be environmentally housed for long term exposure to the elements associated with shuttle blasts and year round operation in the Florida climate. The POCS requires computer operational set-up per the Photographic Acquisition Distribution Document (PADD).

FACILITY DESCRIPTION:

Building 1605, CCAFS, LC-39 Pads 39 A and B.  KSC Headquarters Building, PCC room 3062.

##### 4.2.2.6.2	End Products

The contractor shall provide Still Imaging in both the film and digital formats and Motion Picture in the film format.  The contractor shall also provide film-to-tape transfer.

Institutional products primarily include, processing of negative film, 8x10, 11x14 and 16x20 color prints and digital photographic still products. The services include, on-call photographers and videographers, optics and photo equipment repair, video presentation productions and digital image services including scanning and digital image manipulation and photo CD recording. The Contractor shall maintain the official NASA KSC motion picture and still film photographic archives. The contractor shall maintain the PAO photo and video archives located at the Press Site.

The Contractor shall provide visual imaging instrumentation for identified Shuttle tracking sites for both metric and manual tracking mounts, including motion picture film configuration and retrieval.

The contractor shall provide motion picture and still photographic chemical processing to meet programmatic and institutional requirements. Chemical photo processing shall be performed external to KSC property.

### 4.2.3	Transmission System

The contractor shall provide video, voice and data transmission services and support end-to-end configuration and validation to meet operational and institutional requirements at KSC and the NASA occupied facilities at the CCAFS.  The systems associated with these services include but are not limited to the following:

#### 4.2.3.1		T-Carrier/SONET Multiplex System

ADDRESS/LOCATION:	All Areas of KSC and CCAFS Hangars AE, AO, L, AF,

and Building EO.

PERSONNEL SUPPORT:	16 hours x 5 days/week; Weekend call-in

24 x 7 during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The T-Carrier/SONET backbone utilizes NASA-procured SONET OC48, SONET OC3, and M13. The system provides OC-12, OC-3, DS3, and DS1 connectivity between major facilities at the Kennedy Space Center and CCAFS. Uninterruptible Power Supplies (UPS) are required at all M13 and SONET multiplexer locations.  Additionally, office repeaters are installed at all multiplexer locations to improve signal quality at the multiplexer. CSU/Data Service Unit (DSU) are also supplied and maintained by the communications contractor. High Bit Rate Digital Subscriber Line (HDSL).

The system consists of GFE fiber optic Multiplexers at 26 locations at KSC and 5 locations at CCAFS. The existing Integrated Digital Network Exchange  (IDNX) T1 network has been expanded by four nodes; a total of ten nodes now exist to provide DS-O service.

SONET OC-3 multiplexers are located at the CD&SC, VABR, O&C, SSPF, and PSCN.  SONET OC-48 multiplexers are in CDSC, VABR, SSPF, LCC, and Pads A and B.  Equipment uses UPS at all locations.

Alarm monitoring is provided via the Remote Monitor and Alarm System.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:

All Areas of KSC and CCAFS Hangars AE, AO, L, AF, and Building EO.

#### 4.2.3.2		Asynchronous Transfer Mode (ATM) Transmission System (ATXS)

ADDRESS/LOCATION:	KSC LC39, KSC Building M6-138 (CD&SC)

PERSONNEL SUPPORT:	16 hours x 5 days/week; Weekend call-in

24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

The Asynchronous Transfer Mode (ATM) Transmission System (ATXS) is a switch network expanded with four 10Gbps backbone switches and 20 facility switches.  The ATXS serves as the KSC wide backbone for ATM communications.

UNIQUE REQUIREMENTS:		None

FACILITY DESCRIPTION:			KSC LC39 and Industrial Areas

#### 4.2.3.3		Fiber Optic Systems

ADDRESS/LOCATION:	All areas of KSC

PERSONNEL SUPPORT:	16 hours x 5 days/week; Weekend call-in

24 hours x 7 days/week during major tests, launch, and landings

FUNCTIONAL DESCRIPTION:

Fiber optic systems use both multi-mode and single-mode fibers for system connections.  Included in this category are: the wideband fiber optic transmission system, frequency division data multiplexers, wavelength division multiplexers, the remote monitor and alarm system, high data rate transmission equipment (50 Mbps), and the S-Band uplink monitor (which allows verification of Orbiter uplink signals).

The Fiber Optic Transmission System transmits RS-170 or NTSC color video signal, an analog signal within a 12-megahertz bandwidth, or asynchronous digital data up to 8 Mb/s No Return Zero-Level (NRZ-L) depending on application. The Fiber Optic Transmission System provides a balanced 124-ohm or unbalanced 75-ohm electrical interface for the optical transmission of video, analog, or digital data signals over a single fiber. The system processes a 1-volt input signal between 10 Hz and 10 MHz and transmits it optically at either 1300 or 1550 nanometers via Injection Laser Diode (ILD) or Light Emitting Diodes (LED) to the receive location where the signal is restored to the original electrical input signal.  ILD transmitters are used in conjunction with optical dividers to create multipoint circuits.

The frequency division data multiplexer can accommodate eight channels (four channels from 0 to 128 Kbps and four channels from 0 to 512 Kbps).  Asynchronous data, either balanced or unbalanced can be supported at any data rate within the range using RS-422 voltage levels or a one-volt peak-to-peak variant.  The aggregate output of the Multiplexer is transported via the fiber optic wideband transmission system.

The Wavelength Division Multiplexer (WDM) equipment doubles the capacity of the existing fiber optics cable plant.  WDMs are installed at facilities throughout KSC to enhance the optical fiber’s capacity.   The WDMs multiplex signals at 1300 and 1500 nm. WDMs are primarily used with the wideband fiber optic transmission system.

The Combined Data/Video Switch (CDVS) is a dual 100 x 100 switcher located in the CD&SC.  The switch is used to distribute data and video signals associated with KSC payloads processing.  An additional 30 x 30 matrix is used as the KSC off-site routing switch in support of shuttle processing, launch and landing video.  The CDVS has a 30 MHz bandwidth.

The fiber optic wideband transmission system has more than 1200 transmitter/receiver pairs that service more than 35 facilities on KSC and CCAFS.  At present, approximately eight facilities are equipped with frequency division data multiplexers.  Two full duplex 50-Mbps data links exists between buildings (O&C and OPFs 1 and 2 and between the O&C and OPF-3).   The S-Band Uplink Monitor transmits a 2GHz analog signal between Pads A and B and the OPFs.  The system utilizes single mode lasers and 2X2 optical couplers.   Fiber optic transmission for short distances include RS-250-B short haul video, SDI Video, and SDTI Video. Included are also point-to-point variable rate telemetry circuits on KSC and CCAFS.

The remote monitor and alarm system allows remote monitoring of several fiber optic based transmission systems (T-Carrier/SONET, Wideband Fiber Optic Transmission System, and the Frequency Division Data Multiplexers).  The central collection point is located in the CD&SC.  Approximately 41 remote monitored locations on KSC.

UNIQUE REQUIREMENTS:		1550 nm transmission on 50/125 um

multimode fiber

FACILITY DESCRIPTION:			All areas of KSC

### 4.2.4	Cable Systems

ADDRESS/LOCATION:		All areas of KSC

PERSONNEL SUPPORT:	16 hours X 5 days/week, Additional support as   required by schedule

Functional Description:

The contractor shall provide Cable System services including underground location capabilities, trenching and digging, and support end-to-end configuration and validation to meet operational and institutional requirements at KSC and their interfaces to NASA occupied facilities at the CCAFS.

The contractor shall provide Outside Plant services in support of operational and institutional requirements at KSC.  These services shall include technical and management expertise for outside plant cable: 19, 22, 24 gauge copper twisted pair, 16 gauge twinax, multimode/singlemode fiber-optic cable and BCDS hard-line coax.  Also included are Unique launch pad cabling, unique systems cabling, and hard wired Launch Control Complex (LCC) to Pad vehicle safing cable systems that run from MDF to MDF through the Communications Manholes.

The contractor shall provide Outside Plant services in support of operational and institutional requirements at KSC.  These services shall include technical and management expertise for the Communications Pathways including communications manhole and conduit systems, Repeaters, CXTs (Cross Connect Terminals), TTCs (Telephone Terminal Cabinets), MDFs (Main Distribution Frames), FOTs (Fiber Optic Terminals) and cable trays.

The contractor shall provide Telecom services in support of operational and institutional requirements at KSC.  These services shall include technical and management expertise for: facility premise wiring from the Frame to the Customer Face Plate (CFP), Frame cross connects, TTC cross connects, Circuit design and installation.

The contractor shall provide Test Board support at the CDSC during major KSC and CCAFS tests and hazardous operations; 7 day, 24 hour support is required on some tests.  Test Board support is also required to support day-to-data telecom activities.

The systems associated with these services include but are not limited to the following:

500,000+ Various gauge copper twisted-pair cables, 1,000+ Various gauge twin-axial cables, 3,000+ Multi-mode and single-mode fiber optic cables, 3000+ Backbone and distribution coaxial cables, 107+ Main Distribution Frame cross connects, 1700+ Telephone Terminal Cabinet cross connects, 488+ Manholes and associated conduit systems, 42+ Cathode Protection Rectifiers, 22+ Air Dryers, Main Distribution Frame (MDF) to MDF through the Communications Manhole System, Intermediate Distribution Frames, Launch Complex (LC)-39 pad and systems cables, Launch Control Complex (LCC) to LC-39 Vehicle Safing cables, Repeaters, Cross Connect Terminals, Telephone Terminal Cabinets, Facility cable trays (inside and outside), Main Distribution Frames, Fiber Optic Terminals, Wideband Terminals, Cable Records Management – Circuit Assignment Management System (CAMS), Facility premise wiring, Copper cable plant Test Board,  and Flow Meter Panels.

UNIQUE REQUIREMENTS:  	Clear Frame and safing cables

FACILITY DESCRIPTION:		All areas of KSC.

### 4.2.5	Administrative Telephones

The performance period for this section begins during the first quarter of FY05.

The contractor shall provide the Operation, Administration and Maintenance (OA&M) of administrative telephone system in support of all KSC residents. There are approximately 17,500 instruments and/or ports in approximately 275 buildings associated with this service agreement.

The contractor shall provide telephone services 24 hours a day, 7 days a week. The contractor shall provide end-to-end support for adds, moves, and changes which average 5000/yr. One complete station work order action constitutes an add, move, and/or change.  The service provided and work performed shall be in accordance with Industry (BellCore) standards.

The contractor shall provide operator services including but not limited to Monday through Friday during expanded duty hours 6:00 a.m. to 6:00 p.m.  The operators shall processing international calls, collect calls, conference calls, other operator-assisted calls, maintain current directory assistance information and log information on billable calls.

The contractor shall provide Switch, Installation, and operator personnel during operations including but not limited to Shuttle launches (L-12 to L+2 hours), Shuttle landings (L-4 to L+2 hours) and ELV launches (L-4 hours to L+2 hours).

The contractor shall employ telephone engineering and operations personnel proficient in Voice over IP (VoIP) technology, including but not limited to, VoIP phones, associated call managers and gateway systems.

The VoIP systems interface to the KSC Institutional Network and the legacy KSC Administrative Telephone System.

#### 4.2.5.1		Telephone System

ADDRESS/LOCATION:	All areas of KSC

PERSONNEL SUPPORT:	8 hours X 5 days/week, off hour call-in, Additional support as required by schedule

FUNCTIONAL DESCRIPTION:

The Administrative Phone System is a Siemens EWSD Class 5 Central Office Host Switch (located in M6 138 (CD&SC) Room 128) with Remotes located in the major KSC facilities.  The switch has all of the features and functionality of a Class 5 CO including CLASS, SS7 and ISDN.  The system has an integrated voice mail system, a conference bridge, a SecureLogix Telephone Firewall and a Multi Port Conferencing Unit for ISDN Video.  The system integrates with an E-911 switch (O&M included in this contract) to provide PSAP (Public Safety Answering Point) services to KSC.   The switch provides connectivity to outside KSC through PRI trunking to the local calling area and between NASA Centers and long distance through FTS (Federal Technology Service-GSA).

The phone system provides point-to-point links to and from launch critical operations.  The majority of KSC phones are single line display type phones with Caller ID speakerphone, voice mail and CLASS features.  The next largest users have ISDN multi-line speakerphones with display.  There are several PRI (Primary Rate Interface) spans servicing video, RAID and other data requirements.

UNIQUE REQUIREMENTS:  	None

FACILITY DESCRIPTION:  	Throughout KSC

### 4.2.6	Institutional Computer Networks

ADDRESS/LOCATION:		All areas of KSC

PERSONNEL SUPPORT:	16 hours X 5 days/week, Additional support as required by schedule or Mission support

FUNCTIONAL DESCRIPTION:

The contractor shall provide operations, maintenance and sustaining engineering for the Kennedy Space Center institutional computer network (KNET) to meet operational and institutional requirements at KSC and the NASA occupied facilities at the CCAFS. Support includes end-to-end configuration and validation of system equipment and related software.

The contractor shall provide network services per government approved standards and protocols in accordance with NASA Chief Information Officer (CIO) Executive Notices, policies, procedures and guidelines. The contractor shall follow KSC Institutional Network Connectivity Procedure  (KDP-KSC-P1444) to provide consistent process for acquiring network connectivity while ensuring that mandated security requirements for personnel and equipment are satisfied.

The contractor shall support network operations, administrative and general-purpose computing systems utilizing, but not limited to: Routers, Hubs, Switches, Network repeaters and Wireless access points.  The contractor shall maintain a complete network management system including the in-band primary and backup network operations centers and the out-of-band network management system. Contractor shall maintain and upgraded network systems to meet changing industry standards.

The contractor shall also be responsible for network management support infrastructure including but not limited to: Domain Name Servers (DNS), Dynamic Host Configuration Protocol (DHCP) servers, Authentication services, Remote Access Services (including Virtual Private Network (VPN) servers, Secure Socket Layer based Proxy Gateways and POTS Dial-up based services), network time servers, network operations database servers, network operations web servers, network security services, and voice over IP (VOIP).

The contractor shall maintain a database of all IP addresses assigned to KSC users with a minimum set of information for each IP address including, but not limited to: user name, location by building and room, hardware/machine address and operating system.

KNET currently has approximately 11,000 network connections. It is estimated that this number will increase to approximately 15,000 over the next 3 to 5 years. The contractor shall support current network consists of 10/100/1000 Ethernet and associated cable for data transmission to desktop and servers (i.e. email, web, X.500, streaming audio/video, etc.).  KNET currently supports IP based protocols and is controlled using Routers, Hubs, and Switches.  Current network system management uses Simple Network Management Protocol (SNMP) to remotely manage and administer network systems.

UNIQUE REQUIREMENTS:  	None

FACILITY DESCRIPTION:  	Throughout KSC

### 4.2.7	Network IT Security

ADDRESS/LOCATION:	All areas of KSC

PERSONNEL SUPPORT:	16 hours X 5 days/week.  Additional support as required by schedule.

After hour Response to Network events shall be within 1 hour.

FUNCTIONAL DESCRIPTION:

The contractor shall provide NASA support for operational services for the center network based information technology (IT) security protections and monitoring/measurement capabilities. These services shall be based on government approved standards and protocols in accordance with NASA Chief Information Officer (CIO) Executive Notices, policies, procedures and guidelines. These services shall constitute the first line of network based monitoring and defense of the KSC Information Technology resources. These systems include but not limited to: KSC Firewall/Perimeter Access Control Systems, Intrusion Detection and Monitoring Technologies, Network event analysis capabilities, Network authentication systems and Center network ingress/egress points.

The contractor shall take guidance from, coordinate with and be responsible to government IT Security and networking personnel.

UNIQUE REQUIREMENTS:  	None

FACILITY DESCRIPTION:  	Throughout KSC

# 5.0	Indefinite Delivery/Indefinite Quantity (ID/IQ) Catalog of Services

The contractor shall participate in NASA-led efforts as described in this section.  Types of work in this category include performing studies and analyses of communications system operations alternatives during early project definition, developing new technology for application to communication system operation, providing skills and teaming in support of government-led development projects, providing skills in support of government-led operations activities, and providing quick-reaction analyses and solutions to problems such as special program testing and/or technology demonstration requirements.

Each of the type of effort described in this section shall be initiated, managed, and performed by the contractor as described under a task order agreement with the government.

## 5.1	Communication Component Design, Development, and Integration Support Services

The contractor shall provide resources to support the development of new communication and information technologies that will ultimately lead to significantly reduced operations costs.  The contractor will participate in NASA-led activities.

The contractor shall provide support in the development of one-of-a-kind or next-generation communications capabilities.  They range from development of a communications capability for small local customers to a Center-wide capability.  These efforts have aggressive schedules and requirements and entail a high degree of risk.  These efforts have significant government involvement in the definition and implementation of requirements.

These are government-led activities with frequent interaction between the government and the contractor.

This work is dynamic in nature and typically performed in a team arrangement with the government.  The government defines the overall requirements of the effort and decides the respective responsibilities of each organization participating in the effort.  Intermediate and final deliverable items are defined, but the nature of this work requires frequent changes to the baselines.

Future NASA-led development efforts in the area of computer network communications could include efforts to meet new requirements, migrate existing systems, and replace aging systems.  Technical areas are expected to include but are not limited to server hardware, application software, management software, network systems, network hardware, and computer systems.

Future NASA-led development efforts in the areas of transmission, voice, video and still-imaging systems could include efforts to meet new requirements, migrate existing systems, and replace aging systems.  Technical areas are expected to include but are not limited to fiber-optics, copper, analog, digital, hard-wire, radio and microwave distribution.  Also, compression and recording techniques may be addressed.

## 5.2	Communication Asset Operational Support Services

The contractor shall support the government with operational support for Information Technology and communication asset management in  a control room type of environment.  This type of effort is associated with the agency-wide OneNASA information technology initiatives that are being activated at the Kennedy Space Center. The type of operational support the contractor shall provide includes but is not limited to system administration, help desk administration, and network management system analysis.

## 5.3	ID/IQ Types of Services

The contractor shall provide fully burdened engineering, analysis, operations, and related services to perform design, development and operations of KSC and NASA Information Technology and Infrastructure Network Systems.  The contractor shall provide not to exceed pricing for each position identified in the following brief overviews

A) System Administrators:

A System Administrator is expected to have experience in the configuration, management, administration and support of the assigned systems.  These may be messaging systems, server systems, network systems or collaboration systems.  It is expected that there will be both junior and senior level system administrators.

B) Help Desk Services:

Help Desk Services support are expected to have technology backgrounds and experience in the operational utilization of assigned systems, troubleshooting problems with these systems, and how the assigned systems interoperate with other NASA systems.  They must understand the details of the application of the tools and applications assigned.  It is expected that there will be junior and senior level Help Desk Personnel.

C) System Engineering Services:

System Engineering support services include performance of overall engineering activities to support information technology enterprise development.  These duties include: design, development, sustaining engineering, operations support, troubleshooting, problem resolution and integration of assigned operational systems.

D) Sub-System Engineer Services:

Sub-System Engineer support services include performance of engineering activities on specific subsystems engineering activities to support information technology enterprise development.  These duties include: design, development, operational activity support, troubleshooting and problem resolution for assigned sub-systems.

# 6.0	Administrative Information Technology (IT)

The contractor shall develop, implement and update an Administrative IT Plan (DRD-AIT-1) to manage the administrative system(s) IT within the KICS contract.  The plan shall define how the contractor plans to acquire and manage KICS administrative IT resources to meet the contract requirements.

Contractor administrative system(s) IT shall be compliant with all government, Agency, and KSC IT requirements.

The Contractor may use the existing KSC IT Support Contractor (ODIN) to provide administrative IT services.

## 6.1	Networks

The contractor shall supply the administrative system network(s) topology which includes logical and, if applicable, physical network drawings.

## 6.2	Servers and Desktops

The contractor administrative system’s servers and desktops shall be compliant with Security of Information Technology, NPG-2810.1 and compatible (where appropriate) with the standards called out in Minimum Interoperability, NASA-STD-2804; Minimum Hardware Configurations, NASA-STD-2805; UNIX Interoperability, NASA-STD-2810 and any applicable subsequent revisions to the center’s IT policies.  These standards include, but are not limited to, the following: Word Processing, Spreadsheet, Presentation, Electronic Mail, Calendar/Scheduling, and other applicable software.

## 6.3	Data Sharing

The contractor shall implement an architecture that enables bi-directional digital data sharing with the government within the KSC domain or its successor.  The contractor shall ensure that the data and information is provided in a format compatible with the above-listed NASA standards and can be read and manipulated by existing supported systems.

## 6.4	Technical Refresh

The contractor shall describe in the IT Plan for the period of the contract a technical refresh program, which identifies components and systems requiring replacement or upgrade from either a technical or financial aspect.  This includes support of the NASA standards listed above as they are updated.

## 6.5	Information Technology Security

All the administrative system(s) IT shall comply with Management of Federal Information Resources, OMB Circular A-130; Security of Information Technology, NPG 2810.1; Defining Baseline IT Security Requirements That Have Been Left to Center Discretion, KNPG 2810.1; and Vulnerability Disposition, KNPG 2810.2, and any subsequent revisions to the center’s IT policies. Systems retained by the contractor shall be in compliance at contract start date.  New systems shall be compliant prior to authorization to process.  The contractor shall develop, implement, and update an Administrative IT Security Plan (DRD-AIT-2) for each administrative system.

The contractor shall protect sensitive unclassified information including Privacy Act information, proprietary data, International Traffic in Arms Regulated data, and export controlled data.  The contractor shall protect information in accordance with NPG 2810.1.

# 7.0   Logistics

The contractor shall perform logistics functions in support of communication services for shuttle, commercial payload carriers,  LSPO, ISS programs and center wide institutional and operational activities.

  - Logistics Services

The contractor shall develop, implement and update a KICS Logistics  Plan (DRD L-1) to ensure that all resources identified in the PWS are operationally ready to support communication services for Shuttle, commercial payload carriers, LSPO, ISS programs and center wide institutional and operational activities.

The contractor shall assume the current inventory of all hardware and software as listed in Attachment J-1, Appendix 5.  The contractor shall maintain all hardware, software, tools, test equipment, fixtures, and spares per Agency and KSC guidelines, policies and directives described DRD L-1 as revised.  The contractor shall ensure equipment is repaired and returned to stock in a timely manner to ensure no impact to operations due to lack of spare parts.

The contractor shall identify and provide critical spares, bench stock, consumables and associated materials required to meet the requirements of this contract.  The contractor shall procure critical spares and bench stock identified through the maintenance planning activity for assigned hardware and systems.

The contractor shall provide receiving functions including acquisition, accountability, storage and warehousing support, and receipt and issuance of supplies, materials, and equipment.

  - Material Management

The contractor shall provide a material management capability in support of communication activities. The contractor shall include the following functions:

- Screen Manufacturer’s Part Numbers (MPNS) through DLSC for adoption of existing National Stock Numbers  (NSNs), request assignment of new NSNs, and ensure compatibility between NSNs common to the installation and DLSC.

- Research stock, GSA/DLS, and Federal Supply Schedules to determine the source of supply for material requirements documents.

- Perform material requirements planning for Mod-kits requested by NASA and customers.

- The contractor shall store the Mod-Kits in a secure area until required by the customer.

  - Property Management

The contractor shall provide property management of Government Furnished Property (GFP) as identified in Attachment J-1, Appendix 5.

The contractor shall receive, tag, inspect, control, record, store, issue, track, and return or excess all government furnished property.  The contractor shall report on the location and condition of the assets when requested by the government and asset owner.

The contractor shall identify excess and obsolete out-of-service assets, and initiate disposal per Agency and KSC guidelines, policies and directives described in DRD-L1, as revised.  Perform all aspects of the excess function to include, but not limited to preparation of all required documentation, in-check, locate, store, and screen.

The contractor shall develop and implement an Equipment Loss Rate Plan to include equipment surveyed, items lost during the fiscal year, found on station, and any reinstated equipment.

  - Inventory Management

The contractor shall provide an Inventory Management System (IMS), utilizing MAXIMO, for the tracking of and management of equipment, spares, repair parts, supplies, and material.  The contractor shall provide maintenance planning and the required research, analysis and documentation to determine the minimum initial spares, materials and repair parts required to support this contract.  The contractor shall report on the quantity, location and condition of the assets when requested by the government.

The contractor shall utilize and affix KICS labels per Agency and KSC guidelines, policies and directives described in DRD-L1, as revised.

The contractor shall review NASA, government, and industry alerts such as GIDEP per KHB 5310.1, Reliability, Maintainability, and Quality Assurance Handbook.  The contractor shall identify the affected hardware within the contractor’s responsibility including off-site vendors and depots, perform an analysis of the problem, provide recommendations and corrective actions to the government, implement corrective actions if required and notify the government of corrective actions taken.

  - Warehouse Storage Management

The contractor shall utilize government provided storage facilities for storage of all hardware, software and other associated equipment to meet the requirements of this contract.  The contractor shall store all hardware, software and other associated equipment in accordance with manufacturer’s storage specifications and recommendations that meets Agency and KSC guidelines, policies and directives described in DRD-L1, as revised.  The contractor shall report on the location and condition of the assets when requested by the government and asset owners.

  - Transportation Services

The contractor shall provide transportation services to meet scheduled and unscheduled operations to include the following functions: receiving, packing and crating, handling, and pick-up and delivery of supplies, materials, and equipment.  The following transportation services are required:

- Control the custody of, accounting for, preparation of, correction of, and conversion of Government Bills of Lading (GBL) for use with Government shipments and maintain records, files, and documentations.

- Provide cargo pick-up and delivery between facilities.

- Provide transportation support of electronic and other equipment for calibration

- Package and prepare hazardous materials for shipment to ensure that all deliveries containing hazardous materials are packaged, packed, marked, labeled, and all documentation complies with applicable federal, state, international and military regulations.

- Provide comprehensive freight shipper service including inspection and preparation of items and all documentation necessary for shipment of material.

- Perform Non-Bulk combination packaging tests, including drop test, stacking test, and vibration standard test.

- Where adequate loading dock facilities are not available, JBOSC or its successor will allow off-loads at a JBOSC location for heavy or bulky loads (i.e., large cable reals).

- For maintenance purposes, pump water out of manholes that have contaminants that exceed EPA threshold levels.  To comply with KSC environmental requirements the contractor shall be responsible for pumping water out of the manholes into a JBOSC owned trailer mounted scrubber unit, which removes volatile organic contaminates.  There is a fee for this service currently provided by JBOSC.  Please refer to the list of contaminated manholes below for their location and manhole number:

SWMU and PRL Sites Communication Wilson Corners, SWMU 1 CMI None Ransom Road Landfill, SWMU 3 LTM None Orsino Storage Yard, SWMU 4 RFI None Hydrocarbon Burn Facility, SWMU 7 CMS None LC-39A, SWMU 8 RFI None LC-39B, SWMU 9 RFI MC470, MC471A, MC471, MC472 GSA Reclamation Yard, SWMU 10 RFI None GSA Automotive Facility, SWMU 13 CS MC054, MC055 M&O Building, SWMU 14 RFI Ransom Road Sandblast Area, SWMU 21 SB None Contractors Road Heavy Equipment Area, SWMU 55 LTM None Component Cleaning Facility, SWMU 30 CMS MC343, MC344, MC345 Contractors Road Sandblast Area, SWMU 34 SB None VAB Utility Annex, SWMU 35 LTM MC402 Building M7-505, SWMU 39 CMS None Crawler Park Sites East, SWMU 43 CMS None Crawler Park Sites West, SWMU 44 LTM MC408 Central Heat Plant, SWMU 45 CMS MC037 MLP Park Sites, SWMU 56 CMS None Suspect Rail Car Site, SWMU 64 SB None Hypergol Support Building, SWMU 65 RFI MC243 C-5 Electrical Substation Facility, SWMU 66 LTM MC330B POL, SWMU 67 RFI 57A Jay-Jay Railroad Yard, SWMU 68 IM None Firex Water Tank, SWMU 69 RFI MC246 HMF South Hazardous Staging Area, SWMU 70 RFI MC247A Wilsons Railroad Yard, SWMU 71 RFI None SFOC Generator Maintenance Facility, PRL 80 CS None Spaceport USA Cooling Towers, PRL 85 CS None LC-39 Area Boiler Discharge Areas, PRL 88 CS None Ind Area Boiler Discharge Areas, PRL 89 CS None Support Building, PRL 92 CS None Oak Hill Grove Site, PRL 98 CS None LUT-1 Storage Area, PRL 99 CS None Roads and Grounds Facility, PRL 100 CS None Former Saturn Rocket Display Site, PRL 101 CS MC334, MC335 Press Site, PRL 102 CS None OPFs 1,2,3, PRL 103 CS MC502A, MC406A, MC405, MC506B SRB Processing Area, PRL 104 CS MC413, MC413A, MC413B Environmental Health Facility, PRL 105 CS MC136 Multi-Payload Processing Facility, PRL 106 CS None SAEF-II Cooling Tower, PRL 108 CS None Operations and Checkout Building, PRL 110 CS MC033B Vertical Processing Facility, PRL 109 SAR None

  - Calibration Services

The calibration of test equipment shall include cleaning surfaces incidental to the calibration effort, analyzing particulates and hydrocarbons on surfaces exposed to fluid media, and making equipment repairs.

The contractor shall provide calibration services that meet Agency and KSC guidelines, policies and directives described in DRD-L1, as revised.

  - Sampling and Analysis

The contractor shall provide sampling and analysis services that comply with Agency and KSC guidelines, policies and directives described in DRD-L1, as revised. These services include but are not limited to:

- Sampling and analysis of confined spaces

- Sampling and analysis of manholes

- Hazardous waste characterization and environmental regulations compliance

# 8.0 Training and Certification of Personnel

The contractor shall provide a work force that is competent and trained, and that possesses the necessary skills, knowledge, and certifications, to meet all responsibilities under the contract.

## 8.1	Training and Certification Plan

The contractor shall develop, implement, and maintain a Training and Certification Plan  (DRD-TR-1).  The plan shall define how the contractor will ensure that all personnel performing work under this contract, including any subcontracts, are experienced and knowledgeable and meet training and certification requirements to perform assigned work as technology, equipment and software evolve.  The contractor shall develop and implement this training and certification program in compliance with KHB 3410.1, Implementing Instructions for KSC Systems, Safety, and Skills Training, and for Certification of Personnel, and KHB 1710.2, Kennedy Space Center Safety Practices Handbook, as the handbooks are revised, NPG 2810.1, Security of Information Technology, as revised, and KHB 1610.1, KSC Security Handbook, as revised.

The contractor shall submit the Training and Certification Plan for approval as per DRD-TR-1.

## 8.2	Regulatory Requirements

The contractor shall ensure and verify that all contractor and subcontractor personnel are knowledgeable of the laws, regulations, and government directives (e.g. OSHA, EPA, and Export Control Regulations, Agency policy and guidance, KSC directives) affecting them and concerning their tasks.  Contractor personnel who engage in performing critical tasks, control critical processes, or engage in hazardous operations shall be trained and certified to participate in those activities.  See Section 3.0 of this Performance Work Statement for additional information about regulatory requirements.

## 8.3	Safety and Health

The contractor shall ensure that all contractor and subcontractor personnel are knowledgeable about Agency and KSC safety and health initiatives, including the Voluntary Protection Program (VPP).  See Section 3.0 of this Performance Work Statement for additional detail.

## 8.4	Access to Restricted Work Areas

The contractor shall ensure that contractor personnel who require access to controlled work areas complete all required training and that badge requirements, including Personal Reliability Program (PRP) requirements, are met.  The contractor shall ensure that contractor personnel renew area access training as required to maintain access to restricted areas where work must be performed.  The current list of KSC Operational Area Access Safety Training Requirements and KSC Operational Area Access Safety Training Matrix are shown in Figure 8-1 and Figure 8-2 respectively.

##### Figure 8-1

##### Figure 8-2

## 8.5	Special Skills Certification

The contractor shall ensure that all contractor and subcontractor personnel who perform tasks requiring special skills certification complete the appropriate training and meet any certification requirements.  The contractor shall ensure that contractor personnel are re-certified when required.  The Training and Certification Plan shall identify the special skills to be used by the contractor and define how the contractor will ensure that training and certification are accomplished and maintained.

## 8.6	Systems Training and On-the-Job Training (OJT)

The contractor shall ensure that contractor personnel performing work under this contract, and any subcontract, are competent and possess the skills and knowledge about the systems, equipment, software, and tasks they are assigned to support.  The Training and Certification Plan shall identify systems training needed to ensure the work force is competent to perform assigned tasks as technology, equipment, and software evolve.

Any OJT program shall be clearly defined in the Training and Certification Plan and ensure that competent, trained and knowledgeable personnel oversee such training.

## 8.7	Information Technology Security Training

The contractor shall ensure that all contractor and subcontractor personnel meet IT security training requirements that apply to the performance of assigned work.  Different levels of training will be required for employees charged with different levels of access to IT systems, as required by NPG 2810.1.

## 8.8	Historical Records

The contractor shall maintain historical records to document the training and certification of contractor personnel, and of all training conducted by the contractor.

The contractor shall enter and update training data in the KSC Training and Certification Record System (TCRS) PM50 for all personnel trained by the contractor.

The contractor shall ensure that subcontractors maintain historical records to document training and certification of subcontractor personnel, and that subcontractor training is recorded in the TCRS.

The contractor shall maintain each employee’s training records for at least three years after that employee’s employment ends.  The contractor shall provide contractor and subcontractor training records to the government upon request.

## 8.9	Reporting and Status of Training and Certification

The contractor shall report the status of training and certification to the government as required in KHB 3410.1 and KHB 1710.2, as they are revised.

The contractor shall provide the status of training and certification at operational reviews and other meetings as directed by the government, to report readiness to support planned operations.  See Sections 2.3.3 and 2.3.4 of this Performance Work Statement for specific information.

## 8.10	Use of Existing Training Resources

The contractor shall use existing government-funded training resources when available.  This includes the use of training provided by other contractors employed by KSC, such as, but not limited to, area access, Emergency Life Support Apparatus (ELSA), and IT security training.

A list of government-funded, contractor-provided training is shown in Figure 8-3 (2 pages).  Where a course is listed in the “USA Course Number” column, the contractor shall use the training provided by the USA contractor or its successor.  Where there is no course shown in the “USA Course Number” column, the contractor shall use the training provided by the JBOSC contractor or its successor.

## 8.11	Government and KSC Contractor Access to KICS Training

For KICS developed or provided training, the contractor shall provide the government access to their training schedule.  The contractor shall permit attendance by government personnel and government customers in any scheduled training, on a space-available basis.  KICS developed training shall be, at least, recorded in digital format.

Figure 8-3

Training Matrix

Page 1 of 2

Figure 8-3

Training Matrix

Page 2 of 2