Announcement of Funding for Cooperative Agreements

Biometric Sub-System Performance Testing, 2006

The Department of Homeland Security (DHS), Transportation Security Administration (TSA), Transportation Security Laboratory (TSL), located at the William J. Hughes Technical Center (WJHTC), Atlantic City, N.J., will be awarding one or more Cooperative Agreement(s)(Agreement) to a test organization (organizations) for conducting performance testing of biometric devices that will be available for use in airport access control systems.  Test organizations may propose core/indoor environment qualification testing of biometric sub-systems for inclusion in a Qualified Products List (QPL) and/or separately propose optional outdoor environment performance testing of biometric sub-systems.

PURPOSE:   Section 4011(a)(5) of the Intelligence Reform and Terrorism Prevention Act (heretofore known as “the Act”) directs the Assistant Secretary of Homeland Security (TSA), in consultation with representatives of the aviation industry, biometric identifier industry, and the National Institute of Standards and Technology (NIST), to issue guidance that includes the following relevant items:

(A) Comprehensive technical and operational system requirements and performance standards for the use of biometric identifier technology in airport access control systems (including airport perimeter access control systems) to ensure that the biometric identifier systems are effective, reliable, and secure;

(B) A list of products and vendors that meet the requirements and standards set forth in subparagraph (A)

TSA issued this guidance via the Guidance Package  – Biometrics for Airport

Access Control, dated 30 September 2005 located at www.tsa.gov/public/display?theme=4&content=0900051980174673.  In order to comply with the Act, TSA has established a process for qualifying manufacturer biometric sub-systems that includes providing one or more initial biometric sub-system testing facilities.  The purpose of this announcement for an Agreement is to solicit proposals from which to obtain the required services of one or more selected biometric sub-system test organization (proposer) and the use of associated facilities, through a TSA Agreement.

# Applicable References

Subsequent references to Volume and Chapter refer to content in the Guidance Package per the following outline:

TSA Guidance Package

Volume 1, Chapter 1 – Technical Requirements

Volume 1, Chapter 3 – Required Standards for Biometric Sub-systems

Volume 3, Chapter 1 – Management Plan

Volume 3, Chapter 2 – Test Plan

SCOPE:  TSA is seeking to award an Agreement with one or more independent proposers under whose auspices the TSA biometric sub-system core/indoor environment qualification and/or optional outdoor environment performance testing will be conducted.  The testing shall be in conformance with Volume 3, Chapter 2 – Test Plan and Chapter 1 – Management Plan of the TSA Guidance Package.  The testing is directed at biometric sub-systems and not their associated applications such as airport access control.

A proposer may respond to one or both of two related Description of Work (DOWs) identified as A1 and A2 in its proposal.  DOW A1 is for conducting the core performance testing of biometric sub-systems under a specified indoor environment, required for the sub-systems to qualify for, and be placed on, the QPL.  DOW A2 is for conducting the optional performance testing of biometric sub-systems under a specified outdoor environment.

For the initial period of performance, one independent proposer will be chosen to conduct core/qualification testing under the indoor environment.  In addition, one independent proposer will be chosen to conduct optional outdoor environment performance testing.  It is conceivable that a single proposer could be awarded both DOWs.  It is assumed that manufacturers of biometric sub-systems that have pre-qualified their devices will present each of them for the core qualification testing at the selected independent testing organization’s test facility.  It is further assumed that these manufacturers will present a smaller number of their qualifying biometric sub-systems for the optional testing under the outdoor environment.  The core testing and optional testing of any device may be at separate facilities, even if a single proposer is selected for both DOWs.  After the initial period of performance, subsequent test facility operations will be conducted under a NIST accreditation process and which is separate and distinct from this Agreement.

The core/qualification proposer (DOW A1) is intended to initially establish an organization tasked with developing, maintaining, and managing a viable TSA biometric QPL during 2006.  The optional outdoor environment proposer, DOW A2, conducts testing that is supplemental to the core qualification testing.  Initial qualification of biometric sub-systems during 2006 is intended to be followed by a longer term, ongoing, multi-test facility approach that involves an accreditation program through NIST and a conformance program; both of these programs are mentioned in the Guidance Package.  Selection for either the A1 or A2 scope does not automatically confer accreditation.

This Agreement is for the non-recurring costs to establish an on-going testing program.  Recurring operational expenses associated with the level of biometric technology will be reimbursed by biometric sub-system manufacturer participants directly to the independent testing organization in a manner to be completely specified by the proposer.  Proposers need to demonstrate how their approach meets all requirements, including their non-recurring costs and their approach to the business processes they will use for the recurring costs.

The proposer must demonstrate substantial understanding of biometric technologies and the ability to host, staff, and conduct the required tests.  The proposer should demonstrate extensive experience and understanding concerning biometric device testing theory and scenario testing practice to include testing methodologies, error analysis, statistical selection and evaluation techniques, habituation, operational effects, and the incorporation of accepted standards to the testing process (see Volume 1, Chapter 3 - Required Standards).   In addition, the proposer must demonstrate a capability to provide and maintain a supporting infrastructure which facilitates the production of accurate biometric test data that enables TSA to evaluate biometric sub-system qualification.  The proposer must demonstrate:

- Unbiased operations (no commercial affiliations with product suppliers)

- Facility capability

- Staff capability and experience

- Reasonable anticipated costs

For the core/indoor environment qualification tests, the proposer must demonstrate an ability to conduct up to ten (10) simultaneous biometric sub-system qualification tests.  For the optional outdoor environment tests, since there is assumed to be a smaller number of biometric sub-systems submitted, there is consequently no requirement to demonstrate ability to conduct simultaneous tests.  The proposer shall propose key employees including experimenter(s) and test operator(s).  In addition, the proposer shall propose all testing resources and the overall management approach for the testing process.

GENERAL REQUIREMENTS:  This announcement for an Agreement contains two separate DOW’s to which proposers may propose, identified as DOW A1 and A2.  Proposers may propose to either A1 or A2, or both, but in all cases must clearly indicate to which DOW they are proposing.  If the proposer is proposing both A1 and A2 and intends the testing to be done at the same facility, the proposer must demonstrate how the two types of testing can both be supported during the test period specified.  In addition, if the proposer is proposing both A1 and A2, the proposer is required to submit a separate proposal for each.

A1 is the DOW that applies to the core test, conducted under a specified indoor environment that is required for a manufacturer’s biometric sub-system to become qualified and included in the QPL.  A2 is the DOW that applies to a separate, optional test conducted under a specified outdoor environment.  The test outlined in the A2 DOW is optional in that it is not required for - and does not provide – biometric sub-system qualification and resulting inclusion in the QPL.  The results of the test outlined in the A2 DOW will be reported.

## A1. Description of Work for Core/Qualification Testing under Indoor Environmental Conditions

In support of the TSA program of Biometric Sub-System Qualification Testing, the proposer shall perform the following eight (8) Tasks:

### Task A1.1  The Proposer Shall Provide and Maintain Biometric       Sub-system Testing Infrastructure

### A1.1.1 Management Structure

The proposer shall provide a management organization and structure capable of carrying out up to ten (10) simultaneous core qualification tests of manufacturer biometric sub-systems.  The management organization will include an Experimenter who is responsible overall for the quality of the test measurements and is the single point of contact between the proposer, manufacturers, and TSA.  In addition, the proposer will provide Test Operators who will actually conduct the qualification tests.   (See: Volume 3, Chapter 1 - Management Plan for roles and responsibilities.)

### A1.1.2 Physical Plant

The proposer shall maintain a configuration control system.  The proposer shall develop and implement TSA approved policy and best practices regarding establishing and maintaining proper system configuration management practices.

- Use of configuration log input forms: Audit Logs will be utilized to record initial sub-system hardware and software inventory control information such as serial numbers, model and version. In addition Quality Assurance (QA) seals will be placed on all inventory controlled sub-systems.

- Equipment replacement and change information will be recorded in the configuration log.   All regression testing required as the result of changes made in the QA sealed system configuration will be properly recorded.

### A1.1.3 Configuration Management System

The organization shall have a Configuration Management System (CMS) in place capable of maintaining the technical infrastructure for supporting testing including configuration, architecture, and documentation.   The CMS must be capable of managing manufacturer’s property while on site and all manufacturer interfaces to the facility infrastructure.  The CMS needs to be sufficiently secure so as to maintain the availability, confidentiality, and integrity of all data including privacy categories, proprietary data, and TSA test result data.

### A1.1.4 Communication with TSA

The proposer will communicate with TSA directly through both written and oral reports. In addition, as directed by TSA, the proposer will prepare the test facility and provide test resources for manufacturers who have successfully completed the pre-qualification process.   The proposer will host both pre-test and post-test briefings for TSA and the manufacturers.  The proposer will prepare detailed test reports regarding the qualification test performance of each manufacturer’s biometric sub-system.  The proposer shall also provide monthly reports to TSA delineating all test activities, funds expended, and future planning.

### A1.1.5 Communication with Biometric Sub-System Manufacturers

For manufacturers who have successfully completed the TSA pre-qualification process, the proposer will provide detailed instructions concerning test procedures.  In addition the proposer will provide the manufacturers with test schedule, installation, training, and tear-down instructions.  The proposer will also provide manufacturers with liability disclaimers and requirements regarding their participation in the TSA Performance Qualification Tests.

### A1.1.6 Data Analysis Capabilities

The proposer shall provide data analysis capabilities adequate for evaluating the performance qualification measurements mandated by TSA in Volume 1, Chapter 1 - Requirements and described in Volume 3, Chapter 2 - Test Plan.

### A1.1.7  Technology Interfaces to Manufacturer Biometric                 Sub-systems under Test

The proposer shall provide computer-based interfaces to manufacturer-supplied biometric sub-systems adequate to accurately record biometric device enrollment templates for verification matching purposes, device latency, and other relevant test parameters as required by the test plan.

### A1.1.8 Test Crew

The proposer shall recruit, train and maintain a Test Crew of individuals with which the biometric devices test will be performed as described within the Test Plan.  The Test Crew demographics shall conform to the requirements of Volume 3, Chapter 2 – Test Plan.

### A1.1.9 Test Crew Privacy

The proposer will provide an information technology infrastructure adequate to assure that personal information of test crew members will remain confidential.

### A1.1.10 Information Security

The proposer shall provide adequate information processing capability to assure that the confidentiality, integrity, and accessibility of manufacturer proprietary and test data will be maintained.  The proposer will prepare a security risk analysis and incorporate the analysis findings into a facility information security plan.

### Task A1.2. The Proposer Shall Develop Specific Test Procedures for Each Qualification Test

Since up to ten (10) biometric manufacturer devices will be under test at any one time, TSA protocol requires that the proposer conduct test operations in a manner that provides clear impartiality with regard to test data collection and analysis.  Test facility procedures must be constructed by the proposer and approved by TSA.  These detailed test procedures must provide for the impartial treatment of each data set so that the true performance of each device is reported to TSA. The proposer shall develop test procedures specific to each TSA pre-qualified manufacturer’s biometric sub-system.  Each specific test procedure shall conform to the TSA test guidance specified in

Volume 3, Chapter 2 – Test Plan..  The procedure will, at a minimum, describe the test purpose, the test crew resources, schedule required, and the detailed test process specific to the manufacturer’s device that will achieve TSA’s biometric sub-system qualification test.

The proposer will provide a schedule for indoor environment testing to TSA for approval to include:

- Pre-test reviews and briefings

- Sub-system installation

- Sub-system training of the facility staff by the manufacturer

- Sub-system certification by the manufacturer of readiness for test

- Test crew habituation

- Test operations

- Data collection

- Data analysis and reporting to TSA

- Sub-system disassembly and removal

- Manufacturer out-brief

- Report of business operations

### Task A1.3. The Proposer Shall Coordinate and Conduct Qualification Tests

### A1.3.1 Coordination with TSA and Biometric Sub-system Manufacturers

The proposer will develop for TSA approval a communication and coordination plan with TSA and biometric sub-system manufacturers.  This plan will include processes such that all communications between the proposer and the biometric device manufacturer will be restricted to device installation, operation, and removal concerns.   All communications concerning test results or the conduct of any test operation will be referred to TSA.  In addition, it is TSA protocol that all communications with the press or other media be directed to TSA.

### A1.3.2 Conduct of Biometric Sub-system Qualification Testing.

The proposer will conduct biometric sub-system qualification testing on up to ten (10) manufacturer devices simultaneously.  During core testing, both quantitative and qualitative data will be collected and recorded in a manner that is specific to the proposer infrastructure and that achieves TSA biometric device test requirements and objectives.

The quantitative enrollment error rate will be recorded and the data will be entered into the test organization’s information system.

For verification operations, the quantitative capture of both False Accept Rate (FAR) and False Reject Rate (FRR) values for each crew member will be performed by the test facility in order to evaluate biometric sub-system qualification (see Volume 1, Chapter 1 - Technical Requirements).  The test facility will provide the computational infrastructure to fully and accurately support the calculations necessary for device qualification determinations.

In addition, the start and end times of each verification attempt for all crew members will be recorded.  Qualitatively, crew reactions to device use will be surveyed and manually entered for use in debriefing the biometric device manufacturer.

Complete, accurate, and reliable collection of the data is an integral part of the biometric device test.  To facilitate this, the test data collection will be automated to the maximum extent possible.  For any required manual data recording, the test manager will assign test team members with specific data collection responsibilities prior to execution of each test category.  Data collection assignments will be made at the pretest briefing.  Designated members will be provided with the necessary data collection forms and/or equipment and will be responsible for recording data as required in the general biometric device test procedure.

The automated data collection system and the test team will collect data as defined in the biometric device test procedure.  In addition, the data will include, at a minimum:

- Test description

- Test date(s) and time(s)

- Crew member ID

- Device indications (if any)

- Timeline data for transaction time analysis

- Device operational or failure data (if any)

To facilitate the correlation of biometric device response to the test crew member, each test crew member’s identifier will be read (for example, by a bar code reader) and entered into the test data base before they interact with the biometric device.  At the conclusion of each test session, all data collection forms and additional media will be validated and signed by test organization QA personnel.  All data will be sensitive and stored in accordance with the Privacy Guide for TSA Biometric Devices Information and Data.

### Task A1.4. The Proposer Shall Perform Data Reduction and Analysis of Test Results

The proposer will perform data reduction and analysis of each manufacturer’s sub-system under test, compliant with Volume 3, Chapter 2 -Test Plan .  The test data reduction and analysis process will be documented and submitted to TSA for approval in the Test Report.

### Task A1.5. The Proposer Shall Develop Test Reports and Recommendations

TSA requires proposers to develop and implement TSA approved policy and best practices guidance for maintaining up-to-date documentation including, but not limited to, testing procedures, manuals for calibration of equipment, conformance documentation checklists, and certifications that will be acquired, tracked, and distributed, as necessary.

The proposers will develop processes to provide TSA with the results of qualification testing on manufacturer’s biometric devices.

For each manufacturer device tested, the proposer shall provide TSA with a complete individual test report as specified in Volume 3, Chapter 2 – Test Plan.  The test report will document objective test findings, basic device information, observations, recommendations, and will supply all data collected in a Data Package Appendix. The report will provide TSA with the manufacturer’s device completed metrics summary table derived from Table 8 of Volume 3, Chapter 2 - Test Plan .

### Task A1.6. The Proposer Shall Participate in Manufacturer Briefings

The proposer will develop processes to support TSA in and out briefings concerning the qualification test processes and results with regard to each specific manufacturer’s biometric device(s).

### Task A1.7. The Proposer Shall Recommend the Minimum Requirements for TSA Laboratory Accreditation

It is a TSA objective to accredit organizations which wish to become recognized as a TSA biometric sub-system qualification test facility.  The initial series of biometric sub-system performance qualification testing shall serve as a platform for establishing accreditation criteria for those organizations wishing to become a TSA qualification proposer.  During this initial phase of qualification testing, the proposer will develop accreditation recommendations and submit these to TSA.

### Task A1.8. The Proposer Shall Establish a Cost Accounting Process with Independent Oversight

In its response to this DOW, the proposer shall provide TSA with two business models:

- A business and cost model for the non-recurring costs to establish test facility organization, management, and infrastructure.  These costs are the basis of the TSA Agreement.

- A business and cost model for the recurring costs of test facility operations.  These costs form the basis of the fixed fee to be charged by the proposer to each biometric manufacturer to have its sub-system tested.

The business model will include the following for approval by the TSA: 1) a plan  concerning its cost accounting practice that partitions out the direct costs of testing;

2) methods to establish acceptance of payment by the manufacturers; 3) its plan for independent financial audit.

The proposer shall propose to TSA a flat rate for covering the recurring costs of testing through the collection of performance testing fees and other related charges from manufacturers.  If the net result is that too much fee was collected, the proposer will propose a plan to TSA to rebate any residuals equally to all manufacturers.  In its planning, the proposer will price three different size ranges of manufacturer biometric sub-system tests based upon recurring costs:

- One to three biometric sub-systems to be tested in parallel

- Four to six biometric sub-systems to be tested in parallel

- Seven to ten biometric sub-systems to be tested in parallel

The initial fee schedule will be developed by the proposer and approved by the TSA Test Director within 30 working days of formal proposer selection.  Fees will be determined based on indirect administrative and direct labor costs incurred while performing performance testing.

Fees will be collected by the proposer and can be returned only when the manufacturer withdraws their request 15 working days prior to the scheduled test date.  No funds will be returned once performance testing begins.  A formal withdrawal request must be made to the TSA Test Director.

The manufacturer must pay all fees at the time that the TSA approves their request for testing.  Testing will not begin until the manufacturer pays required fees.

The manufacturer will also pay for all of its biometric device(s) and or sub-system(s), all proposers personnel training, equipment shipping charges to and from the testing facility, required device modifications, and adapter fabrication.

The proposer may also collect funds from the manufacturer when the manufacturer requires additional support, at their facilities, from proposer personnel.  The manufacturer will pay all costs related to this activity.  These costs must be paid in accordance to the proposer’s standard business practices. DHS/TSA will not be responsible for any costs incurred by the manufacturer attributed to this activity.

The proposer may also include non-recurring indirect costs for the initial startup period, such as administrative and overhead costs, which must be approved by the TSA Test Director.

The manufacturer must also pay an annual fee for the conformance process for each of its product(s) on the TSA QPL.  These fees will be determined by the proposer performing the testing and approved by the TSA Test Director prior to implementation.  These fees will be paid directly to the proposer unless otherwise directed by the TSA Test Director.

The manufacturer must be informed of all conformance process fees by the TSA Test Director at the same time as the notification of the performance testing fee.  The manufacturer must agree to this fee and pay for the first year of testing prior to the TSA placing their product(s) on the TSL QPL. Conformance process fee(s) will be charged only for devices on the TSA QPL.

Conformance process fee increases must be approved by the TSA Test director.  The manufacturer must be informed of increases 30 calendar days prior to them taking affect.

The TSA may remove the manufacturer’s device(s) from the QPL for non-payment.  The manufacturer must pay all back fees prior to having its device(s) reinstated to the QPL.

The TSA may agree to monthly, quarterly, or semi-annual fee payments if the manufacturer is unable to pay the fee in a single payment.

Final performance report(s) and TSA approval(s) will not be given if any outstanding manufacturer obligations are owed.

## A2.  Description of Work for Testing Under Optional Outdoor Environment

This testing under outdoor environmental conditions is optional in that it is not required for - and does not provide – biometric sub-system qualification and resulting inclusion in the QPL.  It is a separate test from the core test conducted under the indoor environment that is required for qualification and QPL inclusion (addressed in DOW A1 above) and is mostly for information purposes.  The manufacturer may offer one or more devices for test under the outdoor environment in addition to core/indoor qualification tests conducted on the same device(s).

Per Volume 3, Chapter 2 – Test Plan, section 4.3.2, a manufacturer whose biometric device has qualified under the core/indoor environment testing will not lose the qualification for that device based on its performance under the outdoor environmental conditions.  The manufacturer may choose to provide identical or different (but functionally identical) devices for these (indoor and outdoor) tests.  For example, the manufacturer might provide Device A for the core indoor test and then test Device A again for the optional outdoor test.

The manufacturer may also choose to modify Device A for the outdoor environment testing or provide a separate Device B for the outdoor testing.  For example, the manufacturer may provide an environmental housing or even an enclosed booth to house the device.  Enrollment will only be performed on the core test enrollment station (i.e., if an outdoor sub-system is offered for the optional testing under the outdoor environment, it must be compatible with enrollment with Device A).

Volume 3, Chapter 2 – Test Plan, section 4.3.2 identifies three (3) representative environmental categories upon which environmental testing will be based.  These conditions are not meant to duplicate or replicate all possible environmental conditions but rather are indicative of how well biometric sub-systems will perform in these specific outdoor conditions.  These representative conditions are: Outdoor Hot/Wet, Outdoor Hot/Dry, and Outdoor Cold/Dry (see Tables 1-3 in the Test Plan).  Additionally, Table 4 in the Test Plan lists a number of particular modalities and the associated specific outdoor environmental factors for each of them.

Since outdoor environmental factors are affected by variables such as time of day and season, proposers shall demonstrate how they will account for these variables.  For example, by providing a specific outdoor test site or by utilizing an environmental chamber, the proposer(s) can simulate and allow control over the modality specific environmental factors identified in Table 4 of the Test Plan.

In support of the TSA program of Biometric Sub-System Outdoor Environment Performance Testing, the proposer shall perform the following eight (8) Tasks:

### Task A2.1. The Proposer Shall Provide and Maintain Biometric      Sub-system Testing Infrastructure

### A2.1.1 Management Structure

The proposer shall provide a management organization and structure capable of carrying out performance tests of manufacturer biometric sub-systems under specified outdoor environmental conditions.  The management organization will include an Experimenter who is responsible overall for the quality of the test measurements and is the single point of contact between the proposer, manufacturers, and TSA.  In addition, the proposer will provide Test Operators who will actually conduct the optional outdoor environment tests.   (See Volume 3, Chapter 1 - Management Plan for roles and responsibilities.)

### A2.1.2 Physical Plant

The proposer shall maintain a configuration control system.  The proposer shall develop and implement TSA approved policy and best practices regarding establishing and maintaining proper system configuration management practices.

- Use of configuration log input forms: Audit Logs will be utilized to record initial sub-system hardware and software inventory control information such as serial numbers, model and version. In addition QA seals will be placed on all inventory controlled sub-systems.

- Equipment replacement and change information will be recorded in the configuration log.   All regression testing required as the result of changes made in the QA sealed system configuration will be properly recorded.

### A2.1.3 Configuration Management System

The organization shall have a CMS in place capable of maintaining the technical infrastructure for supporting testing including configuration, architecture, and documentation.   The CMS must be capable of managing manufacturer’s property while on site and all manufacturer interfaces to the facility infrastructure.  The CMS needs to be sufficiently secure so as to maintain the availability, confidentiality, and integrity of all data including privacy categories, proprietary data, and TSA test result data.

### A2.1.4 Communication with TSA

The proposer will communicate with TSA directly through both written and oral reports. In addition, as directed by TSA, the proposer will prepare the test facility and provide test resources for manufacturers who have successfully completed the pre-qualification process.   The proposer will host both pre-test and post-test briefings for TSA and the manufacturers.  The proposer will prepare detailed test reports regarding the outdoor environment test performance of each manufacturer’s biometric sub-system.  The proposer shall also provide monthly reports to TSA delineating all test activities, funds expended, and future planning.

### A2.1.5 Communication with Biometric Sub-System Manufacturers

For manufacturers who have successfully completed the TSA pre-qualification process, the proposer will provide detailed instructions concerning test procedures.  In addition the proposer will provide the manufacturers with test schedule, installation, training, and tear-down instructions.  The proposer will also provide manufacturers with liability disclaimers and requirements regarding their participation in the TSA outdoor environment tests.

### A2.1.6 Data Analysis Capabilities

The proposer shall provide data analysis capabilities adequate for evaluating the performance measurements equivalent to those required for qualification mandated by TSA in Volume 1, Chapter 1 - Requirements and as supplemented by the outdoor environments described in Volume 3, Chapter 2 - Test Plan.

### A2.1.7 Technology Interfaces to Manufacturer Biometric Sub-systems under Test

The proposer shall provide computer-based interfaces to manufacturer-supplied biometric sub-systems adequate to accurately record biometric device enrollment templates for verification matching purposes, device latency, and other relevant test parameters as required by the Test Plan.

### A2.1.8 Test Crew

The proposer shall recruit, train and maintain a Test Crew of individuals with which the biometric devices test will be performed as described within the Test Plan.  The test crew demographics shall conform to the requirements of Volume 3, Chapter 2 - Test Plan.  The test crew size shall be determined by the proposer based on a balance between testing statistical significance and cost reasonableness.

### A2.1.9 Test Crew Privacy

The proposer will provide an information technology infrastructure adequate to assure that personal information of test crew members will remain confidential.

### A2.1.10 Information Security

The proposer shall provide adequate information processing capability to assure that the confidentiality, integrity, and accessibility of manufacturer proprietary and test data will be maintained.  The proposer will prepare a security risk analysis and incorporate the analysis findings into a facility information security plan.

### Task A2.2. The Proposer Shall Develop Specific Test Procedures for Each Outdoor Environment Test

TSA protocol requires that the proposer conduct test operations in a manner that provides clear impartiality with regard to test data collection and analysis.  Test facility procedures must be constructed by the proposer and approved by TSA.  These detailed test procedures must provide for the impartial treatment of each data set so that the true performance of each device is reported to TSA. The proposer shall develop test procedures specific to each TSA pre-qualified manufacturer’s biometric sub-system.  Each specific test procedure shall conform to the TSA test guidance specified in     Volume 3, Chapter 2 - Test Plan.  The procedure will at the minimum describe the test purpose, the test crew resources, schedule required, and the detailed test process specific to the manufacturer’s device that will achieve TSA’s biometric sub-system outdoor environment performance test.

The proposer will provide a generic schedule for outdoor environment testing to TSA for approval to include:

- Pre-test reviews and briefings

- Sub-system installation

- Sub-system training of the facility staff by the manufacturer

- Sub-system certification by the manufacturer of readiness for test

- Test Crew habituation

- Test operations

- Data collection

- Data analysis and reporting to TSA

- Sub-system disassembly and removal

- Manufacturer out-brief

- Report of business operations

### Task A2.3. The Proposer Shall Coordinate and Conduct Outdoor Environment Performance Tests

### A2.3.1 Coordination with TSA and Biometric Sub-system Manufacturers

The proposer will develop for TSA approval a communication and coordination plan with TSA and biometric sub-system manufacturers.  This plan will include processes such that all communications between the proposer and the biometric device manufacturer will be restricted to device installation, operation, and removal concerns.   All communications concerning test results or the conduct of any test operation will be referred to TSA.  In addition, it is TSA protocol that all communications with the press or other media be directed to TSA.

### A2.3.2 Conduct of Biometric Sub-system Outdoor Environment Performance Testing.

The proposer will conduct biometric sub-system outdoor environment performance testing on up to ten (10) manufacturer devices.  These devices do not have to undergo simultaneous testing as do the devices for qualification testing.  During outdoor environment testing, both quantitative and qualitative data will be collected and recorded in a manner that is specific to the infrastructure and that achieves TSA biometric device test requirements and objectives.

The quantitative enrollment error rate will be recorded and the data will be entered into the test organization information system.

For verification operations the quantitative capture of both FAR and FRR values for each crew member will be performed by the test facility in order to evaluate biometric sub-system outdoor environment performance (see Volume 1, Chapter 1 - Technical Requirements).  The test facility will provide the computational infrastructure to fully and accurately support the calculations necessary for device outdoor environment performance determinations.  In addition, the start and end times of the each verification attempt for all crew members will be recorded.

Qualitatively, crew reactions to device use will be surveyed and manually entered for use in debriefing the biometric device manufacturer.

Complete, accurate, and reliable collection of the data is an integral part of the biometric device test.  To facilitate this, the test data collection will be automated to the maximum extent possible.  For any required manual data recording, the test manager will assign test team members with specific data collection responsibilities prior to execution of each test category.  Data collection assignments will be made at the pretest briefing.  Designated members will be provided with the necessary data collection forms and/or equipment, and will be responsible for recording data as required in the general biometric device test procedure.

The automated data collection system and the test team will collect data as defined in the biometric device test procedure.  In addition, the data will include, at a minimum:

- Test description

- Test date(s) and time(s)

- Crew member ID

- Device indications (if any)

- Timeline data for transaction time analysis

- Device operational or failure data (if any)

To facilitate the correlation of biometric device response to the test crew member, each test crew member’s identifier will be read (for example, by a bar code reader) and entered into the test data base before they interact with the biometric device.  At the conclusion of each test session, all data collection forms and additional media will be validated and signed by Test Facility QA personnel.  All data will be sensitive and stored in accordance with the Privacy Guide for TSA Biometric Devices Information and Data.

### Task A2.4. The Proposer Shall Perform Data Reduction and Analysis of Test Results

The proposer will perform data reduction and analysis of each manufacturer’s sub-system under test, compliant with Volume 3, Chapter 2 - Test Plan.  The test data reduction and analysis process will be documented and submitted to TSA for approval in the Test Report.

### Task A2.5. The Proposer Shall Develop Test Reports and Recommendations

TSA requires proposers to develop and implement TSA approved policy and best practices guidance for maintaining up-to-date documentation, including, but not limited to, testing procedures, manuals for calibration of equipment, conformance documentation checklists, and certifications that will be acquired, tracked, and distributed as necessary.

The proposer will develop processes to provide TSA with the results of outdoor environment performance testing on manufacturer’s biometric devices.

For each manufacturer device tested, the proposer shall provide TSA with a complete individual Test Report as specified in Volume 3, Chapter 2 - Test Plan.  The Test Report will document objective test findings, basic device information, observations, recommendations, and will supply all data collected in a Data Package Appendix. The report will provide TSA with the Manufacturer’s device completed metrics summary table derived from Table 8 of Volume 3, Chapter 2 - Test Plan.

Task A2.6. The Proposer Shall Participate in Manufacturer Briefings

The proposer will develop processes to support TSA in and out briefings concerning the outdoor environment performance test processes and results with regard to each specific manufacturer’s biometric device(s).

### Task A2.7. The Proposer Shall Recommend the Minimum Requirements for TSA Laboratory Accreditation

It is a TSA objective to accredit organizations which wish to become recognized as a TSA biometric sub-system outdoor environment test facility.  The initial series of biometric sub-system outdoor environment performance testing shall serve as a platform for establishing accreditation criteria for those organizations wishing to become a TSA Outdoor Environment Proposer.  During this initial phase of outdoor environment performance testing, the proposer will develop accreditation recommendations and submit these to TSA.

### Task A2.8. The Proposer Shall Establish a Cost Accounting Process with Independent Oversight

In its response to this DOW, the proposer shall provide TSA with two business models:

- A business and cost model for the non-recurring costs to establish test facility organization, management, and infrastructure.  These costs are the basis of the TSA Agreement.

- A business and cost model for the recurring costs of test facility operations.  These costs form the basis of the fixed fee to be charged by the proposer to each biometric manufacturer to have its sub-system tested.

In providing TSA with its business model, the proposer will provide TSA with a plan for approval concerning its cost accounting practice that partitions out the direct costs of testing.  Also, the methods to be used to establish the acceptance of payment by the manufacturers will be submitted to TSA for approval.  In addition, the proposer shall provide TSA with its plan for independent financial audit.

The proposer shall propose to TSA a flat rate for covering the recurring costs of testing through the collection of performance testing fees and other related charges from manufacturers.  If the net result is that too much fee was collected, the proposer will propose a plan to TSA to rebate any residuals equally to all manufacturers.  In its planning, the proposer will price three different size ranges of manufacturer biometric sub-system tests based upon recurring costs:

- One to three biometric sub-systems to be tested in parallel

- Four to six biometric sub-systems to be tested in parallel

- Seven to ten biometric sub-systems to be tested in parallel

The initial fee schedule will be developed by the proposer and approved by the TSA Test Director within 30 working days of formal proposer selection.  Fees will be determined based on indirect administrative and direct labor costs incurred while performing performance testing.

Fees will be collected by the proposer and can be returned only when the manufacturer withdraws their request 15 working days prior to the scheduled test date.  No funds will be returned once performance testing begins.  A formal withdrawal request must be made to the TSA Test Director.

The manufacturer must pay all fees at the time that the TSA approves their request for testing.  Testing will not begin until the manufacturer pays required fees.

The manufacturer will also pay for all of its biometric device(s) and or sub-system(s), all proposer personnel training, equipment shipping charges to and from the testing facility, required device modifications, and adapter fabrication.

The proposer may also collect funds from the manufacturer when the manufacturer requires additional support, at their facilities, from proposer personnel.  The manufacturer will pay all costs related to this activity.  These costs must be paid in accordance to the proposer’s standard business practices. DHS/TSA will not be responsible for any costs incurred by the manufacturer attributed to this activity.

The proposer may also include non-recurring indirect costs for the initial startup period, such as administrative and overhead costs, which must be approved by the TSA Test Director.

The manufacturer must also pay an annual fee for the conformance process for each of its product(s) on the TSA QPL.  These fees will be determined by the proposer performing the testing and approved by the TSA Test Director prior to implementation.  These fees will be paid directly to the proposer unless otherwise directed by the TSA Test Director.

The manufacturer must be informed of all conformance process fees, by the TSA Test Director, at the same time as the notification of the performance testing fee.  The manufacturer must agree to this fee and pay for the first year of testing prior to the TSA placing their product(s) on the TSL QPL. Conformance process fee(s) will be charged only for devices on the TSA QPL.

Conformance process fee increases must be approved by the TSA Test director.  The manufacturer must be informed of increases 30 calendar days prior to them taking affect.

The TSA may remove the manufacturer’s device(s) from the QPL for non-payment.  The manufacturer must pay all back fees prior to having its device(s) reinstated to the QPL.

The TSA may agree to monthly, quarterly, or semi-annual fee payments if the manufacturer is unable to pay the fee in a single payment.

Final performance report(s) and TSA approval(s) will not be given if any outstanding manufacturer obligations are owed.

## Period of Performance

The period of performance for core testing will be from award date through completion of all core qualification tests of manufacturers devices pre-qualified for the initial QPL testing.  Depending upon the number of devices assuming at most 30 devices tested, the testing and reporting should be completed within 1 year of the Agreement award.

For outdoor testing, the period of performance will be from award date to the completion of outdoor testing, when selected as an option, which will follow successful completion of core testing.  Therefore the period of performance for outdoor testing may be anticipated to begin no earlier than 3 months after award of the Agreement and may extend up to 1 year beyond the completion of the final core test.

## Time and Performance

Time and place of delivery of all Agreement data requirements for each DOW proposed shall be as detailed in the TSA Requirements - Description Table (below).

For outdoor environmental biometric sub-system testing, the location of performance must be defined by the proposer in terms of simulated or actual outdoor testing environments. The proposer shall propose a safe and secure environment in which to conduct outdoor environmental biometric sub-system testing.

The physical plant shall support a computer network adequate for testing and analyzing up to ten (10) simultaneous qualification tests of manufacturer biometric sub-systems.  The facility will be supported by an adequate physical security plan including protection against malicious attacks, natural disasters, and accidental damage.

### TSA Requirements - Description:

| Facility Management Plan | Ten (10) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Proposer Facility Management Plan is to submit for TSA approval the proposer’s detailed plans for managing its Test Facility. The contents of the plan will include: a. Executive Summary b. Introduction (background, facility management objective) c. Applicable Standards d. Organizational Structure for Biometric Sub-system Performance Qualification Testing e. Management and Reporting Structure in support of the Facility Organization f. Role of Test Quality Control and Oversight (problem detection and correction) g. Role of Manufacturer Relations h. Role of General Test Processes i. Role of Specific Test Processes j. Role of Test Conduct k. Role of Test Reporting l. Role of Financials and Auditing m. Anticipated Problems and Resolutions (Risk Management) |

| Cost Accounting Practice | Ten (10) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Cost Accounting Practice Plan is to submit for TSA approval the proposer’s cost accounting plans and practice for the Test Facility. This plan shall include the accounting for recurring and non-recurring costs, and the method of determining the fee structure for testing costs to manufacturers. The contents of the plan will include: a. Executive Summary b. Cost Accounting and Cost Recovery Approach for Sustaining the Test Facility c. Cost Accounting Practice at the Sponsoring Organization d. Test Facility Accounts Payable e. Test Facility Accounts Receivable f. Test Facility General Ledger g. Test Facility Payroll h. Test Facility Fixed Assets i. Test Facility Inventory j. Test Facility Projected accounts by Month |

| Plan for Independent Financial Audit | Ten (10) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Independent Financial Audit Plan is to submit for TSA approval the proposer’s plan for providing for an independent financial audit of Test Facility financial processes, planning, and systems. The contents of the plan will include: a. Executive Summary b. Scope of the Independent Financial Audit c. Independent Audit of the Cost Accounting Practice Deliverable d. Plan for engaging an outside, independent Audit organization |

| Communication and Coordination Plan | Twenty (20) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Communication and Coordination Plan is to submit for TSA approval the proposer’s detailed plan for communicating with TSA, the manufacturers, and the press. The contents of the plan will include: a. Executive Summary b. Introduction (background, communication and coordination objective) c. Plan for TSA and proposer communication and coordination d. Plan for pre-qualified biometric manufacturer and proposer initial communication and coordination e. Plan for biometric manufacturer and proposer biometric sub-system install and training communication and coordination f. Plan for biometric manufacturer and proposer communication and coordination during testing g. Plan for biometric manufacturer and proposer communication and coordination during sub-system tear-down, removal, and out-brief. h. Plan for news media and proposer communication and coordination i. Anticipated Problems and Resolutions |

| Liability Disclaimers and Special Conditions Regarding Biometric Sub-system Manufacturer Participation in the TSA Qualification Test | Twenty (20)Days After The Start of the Agreement |
| --- | --- |
| The purpose of the liability disclaimers and special conditions is to facilitate TSA’s understanding regarding special conditions or disclaimers under which the Test facility operation will be conducted. To this end, the Test Organization will provide TSA with all exceptions, deviations and special conditions concerning the conduct of Test operations involving Biometric sub-system manufacturers. The contents of the report will include: a. Executive Summary b. Introduction (background, facility management objective) c. Detailed explanations of each special condition required by the bidder regarding the operation of the test facility. |

| Privacy Guide for TSA Biometric Devices Information and Data | Twenty (20)Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Privacy Guide for TSA Biometric Devices Information and Data is to submit for TSA approval the proposer’s detailed plan for complying with federal and local guidance addressing individual personal privacy information and manufacturer proprietary information. This shall also include all proposed activity related to Institutional Review Boards. The contents of the plan will include: a. Executive Summary b. Introduction (background, objective) c. an approach to the collection, use or disclosure of personal information and proprietary data and its objectives, including the legal authority and the justification for the proposal d. a list of stakeholders and their roles and responsibilities for personal information and proprietary data e. a list of relevant legislation and policies that have implications for privacy and the protection of personal information f. a list of relevant legislation and policies that have implications for proprietary data and its protection g. a description of specific privacy and proprietary data risks that have been identified h. an analysis of options considered to avoid or mitigate privacy and proprietary data risks i. a list of residual risks that cannot be resolved by means of the proposed options and an analysis of possible implications of these risks in terms of public and manufacturer reaction and program success j. a communications strategy, where appropriate, to deal with public concerns and perceptions about privacy and manufacturer proprietary data. |

| Physical Security Plan | Thirty (30) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Physical Security Plan is to provide TSA with documentation concerning in-place physical security measures taken to adequate protect staff, data, and assets related to the operation of the test facility. The contents of the report will include: a. Executive Summary b. System Description/Configuration c Plan Control c.1 Plan Coordination c.1.1 Information Contact(s) c.2 Laws or Regulations Affecting the Facility d. Physical and Environmental Protection d.1 Site Description d.1.1 Floor Plans d.1.2 Project/Program Specific d.1.3 Interior Security d.1.4 Valuable Property d.2 Fire Exposure d.2.1 Fire Protection d.2.2 Sensors d.2.3 Sprinkler System d.2.4 Alternative Fire Extinguishing Systems d.2.5 Extinguishers d.2.6 Inspection and Maintenance d.2.7 Evacuation d.2.8 Alarms d.3 Water Damage Exposure d.4 Air Conditioning d.5 Electricity d.5.1 Universal Power Supply d.6 Natural Disaster Exposure d.7 Access Control d.8 Housekeeping d.9 Other Facilities Considerations d.9.1 Contingency Planning e. Organization and Personnel e.1 Organization e.2 Personnel e.3 Personnel Security e.3.1 Roles and Responsibilities e.3.2 Personnel Security e.4 Rules of Behavior f. Risk Assessment and Management f.1 Security Layers f.2 Additional Security Measures f.2.1 Enable and Monitor Logging and Auditing f.2.2 Regularly Test Security Measures f.3 Risk Assessment f.4 Review of Security Controls f.5 Integrity Controls f.6 Security Awareness & Training f.7 Incident Response Capability g. References g.1 Facility g.2 Project/Program g.3 Government |

| Facility Information Security Plan | Thirty (30) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Facility Information Security Plan is to provide TSA with documentation concerning in-place information security measures taken to adequately protect the confidentiality, integrity, and availability of information assets related to the operation of the test facility. The contents of the report will include: a. Introduction (background, objective) b. Risk Assessment c. Technical Vulnerability Assessment d. Residual Risk Statement e. Recommended Risk Mitigations f. Perimeter (external network interface) Diagram g. Table of Information Processing Equipment h. Rules of Behavior for accessing the Biometric Sub-system Qualifying Test Network i. Security Awareness & Training Materials Package j. Contingency Plan k. Business impact analysis l. Disaster recovery m. Business continuity n. Security Incident Criteria & Handling Document |

| Configuration Control System | Sixty (60) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Configuration Control System Report is to provide TSA with documentation concerning in-place configuration control measures taken related to the operation of the test facility. The contents of the report will include: a. Executive Summary b. Configuration Control System Description/Configuration c. Change Control Processes d. Use of Configuration Control for visiting Manufacturer’s Biometric Sub-systems e. Change Control processes for Acceptance and Release of visiting Manufacturer’s Biometric Sub-systems |

| Configuration Log | Every Two Months |
| --- | --- |
| The purpose of the Configuration Log is to provide TSA with documentation concerning the status of facility and manufacturer assets involved in biometric sub-system qualification testing. The Configuration Log can be in a form best suited to the bidder’s Configuration Control System or the bidder may propose to use the format of Appendix A, “CONFIGURATION LOG INPUT FORM” of Volume 3, Chapter 2 – Test Plan. |

| Monthly Reports | First Tuesday of Each Month |
| --- | --- |
| The purpose of the Monthly Report is to provide TSA with the status of facility testing activities. The contents of the report will include: a. Project Name: b. TSA Task Lead: c. Principle Investigators: d. Report on Activity – Current period. e. Problems Encountered and Resolution: f. Planned Activity – Next Period g. Summary of Milestones h. Summary of Support Costs |

| Detailed Test Reports | Ten (10) Days Following Each Completed Qualification Test of a Specific Biometric Sub-system |
| --- | --- |
| The purpose of the Detailed Test Report is to facilitate TSA’s decision regarding biometric sub-system qualification or optional outdoor environment performance testing. To this end the Test Organization will provide TSA with factual findings concerning the performance metrics of a specific manufacturer’s biometric sub-system. The contents of the report will include: a. Executive Summary b. System Description/Configuration c. Test Purpose d. Test Objectives e. Reference Documents f. Test Date and Location g. Manufacturer Information h. Test Team Members i. Test Results Summary j. Detailed Test Results k. Data Collection Techniques l. Data Analysis Techniques m. Procedural Deviations n. Problems Encountered o. Regression Test Requirements p. Conclusions and Recommendations q. Attachments: Test Observation Log, System Configuration Log, Test Data and Test Briefing |

| Schedule, Installation, Training, and Tear-down Instructions | Thirty (30) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Schedule, installation, training, and tear-down instructions is to submit for TSA approval the proposer’s generic schedule and detailed plan and instructions for interaction with biometric sub-system manufacturers concerning the qualification testing. The contents of the plan will include: a. Executive Summary b. Manufacturer’s System Description/Configuration c. Test Schedule d. Instructions for Manufacturers regarding the installation of biometric sub-systems at the facility e. Minimum Training Requirements of facility staff required of biometric sub-system manufacturers. f. Instructions for Manufacturers regarding the tear-down and removal of biometric sub-systems at the facility |

| General Performance Qualification Test Procedures | Sixty (60) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the General Performance Qualification/Optional Outdoor Environment Performance Test Procedures is to submit for TSA approval the proposer’s detailed facility test processes. The facility test procedures shall reflect the overall qualification/optional outdoor environment performance test requirements and processes detailed in Volume 1, Chapter 1 - Technical Requirements; Volume 3, Chapter 1 - Management Plan; and Volume 3, Chapter 2 - Test Plan. As a minimum the General Test Procedures need to address: a. Interfacing manufacturer biometric sub-systems to the Test Facility infrastructure b. Facility level Test Crew selection, training and operations c. General procedures for data collection and storage from biometric sub-systems d. General test procedures for Test Crew biometric enrollment e. General test procedures for Test Crew biometric verification f. General test data analysis procedures g. General test results reporting procedures h. Facility level data security and privacy protection procedures i. Facility level manufacturer’s proprietary data protection procedures j. Facility level manufacturer biometric sub-system tear-down, removal, and out-brief procedures. |

| Test Procedures Specific to Each TSA Pre-qualified Manufacture’s Biometric Sub-system | Two (2) Days Prior to Test Commencement |
| --- | --- |
| The purpose of Manufacturer Specific Performance Qualification/Optional Outdoor Environment Performance Test Procedures is to submit for TSA approval the proposer’s specific manufacturer biometric sub-system test processes. The manufacturer specific test procedures shall reflect the facilities general test procedures, the specific characteristics of the manufacturer’s biometric sub-system under test, and the qualification/optional outdoor environment performance test requirements and processes detailed in Volume 1, Chapter 1 - Technical Requirements; Volume 3, Chapter 1 - Management Plan; and Volume 3, Chapter 2 - Test Plan . As a minimum the Manufacturer Specific Test Procedures need to address: a. Interfacing the specific manufacturer biometric sub-system to the Test Facility infrastructure b. Facility staff and Test Crew selection, training and operations for the specific biometric sub-system under test c. Procedures for data collection and storage from the specific manufacturer’s biometric sub-system d. Manufacturer biometric sub-system specific test procedures for Test Crew biometric enrollment e. Manufacturer biometric sub-system specific test procedures for Test Crew biometric verification f. Manufacturer biometric sub-system specific test data analysis procedures g. Manufacturer biometric sub-system specific test results reporting procedures h. Manufacturer biometric sub-system specific data security and privacy protection procedures i. Manufacturer biometric sub-system specific proprietary data protection procedures j. Manufacturer biometric sub-system specific tear-down, removal, and out-brief procedures. (note that for some specific manufacturer’s devices, there may be on need for customization of the general test procedures for some items in the list above) |

| Accreditation Recommendations | One hundred twenty (120) Days After The Start of the Agreement |
| --- | --- |
| The purpose of the Accreditation Recommendations Report is to facilitate TSA’s decisions regarding biometric sub-system qualification testing facility accreditation. To this end the Test Facility will provide TSA with factual findings, lessons-learned, and recommendations concerning the accreditation metrics to be applied to potential biometric sub-system qualification testing facilities. The contents of the report will include: a. Executive Summary b. Facility Needs, Description/Configuration c. Critical best practices of a TSA accredited biometric sub-system qualification testing facility. d. Operational and financial findings of the current test facility e. Current test facility operational and financial lessons learned f. Recommended TSA criteria for accreditation of a biometric sub-system qualification testing facility. |

Selection Process

The Agreement award shall be made to the responsible proposer(s) whose offer provides the best value to the TSA (past performance, technical approach, and price factors considered).  The Government’s objective is to obtain the best value to achieve the DOW requirements, with realistic and reasonable price; however, between proposals that are evaluated as equal (past performance and technical approach) proposed price will become the major considerations in selecting the successful proposer.  Prospective proposers are advised that a proposal meeting the objectives and requirements with the lowest price may not necessarily be selected if award to a higher price proposer is determined to be most advantageous to the Government.

The proposal must demonstrate to the Government’s satisfaction that the proposer will provide services that will result in successful accomplishment of description of work requirements.  The Government will evaluate the proposers on the basis of the material presented in their proposals.  However, the Government may use information other than that provided by the proposer in its evaluation, including information that may be obtained through evaluation of the proposer’s past performance.  Proposal information provided for one factor may be used to assess other factors if the Government deems it appropriate.

## Evaluation Factors

TSA intends to select the proposer whose proposal demonstrates the best value to fulfill the DOW requirements through assessment of the following, equally weighted, evaluation factors:

- Technical approach

- Capability of the proposed facility and personnel

- Past performance and experience

- Price.

Some key aspects of the evaluation subfactors are as follows.

Technical approach (Covered in Proposal Volume I)

The proposer must:

- show that they understand the requirements.

- demonstrate that their performance approach will satisfy the execution processes, schedule and ramp-up, technical resources, and office/business infrastructure needs (i.e., conference and reproduction facilities, voice and data network connectivity, audio-visual capability, and other typical resources).

- provide an approach to completing the requirements which demonstrates understanding of the required content and the intended use of the deliverable by TSA.

Capability of the facility and personnel (Covered in Proposal Volume I)

The proposer must show:

- that they have adequate availability of their test facility for a 1-year period following award for DOW A1 and a 2-year period following award for DOW A2.

- their plan for demonstrating readiness for testing within 3 months following Agreement award.

- suitability of their computer equipment, network, and data system for the collection, analysis, and reporting of biometric sub-system qualification and/or optional outdoor environment performance test data.

- their planning and implementation regarding physical and information security of proprietary, privacy, and Sensitive Security Information (SSI) data.  These should demonstrate adequate controls regarding confidentiality, availability, and integrity of the facility processes and information holdings.

- that their facility’s location and their approach facilitate their ability to recruit a crew with the demographic constraints required by Volume 3, Chapter 2 - Test Plan.

- their capability to provide and maintain a supporting infrastructure which facilitates the production of accurate biometric test data enabling TSA to evaluate biometric sub-system qualification and other performance testing.

- their proposed test staff expertise for biometrics testing.  This includes their experience with biometrics product testing, their proposed roles for this effort, and the proposed mix of senior staff and less-experienced support personnel.

- their key personnel and staffing plan.

- their freedom from business relationships that may be perceived as having organizational conflict of interest or any other basis for bias.

- Availability of experienced staff

- Facility size

- Facility availability

- Existing data systems

- Data privacy protection experience and/or established procedures

Past performance and experience (Covered in Proposal Volume I)

The proposer must show:

- experience working and competing similar biometric technology evaluations.

- experience understanding biometric device testing theory, practice, and standards.

- experience with scenario testing practice to include testing methodologies, error analysis, statistical selection and evaluation techniques, habituation effects, operational effects, and incorporation of accepted standards into the testing process.

- experience complying with TSA requirements.

- ability to control scope and cost growth.

- ability to complete biometrics projects on time per submitted schedule.

- qualifications of key technical personnel.

Price (Covered in Proposal Volume II)

The proposer must show:

- proposed non-recurring costs (which TSA will reimburse) to develop the management, business, and test processes required to successfully implement their proposed technical approach, the DOW(s) for the qualification testing and/or outdoor environment performance testing, and provide TSA with the required requirements.

- proposed recurring costs for performing all effort associated with the actual conduct of the TSA biometric testing program.  (These recurring costs will be reimbursed by device manufacturers directly to the proposer in a manner specifically proposed by the proposer, and this type of cost is a significantly more important cost criterion to TSA than the recurring costs).

TECHNICAL EVALUATION CRITERIA:

Proposers shall develop a proposal for the initial period of testing for the purpose of bid evaluation and potential award.  Proposers shall develop a technical approach and proposed price to satisfy the requirements for the Agreement.  The initial task order proposal shall be included with the proposer’s technical proposal.  Proposer’s technical and price responses to this solicitation for an Agreement shall be provided in the following two volumes:  Volume I: Past Performance / Technical Approach; and Volume II: Price Proposal.  Proposal Volume format is provided below.

Proposers shall demonstrate their past performance – within the past five (5) years – applicable to the DOW for which they are submitting a response.  Proposers are able to submit up to and including three (3) past performance citations.  Proposers shall provide the following for each past performance citation: Customer information; Description and Demonstration of Correlation with DOW Requirements; List of Proposed Personnel who worked on cited past performance, their role/responsibility on cited effort, their utilization on the cited effort, and their role/responsibility on the proposed effort; and Description of Work Products and/or Services Delivered and/or Performance Results of the proposer’s efforts.

Proposers shall provide their technical approach to satisfy:

- the requirements provided for evaluation and potential award –

The technical approach proposed to satisfy the DOW shall address: Introduction; Assumptions and Constraints; Performance Approach – that includes a Work Breakdown Structure and applicable schedule; Staffing – Key Personnel, Other personnel, utilization, Labor categories and Labor Hours.

- the overall DOW requirements for which the proposer is submitting a response

The technical approach proposed by proposers to satisfy the full overall DOW requirements shall address: Executive Summary; Understanding of the Requirements; and Performance Approach, including the approach, schedule and resources required to satisfy the requirements.

- the Personnel proposed to satisfy the overall DOW requirements

The identification of Key Personnel and Other Personnel shall include the names, proposed utilization, labor categories, and resumes

Proposers shall also identify potential and/or existing organizational conflicts of interest in their Technical Approach.

## Proposers shall submit a price proposal volume that provides the following:

- Proposed Labor Categories and Labor Rates

- High-Level Breakout of Task Order and Total Price by Labor; Other Direct Costs; and Travel

- Basis of Estimate for each Task Order to include:

- Proposed Labor Basis of Estimate by Individuals (show individual labor hours, labor category, labor rates and extended labor cost for each individual by month with a summation of annual costs)

- Proposed Other Direct Costs (ODC) Basis of Estimate (show ODCs by line item, respective proposed dollar amounts, rationale for ODC inclusion into ODC proposal, and provide estimating rationale for ODC – i.e. quote, historical)

- Proposed Travel Basis of Estimate (if necessary) (show travel costs by line item, respective proposed dollar amounts, rationale for ODC inclusion into ODC proposal, and provide estimating rationale for ODC – e.g. quote, historical)

- Current copy of proposer’s GSA Federal Supply Service (FSS)

- Proposer’s Proposal Qualifications

- Complete Announcement/Agreement Form

## Proposal Volumes

This section specifies the format and content that proposers shall use for proposals responding to this solicitation for an Agreement. It is required that the proposers respond in accordance with these instructions.  The goal is not to restrict the proposers in the manner in which they will perform their work but rather to ensure a certain degree of uniformity in the format of the responses for evaluation purposes. In order to receive full consideration, proposers are encouraged to ensure that the information provided within their proposal is factual, accurate and complete.

Proposers are required to submit their proposals in separate volumes as indicated below. The proposal must be organized according to the following format, within the page limitations indicated and including chapters for each of the following:

Volume I:  Past Performance / Technical Approach

  - Past Performance

    - Executive Summary (1 page)

    - Past Performance Citations (2 pages per citation, max 3 citations)

      - Section 1 – Customer Information

        - Name of Agreement Activity

        - Agreement

        - Initial Agreement Value

        - Total Agreement Value

        - Period of Performance

        - Customer Point of Contact

        - Customer POC Phone

      - Section 2 – Describe and demonstrate correlation with DOW requirements

      - Section 3 – List of Proposed Personnel who worked on cited past performance, their role/responsibility on cited effort, their utilization on cited effort, and role/responsibility on proposed effort – Provide in following format;

| Name | Role/Responsibility on Cited Effort | Role/Responsibility on Proposed Effort |
| --- | --- | --- |

      - Section 4 – Description of Work Products and/or Services Delivered and/or Performance Results of your Efforts

  - Technical Approach

1.2.1    Executive Summary (1 page)

1.2.2    Introduction

1.2.3    Assumptions and Constraints

1.2.4    Proposed overall approach.  Demonstrate approach meets following criteria:

1.2.4.1.	Understanding the DOW requirements

1.2.4.2.	Execution Processes

1.2.4.3.	Schedule and Ramp up Approach

1.2.4.4.	Resources to satisfy requirements

1.2.4.5.	Test Facility Capability

1.2.5    Proposed Personnel

1.2.5.1    Identification of Key Personnel labor categories, and proposed utilization by labor hours (1 page)

1.2.5.2    Staffing Plan (i.e. Identification of remaining non-key personnel, labor categories, and proposed utilization by labor hours) (1 page)

1.2.5.2    Resumes of all Personnel Proposed (2 pages per resume, no limitation on number of resumes)

1.2.6    List and Description of Potential and/or Existing Organizational Conflicts of Interest

Volume II:  Price Proposal

  - Introduction (1 page)

  - Proposed Recurring Costs

  - Proposed Non-recurring Costs

  - Proposed Labor Categories and Labor Rates

  - High-Level Breakout of Task Order and Total Price by Labor; Other Direct Costs; and Travel(1 page)

  - Basis of Estimate for each Task Order (3 pages – one page per indentured section)

    - Proposed Labor Basis of Estimate by Individuals bid (show individual labor hours, labor category, labor rates and extended labor cost for each individual by month with a summation of annual costs)

    - Proposed Other Direct Costs Basis of Estimate (show ODCs by line item, respective proposed dollar amounts, rationale for ODC inclusion into ODC proposal, and provide estimating rationale for ODC – i.e. quote, historical)

    - Proposed Travel Basis of Estimate (if necessary) (show travel costs by line item, respective proposed dollar amounts, rationale for ODC inclusion into ODC proposal, and provide estimating rationale for ODC – i.e. quote, historical)

  - Proposer’s Proposal Qualifications (if any) (1 page)

  - Three (3) copies of this solicitation for Cooperative Agreement with Signed and Dated Agreement Cover Page

General Requirements for Proposal Volumes

It is to be noted that no price information is to be contained within volumes other than the Price Proposal volume.

The proposer is responsible for providing adequate documentation to enable a thorough evaluation of the proposal.

Cooperative Agreement Proposal Procedure

President Bush’s Government-wide initiative for E-Grants has recently been completed and a new web site constructed.  This site allows proposers to submit proposals electronically.  Please go to http://www.grants.gov.  If you have not already used the site you will need to register.  Click on the “Get Started” area and it will walk you through what you need to do.  The required forms are located under the Template for “FAA Awards.”   When you use the Research and Related (R&R) form for “Other Project Information” it allows you to upload your description of work narrative.

Further, if applicable, please include information about the current technology maturity levels and status of intellectual property.  Include any issues that need to be discussed or clarified prior to award.  If you wish, you may refer to FAR Part 27 athttp://farsite.hill.af.mil/archive/Far/1997-16_cd0004/27.htm, Patents, Data and Copyrights, and/or visit our grants web site above and click on “Research Grants Program Order,” and go to Chapter 8, Section 5 entitled “Intellectual Property.”

For grant-administration questions, please contact:

Barbara Fuller, FAA Grants Officer

(609) 485-4919

Barbara.fuller@faa.gov

Colleen Peranteau, FAA Grants Analyst

(609) 485-5652

Colleen.Peranteau@faa.gov

For technical questions, please contact:

Valerie Lively

(609) 813-2721

valerie.lively@dhs.gov