Los Alamos National Laboratory

Theoretical Division

Group T-11

Building Emergency Plan

TA-3, SM–524

Resident Responsibilities and Training

Revised by: Stacie Bird

Date  October 13, 2005

Executive Summary

The TA 3 - SM 524 Building Emergency Plan (BEP) was prepared in response to Department of Energy Order 151.1, LANL’s Director’s Policy 109, and the Emergency Management Plan.  The BEP provides concise building and emergency preparedness information for building residents, emergency management response organization, other Laboratory organizations, and external agencies.

The Building Emergency Plan includes:

	Building Description/Location/Access

	Accountability/Evacuation & Sweep Procedures

X	Handicapped Employee(s)/Guest(s) Evacuation

	Notifications Procedures

	Return to Normal Operations/Re-entry Procedures

	Shelter-In-Place Procedures

X	Spill & Containment Procedures

Threa

The Appendices to the BEP include:

A. Training Requirements

B. Checklist & Training Acknowledgment

C. Bomb Threat Checklist

D. TA-03, SM-524 Floor Plan

E. Roster of SM-524 Building Occupants

As an integrated Management and Employee Training Unit, this BEP emphasizes and defines the roles, responsibilities, and procedures required for emergency preparedness within the safety envelope of the facility. Managers are presented with information to assist them in their responsibilities, and meet compliance requirements for audits.  Residents are presented acknowledgment based training and common sense guidance in developing and remembering their personal emergency action plan, and they are given the opportunity to complete their required annual emergency training.

## Building Emergency Procedures

## TA-3, SM-524

BUILDING DESCRIPTION/LOCATION/ACCESS

SM-524 is located approximately 65 yards off of Diamond Drive, south of building 1690 (Center for Nonlinear Studies).  SM-524 has open access to the east and west sides of the building.  SM-524 is accessible by vehicle only in the parking lot located on the east and south sides of the building. SM-524 is a single story building with two exterior entrances/exits. The work performed is technical and administrative office/computer work. There are no laboratories, but there is a computer room which has additional cooling and electrical requirements. The exterior doors are access controlled by badge readers and by key core T-105. The residents of SM-524 are staff, postdocs, students, visitors, U.S and non-U.S. citizens, and are all members of, or associated with, Theoretical Division.

(Specific building hazards/Run Sheets are on file with EM&R)

ACCOUNTABILITY/EVACUATION & SWEEP PROCEDURES

Upon hearing any alarm (audible, visual, or vocal), all personnel shall immediately evacuate the building and report to the nearest muster area designated for that building.

When evacuating the building please observe the following rules:

(1)  Do not take drinks or food with you.

(2)  Evacuate in a quiet and orderly manner.

(3)  Be observant of visitors and assist them in evacuating the building.

- Do not re-enter the building, or go back to your office for personal items.

- Be safe when crossing parking lots and roads on the way to the muster area.

- Report to a muster area for roll call, check-in with the Assembly Point Leader (APL), usually the person with the Building Roster.

Once at the Muster Area:

- Follow instructions from your Group Management or the Person in Charge.

- Do not smoke, keep discussions to a minimum, and assist if needed

- Do not re-enter the building until the all clear signal is given by the Command Post

- DO NOT LEAVE the muster area unless authorized to leave by the Person in Charge or your Group Management.

Upon notice to evacuate the building, designated personnel (in-house resident/tenant only) will sweep the designated area checking for remaining personnel and/or obvious hazards, problems, and them proceed immediately to the muster area. At the muster area, roll call information will be collected and accounted for by the APL.. The APL will report to the Person in Charge (usually the person with the two-way radio).

The Sweeper’s Responsibility:

- Walk the area and tell everyone to evacuate immediately. Be sure to knock on closed doors and don’t assume any office is unoccupied.

- Exit the building immediately after sweeping and report to the muster area.

- Take roll call for the building once at the muster area.

- Document the people in your sweep zone that are not accounted for.

(3)  Identify areas that have not been swept.

(4)  Give the information to the Assembly Point Leader.

At the muster area the roll call information will be collected and accounted for by the APL.  The APL will report via runner to the Incident Command Post and relay the following information to the Incident Commander and the Facility Manager/Designee (FM/D):

- Which areas were swept

- Any information gathered during the sweep

- Which areas were NOT swept

In the event there is not a Facility Representative available at the Command Post, information should be relayed directly to the Incident Commander.  The Facility Representative will keep the Incident Commander updated on this and any other information.

HANDICAPPED EMPLOYEE(S)/GUEST(S) EVACUATION

The person who removes the sweep zone tag will identify any employee/guest having a handicap, permanent or temporary, which would hinder their timely evacuation and assure they are evacuated to the assembly area.  If emergency responder assistance is required, the assigned assistant shall immediately notify the APL so personnel and equipment can be requested immediately through the Incident Commander.

NOTIFICATIONS PROCEDURES

Upon noticing any situation which is perceived to be capable of causing immediate harm to people, property, or the environment, anyone can and should:

- Pull the handle on a fire alarm pull box if immediate evacuation of the area seems necessary.

Please:   “DO NOT USE PULL BOXES FOR SUSPICIOUS PACKAGES/BOMB THREATS, INSTEAD DIAL 911.”

b. Instructions:

- Call 911 if emergency response personnel is needed.

- If a pull box alarm was pulled, call and tell 911 operator why alarm was pulled.

- If building was evacuated due to an automatic alarm, call and give 911

operator any information gathered during the sweep and evacuation

(i.e., broken water pipe, toaster set off smoke detector, workers cut

a power line, no visible sign of why alarm went off, etc.).

c. Bomb Threat:

- Reference the Bomb Threat Call Checklist (see Appendix A of this Building    Emergency Plan or go to: http://int.lanl.gov/orgs/hr/resources/news/2005/pdfs/BombThreat.pdf)

- Evacuate the building

- On any phone call 911, (preferably from an office phone, when calling from a cell phone, these calls get routed to Santa Fe or Albuquerque and then get forwarded to the LAPD), 667-7080 Central Alarm Station, or PTLA (TA-64). If none of these were done, personnel should call EM&R directly at 667-6211.  EM&R will notify ESH-7 (Occurrence Investigation Group), designated Facility Manager, and the appropriate personnel required for response.

RETURN TO NORMAL OPERATIONS/RE-ENTRY PROCEDURES

Re-entry is the first entry made after evacuation in order to perform mitigation or determine the area safe for building personnel to return.  This must ONLY be done by emergency response personnel at the direction of the Incident Commander.  This decision will be made in conjunction with the Facility Representative at the Incident Command Post and with all information available on building hazards, the incident, and safety considerations.

Return to normal operations is the point in an incident when the facility is turned back over from the Incident Commander to Facility Management.  The Facility Representative must participate in a face-to-face briefing with the Incident Commander to determine any recovery tasks that may still need to be accomplished as a result of the incident.  If there are none, the facility may be reoccupied immediately.  Otherwise, the responsible Facility Representative will direct personnel when to return.

SHELTER-IN-PLACE

Shelter-in-place procedures involve being able to close all exterior windows and doors and turning off all ventilation equipment that involves outside air.  Depending on building configuration and operations, sheltering in place can be possible in a single area or in multiple areas within a building.

The location of shelter-in-place can be anywhere you feel would be safe.  If there is a conference room that would be big enough to fit all of your employees or even the entire building can be a shelter in place.  You want it to be somewhere that does not have a lot of windows.  If you use the entire building you want to have the correct tools to seal up any windows/openings.  You might want to have a towel for under the doors or plastic for the windows.

- Upon advisement to shelter-in-place, proceed to the designated shelter-in-place area designated by the Incident Commander, Facility Manager, or designee.

- If needed, while in route to the shelter-in-place area, place a handkerchief or cloth over your mouth and nose to help prevent possible inhalation of contaminants.

- Close and lock all windows and doors (Locking provides for a tighter seal).

#### SPILL & CONTAINMENT PROCEDURES

- Get away from the spill (uphill, upwind).

- Isolate the area.

- Identify the hazard, if possible.

- Notify proper response personnel.  If the spill is small and site personnel have been trained and proper equipment is available, local notifications will suffice.  Otherwise, call 911 or notify EM&R (667-6211).

###### APPENDIX A: Training Requirements

##### TA-3, SM-524 SITE-SPECIFIC EMERGENCY

##### TRAINING

New Resident & Annual Refresher Training Acknowledgment

All LANL employees and long-term visitors/affiliates are required to receive and understand site-specific emergency training. It is management’s responsibility to ensure that the annual emergency site-specific training requirements are met.  Course Number 17398, CNN Building Emergency Plan for TA-03 is the required course for meeting the site-specific emergency training responsibilities as a resident employee/visitor at TA-3, SM-524. This course is available on-line at http://www.hr.lanl.gov/TIOCourses/TIOAha.asp?CourseNumber=17398. After you have read the Resident TA-3 SM-524 Building Emergency Plan and completed the training acknowledgment, you will have completed your site-specific emergency training responsibilities as a resident employee at TA-3 SM-524.  You will be required to participate in individual training annually.  Update briefings of the Building Emergency Plan will be conducted as needed.

In order to be effective in remembering these emergency procedures, take the time to walk the evacuation routes to your assembly and shelter-in-place areas.  Locate the emergency pull boxes, and emergency information maps in your work area, and develop a personal emergency action plan in your mind, as to what your response will be to emergency situations.

###### APPENDIX B: Checklist and Acknowledgement

After reading the TA-3, SM-524 Building Emergency Plan, review the following checklist.   Initial each item you understand, and know your response during an emergency.  If there are items which you do not understand, ask your manager to expand, clarify, or define in more depth the actions you should take.

Checklist

_____ 1. My Workstation is located at TA-3, SM-524, Room: .

_____ 2. Location of Evacuation Maps.

_____ 3. Location of Emergency Pull Boxes.

_____ 4. Dial 911 when you need to reach the Fire Department

_____ 5. Contacting the Laboratory Emergency Management and Response Office (667-6211).

_____ 6. Contacting the building Facility Management Team (See 24 Hour Emergency Contact listing).

_____ 7. Notification and procedures for suspicious packages or bomb threats (including provisions for after-hours notification).

_____ 8. Response to and reporting of unusual events ( i.e. smell of smoke in the building).

_____ 9. Tagging of all personal items and keeping such items in your possession. (Not listed in BEP, however required by security at LANL.)

_____ 10. Security requirements (varies between organizations, and is provided by your Organization Safeguard and Security Officer).

_____ 11. Disposal requirement for hazardous waste, if applicable. (Call waste coordinator for information/directions.)

_____ 12. Evacuation Instructions.

_____ 13. Shelter-in-Place instructions.

_____ 14. Building Sweep Procedures

_____ 15. Muster area location.

_____ 16. Sweep Instructions (Roll Call).

# Building Emergency Plan (BEP) Training Acknowledgment

COMPLETE AND SUBMIT TO T-11 GROUP OFFICE, MS-B262 or TA-03, SM-524, RM-118.

Organization: __T-11________________________________   Date:   ______________

Work Station Location TA-3, SM-524,  Room : ____________

Employee Signature:  ____________________________  Z# : ________________

Print Name:  _________________________________________________________

Organizational Line Manager: _____________________________________

Print Name:  ___Robert C. Albers________________________________________

Notice to Organizational Training Representatives

This completed Acknowledgment Form must be kept on file (for every employee) in your Organization’s Records.  In the event of an audit by LANL or the DOE, this is the compliance documentation which will be requested.

###### APPENDIX C: Bomb Threat Checklist

REMEMBER: Remain calm and obtain as much information as possible!

- If possible, signal to a second person that you are receiving a bomb threat.

  - Instructions for second person

  - Dial 911

  - Ask that the Emergency Operations Center be notified of the bomb threat and give them the telephone number the call is coming in on.

  - IF you have a phone that allows you to listen in to the conversation, take notes.

- Be calm and listen carefully.

- Do not interrupt or antagonize the caller.

- Try to develop a rapport by being sympathetic.

- Take notes.

  - Time and date call received

  - Time caller hung up

  - Exact words of the caller

  - Describe the caller's voice: (male or female, young or old, accent, tone of voice. Is the voice familiar? Who does it sound like? Other voice characteristics)

  - Background noise

Questions to ask

- When is the bomb going to explode?

- Where is the bomb right now?

- What kind of bomb is it?

- What does it look like?

- Why did you place the bomb?

- Where are you calling from?

- What is your name, address, and telephone number?

(Believe it or not, many bomb threat callers will give this information just because they are asked to furnish it.)

###### APPENDIX D: TA-03, SM-524 Floor Plan

###### APPENDIX E: Roster of SM-524 Building occupants