# Emergency Management Program

DATE:     SAMPLE

OPERATING UNIT:		Canteen									  OPERATING UNIT MANAGER:

| Mission Critical System | Potential Problems | Contact for Assistance in Preparing for Potential Problems | Preparations to Make to Minimize Potential Problems | If there is an interruption in operations due to loss of the Critical System, then: Assess the situation for: Action required: |
| --- | --- | --- | --- | --- |
| 1. Lighting (Emergency Lights Available) | Without electrical power the canteen will need to shut down. | Contact Chief Facilities Management for possibility of emergency power. No contact with Safety Office is required. | No preparation during canteen non-business hours. Closed to the public. In a power failure during business hours, staff should be informed of route of egress and will evacuate through free and clear egress route. | Determine extent of outage – is it confined or throughout department. | Evacuate staff from work area to an area with emergency power (lighting). Staff could be assigned to work in conjunction with Dietetics, or will be made available for the labor poll and may be used to support other areas of the facility. Confer with the Associate Director for further guidance. |
| 2. Electrical Power (Generator Power Available) | Without electrical power canteen will need to shut down. 80% of equipment runs w/electric power. Walk-in refrigerators have no emergency power from generators, but are on the switch. | Contact Chief Facilities Management for possibility of emergency power. No contact with Safety Office is required. | a) Decrease refrigerated supplies. b) Acquire non-perishable food supplies to utilize in lieu of perishables. | Determine the extent of the outage and the projected length of the outage. | Staff could be made available for the labor pool and may be used to support other areas of the facility. Contact utilities for activation of switch when excess power is available (excess power is possible depending on the hospital’s workload and weather conditions leading to savings of A/C). Confer with the Associate Director for further guidance. |
| 3. Steam Distribution | Without steam the canteen will not have capability for dishwashing. | Chief Facilities Management. | a) Assess quantity of paper products required. b) Assess distribution procedure for paper products. | # of prospective customers Waste handling capabilities with use of paper products. | a) Distribute paper products. b) Place increased waste containers to handle paper product waste. |
| 4. Heating, Ventilation & Air Conditioning (HVAC) | Without heating/cooling will need to shut down. | Chief, Facilities/ Engineering | a) Assess need for portable heating/cooling. | a) Assess need for heating and cooling units. | Deploy supplemental heating and cooling units. |
| 5. Room or Hood Exhaust | No exhaust out of cooking hoods. | Chief, Facilities/ Engineering | Assess need for portable exhaust fans | Safety to staff and visibility. | Deploy supplemental exhaust, if available. Stop cooking on griddles/grills. |
| 6. Water Delivery | Without domestic water, Canteen services would be interrupted. | Chief, Facility Management Service | a) Assess quantity of domestic water required. b) Acquire ample supply of domestic water. | a) Assess quantity of bottled water required. b) Assess need for distribution of water for cleaning utensils. | a) Deploy domestic water. b) Deploy alternate means for washing serving utensils. |
| 7. Water Conditioning Or Drinkability | Without domestic water, Canteen services would be interrupted. | Chief, Facility Management Service | a) Assess quantity of domestic water required. b) Acquire ample supply of domestic water. | a) Assess quantity of bottled water required. b) Assess need for distribution of water for cleaning utensils. | a) Deploy domestic water. b) Deploy alternate means for washing serving utensils. |
| 8. Waste Stream (Sanitary, Solid, Liquid, & Biohazard) | Build-up of waste. | Chief, Facility Management Service | Acquire ample supply of waste bins/bags. | Assess method for waste management | a) Implement alternate waste handling procedures. b) Place spare waste bins/bags. |
| 9. Critical Supplies | No impact |  |  |  |  |
| 10. Communi- cations (Telephone, Radio, Intercom, Nurse Call; etc.) | Loss of phones will impede the departments ability to communicate with medical center staff and external contacts | Chief, IRM | Assess those sections – Canteen, Burger King, Retail Store – that need to have communication. Obtain hand-held two-way radios or cell phones from EOC. | Assess for those areas requiring communications. | Communications mode will be merely to monitor against theft/ vandalism of the areas that are closed. |
| 11. VISTA & Other Computer Applications | No Impact. |  |  |  |  |
| 12. Alarms (Fire, Code Blue, Security, Medical Gases, Nurse Call, Refrigeration; etc.) | With out active alarms the risk of theft /vandalism increases in all sections (canteen, Burger King, Retail store, offices). Canteen service will have no fire and smoke alarms. | Chief, Police Presence is required to secure cash in the safety box. | Canteen and retail store are under electric alarm – Need to be secured and monitor. Walk-in refrigerators, office, safety box, and Food department are alarmed to graphic control. | Conduct continuous reassessment of the area for theft / vandalism. | Assign staff to monitor the area. |
| 13. Elevators & Other Vertical Transport | No impact. |  |  |  |  |
| 14. Transport Systems (Robotic, Pneumatic Tube, Tracked Vehicle; etc.) | No Impact. |  |  |  |  |
| 15. Central Medical Gases (Oxygen, Medical Air, Vacuum) | No impact. |  |  |  |  |
| 16.Security Pick-up of Money | An interruption in “Brinks” services will affect the canteen because escorting the money/cash to the bank becomes an issue. | Contact Chief of Police. | a) Obtain Police escort to bring cash to the bank or secure money in the safety box. b) Establish alternate to vendor contract. | Assess contacts for Brinks services. | a) Contact alternate vendor. b) Contact police to implement emergency procedures. |