# V.	Implementation of Monitoring

There is a growing movement in the United States of Tribal agencies taking an increased interest in ambient air quality issues on Tribal lands.

Tribes wishing to examine ambient air quality issues on their Reservations or Tribal lands should have a strategy in place as they develop their work plan and program strategy.  Tribal agencies often decide that the best way to assess the current air quality situation is through the use of ambient air quality monitors.  A strategic approach to monitoring should incorporate specific planning stages so that monitoring time and money is spent wisely.  Consideration of the following sections will help Tribes plan and carry out an appropriate strategy.

- Objectives

The type of air monitoring sampler to be used should depend heavily on the monitoring objectives the Tribe has developed concentrating on what they want the data to provide.  Such reasons might include, but are not limited to:

- To determine the location and levels of the highest concentrations expected to occur in the area covered by a monitoring network (potentially to establish official status as attainment/non-attainment)

- To determine concentrations that are representative of longer averaging periods or a broader geographic area

- To assess potential toxic hot spots

- To assess visibility

- To ensure protection of PSD increments

- To determine impact on ambient pollution levels of significant local source categories

- To determine baseline concentration levels (to compare to future levels to measure changes and try to determine source of changes)

- To study pollutant transport issues in order to understand how the tribal area is being impacted by upwind sources and what those sources are

- To assess mercury and other persistent bioaccumulative toxics (PBT) deposition

- To develop control strategies

- To perform model validation

- To aid in public air quality reporting and forecasting

Four important questions should be considered by the Tribe before monitoring begins:

- Why are we monitoring?

- What are we monitoring?

- Who in the tribal organization will watch the results as they come in, and how?

- What could our response or plan be if our monitoring data indicates unhealthy conditions?

Tribes need to consider what purpose the data collected will be used for.  Validated, defensible data may be needed for applications such as attainment/non-attainment designation purposes.  If a Tribe wishes to make such a designation, a Federal Reference Method (FRM) or Federal Equivalent Method (FEM) monitor must be used for the pollutant of concern.  These are monitors that have specifically been approved by the EPA to use for assessing compliance with the National Ambient Air Quality Standards (NAAQS) for that pollutant.  If a tribe is not monitoring to demonstrate compliance, other types of monitors could be used.  For example; the type of PM filter samplers used in the IMPROVE program, a TEOM-based continuous PM monitor, or passive badge-type ozone monitors.  These types of monitors have not been approved by EPA for compliance purposes but are still considered to be a viable form of monitoring.  A Tribe might choose one of these unofficial monitors over an FRM or FEM based on ease of operation, cost, simpler access to laboratory services, or other reasons.

Tribes should be aware that data collected with federal money, such as EPA grants, is considered to be in the public domain and EPA’s expectation is that eventually the data will be accessible to the general public.  Data collected during a limited start-up period while a Tribe is still working out problems can be an exception if agreed to with the EPA Regional Office.  If a Tribe wants to keep data confidential, it cannot be collected using federal funds.

- Pollutant Selection

The Tribe should research a complete list of technical information resources on local, regional and even national levels depending on the pollutant of interest and type of monitoring incorporated.  A Tribe can identify which pollutants are of the greatest concern through existing methods and tools such as:

- EPA Air Quality System (AQS):  A national database that tracks air monitoring data from state, local, tribal, and other entities

- Toxic Release Inventory (TRI)

- Other tribes and tribal consortiums who have their own monitoring programs

- Data from existing programs such as Interagency Monitoring of Protected Visual Environments (IMPROVE), Clean Air Status and Trends Network (CASTNET), National Atmospheric Deposition Program (NADP), etc.

- State and Tribal Emission inventories (many tribes do their own inventory prior to making monitoring decisions)

- Private industry monitoring data

- Climatology data

- Observations from other environmental programs within the same tribe (i.e. water quality, forestry, wildlife management)

- Federal Land Managers

- Regional Planning Organizations - Central Regional Air Planning Association (CENRAP), Western Regional Air Partnership (WRAP), Visibility Improvement State and Tribal Association of the Southeast (VISTAS), Mid-Atlantic/Northeast Visibility Union (MANE-VU), Midwest RPO, etc.)

In correlation with the data, the type and need of monitoring should also focus on the category of source.  The category of source will help determine what method of monitoring should be utilized and if it is worth pursuing.  Categories can be broken down as follows:

- Stationary or Point (please see SCC codes for full list)

  - Factories

  - Power Plants

  - Chemical Process Industries

  - Petroleum Refineries

- Area (please see AP-42, Chapter 13)

  - Dry Cleaners

  - Road Dust

  - Gas Stations, Auto Body Shops

  - Woodburning Stoves, Burn Barrels

  - Crop Burning/Prescribed Burning

- Mobile (please see AP-42, Chapter xx for full listing)

  - On-Road

    - Trucks (Semi tractors/trailers)

    - Buses

    - Cars

  - Off-Road

    - Farm vehicles

    - Construction Equipment

    - Trains

    - Recreational Vehicles (Boats, ATV’s, Snowmobiles, etc.)

Tribes can assess the risks that different pollutants pose by studying unit risks and reference concentrations.  This information is available on EPA’s website (National Center for Environmental Assessment (NCEA) , Integrated Risk Information System (IRIS), Technology Transfer Network – National-Scale Air Toxics Assessment) .  The EPA has its own assessment group called the Risk Assessment Forum, made up of senior EPA scientists.  This forum “was established to promote Agency-wide consensus on difficult and controversial risk assessment issues and to ensure that this consensus is incorporated into appropriate Agency risk assessment guidance”.  Tribes should be aware that the scientific understanding of these pollutants may change over time, as more data becomes available.  Also, different organizations and experts can have different assessments of these substances.  Tribes should make sure they are looking at data from credible sources.

Tribes that are considering monitoring or that are already conducting monitoring are encouraged to watch for proposed changes in the NAAQS or scientific data on health risks with regard to the pollutant of potential concern.  For example, if a NAAQS standard were to be lowered for PM10 (or any other criteria pollutant that was being monitored for) because new evidence indicated the adverse health impacts suspected were no longer an issue, then the tribe would want to re-evaluate the purpose of the monitoring and consider whether it is still necessary.  To keep abreast of changes in the standards, tribes can use a variety of sources.  Information is often available through the National Tribal Air Association (NTAA), through EPA outreach efforts, through Regional Tribal Operations Committees (RTOC), or on EPA’s Ambient Monitoring Technology Information Center (AMTIC) website.

- Monitor Selection

Once the pollutant parameter (or pollutant wished to monitor for) has been identified, the sampling methodology should be decided upon.  The final decision on what type of monitor to use will focus on many factors such as (but not limited to):  cost; accuracy; level of tribal monitoring experience; seasonal conditions; expected program continuity; the need to monitor for one or multiple pollutants; monitor maintenance/service requirements; and conditions at monitoring site (electricity and phone line availability).  Ambient air monitors can be broken down into two general groups, manual and continuous:

- Manual Samplers

  - Time averaged data

  - Sampling Media

    - Filters, Cartridges, Canisters, Precipitation samples

  - Analyzed in separate step in a qualified laboratory

  - Most do not need a shed or trailer, may need shade

- Continuous Samplers

  - Instrumental methods (clarify)

  - On-line data (clarify)

  - Continuous data stream

  - Most or all need a shed or trailer

This step is a difficult and important one.  For example, many Tribes are involved in particulate sampling.  They may choose to deploy a couple of manual PM2.5 samplers in an area of their Tribal land.  This will require an operator to collect the filters to have them analyzed by a lab.  The Tribe may choose a continuous PM2.5 monitor, which will involve a data logger to record readings and can be downloaded from a modem to a remote site.  However, a continuous monitor may be more complex and may require a shed or trailer and more maintenance.  Or the Tribe may choose to use mini-volume samplers which are more portable and can be used in a mobile status but do require laboratory analysis.  Tribes can obtain laboratory services to weigh PM filters from TAMS without charge, or for a fee (payable from EPA grant funds) from the IMPROVE program or from national contracts administered by EPA.  The Tribe may want to host monitoring sites in existing national programs, such as the National Atmospheric Deposition Program/Mercury Deposition Network (NADP/MDN) and CASTNET, which offer assistance in all areas of operation.  In these program a Tribe would typically contribute staff time for site operation and maintenance but the national program would pay for laboratory analysis and/or program costs.  Before joining a national program, the Tribe should make sure that the program is a good match for the Tribe and that the monitoring objectives of the program are similar to the Tribe’s.

Tribes are strongly encouraged to collect meteorological data at the monitoring site.  Usually a minimal station measures wind speed and direction, relative humidity, temperature, barometric pressure, and precipitation, and uses a data logger for gathering and storing data.  This involves purchasing and operating additional pieces of equipment.  There are standard procedures for submitting meteorological data to the AQS and/or AIRNOW data systems so that the Tribe and others can access it.

- Siting

A monitoring site should be chosen based on what information the tribe wishes to capture and the objectives described in Section A.  Some Reservations are so large that monitors are needed in multiple locations or a Tribe may wish to place multiple monitors in order to study transport issues.  Multiple monitors for different pollutants may be placed at the same site, which provides a more robust data set for understanding what is happening to air quality and why.  Needless redundancy in monitors at one site should, of course, be avoided.

A site should be chosen with consideration for the following concerns.  The site should be in a location where data collection objectives can be addressed (i.e. close to a school, close to a certain source, rural for background levels, etc).  Each monitor has set criterion for siting to make sure that it monitors real ambient air.  This should be investigated for each monitor before a purchase or site is decided upon.  Most importantly, monitors need to be situated a certain distance away from trees or other tall obstructions, such as buildings, and the monitor probe needs to be situated a certain distance above the ground.  The site should be easily and safely accessible by staff, should allow for electrical and phone hook-up, or solar power if feasible, and should minimize opportunities for vandalism.  The site should be accessible year-round, through spring rains and winter snowfalls, and should allow for location of a shed or trailer, if needed.  It is useful for the site to be accessible by a vehicle carrying equipment and gases needed for quality assurance audits.

Because many Reservations are located in rural areas, impediments may exist to running electrical or phone service to site locations.  Tribes are encouraged to look at alternative solutions, such as radio, satellite, or Internet-based communications systems and generator, wind, or solar-derived power.

Depending on the type of monitor chosen and the local climate, a monitoring shed or trailer that is weather-tight, temperature-controlled, and has adequate space may be needed.  If a trailer is not available, shed kits can be purchased locally.  The Tribe should consider future monitoring needs when arranging for a shelter so that extra space and adequate power sources are available.

Tribes should consider the timing involved in installing a monitor.  For example, a grant received in late summer may result in monitors being placed the following spring.  Time is needed to receive the grant money, order the monitor, prepare the site, write the QAPP, contract laboratory analysis, and learn how to operate the monitor.  These steps can take months and can be slowed by weather conditions.

- Funding

Once a Tribe has identified pollutants of concern, found a site, and has chosen a specific monitor funds should be sought.  Initially, a Tribe may choose to work with their EPA regional contacts to begin development of a work plan, which will be required in order to receive EPA funds and will be used to organize the direction of the air program.  This is especially important in the planning phase as many of the air monitoring development steps can be incorporated into the work plan objectives and thus funded by EPA.  This also obligates EPA to provide guidance and technical assistance throughout the whole process.

The EPA offers ambient air funding under Sections 103 and 105 of the Clean Air Act.  Section 103 grants are for air program planning and short-term projects while Section 105 grants are for operating an ongoing air program and for long-term projects.  Section 103 grants have the advantage of not requiring the Tribe to match any of the federal funds, while Section 105 grants require a Tribal match of between 5% and 40% of the total amount of the grant.  Further information on Tribal match requirements can be found in Section 10 of this document or 40CFR § 35.575 or 40CFR § 49.4{q}.  A Tribe should start out with a 103 grant and can then apply for 105 funding after the air program has been established.  Tribes can also perform some air-related activities under EPA’s General Assistance Program (GAP).

Other funding options are also available to tribes and should be explored.  As more Tribes apply for EPA air grants, competition has become tighter.  In addition, EPA’s budget is not growing and may shrink in the future.  This means that tribes may have to look at alternate funding sources.  Creative opportunities can be found for Tribes to link their interests to those of other organizations.  For instance, National Oceanic an Atmospheric Administration (NOAA) grants could be awarded for Tribes to obtain meteorological data that is of interest both to NOAA and the Tribe.  A United States Department of Agriculture (USDA) – Concentrated Animal Feeding Operations (CAFO) grant could be obtained to fund ammonia monitoring (of interest in regional haze considerations).  Indian Health Services (IHS) may fund monitoring if it is believed that air emissions are directly causing health problems on the Reservation.  These are just a few suggestions for places where Tribes can look for funds.

As mentioned in Section A, the desire to keep data confidential may also lead tribes to pursue other alternatives.  Some tribes pay for their monitoring using tribal funds.  Other Tribes have obtained monitoring money through Regional Planning Organizations (RPOs) to collect monitoring data beneficial to both the Tribe and the RPO.  Some Tribes work with state agencies to share monitoring costs and responsibilities and then share the data with the state agency. Some air-related activities can coincide with other federal grants.  For example, a meteorological station could serve to gather air-quality data and could also gather data for alternative wind energy feasibility studies under a Federal Energy Resources Commission grant.

Before any kind of funding request can be made, cost information must be collected for the monitor and for ancillary costs.  Ancillary costs vary widely with the type of monitor needed and where it will be located.  These may cover:  construction of a monitoring shed or purchase of a monitoring trailer; installation of electricity and phone service (these costs may be considerable in rural areas); purchase of a data management system; lab costs; purchase of calibration devices; spare parts for monitor; tools for working on the monitor; shipping costs to the lab; and lab services themselves .   If the Tribe is becoming part of a program, such as IMPROVE, many of these costs will be combined into an annual program fee.  Some monitors and/or calibration equipment are very complex and must be shipped back to the vendor for servicing, so these costs should be considered.  Vendors often offer services to visit the site and install more complex monitors and provide training sessions to Tribal staff.  Though this may be costly, the Tribe may want to consider this option.  A dedicated computer, palm, or laptop may be purchased for downloading data, analyzing it, and uploading it to various databases or websites.

Tribes may attend training courses to prepare for monitoring.  The Institute for Tribal Environmental Professionals (ITEP) and the Tribal Air Monitoring Support (TAMS) center offer courses including:  air toxics monitoring; meteorological monitoring; writing a QAPP; dataloggers; air quality computations; data management; PM monitoring; ozone monitoring; Tribal Emission Inventory Software Solution (TEISS); and EPA’s Air Quality System (AQS).  Tribes should consider which of these courses they may want to attend and plan for travel costs.

- Quality Assurance/Quality Control

Depending on the Tribe’s objectives (see Part A of this section) the data obtained must be quality assured to an acceptable level.  Data is useless if the Tribe is unable to show that it was collected properly (i.e. verifiable and defensible).  Data collected for designation purposes is going to be held to a higher standard than data collected for informational purposes, however in any case a Quality Assurance Project Plan (QAPP) and Standard Operating Procedures (SOPs) will be needed, along with regularly scheduled audits, verifications, and calibrations.

The most important step in a quality assurance/quality control (QA/QC) program is learning to operate and service the monitor properly.  ITEP courses are available for some types of monitors but not all.  Some vendors offer regular training courses at their facilities or offer services to set up the monitor and train the staff for a daily fee plus travel costs.  Neighboring tribes, tribal consortiums, or state or local agencies may also offer assistance.  If a Tribe is a member of an RPO, arrangements might be made for some training.  Federal agencies such as the Forest Service and Park Service sometimes operate monitors and may be able to offer assistance.

The Tribe must prepare a QAPP and SOP’s for all monitoring activities.  This can be a months-long process, depending on the complexity of the monitor and the purpose the Tribe will be using the data for.  Once the Tribe has finished writing the QAPP, it is submitted to the Regional Office for approval.  Although QAPPs are supposed to be written and approved before any data is collected, this may be unrealistic for tribes.  It is hard to write a QAPP for a monitor one has never seen or operated.  Although QAPPs may be copied from another tribal or state agency, the operation of the monitor still needs to be understood by the Tribal operators because the operators must follow the QAPP on a daily basis.  Ancillary equipment also needs to be understood for proper operation and maintenance.  Weather instruments, data loggers, electric surge protectors, and associated computers fall under this category.

The EPA’s OAQPS  is working with ITEP to develop a generic ambient air monitoring QAPPs software product.  This product is planned to be available in September of 2006.  The EPA is also considering the implementation of a Quality Assurance certification program in its draft National Monitoring Strategy.  This program would establish a national accreditation process to certify QA personnel.  Although participation would not be mandatory, the program would help foster consistency in training and QA requirements across the nation.

Calibrations of all equipment at the monitoring site must also be scheduled regularly.  Calibrations test the monitor’s response at a number of data points and at a zero point.  Calibrations are performed for any of the following reasons (not an exhaustive list):  initial instrument installation; instrument Zero/Precision/Span drift tolerances are exceeded; maintenance or repairs affect calibration; instrument is physically relocated; instrument has not been calibrated within 3 months.  Calibrations can be performed by Tribal staff and are required regularly enough that this is the most efficient scenario.  A Tribe can also hire a contractor.

Zero/Span/Precision (ZPS) checks are performed on some continuous monitors.  These instruments are subject to drift and variation in internal patterns over time as part of their normal operation.  The calibration relationship between what the instrument is reading and the true value of what it is measuring must be checked periodically through ZPS checks.  These checks are done very routinely and it is probably best for Tribal staff to learn to perform them.  Learning these techniques will help with learning to do calibrations and general maintenance.  Procedures can be found in the instruction manuals that come with the monitor or can be copied from other state or tribal agencies.

Field blanks are used to assess contamination that might occur as a result of inadequate sample container preparation, or contamination that may occur during shipping or handling in the field.  Blanks are used only for physical samples sent for laboratory analysis.

Tribe must schedule regular audits, which are formal detailed studies of one or more aspects of a project conducted by independent auditors.  Audits study specific criteria previously determined by the site manager to be critical to the success of the project and test a monitor’s response to a known input.  There are system audits and performance audits.  Performance audits check how far “off” a monitor’s response is from its input and checks the slope of a best-fit line.  The system audit tests the gas standards used for calibrations, spans, and precision checks; shows that the data pass validity tests concerning completeness, reasonability, span limits, and precision points; verifies siting criteria; and ensures that recommendations from previous have been implemented.

EPA audit guidelines and requirements can be found in guidance documents for each specific pollutant.  Auditing equipment needs to be completely independent of equipment used for routine calibration and QC checks on the equipment.  Audit criteria should be included in a Tribe’s QAPP so the Tribe can assess when a monitor has passed an audit and when it has not.

In each EPA Region, EPA employees have designed monitoring trailers and conduct traveling audits each summer for tribes in those regions (Regions 1 and 2 share a trailer).  Audits can also be performed by other Tribes, TAMS staff, state agencies, or by contractors.  A Tribe may even consider contracting out the entire operation of a monitor, although these costs may be prohibitive and contractors may not have the same dedication or interest for the project as the Tribe.  In addition, learning how to plan, implement, operate and maintain a monitoring network is often believed to be a crucial part of Tribal capacity-building.

The EPA also requires Tribes to write Quality Management Plans (QMP’s), which cover the operation of an entire office.  The EPA looks at a Tribe’s QMP along with its QAPP’s when awarding funds.

- Data Management

During and after the data collection process, Tribes need to handle the data they produce.  Continuous monitors collect large volumes of data that need to be recorded as it is generated.  Data from all types of monitors needs to be stored until it can be reviewed and quality assured.  Once the data is quality assured, it needs to be corrected, flagged as necessary, and placed in a repository where other interested parties can view it.  Since this document contains an entire section (Section VIII) devoted to data storage and access, we will offer only a short synopsis here.

ITEP offers Data Analysis courses where Tribes can learn basic statistical techniques used for demonstrating compliance with the NAAQS.  Certain data needs to be uploaded to the EPA’s AQS or AIRNOW databases if funded with EPA grants.  Some Tribes place their data on a website so Tribal members can access it on a day-to-day basis.  A number of tribes work with state agencies or RPO’s and offer their data on those agencies’ websites.

Refer to the independent multi-tribe real time data system that is similar to Texas’s.  Tim Hanley can describe it???

Part of data management involves site and instrument logbooks where information and results are recorded manually.  A site logbook should be kept to detail maintenance activities, problems at the site and how these problems were corrected.  For example, power outages and equipment failures need to be noted.  In addition to a site logbook, a separate logbook should be kept for each individual monitor to record the results of calibrations and other procedures.  Logbooks serve as the “institutional memory” of a site or monitor and can help staff members remember when a specific problem occurred and how it was addressed.

- Data Access

One goal of collecting monitoring data is to allow the general population to see monitoring data as soon as it is processed and quality-assured.  Sensitive individuals can then choose to limit their physical activity if pollution levels are high.  Data can be useful to other groups who are studying air pollution for scientific or policy-setting purposes.  All data gathered using federal funds should to be sent to the EPA so it can be included in national databases.  Some tribes also choose to use their own website to make data available to their constituents.  Other tribes work with other agencies or contractors to disseminate their data.

Refer to the independent multi-tribe real time data system that is similar to Texas’s.  Tim Hanley can describe it???

# Footnotes

For example, the cost of lab and shipping services for an IMPROVE protocol site is $33,000 per year.