Quality Assurance Plan for Ground-Water Activities

U.S. Geological Survey

Nebraska Water Science Center

For Administrative Use Only

United States Department of the Interior

U.S. Geological Survey

Updated April 2005

Contents

INTRODUCTION	4

ORGANIZATION AND RESPONSIBILITIES	5

TRAINING	5

PROJECT PLANNING AND REVIEW	5

Development of Work Plan	6

Project Reviews	7

Data Collection	7

Documentation of Technical Procedures	8

Instrumentation	8

DATA PROCESSING, REVIEW, AND STORAGE	9

DATA ANALYSIS	9

PUBLICATIONS	10

ARCHIVING	10

AUDIT	11

Appendixes

Quality Assurance Plan for Ground-Water Activities

# INTRODUCTION

This quality-assurance plan provides formal procedures for documentation and review of policies, practices, and activities that are used by the Nebraska Water Science Centerto assure the technical quality and reliability of District ground-water products. The plan is based upon the following principles:

District ground-water programs and projects will be planned efficiently and effectively to provide information needed to evaluate National water problems and local and State problems that are nationally relevant. Technical and scientific activities will be performed in accordance with applicable WRD practices and policies. Ground-water activities will be accomplished by technically qualified personnel performing at a level commensurate with their training and experience. All such activities and projects will receive appropriate and timely review for completeness, reliability, and credibility. Remedial actions will be taken to correct any observed technical or project deficiency.

The intent of the ground-water quality-assurance program for ground-water activities does not differ in any substantial way from similar plans addressing water-quality and surface-water activities. However, because of the greater emphasis on data synthesis and interpretation in ground-water studies, and because of the limited number of formal standards to govern the conduct of such studies, the ground-water plan places greater emphasis on the technical review process. For example, there is no single established technique used to select "correct" values of storage coefficient or transmissivity for use in a ground-water flow model or other publication. The formal training, breadth of experience, and technical judgment of the Project Chief, the Investigation Section Chiefs, and the District Ground-Water Specialist contribute to the standards against which interpretive products are compared.

Procedures for quality assurance generally conform to guidelines presented in the report, "A quality-assurance plan for district ground-water activities of the U.S. Geological Survey" (Brunett and others, 1997). A copy of that document is included in Appendix A.

# ORGANIZATION AND RESPONSIBILITIES

Suggestions for the organization and responsibilities for conduct and review of district ground-water projects, data collection, and other activities are listed on pages 3 and 4 of the National Ground Water Quality-Assurance Plan (Appendix A).

For the most part the Nebraska Water Science Centeremulates the National plan in that The District Chief is ultimately responsible for ground-water quality assurance in the Nebraska District; however, by delegation the District Chief shares certain aspects of quality assurance with the Field Office Chiefs, the District Section Chiefs, the District Ground-Water Specialist, and all Project Chiefs. These individuals, in turn, share their responsibility with every person in the District who collects, stores, interprets, or disseminates these data and interpretations of those data.

# TRAINING

The qualifications of project personnel relative to the technical demands of the work will be determined by the Project Chief and the District discipline specialists. Training to remedy deficiencies will be recommended. Training, including that on the job, will be used to ensure technical competence or to rectify inadequacies. The Hydrologic Studies Section Chief, the Central Nebraska Basin NAWQA Chief, and the Hydrologic Data Section Chief will develop annually a plan to provide the required training for personnel under their supervision who engage in ground-water activities. These plans will be presented to the District Chief at the beginning of each fiscal year.

Training will be provided routinely to field personnel by appropriate USGS or outside specialists to ensure uniformity in data-collection procedures. In those activities that involve the use of instrumentation--pressure transducers, data loggers, flow meters, geophysical equipment, etc.--training of field personnel by the Field Office Chiefs, the Hydrologic Studies Section Chief, or appropriate District discipline specialist is essential. Field personnel are expected to be familiar with the manuals on all instrumentation. These manuals will be filed in the Hydrologic Data Section.

# PROJECT PLANNING AND REVIEW

Project planning includes project staffing and preparation of a project-planning document (work plan). The District Chief has the responsibility for the selection of the Project Chief, but the selection will be made in consultation with the Chief of the Hydrologic Studies Section, NAWQA, and the District discipline specialists as appropriate. All projects will receive technical review at established times during the life of the project.

## Development of Work Plan

The development of a project work plan typically begins in discussions with the cooperator or within the District staff, regarding a ground-water problem or need. At this point a prospective Project Chief, in consultation with appropriate District discipline specialists, section or unit chiefs, and experienced ground-water personnel, develops a project proposal. Generally, this proposal indicates the overall purpose, scope, objectives, strategy, duration, relevance, general personnel requirements, funding, and products of the study. The District has adopted a project proposal review procedure, which is designed to ensure that proposals meet the specifications established by Central Region policy.

Following approval of the project proposal by Region, the Project Chief, using the project proposal, writes a standard project description for MIS, and this description and a preliminary budget are entered into BASIS+. The Project Chief, if necessary, then develops a detailed work plan and budget. The work plan summarizes data needs and clarifies technical approaches, identifies work elements, itemizes costs, defines total personnel needs, and provides deadlines for each work element (Appendix B). A timeline chart is developed to illustrate the major milestones and their intended deadlines. Requirements for work by various support units in the District, by the cooperator, or by contractors are clearly identified and scheduled.

A report plan is developed as an integral part of the project work plan. The plan identifies the type, scope, and intended audience of all planned reports. It also provides a preliminary outline of each report, including a description of major illustrations and tables. Preparation of the work plan will require the Project Chief to confer with the appropriate Hydrologic Studies Section Chief, the District specialists, cooperators, and any other persons, USGS or non-USGS, who may offer guidance or insight into the problem being investigated.

The work plan and reports plan will meet the financial and temporal limits already placed on the study and will schedule the submission of the final report(s) so that Regional approval will be granted and publication can occur prior to the conclusion of project funding. The Hydrologic Data and Studies Section Chief, the appropriate District discipline specialists, the District Reports Specialist, and the District Chief will review the work plan and report plan. Review may also be sought from Regional or Headquarters personnel, or from the cooperating agency. The Project Chief will develop the final work plan and report plan in response to the review comments.

If, during development of the work plan, it becomes clear that the technology, funding, personnel, or time indicated in the original project description are inadequate to meet project objectives, two versions of the work plan will be completed. In one of these versions, the objectives will be reduced to fit the originally estimated resources; in the other version, the resources will be increased to meet the original objectives. These two plans, after appropriate internal review, will form the basis for further negotiations with the cooperating agency and the District staff on modifications to the original proposal. A final plan will be developed from the results of these negotiations. The general personnel requirements of the project will be determined in the early stages of project planning and modified as the work plan is developed. As the need for each position on the project staff is established, selection procedures will be initiated and the staff assembled. This process will normally overlap the process of developing the work plan.

## Project Reviews

All projects will receive technical review at established times during the life of the project. All projects will be reviewed quarterly. Each quarterly review will focus on a specific aspect of the project and the Project Chief will complete a quarterly review form that will serve as the documentation for the review.  Reviews will be held in the first month of each quarter of the fiscal year (October, January, April, and July).  In addition, ongoing and frequent, informal reviews are conducted during team meetings and during discussions among project staff, supervisors, discipline specialists, and others, as appropriate. The Investigative Studies Section maintains notes and review forms from the District project reviews.

## Data Collection

The types of data collected, the standards governing the precision and accuracy of these data, and the frequency with which data are collected may differ among the various District ground-water projects, according to the objectives of the studies. The Project Chief must clearly document and provide to the project personnel instructions regarding data collection so that the project's data needs are satisfied. Routine and non-routine data-collection activities and procedures are documented by project or support personnel and are recorded in appropriate field notebooks. These notes are to be kept with project files and archived upon project completion.

Supervision of field procedures and activities is an essential responsibility of the Project Chief who must assure through personal observation that field personnel are fully qualified. The District ground-water specialist will review the data gathering activities of all ground-water projects on a semi-annual basis during project reviews. Training, including that on the job, will be used to ensure technical competence or to rectify inadequacies.

Individual field practices are spot-checked by the Field Office Chiefs. The frequency and intensity of these checks generally are matched with each field person's individual capabilities and experience. However, even the practices of the most experienced and capable field personnel are checked on at least a biennial basis, with more frequent checks reserved for personnel of lesser experience.

# Documentation of Technical Procedures

Procedures used for the collection of ground-water data are derived from a series of technical procedure documents, in technical memoranda, Techniques of Water-Resources Investigations reports (TWRIs), and a number of other publications. The primary documentation of technical procedures is discussed in Appendix C, District Technical-Procedures Documents. In the event that a technical-procedures document is not available, techniques of data collection and analysis are discussed in the "National Handbook of Recommended Methods for Water-Data Acquisition, Chapter 2--Ground Water." This document contains discussions of all the major types of ground-water data collection, together with extensive bibliographies relevant to each activity. Standards for ground-water data collection will be based on the methods outlined in that chapter, or in the references contained therein.

Techniques for the collection of ground-water samples are given in TWRIs, memoranda issued by the Office of Water Quality and in publications with technical guidance provided by the District water-quality specialist. The District ground-water specialist will ensure that full coordination is arranged, and when applicable, that suitable training in water-quality procedures is provided.

# Instrumentation

Analog, and basic data recorders (BDRs) are used by the Nebraska Water Science Center to collect continuous water-level data. The SUTRON models 8100 and 8400 are the principal BDR-type recorders used by the District. Manuals on each of these recorders are on file in the District Office and also are provided to all field personnel.

At each recorder well site, an information card is in an accessible place in the recorder shelter, or inside the recorder if possible, to provide information about the well and recorder, to assist anyone inspecting and/or servicing the recorder. Information listed includes well name, grid number (County, Township, Range, and Section) time scale (if analog), water-level scale (if analog), land-surface datum, height and description of the measuring point above land-surface datum, and an example of the computation necessary for starting the data collection of the recorder.

All recorders are serviced on a 4- to 6-week basis with recorders serviced monthly or quarterly by USGS personnel depending on the project objectives and funding. Recorders are calibrated within 0.03 feet of the value indicated by the tape-down or pressure measurement, and the recorder clock time is recorded and checked for accuracy prior to changing the calibration of a recorder instrument. The water-level or pressure measurement that indicated a recalibration was necessary are repeated and verified. Continuous data are examined in the field to determine if any problems occurred since the previous site visit. Water-level and timer errors are recorded on the analog chart, or entered into the BDR digital data file. A record of recorder instrumentation is maintained in the District Ground Water Information Unit (GWIU) data log-in file. Information recorded in this file includes well name and identification numbers, aquifer, and recorder serial number. Changes in recorder instrumentation are documented in this file by date, serial number, and type.

To service recorder installations, technicians are supplied tools, spare recorders and timers, and batteries. It is the responsibility of the technician to replace (or repair if possible) equipment within 1 week of detection of damage or malfunction. Battery voltages should be checked during each site visit and replaced when necessary. Rechargeable batteries removed from the site are recharged for future use. Non-rechargeable batteries that are replaced are disposed of properly. In addition, routine inspection and lubrication of recorder instruments is conducted during each site visit. If the recorder site is inoperative due to vandalism or other serious damage, and major repairs are indicated, the field office personnel will report in writing to supervisor within working 3 days of detection. The report should include a description of the damage and an estimate of cost and time of repair. At random intervals, Field Office Chiefs will visit  selected recorder stations to check that the recorders are being serviced and maintained properly, and that proper procedures are being used to assure acceptably accurate water-level measurements and to minimize periods of lost record.

# DATA PROCESSING, REVIEW, AND STORAGE

Nebraska Water Science Center policy and procedures for ground-water data processing, review, and storage are contained in the District Data-Management Plan (Appendix D). The plan is an all-encompassing plan for data of all types, and ground-water data are an integral part of this overall plan.

# DATA ANALYSIS

The Nebraska Water Science Center uses numerous methods and procedures for analyzing the ground-water data collected in the field including statistical manipulation, graphing, contouring, spatial-data display, and numerical modeling. All analyses receive an interpretative review by supervisors, discipline specialists, and colleagues prior to publication. More rigorous review procedures are provided for analyses involving non-routine statistical analyses, aquifer testing, and numerical modeling.

For quality assurance statistical data analyses are always referenced in the publication presenting the interpretation. Aquifer-test analyses and documentation follow OGW policy and are reviewed and approved by the Regional Ground-Water Specialist before they can be released to the public. Ground-water flow and transport models are quality assured by an extensive review process by numerous experts culminating with the review and approval by the Regional Ground-Water Specialist. Documentation of all models follows the guidelines described in OGW Memorandum 96.04. If a data-analysis procedure is not one previously established and documented by the USGS the procedure must be described, reviewed, and approved by the appropriate discipline specialist and the District Chief prior to its use. The description should include enough detail so that reviewers can determine the validity of the analysis. Analyses that require only a short description can be included in the report where the data analysis is used. Longer descriptions must be stand-alone documents. All documentation of new analyses will be kept in the District discipline specialists- files. All reviews and their documentation will be kept on file with the appropriate discipline specialist for a minimum of 5 years.

# PUBLICATIONS

The Nebraska Water Science Center uses publications to disseminate its work to the public. Selected ground-water data collected at data sites that are part of the State ground-water network in any fiscal year are published in the Annual Data Report by the following April. Water-level data collected in the spring of any year are published in the State Ground-Water Conditions Report in the following July. Ground-water data collected as part of project work is published in a data report within 6 months of the end of the data-collection phase of the project, or in the final interpretive report for that project. The quality and accuracy of these publications is assured by the review process. All publications produced by personnel of the Nebraska Water Science Center go through a 10-step (minimum) process before they are approved (non-interpretive) or passed to the Central Region Reports Specialist for approval. These steps are found in figure 1. There can be more than two colleague reviewers, depending on the report complexity.

# ARCHIVING

Nebraska Water Science Center policy and procedures for archiving ground-water data are also contained in the District GWSI database (Appendix D). Archiving of ground-water models is documented in the District Model Archiving plan (Appendix E) and follows the guidelines set forth in OGW Technical Memorandum 93.01. Aquifer-test data and results are archived in files controlled by the District Ground-Water Specialist as prescribed by OGW Technical Memorandum 94.02 and 00.02 and maintained by the Data Management Unit. Approved and unapproved aquifer-test results are archived.

Archiving project information after a project has been completed is the responsibility of the Project Chief. Information subject to archiving includes (1) field notes that document physical observations about the project area, (2) hydrologic, geologic, or chemical data obtained from outside sources as a result of personal contacts, (3) field maps on which observations, measurements, geologic features, and data site locations were noted, and (4) measured data not stored in one of the District databases. The information should be given to the Data Management Unit for filing in the technical files organized by hydrologic system. Technical procedures or new data-analysis methods developed should be given to the District Ground-Water Specialist for appropriate archiving.

Figure 1.—Flowchart of the report review process for the U.S. Geological Survey-Nebraska District, November 2003.

# AUDIT

Audits are designed to ensure that all tasks described in the GWQAP are being performed. Audits will be performed during the Technical District Reviews to determine compliance with the GWQAP and associated documents and the effectiveness of their implementation. Audits also include observing field data-collection activities and reviewing office documentation. The following quality-assurance activities shall be performed by the Office of Ground Water.

Develop an Audit Plan to monitor compliance with the requirements of the GWQAP. Audits apply to all ground-water field and office activities. The Audit Plan identifies the activities to be audited, scope of the audit, requirements governing the audit organizations to be notified (if any), applicable documents, and tentative audit schedule. The audit shall, as a minimum, address the following questions:  Do training plans, work plans, technical-procedure documents, calibration records, and maintenance logs exist, are they complete, and are the plans and technical-procedure documents being implemented? Do data-management and archiving plans exist, are they complete and up-to-date, and are they being implemented?  Are project reviews being performed and documented according to the GWQAP?

Conduct the audit during the technical review of the District program.

Document all comments and recommendations in the technical review report.

Send all comments and recommendations to the Regional Hydrologist and the District. The Region is responsible to see that all recommendations are addressed. The Office of Ground Water will receive copies of all correspondence between the District and the Regional Hydrologist relating to audits and audit plans.

APPENDIX A: A QUALITY-ASSURANCE PLAN FOR DISTRICT GROUND-WATER ACTIVITIES OF THE U.S. GEOLOGICAL SURVEY

###### Contents										Page

ABSTRACT	3

INTRODUCTION	3

ORGANIZATION AND RESPONSIBILITIES	5

TRAINING	7

PLANNING	8

Work plans	8

Project Reviews	9

DATA COLLECTION	10

Documentation of Technical Procedures	10

Documentation of Non-Routine Activities	11

Instrumentation	12

Identification and Control of Samples	13

DATA PROCESSING, REVIEW, AND STORAGE	14

DATA ANALYSIS	16

PUBLICATIONS	17

ARCHIVING	18

AUDIT	18

SUMMARY	19

REFERENCES CITED	19

# ABSTRACT

As the Nation's principal earth-science information agency, the U.S. Geological Survey (USGS) is depended upon to collect data of the highest quality. This document provides the framework for collecting, analyzing and reporting ground-water data that are quality assured and quality controlled.

# INTRODUCTION

The Water Resources Division (WRD) of the U.S. Geological Survey (USGS) performs a wide variety of ground-water data-collection programs and investigations to assess the status of the Nation's ground-water resources. Results of these activities are used to aid the Nation in developing, managing, and maintaining its ground-water resources.

As the Nation's principal earth-science information agency, the USGS is depended upon to collect accurate data and produce factual and impartial interpretive reports. Methods for data collection and analysis that were developed by the USGS have become standard techniques used by numerous Federal, State, and local agencies and by private enterprises. Data collected by scientific organizations such as the USGS are being used increasingly by the public to define and examine a variety of natural resource and environmental problems. Many of these problems are addressed through an open, public process. As a result, scientific organizations are being challenged to demonstrate the credibility of their data on the basis of objective evidence rather than on the organization's history and reputation.

To address these demands and expectations, the WRD has implemented a program designed to ensure that all scientific work done by or for the WRD is conducted in accordance with a quality- assurance (QA) program. The Office of Ground Water (OGW), in coordination with the Branch of Technical Development and Quality Systems, has the responsibility to develop, coordinate, and implement the quality-assurance program for District ground-water activities.  As part of that program, the OGW has directed the preparation of a Ground-Water Quality-Assurance Plan (GWQAP), which covers all ground-water activities by District offices of the USGS. USGS Open-File Reports (OFR) 92-136 (Schroder and Shampine, 1992) and 92-162 (Shampine and others, 1992) outline the guidelines for preparing District quality-assurance plans and integrating the quality assurance into project work plans. Guidelines presented here are intended to supplement these two reports and provide more specific details related to ground-water activities.

A quality-assurance plan (QAP) can be defined as a formal document that describes the management policies, objectives, principles, organizational authority, responsibilities, accountability, and implementation plan of a responsible organizational unit or group for ensuring quality in its products. The implementation of a GWQAP will enhance ground-water data collected by the USGS by providing for the following:

Consistency (across projects, subdistricts, WRD, and so forth);

Accountability (to client, scientific community, and regulatory agencies);

Comparability (yields results of known quality);

Traceability (written record of how, who, and when work was performed, training, equipment, etc.);

Repeatability (documentation of technique that leads to the similar results time after time with the same accuracy).

This report is a quality-assurance plan for ground-water activities conducted by the USGS and is meant to complement quality-assurance plans for surface-water and water-quality activities and similar plans for District and general project activities throughout the USGS.

The purpose of this GWQAP is to establish a minimum set of guidelines and practices to be used by Districts to assure quality in ground-water activities. Included within these practices are the assignment of responsibilities for implementing quality-assurance activities in the District and establishment of review procedures needed to ensure the technical quality and reliability of the ground-water products.

This report presents quality-assurance policies pertaining to the collection, processing, analysis, storage, review, and publication of ground-water data. In addition, policies related to organizational responsibilities, training, and project planning are presented. These policies and practices pertain to all ground-water activities conducted by or for the District offices of the USGS. Ground-water activities include all tasks pertaining to data-collection programs, interpretive and research projects, and data management.

# ORGANIZATION AND RESPONSIBILITIES

Though quality assurance is a personal responsibility of all employees of the USGS, ultimate quality-assurance responsibility within each District lies with the District Chief. Clear statements of specific responsibilities promote an understanding of each person's role in the overall process of assuring quality and can help to prevent errors and deficiencies that may otherwise occur. Implementation and follow-up responsibilities lie with data-collection staff, project chiefs, section chiefs, discipline specialists, District Chiefs, regional specialists, and others. Even if quality-assurance responsibilities are ancillary duties for some employees, these functions are to be documented.

The following is a list of specific responsibilities of District personnel for implementing the GWQAP for ground-water activities.

The District Chief is responsible for:

Managing and directing the District program, including all ground-water activities.

Ensuring that ground-water activities in the District meet the needs of cooperating agencies, including state and local agencies, the general public, and the Federal Government.

Ensuring that all aspects of this GWQAP are understood and followed by District personnel.

Providing final resolution of any conflicts or disputes related to ground-water activities within the District.

Keeping District staff briefed on procedural and technical communications from Region and Headquarters.

Ensuring that technical reviews of all ground-water activities are conducted.

Ensuring that all publications and other technical communications released by the District are accurate and are in accord with USGS policy.

Ensuring that ground-water training is incorporated into each employee's training plan, where appropriate.

The Section Chief is responsible for:

Managing and directing ground-water activities assigned to the section and ensuring that the stated objectives are met in a timely manner.

Reviewing the work plans for ground-water programs and projects.

Providing the project chief with technical and administrative support as needed.

Creating, with ground-water personnel in the section, a training plan for each employee, where appropriate.

Reviewing ground-water reports under his or her direction.

Monitoring progress of ground-water project chiefs in implementing the GWQAP for their respective projects.

The Ground-Water Project Chief is responsible for:

Directing and conducting the technical work of the project, including all phases of data collection, data review, data storage, data analysis, and report preparation according to appropriate procedures.

Communicating project plans, progress, and problems to supervisors by providing written progress reports at periodic reviews.

Preparing written work plans, documenting project activities, and ensuring that data are placed in the USGS National Water Information System (NWIS) database, as appropriate, prior to project termination.

Maintaining a project file containing memoranda, personal communications, technical-procedure documents used, original data, and other documentation.

Ensuring that project activities are carried out in a timely manner.

Creating, with the supervisor, a personal training plan.

Archiving of project files, at the completion of the project.

Some of the duties of the District Ground-Water Specialist may be delegated to other personnel. For the remainder of this report, "District Ground-Water Specialist" will refer to these individuals. The District shall appoint a Ground-Water Specialist whose duties shall include but not be limited to:

Maintaining current ground-water technical expertise for the District.

Maintaining the ground-water technical-procedure documents file.

Consulting with the District staff on ground-water technical matters.

Advising on training needs for employees engaged in ground-water activities.

Participating in technical reviews of ground-water activities.

Reviewing ground-water-related project proposals.

Reviewing ground-water-related project reports.

# TRAINING

Employee training is an investment that has short-term and long-term benefits to District ground-water activities. The immediate benefits permit confidence that the work is being performed correctly and accurately. The long-term benefits provide for technically competent employees that are of great value to the organization. Because all work in the scientific arena is receiving increased scrutiny, the qualifications of ground-water personnel relative to the technical demands of the work to be performed must be well documented. Training already received as well as current and planned training need to be incorporated into a documented training plan for each employee. Periodic reviews of these plans by District management will help determine additional training needs.

The following quality-assurance activities shall be performed by the District:

- A written, reviewed, and approved training plan shall be prepared for each employee (including observers and volunteers, as appropriate) performing technical tasks relating to ground water.

Each training plan shall include an individual's short-term training needs, such as the knowledge and skills needed to perform currently assigned tasks as well as long-term training needs, such as skills needed to perform future tasks and for career development.

Training plans should be reviewed and updated at least annually.

Individuals shall receive appropriate training before assigned tasks are performed. Appropriate training includes new employee training, USGS National Training Center courses, mentoring, on-the-job training (OJT), vendor-provided training, and academic courses.

Each training activity shall be documented according to existing policy. The District shall establish a training file to facilitate cross-referencing by critical task and individual training. Qualifications of contractors performing tasks shall be documented. Qualifications of cooperators (Federal, State, and local agencies) performing tasks shall be to the satisfaction of the District Chief.

# PLANNING

Districts routinely conduct technical ground-water projects and data-collection programs. The success of these activities is dependent on a careful, deliberate, and systematic planning process. Quality-assurance requirements should be integrated into the project proposal, if one is required for the ground-water activity. Whether a ground-water program or project requires a separate quality-assurance plan should be evaluated on the basis of the complexity of the work, the needs of the District or cooperator, or other criteria as described by Shampine and others (1992).

A work plan shall be developed for every ground-water program or project. The work plan can be a part of the proposal or a stand-alone document. The complexity of the program or project will determine the detail of the work plan. The project proposal may satisfy the requirement of a work plan where ground-water activities are routine or highly standardized. The work plan shall include, as appropriate, data-collection and storage plans, equipment and instrumentation needs, data-analysis techniques, report plans, cost estimates, time schedules, availability of personnel, training needs, and other elements, as necessary. Without appropriate project planning (Green, 1991) and the documentation of

individual project tasks, quality objectives and project deadlines may not be reasonably known. Initial project/program planning can be guided by a detailed work plan; continued planning can be guided by periodic reviews.

## Work Plans

To quality assure work plans, the District shall perform the following steps:

- Work plans for programs with ground-water activities should clearly state that the GWQAP will be implemented.

To the extent practicable, work plans should state data-quality objectives and describe the strategies to collect data to meet the intended use. When developing data-quality objectives, broader network needs should be considered as well as immediate objectives. Data-Quality Objectives are those qualitative and quantitative statements developed by data users to specify the quality of data needed from a particular data-collection activity. For example, in order to describe land subsidence in an area, ground-water levels need to be measured using a particular method, at a particular frequency, and to a particular accuracy.

The work plan shall specify the means for cataloging and archiving all ground-water activities and files according to WRD policy (Hubbard, 1992).

Development of work plans might also include the following:

- A bibliographic search of available reports, articles, data, and other pertinent information.

Retrieval of relevant data from existing databases in order to determine the availability of and the need for additional data. Errors or inconsistencies in the database should be identified and corrected at this time.

Review of other USGS file (paper) data, such as field canvass sheets, water-level records, geophysical logs, lithologic logs, water-quality laboratory analytical sheets, or other original data.

## Project Reviews

Project reviews are conducted periodically by District management, technical advisors, or discipline specialists to ensure that project objectives are being met and to evaluate implementation of the GWQAP. Project reviews are used to maintain consistency in data collection, data analysis, and reporting. The following quality-assurance functions related to project reviews shall be performed by the District:

- The District shall establish and implement a ground-water program and project review schedule that considers the technical development and progress of the endeavor. The District shall schedule regular, periodic reviews such as quarterly reviews, or at the 10-, 40-, and 70-percent (10/40/70) milestones of the project. Regularly planned reviews shall ensure that the ground-water program or project is implemented and performed in a manner that results in a quality product done efficiently. Numerous Districts have used the 10/40/70 review process successfully. In general, the 10-percent review ensures that the project begins properly, that no major technical item is overlooked in the planning, and that the objectives can be accomplished with the proposed approach. The 10-percent review is scheduled after initial reconnaissance, bibliographic and database searches, and before any systematic data collection. A topical outline and initial report writing are begun at this early stage. An annotated report outline, including draft illustrations, and a base map typically should be completed at this stage. At the 40-percent review, data collection is well underway, preliminary conclusions made, and any problems in achieving project objectives should be identified. The 40-percent review shall confirm that all the tasks are on track to meet the planned objectives. The purpose of the 70-percent review is to ensure that all the data required to meet the objectives have been obtained, that the data-analysis process is on schedule and is yielding expected or reasonable results, and that the report is on schedule.

- The District shall develop a procedure for documenting project reviews. At a minimum the following information should be included in project review documentation:

Date of review.

Type of review (quarterly, 10/40/70, discipline).

Names of reviewers and/or attendees.

Response to recommended action items from the last review.

Status, plans, and problems with data collection, data analysis, and report writing.

Major findings.

Cooperator/customer contacts.

Training needs.

Recommended follow-up or action items.

Date for next review.

The District shall develop a procedure for archiving project review comments, addressing the presence or absence of project deficiencies and all actions to fix deficiencies or document why a fix cannot be made.

# DATA COLLECTION

## Documentation of Technical Procedures

Written records of exactly how data are collected are critical to establishing the consistency, comparability, repeatability, and traceability of scientific data. The methods used to collect a specific data set shall be documented and the documentation shall be maintained with the data. For routine field activities, technical-procedure documents are a means of ensuring that detailed documentation is generated prior to data collection

and shall be identified or prepared during the formal planning phase of the project, as applicable. A technical-procedure document is a detailed description of a sequence of actions to be used to collect data to ensure repeatability of the work and comparability of results.

If it is necessary to deviate from the technical-procedure documents when collecting data, then these deviations must be clearly described in the project records. When data-collection methods are new or experimental, a record of the conduct, progress, and results of these methods shall be maintained in a procedures notebook.

The following quality-assurance activities shall be performed by the District.

- Technical-procedure documents shall be prepared for routine field data collection that is performed in support of ground-water activities. The water-quality aspects of ground-water activities that are addressed in the quality-assurance plan for water quality need not be duplicated. Technical-procedure documents shall be in place prior to data collection and shall contain the following:

- A cover sheet that indicates the technical-procedure document number, title, author or compiler, reviewer, approval, effective dates for the procedure, and identification number for any technical-procedure documents superseded by the current technical-procedure document.

Purpose of the technical procedure; for example, "this procedure explains how to measure water levels within 0.01 ft (foot) by using a chalked steel tape."

Identification of materials and instruments used to collect data.

Quantitative statement of the accuracy of data collected using the procedure (for example, "to the nearest 0.1 ft") and limitations on the use of these data.

Statements about the advantages, disadvantages, and assumptions of the procedure.

Step-by-step instructions to collect data that would enable an independent, qualified person to repeat the work and produce comparable results.

A description of how data collected by using the procedure are recorded and preserved.

A description of samples to be collected or used, if applicable.

A listing of technical references used to compile the technical-procedure document.

Attachments (field forms, operator's manual, diagrams, and other pertinent supporting information).

The technical procedure used to collect data shall be indicated on the field form.

The District shall establish and maintain a file of technical-procedure documents.

- Technical-procedure documents shall be identified with a unique number and cataloged and indexed.

The file shall be maintained by the District Ground-Water Specialist or designee.

The file shall contain all current and superseded versions of technical-procedure documents.

Deviations from approved technical procedures shall be documented by the Project Chief and reviewed by the District Ground-Water Specialist to determine if a formal revision of the technical-procedure document is warranted.

New or revised technical-procedure documents shall be reviewed by an independent reviewer and approved by the District Ground-Water Specialist.

- Reviews shall address the following:

Applicability and appropriateness of the selected methods for the intended purpose.

Correctness of facts, figures, tables, and equations.

Completeness and clarity of step-by-step instructions and technical content.

Evaluation of the stated accuracy of the procedure.

Approval of technical-procedure documents used within the District will be the responsibility of the District Ground-Water Specialist. Upon approval, the technical-procedure document shall be placed in the District file and a copy of it forwarded to the Regional Ground-Water Specialist.

## Documentation of Non-Routine Activities

- When data-collection methods are new, non-routine, or research oriented and involve a high degree of professional judgment or trial-and-error, an active record of the conduct, progress, and results of the data collection shall be maintained in a procedures notebook. These records shall be prepared and maintained in accordance with the following:

- Prior to use of a procedures notebook, the project chief shall consult with the District ground-water specialist concerning the appropriateness of a non-routine method for planned data collection.

Each procedures notebook entry shall include the names of the individuals performing the work, the date on which the work was performed, and the name of the individual making the entries.

At the conclusion of the method development, procedures notebooks shall be placed in the project file.

The results of the technique developed in the procedures notebook shall be reviewed by the District Ground-Water Specialist to ensure that work is proceeding in a technically appropriate and relevant manner.

If the technique that has been documented in the procedures notebook becomes a routine procedure for the District, then a technical-procedure document shall be developed.

## Instrumentation

All instruments, devices, and equipment (including steel tapes) used to collect ground-water data are categorized as instruments. Because of the complexity of some instruments, their effect on the quality of the data may be unknown or unquantifiable. To ensure the consistency, comparability, and repeatability of collected data, instruments must be identified, calibrated, maintained, and operated in an appropriate manner.

Calibration is the comparison of the output from an instrument to a standard or to the output from another instrument or procedure of known accuracy in order to detect, correlate, report, or eliminate by adjustment variations in the accuracy of the instrument being evaluated.

The following quality-assurance activities shall be performed by the District.

- Instruments used to collect data shall be identified with a unique identifier on the field form.

Calibration procedures and schedules shall be established for each instrument based on the stability characteristics of the instrument, required accuracy, intended use, manufacturer's recommendation, and other conditions that may affect the quality of the data. The calibration procedure and schedule shall be documented in the technical-procedure document that requires use of the instrument, or in a stand-alone technical-procedure document if not satisfactorily documented in the user's manual for the instrument. Instruments shall be identified by type, manufacturer, and model. Calibration shall be performed whenever the accuracy of the instrument is suspect, regardless of the calibration schedule. Instruments consistently found to be out-of-calibration shall be repaired or replaced.

A log shall be maintained for each instrument requiring calibration. The log shall contain all information pertinent to calibration, whether performed by District staff or by an outside organization or vendor. Calibration documentation recorded in the log shall include:

- Name of organization and individual performing the calibration.

Identification of the instrument by type, manufacturer, model, serial number, or other unique and permanent identifier.

Identification of calibration standard, including the range and accuracy.

Identification of the document that describes the calibration process.

Date of current calibration and date or milestone for next scheduled calibration.

Records of instrument readings before and after any calibration.

Data collected with instruments found to be out-of-calibration shall be evaluated to determine the effect on the intended use of the data. Affected data shall be discarded or their limitations documented in the database and in any application of the data.

All instruments used to collect data shall be operated in accordance with the manufacturer's manual, unless otherwise documented. Modifications to the manufacturer's operating procedure shall be appended to the manufacturer's manual, which shall be kept with the equipment at all times. Duplicate manuals for all instruments shall also be kept on file. Operating procedures may be included in technical-procedure documents.

Instrument maintenance shall be performed in accordance with the manufacturer's recommendations. A log shall be used to record maintenance performed.

## Identification and Control of Samples

During the course of many ground-water investigations, samples of various types of earth materials are collected to supplement field observations or to allow laboratory tests, analyses, and measurements that are not possible to perform in the field. Types of samples include rock core, drill cuttings, soil, and outcrop. Because these samples can be critical scientific evidence to support interpretations, samples must be easily identifiable, handled and stored in a controlled manner, and be traceable. The relation between samples and the data set they represent must be maintained.

The following quality-assurance activities shall be performed by the District.

- Develop a unique identifier which shall be placed on each individual sample or sample container using materials and methods that are clearly visible, legible, and durable.

- The unique identifier, as well as other information that is critical for the intended use of a sample (such as orientation), shall be recorded on field forms and laboratory logbooks.

If a sample is subdivided for analysis, the sample identifier shall be transferred to each part of the sample, or its container.

Establish a sample-control system to record information pertinent to each set of samples. This may be achieved by maintaining a logbook, a set of forms, or other appropriate documentation. The sample-control system shall contain the following information for each sample:

- Unique identifier

Type of sample and general description

Source location specifications (x, y, z)

Date and time of collection

Reference to technical-procedure document or procedures notebook describing sample collection, handling, preservation, transportation, and storage.

Storage location

Sample-control system documentation shall be placed in the project file.

# DATA PROCESSING, REVIEW, AND STORAGE

A data-management plan describes the procedures used for data processing, review, and storage, and may also include archiving. After ground-water data are collected, they often are processed using one or more procedures, such as the application of time or datum corrections, and then are stored in computerized or physical files. Descriptive information on data-collection sites, such as well construction data and location, also should be stored. In general, data are most accessible and useful to the project chief and other District employees, as well as to those outside the District office, if they are stored in a computerized database. Storage in a single database also enables interpretations to be more easily verified and repeated. All water data collected as part of the routine data collection of the WRD, which are all ground-water data collected by basic data programs and District projects (OGW Technical Memorandum 93.03) (see appendix), must be stored in computer files of the USGS National Water Information System (NWIS). In addition, "all data collected by others -- such as cooperators, universities, or consultants

--that are used to support published USGS documents and not published or archived elsewhere, shall be placed in NWIS" (Hubbard, 1992). Exceptions to these requirements are spatial data coverages and other data for which appropriate database capabilities do not exist in NWIS.

A quality database is maintained by:

checking database files against original data files to ensure accuracy,

performing internal crosschecks of the data in the database to identify anomalous data, and maintaining the original data in paper or electronic archives to ensure integrity.

Original data are those data -- from automated data-collection sites, laboratories, outside sources, and non-automated field observations -- unmodified as collected or received, once put into conventional units (engineering units, generally with a decimal) (Hubbard, 1992).

The following quality-assurance activities shall be performed by the District.

- All original data in paper form shall be placed in project or data-collection program files. Original data in electronic form shall be stored in NWIS. All original data shall be preserved unmodified as collected or received.

All data collected as part of the routine data collection of the WRD, and all existing data collected by WRD and others that are used to support published USGS documents and not published or archived elsewhere, shall be placed in NWIS unless excluded under current WRD policy (Hubbard, 1992). Excluded data are spatial data coverages and other data that cannot be stored in NWIS

The District shall prepare and implement a District Data-Management Plan, which documents established policies, conventions, and responsibilities for data processing, data review, handling project and data-collection program files, and computerized databases. OFR 94-61 (Martin and Cohen, 1994) offers an example of such a document. The District Data-Management Plans shall:

Describe the processing of each type of data through such steps as entry on a field form, data review, data entry, and filing of the original data. Data processing that is described in a technical-procedure document may be referenced.

Include descriptions of filing systems for site data and maps, local well-numbering systems, requirements for field-checking sites, and District-specific database management policies and practices.

Indicate how the District ensures that data are reviewed promptly after data collection. Data reviews shall verify that as data are collected, they are entered in the database and that the data in the database have been checked against the original data, including the processing of electronic data to original data, application of shifts and datums, correction of transducer drift, and so forth. Data reviews shall be documented during project reviews.

Document any databases external to NWIS. Documentation should include a description of data elements (data dictionary), information about the database table or file structure, copies of customized program code, and information about any algorithms used by the database to calculate results for storage or output. If the database is described in a separate report, the documentation may be referenced by the District Data-Management Plan and a copy of the documentation kept with the plan.  Include a plan for performing periodic internal checks of ground-water data in NWIS and any other ground-water databases to identify and correct anomalous data.

Data shall be reviewed promptly after any data-processing procedure is completed to ensure that the procedure was correctly applied and that the results are consistent both internally to the data set and with other data for the same site. This review shall be performed prior to publication or other dissemination to the general public and prior to the technical review of publications that contain the data or that use the data in interpretations. The District shall establish a review schedule for data in addition to or in conjunction with other reviews. Reviews should be scheduled and implemented for data-collection programs as well as interpretive projects.

# DATA ANALYSIS

Analysis of ground-water data includes activities ranging from simple statistical applications to the development and application of complex, numerical models. Quality assurance of data analysis begins with a well thought out and detailed work plan that describes methods and approaches of data analyses. Analysis procedures shall be reviewed as part of the proposal and work plan development, and during project reviews as appropriate. The methods by which data, or the results of data analyses, are "interpreted," such as the insight involved in the interpolation of water-level data to produce a potentiometric-surface map or the interpretation of the results of model simulations, cannot be completely documented. However such interpretations must be appropriately qualified, including descriptions of model limitations and data uncertainty.

Reviews of data-analysis procedures ensure that selected analysis techniques are appropriate for meeting project objectives. Data-analysis techniques are identified, at least preliminarily, during development of the project work plan. During project reviews, at about 10 percent of project completion, after a better understanding of the project is developed, data-analysis procedures should be reviewed for suitability in meeting the project's objectives. At about 40 percent of project completion, data-analysis techniques should be reviewed to ensure that preliminary analyses produce valid results. If modifications to procedures are warranted, these modifications are documented in review comments. At a point when data analysis is complete, at approximately 70 percent of project completion, all data that were collected for a project, and the results of intermediate and final data analyses, are assembled and reviewed. Original data, data analyses, and data that were collected but not used in analysis, along with reasons for the exclusion, are documented as a part of the project review and placed in the project file.

The following quality-assurance activities shall be performed by the District.

- Data-analysis procedures shall be referenced and new data-analysis procedures, including those implemented by software, shall be documented in a report released prior to, or as part of, the report giving the results of that technique. Documentation might include:

A description of the theoretical basis and computational procedure in sufficient detail to perform the analysis, all data requirements or options for the data-analysis procedure, and comparisons of the technique with known or accepted solutions.

Office of Ground Water Technical Memorandums 79.04, 91.04, and 96.04 (see appendix) have outlined documentation requirements for data-analysis procedures implemented by software.

- The results of data analysis shall not be presented at a finer spatial or temporal resolution than supported by the input data. The results shall not be displayed with an accuracy that exceeds the capability of the analysis or the accuracy of the data-collection methods. Interpretations of data analysis shall be appropriately qualified, including descriptions of limitations and data uncertainty.

Districts shall establish a written policy for reviewing data-analysis procedures and documenting the review. The results of any data analysis shall be reviewed, prior to release, to ensure that the analysis is valid. The reviewer shall be provided with any necessary background information to adequately perform the review. The District shall establish a procedure for resolving the reviewers' concerns that ensures that the review comments are carefully considered and revisions made, if appropriate, and that direct interaction occurs between the project chief and the reviewer. The District also shall establish and implement an archiving process for the review documents.

# PUBLICATIONS

Disseminating information to Congress and the general public has been required of the USGS, since its creation in the Organic Act of 1875. The report review process ensures the quality of the written report, which is the culmination and final result of the training, planning, data collection, and data analysis. To satisfy national responsibilities and to produce accurate and timely reports, the District shall perform the following quality-assurance activities.

- All ground-water data collected in USGS data-collection programs and interpretive and research projects shall be published in a timely manner. Data in NWIS that have been reviewed and approved are available to the general public, and can be considered published.

The District Chief in consultation with the Office of Ground Water shall approve, in writing, any exceptions to the requirement to publish all data, including data collected under an agreement of confidentiality.

Data furnished by sources other than WRD may be used for analysis and published if the source of the information approves and if (1) the data have been appropriately quality assured, or (2) the data have not been thoroughly quality-assured but are described in terms of appropriate qualifications and limitations. In either case, the source of the data must be acknowledged. Care should be taken to assure that data are published with the correct number of significant figures.

Reports shall be reviewed and approved according to current District and WRD policy.

# ARCHIVING

Archiving is the final step in the processes of data collection, analysis, and interpretation. Although the report represents the summary of the current work, the data and its interpretation should be available for further analysis.

Archiving is the systematic process of storing data and information to protect it from change or loss, by providing the necessary security.

Electronic archiving is the systematic process of removing data from active, on-line computer storage and preserving it with the capability to recover the data.

To quality assure the archiving process, the following steps shall be performed by the District:

- All data shall be archived as specified by current WRD policy.

All model related computer files and appropriate simulation results shall be archived as outlined in OGW Technical Memorandum 93.01 (see appendix).

All aquifer-test data and results shall be archived as outlined in OGW Technical Memorandum 94.02 (see appendix).

An Archiving Plan for the District, which documents the disposition of all project information upon completion of District projects, shall be established. The Archiving Plan shall document the archiving process and the responsibilities of personnel assigned to archiving tasks. The disposition of technical-procedure documents and procedures notebooks developed for an individual project should be described in the Archiving Plan.

Internal California District policy (Instruction 1641.1A, July 9, 1991, Ron Fogelman, California District, written communication) and Indiana District data management and archival policies (Martin and Cohen, 1994) are examples of archiving plans. Parts of the project files may be incorporated into the District-wide file system, as appropriate.

# AUDIT

Audits are designed to ensure that all tasks described in the GWQAP are being performed. Audits will be performed during the Technical District Reviews. A more detail section is found in the Quality Assurance Plan for Ground-Water Activities.

# SUMMARY

This report provides a plan to direct the quality assurance of ground-water activities in District offices of the USGS, and presents policies pertaining to training; planning; data collection, processing, review, analysis, and storage; publications; archiving; and audits as they relate to these activities. The implementation of a GWQAP will enhance the consistency, accountability, comparability, traceability, and repeatability of ground-water activities of the USGS.

# REFERENCES CITED

Green, J.H., 1991, WRD Project and Report Management Guide: U.S. Geological Survey Open-File Report 91-224, 152 p.

Hubbard, E.F., compiler, 1992, Policy recommendations for management and retention of hydrologic data of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-56, 32 p.

Martin, J.D., and Cohen, D.A., 1994, Policy and procedures for the management and archival storage of data collected for hydrologic investigations of the U.S. Geological Survey, Indiana District: U.S. Geological Survey Open-File Report 94-61, 36 p.

Schroder, L.J., and Shampine, W.J., 1992, Guidelines for preparing a quality assurance plan for district offices of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-136, 14 p.

Shampine, W.J., Pope, L.M., and Koterba, M.T., 1992, Integrating quality assurance in project work plans of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-162, 12 p.

APPENDIX

Copies of the following policy memorandums are appended.

Office of Ground Water Technical Memorandums 79.04, 91.04, 93.01, 93.03, 94.02, 96.04.

QUALITY CONTROL -- Documentation of computer programs used for aquifer modeling

UNITED STATES DEPARTMENT OF THE INTERIOR

GEOLOGICAL SURVEY

RESTON VIRGINIA  22092

Code 4351 5016

February 26, 1979

GROUND WATER BRANCH TECHNICAL MEMORANDUM NO. 79.04

SUBJECT:  QUALITY CONTROL -- Documentation of computer programs

used for aquifer modeling

Significant modifications to existing models or newly devised

computer programs used to simulate aquifer processes should be

documented before the programs or interpretations based on them

are released.  This memorandum amplifies earlier instructions

regarding the need to document modifications of existing computer

programs, and provides guidelines for documentation of new

computer programs.

Ground Water Branch Technical Memorandum No. 75.11 (a copy is

attached) provided guidelines for reporting and documenting

aquifer modeling analyses.  Item #7 of that memo indicated, among

other things, that if the computer program used is "substantially

different" from a published version, the "significant

modifications" of the original program should be described in an

open file or published report.  A "significant modification" to a

computer program means any change in the computational scheme that

can give computed results that may differ from those that would be

obtained using the published version of the program.  Changes in

format of data input and/or output are not considered significant.

However, changes in the approximating equations and/or the

algorithm used to solve those equations are considered

significant.  If the description of those modifications is

extensive or is believed to disrupt the continuity of the report,

those modifications can be described in an appendix to the report.

A newly developed program, representing a computational approach

that is different from published approaches, should be documented

in a report released prior to, or as a part of, the report giving

results of a hydrologic analysis using that program.  The

documentation should precede, or be coincident with, release of

copies of the computer program for use outside of the Geological

Survey.  The "documentation" of newly developed programs and major

program modifications should include at a minimum a description of

the computational procedure in sufficient detail to provide enough

information to independently develop an equivalent computer

program.  However, if a newly developed program is intended for

widespread use in the U.S. Geological Survey, it would be

preferable for the documentation to include a generalized flow

chart, program listing, definitions of program variable,

instructions for the preparation of the data input, and a sample

of the output.  These requirements are intended to assure that

adequate information on computer programs used to make hydrologic

analyses is released in a timely fashion.

(s) Gerald Meyer

Chief, Ground Water Branch

Attachment

WRD Distribution:  A, B, S, FO, PO

Policy for the documentation of non-U.S. Geological Survey computer programs used for analysis in ground-water projects

In Reply Refer To:                                August 14, 1991

Mail Stop 411

OFFICE OF GROUND WATER TECHNICAL MEMORANDUM NO. 91.04

SUBJECT:  Policy for the documentation of non-U.S. Geological

Survey computer programs used for analysis in ground-

water projects

The purpose of this memorandum is to define policy for the

documentation of computer programs that will be used or cited in

ground-water project reports that receive Director's approval.

The long-standing policy of the U.S. Geological Survey (USGS) is

that a program written by USGS employees to perform other than

routine tasks must be documented (either in a separately

approved report or in a report that makes use of the program)

before it can be cited or used in a USGS report (see Office of

Ground Water Technical Memorandum No. 79.04).  However, no clear

policy has been defined for required documentation of programs

written by outside sources.  The proliferation of programs from

non-USGS sources makes it important that guidelines be

established for use of these programs in USGS investigations.

The two classifications for computer programs written outside of

USGS are:  (1) public domain and (2) proprietary.  Public-domain

programs are not copyrighted.  Common sources of public-domain

programs are universities and other government agencies.

Proprietary programs are developed by businesses or

organizations in order to sell them to customers and are

copyrighted.

Public-domain programs are held to the same requirements as in-

house programs.  The policy for use of a public-domain computer

programs is:

1. The program must be documented in a published report.

2. The documentation must describe both the theoretical basis

for the calculations performed by the program and the

implementation of the theory.  This documentation should show

that the program functions as described, and if not shown,

independent checks must be undertaken by the user.  The results

of any testing should be placed in the project files and made

available to reviewers of project reports.

3. The source code for the program must be included in the

documentation or be available from a formal distribution center.

Proprietary computer programs cause policy difficulties due to

the secrecy that vendors require in order to protect their

products.  Complete documentation as described above is

generally not provided for proprietary programs; in particular,

the source code is usually not available.

The broad purpose of the requirements for documentation of in-

house programs is to ensure a high probability that the programs

function correctly, ensure that the theoretical basis is

explained and defensible, allow others to learn from our work,

and allow others to reproduce and evaluate our work.  In order

to attain the same purpose without requiring disclosure of

source code, the following policy has been adopted for the use

of proprietary computer programs in USGS reports.

1. The proprietary program must be available for purchase by

anyone.

2. The vendor must provide documentation with the program that

describes how to use the program and the theoretical basis for

calculations.  If the standard documentation provided by the

vendor does not contain an adequate description of the

theoretical basis, then the user must contact the vendor to

obtain the theoretical basis and must reference or describe this

theory in the reports that use the program.

3. The user of a proprietary program must make tests by

comparing results from the program to known solutions to show

that the program functions as claimed by the vendor and as used

in their project work.  Users should retest new versions of a

program to make sure errors have not been introduced.  The

results of the testing should be placed in the project files and

made available to reviewers of project reports.

This policy is intended to insure the reliability and

reproducibility of our work.

Any question regarding this policy and the applicability to

specific software should be clarified in the early stages of a

project by contacting the Office of Ground Water.

Thomas E. Reilly

Acting Chief, Office

Ground Water

Distribution:  A, B, S, FO, PO

cc:  OGW File/Chron--MS 411

WGS:WRD:AWHarbaugh:ves:7/22/91

Dir:  vestockd/harbaugh/10.doc

File Code:  Tech MM. 91

PROGRAMS AND PLANS--Establishment of a National Policy to Archive Ground-Water Flow and Transport Models

In Reply Refert To:                          October 28, 1992

Mail Stop 411

OFFICE OF GROUND WATER TECHNICAL MEMORANDUM NO. 93.01

Subject:  PROGRAMS AND PLANS--Establishment of a National Policy

to Archive Ground-Water Flow and Transport Models

POLICY

Ground-water flow and transport models are an integral part of our interpretive ground-water investigations, and the results of these models form the basis for many of the conclusions published in U.S. Geological Survey reports.  The numerical data and related information that comprise these models need to remain available to:  (1) support and validate the results in published reports, (2) assure that working versions of all models are available for future scientific use, and (3) assure that the data are available to the public when requested.  The appropriate model data and related information are to be stored in a permanent, well- documented manner to ensure their continued availability. Effective as of the date of this memorandum, a national ground- water model archive is established.  All ground-water flow and transport models that are a significant part of ground-water investigations with completion dates of October 1993 or later are to be included in the archive.  Where feasible, districts also should archive models from completed investigations and from current projects to be completed prior to October 1993.  The Regional Ground Water Specialists are to act on behalf of the Office of Ground Water to assure that all required information is present in the archive.  Status of the archives also will be examined as a routine part of district ground-water discipline reviews.  Design and implementation requirements for the archive are presented in Attachments 1 and 2 to this memorandum.

The archive is for internal Water Resources Division (WRD) access and use and is to serve as the source of ground-water model data supplied to the public upon request.  The public release of specific information contained in the archive is subject to compliance with any existing WRD policies that may apply to the public release of such information.

The ground-water model archive does not relieve individual investigators of theneed to fully describe and document model analyses in their reports.

Joseph S. Rosenshein

Acting Chief, Office

of Ground Water

2 Attachments

WRD Distribution:  A, B, S, FO, PO

ATTACHMENT 1

DESIGN AND IMPLEMENTATION OF DISTRICT GROUND WATER MODEL ARCHIVES

STRUCTURE AND CONTENTS:

The archive will consist of a main directory called GWMARCIV.  A report subdirectory, located directly below GWMARCIV, will be established for each published report containing a ground-water flow or transport model analysis. Each report subdirectory should be given a name that clearly reflects the U.S. Geological Survey report number.  The archive must include the model source codes, input files, macros and operating files such as JCL, CPL, and UNIX shell codes, and model output files for each simulation described in the report.

These simulations will include (when applicable) the final calibrated steady-state and transient results and any predictive results described in the publication. Model results of minor importance, such as interim calibration runs, should not be archived.  Model output will be archived for future verification that the input data files properly reproduce the published results when the input files are rerun.  The storage of additional ancillary data is optional, but is strongly encouraged.  Examples of ancillary data that might be stored are pertinent pre- and post-processor codes, related data, or other files directly related to the model simulations.

A subdirectory named CONTENTS, located immediately below each report directory, will include one or more files that contain:

(1) the full reference for the subject report; (2) descriptions of the

subdirectory structure and of the files contained in each subdirectory, (3) descriptions of data file formats, when appropriate; (4) the sequence of model runs; and (5) instructions for running simulations.  Attachment 2 shows one example of what an archive directory structure might look like for a typical project.

When the input data of one model depends directly on output from another model, both models are to be included in the archive.  If the models are documented in separate reports, a cross-reference between the reports must be included in the CONTENTS directory of the archive entry for each report.

Model input files must be stored in ASCII format to assure that they can be processed in the future on virtually any computer without the need for specialized or proprietary software.  In cases where model input files are derived from either proprietary or machine-dependent software, ASCII versions of the model input files must be included in the archive.

IMPLEMENTATION:

Each district will set up an archive on a locally based computer.  The district staff is responsible for designing a subdirectory structure that permits efficient and logical storage of the required information for each specific model.  Files will be accumulated and stored in the on-line archive until the final interpretive report is approved, after which time the files are to be moved to permanent storage.

For all studies with completion dates of October 1993 or later, the appropriate model files must reside on-line in the district archive when the report is submitted to the Region for approval.  Verification of compliance with this policy is the responsibility of the Regional Ground Water Specialists.  Reports returned to the district for revision that require new or additional model simulations will require an archive update.

Upon final approval of the interpretive report, the archive is to be copied to permanent storage on an optical disk using WORM (write once, read many) technology.  A copy of the WORM disk will remain in the originating district to service requests for data, and a duplicate copy will be furnished to the Region for off-site backup.  A WORM disk may contain model data for one or more published reports provided the disk is indexed appropriately.  The archive may be transferred to tape as a short-term storage option if the district does not have immediate access to WORM disk production equipment.  The period of interim storage on tape should not exceed 1 year.  The archive process is considered complete only when a WORM disk has been produced.  On-line storage of the archived data may be discontinued at the discretion of the district following transfer of the archive to WORM disk or to interim tape storage.

Interim Policy Memorandum about Storing Data in the National Water Information System

In Reply Refer To:                              January 25, 1993

Mail Stop 411

OFFICE OF GROUND WATER TECHNICAL MEMORANDUM NO. 93.03

Subject:  Interim Policy Memorandum about Storing Data in

the National Water Information System

The purpose of this memorandum is to restate and clarify existing

policy regarding the use of the National Water Information System

(NWIS) to store ground-water data collected by the U.S. Geological

Survey, Water Resources Division (WRD).

Problems and Concerns

Discipline reviews are finding that not all ground-water data

collected by WRD are being stored in NWIS.  It appears that some

elements of policy detailed in WRD Memorandum Nos. 76.44, 77.136,

83.89, and 86.28 have been misunderstood and have not been

vigorously enforced at the Regional and Headquarters levels.

Clarification and Restatement of Policy

WRD Memorandum 92.59 has recently been released and states that

the recommendations made by the Data Policy Committee (Open-File

Report 92-56) have been accepted as official policy.  That policy

includes the following:

"The current policy in WRD is that all water data

collected as part of the routine data collection of the

WRD (both basic and project data) must be stored in the

computer files of the National Water Information System.

One purpose of this policy is to enable all WRD work to

be verifiable and repeatable to the greatest extent

possible at any time in the future."

The Office of Ground Water (OGW) interprets Rroutine data

collection of the WRDS to include all ground-water data collected

by WRD basic data programs and District projects.  Any request for

exemption from this policy must be approved by OGW.  The only

exceptions to this requirement are proprietary data, and data that

cannot be stored in NWIS because they do not functionally fit.

When the new version II of NWIS software is completed, it is

expected that many of the ground-water data that WRD collects will

functionally fit in NWIS, including many types of geophysical,

hydrogeological, and hydraulic test data.

Implementation of Policy

The OGW and the Regional Ground-Water Specialists will review

compliance with this policy during District technical and selected

project reviews and by actual interrogation of NWIS.  Several

recent District reviews by OGW have included an additional person

on the review team for the purpose of examining data-related

issues.  The OGW has added a staff person to specifically address

the issues of data and data bases.  The OGW also has created the

Ground-Water Data Committee to develop recommendations about

issues of policy and management of ground-water data.  Future

memorandums will address other aspects of ground-water data

policy.

William M. Alley

Acting Chief, Office

of Ground Water

WRD Distribution:  A, B, S, FO, PO

Guidance for the preparation, approval, and archiving of aquifer-test results

In Reply Refer To:                          June 2, 1994

Mail Stop 411

OFFICE OF GROUND WATER TECHNICAL MEMORANDUM 94.02

Subject:  Guidance for the preparation, approval, and archiving

of aquifer-test results

Analyses of aquifer tests to define the hydraulic characteris-

tics of a specific aquifer or aquifer system are an integral

part of our interpretive ground-water investigations.  The

results of these analyses are critical components of flow-system

or solute-transport analyses and important to conclusions

published in U.S. Geological Survey (USGS) reports.  Conse-

quently, reported aquifer characteristics such as hydraulic

conductivity, transmissivity, storativity and other hydraulic

characteristics derived from aquifer-test analyses must be

clearly documented and technically defensible.  The purpose of

this memorandum is to describe guidelines and procedures

necessary to obtain approval for the results of aquifer tests

analyzed by employees of the Water Resources Division (WRD) and

to provide guidelines for archival of the test results.

BACKGROUND

According to WRD Publications Guide (Article 11.01.2) "....calcu-

lated hydraulic characteristics such as transmissivity, hydrau-

lic conductivity, and storage coefficient, are interpretive and

must be approved by the Director, unless cited from a Director-

approved report."  In a memorandum dated March 11, 1992, the

Assistant Chief Hydrologist, Scientific Information Management,

delegated authority to approve aquifer-test results to the

Regional Hydrologists.  Approval is required for all calcula-

tions of aquifer-hydraulic characteristics to be released to the

general public, to cooperators, or published in or otherwise

used to support the results of investigations reported in

USGS-approved reports.

Estimates of aquifer-hydraulic characteristics commonly are

obtained from "textbook" or published values for various

lithologies.  These are not considered calculations of aquifer

characteristics and do not require approval under the terms of

this memorandum.  In addition, estimates of transmissivity

determined on the basis of specific-capacity measurements do not

require approval.

DOCUMENTATION, APPROVAL, AND ARCHIVAL OF AQUIFER-TEST RESULTS

While the USGS encourages the publication of aquifer-test

results, it is not feasible to publish the data and graphical results

for every test conducted.  In all cases, either as part

of a formal report or as a separate packet, aquifer-test results

should be submitted to the Regional Ground-Water Specialist for

review and subsequent approval by the Regional Hydrologist.  The

Regional Ground-Water Specialist reviews the report manuscript

or aquifer-test packet to assess (1) that the report or packet

contains the necessary data and related information to properly

analyze the subject test(s), and (2) that the analyses and

results are technically defensible.

Elements that typically should be submitted for review are

listed below.  These elements assume an aquifer test comprising

a pumping well and one or more observation wells and should be

modified as appropriate for other types of tests such as a

single-well slug test. The eight elements are as follows.

1.  A brief description of the test (this can be neatly

hand written) which includes the purpose, date, test

procedures, and methods of analysis of the results.

Any unique or unusual features or problems related to

the test or to the collection and analysis of test

data should be described.  A brief description of the

assumptions used in analyzing the test results also

should be included, as needed to clarify the test.

2.  A sketch of the test site showing the distances from

the pumped well to all observation wells and the

location of any boundaries, streams, springs, ditches,

pumping or flowing wells, or other features that

possibly could influence test results.  Where the test

includes multiple wells, the sketch of the test site

should be drawn to scale.

3.  Description of test and observation well construction,

including screened and open interval(s), casing and

screen diameters, and location of filter pack and

grouted intervals.

4.  A description of the site hydrogeologic characteris-

tics, including sections that show the major water-

bearing and confining zones or units.  The intervals

of the pumping and observation wells that are screened

or open should be depicted on the logs or sections.

5.  Time-discharge records of the pumped well (all

measurements, not just average discharge).

6.  Water-level records and hydrographs showing pre-test

trends and water levels during the pumping and

recovery phases.

7.  Description of methods and computations showing

adjustments to drawdown for pre-test trends,

adjustments of recovery for projected drawdown, or

adjustments to account for extraneous effects not

related to pumping or recovery, such as barometric and

tidal effects or other interferences.

8.  All plots of observed or adjusted drawdown or recovery

data used to determine hydraulic characteristics,

showing match points, when used, and computations.

It is recognized that in some cases it is not possible to

provide a complete description of these eight elements.

Investigators are encouraged to discuss their plans with the

Regional Ground-Water Specialist to determine the requirements

for a particular test packet or report before they forward it

for review and approval.

A transmittal memorandum, indicating that the test results have

been reviewed by the District or Area ground-water specialist or

his or her designee, should be included with the test packet or

report.  This review should include at least some checking of

the field data and a verification that the test results are

appropriate, given the site hydrogeology, well construction, and

test conditions and that the test results have been reviewed

independently before being submitted for regional review and

approval.

Following approval by the Regional Hydrologist, the packet or

report will be returned to the originating District or Office

where the hydraulic characteristics and related site and well

data should be entered into the Ground-Water Site Inventory

System or National Water Information System (NWIS) and the

packet and associated information appropriately archived in a

District "aquifer-test file."  These archived aquifer-test files

should include the draft-report routing sheet or packet-review

transmittal memorandum.  Districts also are encouraged to

archive test analyses and results completed prior to this

memorandum.  The aquifer-test files will be reviewed as a

routine part of District ground-water discipline reviews.

If computer software is used in the aquifer-test analysis,

the policy outlined in Office of Ground Water Technical

Memorandum 91.04, dated August 14, 1991, must be followed.  This

policy requires that the theoretical basis of the software be

documented and that it be demonstrated that a test-data set can

be correctly analyzed using the software.  Submittal of a

computer-software analysis does not eliminate the need for the

information described in item element 8, above.

This memorandum discusses information needs in the context of

single- or multiple-well aquifer tests. Aquifer characteristics

also may be calculated by other methods, such as, determination

of aquifer diffusivity from attenuation of a tidal pulse or

flood wave through an aquifer, or using hydrograph-recession

characteristics.  The same review procedures should be followed

for these types of analyses, and information in the report

manuscript or packet must be adequate to enable reviewers to

visualize the physical system, evaluate all data, verify all

calculations, and assess that the methods and results are

defensible.

Sincerely,

/s/ William M. Alley

Chief, Office of

Ground Water

Attachment

Distribution:  A, B, S, FO, PO

PUBLICATIONS--Policy on documenting the use of ground-water simulation in project reports

To: "File WRD Archive Reston, VA "

Subject: OGW TechMM 96.04

Mime-Version: 1.0

Date: Thu, 25 Apr 1996 08:50:30 -0400

From: "Velvie E Stockdale, Office Automation Assistant, Reston, VA "

In Reply Refer To:                                      April 24, 1996

Mail Stop 411

OFFICE OF GROUND WATER TECHNICAL MEMORANDUM NO. 96.04

Subject:  PUBLICATIONS--Policy on documenting the use of

ground-water simulation in project reports

It has been more than two decades since Ground Water Branch

Technical Memorandum No. 75.11 was released on the subject of

documenting the use of ground-water simulation in project

reports.  Because of the time lapse, changes in modeling

techniques, and the frequency of problems found when reports are

reviewed, a revisit to policy on this subject is appropriate.

There is no rigid checklist or recipe for reporting on the use

of simulation in a ground-water study.  The appropriate level

of documentation will vary depending on the project objectives

and the complexity of the simulations.  The general structure of

a well-constructed report describing simulation is much the same

as that for any investigative study.  It should present (1) the

objectives of the study, (2) a description of the work that

was done, (3) logical arguments to convince the reader that

the methods and analyses used in the study are valid, and

(4) results and conclusions.

Specific topics that should be addressed in reports that

describe studies in which simulation is used include the

following.

1. Describe the purpose of the study and the role that

simulation plays in addressing that purpose.

The objective of the simulation must be clearly stated.  The

model should be represented as a tool to help solve specific

problems or answer specific questions rather than as an end

product.

2. Describe the hydrologic system under investigation.

The extent, nature of boundaries, transmitting properties,

storage properties, sources of water, discharge mechanisms and

other relevant components of the ground-water system should be

described as known or conceptualized.  Usually this can be

accomplished in part by referencing previous works, but major

relevant system characteristics should be summarized in the

report that describes the simulation.

3. Describe the mathematical methods used and their

appropriateness to the problem being solved.

In most cases, a reference to a readily available publication

will be sufficient to document mathematical details; however, it

will usually be desirable to briefly summarize the methods that

are used.  For a well-documented computer program, this will

often require only a paragraph or two.  If a documented computer

program is modified such that computed values are affected, the

modifications should be documented and evidence that the

modifications are correct should be supplied.

4. Describe the hydrogeologic character of the boundary

conditions used in the simulation of the system.

In many cases, the model boundaries are placed where the aquifer

terminates against relatively impermeable rocks or is

intersected by a perennial stream whose head variation in time

and space is known.  In other cases, the aquifer may be so

extensive relative to the area of interest that the modeled area

may need to extend beyond the project area to accurately

simulate the natural boundaries of the aquifer system.  If the

modeled area is arbitrarily truncated at some distance from the

area of interest, it should be shown that the selection of the

arbitrary boundary condition does not materially affect the

ability of the model to simulate the system for the purposes of

the study.  Internal boundaries such as streams, lakes, and

pinchouts of important hydrogeologic zones should be identified

and their representation in the model should be described in the

report.  A clear, convincing argument of the appropriateness of

the boundary conditions used in the model to represent the

actual system should be made for the entire bounding surface of

the modeled volume or cross section, as well as for any internal

boundaries.

5. If the method of simulation involves discretizing the system

(finite-difference and finite-element methods for example),

describe and justify the discretized network used.

The spacing and distribution of the blocks, elements, or

subregions should reflect, in part, the spatial variability of

the hydraulic parameters and the location of boundaries (for

example streams, lakes, bed pinchouts), human-made features (for

example wells and dams), and stresses.  In most cases, a map

showing the discretized network superimposed on the study area

is required.  Vertical discretization should be described and/or

shown on illustrations.  The manner in which time is discretized

for transient models also should be described.  If a steady-

state model is used to simulate an average or approximate steady-

state condition, discuss the errors that could be introduced in

the study results as a consequence of using a steady-state model.

6. Describe the aquifer system properties that are modeled.

Explain whatever inferences are made from field data and

previous studies as to the spatial variation of hydraulic

properties of aquifers and confining beds and how discretized

values are computed throughout the simulated area.  During model

calibration (see item 9), modeled values are often changed; the

final aquifer system properties that are modeled should be

described in the report.  This can be through maps or

descriptions in the text.  Lists of model arrays do not

generally provide much understanding of the model and

accordingly should not be included in the report unless it is

expected that readers will want to repeat the simulations.  If

lists of arrays are included, they should usually be provided on

electronic media.  Note that Office of Ground Water Technical

Memorandum No. 93.01 describes the separate requirement for

archiving the complete model data sets used in ground-water

projects.

7. Describe all the stresses modeled such as pumpage,

evapotranspiration from ground water, recharge from

infiltration, river stage changes, leakage from other aquifers,

and source concentrations in transport models.

The relations between observed and modeled stresses should be

described.  For example, it usually is desirable to provide a

representative sample of actual pumping histories and the

corresponding modeled pumping histories, although such

information would not necessarily be provided for every pumped

well.  The manner in which stresses are averaged within the

discretized time and space scheme should also be described.

If a steady-state model is used to simulate an average or

approximate steady-state condition, describe how the average

stresses representing this system are calculated.

8. For transient models, describe the initial conditions that

are used in the simulations.

Ideally, a transient simulation will start from a steady-state

condition, and the steady-state initial conditions will be

generated by a steady-state simulation using the same model.  In

this case, the steady-state simulation must use the same

hydraulic and stress parameters that are used in the transient

simulation, except that the transient stresses are removed.  In

situations where it is not possible to start a transient model

from a simulated steady-state condition, it is necessary to

describe how the initial conditions were derived.  It is also

important to estimate the error in the derived values and the

possible impact on the model results.

9. If a model is calibrated, present the calibration criteria,

procedure, and results.

Describe the source of the observed data to which model results

are compared.  Explain the appropriateness of using these data

for model comparisons and the rationale for any adjustments made

to actual observations when making the comparisons.  For

example, when steady-state models are used to simulate an

approximate steady-state condition, it is important to explain

to what extent the observations that have been made at specific

points in time correspond to the approximate steady-state

condition being simulated.  Give a representative sample of the

actual comparisons used for calibration, and show the locations

of the observation points on maps.  When the number of

observations is extensive, locations of representative points

can be shown.  It is important to report and use as many types

of data as possible for calibration.  For example, in a flow

model, both head and flow observations are desirable for use in

calibration.

10. Discuss the limitations of the model's representation of the

actual system and the impact those limitations have on the

results and conclusions presented in the report.

Evaluating the sensitivity of the computed model responses to

changes in parameter values that reflect plausible parameter

uncertainty helps to assess the model reliability.  If the model

is to be used to make specific projections, it is useful to

estimate the impacts of the uncertainty of parameter values on

the projections.  In calibrated models, a concern is non-

uniqueness, which is the extent to which other combinations of

parameter values or configurations may result in an equally good

fit to the observed data.  Discuss the extent to which

nonuniqueness may affect the use of the model in the study.

In summary, a report describing a study in which simulation is

used should address the above topics; however, there is

considerable flexibility in the form of such a report.  The

report should describe the purpose of the simulation and

convince the reader that the use of simulation is credible.  The

report should further describe the system being simulated, the

methods of simulation, and the data that are used.

William M. Alley

Chief, Office of Ground Water

Distribution: A, B, S, FO, PO

This memorandum supersedes Ground Water Branch Technical

Memorandum No. 75.11

APPENDIX B: Guidelines for Preparing the Project Planning Documents for the Nebraska Water Science Center Workplan

The project-planning document is essentially an expansion of the project proposal and a plan for how and when all the work will be done. In some cases where a project proposal includes all the necessary elements, a project-planning document may not be required. The Chief of the Investigations Section will make that decision. In most cases the project planning-document should be completed in the first 4 to 8 weeks of the project (depending on project length). There is no set format, but it must contain all the necessary elements outlined in the Objectives.

## Objectives:

- To describe the reason or necessity for the study, its purpose and scope, and its relevance to the USGS mission.

To describe the initial concept of the hydrologic system.

To list and describe all reports to be produced during the project. (Report Plan)

To summarize previous work done in the project area.

To describe the data collection needs and the technical procedures likely to be used in collecting these data.

To evaluate the existing data relevant to the study.

To determine the extent of effort required to correct and update the ground-water/water-quality database for the study area (GWSI & QWDATA).

To outline and describe proposed methods of analysis or interpretation.

To determine specific discipline knowledge that may be required, assess personnel availability, and to list potential training needs of all project personnel.

To create a timelines chart that details the approximate starting and ending dates for all primary work elements and as many secondary tasks as are practical.

To detail project costs, including those necessary to quality assure data collection and interpretation.

The Report Plan is part of the project planning document and should include as much detail about the planned reports as possible –- intended audience, publication type, when it is to be written and published, and a detailed outline with list of figures and tables planned. Some annotation after each heading and subheading will serve to refresh your memory about what you intended for that section.

APPENDIX C:

NEBRASKA GROUND-WATER TECHNICAL PROCEDURES

APPENDIX C: NEBRASKA GROUND-WATER TECHNICAL PROCEDURES

###### CONTENTS

WATER-LEVEL MEASUREMENT USING GRADUATED STEEL TAPE	3

GROUND-WATER SITE INVENTORY—WELL AND SPRING LOCATION	1

USE OF THE PRECISION LIGHTWEIGHT GLOBAL POSITIONING SYSTEM RECEIVER (PLGR) TO LOCATE A WELL	2

ENTRY OF SITE DATA INTO GWSI DATABASE	4

ESTABLISHING A PERMANANT MEASURING POINT	7

WATER-LEVEL MEASUREMENTS USING AN ELECTRICAL TAPE	9

OBTAINING PERMISSION TO INSTALL, MAINTAIN, AND USE A WELL ON PRIVATE PROPERTY	13

INSTALLING A PRESSURE TRANSDUCER AND ACTIVATING THE DATA RECORDING DEVICE	16

RECOGNIZING AND REMOVING DEBRIS FROM A WELL	19

CONTINUOUS WATER-LEVEL MEASUREMENTS USING A FLOAT-ACTIVATED RECORDER	22

GUIDELINES FOR MONITORING DRILLING ACTIVITES AND HOW TO SAMPLE AND IDENTIFY CORE	27

GUIDELINES FOR COLLECTION AND PACKAGING OF CORE SAMPLES FOR HYDRAULIC ANALYSIS	31

APPENDIX C: GROUND-WATER PROCEDURE DOCUMENT

# WATER-LEVEL MEASUREMENT USING GRADUATED STEEL TAPE

## PURPOSE

To measure the depth to the water surface below a measuring point using the graduated steel tape (wetted-tape) method.

## MATERIALS & INSTRUMENTS:

A steel tape graduated in feet, tenths and hundredths of feet. A break-away weight may be attached (when necessary) to the ring on the end of the tape with wire strong enough to hold the weight, but not as strong as the tape, so that if the weight becomes lodged in the well the tape can still be pulled free. The weight should be made of brass, stainless steel, or iron.

Blue carpenters chalk.

Clean rag.

Pencil and eraser.

Steel tape calibration and maintenance equipment log book (when higher accuracy required).

Water level measurements (Field) 9-1904-E (revised June 2003) (fig 1 at the end of this section).

Two wrenches with adjustable jaws for removing well cap.

Common household chlorine bleach.

DATA ACCURACY & LIMITATIONS:

- A graduated steel tape is commonly accurate to 0.01 foot.

The water level should be within 200 feet of the land surface.

The steel tape should be calibrated against another acceptable steel tape. An acceptable steel tape is one that is maintained, in the office, for use only for calibrating steel tapes.

If the well casing is angled, instead of vertical, the depth to water will have to be corrected.

When measuring deep water levels, tape expansion and stretch is an additional consideration (see Garber and Koopman, 1968).

ADVANTAGES:

- The graduated steel tape method is considered to be the most accurate method for measuring the water level in nonflowing wells of moderate depth.

- Easy to use.

DISADVANTAGES:

- May be impossible to get reliable results if water is dripping into the well or condensing on the well casing.

Not recommended for measuring pumping levels in wells.

Unreliable when oil layer present in well.

ASSUMPTIONS:

- An established measuring point (MP) exists. See ground-water procedure document (GWPD) for technical procedure document on establishing an MP.

The MP is clearly marked and described so that a person who has not measured the well will know where to measure from.

A water-level measurement taken during the last field visit is available to estimate the length of tape that should be lowered into the well.

The black sheen on the steel tape has been dulled so that the tape will retain the chalk.

The well is free of obstructions. Well obstructions, if present, could cause errors in the measurement if the obstructions affect the plumbness of the steel tape.

Field Form 9-1904-E is used to record water-level measurement data.

INSTRUCTIONS:

- Chalk the lower few feet of the tape by pulling the tape across a piece of blue carpenter's chalk. The wetted chalk mark will identify that part of the tape that was submerged.

Lower the tape (and weight, if needed) into the well until the lower end of the tape is submerged below the water. The weight and tape should be lowered into the water slowly to prevent splashing. Continue to lower the end of the tape into the well until the next graduation (a whole foot mark) is opposite the MP; record this number in the `HOLD' (fig. 1) column of the water level measurements field form.

The tape is rapidly brought to the surface before the wetted chalk mark dries and becomes difficult to read. Record the number of the wetted chalk mark, referred to as the cut, in the `CUT' (fig. 1) column of the water level measurements field form.

Subtract the ‘CUT’ number from the ‘HOLD’ number, and record this number in the `DEPTH BELOW MP' (fig. 1) column of the water level measurements field form. This number is the “DEPTH BELOW MP.”

Apply the MP correction to get the water level below the land-surface datum. If the MP is above land surface (fig. 1), the distance between the MP and land surface datum is subtracted from the ‘DEPTH BELOW MP’ to obtain the ‘WATER LEVEL (BELOW LSD)’ value. If the MP is below land surface precede the MP correction value with a minus (-) sign and subtract the distance between the MP and land surface datum from the depth to water from the MP to obtain the ‘WATER LEVEL (BELOW LSD)’ value. Record this number in the `WATER LEVEL (BELOW LSD)' column of the water level measurements field form (fig. 1). If the water level is above LSD, record the value as a negative number.

Make a check measurement by repeating steps 1 through 5. The check measurement should be made using a different MP ‘HOLD’ value than that used for the original measurement. If the check measurement does not agree with the original measurement within 0.02 or 0.03 of a foot, continue to make check measurements until the reason for the lack of agreement is determined or until the results are shown to be reliable. If more than two readings are taken, record the average of all readings.

In areas of suspected contamination, disinfect the steel tape after completing the well measurement by pouring a small amount of common household chlorine bleach on a clean cloth and wiping down the part of the tape that was submerged below the water surface; this will avoid possible contamination of other wells.

Maintain the tape in good working condition by periodically physically checking the tape for breaks, kinks and possible stretch due to the suspended weight of the tape and the tape weight.

In some pumped wells, a layer of oil may float on the water surface. If the oil layer is a foot thick, read the tape at the top of the oil mark and use this data for the water-level measurement instead of the wetted chalk mark. The measurement will differ slightly from the water level that would be measured were the oil not present. However, if several feet of oil are present in the well, or if it is necessary to know the thickness of the oil layer, a commercially available water-detector paste can be used that will detect the presence of water in the oil. The paste is applied to the lower end of the tape and will show the top of the oil as a wet line, and the top of the water will show as a distinct color change. Since oil density is about three-quarters that of water, the water level can be estimated by adding the thickness of the oil layer times its density to the oil-water interface elevation.

## DATA RECORDING

In areas when high accuracy is required, such as waste-site evaluations, a calibration log shall be maintained in which all calibration and maintenance data associated with the steel tape being used are recorded. All water-level data are recorded on the water level measurements field form (Form 9-1904-A) to the nearest 0.01 foot.

## REFERENCES

1. U.S. Geological Survey Level 1 training, ground-water field techniques, 1994.

2. United States, Office of Water Data Coordination, 1977 -, National handbook of recommended methods for water-data acquisition: Office of Water Data Coordination, Geological Survey, U.S. Department of the Interior, Reston, Va., chap. 2, p. 1-149.

3. GWPD, establishing a permanent measuring point (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

4. Garber, M.S., and Koopman, F.C., 1968, Methods of measuring water levels in deep wells: U.S. Geological Survey TWRI, book 8, chap. A1; Washington, U.S. Government Printing Office, 23 p.

Figure 1.—Water-level measurement field form 9-1904-E (revised June 2003

# GROUND-WATER SITE INVENTORY                                 —WELL AND SPRING LOCATION

## PURPOSE

To specify procedures for well and spring site inventory (location) and the minimum amount of information that should be collected during the initial reconnaissance of an individual ground-water site.

MATERIALS & INSTRUMENTS:

- A state highway map, county road map, and a USGS 7.5 minute topographic quadrangle map. When required, an aerial photograph, or a town plat/lot number map may also be used. If available, a Global Positioning System (GPS) instrument may be used to locate a well.

Water-level measurements (9-1904-E) and well schedule field form (9-1904-A) (figs. 1, and fig. 2 located at the end of this section).

Orienteering (transparent base) compass.

Steel tape graduated in feet, tenths, and hundredths of feet.

Electric tape graduated in feet, tenths, and hundredths of feet

Blue carpenters chalk and clean rag.

Pencil and eraser.

Two wrenches with adjustable jaws for gripping and removing well caps and other assorted tools.

Camera and film-35 mm. (optional)

## DATA ACCURACY & LIMITATIONS:

- Latitude and longitude values determined with a USGS 7.5 minute latitude-longitude scale can be read to the nearest 0.5 second. Graphic digitizer's used to determine latitude and longitude are available with accuracy's as low as +/- 0.003 second. Latitude and longitude values determined using either of these methods in conjunction with a USGS 7.5 minute topographic quadrangle map should be rounded to the nearest second.

Well construction information obtained from the well driller or from geophysical logs is more reliable than information obtained verbally from the well owner.

Altitudes determined from topographic maps are accurate to within one half the map contour interval.

## ASSUMPTIONS:

- A ground-water site is a single point, not a geographic area or property.

A USGS 7.5 minute topographic quadrangle map with a 1:24,000 scale will be used to locate the ground-water site.

The person locating the well or spring can accurately plot the location on the 7.5-minute topographic quadrangle map.

Site information is recorded on form 9-1904-A as it is collected and never documented from memory.

All field notes should be neat and readable, and leave no doubt about interpretation.

## INSTRUCTIONS:

- By examining available data files and interviewing the well owner and/or driller compile the following ground-water site data in the field using form 9-1904-A (figs. 1).

Source of information--Date of site visit and name of person conducting site visit.

Geographic location--name of 7.5-minute topographic map, sketch map of site location on the back of the field well schedule (Form 9-1904-A).

Political regimes--state and county or town identification.

Source identifiers--Owner's name and address.

Individual site characteristics--Topographic setting, use of site, use of water.

Well construction--Name of driller, date drilled, type of well (drilled, bored, or dug), total depth, casing (type, depth, and diameter), finish (screen, open hole).

Estimated yield (gpm) and notes pertaining to water quality, future access to the site, and any other pertinent well-site information should be recorded on the field well schedule.

Locate the ground-water site in the field on a USGS 7.5 minute topographic quadrangle. If necessary, the site can also be plotted on an aerial photograph, or a town plat/lot number map. If available, use a GPS instrument to determine the latitude and longitude of the site.

Prepare a detailed sketch map of the site location on the last page of the ground-water site schedule (form 9-1904-A). Orient the ground-water site on the sketch map relative to north. The sketch map should contain enough detail so that the site can be found again by a person who has never visited the site. All distances should be made in feet from permanent landmarks, such as buildings, bridges, culverts, road centerline, and road intersection. In addition, detailed sketches of the well including the measuring point (MP), access ports for water level measurements, and sampling points should be drawn on the back of form 9-1904-A with the date recorded. This information is updated during each future site visit.

Record water level measurements and date measured on field Form 9-1904-E. See GWPD 1 for making water-level measurements using a graduated steel tape, or GWPD 4 for making water-level measurements using an electric tape.

OPTIONAL--Take at least two photographs of the well location from different views and indicate on each photograph the direction of view. File location photographs with the GWSI form 9-1904-A.

## DATA RECORDING

Data are recorded in the field on the field Well Schedule Form 9-1904-A. Water levels are also recorded on the Water-Level Measurements Form 9-1904-E.

## REFERENCES

1. U.S. Geological Survey, 1990, National water information system user's manual, ground-water site inventory system: U.S. Geological Survey Open-File Report 89-587, v. 2, chap. 4, (variously paged).

2. United States, Office of Water Data Coordination, 1977-, National Handbook of recommended methods for water-data acquisition: Office of Water Data Coordination, U.S. Geological Survey, U.S. Department of the Interior, chap. 2, 149 p.

3. U.S. Geological Survey Level 1 training, Ground-water field techniques, 1994.

4. American Society for Testing and Materials, 1994, ASTM standards on ground water and vadose zone investigations (2d ed.): Philadelphia, Pa., ASTM, p. 00-304.

5. GWPD 1, Water-level measurement using graduated steel tape, 1997 (draft).

6. GWPD 3, Establishing a permanent measuring point, 1997 (draft).

7. GWPD 4, Water-level measurement using an electric tape, 1997 (draft).

8. GWPD 5, Locating a well, 1997 (draft).

9. Giovachino, Domenic, 1992, Graphic digitizer accuracy: ASPRS/ACSM/RT 92 technical papers, GIS and Cartography, v. 3, 4 p.

Figure 2. Ground-water site inventory (GWSI) system site schedule Form 9-1904-A (revised May 3002).

# USE OF THE PRECISION LIGHTWEIGHT GLOBAL POSITIONING SYSTEM RECEIVER (PLGR) TO LOCATE A WELL

## PURPOSE

To specify basic procedures for locating ground-water sites using a PLGR (GPS).

## MATERIALS & INSTRUMENTS:

- Pencil and field note book

Precision lightweight GPS receiver (PLGR)

Eight fresh AA batteries or external 12V/24V power source.

Ground-water site inventory (GWSI) system ground-water site schedule, Form 9-1904-A (fig. 2).

## DATA ACCURACY & LIMITATIONS:

- The instrument provides accuracy assessment of each reading.

Nearby high structures or topography may limit the number of satellite links, and thus, accuracy.

Military can scramble signals at will, thus preventing an accurate reading.

## ADVANTAGES:

- Direct determination of latitude and longitude without need for a map.

Portable instrument.

Will work anywhere on the earth.

## DISADVANTAGES:

- Subject to some inaccuracies if sufficient number of satellites cannot be contacted.

Must be protected because of National security issues.

Subject to unscheduled military decisions.

Use limited to permanent USGS employees.

## ASSUMPTIONS:

- Operator has a security approval (security agreement has been signed).

Operator is trained in the operation of the instrument (has watched training video).

Operator has received instruction from Custodial Officer.

## INSTRUCTIONS:

- Set instrument on a flat surface and open the antenna such that it is perpendicular to the ground surface.

Depress the ‘ON’ button or 1 second.

Wait 15 minutes, or until ‘OLD’ disappears from the upper right-hand corner of the screen. Generally the longer you wait the more accurate the position reading.

Record the latitude and longitude in the notebook and enter on the ground-water site schedule. Record other environmental information that could cause errors in the notebook (distance and bearing of high structures (buildings, hills, cliffs, etc.)

Record the estimate of error (upper right hand corner of the screen) in the notebook.

Depress the down arrow Ø to show position error, speed, and other parameters related to the reading. Record these if pertinent.

Depress the right arrow Æ until ‘SETUP’ is flashing.

Depress the down arrow 5 times ØØØØØ to go to the ‘SETUP DTM:NAR’ screen.

Record the datum information shown on the second line in the notebook and on the ground-water site schedule.

Depress the ‘OFF’ button 2 times.

## DATA RECORDING

All data required by NWIS on the ground-water site inventory form (fig. 2) should be entered at the site. All other pertinent information should be recorded in your field notebook

## REFERENCES

None

# ENTRY OF SITE DATA INTO GWSI DATABASE

## PURPOSE

To assure accurate entry of field site information into GWSI database. The District Ground Water Information Unit (GWIU) is responsible for the entry and quality control of all ground-water data input into the GWSI database. When a project needs to input large quantities of data into the system, the GWIU offers assistance to project personnel. This is necessitated by the amount of time required to assure the accuracy of the data entered into the system. To assure compliance with established standards, several stages of checking are required before data are entered into the system.

## MATERIALS & INSTRUMENTS:

- Well or spring site information recorded on field well schedule 9-1904-A (fig. 2) and the location plotted on a 7.5-minute topographic map.

USGS 7.5-minute latitude-longitude scale.

USGS Hydrologic Unit Map for your state.

Ground-water site inventory (GWSI) system, ground-water site schedule, form 9-1904-A (fig. 2)

## DATA ACCURACY & LIMITATIONS:

- Latitude and longitude values determined with a USGS 7.5 minute latitude-longitude scale can be read to the nearest 0.5 second. Graphic digitizer's are available with accuracy's as low as + or - 0.003 second. Latitude and longitude values determined using either of these methods in conjunction with a USGS 7.5 minute quadrangle map should be rounded to the nearest second.

Altitudes determined from topographic maps are accurate to within one half the map contour interval.

INSTRUCTIONS:

A. General procedures for entering ground water site data into local database

- As each step of checking is completed, the person who completed the check will initial and date the GWSI data processing checklist on the front of the ground-water site schedule (fig. 2).

Geohydrologic unit designations for individual wells may be coded, but only if the designation is based on published data, or if the stratigraphy is generally recognized as representative of site geology. Assignment of codes is the responsibility of the project chief, District Ground-Water Specialist, and Chief of the GWIU.

B. Recording site data on Form 9-1904-A (fig. 2):

- The following data elements comprise the minimum amount of information needed to enter a ground-water site into GWSI. The GWSI component number (C#) is shown for each data element.

- Geographic location--Latitude (C9), longitude (C10), latitude-longitude accuracy (C11), sketch map of site location, altitude (C16),  and altitude accuracy (C18).

Political regimes--District (C6), state (C7) and county or town identification (C8), and land-net location (C13).

Source identifiers--Owner's name (C161), source agency or company (C4), agency use (C803), date inventoried (C711), site  identification number (C1), station name (C12), station type (C802), date of site visit (C187), and name of person conducting site visit (C188).

Individual site characteristics--Hydrologic unit code (C20), topographic setting (C19), type of ground-water site (C2), data reliability  (C3), use of site (C23), use of water (C24), measuring point (MP) beginning date (C321), MP height (C323), MP remarks (C324),  water level (C30), date water level measured (C31), and source of water-level data (C33).

Transfer the location of the site from the field map to a USGS 7.5 minute topographic quadrangle map. Determine the ground-water site latitude (C9) and longitude (C10) to the nearest second using a USGS 7.5 minute latitude-longitude scale or a digitizer, and record the latitude and longitude accuracy (C11) as one second. See GPWD 5 for the technical procedure document on locating a well.

Determine the altitude (C16) of the land surface, in feet above the National Geodetic Vertical Datum of 1929, at the site using a USGS 7.5 topographic quadrangle map. Record the altitude accuracy (C18). Altitudes determined from topographic maps are accurate to within one half of the contour interval of the map.

Record the district (C6) code in the first two positions of the field, and use the third position to identify the subdistrict office, if applicable. Next enter the FIPS numeric codes for the state (C7) and county or town identification (C8) in which the site is located. If applicable, enter the land-net location (C13), the legal description of the 10-acre tract in which the site is located.

Record the owner's name (C161).

Record the source agency (C4) that reports the data.

Record agency use (C803) as A (active), I (inactive), or O (inventory only).

Record the date the ground-water site was inventoried (C711).

Record the 15-digit site identification number (C1), which is formed initially from the latitude and longitude. The 14th and 15th digits are a sequence number used to distinguish between sites at the same location. The first sequence number assigned should be 01.

Record the station name (C12) for a ground-water site using the local well-numbering system supported by your district office.

Record the station type (C802) by placing a Y in the appropriate position. Position 1, stream; 2, lake or reservoir; 3, estuary; 4, unassigned; 5, spring; 6, well; or 7, meteorological station.

Record the date of the site visit (C187) and the name of the person conducting the site visit (C188). The date of the first site visit will be the same as the date the site was inventoried (C711).

Record the eight-digit hydrologic unit code (C20) for the Office of Water Data Coordination cataloging unit in which the site is located using the USGS Hydrologic Unit Map for your state.

Record the topographic setting (C19) from the field site schedule (form 9-1904-A) and verify the setting with the topographic map. Types of topographic settings are given under general site data on form 9-1904-A.

Record the type of ground-water site (C2) and the data reliability (C3). Codes for C2 and C3 are given under ground-water site data on form 9-1904-A.

Record the use of the site (C23) and the use of the water (C24). Codes for C23 and C24 are given under ground-water site data on form 9-1904-A.

Record the date the measuring point (MP) was established (C321) and the height of the MP (C323) above or below land surface datum (LSD). Values for measuring points below LSD should be preceded by a minus sign (-). Also record a detailed description of the MP (C324). See GWPD 3 for the technical procedure document on establishing an MP.

Record the water level (C30), the date of the water level measurement (C31), and the source of the water-level data (C33). Codes for C33 are given under ground-water site data on form 9-1904-A. See technical procedure document GWPD 1 for making water-level measurements using a graduated steel tape, or GWPD 4 for making water-level measurements using an electric tape.

## REFERENCES

NWIS User's Manual, v. 2, chap. 4. Ground-Water Site Inventory System

# ESTABLISHING A PERMANANT MEASURING POINT

## PURPOSE

To establish a permanent reference point from which all water levels are measured in a particular well.

MATERIALS & INSTRUMENTS:

- Ground-water site inventory site schedule, Form 9-1904-A.

Steel tape graduated in feet, tenths, and hundredths of feet.

Steel tape calibration and maintenance equipment log book.

Field notebook.

Pencil and eraser.

Pocket size tape measure graduated in feet, tenths, and hundredths of feet.

Two wrenches with adjustable jaws for removing well cap and assorted tools.

## DATA ACCURACY & LIMITATIONS

The accuracy with which the measuring point (MP) measurement is established depends upon the accuracy of the water-level measurements being made. If water levels are measured in hundredths of a foot, then the MP should be established to an accuracy of 0.01 foot.

ASSUMPTIONS:

- For comparability, water-level measurements must be referenced to the same datum (elevation).

Land surface datum (LSD) at the well was set by the person who made the initial water-level measurement in the well. LSD is an arbitrary plane chosen to be approximately equivalent to the average altitude of the ground around the well. Because LSD around a well may change over time, the distance between the MP and LSD should be checked periodically.

Measuring points change from time to time, especially on private wells.

INSTRUCTIONS:

- Upon installation of a monitoring well, or when inventorying an existing well, establish a MP. The MP must be as permanent as possible, clearly defined, marked, and easily located.

The measuring point is measured in reference to land surface datum (LSD) and is the most convenient place to measure the water level in a well.

The top of the casing should be designated as the MP.

If possible, position the MP at a particular point on the casing where a leveling rod could be set on it directly over the well and the measuring tape can hang freely when it is in contact with the MP.

If possible clearly mark the MP.

The height of the MP is measured in feet above or below LSD (fig. 1) and is recorded on the site schedule (form 9-1904-A, fig. 2). Values for measuring points below land surface (fig. 1) should be preceded by a minus sign (-). Also record the date the MP was established and a detailed description of the MP. Depending on the purpose of a study, it may be desirable to "survey-in" the LSD and the MP. See GWPD 3, which includes description of the minimum set of data elements needed to identify a ground-water site.

Make a detailed sketch of the MP on the back of the site schedule form 9-1904-A, and if you can, take a photograph. After the photograph is developed, mark the MP and draw an arrow to it. Date all sketches and photographs.

## DATA RECORDING

All calibration and maintenance data associated with the steel tape being used are recorded in its calibration and maintenance equipment log book (if applicable). MP data are recorded in a field notebook and on the GWSI ground-water site schedule (Form 9-1904-A).

## REFERENCES

1. U.S. Geological Survey, 1990, National water information system user's manual, ground-water site inventory system: U.S. Geological Survey Open-File Report 89-587, v. 2, chap. 4.

2. United States, Office of Water Data Coordination, 1977 -, National handbook of recommended methods for water-data acquisition: Office of Water Data Coordination, U.S. Geological Survey, U.S. Department of the Interior, chap. 2, 149 p.

3. U.S. Geological Survey, Level 1 training--Ground-water field techniques, 1994.

4. GWPD 3, ground-water site inventory (http://water.usgs.gov/usgs/ogw/tech_proc/index.html)

# WATER-LEVEL MEASUREMENTS USING AN ELECTRICAL TAPE

## PURPOSE

To measure the depth to the water surface below a measuring point using the electric tape method.

MATERIALS & INSTRUMENTS:

- Electric water-level measurement device. Electric tapes are commonly mounted on a hand-cranked supply reel that contains space for the batteries and some device for signaling when the circuit is closed.

A steel measuring tape graduated in feet, tenths and hundredths of feet.

Electric tape calibration and maintenance equipment log book (required when high accuracy needed).

Pencil and eraser.

Water level measurements field form 9-1904-E (fig. 1).

Two wrenches with adjustable jaws for removing well cap.

Laboratory grade detergent such as alconox or liquinox (for washing). Do not use solvents, alcohols or acids.

DATA ACCURACY & LIMITATIONS:

- Independent electric tape measurements of static water levels using the same tape should agree within + or - 0.04 foot for depths of less than about 200 feet.

For depths of about 500 feet, the maximum difference of independent measurements using the same tape should agree within + or - 0.1 foot.

For depths in the 2,000 foot range, the repeatability of measurements using the same tape should agree within + or - 0.5 foot (Garber and Koopman, 1968, p. 11).

ADVANTAGES:

- Superior when water is dripping into the well or condensing on the inside casing walls which may make it impossible to get a good water mark on the chalked tape.

Superior in wells that are being pumped, particularly with large-discharge pumps, where the splashing of the water surface makes consistent results by the wetted-tape method impossible.

Superior when a series of measurements are needed in quick succession, such as in aquifer tests, because the electric tape does not have to be removed from the well for each reading.

Safer to use in pumping wells because the water is sensed as soon as the probe reaches the water surface and there is less danger of lowering the tape into the pump impellers.

DISADVANTAGES:

- Gives slightly less accurate results than a steel tape. See data accuracy.

Harder to keep calibrated than a steel tape. Electric connections need to be maintained in good order.

ASSUMPTIONS:

- An established measuring point (MP) exists and the distance from the MP to land-surface datum (LSD) is known (fig.1). See previous section for the technical procedure document on establishing a permanent MP.

The MP is clearly marked and described so that a person who has not measured the well will know where to measure from.

INSTRUCTIONS:

- Before using an electric tape in the field, calibrate it by comparing the total length of the electric tape against the length of an acceptable steel tape. An acceptable steel tape is one that is maintained, in the office, for use only for calibrating tapes. Also, check the accuracy of the position of each 5-foot interval metal band to make sure that the bands have not moved. This is especially important if the electric tape has been used for a long time or after it has been pulled hard in attempting to free the line.

Check the circuitry of the electric tape before lowering the probe into the well by dipping the probe into water and observe if the indicator needle deflects, indicating that the circuit is closing. Note the position the indicator needle deflects during the circuitry check.

Make all readings using the same deflection point on the indicator scale so that water levels will be consistent between measurements.

Lower the electrode probe slowly into the well until contact with the water surface indicates that the circuit it closed. Place the nail of the index finger on the insulated wire at the MP when the indicator needle deflects to the point you chose during the circuitry testing.

Partly withdraw the electric tape from the well and record the foot mark of the nearest 5-foot tape band in the `NEAREST 5-FOOT TAPE BAND' column of the water level measurements field form (#2, table 1).

Measure the distance from the MP mark on the insulated wire to the nearest 5-foot tape band with a graduated steel tape and record that distance in the `DIFFERENCE BETWEEN MP MARK AND NEAREST 5-FOOT TAPE MARK' column of the water level measurements field form (#3, table 1).

To obtain the depth to water below the MP, subtract the distance between the MP mark and the next highest 5-foot tape band, or if the nearest 5-foot tape band is lower, add the distance to the MP mark to obtain the depth to water below the MP. Record this number in the `DEPTH TO WATER FROM MP' column of the water level measurements field form (#4, table 1).

Apply the MP correction to get the depth to water below or above LSD. If the MP is above land surface, its height is subtracted from the water level to obtain the depth to water below land surface. If the MP is below land surface precede the MP correction value with a minus (-) sign and subtract its height from the water level to obtain the depth to water below land surface. Subtract the MP correction (#5, table 1) from the depth to water from MP (#4, table 1) and record this number in the `DEPTH TO WATER CORRECTED FOR LSD' column of the water level measurements field form (#6, table 1). If the water level is above LSD, enter the water level in feet above land surface preceded by a minus sign (-)

Make a check measurement by repeating steps 4 through 8. If the check measurement does not agree with the original measurement within the accuracy given under data accuracy, continue to make check measurements until the reason for the lack of agreement is determined or until the results are shown to be reliable.

In areas of suspected contamination, disinfect the electric tape after completing the well measurement by cleansing the part of the tape that was submerged below the water surface using laboratory grade detergent; this will avoid possible contamination of other wells.

Maintain the tape in good working condition by periodically checking the tape for breaks, kinks, and possible stretch due to the suspended weight of the tape and the tape weight. Do not let the tape rub across the top of the casing because the 5-foot metal bands can become displaced; consequently, placement of the bands should be checked frequently with a steel tape.

## DATA RECORDING

In areas where high accuracy is required, such as waste-site evaluations, a calibration log shall be maintained in which all calibration and maintenance data associated with the electric tape are recorded. All data are recorded in the Water-Level Measurements Field Form 9-1904-E to the appropriate accuracy for the depth being measured. See data accuracy and limitations.

## REFERENCES

1. U.S. Geological Survey, Level 1 training--Ground-water field techniques, 1994.

2. United States, Office of Water Data Coordination, 1977 -, National handbook of recommended methods for water-data acquisition: Office of Water Data Coordination, U.S. Geological Survey, U.S. Department of the Interior, chap. 2, 149 p.

3. Heath, Ralph C., 1983, Basic ground-water hydrology: U.S. Geological Survey Water Supply Paper 2220, p. 72-73.

4. Garber, M. S., and Koopman, F.C., 1968, Methods of measuring water levels in deep wells: U.S. Geological Survey TWRI, book 8, chap. A1, p. 6-11.

5. GWPD 4, establishing a permanent measuring point (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

# OBTAINING PERMISSION TO INSTALL, MAINTAIN, AND USE A WELL ON PRIVATE PROPERTY

## PURPOSE

To describe a procedure for properly obtaining permission to install, maintain and use a well on private property, and to collect water samples from a well on private property.

MATERIALS & INSTRUMENTS:

- Form 9-1483, dated November 1993, Agreement for installation, maintenance, and use of a test hole and/or observation well on private property (fig. 3 at the end of this section).

Unnumbered form, Permission to collect water samples (fig. 4 at the end of this section).

Site location map.

Field notebook.

Pencil, eraser, and pen.

## DATA ACCURACY & LIMITATIONS

When public land is not suitable, the use of private property is permitted if, prior to drilling operations, a signed agreement for access to and installation, maintenance, and use of the test hole or observation well is obtained from the property owner.

ASSUMPTIONS:

- The person requesting permission to install, maintain, or use a well on private property is familiar with the legislation in WRD Memo 92.14 that describes the authority for conducting water resources investigations.

The requestor is also familiar with State law requirements to notify the local One Call Center (in some States referred to as, "call before you dig") before blasting, boring, digging, drilling, trenching, or other earth moving operations. The call before you dig system was created to promote public safety and avoid costly damage to underground facilities.

INSTRUCTIONS:

- Permission to install, maintain, and use a well.

- It is Water Resources Division policy to obtain written permission before drilling on private property, restricted public property, and leased Federal land.

Test drilling preferably should be confined to public lands (federal, state, county, or municipally-owned) when the location will serve as well as one on privately owned land.

However, if the information needed can only be obtained at a site on private property, that site may be used if permission to drill test wells and operate observation wells is obtained in advance.

Permission to drill will be in the form of an agreement between the U.S. Geological Survey (USGS) and the owner (s) of the property (private or public) using Form 9-1483.

Each agreement is assigned a number consisting of the first four digits of your cost center, hyphen, a sequential number beginning with  01, and the year in which the agreement is processed. For example, 4060-0195, 4060-0295, etc. This number should be referenced on invoices submitted to the Office of Financial Management for payment to a property owner.

Complete all the information on the agreement for installation, maintenance and use of a test hole and/or observation well shown in figure 3. Attach to the agreement, a site map showing the location of each proposed test hole and/or observation well. Form 9-1483 must be signed by the licensor (permitter), a USGS representative (preferably the Project Chief), and approved by the USGS District Chief.

Permission to collect water samples from a well.

- It is Water Resources Division policy to obtain oral or written permission before collecting water samples on private property, restricted public property, and leased Federal land.

However, experience has shown that oral permission to collect water samples is easier to obtain, but written permission provides stronger legal protection.

Water-quality sampling preferably should be confined to public lands (federal, state, county, or municipally-owned) when the location will serve as well as one on privately owned land.

However, if the information needed can only be obtained at a site on private property, that site may be used if permission to collect water samples from wells is obtained in advance.

Oral permission will be documented in a project field notebook. Record the site location, date, permitter, kind of sample, and name of the USGS personnel taking the sample.

Written permission will be in the form of an agreement between the U.S. Geological Survey (USGS) and the owner (s) of the property (private or public) using the unnumbered form shown in figure 2. The unnumbered form must be signed by the permitter, and a USGS representative (preferably the Project Chief).

## DATA RECORDING

Permission details are recorded on the installation, maintenance, and use of a test hole or observation well form--Form 9-1483 (fig. 1). If water samples are to be collected, also complete the permission to collect water samples using the unnumbered form (fig. 2).

## REFERENCES

Figure 3. Agreement for installation, maintenance and use of a test hole and/or observatory well on private property--Form 9-1483

Figure 4. Permission to Collect Water Samples--Unnumbered form

# INSTALLING A PRESSURE TRANSDUCER AND ACTIVATING THE DATA RECORDING DEVICE

## PURPOSE

To describe a procedure for installing a pressure transducer in a well or stream to measure and record a hydraulic head and assuring the quality of the data.

## EXPLANATION

Pressure transducers and electronic data recording devices are one of the most prevalent methods of collecting water-level data in wells and stage data on streams. There are numerous manufacturers of these instruments, and there are 2 basic types of units: (1) transducers and a data recorder built into the same unit; everything is submerged, and (2) transducers separate from the recording unit linked by a line; only the transducer is submerged.

MATERIALS & INSTRUMENTS:

- Transducer and electronic data recording device.

Steel tape for measuring water level to within ±0.01 ft

Media for electronic storage of downloaded data (disk, laptop computer, etc.)

Equipment for interrogating transducer.

Site location map.

Field notebook.

Pencil, eraser, and pen.

## LIMITATIONS

Pressure transducers are designed with different pressure ranges. For example, the Design Analysis Assoc. instrument with a range of 0 to 5 pounds per square inch (psi) measures water level fluctuations in the range of 0 to about 11.53 ft with an accuracy of ±0.0002 ft. If the water-level fluctuation is expected to be greater, then an instrument with a higher psi range should be used. The higher the psi range, the less accurate the readings.

Older transducers that are connected to a data recording device at the surface can be sensitive to instrument drift caused by air temperature fluctuations. Newer instruments compensate for this drift automatically.

ASSUMPTIONS:

- The site file and appropriate mandatory data has been established and is already in the NWIS database.

The probable maximum change in water level is known.

The probable minimum water level (lowest) is known.

The transducer cable already has the necessary junction box and appropriate connector installed.

The manufacturer’s suggested setup procedure for the instrument is followed.

INSTRUCTIONS:

- Perform any pre-calibration of the instrument suggested by the manufacturer’s instructions. Record date, time, and results of calibration in the field notebook.

Measure and mark on the transducer cable the pre-determined depth to be submerged.

Lower the transducer into the well or stream until the mark on the cable just touches the water level or stage.

Connect a data recorder to the transducer cable.

Follow the instructions provided by the manufacturer in initially setting up the data-recording device.

If the transducer is to record altitude above mean sea level, depth below land surface, or any other number from an arbitrary datum, measure the water level or stream stage using a steel tape and record the number with respect to the chosen datum. Set the data recorder to this number. If water level change is the only output necessary, then set the data recorder to zero.

Adjust the recorder settings so that a rise in water level records as a number greater than the preset number and declines in water level record as numbers less than the preset number.

Raise or lower the transducer a known vertical distance and watch the recorder display to see if it shows the correct water-level change. If it does, proceed to step 9. If the change shown is not correct, go back to step 5.

Set the frequency of recording to that which is appropriate for the objectives. Typically, frequency can be even time increments, logarithmic increments, or can be based on a preset change in water level.

## RECORDING

Record all measurements taken during initial calibration of the instrument in the Field notebook. Water levels measured as the instrument is deployed in the field should be recorded in the Field notebook and on the water-level sheet established for the site.

## REFERENCES

Each individual instrument is accompanied by its own manual and set of instructions on calibration and setup.

# RECOGNIZING AND REMOVING DEBRIS FROM A WELL

## PURPOSE

To recognize when a well contains debris and what to do about removing the debris from the well.

MATERIALS & INSTRUMENTS:

- Steel tape graduated in feet, tenths and hundredths of feet, or an electric tape.

Blue carpenters chalk.

Clean rag.

Mirror

Flashlight.

Pencil and eraser.

Field notebook.

Water level measurements form 9-1904-E (fig. 1).

A grappling device with wire line, or heavy-duty treble fishing hook and rope.

DATA ACCURACY & LIMITATIONS:

- A graduated steel tape is commonly accurate to 0.01 foot.

The water level should be within 200 feet of the land surface.

## ASSUMPTIONS

Individual has been trained to make water-level measurements with a graduated steel tape and an electric tape.

## INSTRUCTIONS

The quality of water-level data from a well is directly related to well maintenance. If debris is present in a well, it could cause errors in water-level measurements if the debris affects the plumbness of the tape.

- Make a water-level measurement with a graduated steel tape or an electric tape. If there is a lack of agreement between the original water-level measurement and subsequent water-level check measurements it could indicate that the well contains debris.

When measuring the water level in the well, if the measuring tape goes slack as it is being slowly lowered into the well, the weight or probe has probably hit well debris.

To check for well debris on a sunny day, use a mirror to look into the well. The mirror is held in the hand and rotated back and forth until the proper angle is obtained to allow the sun to reflect off the mirror and down the well onto the water surface.

If the well is located in a dark enclosed area away from the sun, or the weather is overcast, use a flashlight to look down the well for debris.

To remove light to medium weight wood debris from a well, a simple inexpensive device to use is a heavy-duty treble fishing hook attached to a rope. Lower the heavy-duty treble hook down the well while using the mirror to see when the hook is below the debris. To remove the debris from the well, move the rope upward with a quick jerking motion until the wood debris becomes snagged on the treble hook. Slowly remove the rope and debris from the well. If the object is below the water surface where it cannot be seen, feel for the debris while trying to snag it.

To remove heavy wood or debris that cannot be snagged, use a grappling device similar to a pair of ice tongs. The device shown in figure 1 of GWPD 6 has been designed and effectively used to remove debris from wells and requires no special talent to operate. This type of device can be used to remove blocks of wood, stones, cans, bottles, pipes, and poles from wells. This type of grappling device can be constructed from the photographs show in figure 1.

To remove debris from a well, cock the device in the open position and lower into the well on a suspension cable that is fastened to a shackle. When the tripping rod strikes the debris in the well, the rod pushes upward on the locking bar, releasing it, and the spring opposite the locking bar pulls the arms together. The weight of the debris being lifted from the well holds the arms together. The heavier the object, the tighter the arms grip. In case the tripping rod will not close the arms, the arms can be closed from the surface by attaching a line at the pivot point of the locking bar. Lower the grappling device into the well and pull on the line connected to the locking bar when the arms are in the desired position. The arms will close around the debris without the aid of the tripping rod.

## DATA RECORDING

Data are recorded in a field notebook and the Water-Level Measurements form 9-1904-E.

## REFERENCES

- U.S. Geological Survey, 1965, Selected Techniques in Water Resources Investigations, compiled by G.N. Mesnier and E.B. Chase: U.S. Geological Survey Water-Paper 1822, p. 43-46.

U.S. Geological Survey Level 1 training, ground-water field techniques, 1994.

GWPD 1, water-level measurement using graduated steel tape (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

GWPD 6, recognizing and removing debris from a well (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

# CONTINUOUS WATER-LEVEL MEASUREMENTS USING A FLOAT-ACTIVATED RECORDER

## PURPOSE

To make continuous water-level measurements in a well using a float-activated recorder.

MATERIALS & INSTRUMENTS:

- Graphic recorder, digital recorder, data logger, or data collection platform (DCP).

Recorder chart, digital-recorder tape, data cartridge.

Battery, 12 volt, 8 and 26 amp hr, rechargeable, and spare batteries.

Recorder clock and spare clocks.

Float and counterweight.

Small diameter stranded cable or a flat steel tape.

A steel tape graduated in feet, tenths and hundredths of feet, blue carpenters chalk, and a clean rag.

Recorder shelter with lock.

Field notebook, pencil and eraser.

Water level measurements form 9-1904-E.

Laptop computer for collection of Basic Data Recorder records (when applicable).

Recorder well servicing log (fig. 1).

DATA ACCURACY & LIMITATIONS:

- The initial water level setting for a float-activated recorder should be determined using a graduated steel tape, which is commonly accurate to 0.01 foot.

Each time a float-activated recorder is serviced, a calibration check water-level measurement should be made with a graduated steel tape.

Where depth to water is greater than a few feet below the top of the casing, special care should be taken to minimize friction between the float cable and the walls of the well. The float selected should be the largest diameter that can be accommodated by the well casing.

The recorder clock is the most susceptible part of the recorder to malfunction, and should be cleaned and adjusted periodically.

Float-activated recorders should be used in wells that are 3-inches in diameter or larger.

Float-activated recorders cannot be used in flowing wells, where the water level is above the top of the casing. However, if the well can be shut in a pressure recorder, a recorder can be used.

ADVANTAGES:

- Graphic recorder

- Simplest recording device.

Recorder chart gives a continuous water level trace.

Immediate visualization of water-level fluctuations.

Accurate and reliable.

Digital recorder

- Longer data-collection time than a graphic recorder.

Accurate and reliable.

Data logger

- Expandable data memory.

Programmable.

Accurate and reliable.

DCP

- Provides real-time data.

Satellite transmittal of data.

Accurate and reliable.

DISADVANTAGES:

- 1. Graphic recorder

- Limited data-collection time, one month versus several months.

Data must be determined manually.

If the graphic recorder clock fails, data will be lost.

Digital recorder

- Rapidly changing water level peaks may be missed due to the limited preselected time intervals on the 16-channel paper tape.

If the digital recorder clock fails, data will be lost.

Becoming obsolete.

Data logger

- Rapidly changing water level peaks may be missed due to preselected time intervals.

Most data loggers require a field computer or a digital interface to download data.

If the memory backup battery fails, data may be lost.

DCP

- Transmittal of real-time data can be affected by computer downtime.

Rapidly changing water level peaks may be missed due to pre-selected time intervals.

Ice on the external antenna can interfere with data transmittal to the satellite.

If the memory backup battery fails, data may be lost.

ASSUMPTIONS:

- A permanent measuring point has been established as described in GWPD.

The user has been trained in making water-level measurements using the graduated steel-tape method as described in GWPD 1.

## INSTRUCTIONS

For some hydrogeologic studies, frequent and uninterrupted water-level measurements may be needed to identify unique properties of the ground-water flow system. In studies where a more complete picture of water-level fluctuations is needed, automatic float-activated, water-level recorders can be installed. Float-activated recorders sense changes in water level by the movement of a weighted float that is lowered into the well. A cable attached to the float passes over a pulley on the recorder and a counterweight is attached to the other end of the cable and hangs in the well. When the clearance between the float and the well casing is small, the float cable should be setup so that the counterweight does not have to pass the float, but is always above or below the water level. If the counterweight is immersed below the water level, a little extra weight should be added to offset the water's buoyancy.

- Types of float-activated recorders:

- Chart or graphic recorder -- This type of recorder (figure 1, GWPD 14) is the simplest device commonly in use. It consists on a drum chart that is actuated mechanically by a float that follows the water level. The graphic recorder provides a continuous trace of the water level on a chart, which is graduated to record both water level and time. Battery operated clocks for graphic recorders can be set to record a wide variety of intervals, ranging from a few hours to one month. The pulley is connected to the recorder drum by gears. A wide range of drum gears is available to set up the chart so that its rotation is proportional to the movement of the float. Figure 1 (GWPD 14) shows a typical setup for a graphic water-level recorder using a guide pulley assembly in a small diameter well, as well as a standard position setup.

Data logger -- The Sutron-8400, the Campbell Scientific CR-10, and the BDR (basic data recorder) are the latest state-of-the-art recorders. The Sutron data logger, which does not require a field computer or a digital interface to download data, has become the data logger most commonly in use. Data are easily downloaded using a data-collection card. Each data card holds up to 64k bytes of data  (approximately 32,000 readings), and is expandable to 128k, which translates into nearly two years of data for one reading recorded every 15 minutes. Preselected time intervals are programmed by the user. The standard CR-10 stores 300 data values and is expandable to 29,900. The BDR operates similar to the CR-10, but has less memory.

DCP -- DCPs provide real-time data using the Geostationary Orbiting Environmental Satellite (GOES) system. Data are held until the satellite passes overhead when data are transmitted to the satellite. The satellite then transmits the data to a down receive site, which in turn transmits it to the District computer. Sutron data loggers equipped with a GOES radio setup are commonly used at DCP installations.

Select a graphic recorder, a digital recorder, a data logger, or a data collection platform (DCP) setup, whichever best suits the water level collection needs of the project.

Install the float-activated recorder selected in a suitable locking shelter that is protected from the weather and vandalism. The recorder shelter should also be solidly anchored.

Measure the depth to water in the well using a graduated steel tape (wetted tape) to obtain an accurate water-level measurement with which to calibrate the recorder water level.

Set the initial time and water level for the recorder using the steel tape water-level measurement.

Each time the float-activated recorder is serviced, a calibration check water-level measurement should be made with a graduated steel tape.

Record the initial water-level measurement and all site-visit water-level measurements on the water-level measurement field form (fig. 1).

In small diameter wells (less than 3 inches) it is recommended that a pressure transducer be used for measuring water levels.

## DATA RECORDING

All data are recorded in the field notebook and in the water-level measurements field form (Form 9-1904-E).

## REFERENCES

1. U.S. Geological Survey Level 1 training, ground-water field techniques, 1994.

2. United States, Office of Water Data Coordination, 1977-, National handbook of recommended methods for water-data acquisition: Office of Water Data Coordination, Geological Survey, U.S. Department of the Interior, Reston, Va., chap. 2, p. 1-149.

3. GWPD 1, Water-level measurement using graduated steel tape (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

4. GWPD 3, Establishing a permanent measuring point (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

5. GWPD 14, Continuous water-level measurements using a float activated recorder (http://water.usgs.gov/usgs/ogw/tech_proc/index.html)

6. Garber, M.S., and Koopman, F.C., 1968, Methods of measuring water levels in deep wells: U.S. Geological Survey TWRI, book 8, chap. A1: Washington, U.S. Government Printing Office, 23 p.

# GUIDELINES FOR MONITORING DRILLING ACTIVITES AND HOW TO SAMPLE AND IDENTIFY CORE

## PURPOSE

To ensure compliance with contractual specifications, to record and document drilling activities properly, and to provide guidelines of the description and preservation of geologic samples.

MATERIALS & INSTRUMENTS:

HCL (10%) [ ] 	Grain-size/shape chart [ ] 	Insect Repellent [ ]

Hand Lens [ ] 		Core logging form [ ] 		AAPG sample exam. manual [ ]

Knife [ ] 		Pencils [ ] 			Drilling log book [ ]

Color Chart [ ] 	Water well handbook [ ] 	Binocular microscope [ ]

Camera [ ] 		Film [ ] 			Rain gear [ ]

Sample bags [ ] 	Saran wrap [ ] 			Permanent marker pen [ ]

Calculator [ ] 		First aid kit [ ] 		Snake bite kit [ ]

Local Geology Site Location Map [ ] 		Field Notebook [ ]

References [ ]

## DATA ACCURACY & LIMITATIONS

Reported well depths and sample intervals can be highly variable due to washouts and errors on the part of drillers. It is important to keep track of well depths by monitoring the number of drill stem inserted into borehole. Borehole geophysical logs can be used to verify well depths, within the accuracy limits of the geophysical equipment. Well cuttings samples can be highly inaccurate regarding sampled interval and core samples can be inaccurate when large sections of core are not recovered (generally in sandy intervals or in cavernous zones).

INSTRUCTIONS:

- Establish lines of communication with local emergency personnel (police) prior to commencement of drilling. Local police need to know your location, hours of operation, and the names of people in your work party (this will help them in patrolling your site). You need to know the location of the nearest emergency medical facility and to have an emergency plan in case of injury.

Always remember that the drillers are working for the USGS. For this reason, it is important to maintain a "supervisor/employee" relationship with the drill crew. To maintain such a relationship, the following suggestions may be helpful:

- Limit socializing with the drillers during off hours (don't become "one of the guys"),

Always behave in a professional manner when on site or after hours.

Be helpful when on site, but don't do their work for them. They are being paid to do their job. Your job is to ensure that USGS is getting the products that we are paying for (and logging core),

Don't get in the way of the drillers. They need to focus on the tasks at hand (which can be potentially dangerous) and they don't need you in their way when doing their work.

Keep daily log of drilling activities (see Lapham and others, 1997). This includes rig shutdowns and repairs. Keep in contact with head driller and ASK QUESTIONS. Sometimes a driller will try to take advantage of an inexperienced geologist on site, so it is very important to ask questions. Keep an eye on supplies--if it looks to you like they are running low on an item remind the head driller. Keep track of prolonged absences of drillers and record times of arrival and departure.

Keep project HQ informed on a daily basis. Phone in during a break in drilling or at night. The project chief will provide you with home phone number.

Become familiar with the contract specifications. These are the guidelines that the drillers must follow. There may be some deviations from this, however they should be minimal and should be cleared with project HQ.

When installing well materials, keep account of the amount of materials used. This includes:

Casing: Measure length of sections, note type of material, and count the number of lengths put into drill hole.

Screen: Same as for casing, however you must also consider the size of the screen opening.

Grout: Compute the volume of grout required to set casing. See Water Well handbook for guidelines. Record amount of grout poured into hole.

Bentonite: Same as for grout.

A log of collected core samples needs to be kept using standard form (see Lapham and others, 1997). Become familiar with guidelines listed in AAPG sample examination manual. Information recorded includes:

Sample description, in following order (see AAPG manual):

- Rock type.

Color (use GSA rock color chart).

Texture, including grain size, sorting, and roundness (see AAPG manual).

Cement and/or matrix materials. Use 10% HCL to test for carbonates. Be sure to limit use of HCL to small portions of the core sample.

Fossils and accessories.

Sedimentary structures.

Porosity

Percent recovery. Note how much core was recovered in a given sample run.

Drilling comments. Note how long it took to core a difficult interval, note caving zones, note cavernous zones.

Take a photograph of each core box. Use multipurpose film (slide/print). Take photograph of each group of 4 consecutive core boxes.

Sample storage. Each sample should be stored in a cardboard core box lined with saran wrap. Loosely wrap sample in this wrap. Separate core runs with small wooden blocks labeled with coring interval. Label outside of core box with information on well name, date collected, driller, interval in box, and box number (i.e. box 1 of 8). If a sample is removed from the core box, indicate with a block of wood (or other divider) the amount and depth of sample, and the name of the person removing the sample (i.e. 450', 3", Phil Dert). Protect these samples! They are worth thousands of dollars and should be protected from elements. Keep core boxes off ground and covered with waterproof material. Do not leave unsecured overnight (to prevent possible vandalism).

Geophysical logging.--Keep office informed of drilling progress so that geophysical logging can be scheduled for appropriate time.

Predicting depths of hydrogeologic units. Use structure contour and thickness maps found in references on local geology.

## DATA RECORDING

See #3, 7, 8, and 9, above.

## REFERENCES

1. Lapham, W.W., Wilde, F.D., and Koterba, M.T., 1997, Guidelines and standard procedures for studies of ground-water quality; selection and installation of wells, and supporting documentation: U.S. Geological Survey Water-Resource Investigations Report 96-4233, 110 p.

2. Geological Society of America, 1991, Rock color chart: Boulder, Co., Geological Society of America, Denver, Co.

2. Wentworth, C.K., 1922, A scale of grade and class terms for clastic sediments: Journal of Geology, v. 30, p. 377-392.

3. Dunham, R.J., 1962, Classification of carbonate rocks according to depositional texture, in Classification of carbonate rocks, W.E. Ham, [ed.]: American Association of Petroleum Geologists Memoir 1, p. 108-121.

4. Driscoll, F. G., 1986, Groundwater and Wells, Johnson Filtration Systems, Inc., St. Paul, Minnesota, ISBN 0-9616456-0-1, 1089 p.

5. GWPD 2, Ground-water site inventory (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

6. GWPD 5, Locating a well (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

7. GWPD 3, Establishing a permanent measuring point (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

8. Swanson, R.G., 1981, Sample examination manual, Methods in exploration series, American Association of Petroleum Geologists, Tulsa, OK, variously paged.

9. Anderson, K.E., 1989, Water Well Handbook, Missouri Water Well and Pump Contractors Association, Inc., Ballwin, MO, 281 p.

# GUIDELINES FOR COLLECTION AND PACKAGING OF CORE SAMPLES FOR HYDRAULIC ANALYSIS

## PURPOSE

Goal is to collect samples from confining units. Try to collect several intervals within the confining unit, especially if lithologic changes are observed.

MATERIALS & INSTRUMENTS:

- Saran wrap.

Aluminum foil.

Ziploc bags.

Marker pens.

Packing materials--boxes, popcorn foam, tape.

## DATA ACCURACY & LIMITATIONS

Reported well depths and sample intervals can be highly variable due to washouts and errors on the part of drillers. It is important to keep track of well depths by monitoring the number of drill stem inserted into borehole. Borehole geophysical logs can be used to verify well depths, within the accuracy limits of the geophysical equipment. Well cuttings samples can be highly inaccurate regarding sampled interval and core samples can be inaccurate when large sections of core are not recovered (generally in sandy intervals or in cavernous zones).

INSTRUCTIONS:

- Collect sample as soon as core is pulled from ground.

Wrap sample tightly with several layers of SARAN WRAP.

Wrap sample tightly with several layers of ALUMINUM FOIL.

Place sample into zip lock bag.

On each layer (saran wrap, foil, and bag), label interval (ft), date collected, and point toward the top with an arrow. Use permanent marker.

Pack samples into box and pack with popcorn/foam. Label package fragile.

For each box sent, label sample bags as follows:

Sample 1 of 10,

2 of 10,

3 of 10, etc.

Include list of samples included in box, keep copy for our records, i.e. Sample 1 101' gray silty clay

Ship samples to core laboratory--use overnight service.

## DATA RECORDING

See #5 and 8 above

## REFERENCES

1. American Society for Testing and Materials, 1980, Laboratory determination of water (moisture) content of soil, rock, and soil-aggregate mixtures (ASTM-D-2216-80): Philadelphia, Pa., American Society for Testing and Materials, 8 p.

2. American Society for Testing and Materials, 1990, Standard test method for measurement of hydraulic conductivity of saturated porous materials using a flexible wall permeameter (ASTM-D-5084-90): Philadelphia, Pa., American Society for Testing and Materials, 8 p.

3. Driscoll, F. G., 1986, Groundwater and wells: Johnson Filtration Systems, Inc., St. Paul, Minnesota, ISBN 0-9616456-0-1, 1089 p.

4. GWPD 2, Ground-water site inventory (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

5. GWPD 5, Locating a well (http://water.usgs.gov/usgs/ogw/tech_proc/index.html).

6. Swanson, R.G., 1981, Establishing a permanent measuring point (from National GWPD 3). Sample examination manual, Methods in exploration series: Tulsa, O.K., American Association of Petroleum Geologists, variously paged.

APPENDIX D: Ground Water Site Inventory (GWSI) Database Management and Quality Assurance Plan

###### Contents										   Page

Introduction	3

2.0 Organization and responsibilities	4

3.0 Training	7

4.0 Data processing, review, and entry	8

5.0 Storage and archiving	9

6.0 Appendices	10

6.1 Required Data Elements for GWSI Form No. 9-1904-A, March 1999 version.	10

If well site is field-checked or visited:	13

Miscellaneous Visit Data	13

If water-level measurements were performed:	13

Water-Level Data	13

Miscellaneous Remarks	13

6.2 Data Review Checklist Followed by Review Personnel Prior to Data Entry into GWSI.	14

6.3 GWSI Data Entry Checklist for Data Entry Personnel	15

7.0 Selected References	17

# Introduction

The Water Resources Division (WRD) of the U.S. Geological Survey (USGS) performs a wide variety of ground-water data-collection programs and investigations to assess the status of the Nation’s ground-water resources. Results of these activities are used to aid the Nation in developing, managing, and maintaining its ground-water resources.

As the Nation’s principle earth-science information agency, the USGS is depended upon to collect accurate data and produce factual and impartial interpretive reports. Methods for data collection and analysis that were developed by the USGS have become standard techniques used by numerous Federal, State, and local agencies and by private enterprises. Data collected by scientific organizations such as the USGS are being used increasingly by the public to define and examine a variety of natural-resource and environmental problems. Many of these problems are addressed through an open, public process. As a result, scientific organizations are being challenged to demonstrate the credibility of their data on the basis of objective evidence rather than on the organization’s history and reputation.

To address these demands and expectations, the WRD has implemented a program designed to ensure that all scientific work done by or for the WRD is conducted in accordance with a quality- assurance (QA) program. The Office of Ground Water (OGW), in coordination with the Branch of Technical Development and Quality Systems, has the responsibility to develop, coordinate, and implement the quality-assurance program for District ground-water activities. As part of that program, the OGW has directed the preparation of a Ground-Water Quality Assurance Plan (GWQAP) which covers all ground-water activities by District offices of the USGS. USGS Open-File Reports (OFR) 92-136 (Schroder and Shampine, 1992), 92-162 (Shampine and others, 1992), and 97-11 (Brunett and others, 1997) outline the guidelines for preparing District quality-assurance plans and integrating the quality assurance into project work plans. The Nebraska Water Science Center GWSI database management and quality assurance plan presented here is intended to supplement the Nebraska Water Science Center Ground-Water Quality Assurance Plan and provide more specific details related to the review, entry, maintenance, storage, and archiving of ground water data.

This GWSI database management and quality-assurance plan provides formal procedures for documentation and review of the processing, storage, and retrieval of ground-water data, including water-levels, water-quality analyses, and geologic and geophysical logs, by the Nebraska Water Science Center to assure the management, quality, and reliability of the District GWSI database. The plan is based upon the following principles:

District GWSI database activities will be planned efficiently and effectively to provide information needed to evaluate local, State, and National water problems.

Technical and scientific activities will be performed in accordance with applicable WRD practices and policies.

GWSI database activities will be performed by technically qualified personnel performing at a level commensurate with their training and experience.

All such activities and projects will receive appropriate and timely review for completeness, reliability, and credibility.

Remedial actions will be taken to correct any observed technical or database deficiency.

# 2.0 Organization and responsibilities

Though quality assurance is a personal responsibility of all employees of the USGS, ultimate quality-assurance responsibility within each District lies with the District Chief. Clear statements of specific responsibilities promote an understanding of each person’s role in the overall process of assuring quality and can help to prevent errors and deficiencies that may otherwise occur. Implementation and follow-up responsibilities lie with database administrators, data-collection staff, project chiefs, Investigation Section Chiefs, discipline specialists, District Chiefs, regional specialists, and others. Even if quality-assurance responsibilities are ancillary duties for some employees, these functions are to be documented.

The following is a list of specific responsibilities of District personnel for implementing the GWSI database management and quality assurance plan.

The District Chief is responsible for:

- Ensuring the GWSI database activities in the District meet the needs of cooperating agencies, including state and local agencies, the general public, and the Federal Government.

Ensuring that all aspects of the GWSI database management and quality assurance plan are understood and followed by District personnel.

Providing final resolution of any conflicts or disputes related to GWSI database activities within the District.

Keeping District staff briefed on procedural and technical communications from Region and Headquarters

Ensuring that procedural and technical reviews of all GWSI activities are conducted.

Ensuring that all data retrievals and other technical communications released by the District are accurate and in accord with USGS policy.

Ensuring that GWSI training is incorporated into each employee’s training plan, where appropriate.

The Investigations Section Chief is responsible for:

- Managing and directing GWSI database activities assigned to the section and ensuring that the stated objectives are met in a timely manner.

Reviewing the GWSI database management and quality assurance plan and alterations made according to USGS and Nebraska Water Science Center policies and procedures.

Discussing and evaluating, in coordination with the District ground-water specialist, the policies and procedures pertaining to the data review, entry, and retrieval of the GWSI database.

Creating, with ground-water personnel in the section, a training plan for the GWSI database for each employee, where appropriate.

The District Ground-Water Specialist is responsible for:

- Discussing and evaluating, in coordination with the Investigation Section Chief, the policies and procedures pertaining to the data review, entry, and retrieval of the GWSI database.

Reviewing the GWSI database management and quality assurance plan and alterations made according to USGS and Nebraska Water Science Center policies and procedures.

Providing the GWSI database administrator (DBA) with technical and administrative support as needed.

Participating in the technical review of the GWSI database.

Reviewing ground water related projects for the collection of GWSI data according to the procedures and policies of the USGS and the Nebraska District.

The computer System Administrator is responsible for:

- Directing and conducting the upgrades to the National Water Information System (NWIS), including the GWSI database.

Ensuring the checkpoint, backup, and optimization of the GWSI database and, if necessary, the recovery of the GWSI database.

Making available to all personnel the technical information for upgrades to the GWSI database.

Determining and setting access rights of personnel for the GWSI database.

The GWSI Database Administrator is responsible for:

- Maintaining data integrity within the GWSI database.

Performing or assigning, to appropriately trained personnel, the checking of all data entered into the GWSI database, prior to entry, according to USGS and Nebraska Water Science Center policies and procedures.

Performing or assigning, to appropriately trained personnel, the entry and/or updating of all data entered into the GWSI database according to USGS and Nebraska Water Science Center policies and procedures.

Performing or assigning, to appropriately trained personnel, the retrieval of all data entered into the GWSI database according to USGS and Nebraska Water Science Center policies and procedures.

Ensuring that hard copies are returned to archives or project files upon completion of data checking, entry, and/or update.

Informing and discussing with the District ground-water specialist any data conflicting with/or altering Nebraska Water Science Center policies and procedures for the GWSI database.

Performing periodic maintenance checks and updates of data using OGW programs.

Understanding GWSI database upgrades through information relayed from the NWIS program and discussions with the Nebraska system administrator.

Training personnel in data checking, entry, updating, and retrieval of the GWSI database as assigned by the Investigation Section Chief.

Informing the Investigation Section Chief of potential necessities in training personnel for the GWSI database.

Writing and updating the GWSI database management and quality assurance plan in accordance with USGS and Nebraska Water Science Center policies and procedures.

Maintenance of a file and/or notebook documenting all data entry and updates within the GWSI database.

Discussing with the system administrator and/or the ground-water specialist and Investigation Section Chief the determination of personnel access rights for the GWSI database.

The Project Chiefs for ground water-related projects are responsible for:

- The collection and maintenance of ground-water data within project files according to USGS and Nebraska Water Science Center policies and procedures.

Ensuring the completion of appropriate ground-water data forms by field or project personnel, prior to checking and entry of the data into the GWSI database, according to USGS and Nebraska Water Science Center policies and procedures.

Ensuring the proper archiving of ground-water data, upon completion of the project, according to USGS and Nebraska Water Science Center policies and procedures.

Providing the DBA with the data forms and original copy field data for checking and entry into the GWSI database.

The data entry/update personnel are responsible for:

- Entering or updating data into the GWSI database according to USGS and Nebraska Water Science Center policies and procedures.

Data entering personnel will follow the data entry checklist, appendix 6.3.

The data checking personnel are responsible for:

- Checking data for the GWSI database according to the data review checklist, appendix 6.2.

The field personnel are responsible for:

- The collection of data according to USGS and Nebraska Water Science Center policies and procedures.

Where possible, completion of form no. 9-1904-A, September 1980 version, of the required data elements, see appendix 6.1, at the field site.

Providing the original copy data field notes with the appropriate completed GWSI data forms for checking and entry/update into the GWSI database.

# 3.0 Training

Employee training is an investment that has short-term and long-term benefits to District ground- water activities. The immediate benefits permit confidence that the work is being performed correctly and accurately. The long-term benefits provide for technically competent employees that are of great value to the organization. Because all work in the scientific arena is receiving increased scrutiny, the qualifications of ground-water personnel relative to the technical demands of the work to be performed must be well-documented. Training already received as well as current and planned training need to be incorporated into a documented training plan for each employee. periodic review of these plans by District management will help determine additional training needs.

The training needs of personnel working with the GWSI database will be determined by the Investigation Section Chief, in association with information from the District ground-water specialist, project chiefs, DBA, and individual personnel. Personnel being reviewed for training should include: project chiefs, ground-water specialist, DBA, data checking and entry personnel, and field personnnel. The Investigation Section Chief will determine, in conjunction with the District Chief, whether the training will take place outside of the District, inside the District by external personnel, or inside the District by the DBA or other appropriate personnel.

# 4.0 Data processing, review, and entry

In general, data are most accessible and useful to the project chief and other District employees, as well as to those outside the District office, if they are stored in a computerized database. Storage in a single database also enables interpretations to be more easily verified and repeated. All water data collected as part of the routine data collection of the WRD, which are all ground-water data collected by basic data programs and District projects (OGW Technical Memorandum 93.03), must be stored in computer files of the USGS NWIS. In addition, “all data collected by others -- such as cooperators, universities, or consultants -- that are used to support published USGS documents and not published or archived elsewhere, shall be placed in NWIS” (Hubbard, 1992). Exceptions to these requirements are spatial data coverages and other data for which appropriate database capabilities do not exist in NWIS.

A quality database is maintained by checking database files against original data files to ensure accuracy; performing internal cross-checks of the data in the database to identify anomalous data; and maintaining the original data in paper or electronic archives to ensure integrity.

A data-management plan describes the procedures used for data processing, review, storage, and archiving. After ground-water data are collected, they often are processed using one or more procedures, such as the application of time or datum corrections, and then are stored in computerized or physical files. Descriptive information on data-collection sites, such as well-construction data and location also should be stored.

The following quality-assurance activities are performed by the District.

All original data in paper form is placed in project or data-collection program files in the office where the study originated. Original data in electronic form is stored in NWIS. All original data is preserved unmodified as collected or received. Original data are those data -- from automated data-collection sites, laboratories, outside sources, and not-automated field observations -- unmodified as collected or received, once put into conventional units (engineering  units, generally with a decimal)(Hubbard, 1992).

The original data, after processing, where appropriate, will be coded on to the correct GWSI form(s), usually form no. 9-1904-A, May 2003 version. The required data elements for completion of this form are in appendix 6.1. Anyone coding a GWSI form is required to fill in the “Coded by” element along with the date. If there isn’t a location for the “Coded by” element, the form should be initialed and dated at the top. When possible, code all of the data on site in the field. When the form(s) has been completed, the original data and form(s) are passed to the project chief.

The project chief will review the original data and form(s) according to the project plan. The project chief and DBA will determine the appropriate time frame for data review and entry. The forms, along with the original data, when appropriate, will be passed to the DBA.

The forms will be reviewed by the DBA, or assigned to trained checking personnel, according to the review checklist, appendix 6.2. After the data has been reviewed and approved, data entry into the GWSI can proceed. Data entry will be performed by the DBA or assigned to trained entry personnel. Entry will proceed according to the data entry checklist, appendix 6.3. Data is reviewed promptly after any data-processing procedure is completed to ensure that the procedure was correctly applied and that the results are consistent both internally to the data set and with other data for the same site. This review is performed prior to publication or other dissemination to the general public and prior to the technical review of publications that contain the data or that use the data in interpretations.

Periodically, the DBA will perform internal checks of ground-water data in the GWSI database. These data checks will identify anomalous sites where data might be in error. These sites will be reviewed by the DBA and discussed with the ground-water specialist and appropriate project chiefs. After a corrective action has been determined the GWSI database will be updated accordingly.

Records of all GWSI database entry, updates, and upgrades should be maintained in a file and/or record book. This record book/file will be maintained by the GWSI DBA and contain dated records of sites entered, updated, and upgrades performed.  Evidence and reasoning leading to updates of previously entered data will be recorded in this book/file. This record book/file will provide a hard copy record for quality assurance of data entered into the GWSI database.

# 5.0 Storage and archiving

At the conclusion of a project, the paper file for each data-collection site will be stored in the District ground-water files. The District ground-water files are divided into three areas; well files, log files, and aquifer test files. Well files containing GWSI forms, driller’s logs, water quality analyses, water-level measurements, and maps will be stored in the District well files. These files are stored by county and station name (or local well id, determined from township and range, section, and quarter-quarter-quarter location with sequence number) in alphanumeric order. Logs are stored in the logs file. Logs are stored in an envelope or file, labeled with county, station name (local well id), date of logs, and type of logs. Log files are stored by county and station name. Aquifer test data (pump test data) are stored after approval by the Regional Hydrologist and completion of the project. Aquifer test files will be labeled by county and station name of the pumping well. The minimum data the files should include are the results, the pumping well station name, the observation wells station names, the dates of the aquifer test, and the participants. The aquifer test files will be stored by county and station name.

Archiving is the final step in the processes of data collection, analysis, and interpretation. Although the report represents the summary of the current work, the data and its interpretation should be available for further analysis.

Archiving is the systematic process of storing data and information to protect it from change or loss, by providing the necessary security.

Electronic archiving is the systematic process of removing data from active, on-line computer storage and preserving it with the capability to recover the data.

To assure the quality of the archiving process, the following steps shall be performed by the District:

- All data shall be archived as specified by current WRD policy.

All model related computer files and appropriate simulation results shall be archived as outlined in OGW Technical Memorandum 93.01.

All aquifer-test data and results shall be archived as outlined in OGW Technical Memorandum 94.02

The District archiving plan will be established that will document the disposition of all project information upon completion of District projects. The archiving plan will document the archiving process and the responsibilities of personnel assigned to archiving tasks. The disposition of technical-procedure documents and procedures notebooks developed for an individual project should be described in the archiving plan.

# 6.0 Appendices

## 6.1 Required Data Elements for GWSI Form No. 9-1904-A, May 2003 version.

A listing of data elements, required by the Nebraska District, to be collected or determined by field personnel in completing the minimum necessary for establishing a well site in GWSI using the form no. 9-1904-A, revised March 1999. For convenience while filling out the form, the elements will be listed in the order of the form.

Coded by--This is required. The personnel recording the field data should be recording the data on the GWSI form by First, Middle Initial, and Last Name.

File Code--This is equivalent to the Station Name, C12; township and range, section, quarter- quarter-quarter, and sequence number.

Date--The date that the initial data is collected in the field or from another source.

C4-Agency Code-Agency who collected the original data.

C1-Site Id--15 digit number determined from the latitude, longitude, and sequence number. If the latitude and longitude are determined using a Global Positioning System (GPS) that is accurate to tenths or hundreths of a second, the site id is determined by rounding the latitude and longitude to the nearest whole second.

C5-Project--The nine digit project number. This number will generally begin with 4631 followed by the five digit project code.  Fill in the complete nine digit code.

C12-Station Name-- District policy, determined by the ground-water specialist, is that the station name will be the township and range, section number, quarter-quarter-quarter-quarter, and sequence number (with specific spaces noted by ‘_’ below). This location will be determined by plotting the location from latitude and longitude or field map on a 7.5’ 1:24,000 quadrangle map. Example: the well is plotted on the map at township 12 north, range 9 west, section 5, the northeast quarter of the northeast quarter of the southwest quarter of the southeast quarter, and is the only well in that quarter. This results in a station name of _12N_09W05DCAA1.  This is NOT the data element for project names or designations.  Specific project names and designations belong in element c190, Other Id.

C9-Latitude--Determined in field with GPS unit. If GPS unit is unavailable, latitude will be determined from a 7.5’ 1:24,000 quadrangle map.

C10-Longitude--Determined in field with GPS unit. If GPS unit is unavailable, longitude will be determined from a 7.5’ 1:24,000 quadrangle map.

C11-Lat-Long Accuracy--Accuracy of method determining latitude and longitude.

C35-Lat/Long Method--Method of determining latitude and longitude.

C36-Lat/Long Datum--Determined by the method used for latitude and longitude.

C6–District--Nebraska Water Science Center is 31.

C7-State--Nebraska State code is 31. If the well is not within the Nebraska State borders, the state code is that in which the well is in, not the state recording the data.

County or Town-Generally this is used for county.

C8-County Code--Three digit county code, for Nebraska 001 to 185. Other states will have different county codes.

C13-Land Net--This is the township and range, section number, and quarter-quarter-quarter. This location will be determined by plotting the location from latitude and longitude or field map on a 7.5’ 1:24,000 quadrangle map. Example: the well is plotted on the map at township 12 north, range 9 west, section 5, the northeast quarter of the southwest quarter of the southeast quarter; the land net is NESWSE S05 T12N R09W.

C14-Map Location--Name of map, including state, that well is located on to get latitude, longitude, etc...., District preference is use of 7.5’ 1:24,000 quadrangle map.

C15-Map Scale--7.5’ 1:24,000 quadrangle map is indicated by assuming the 1: portion, writing only the remaining scale number, 24000. A scale of 1:62,500 is recorded as 62500.

C16-Altitude--Generally taken from a 7.5’ 1:24,000 quadrangle map. Other methods are available.

C18-Altitude Accuracy--Should be based on half the contour line interval for a map.Other methods will vary.

C17-Altitude Method--How altitude is determined.

C22-Altitude Datum--Dependent on method. Explanatory on form.

C711-Date Inventoried--Date data for well was recorded, MMDDYYYY.

C802-Station Type--For a well, a Y in the sixth position, _____Y_____, a spring is in the fifth position.

C804-Data Type--Place proper code in corresponding location .

C39-National Water--Use code-Select appropriate two letter code from bottom of form.

C813-GMT Offset--In Nebraska, always equal to -6.

C814-Local Standard Time Flag--Yes, equals Y.

C32-Web-Ready Flag--Always P prior to data entry.  Actually setting will be determined later through discussion by project chief, District ground-water specialist, and DBA.

C3-Data Reliability--Method for delineating the quality of the data.

C2-Site Type--Explanatory on form.

C714-Primary Aquifer--Determined upon return from field.  Well depth and altitude required. May need to consult publications or ground-water specialist.

C28-Well Depth--Necessary for primary aquifer code.  If well depth measured, type of pump should be noted.

C29-Source of Depth Data--Explanatory on form.

Field Map--Last page on form. Field map should be drawn from map in field book or updated as necessary.

### If well site is field-checked or visited:

#### Miscellaneous Visit Data

C187-Date of Visit--Date site was visited and data collected.

C188-Name of Person--Name of person collecting data for site visit.

### If water-level measurements were performed:

#### Water-Level Data

C235-Date Water Level Measured--MMDDYYYY

C709-Time--Time of water level measurement.

C237-Water Level--Water level measurement from Land Surface Datum (LSD) to ground water surface.

C239-Method of Water--Level Measurement-Explanatory on form.

C244-Source of Water--Level Data-Explanatory on form.

Construction Measurement Point Data

C323-M.P. Height--Measurement of measurement point height from LSD.

C324-M.P. Remarks--Description of measurement point.

### Miscellaneous Remarks

C184-Date of Remarks--Date of water-level measurement, MMDDYYYY.

C185-Remarks--Description of pumping status at water-level measurement time. Specifically note the time pump has been off or if pump was off upon arrival on site.

## 6.2 Data Review Checklist Followed by Review Personnel Prior to Data Entry into GWSI.

- ‘Coded by’, ‘file code’, and ‘date’ elements at top of form no 9-1904-A, should have appropriate entries.

‘Checked by’ element is presently entered with name of person performing review. If no place is preprinted for name, write ‘checked by’ on top of page and date and initial.

Latitude (C9) and longitude (C10) should be entered from GPS or map location. The following elements are required to be filled from the latitude and longitude.

Site Id (C1)

Station Name (C12) - Township and Range location

Lat - Long Accuracy (C11)

Lat/Long Method (C35)

Lat/Long Datum (C36)

Land Net (C13)

Location Map (C14)

Map Scale (C15)

Altitude (C16)

Altitude Accuracy (C18)

Altitude Method (C17)

Altitude Datum (C22)

Check GWSI for uniqueness of:

- Site Id number and sequence number

Station Name and sequence number from township and range location

These two elements should be checked against well sites currently entered into the GWSI database. If the Site Id element matches a site already entered, the new well must be checked for a duplicate site. Elements that will help determine duplicity are as follows: latitude, longitude, altitude, well depth, aquifer code, construction date, and owner name and date. Previous wells entered into GWSI may have errors in the location.  Review nearby wells for possible matching wells with different Site Ids.

If a well is determined to match a well already entered into the database, the site will need to be updated. Check hard copy well files for that well site. Check that the agency code (C4) on the form matches the site already in the database.  If it does not match, correct the form to match the site already entered. If well file exists, mark new materials for updating. When review is completed, new material is given the Site Id from the previous material and inserted into well file and relayed for updating.

If the Site Id does match a previous well and is not the same well as within the database, the two-digit sequence number will need to be increased to the next available number. A new well file is created and marked for entry.

The station name might match a previously entered well. If there is a matching station name, determine if the wells are matching or differing.  If the wells match, locate the well file, insert new material, and mark for updating. If the wells do not match, the sequence number is increased to the next unused sequence number for that quarter of the section. A new well file is created and marked for entry.

If there isn’t any matching well for either the Site Id or the Station Name a new well file is created and marked for entry.

Check for entry of the elements GMT Offset (C813) = -6, Local Standard Time Flag (C814) = Y, and Web-Ready Flag (C32) = P.

Check well depth is less than or equal to hole depth. If well depth and altitude are available, check for primary aquifer (C714).

Check water level (C237) is not greater than well depth.

Under construction data, check casing and screen depths and diameters are not greater than the well depth, hole depth, or hole diameter.

If field measurement is made, check for miscellaneous visit data.

If water-level measurement is made, check for remark (C185) referring to the length of time pump was turned off.

Check for map on last page of GWSI sheet. Map should contain a north arrow, road names, distances, and a well-marked well location.

For wells new to GWSI, write ‘New’ at top of the first page of the GWSI form. For wells already in GWSI, write ‘Update’ at top of the page of the GWSI form. Photocopy first and last page, duplex form, and map if separate, of GWSI form for insertion into county wells field files.

If there are any difficulties or problems with data on the GWSI form, the form is to be returned to the field personnel and/or project for correction.

## 6.3 GWSI Data Entry Checklist for Data Entry Personnel

- Check that each site of data has been reviewed by noting the name or date and initials at the ‘check by’ element on the front page.

Each well site data set to be entered should be labeled as ‘new’, ‘update’, or have a water-level measurement for entry.

Enter GWSI; select Screen Entry. The District DBA suggests preferential use of the screen entry over the query entry unless the entry personnel are approved by DBA for query entry screen.

Enter the agency code (C4) and Site Id (C1). The screen should ask if this is a new site or state that it matches a previously entered site. This should match new written at the top of the form or update or water level written on the form. If it does not correlate, check entry of agency code and site id. If agency code and site id are correct abort this site and return to reviewer to have it rechecked. If it does correlate, continue with entry.

If GWSI entry will not accept an entry for a data element, check for error in data entered.  If data entered matches data supplied on form, abort this site, note problem, and return to reviewer for recheck.

When individual well site entry is complete, return to step 4 and continue with next site.

When all well data is entered, exit Screen Entry program.

Run Edit GW Data program in GWSI for entry file created during entry. This program will check entry file for errors in entries.

Check error file created in Edit GW Data program. If error statement, correct accordingly in entry file. If unable to determine error, contact DBA for assistance. When file has been corrected return to step 8 and rerun Edit GW Data program. If no errors are shown, continue.

Run Update GW Data program in GWSI.

When Update GW Data is complete, retrieve data through GWSI GW Retrieval and check for errors.

Correct any errors. Retrieve data again and return files and retrieval printout to DBA for review.

# 7.0 Selected References

Brunett and others, 1997, Office of Ground Water, A Quality-Assurance Plan for District Ground-Water Activities of the USGS: U.S. Geological Survey, Open File Report 97-11, GWPD 5.

Hubbard, E. F., compiler, 1992, Policy Recommendations for Management and Retention of Hydrologic Data of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-56, 32 p.

Martin, J.D., and Cohen, D.A., 1994, Policy and Procedures for the Management and Archival Storage of Data Collected for Hydrologic Investigations of the U.S. Geological Survey, Indiana District: U.S. Geological Survey Open-File Report 94-61, 36 p.

Schroder, L.J., and Shampine, W.J., 1992, Guidelines for Preparing a Quality Assurance Plan for District Offices of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-136, 14 p.

Shampine, W.J., Pope, L.M., and Koterba, M.T., 1992, Integrating Quality Assurance in Project Work Plans of the U.S. Geological Survey: U.S. Geological Survey Open-File Report 92-162, 12 p.

U.S. Geological Survey, 1981, Hydrologist’s Guide to Records Safety: U.S. Government Printing Office, p. 19.

_____ 1989, National Water Information System User’s Manual, v. 2, chap. 4. Ground- Water Site Inventory System: U.S. Geological Survey Open-File Report 89-587.

_____ 1992, Programs and Plans -- Establishment of a National Policy to Archive Ground-Water Flow and Transport Models: Office of Ground Water Technical Memorandum 93.01, 3 p.

_____ 1994, Guidance for the Preparation, Approval, and Archiving of Aquifer-Test Results: Office of Ground Water Technical Memorandum 94.02, 3 p.

APPENDIX E: NEBRASKA WATER SCIENCE CENTER PROCEDURE FOR TEMPORARY AND PERMANENT STORAGE OF FLOW, TRANSPORT, ENERGY-BALANCE, AND SALT-BALANCE MODELS

###### Contents

Introduction	3

The Archiving Process - How, What, When?	3

Temporary Storage	3

Permanent District On-Line Storage	3

Example of the Temporary Archive Structure for a Flow Model	3

Backup Storage	4

Archiving Pre-1993 Models	4

Updates of Older Models	4

Detailed Structure of the Archive	4

Naming the Directory and Subdirectories for Permanent Archive	5

Who will do the archiving and subsequently provide copies on request?	9

Authors'/Modelers' Responsibility	9

Supervisors' Responsibility	9

Database Unit Responsibility	10

Computer Unit Responsibility	10

# Introduction

As of October 1993 all ground-water flow, solute transport, and other models were permanently stored in District computer archives (Office of Ground Water (OGW) Memorandum 93.01). As of April 2000 an update to the 1993 policy, Office of Ground

Water (OGW) Memorandum 00.02, requires that all models developed after October 1993 be stored in an on-line archive, which is routinely backed up. The purpose for creating and maintaining this archive is to make available the results and the means for recreating simulations of hydrologic systems documented in our published reports. Establishment of these archives will greatly ease the task of finding and updating past models, and retrieving model input when requested to do so by the public.

# The Archiving Process - How, What, When?

## Temporary Storage

When a report is submitted to your supervisor at the beginning the review process, the model documented in that report should be placed in temporary on-line storage on the Nebraska District's server. The temporary storage of the model provides reviewers the opportunity to look at model input and output as they review the report documenting the model. The author(s) of the report may need to update what is stored in these temporary archives if the model is altered as a result of resolving reviewer's comments on the report. If this happens, the easiest procedure would be to delete what is currently stored in the archive directory and replace it with the corrected versions of the model files. The model that is archived when the report is submitted for supervisory review should parallel that version of the report. The model archived when the report is submitted for colleague or Regional review also should parallel the documentation in those versions of the report. If no changes are made to the model during review, the temporarily stored model will not need updating.

## Permanent District On-Line Storage

After the report has undergone sufficient review to be approved by the Regional Hydrologist and after the model has been altered for the final time, and depending on the availability of appropriate computer hardware, it will be placed in permanent on-line archive on a District server. The model will remain in this on-line storage in perpetuity. The permanent storage should not be initiated until all post-approval changes have been made to the report and the model.

### Example of the Temporary Archive Structure for a Flow Model

The structure of the permanent on-line archive will be similar to that of the temporary archive except for three changes–(1) The main archive directory will be named GMARCHIVE; (2) subdirectories under this main directory will be named for the report where the model is documented. (3) the Contents subdirectory in the temporary storage will be pulled out and additional files will be created. An example of the permanent archive structure is illustrated below.

The files in the redone CONTENTS subdirectory and what they show is listed in the following table:

File Name

What is in the file?

Reference

The full bibliographic reference of the report documenting the model.

Gloss

Description of the subdirectory structure and of the files contained in each

subdirectory.

Format

Descriptions of the data-file formats–i.e. Ibound-56I2, Ending heads-UNFORMATTED, Hcond-56F6.2, etc.

Sequence

List the sequence of model runs–Steady-state baseline, Steady-state

Alternative 1, Steady-State sensitivity runs, Transient run 1950-98, etc.

Instruct

Explain how to run the simulations described.

### Backup Storage

Backup storage will be the routine system backups done by the Computer Unit.

### Archiving Pre-1993 Models

Models from Nebraska projects completed and approved prior to FY93 will be archived when resources are available to do so. Priority for archiving will be determined by public demand and the time constraints and/or availability of the author(s) or an appropriate substitute.

### Updates of Older Models

If a model of an area is updated, that update will be archived as a separate model while retaining the original older model of the same area. The read_me file of the update will indicate that there exists an older version of a model for the same area and a reference to the older report will be given. The disks of the old and the updated models should be filed adjacent to one another.

### Detailed Structure of the Archive

The details of the structure of an archived model are shown in the outline below. This follows the structure suggested in Attachment 2 of OGW memo 93.01 and update memo 00.02. A separate set of subdirectories and files should be created for each model presented in the same report (not shown in outline). This would mean that an extra layer of subdirectory naming would be inserted under the report# directory. The second level of subdirectories should reflect the type of model used. For example if a single report includes a flow and transport model, then appropriate naming of the second-level subdirectories would be GWFLOW and GWTRANSPORT.

### Naming the Directory and Subdirectories for Permanent Archive

Subdirectories should be the standard names suggested by the Office of Ground Water regardless of whether the archive is temporary or permanent. These suggested names are: Contents, Source, Input, Output, and Ancillary. As previously stated, these subdirectories will reside under the same directory in the Temporary archive, but under the Permanent archive Contents will be supplemented and will be one level higher in the structure than the others (Source, Input, Output, & Ancillary), which will be under the Model Data subdirectory. Use your own judgment when naming lower-level subdirectories and files.

Make them short and clearly understandable by anyone. Try to use the same terminology that a reader would find in your report documenting the model. The attached outline provides an example.

Contents of files and subdirectories

/GMARCHIVE/[report#]/contents/ (subdirectory 1)

Directory should contain five files:

- /[report#]/contents/reference (file)

Complete bibliographic reference for the report that documents the model

/[report#]/contents/gloss (file)

Outline of directories and files in the archive. Should resemble a table of contents without the page numbers.     Example:

Subdirectory 1

Subdirectory A

File 1

File 2

Subdirectory B

File 1

File 2

/[report#]/contents/format (file)

List of data file formats. Example-

IBND — 40I2

STRT — 10F8.2

head.ss - UNFORMATTED

/[report#]/contents/sequence (file)

Sequence of model runs documented. Example:

1.Steady-state baseline

2.Steady-state alternative 1

3.Steady-state alternative 2

4.Steady-state sensitivity to hydraulic conductivity of layer 1

5.Transient period 1950-98

/[report#]/contents/instruct (file)

The run instructions for the models in the archive. This should include reference to the point in the file structure from where the model should be run, and to where in the structure the model output is ported. Third-party software required to run the model should be listed.

/GMARCHIVE/[report#]/model_data/ (subdirectory 2)

Directory should contain four subdirectories if a ground-water-flow model is being archived. Other types of models such as salt balance, energy balance, or solute transport may require a slightly different subdirectory structure. The structure outlined below is for a ground-water-flow model.

- /[report#]/model_data/source/ (subdirectory A)

Subdirectory should contain a compiled and an uncompiled version of the model code used in running the simulations. If third-party software was used the file compatible with opening that application should be included.

/[report#]/model_data/input/ (subdirectory B)

Subdirectory should contain subdirectories holding for each steady-state, transient-state, and projection simulation presented in the report. Also should contain a data subdirectory that contains all input data common to all model simulations:

/[model_data]/input/steady/ (subdirectory i)

Separate subdirectory under this directory for each steady-state simulation presented in the report. Naming convention should be [report#]/input/steady/ss [yr]

- Each subdirectory must contain all input files required to run the steady-state model.

- The shell script to run the steady-state model. The shell is included so USGS reviewers can easily run the model.

The shell will not be part of the permanent archive.

/[model_data]/input/trans/ (subdirectory ii)

Separate subdirectory under this directory for each transient-state simulation presented in the report. Naming convention should be [report#]/input/trans/tr [period].

- Each subdirectory must contain all input files required to run the specific model.

- The shell script to run the transient-state model. The shell is included so USGS reviewers can easily run the model. The shell will not be part of the permanent archive.

/[model_data]/input/project/ (subdirectory iii)

Separate subdirectory under this directory for each projection simulation presented in the report. Naming convention should be [report#]/input/steady/proj [#]

- Each subdirectory must contain all input files required to run the specific model.

- The shell script to run the projections. The shell is included so USGS reviewers can easily run the model. The shell will not be part of the permanent archive.

/[model_data]/input/data/ (subdirectory iv)

Directory with all data files that are common to both steady-state and transient-state simulations. Possible examples for MODFLOW simulations would be the arrays defining hydrologic properties (except storage), geometry of the system, or fixed recharge and discharge quantities, boundary delineations, top and bottom of layers, transmissivity, vertical conductance, hydraulic conductivity, areal recharge, evapotranspiration, drain and river conductances, etc. A data subdirectory is included in the archive to save memory space.

[report#]/model_data/output/ (subdirectory C)

Directory should contain output files for each of the model simulations described in the report and saved in the INPUT subdirectory. Appropriate subdirectories should be created if more than one steady-state or transient-state simulation is present. A project directory similar to that used in the INPUT subdirectory may also be needed:

The output file should be ASCII and contain the volumetric budget and heads for the end of each stress period.

Heads should be printed for each layer. Output files are required so that future model users can check their outputs against the original outputs and verify that the model is running correctly. Output files should be created in the archive directory by running the model with the archive information. This is a check to determine if all information necessary to run the model is in the archive.

[report#]/model_data/ancillary/ (subdirectory D)

Directory should contain files of other information required to run the model:

Only files of source and object codes of programs required to run the model are archived. If specific areas or zones are referenced in the report, then ZONEBUD source, object, and input files delineating the zones should be included. Object code is included during the temporary storage stage and will no be part of the permanent archive.

Ancillary directory should contain material and programs, not including the model, that are needed to recreate specific model information presented in the report. All files in the ancillary directory must be completely identified in the [report#]/contents/gloss file. Explanation of programs and input files are not required if the programs are referenced in the [report#]/read-me file.

# Who will do the archiving and subsequently provide copies on request?

## Authors'/Modelers' Responsibility

The final responsibility for archiving a model is ultimately that of the author of that model (much the same as writing and getting a report published is the responsibility of the author). Just as authors receive help from reviewers, technical editors, and illustrators, modelers will receive help with archiving from their supervisor and personnel in the Computer Unit. When a report is completed and, in the author's opinion, ready for supervisory review, the model should also be ready for review. The modeler should first clean up the directories where the model files reside. This means that all files in that directory that are not directly related to running the model should be moved elsewhere or deleted. The modeler should create a directory and file structure like that shown in the example under Detail Structure of the Archive. Use mkdir to create the appropriate subdirectories named Contents, Source, Input, Output, and Ancillary. Create the read_me file in the top-level directory. Create the Run_Instructions and File_Structure files within the Contents subdirectory. Move model files, source codes, and other necessary files into the appropriate subdirectories. You do not need to copy the source code you used into the Source subdirectory until your report is ready for colleague review.

After the author has created the appropriate structure of directories, subdirectories, and files, the entire model subdirectory can be moved (mv) or copied (cp) to the temporary archive area on the server. The author now has the responsibility of updating these files during the review and approval process if changes to the model are made as a result of the review.

Authors should assure that all pathnames to allow access to the model are given to the reviewers in the transmittal letter for the manuscript being reviewed. When the report is approved at Region and the author deems the model is in its final form, the Site Administrator should be informed and asked that the model be copied to permanent on-line storage and deleted from temporary on-line storage.

## Supervisors' Responsibility

The supervisor's responsibility is to look at the model file structure created by the author to determine if all the necessary files are present, and to assure that subsequent reviewers will be able to easily understand how the model can be run. Supervisors should also confirm with the author(s) that the model is complete before the model files are put into permanent archive.

## Database Unit Responsibility

The Database Unit will have the responsibility of handling future requests for the model from the public. Database Unit personnel should know how the permanent archive library is structured, where the library resides, and how to make the requested copies of the model. Database Unit personnel should be able inform a requester of the type of media the District can provide and what the associated cost for producing that media will be.

## Computer Unit Responsibility

The Computer Unit has the responsibility of maintaining the temporary and permanent on-line storage space (approximately 750,000 blocks) on the District's servers, and for creating and maintaining routine backups as part of the District-wide backups created.