Procedures for Monitoring & Recording Bullet Gauge Data After Skin Welding

1. Introduction/Scope

This document describes the procedures to be followed when acquiring bullet gauge data from a model HGQ magnet after skin welding has occured and nominal end loads are being applied. It will describe the tasks to be performed to connect the bullet gauge cables to the measurement system, and the type of data acquisition program to be used. The DAQ program and hardware is essentially identical to that used for strain gauegs DAQ - only the software has been modified slightly to povide on-line display of bullet loads. At this time, it is assumed that only 4 active bullet gauges are mounted at one end of the magnet.

2. Wiring/Connecting Gauges to the Data Acquisition System

The leads from the bullet gauges should be soldered to the 24-pin blue connectors (Amphenol Type 57-10240, Newark Electronics Stk. # 42F191) according to the Bullet Gauge Wiring Diagram included in the Strain Gauge Reference Book provided for each model HGQ magnet. These connectors are numbered according to the Bullet Gauge Wiring Diagram, and are then connected to the appropriate connector (same number) on the upper rear interface panel of the Stain Gauge DAQ System (small blue cart). Since the connectors are not keyed, it is important to ensure that the connectors are in the proper orientation (wide edge on top).

3. DAQ Programs

The data acquisition program (DAQ) used to record bullet gauge information is called ÒBULLETS.EXEÓ and is invoked by typing ÒBULLETSÓ at the DOS prompt from the C:\BC7\BIN subdirectory. This subdirectory can be accessed from any directory by typing ÒRUNDIRÓ. The essential functions of this program are identical to that used for Strain Gauge DAQ. Complete program instructions, including examples, are contained in the Strain Gauge Data Acquisition Operating Guide (TD Notes # 97-037 & 97-038, copies of which are maintained with the SG DAQ System cart). The primary differences between this program and the others is that it assumes that only 4 active and two compensating bullet gauges are being used, and thatthe gauges for bullet 1 (1A and 1B) are in channels 1 &2, gauges for bullet 2 (2A and 2B) are in channels 3 & 4, etc.

4. DAQ Schedule

Bullet gauge data is to be acquired after the cold mass skin has been welded and the end assmbely has been completed. The exact point during the assembly procedure when bullet gauge data is needed will be determined by the Magnet Fabrication Engineer or Physicist. At the time that data is taken, the Bullet Gauge Data Sheets (found in the Strain Gauge Reference Book supplied with each magnet) should be filled out. These data sheets record such pertinent information as the date, DAQ system operator, data file names, operational conditions, and the end forces as displayed by the relevant DAQ program. A sample data sheet is appended to this procedure.

Filenames for bullet gauge data, which are requested when operating the DAQ programs, should be of the form

EMMDDNNN

where the letter E denotes end-force (bullet) gauge data, MM denotes the month, DD the day of the month, and NNN the serial number of the file, beginning at 001 for the first file recorded that day. No extension is necessary - the DAQ programs append this automatically.

5. Data Archival

When all of the strain gauge data has been recorded, the raw data files (extension .mst, found in the C:\BC7\BIN\HGQS01 directory) should be copied onto a floppy disk in the A: drive of the SG DAQ System PC, and then delivered to the appropriate personnel for analysis, along with a copy of all of the relevant Bullet Gauge Data Sheets. Copies of the data sheets should also be inserted into the Strain Gauge Reference Book for the particular magnet.