# Summary Report

# Energy Analysis Forum

# Golden, Colorado

# August 13 & 14, 2001

# Preface

The purpose of the first Energy Analysis Forum was to identify and summarize analytic needs and approaches related to the expansion of renewable power generation in regional electricity markets.  The forum included five sessions as follows:

- Introduction and Context

- Markets for Renewable Power Technologies

- Regional Electricity Markets

- Panels on Intermittency, Transmission, and Policy Issues

- Analytic Needs Assessment and Conclusions

This forum was designed to be forward-looking, to identify analytic issues deserving attention.  As such, it did not attempt to present methodologies or results of past efforts, nor a summary of current analytic efforts.

This Summary Report provides a brief overview of the forum, including outlines of the information presented, a summary of Analytic Needs developed in the forum, and other key conclusions.

This forum was the first in an ongoing series of energy analysis forums that NREL will plan and lead in the future.  This series will periodically convene analysts and stakeholders to address key analytic issues relevant to the renewable energy and energy efficiency communities.  Future forum topics will be chosen based on the evolving information needs of energy program managers, energy policymakers, and energy marketplace decision-makers. The frequency is planned to be about two forums per year.

Forum Context and Introduction

Analysis and R&D Programs

Dr. Robert Dixon, Deputy Assistant Secretary of the Office of Power Technologies at the Department of Energy, helped set the stage for this and subsequent forums by outlining the needs and value of energy analysis for energy program planning and management purposes, for supporting energy policy formulation, and for understanding the potential roles of new energy technologies in evolving energy markets.  Dr. Dixon pointed out that the aging infrastructure in the nation’s electricity sector, including the power generation and the transmission and distribution systems, is getting much-needed attention based on concerns about meeting increasing electricity service demands.  In addition, an expanding portion of the electricity demand sector is seeking higher quality and reliability to meet specialized manufacturing, information systems, and other high-profile service needs.  Planning and managing the most effective energy programs in this context leads to a variety of analysis needs.  Examples include:

- Energy program performance analysis as ordered in the National Energy Policy

- Energy program portfolio analysis

- Analysis of the successes and failures in different states’ approaches to electricity sector restructuring

- Understanding the reliability dimension of the nation’s energy system

- Better understanding, forecasting, and mitigation of volatile fuel prices

- Understanding U.S. options in the context of evolving international agreements on climate change

With this emphasis on national energy issues, Dr. Dixon is calling on the energy analysis community for a review and renewal of energy analysis activities, including

- An emphasis on complete, reliable, and readily accessible databases,

- Representation of distributed energy resources in models,

- Development of credible renewable energy supply curves, and

- A focus on credibility and objectivity to overcome the negative stereotypes of renewables-related analysis.

# Forum Topic -- The Role of Renewables in Regional Power Markets

As mentioned in the Preface, the purpose of this initial energy analysis forum was

To identify and summarize analytic needs and approaches related to the expansion of renewable power generation in regional electricity markets.

This topic was selected because of its current importance given the following considerations:

- Renewables are beginning to enter domestic markets in significant ways.

- We are facing a period of increasing requirements for new generating capacity.

- In order for renewables to make larger contributions to our energy economy, it is important that they succeed in this period of capacity expansion

- At the same time, there are many factors besides technology readiness that can limit market success.

Thus, the forum was designed to share information on current market conditions for renewable power technologies, to highlight issues affecting these technologies, and to identify and prioritize analytic needs to address these issues.

# Overview of U.S. Electricity Markets

# Dr. Arnold Leitner of RDI Consulting set the broad context for the forum by providing an overall summary of the current status and near-term outlook for the U.S. electricity sector.  In contrast to the current concerns about adequate electricity supplies, he indicated that 400,000 megawatts of new generation currently are being proposed.  While not all of this will come to fruition, RDI projects that 180,000 MW will be added within the next five years, and these additions will put the electricity sector into a state of excess capacity.

Dr. Leitner identified several market factors deserving attention in the immediate future, as follows:

- The current economic slowdown is not expected to cause a drop in electricity demand.  However, an extended economic slowdown could blunt demand.

- Retail prices heavily influence electricity demand.

- The idea that expanding Internet use will greatly increase electricity demand is a myth.

- However, high-density loads, such as “internet hotels” and data centers, requiring continuous service at 99.9999% reliability are on the increase.

- Dynamic demand has the potential to reduce peak demand through load shifting.

Dr. Leitner also discussed market issues of particular relevance to renewable power technologies.  Most important is the ability to negotiate viable power purchase agreements where the emphasis is on profitability more than on lowering costs.  Factors that need to be addressed include

- Communicating in terms the industry understands

- Intermittency can be accommodated if it is understood.  Unpredictability of power output is more of a problem than intermittency.

- Building capacity using traditional fuels is also a challenge.  Different technologies will be chosen depending on their strengths and weaknesses.

- Renewable power systems must be developed through independent power producers since they are developing the vast majority of power plants today.

Markets for Renewable Power Technologies

The Forum included presentations on five renewable power technologies – geothermal, wind, PV, concentrating solar power, and biopower.  We have summarized market information, issues, and related analytic needs for these technologies in two tables below.  The first table lists current generating capacities and recent market experiences for these technologies, as reported in REPIS.  The second table summarizes the presenters’ views on near-term market outlooks, market issues and barriers, and analytic needs related to market success of these technologies.

These tables indicate that there are a number of analytic issues facing expansion of renewable power technologies in the US.  The most common theme is financial issues, including costs of generation and delivery, and the value of renewable power.   Resource issues are also important, including availability, costs, and forecasting.

Table 1: Generation Capacities and Market Experiences of Renewable Power Technologies in the U.S.

| Technology | US Capacity through 1999 | Recent Market Experiences |
| --- | --- | --- |
| Geothermal Power | 2715 MW | 1990-1996: 229 MW, 1997-1999: none, 2000: 49 MW. |
| Wind Power | 2631 MW | 1990-1997: 372 MW, 1998-1999: 844 MW. Largest installation: 112.5 MW, Storm Lake, IA 1999. |
| Photovoltaics | 19 MW | On-grid: Cumulative 1995: 8.2 MW, 1996-1999: 10.8 MW, 23.4% average annual growth. Off-grid: Cumulative 1999: about 85 MW. |
| Concentrating Solar Power | 354 MW | All installations are dated before 1990, except 0.125 MW in 1998. |
| Biopower | 11,755 MW | 1990-1999: 2688 MW, 2.6% average annual growth. |

# Table 2: Key Market Issues and Analytic Needs for Expanding the Use of Renewables in U.S. Power Markets

| Technology | U.S. Market Outlook | Market Trends and Issues | Analytic Needs |
| --- | --- | --- | --- |
| Geothermal Power | Declining plant and production costs Limited U.S. resource, mostly in the west; strong potential overseas | Long-term contracts Transparent Process Transmission | Forecast of marginal (natural gas) prices Value of natural gas hedge Customer preference and pricing |
| Wind Power | 4,800 MW in development Fastest growth in west and mid-west | Flexible near-real time scheduling Penalty-free imbalance settlement system Long-term non-firm transmission at volumetric-pricing Market features common to other resources Robust regional least-cost planning process | Land use – availability, location, impact Revisiting models including capital cost and project finance Adapting NOAA wind forecasting in generation models |
| Photovoltaics | More-than-double total market growth by 2005 Building products will account for over 60% of the market by 2005 | High public acceptance Off-grid market strong On-grid markets policy driven Lacks global sales infrastructure and trained installers Telecom and information systems lead demand | Understanding of California crisis – aberration or preview? Analysis of thin-film applications Value and pricing models Incentives to enhance current market |
| Concentrating Solar Power | 18 companies (suppliers, designers, operators, retailers) and growing 4 of 18 are Fortune 500 companies | Competitively priced at $.10/kWh Aggressive commercialization Market acceptance near | None specified |
| Biopower | Most favorable in Midwest and Southeast regions of the U.S. | Long-term contracts Feedstock supplies Intersection of energy, agriculture, environmental, forestry, and waste management issues | Predictive models Life cycle analysis Regulatory/policy analysis Economic including pricing, spot markets and futures |

Regional Perspectives, Outlook, and Issues

To provide and share an understanding of overall electricity market conditions and outlooks, the forum also included presentations on the electricity markets for seven specific regions – the Northeast, Mid-Atlantic, Southeast, Midwest, Northwest, California, and Texas.

This regional market information has been summarized in two tables below.  The first table includes the region’s current fuel mix, demand trends, and generation trends.  The second table summarizes the region’s market drivers, renewables outlook, and analytic needs.

Table 3: Regional Electricity Markets: Status and Trends

| Region | Current Capacity/Mix | Demand Trends | Generation Trends |
| --- | --- | --- | --- |
| Northeast | 5104 MW (New England) 6116 MW (New York) New England Mix: Oil 24.3% Nuclear 17.8% Gas 15.5% Coal 15.3% Hydro 5.6% Imports 16.4% Other 5.1% (includes biomass, hydro, PV, wind) | New England 110,000 GWh/year New York 130,000 GWh/year | New England Aging supply moving to reliance on natural gas New York Natural gas plants under construction; many more planned Transmission constraints between upstate (supply) and NYC/Long Island (demand) |
| Mid-Atlantic | 373 TWh Generated: Coal 51.9% Nuclear 40.6% Oil 3.5% Gas 2.6% Hydro 1.0% Renewables: wind 10.6 MW, PV 1.1 MW, biomass 1238 MW. | Data not presented | Average annual percent growth, 1988-1998: Total Utility (1.4%): Coal 0.6% Nuclear 3.4% Oil –6.7% Gas 13.4% Non-Utility 2.8% |
| Midwest | 700 TWh Generated Dominated by coal and nuclear | Electricity demand steadily growing Total demand to reach nearly 1000 TWh by 2020 | Large additions of new gas plants to be completed by 2020 |
| Southeast | 750 TWh generated Dominated by coal and nuclear Includes 3,182 MW of biomass, 2 MW of wind, 0.95 MW of PV | Electricity demand increasing rapidly Total demand to reach nearly 1,100 TWh by 2020 | Increased demand to be met with 400 TWh of new gas development |
| Northwest | Hydro 60.5% Coal 21% Gas 12.4% Nuclear 3.2% Other 3.0% including black liquor, solar, wind, pet coke, wood residue, wastewater gas, LFG, MSW, and refinery gas | 20,000 aMW annually Demand growth steadily decreasing from 3.6% annual (1970s) to 1.2% annual (1990s) Complementary loads with southwest peak loads in summer; northwest peak loads in winter | Dangerous reliance on hydro with 2001 worst water year on record By mid-2003, new capacity (mostly gas) to restore acceptable levels of reliability |
| California | Gas 31% Hydro 21% Imports from Northwest, Arizona, and Nevada | 5,000 MW peak demand growth from 1995-1999 Sharp growth since 1996 driven by economic growth High annual growth in Arizona and Nevada | 700 MW new generation from 1995-1999 11,267 MW in new capacity in 2001-2002 New power plant investments avoided before restructuring |
| Texas | Gas 59% Coal 32.5% Nuclear 7.6% Hydro 1.0% | Peak demand of 56,800 MW projected by 2002 | 29,830 MW in new generation planned; 61% under construction 80,000 GWh consumer sales; 70,000 GWh industrial sales; nearly 65,000 GWh commercial sales |

Table 4: Market Drivers, Outlook, and Analytic Needs for Renewables in Regional Power Markets

| Region | Market Drivers for Renewables | Outlook for Renewables | Analytic Needs |
| --- | --- | --- | --- |
| Northeast | Purchase mandates State incentives Consumer-driven green power demand Generation attribute requirements Supply mix, emissions markets, wholesale market structures | New England Near-term development of wind, PV, biomass, landfill gas, and hydro New York Technical potential for wind and untapped hydro resources | Resource and policy assessments Wind and site assessment Biomass assessments Natural gas reliability RPS cost and impact analysis Policy analysis of market rules |
| Mid-Atlantic | Mandated purchase programs Customer choice programs Wind increasingly price competitive due to wind speeds, innovation, long-term agreements, and public funding Strong customer demand for PV and wind | Declining wind generation costs: $.49/kWh (1979) to 2.5-4.5 cents/kWh (2003) Target wholesale wind price premium is 1.5 cents/kWh by 2003. Excellent wind resources, especially in mountain regions | Analysis of competitive market rules Studies of Green-E and energy labeling programs Performance and environmental disclosure requirements |
| Midwest | Data not presented | Estimated 1,000 MW of Wind; 500 MW of Biomass proposed Some PV proposed | Transmission of wind from western to eastern states Update transmission rules to give wind fair access |
| Southeast | Data not presented | 11 MW of new biomass proposed, some PV Large opportunity for end-user efficiency improvements Talk of off-shore wind siting | Wind: on- and off-shore siting; potential of small wind turbines Biomass: environmental constraints PV: Cost and resource availability |
| Northwest | Emphasis on reducing reliability on hydro | Wind: 1,200 MW proposed Biomass: declining wood residue resource; public opposition to MSW burn Geothermal: being looked at; some sites permitted PV: Some distributed PV | None specified |
| California | Growing NV and AZ demand may lower imported capacity Decreased run-off limits contribution from hydro Gas prices projected to reach $60/mmBtu by October, 2001. | 9,925 MW of projected new capacity by 2020 5,956 MW in wind by 2020 (likely to be higher); 1,000 MW in geothermal by 2010; 734 MW in biopower by 2010; 2,235 MW in PV by 2020 | Better wind data reflecting current tower heights Biomass inventories reflecting location, price Climate change emissions of current energy mix Analysis of regulatory changes on generation costs |
| Texas | Customer choice underway Unbundling of generation, T&D, retail activities Labeling standards, consumer demand, RPS, and credit trading | Legislative goal of 2,000 MW in new capacity by 2009 1,280 MW in wind planned; 49% under construction | Transmission constraints; capacity in west, demand in east Reliable scheduling dispatch models Off-shore wind in Gulf |

Panels on Intermittency, Transmission and Distribution, and Policy Issues

# These panels provided the basis for very active discussions of these issues, including numerous questions and comments from the audience in addition to the insights and varied viewpoints presented by the panelists.

One very clear conclusion from these panel sessions is that each of these issues would benefit from expanded discussions in a workshop format.  This would permit more detailed presentations of what is known, more specific definition of the critical information needs remaining, as well as the best experimental and/or analytical approaches to addressing those needs.

# Transmission and Distribution Panel

Panel Members:

Merwin Brown, NREL, Chair

Bob Easton, Western Area Power Authority

John Grainger, North Carolina State University

Brendan Kirby, Oak Ridge National Laboratory

Rich Rosen, Tellus Institute

This panel discussed a variety of issues dealing with renewables and power transmission and distribution systems, as well as broader issues such as interconnection standards for distributed energy resources and even transmission system development and regulation.  One of the important general conclusions was that integration of renewables into transmission or distribution systems doesn’t represent a unique issue or problem.  Other resources and loads represent very similar interconnection, operation, control and safety issues.

Key points made during this session included:

- The site-specific nature of renewable energy resources makes many renewable power systems dependent on transmission system access.

- Integration of renewable power systems into transmission networks shouldn’t make operation and control of T&D systems much more difficult.  For example, wind generators are no more difficult to accommodate than many industrial loads, such as arc furnaces, in terms of maintaining overall system power quality.   In any case, transmission system operators will deal with it as a system problem, not as a system plus renewables problem.

- With respect to the costs of maintaining system power quality, panelists differed on the appropriate approach.  Rich Rosen cautioned against trying to marketize too much, while Brendan Kirby stated that we should look at all interconnected sources and loads and have them all pay for regulation impacts of their respective elements.

- Today’s electricity transmission networks include a very rich set of assets in terms of the electrical characteristics of current loads and generators, and there is considerable potential to make greater use of these assets for power regulation through integrated control strategies.

- The deregulation of the electricity sector is raising some major issues relative to transmission systems, issues that are independent of renewables:

- Responsibility for operation of transmission networks is beginning to be clarified with the move toward establishing several major regional transmission operators, or RTO’s.

- However, there are serious transmission system planning and development issues today.  The current transmission networks were developed to serve the vertically integrated regulated utilities of the past.  With deregulation of the electricity sector, responsibility for transmission system planning and development isn’t clear, nor are there clear business opportunities for the private sector to get involved.  Least cost planning is needed but isn’t generally being done.

- There is a parallel issue with distribution systems.  These generally have not been operated as system networks, but the looming addition of distributed resources including renewables makes the evolution towards integrated operation and control of distribution systems both necessary (e.g., safety) and fruitful (better reliability and power quality).

# Intermittency Panel

Panel Members:

Walter Short, NREL, Chair

Jim Hill, Xcel Energy

Tom Hoff, Clean Power Research

Mike Milligan, Consultant to National Wind Technology Center at NREL

Hank Price, Concentrating Solar Power, NREL

Bob Zavadil, Electrotek

This panel covered a range of intermittency-related issues, including the ability to control intermittent power sources, the scope of intermittency as an issue, and costs associated with controlling and integrating intermittent resources into power systems.  Key points and conclusions are presented below.

- Utility engineers can probably control intermittent resources such as wind power plants as part of power systems. However, having output profiles well characterized will make that task much easier.  Hourly output information from a few years is an example of the characterization that would be useful for power system control purposes.  Such data would also enable accurate modeling of output profiles.

- Data is also needed on the degree of output smoothing that results from more dispersed wind generators, both within a field of multiple generators and between multiple wind farms.

- Utility engineers already deal with considerable intermittency on the demand side.  Thus, integration of intermittent supply resources may not be much more complicated.  A study comparing intermittent supply and loads needs to be conducted.  More load and operations data is needed from utility dispatch controllers to better assess the impacts of intermittency.

- One promising control strategy is to couple demand side controls with generation controls.  An example is a building controller turning down AC equipment when PV power output falls.

- A major issue with intermittent resources is establishing capacity and energy values as required for negotiating Power Purchase Agreements (PPA’s).  Resolving this issue requires better data on both power system generation profiles and associated power system control area demand profiles.  A better understanding of the costs of ancillary services is also required.

- For solar power systems, output frequently matches peak loads, so the intermittent output of solar power generators tends to help power systems meet peak load capacity requirements.

- For residential PV systems, net metering is a valuable policy that basically insulates the PV owner from intermittency issues.

- For both solar and wind technologies, there is a very large potential benefit to better resource forecasting.  Confidence in resource forecasting would provide system control benefits as well as enabling a better understanding of intermittent resources for contracting purposes.

- Standard production models used by the electric industry need to be modified to better capture variability and uncertainties in plant output.

- Overview of global methods, measures, and successes regarding the intermittency impact on transmission and operations needs to be developed and promoted.

- As better data, models, and forecasting capabilities are developed, it is important to get these in the hands of the individuals involved in developing control strategies and in signing PPA’s.

# Policy Issues Panel

Panel Members:

Blair Swezey, NREL, Chair

Jim Caldwell, American Wind Energy Association

Rick Gilliam, Law Fund

Ron Lehr, Attorney

Ryan Wiser, Lawrence Berkeley National Laboratory

This panel focused primarily on policies related to renewables.  Key points presented include these.

- Policies favoring development of renewables systems are often adopted as a part of larger actions, such as resolving a nuclear waste issue or adoption of a system benefits charge for supporting multiple public purposes.

- The current regulatory context is very much in flux, with some states having undergone significant restructuring, others in the process, and still others with virtually unchanged electricity markets from those of 10 years ago.  Even in states not restructuring, the companies are changing their operations and portfolio management functions.  This condition is likely to continue for a number of years.

- Public utility commissions, which continue to have broad powers over electricity markets in their states, tend to rank cost as having primary importance in decisionmaking, with reliability second, and environmental and resource diversity being the third most important factor.

- Newer approaches to promoting renewables, such as green power programs, renewable portfolio standards, and system benefits charges, can work in both regulated and restructured markets.

- A general guideline for developing policies is to make sure they provide a way for electricity sector participants to realize financial gains.

- One analytic issue raised is that of understanding fuel price risks for natural gas.  The importance of valuing those risks is highlighted today because of the rapidly expanding use of natural gas for power generation, coupled with dramatic natural gas price increases in the Fall of 2000.

- An important practical issue for making renewables policies effective is that of implementation guidelines and processes.  For example, how does a state or its electricity sector ensure that it can meet a renewable portfolio standard?  How does it get the required generation developed, and how does it ensure overall compliance?

- A frequent theme was that of education at all levels, e.g., why certain policies may be necessary, ways they can be implemented, and their costs and benefits.  Decisionmakers in the power industry, in regulatory bodies, in state and local government, as well as consumers all need better information on the status and needs of our power systems.

## Analytic Needs Assessment and Conclusions

At this point in the forum, participants had learned and shared a great deal of information about current electricity markets in the U.S., about how renewables are faring in regional power markets, and the current state of understanding in the critical areas of intermittency, transmission and distribution, and electricity sector policies.  This background provided a strong context for developing recommendations on analytic needs.

The 4th Session of the Forum was focused on a structured process for identifying analytic needs and developing a sense of their priorities.  This was done in 3 breakout Working Groups focused on the 3 Panel Session topics, let by the respective Panel Chairs from Session 3 above.   The resulting lists are given below.

These lists will be used by NREL and DOE as they plan and develop the analytic agenda for FY2002 in the coming weeks.

Transmission and Distribution Working Group – Analytic Needs and Priorities

| Votes | Analytic Need |
| --- | --- |
| 6 | Modeling of the physical and economic impacts of distributed generation on T&D design, planning and operations |
| 6 | Integrate the various current modeling capabilities for different applications and systems to obtain more robust solutions, including transmission reliability issues. |
| 5 | A comprehensive Index that compiles and cites analysis studies done in T&D related to renewables and DER applications. |
| 5 | Analyze market principles, rules and implications to design equitable market rules, which will assist policy makers and market players in preparing for the future marketplace with renewables and DER. |
| 5 | Data, algorithms, and models that improve the understanding of the unbundled electric distribution system functions, in order to determine or estimate impacts and values of renewables and DER interactions with the grid. |
| 4 | Analysis and surveys that enhance the understanding of what factors create resistance to new transmission lines, and suggest solutions |
| 4 | Analysis of the principles, behaviors and values of incentive-based ratemaking from RE point of view to answer the question: can the T&D business proposition be constructed differently with different incentives? |
| 4 | Understand interaction of gas and electric distribution systems, because of the growing dependence of electricity generation on natural gas, both central station and distributed |
| 3 | Regional political planning to compliment regional technical planning so that the expansion of the T&D system design reflects political realities |
| 2 | Scenarios: identify the T&D system needed to support various future scenarios with an eye on optimization at the regional level |
| 2 | Ability to analyze technical solutions proposed for problems of integrating renewables into T&D systems |
| 2 | Understand how energy efficiency measures impact T&D design and operations. |

### Intermittency Working Group – Analytic Needs and Priorities

| Votes | Analytic Need |
| --- | --- |
| 10 | Resource characterization studies to support analysis of the intermittent output of renewable power systems |
| 9 | Overview of the global methods, measures, and successes regarding the intermittency impact on transmission and operations |
| 9 | Value of ancillary services |
| 9 | Comparison of the intermittency of renewable supply technologies with intermittent loads |
| 7 | Improving forecasting/production models to capture intermittency and uncertainty in future supplies |
| 6 | Optimizing the size of wind systems vis-à-vis that of a dedicated transmission line to more fully load the line |
| 5 | Identify bundling options/Analysis of interaction between central and distributed generation Renewables |
| 4 | Value of wind and hydroelectric interactions |
| 3 | Estimating the impact of renewables under a scenario of no net metering |
| 1 | Value of storage to wind |
| 0 | Distribution upgrades for distributed wind |
| 0 | Developing a general estimation technique for the capacity value of wind within an individual utility's grid |
| 0 | How significant is the intermittency issue within an RPS scenario |

Policy Issues Working Group – Analytic Needs and Priorities

| Votes | Analytic Need |
| --- | --- |
| 16 | Improve outreach and dissemination of analysis products |
| 14 | Analyses of incorporating fuel price (NG) risk, environmental risk, and other uncertainty factors in resource decisions; also, issues related to long-run discount rate determination |
| 14 | Transmission scenarios for large amounts of RE; look at transmission requirements for large amounts of RE rather than for individual projects |
| 9 | Survey assessment of political factors in energy policy development |
| 8 | Implementation and administration of RPS; also, determination of public benefits, including impact on prices of other fuels |
| 8 | Identification and quantification of RE benefits |
| 8 | Development of regional biomass supply curves |
| 7 | Governance/Regulation of RTOs including RTO issues (public participation), rules development, etc. |
| 7 | Where/How to best to apply RE policies; local v. state v. regional v. national |
| 7 | Development of supply functions for RE technologies |
| 6 | Policy efficacy metrics |
| 6 | Regional transmission pricing issues |
| 6 | Develop up-to-date RE technology characterizations |
| 5 | Develop better linkages between RE analysts and 'energy program evaluators' community |
| 4 | Articulation of real-life experience with high penetration of intermittents |
| 4 | Evaluation of solar policy options for sustainable market development |
| 4 | Energy subsidies analysis |
| 3 | Lessons learned from Europe, etc. for RE policy development and implementation |
| 2 | Adaptation of public weather information (NOAA) for renewable energy resource assessment and prediction |
| 2 | Identification and comparative analysis of different SBC approaches |
| 2 | Develop and provision of model power purchase agreements (PPAs) |
| 2 | Moving DG toward cleaner resources -- data needs; emissions avoided |
| 2 | Long term performance characterization of RE technologies |
| 2 | Analysis of expanding the PTC to other RETs (macroeconomic impacts) |
| 1 | Structure of real-time markets |
| 1 | Collaborative analysis activities |
| 1 | Analysis of policy bundles to achieve rapid deployment of RE |
| 1 | Analysis of RE and emissions trading systems |
| 0 | Analysis of providing a profit motive for utilities to undertake green pricing programs |
| 0 | Assist states/local government in incorporating renewables into smart development planning |
| 0 | Address all-REOTs issue |
| 0 | Net metering analysis for large systems |
| 0 | Assessment of time-of-use pricing for PV |
| 0 | Deployment driven technology evolution |
| 0 | Assigning blame |

# Endnotes

Analysis of REPiS database on 8/31/2001. (Renewable Electric Plant Information System, http://www.eren.doe.gov/repis/).

Analysis of REPiS database on 8/31/2001.

The 844 MW increase in wind capacity in the period 1998-1999 reflected continuing cost declines and performance improvements, improved market conditions, state policy mandates, and the production tax credit (PTC) included in the Energy Policy Act of 1992. Contributing to the capacity increase in 1999 was also the scheduled expiration of the PTC, which was then extended to December 31, 2001. “REPiS: The Renewable Electric Plant Information System. 1999 Edition.” K.Porter, D.Trickett, L.Bird. NREL/TP-620-28674. August 2000.

PV capacity was calculated from an integrated database originating from the following data sources, with redundant records eliminated: REPIS, EIA, Technology Experience to Accelerate Markets in Utility Photovoltaics (TEAM-UP), the Sacramento Municipal Utility District, the California Energy Commission, and the Million Solar Roofs Initiative.

Industry representatives have commented that the 10.8 MW capacity figure for 1996-1999 seems lower than the actual capacity.

As of 1999, about 85 MW off-grid PV had been installed in the U.S (only counting systems over 40 watts). The off-grid consumer market includes PV for remote residences, boats, motor homes, vacation cottages, and farms, while the off-grid commercial/industrial market includes telecommunication applications (e.g. remote repeaters, amplifiers for all modes of communication such as fiber optics, satellite and cable links), sensor power sources and data communication power for applications such as weather, and remote lighting and signals. “The 2000 National Survey Report of Photovoltaic Power Applications in the U.S.,” for the IEA Co-Operative Programme on Photovoltaic Power Systems by Paul Maycock and Ward Bower.

Biomass capacity includes 2938 MW municipal solid waste and 894 MW landfill gas.

Energy mix calculation was done on 1998 data. Mid-Atlantic electricity generation data is from DOE EIA website, http://www.eia.doe.gov/cneaf/electricity/st_profiles, Table 1: 1998 Summary Statistics, and Table 5: Electric Power Industry Generation of Electricity by Primary Energy Source, 1988,1993,1998.  Percentages for non-renewable energy sources were calculated from individual state (PA, NJ, MD, DE, VA, DC) percentages, weighted by the state’s percent contribution to total Mid-Atlantic electricity generation in 1998.

Analysis of REPiS database on 8/31/2001. Wind and PV capacity for Mid-Atlantic region include systems installed in 2000. The biomass capacity includes 758 MW municipal solid waste and 100 MW landfill gas.

Mid-Atlantic electricity generation data is from DOE EIA website, as documented in preceding footnote.