The Populus Genome Science Plan

Panel on Metabolic Characterization and Metabolomics

Panel Members: Tim Tschaplinski, Thomas Moritz, Andrea Polle, Scott Harding,

Janice Cooke, and Reinhard Jetter

BACKGROUND AND SCOPE

The emerging science of metabolomics couples metabolite profiling with the analysis of mutant and transgenic lines to elucidate protein function, the structure of metabolic pathways, and offers tremendous potential to discover and assign function to novel genes.  Stated explicitly, metabolic profiling is the unbiased, relative quantification of the broad array of cellular metabolites, and their fluxes.  As such, metabolic profiling can provide information on how gene function affects the complex biochemical network, and the levels of regulation of biochemical networks that are not revealed by DNA microarray technology.  A comprehensive functional genomics research platform, that links metabolite profiling to gene expression arrays and protein profiles, will facilitate the cataloguing of genes.  About 500-1000 metabolites may be expected to accumulate to detectable levels in a typical eukaryotic genome, which codes for >10,000 proteins.  Therefore, it is unlikely that a single gene knockout or up-regulation event will often lead to direct relationships of a single gene completely regulating the production and accumulation of a single metabolite.  Some examples indicate that genetic mutations can lead to changes that are highly pleiotropic, depending on where the mutation is operating in the metabolic networks.  However, the ability to detect a wide array of metabolites (and their fluxes) will permit determination of how biochemical networks, with their distributed control (regulation), have been perturbed.

Successful deployment of metabolite profiling requires the development of rapid, reliable, and efficient assays for detecting phenotypes that are metabolic variants within natural or mutated populations.  Assays need to be developed which will allow the detection of as many metabolites as possible and preferably at high-throughput rates.  Although the desire is to have a single analysis that captures all metabolites in a short time, there is, as yet, no single “silver bullet” analysis that will be appropriate for all metabolites with a high degree of sensitivity and resolution.  The varying chemical characteristics of the different classes of compounds will necessitate several analyses, but it is possible to standardize the use of a limited number of protocols that rapidly captures the bulk of small molecules.  A number of analytical approaches are currently available that can image a large number of metabolites, but they need to address the problems of co-eluting interference, and be able to accurately identify as many of the peaks as possible.  The current status of promising analytical approaches and what is needed to forward these approaches will be the focus of this plan.  Included are sample preparation needs, description of the advantages and disadvantages of a given analytical approach and how a combination of multiple approaches can circumvent limitations.  Overall, the current-best protocols need to be modified for high throughput, while simultaneously developing the next generation of high-throughput protocols that are scalable and address difficult-to-measure metabolites.  Classes of challenging metabolites include intermediate-sized molecules (1000-2500 Da), and charged molecules, such as phosphorylated compounds.  In addition to determination of the steady-state concentrations of large numbers of metabolites, in many cases, it is the flux of these metabolites that will provide key insight in to which gene was perturbed.  The concentrations and fluxes of metabolites will need to be assessed in biochemical pathway inference models to probe pathway linkages.  Recognizing that the greatest gains in functional genomics analysis will be derived from the integration of the different data streams, tools and approaches that combine the different classes of genomic data that are available, including DNA sequence data, mRNA expression profiles, protein profiles, and metabolite profiles, need to be developed.

SCIENTIFIC OBJECTIVES

#### Sampling and Sample Preparation

Given that many compounds are unstable, have very high turnover rates, or exhibit diurnal variation in concentration, etc., sampling is important.  Sample extraction prior the chemical analysis must be adapted for each type of sample (e.g., extraction protocols for leaf tissue from Populus might be different from extraction protocols for developing xylem tissue).  The metabolites represent many different classes of compounds, and therefore the chemical properties of the metabolites are highly variable.  Depending on the extraction protocol, different classes of compounds show different extraction efficiency under specific conditions.  It is unlikely that a single extraction procedure for plant tissues allows accurate quantification for all compounds, but the goal is to capture as many metabolites as possible.

Short-term goal:  To establish standardized extraction protocols that are tailored to each tissue-type of Populus with high recovery and reproducibility.  The extraction protocols will include addition of internal standards representing all major classes of compounds (e.g. carbohydrates, organic acids, steroids, amines, etc.) prior to extraction to increase accuracy and precision of the analysis.

Long-term goal:  To establish methods for reproducible fractionation of extracts using solid phase extraction (SPE) columns or other methods.  The goal of fractionation is to concentrate metabolites, permitting more of the extract to be analyzed by the gas chromatography (GC)- or liquid chromatography-mass spectrometry (LC-MS), and lessening the probability of saturating columns or MS-detectors.

### Derivatization for GC-MS analysis

GC-MS analysis of extracts containing such varied metabolites as organic acids, sugars, sugar alcohols, amino acids and steroids is complicated.  Many of the metabolites are not volatile and must be derivatized prior analysis by GC.  Methoxymation in combination with trimethylsilylation (methoxy-TMS) is widely used as the main derivatization protocol.  By first protecting the carbonyl group(s), the coupled derivatizations are more efficient (than silylation alone) for low molecular weight organic acids, but the relatively low temperature of the protocol may limit the derivatization of the more difficult to derivatize metabolites, including secondary carbon compounds that are typical of Populus.  The organic acids that are most vulnerable to TMS derivatization alone can also be captured in other separations and analyses.

Short-term goal:  Confirm the method(s) that minimizes sample preparatory time and maximizes spectral output (i.e., maximum metabolites observed) of the Populus species under investigation.  The protocols must ensure the stability of the derivatized compounds and reproducibility of the data generated.

Long-term goal:  Develop standardized extraction and derivatization protocols that are suitable for complete automation.

# Analytical Techniques for Steady-State Metabolite Analyses

##### High-throughput GC-MS

Comparison of GC-MS techniques:  The “oldest” and best-established coupling of methods to MS for metabolite analysis is GC-MS.  The thermo-stable samples are vaporized and then ionized by either electron-impact (EI) or chemical-ionization (CI).  For metabolomics analyses there are in practice two types of instruments used: 1) quadrupole (single stage MS and two stage MS/MS (ion trap)) and 2) time-of-flight (TOF) MS instruments.  Both instruments have advantages and disadvantages, e.g. the quadrupole instruments have large dynamic range, are robust and easy to use. GC-TOF instruments have the capability to perform rapid spectral acquisition (up to 4-500 spectra/s over the full mass range), which results in possibility to speed up the analyses (high throughput), as narrow, short GC columns are used. The deconvolution of overlapping peaks is also greatly improved because of spectral continuity across a peak (no skewing of different masses).  A disadvantage with GC-TOF instruments has been a reduced dynamic range (in practice) compared to quadrupole instruments, which can be a problem when analyzing complex samples with high variation in concentrations of compounds.  GC-TOF MS is the approach of choice for high-throughput GC analyses, but as instrument manufacturers produce new quadrupole instruments with much higher scan rates, their ease-of-use may make them more versatile.

##### 1D vs 2D GCxGC-MS

Rapid advancement in two-dimensional (2D) gas chromatography (GCxGC) makes it a powerful tool when coupled with high-speed TOF-MS for the deconvolution of metabolites that co-elute in traditional one-dimensional (1D) GC-MS.  The GCxGC-TOF-MS approach couples columns of different polarity and operated at different temperatures to shift retention times of co-eluting metabolites.  The peak capacity is approx. equal to the product of the separation capacities of the individual columns.  The eluent from the first column is pulsed into a second column, generating an array of high-speed secondary chromatograms that can be detected by the high speed, high capacity time-array detector of TOF-MS.  All of the eluent from the first dimension is subjected to separation in the second dimension, not just a single congested area of the chromatogram.  The approach can be used for deconvolution to ensure the proper assignment of fragments to the metabolites being deconvolved, which can then be incorporated into the data extraction algorithms of the 1D analyses.  As a deconvolution tool, it can be applied with the introduction of each novel heterogeneous matrix (e.g., a new poplar species/tissue).  Given that the approach requires the second column to function much faster than the first column, it is unlikely that GCxGC-TOF-MS will be deployed (in the near-term) as the standard data acquisition approach for high throughput profiling, until detectors with even more rapid acquisition rates become available.

##### Library Compilation of Mass Spectral Fragmentation Patterns

The effective deployment of GC-MS approaches for metabolite profiling must include the expansion of MS databases to identify unknowns for establishing data extraction and deconvolution strategies (metabolites quantified free from co-eluting interference).  A greatly enlarged mass spectral database of EI and CI fragmentation patterns of TMS- and methoxime/TMS derivatives of metabolites will be required to identify as many of the large number of metabolites as possible.  Up to 70% of the metabolites in a complex GC-MS analysis are typically unidentified.  Although commercially available GC-MS databases have a large number of compounds, they have only a small proportion of the large number of low-molecular weight (<1200 Da) organic metabolites that need to have the fragmentation pattern of their methoxime/TMS derivatives characterized.  Populus has a large number of unique phenolic compounds, including salicyl alcohol and higher-order conjugates with simple phenols (e.g., salicyl alcohol, catechol, 4-ethylphenol), phenolic acids (e.g., caffeic acid, benzoic acid, salicylic acid), and their glucosides.  Compounds previously reported to be present in Salix sp. have a high likelihood of also being observed in Populus sp.  Given that many plant species have some of metabolites in common, the data emerging from plant species, such as Arabidopsis and potato (Solanum), can be exploited to expand the metabolite database of mass spectra for metabolite profiling that will be an essential tool for phenotyping.  Elucidation of many of the currently unidentified compounds is imperative and would provide an invaluable resource for metabolite profiling.  Unidentified peaks can be subjected to more detailed characterization by subjecting the same samples to CI by using methane plasma to generate a milder ionization source, increasing the probability of observing the molecular ion ((M+1)+, (M-1)-).  CI is of great benefit to identify the eluting peaks by confirming molecular weight and aiding in attempts to deconvolve overlapping peaks by simplifying the spectra (i.e., minimal fragments).

Short-term goals:  Compilation of EI and CI mass spectral fragmentation patterns of Populus metabolites, including identification and localization of 500 of the most abundant metabolites with respect to key fragment assignments and retention time of their TMS and methoxime/TMS derivatives by GC-MS.

Mid-term goal:  Develop of data deconvolution and extraction algorithms/strategies to accurately quantify metabolite concentrations free from co-eluting interference.

Long-term goal:  Develop a centralized, web-based searchable repository of EI and CI mass spectral fragmentation patterns of TMS and methoxime/TMS derivatives of known Populus metabolites.

LC-MS

In recent years, protocols for assessing metabolites using LC coupled to MS have been established with high analytical precision and sensitivity.  Profiling methods based on this approach have been established for isoprenes, alkaloids, phenylpropanoids, glucosinolates, flavonoids, saponins and oxylipins.  However, polar, non-volatile samples and LC conditions require special ionisation techniques:

ES. Electrospray ionization (ES) is the optimum method of ionizing the widest range of polar metabolites. Initially the sample is dissolved in a solvent where, to a certain extent, it will exist in an ionized form, e.g. [M­H]+ ([M-H-]).  In conventional ES the solution is then pumped through a thin capillary, which is raised to a high potential.  Small charged droplets are sprayed from the ES capillary into a bath gas at atmospheric pressure and travel down a pressure and potential gradient towards an orifice in the MS high-vacuum system.  As the droplets traverse this path they become desolvated and reduced in size until the point is reached that either an ion desorbs from a droplet or solvent is completely removed.  The result of ES is a beam of ions, which are sampled by the mass spectrometer.  ES is a concentration- rather than a mass-dependent process, and improved sensitivity is obtained for high-concentration low-volume samples, which has led to the development of low-flow-rate ES (e.g. nano-HPLC).

MS/MS. MS combined with ES was developed from single analyzer systems to very complex MS/MS couplings. Principle:  In an MS/MS experiment a precursor ion is mass-selected by mass analyzer 1 (MS1) and focused into a collision region preceding a second mass analyzer (MS2).  The process can be continued for several further steps (MSn).  The mass analyzers are arranged in series either in space (sector, triple quadrupole and hybrid instruments) or in time (trapping instruments).  Inert gas is generally introduced into the collision region and collisions occur between the precursor ion and inert gas atoms (molecules).  In these collisions part of the precursor ion's translational energy can be converted into internal energy, and as a result of single or multiple collisions an unstable excited state is populated.  Excited precursor ions decompose to product ions in a process termed “collision-induced dissociation” (CID).  Product ions are mass-analyzed by MS2.  There are also further alternative methods of precursor-ion dissociation that include surface-induced dissociation (SID), black-body infrared radiative dissociation (BIRD) and electron-capture-induced dissociation (ECD).

Hybrid MS/MS. While each type of MS/MS instrument has its own strengths and weaknesses, by combining analysers in a hybrid conformation, an attempt was made to accentuate positive features while canonizing the negative ones.  The hybrid MS/MS instruments that use a quadrupole as MS, and an orthogonally arranged reflectron TOF as MS (e.g. Q-TOF), are also commercially available and holds promise in metabolomic profiling.

Direct Infusion (DI)-MS and MS/MS can be developed as a next-generation high-throughput screening tool for characterization of the large number of silent phenotypes, as an initial screen, without the use of time-demanding chromatographic resolution.  A wide array of metabolites can be directly injected (infused) into a tandem MS that is operated with multiple ionization modes.  Samples can be quickly (30 sec/analysis) subjected to both APCI and ES in the positive and negative ion modes to ionize different components within the heterogeneous matrix.  The analysis can especially target metabolites that are otherwise typically difficult to derivatize or analyze by GC-MS (for example), because of large size (500-1500 Da), too many reactive functional groups, and low volatility.

FTICR. Another direct infusion MS technology is Fourier transform ion cyclotron MS, wherein extracts are infused into MS instruments using soft ionization techniques to gain fingerprints of molecular ions present in an extract.  FTICR instruments show promise in that they also provide exceptional high resolution (HR) and mass accuracy.  The power of this technique relies on the presence of a mass analyzer capable of generating mass data that is sufficiently accurate for determination of definitive empirical formulae for several hundred ions.

Short-term goals: Establish standardized LC-MS analyses for metabolomics, progressing towards high throughput rates by developing direct infusion analyses (e.g., DI-nanoES, FTICR).  Although LC-MS fragmentation patterns are minimal with respect to fragment generation, compilation of available ES spectra, including retention time and key fragment assignment (molecular ion in [M­H]+ ([M-H-] forms most likely) would promote metabolomic analyses by targeting those classes of compounds that are not readily analyzed by GC-MS approaches.

Mid-term goal:  Analyses must move beyond simply detecting metabolites, but approaches and strategies developed in tandem to deconvolute the complex spectral output.  Therefore, data analyses should also approach the throughput rates at which the analyses are conducted.

Long-term goal:  Once the protocols are refined, a fully automated robotic sample preparation and handling systems can be developed for even greater sample throughput.

Pressure-assisted chemical electrophoresis-MS (PACE-ES-MS) is ideally suited for the efficient separation and analysis of highly polar, charged metabolites (e.g., polyphosphorylated compounds, adenylates (e.g., ATP, ADP), nucleotides (e.g., NADP, NAD, FAD), and coenzymes).  The mass detection limit with a sheath-flow interface is ca. 10 to 100 fmol.  Sensitivity can be increased by converting to a sheathless interface between the PACE and the MS ion trap.  The approach will capture the many phosphorylated carbon intermediates, and can provide assessments of metabolite flux, when coupled with tracing stable isotope-labeled precursors and intermediates through pathways with MS and NMR analyses of isotopomers, as discussed below.

Short-term goals: Demonstrate utility of PACE-MS to profile phosphorylated carbon intermediates and coenzyme A (CoA)-bound intermediates, and trace stable isotope-labeled precursors and intermediates through pathways over time to determine metabolite flux rates.

Long-term goal:  Increase throughput by the development and incorporation of chip technology and/or instruments with large numbers of capillaries. Once the technologies are refined, a fully automated robotic sample preparation and handling system can be incorporated for even greater sample throughput.

# Transitioning from Steady-State Analysis of Metabolites to Metabolic Dynamics

One of the most exciting but daunting challenges in conducting global metabolic analyses are to create tools that facilitate the transition from quantifying static pools of metabolites to analyzing metabolite dynamics.  Four approaches that are essential for analyzing metabolite dynamics are: 1. temporal quantification of metabolites in living tissues, 2. spatial analysis of metabolites in tissues, 3. experimental analysis of flux through one or more metabolic pathways, and 4. modeling of metabolic flux using bioinformatics tools.

In vivo NMR is a non-invasive, non-destructive technique for both qualitative and quantitative analysis of 13C- and 15N-labelled compounds, making it the procedure of choice to quantify metabolites in live, intact tissues, as well as to trace the metabolic fate of labeled compounds in real time.  Recent studies indicate that it may also be feasible to modify existing in vivo NMR protocols to quantify metabolites by means of endogenous isotope levels.  In vivo NMR technology has been used to study several plant species, including forest trees.  However, there are a plethora of variables that affect the detection of high-resolution spectra, and there is substantial methods development to be done, including the lowering of detection limits, in order to proficiently examine trace regulatory metabolites in different poplar tissues.

It will also be important to investigate emerging instrumentation and technologies for in vivo spatial and temporal metabolite analyses.  Novel imaging techniques, currently being developed within the medical bioengineering domain, such as in vivo positron emission tomography, hold considerable promise for quantifying metabolic dynamics in living cells, tissues, and organs.

Short-term goals:  Develop standardized protocols for in vivo NMR analysis of different poplar tissues.  Develop freely-available libraries of peak assignments.

Mid-term goals:  Develop protocols for improved resolution and improved detection of metabolites using in vivo NMR.

Long-term goals:  Exploit emerging imaging instrumentation for enhanced resolution real-time spatial and temporal metabolite analyses.

In addition to experimental protocols and instrumentation, bioinformatics tools are needed to model metabolic flux.  These tools would either be selected from pre-existing tools, or created de novo.  The tools will need to be parameterized for the pathways of interest, and then validated with real data.  Eventually, it will be advantageous to be able to overlay transcript and protein profiling data onto metabolic flux models.

Short-term goals:  Assess the utility of various existing programs for modeling metabolic flux.

Mid-term goals:  Develop new programs or customize existing programs for modeling metabolic flux.  Create a database for publicly available metabolite flux data.

Long-term goals:  Integrate metabolic flux modeling program with a poplar Pathway/Genome Database.

# Data Analysis

## Chemometrics and Visualization of Metabolite Data

Metabolomics projects generate large sets of data, and the accepted way of comparing large data sets is to use different multivariate tools, e.g. principal component analysis (PCA) or partial least squares projections to latent structures (PLS).  PCA is an unsupervised method where no “a priori” knowledge of the class of samples is needed, and it is based on calculation of latent variables.  The principle components are linear descriptions of the original descriptors, and are uncorrelated.  The components also describe decreasing amount of data variance, i.e. P1>P2 and more.  PCA will show the best representation of metabolic variation to be described in a limited number of dimensions.  PLS is supervised method so that the class of a sample from an independent data set can be predicted on the basis of a series of models that are derived from the original data. This will help maximize the separation between classes, but also enable the data validation.  Although the use multivariate statistical tools for evaluation of data are critical to handling all the generated data, it is also important develop tools for visualization of obtained data. The possibility to interpret differences between samples is dependent on describing metabolic differences in visually simple ways, relating relative differences with known metabolic pathways to pinpoint impacted steps (reactions).

Short-term goals: To establish a common strategy for evaluation of data by using multivariate statistical tools as PCA and PLS when appropriate. To establish tools to rapidly visualize metabolic differences.

Long-term goals: To establish a web-based (or software based) system for automatically compare large series of e.g. GC-MS and/or LC-MS data.  A web-based tool where the identified metabolic differences observed can be visualized.

Systems Integrations Approach to Functional Genomics

While the focus of this first 5-year Poplar Science Plan is on tool and resource development, these tools and resources are being developed with an eye towards functional genomics, which is the projected goal of the second 5-year Plan.  At the heart of functional genomics is delineating the function of genes identified via sequencing projects.  For genes encoding enzymes, the most basic descriptors of function are enzymatic activity, substrate(s) and product(s).  Thus, together with transcript profiling and protein analysis, global metabolite analysis represents one of the three cornerstones to delineating gene function.

It follows that integrating sequence data with transcriptomic, proteomic, and metabolomic data will be central to assigning function to genes.  Bioinformatics tools such as Pathway/Genome Databases combine sophisticated database capabilities with gene ontology in order to permit integration of transcriptomic, proteomic, and metabolomic data with annotated whole genome sequence data.  These tools often use graphical representations of metabolic networks as a visual, interactive interface for data integration and data mining.  Thus, graphical, interactive metabolic networks form an important anchor for these integrative databases.  The overall goal for this 5-year Science Plan is to create an interactive, queriable version of Pathway/Genome Database for Poplar.

Short-term goals:  Create PoplaCyc, a Pathway/Genome Database containing only metabolic and biosynthetic pathways known (or suspected) to exist in poplar.

Mid-term goals:  Add interactive functions to PoplaCyc to enable visualization of genomic, transcriptomic, proteomic, and/or metabolomic data within the graphical environment of PoplaCyc, and to allow for integration of datasets.  Steps will include: a. Annotate PoplaCyc with queriable Populus locus identifiers such as genomic sequence IDs and GenBank accession numbers.  These locus identifiers will be linked to databases containing Populus gene function information, such as Gene Ontology.  b. Enable links between queriable Populus locus identifiers in PoplaCyc and Populus locus identifiers in microarray datasets, permitting gene expression data to be interactively overlaid onto PoplaCyc.  c.  Enable links between metabolite identifiers in PoplaCyc and metabolite identifiers in metabolite analyses datasets.

Long-term goals:  1. Add previously unknown metabolites and undetermined metabolic pathways to PoplaCyc.  2. Add cellular activities to PoplaCyc, such as signal transduction, transmembrane molecular transport, and molecular trafficking.  3.  Link PoplaCyc to public databases of gene expression and metabolite datasets.

Strategies:  PoplaCyc could be created using available tools such as Pathologic, which was used to create MetaCyc, a compendium of metabolic networks, and the species-specific BioCyc databases, such as AraCyc (Arabidopsis).  AraCyc should serve as a model for PoplaCyc.  It would be important to work with the developers of Pathologic and AraCyc.  It will also be necessary to attract the necessary bioinformatics specialists to achieve these goals in a timely manner.

Potential Future Applications:  PoplaCyc has the potential to evolve into a pivotal, higher-order bioinformatics tool that allows for easy integration of other diverse metabolic and genomic data to create a “virtual interactive tree”. Such a tool will allow for in silico dissection of complex events such as responses to environmental perturbation.