Irrigation water management (IWM) is the process of determining and controlling the volume, frequency, and application rate of irrigation water in a planned, efficient manner.

# Purpose

IWM is applied as part of a conservation management system to support one or more of the following:

- Manage soil moisture to promote desired crop response

- Optimize use of available water supplies

- Minimize irrigation induced soil erosion

- Decrease non-point source pollution of surface and groundwater resources

- Manage salts in the crop root zone

- Manage air, soil, or plant micro-climate

# Use

This practice is applicable to all irrigated lands.

An irrigation system adapted for site conditions (soil, slope, crop grown, climate, water quantity and quality, etc.) must be available and capable of applying irrigation water to meet the intended purpose(s).

# Conservation Management Systems

IWM is generally one of several components of a resource management system used to manage water supplied to a crop through an irrigation system that is part of an overall

resource management plan for the irrigated cropland.

Irrigation Water Management Planning

IWM components of the conservation plan will contain the following information:

- field map(s) and soil survey information

- crop rotation or sequence

- recommended irrigation water application rates, timing and method of application

- locations of designated sensitive areas

- guidelines for irrigation system operation and maintenance

IWM is most effective when used in conjunction with other conservation practices such as irrigation system design, cover crop, residue management, conservation buffers, nutrient management, pest management and conservation crop rotation.

IWM requires knowledge, skills and the desire to determine when irrigation water should be applied. The main factors influencing IWM are irrigation interval (time between irrigations), irrigation set time (time water is applied) and application rate (rate at which water is applied). These parameters define the timing and duration of irrigation and the amount of water applied. System design and maintenance are also important factors influencing IWM.

Water Rights

Under Idaho law, all water is publicly owned. Anyone planning to store or divert surface or groundwater for the purpose of irrigation must obtain a permit or water right from the Idaho Department of Water Resources. These permits or water rights must be obtained prior to the use of the water. It is the responsibility of the landowner to file for the necessary permits or water rights.

# Operation and maintenance

There are no operation and maintenance (O&M) aspects applicable to this standard. Necessary O&M items are addressed in the physical component standards considered as companions to this standard.

Specifications

Site-specific requirements for IWM are listed on specification sheets. Specifications are prepared

in accordance with the NRCS Field Office Technical Guide. Refer to the NRCS practice standard, Irrigation Water Management, (449).  Use a Soil Survey and NRCS National Engineering Handbook, Part 652 – Irrigation Guide, or locally accepted references, for procedures to calculate values such as application rates for various irrigation systems, and to estimate water holding capacities of soils.

Part of an effective IWM is keeping records of irrigation amount and timing. Record keeping is required for compliance with a cost-sharing contract.

Water Flow Rates and Conversion Factors

# Text boxes

where:

Q = flow rate (gpm)

A = area (acres)

D = gross application depth (in)

F = irrigation period (days)

H = hours of operation per day

Water Flow Rates:

1 cubic foot per second (cfs)

= 448.8 gallons per minute

1 cfs for 1 hour = 0.99 acre-inch

1 cfs for 24 hr = 1.98 acre-ft

1,000 gpm = 2.23 cfs

1,000 gpm for 24 hr = 4.42 ac-ft

1 cfs = 50 miner’s inches in

ID, KS, NE, NM, ND, SD, So. CA

1 cfs = 38.4 miner’s inches in CO

1 miner’s inch = 9.0 gpm in ID

Pump Power Requirement:

Water Volumes & Weights:

1 cubic foot = 7.48 gallons

= 62.4 lb

1 acre-foot = 43,560 cubic feet

(1 acre covered 1 ft deep)

12 acre-inches = 1 acre-ft

1 million gallons = 3.07 acre-ft

Pressure and Pressure Head:

1 psi = 2.31 ft of pressure head

Certification: I certify that I have reviewed and understand the minimum requirements of Conservation Practice Standard 449, Irrigation Water Management, and agree to apply this practice as scheduled in the Conservation Plan and/or Program Contract.

Name:_____________________________________________        Date: ______________________

Conservationist: _____________________________________        Date: _____________________

Q * T = D * A

where:

Q = flow rate (acre-in/hr or cfs)

T = time (hr)

D = gross depth applied (in)

A = area (acres)

Q = 453 * A * D

F * H