Manager’s Guide to Spill Prevention, Control and Countermeasure (SPCC) plan implementation

This document is designed to accompany each updated/new SPCC plan for NOAA facilities.

INTRODUCTION

Your Spill Prevention, Control and Countermeasure (SPCC) has been developed for your facility to meet the requirements of Section 311(j)(1)(c) of the Federal Water Pollution Control Act (Clean Water Act) – Title 40, Code of Federal Regulations, Part 112 (40 CFR 112).  The overall purpose of this plan is to prevent any oil/fuel discharges into navigable waters of the U.S.

Your facility is required to have a SPCC plan because it meets the following three criteria:

- Non-transportation related operations (stationary)

- Aboveground storage >1,320 gals (42,000 gals for underground storage)

- There is a “reasonable” expectation that a spill from this tank could reach “navigable waters” of the U.S.

STEPS FOR MANAGING YOUR SPCC PLAN:

- PLAN REVIEW:  When you first develop, or receive your SPCC Plan from a PE/contractor, the Designated Responsible Official (DRO), or facility manager, must review the plan with the facility environmental coordinator, or focal point, and sign the Management Endorsement page.  Once the plan has been either self-certified, or certified by a Professional Engineer (PE), and signed by the DRO/Facility Manager, the plan is effective for 5 years from the date signed.  If you make any changes to your storage tank operations the plan must be amended (and may require recertification by a PE – consult an Environmental Compliance Officer (ECO), or other SECO staff).

- INSPECTIONS:  Inspecting the tank system and the operations is a critical element of spill prevention.  The following inspections have been developed in your plan (blank copies of the inspection forms have been included in the appendix section of your SPCC plan):

- Monthly Inspection – Every month, an individual from your facility is required to conduct an inspection of the tank system to ensure that there are no visible leaks and that the electronic monitoring system is operating properly.  All inspection activities must be tracked in an inspection report log (e.g. a three ring binder)

- Fuel Delivery Inspections – Every time a delivery is made to the aboveground tank (AST) there must be a pre and post delivery inspection conducted by one of your staff.  All deliveries must be recorded in the inspection report log.

- Annual Inspections – Many states and tank manufacturers require an inspection annually – every 12 months.  This is also documented in the inspection report log.

  - REVIEW SPILL NOTIFICATION FORM: Annually, review your spill notification form (located in the SPCC plan) to ensure that all contact phone numbers are accurate.  Also, verify that the spill response contractor information is accurate.

  - REVIEW SPILL KIT INVENTORY:  Annually, review the contents of your facility’s spill kit – order new supplies if required.

  - CONDUCT SPILL TRAINING:  Annually, conduct spill response training as outlined in your SPCC plan.  Have participants sign an attendance roster and keep in your SPCC files.

  - RECORD KEEPING:  To meet the record keeping requirements of both federal and state regulations, you must keep all inspection record no less than 10 years.  Record keeping includes documents from monthly inspections, fuel delivery inspections, any testing records, and spill training.

QUESTIONS:

Please contact an Environmental Compliance Officer (ECO), or other SECO personnel if you have any questions about your SPCC Plan.  SECO SPCC Program contacts:

Bernie Denno, Senior Environmental Protection Officer…301-713-2870 x101

Will Freeman, SPCC Program Manager...301-713-2870 x-111

SPCC Facility Checklist for ____________________________________________________

Facility Name                           City                       State

| SPCC Action Item | Frequency | CY 20XX | CY20XX | CY20XX | CY20XX | CY20XX |
| --- | --- | --- | --- | --- | --- | --- |
| Initial SPCC Plan Review | Initially |  |  |  |  |  |
| Facility Manager Sign Endorsement | Initially |  |  |  |  |  |
| Annual SPCC Plan Review | Annually |  |  |  |  |  |
| Monthly Tank Inspections | Monthly |  |  |  |  |  |
| Annual Tank Inspections | Annually |  |  |  |  |  |
| Fuel Delivery Inspections | For each fuel delivery |  |  |  |  |  |
| Annual submission of monthly test reports to RIDEM due Dec 31st, if required by SPCC Plan | Annually |  |  |  |  |  |
| SPCC Plan update | Every 5 years (or sooner if system has been modified) |  |  |  |  |  |
| Annual SPCC training | Annually |  |  |  |  |  |
| Spill Notification Form Review | Annually |  |  |  |  |  |
| Spill Kit Inventory | Annually |  |  |  |  |  |

# Text boxes

Initial and date when each task item is complete