| 9 | Environmental Programs | C9, 1 |
| --- | --- | --- |
| 9.1 | General Information | C9, 1 |
| 9.1.1 | Annex Description …………………………………… | C9, 1 |
| 9.1.2 | Limitations, Restrictions, or Other Exceptions ….. | C9, 2 |
| 9.1.3 | Description of Facilities …………………………….. | C9, 2 |
| 9.1.4 | Definitions …………………………………………… | C9, 3 |
| 9.2 | Environmental Compliance Management | C9, 4 |
| 9.2.1 | Corrective Action ……………………………………. | C9, 5 |
| 9.2.2 | Compliance Audits and Inspections ……………… | C9, 6 |
| 9.2.3 | Audit Environmental Programs ……………………. | C9, 6 |
| 9.3 | Industrial Solid Waste Management Program | C9, 7 |
| 9.3.1 | Waste Pickup ……………………………………….. | C9, 8 |
| 9.3.2 | Administer ISW Waste Streams ………………….. | C9, 8 |
| 9.3.2.1 | Waste Stream Characterization …………………… | C9, 8 |
| 9.3.2.2 | Accomplish Waste Tracking ………………………. | C9, 9 |
| 9.3.2.3 | Maintain Notice of Registration (NOR) …………… | C9, 10 |
| 9.3.3 | Maintain Waste Satellite Accumulation Areas …… | C9, 11 |
| 9.3.4 | Operate and Manage All ISW Storage Facilities … | C9, 11 |
| 9.3.5 | Waste Treatment System …………………………. | C9, 12 |
| 9.3.6 | Arrange For ISW Transport and Disposition ……… | C9, 13 |
| 9.3.6.1 | Obtain Contracts for Transportation and Disposal of ISW …………………………………………………… | C9, 15 |
| 9.3.6.2 | Audit ISW Transporters …………………………….. | C9, 16 |
| 9.3.6.3 | Lab-packing Services ……………………………… | C9, 16 |
| 9.3.7 | Conduct Audits of TSDRs Facilities ……………….. | C9, 17 |
| 9.4 | Air Quality Program | C9, 18 |
| 9.4.1 | Operate the Building 222 CEMs …………………… | C9, 19 |
| 9.4.2 | Building 24 Boiler Records ………………………… | C9, 20 |
| 9.4.3 | Surface Coating Facilities …………………………. | C9, 22 |
| 9.4.4 | TNRCC Standard Exemption Activities …………… | C9, 22 |
| 9.4.5 | Perform Calculations for Emissions Inventory Report ……………………………………………….. | C9, 24 |
| 9.4.6 | Opacity Readings …………………………………… | C9, 24 |
| 9.4.7 | Title V and Synthetic Minor Permit Management | C9, 24 |
| 9.5 | Water Pollution Control And Prevention Program | C9, 25 |
| 9.5.1 | Manage Sanitary Sewer Discharges ………………. | C9, 25 |
| 9.5.2 | Storm Water Management …………………………. | C9, 27 |
| 9.5.3 | Spill Prevention Control and Countermeasure (SPCC) Program ……………………………………. | C9, 28 |
| 9.5.4 | Operation and Maintenance of Impoundments ….. | C9, 29 |
| 9.6 | Lead Program | C9, 30 |
| 9.7 | Asbestos Program | C9, 32 |
| 9.8 | Petroleum Storage Tank Program | C9, 35 |
| 9.9 | Groundwater Protection Program | C9, 36 |
| 9.9.1 | Manage Groundwater Treatment System ………… | C9, 37 |
| 9.10 | Emergency Spill Response | C9, 38 |
| 9.10.1 | Establish Emergency Response Team …………… | C9, 39 |
| 9.10.2 | Respond to Spills and Releases ………………….. | C9, 39 |
| 9.10.3 | Spill Response Documentation …………………….. | C9, 40 |
| 9.10.4 | Spill Equipment and Supplies …………………….. | C9, 40 |
| 9.11 | Pollution Prevention And Resource Conservation | C9, 40 |
| 9.11.1 | Track and Evaluate Information …………………… | C9, 41 |
| 9.11.2 | Pollution Prevention Opportunity Assessments (PPOA) ………………………………………………. | C9, 42 |
| 9.11.3 | Ozone Depleting Substances (ODS) ……………… | C9, 42 |
| 9.11.4 | Emergency Planning Community Right-to-Know Act (EPCRA) …………………………………………….. | C9, 44 |
| 9.12 | Communication, Training And Participation In Work Groups | C9, 44 |
| 9.12.1 | Training and Awareness …………………………… | C9, 45 |
| 9.12.2 | Participate in Committees and Work Groups… ……. | C9, 46 |
| 9.13 | Environmental Management System (EMS) | C9, 47 |
| 9.14 | Toxic Substances Control Act (TSCA) Program | C9, 48 |
| 9.15 | Personnel, Training, And Certifications | C9, 48 |
| 9.15.1 | Environmental Manager ……………………………. | C9, 49 |
| 9.15.2 | Hazardous Waste Operations Supervisor ……….. | C9, 50 |
| 9.15.3 | Spill Response Supervisor/Specialist …………….. | C9, 50 |
| 9.15.4 | Air Program Specialist ……………………………… | C9, 51 |
| 9.15.4.1 | Air Quality Technician | C9, 51 |
| 9.15.5 | Asbestos/Lead Programs Specialist ………………. | C9, 51 |
| 9.15.6 | Environmental Operations Engineer ……………… | C9, 52 |
| 9.15.7 | Environmental Project Manager/Specialist ………. | C9, 52 |
| 9.15.8 | Pollution Prevention/ Recycling/ Affirmative Procurement Program Manager/ Specialist ………. | C9, 52 |
| 9.15.9 | Training Program Specialist ………………………. | C9, 53 |
| 9.15.10 | Water Pollution Compliance Manager/ Specialist .. | C9, 53 |
| 9.16 | Records, Reports, And Submittals | C9, 53 |
| 9.16.1 | Environmental Compliance Management Records, Reports and Submittals ……………………………. | C9, 54 |
| 9.16.1.1 | COSS Environmental Compliance Plan ………….. | C9, 54 |
| 9.16.1.2 | Annual Building Inspection Report ……………….. | C9, 54 |
| 9.16.1.3 | Self Assessment Findings Report …………………. | C9, 54 |
| 9.16.1.4 | Environmental Resource Documents …………….. | C9, 55 |
| 9.16.1.5 | Standard Operating Procedures ………………….. | C9, 55 |
| 9.16.2 | ISW Records, Reports and Submittals …………… | C9, 55 |
| 9.16.2.1 | Annual Waste Summary ………………………….. | C9, 56 |
| 9.16.2.2 | Annual Site Activity Report ………………………… | C9, 56 |
| 9.16.2.3 | Monthly Waste Shipment Report ………………….. | C9, 56 |
| 9.16.2.4 | Monthly Waste Receipt Summary ………………… | C9, 56 |
| 9.16.2.5 | Monthly ISW Generator Report …………………… | C9, 56 |
| 9.16.2.6 | ISW Contingency Plan ……………………………… | C9, 57 |
| 9.16.2.7 | ISW Waste Analysis Plans …………………………. | C9, 57 |
| 9.16.2.8 | TSDR and Transportation Facility Audit Reports … | C9, 57 |
| 9.16.2.9 | ISW Tank Inspection Reports …………………….. | C9, 58 |
| 9.16.2.10 | ISW Tank Cleaning Plans and Reports …………… | C9, 58 |
| 9.16.2.11 | Manifest Exception Reports ……………………….. | C9, 58 |
| 9.16.2.12 | Submit Biennial Hazardous Waste Report ……….. | C9, 58 |
| 9.16.2.13 | Closure Plans ……………………………………….. | C9, 59 |
| 9.16.2.14 | RCRA Training Plan ……………………………….. | C9, 59 |
| 9.16.3 | Air Emission Reports ………………………………. | C9, 59 |
| 9.16.3.1 | Develop and Submit Relative Accuracy Test Audit (RATA) Report ………………………………………. | C9, 59 |
| 9.16.3.2 | Develop and Submit Quarterly Cylinder Gas Audit Report ……………………………………………….. | C9, 59 |
| 9.16.3.3 | Develop and Submit 40 CFR Subpart Db Semi-Annual CEMS and Excess NOx Emission Report .. | C9, 59 |
| 9.16.3.4 | Develop and Submit 40 CFR Subpart Dc Semi-Annual Excess Emission Report ………………….. | C9, 60 |
| 9.16.3.5 | Develop and Submit Emissions Inventory Report .. | C9, 60 |
| 9.16.3.6 | Develop and Submit Air Inspection Preparation Guidelines and Site-Specific Questions as Provided by TNRCC …………………………………………… | C9, 60 |
| 9.16.3.7 | Report Analytical Results of Samples of O/W Separators at JSC and EF …………………………. | C9, 60 |
| 9.16.3.8 | Title V and Synthetic Minor Permit Reports and Submittals | C9, 60 |
| 9.16.4 | Water Pollution Prevention Control Records, Reports and Submittals ……………………………. | C9, 60 |
| 9.16.4.1 | Sanitary Sewer Industrial Discharge Management Plan …………………………………………………… | C9, 61 |
| 9.16.4.2 | Annual Storm Water Plan Compliance …………… | C9, 61 |
| 9.16.4.3 | Update the JSC and EF Storm Water Pollution Prevention Plans ……………………………………. | C9, 61 |
| 9.16.4.4 | Sedimentation and Erosion Control SEC Plan Reports ………………………………………………. | C9, 62 |
| 9.16.4.5 | Spill Prevention Control and Countermeasure (SPCC) Report ………………………………………. | C9, 62 |
| 9.16.5 | Asbestos Program Records, Reports and Submittals …………………………………………… | C9, 62 |
| 9.16.5.1 | Annual Site-wide Asbestos Inspection and Assessment …………………………………………. | C9, 62 |
| 9.16.5.2 | Asbestos Notifications …………………………….. | C9, 62 |
| 9.16.6 | PST Program Records, Reports and Submittals … | C9, 63 |
| 9.16.6.1 | Annual Petroleum Storage Tank (PST) Integrity Report ………………………………………………… | C9, 63 |
| 9.16.6.2 | General Land Office Applications and Certificate .. | C9, 63 |
| 9.16.6.3 | Regulated and Unregulated Petroleum Storage Tank (PST) Database Submit PST Database………..…… | C9, 63 |
| 9.16.7 | Groundwater Protection Records, Reports, and Submittals …………………………………………… | C9, 63 |
| 9.16.7.1 | Groundwater Monitoring Well (MW) Statistics and Recovery Trends Report ………………………….. | C9, 64 |
| 9.16.8 | Pollution Prevention and Resource Conservation Records, Reports and Submittals …………………. | C9, 64 |
| 9.16.8.1 | Source Reduction and Waste Minimization Report. | C9, 64 |
| 9.16.8.2 | Pollution Prevention Plans ……….………………… | C9, 64 |
| 9.16.8.3 | NASA Recycling and Affirmative Procurement Report ………………………………………………… | C9, 65 |
| 9.16.8.4 | Pollution Prevention Opportunity Assessment (PPOA) Reports …………………………………….. | C9, 65 |
| 9.16.8.5 | Annual ODS Usage Report ………………………… | C9, 65 |
| 9.16.8.6 | Develop Environmental Award Applications ……… | C9, 66 |
| 9.16.8.7 | Notification to Agencies ……………………………. | C9, 66 |
| 9.16.8.8 | Toxic Release Inventory (TRI) Report …………….. | C9, 66 |
| 9.16.8.9 | Communication, Training and Participation in Work Groups Records, Reports, and Submittals ……….. | C9, 66 |
| 9.16.9.1 | Study and Design Review Comments ……………. | C9, 67 |
| 9.16.10 | TSCA Records, Reports, and Submittals ………… | C9, 67 |
| 9.16.10.1 | Submit Polychlorinated Biphenyl Annual Written Document …………………………………………… | C9, 67 |

9	ENVIRONMENTAL PROGRAM

9.1	General Information

9.1.1	Annex Description

This Annex covers the services necessary to manage and implement the site-wide environmental program listed below.  Annex 9 identifies the requirements the Contractor must meet to ensure that the Government is in compliance with all Federal, State, and local, environmental requirements and NASA JSC directives, procedures and policies.  In contrast, the Annex 1 Environmental Program CLIN identifies the requirements that the Contractor must meet to ensure it complies with the same environmental requirements, directives, procedures and policies while performing work across the entire COSS contract.

- Environmental Compliance Management;

- *Industrial Solid Waste (ISW);

- Air Quality;

- Water Pollution Control and Prevention;

- Lead (Pb);

- Asbestos;

- Petroleum Storage Tanks (PST);

- Groundwater Protection;

- Emergency Response;

- Pollution Prevention and Resource Conservation;

- Communication, Training, and Participation in Work Groups;

- Environmental Management System (EMS); and

- Toxic Substances Control Act (TSCA).

For the purposes of this Annex, Johnson Space Center (*JSC) includes JSC, EF, SCTF.  Some work shall also be performed at the El Paso Forward Operating Location (EPFOL) and will be clearly called out.  A full time presence at EPFOL is not required.  Activities shall be planned to be completed during quarterly visits lasting 1 or 2 days to EPFOL, and include two regulatory inspections per year at EPFOL.  All other work identified for EPFOL can be accomplished by fax, phone, or other remote methods.

The Director, NASA JSC, is the designated owner, responsible official, and generator of record at locations of services covered by this contract and, as such, retains the responsibility for the establishment and accomplishment of the Environmental Program.  The activities identified in this Annex are in support of JSC’s Environmental Program.  In order to accomplish the identified support, the Contractor shall establish and accomplish a comprehensive program, which ensures all necessary environmental, safety, and regulatory specifications and criteria are implemented in a manner that offers maximum protection to human life, the environment and property, and minimizes pollutants generated.

All activities, products and services (aspects) shall be developed and performed in a manner consistent with and inclusive of all JSC’s environmental management system elements and the JSC environmental policy.  All programs and aspects shall result in reducing risk to the environment, reducing NASA’s liability and providing cost effectiveness, as appropriate (**EMS Policy Manual).

Certain key activities, specific to JSC systems and procedures, are included in this Annex in order to provide details which are unique to *JSC and EPFOL or to better define the workload.  The Contractor shall implement minor additional elements as necessary to achieve comprehensive and effective programs.

The Contractor shall administer all environmental transportation and Treatment, Storage, Disposal, and Recycling facilities (TSDR) subcontracts to ensure that all subcontractors are properly certified, licensed, permitted, and approved by NASA.

In the event that a Federal, State, or Local authority assesses a monetary fine or penalty against the Government for violations of environmental, health, or safety laws, regulations, or requirements caused by Contractor negligence or failure to comply with the contract terms and conditions, the Contractor shall reimburse the Government for the amount of that fine and all other Government-incurred expenses.  Government incurred expenses, include, but are not limited to, all actual, direct and indirect costs incurred by the government, (e.g. personnel time expended in gathering information and preparing responses, copying, application fees, travel expenses, development of presentation materials, mail delivery costs), negotiations to final settlement, and costs of implementation of all regulatory required corrective actions whether completed by the government or other support contractor until JSC is restored to full compliance for the cited violation.  The contractor shall be responsible for that portion of the assessed fine or penalty applicable to the violation alleged, minus any fine escalation for a repeat occurrence due to a previous contractor or Government violation.

For the purposes of this Annex, *core hours are defined as 7:30am to 5:00 pm Monday through Friday, excluding holidays.  The Contractor shall be present on-site and shall conduct all work required by this Annex during *core hours, unless specified. The Contractor shall have a designated Environmental Manager and sufficient personnel on-site and available for duty to accomplish all work in this Annex. The Environmental Manager (or designee) will be available via telephone, pager, or cellular phone after hours, weekends, and holidays to respond to emergencies, spills, releases and other environmental issues as may arise.

9.1.2 Limitations, Restrictions, or Other Exceptions

The Contractor shall comply with the terms and conditions of all environmental permit requirements and other authorizing documents (see **Environmental Regulatory Permits) held by the Government.  The Contractor shall address any questions, concerns, or problems which prevent compliance with the applicable permits or any terms of this Annex to the Contracting Officer (CO) and Environmental Technical Management Representative (*TMR) immediately.

Work shall be in compliance with all applicable Federal, State, and Local laws, permits and permit conditions, Presidential Executive Orders, and NASA procedures.  In addition, all maintenance and operations of environmental systems and equipment shall be conducted in accordance with Annex 2, existing Operations and Maintenance (O&M) manuals and procedures, and all regulatory requirements.

The COSS contractor shall  be required to coordinate with the JSC Environmental TMR on compliance issues pertaining to JSC facilities.  Coordination with the Environmental TMR may preclude discussion with the regulators, result in a request for additional information or discussions with other organizations and agencies, result in the JSC Environmental TMR contacting the regulators or requiring the contractor to deal directly with the regulators.

Except where otherwise specified, all environmental samples collected as a requirement of this Annex shall be submitted to the Environmental Health Laboratory at JSC for analysis at no cost to the Center Operations Support Services (COSS) Contractor.

This Annex does not include the management of the following: radioactive materials; medical and infectious wastes and materials; and explosives.  All regulated environmental media originated, generated, or handled by the Contractor through services performed under this contract are subject to the terms and conditions of all *JSC permits, NASA procedures, and this contract.

9.1.3 Description of Facilities

Historical Data for Routine and Recurring Environmental Services:

JSC Main Site: Facility Operations and Permits

- JSC is a large quantity generator of hazardous wastes and is considered an industrial facility in Texas, generating approximately one million pounds of hazardous waste in addition to one million pounds of Class 1 non-hazardous waste per year.  The largest quantities of waste are generated in the photographic laboratory at Building 8 and the metal finishing shop at Building 9.  Building 8 has a tank system for storage of non-hazardous waste and hazardous wastes.  Non-hazardous waste is stored in one 475-gallon sump tank and one 3,400-gallon above ground tank.  Hazardous wastes are stored in one 475-gallon <90-day sump tank and one 1,100 gallon <90-day above ground tank.  One 7,000-gallon tank contains wash water that is processed and reused.  Building 9 has a tank system for storing hazardous waste.  All tanks are <90-day tanks: one 800-gallon rinse water tank, one 320-gallon dye waste tank, one 60-gallon battery acid tank, one 325-gallon caustic waste tank, one 325-gallon acid tank, one 4,780-gallon caustic tank, and one 4,780-gallon acid tank.  There is a Memtek pretreatment system for treating all rinse waters prior to discharge to the sanitary sewer.  A non-hazardous filter cake is generated from the pretreatment process.  A 1,500-gallon non-hazardous tank is used to store rinse water from metal finishing operations at Building 356.  All other ISW is generated in containers from numerous locations, regular and intermittent across the site.  Most other wastes generated in large quantities are derived from facility O&M activities.  JSC has approximately 100 buildings where wastes are accumulated in satellite accumulation areas.  JSC has one permitted hazardous waste container storage area at Building 358 operated IAW <90 day requirements in anticipation of eliminating the TSD permit by FY04.

- JSC conducts activities regulated under Texas Pollutant Discharge Elimination System (TPDES) regulations for discharge of storm water related to industrial activity.  This includes the management and transportation of hazardous wastes, fueling operations, equipment and vehicle maintenance, and some warehousing operations.

- All wastewaters generated at JSC are discharged to the sanitary sewer for treatment offsite at the Clear Lake City Water Authority (CLCWA).  Discharges must meet CLCWA guidance and federal and state regulations.

- JSC is a “major source” of air pollution under Titles I and V of the Clean Air Act operating approximately 40 permitted/registered air emission units with various record keeping and reporting requirements.  The site is located in a “Severe-17” ozone non-attainment area.  Existing air emission units fall into the following categories: seven boilers [three boilers are subject to federal New Source Performance Standards (NSPS), and there are four (4) boilers at JSC which currently have federally-applicable requirements under Title V.  These boilers are: B24-2, B24-3 and B24-4 in the Central Heating and Cooling Plant (Building 24), and B222-1 at the Atmospheric Reentry Materials Structure and Evaluation Facility "ARMSEF" (Building 222)], 25 stationary internal combustion engines, 11 diesel storage tanks, three surface coating operations, 15 solvent cleaners, one solid waste incinerator, seven dust collectors for woodworking shop operations, and 117 other miscellaneous/fugitive sources.  JSC received a Working Draft Clean Air Act Title V permit in August 2000.

- JSC contains 11 petroleum storage tanks with a combined capacity of 134,000 gallons.  Five of these are registered tanks, two of them are registered and operated by others. See the SPCC Plan in the TRL for photographs and location of tanks.

Ellington Field (EF) and Sonny Carter Training Facility (SCTF): Facility Operations and Permits

- EF is a large quantity generator of hazardous waste and operates one < 90-day container storage facility.  Approximately 200,000 pounds of industrial solid waste are generated at EF, including 130,000 pounds of hazardous waste.  Wastes are generated in approximately 25 buildings, including SCTF.  Waste generation and accumulation at SCTF is considered as satellite accumulation areas for EF.  Wastes are picked up and transported to EF via non-public roads.

- EF conducts activities regulated under TPDES regulations for discharge of storm water related to industrial activity.  Primarily these operations include fueling operations and aircraft and equipment vehicle maintenance.

- All wastewater discharges at EF are routed to the sanitary sewer for treatment at a Publicly Owned Treatment Works (POTW).  Discharges must comply with City of Houston Sewer Ordinances and state and federal requirements.

- EF and SCTF are both “minor sources” of air pollution under Titles I and V of the Clean Air Act.  EF and SCTF air emission units are operated under Permit-by-Rule (exemption) with limited record keeping and reporting requirements.  Both sites are located in a “Severe-17” ozone non-attainment area.  Existing air emission units at EF fall into the following categories: 40 external combustion units, three diesel backup generators, three storage tanks for diesel or Jet A fuel, two surface coating operations, and 20 miscellaneous/fugitive sources.  Existing air emission units at SCTF fall into the following categories: 12 external combustion units, two abrasive blasting operations, one dust collector for woodworking shop operations and one fugitive source.

- EF has one 250 gallon registered storage tank.

El Paso Forward Operating Location (EPFOL)

Located at the El Paso International Airport on Boeing Drive in El Paso, Texas.

- The EPFOL is a small quantity generator of ISW.  There are two accumulation areas where wastes are accumulated prior to transportation.  There are three buildings.

- Wastewaters are discharged to the sanitary sewer and must meet City of El Paso discharge requirements.

- EPFOL conducts activities regulated under TPDES regulations for discharge of storm water related to industrial activity.  Primarily these operations include fueling operations and aircraft and equipment vehicle maintenance.

- EPFOL has only minor air emissions sources and operates under standard exemptions.  Sources include a small abrasive blast booth and a spray-coating booth.

9.1.4 Definitions

Document: Includes, but is not limited to (paper or electronic format): reports, submittals, plans, logs, lists, records, analytical results, photographs, maps, O&M manuals, and procedures.

Occupational Medicine-Occupational Health (OMOH):  Life Sciences Directorate (SA) contractor.

Procedure: Any (paper or electronic format) documented record of how work is to be accomplished.  For the purposes of this Annex, a procedure may include, but is not limited to: Work Method (WM), Standard Operating Procedure (SOP), System Level Procedure (SLP), or Common Work Instruction (CWI).

Site-wide compliance: Adherence to all applicable federal, state and local laws, Executive Orders and NASA policies by all on-site organizations, Government and Contractor personnel in the execution of their respective duties, responsibilities, programs, projects and activities.  *JSC is owned and operated by NASA; therefore NASA is the regulated entity and responsible party, notwithstanding who actually performs the work.

| 9.2 | Environmental Compliance Management Ensure compliance with environmental regulations. | Implement a comprehensive Environmental Compliance Program to ensure compliance with environmental regulations and including all elements contained in the COSS Environmental Compliance Plan (DRD AN-9-1). Major elements of the program include: 1. Corrective Action 2. Compliance Audits and Inspections 3. Audit Environmental Programs Minor elements necessary to accomplish and complete the program shall be contractor determined. All elements of this program are currently in place, except audit environmental programs. | One program. | No instances of violation of local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
| --- | --- | --- | --- | --- |
|  |  | Ensure that all elements of the Environmental Compliance Management program meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions (**Environmental Regulatory Permits). Programs and procedures shall be updated to include new or revised requirements. Programs include ISW, Air Quality, Water Pollution Control and Prevention, Lead, Asbestos, PST, Groundwater Protection, Emergency Response, Pollution Prevention and Resource Conservation, Communication, Training, and Participation in Work Groups, EMS, TSCA. |  | Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | All work must be conducted in accordance with existing procedures (**SOPs for Environmental Activities). Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. |  | No deviations from procedures. |
|  |  | Create and make available for inspection to the Government and any federal, state, and local environmental authority upon demand, all *documents as required by contract or to demonstrate compliance with environmental laws. All such documents shall be maintained and accessible for the life of the contract, provided to the Government upon request or per contract requirements and turned over to the Government upon completion or termination of the contract. This requirement applies to all *documents throughout Annex 9 Environmental Programs. Track data required for all documents and develop and submit all required documents. |  | Documents are complete, accurate, maintained, and readily accessible. |
|  |  | Establish and maintain environmental facility liaisons as a customer assistance service to provide regulatory assistance and communicate compliance requirements to site-wide personnel, disseminate environmental information, and improve awareness Develop, implement and maintain a program to provide incentives to site-wide personnel who identify and report environmental areas of concern and recommend enhanced compliance initiatives in the area of waste minimization, pollution prevention, recycling, and continuous improvement actions. | Contractor determined | Regulatory assistance accurate, complete with timely responses to requests. Program complete, visible, and effective |
|  |  | NOTE: All required reports, data, plans, submittals and deliverables for the Environmental Compliance program are listed by program in Contract Line Item Number (CLIN) 9.16.1 Records, Reports and Submittals. |  |  |
| 9.2.1 | Corrective Action Ensure that problems or non-compliances are promptly reported to NASA and corrected. | All non-compliances or noncompliant conditions shall be reported to Environmental *TMR within 24 hours by phone, email or fax. Initiate appropriate corrective action to mitigate the problem *immediately and provide a recommended corrective action plan to the Environmental *TMR within 2 days for approval for items requiring additional time or resources. The recommended corrective action must be based upon root cause analysis and a full review and inclusion of regulatory requirements. Create and maintain a log of all problems or non-compliances (including, but not limited to: date, who was notified, nature of problem, location of problems, and corrective action taken). Log shall be maintained electronically in Excel or other format approved by the Government. Update log within 1 working day of receipt of updated information. NOTE: Corrective repairs for all environmental systems shall be performed as an “emergency repair” in accordance with Annex 2. | Contractor determined | All noncompliances reported accurately and on time. Corrective action plans are provided on time. Log is complete, accurate, maintained, and readily accessible. |
| 9.2.2 | Compliance Audits and Inspections Participate and assist in regulatory audits and inspections | Participate in compliance audits and inspections, and external audits and assessments as they occur at *JSC and EPFOL. Perform pre-inspections prior to scheduled regulatory inspections or NASA functional assessments to identify and correct any deficiencies. Complete pre-audit/inspection checklists as required by agency or Environmental *TMR. Escort and provide tours of facilities to auditors/inspectors. Schedule tours and meetings with other personnel to support audits and inspections. Provide access to all documents or information to inspectors and auditors. Provide copies of all requested documents to auditors and inspectors. Initiate immediate correction of all noted or cited deficiencies, violations, or non-conformances. Develop corrective action plans, conduct corrective action, develop responses and document corrective action for all findings from audits and inspections. Provide 2 trained auditors to participate in EMS internal audits. Auditors will use JSC specified protocols for internal audits (**EMS Policy Manual). NOTE: Up to a 3 day EMS auditor course may be required and include participation in two training audits prior to conducting unsupervised audits. ISO 14000 Lead Auditor training will also meet this requirement. Auditor knowledge and familiarity with the JSC EMS documentation is additionally recommended, but not required. Enter information about the each regulatory inspection into NETS database Functional Management Module within 10 days of inspection and update the required information, as it becomes available. A list of fields that must be completed is included as Inspection Summary and Detail and as Non-Compliance Summary and Detail in **Environmental Functional Management Report Items. Note: Typical audits and inspections at JSC and EF are 2 to 3 days in duration, 1 day or less at EPFOC. Once every 3 years environmental functional reviews occur and last up to 8 days (the next reviews are scheduled for 2004 and 2007). | Eight inspections (two at EPFOL) Three internal EMS audits Two external EMS Audits One external audit Four pre-audit checklists | Pre-inspections are conducted and all problems accurately identified and corrective action is initiated on time. All auditors and inspectors are provided with escorts. Meetings are scheduled to facilitate audits and inspections. All documents are available upon request. Copies are provided upon request. Corrective action is taken immediately for problems identified during inspections and audits. Corrective action plans are developed and completed for all findings. All documents and databases are complete, accurate and accessible at all times. |
| 9.2.3 | Audit Environmental Programs Conduct audits of environmental programs at *JSC and EPFOL. | Conduct self-assessment audits of environmental programs at *JSC and EPFOL. All individuals performing assessments or audits must be trained in auditing techniques and in the environmental regulations and program areas for which they will responsible. Training must be documented. a. Conduct the Environmental portion of Health, Safety and Environmental audits of each building on an annual basis. | 186 building audits One environmental program assessment | Each building at *JSC and EPFOL is assessed for compliance with environmental rules, requirements and procedures each year. |
|  |  | b. Conduct a self-assessment of environmental program compliance. Typically 4-6 environmental media will be assessed per year. The Environmental *TMR will determine which programs are conducted each year. Conduct self assessments in accordance with the **US Army Corp of Engineers Construction Engineering Research Laboratory Environmental Assessment and Management (TEAM) Guide, most current edition. Develop a proposed assessment plan prior to initiating each program assessment. The Environmental Office must approve the plan prior to initiation of the assessment. State and Federal regulations must be included in the assessments. c. Document all findings on checklists and input information into EMS tracking system, as requested by Environmental *TMR. Maintain a hardcopy file of audit findings and completed checklists. NOTE: Past building audits took an average of 3 hours per audit. |  | All audit findings are documented and are accurate, complete and accessible. Findings are entered into EMS tracking system, as required. All individuals performing audits or assessments are accurately and completely trained. Audits and assessments are completely and accurately conducted. |
| 9.3 | Industrial Solid Waste Management Program. Manage all Industrial Solid Waste (ISW) in Compliance with all applicable requirements | Implement a comprehensive program to manage all industrial solid waste generated at *JSC and in limited instances EPFOL. Major elements of this program include: waste pickup, waste stream administration (characterization, tracking, recordkeeping), developing and maintaining the Notices of Registration (NOR), operation of container storage areas and tanks and satellite accumulation areas, waste treatment systems, inspections, waste transportation and disposal, and performing audits of TSDRs. Minor elements necessary to accomplish a comprehensive program shall be Contractor determined. All elements of this program are currently in place. | One program. | No instances of violation of current local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | Ensure that all elements of the ISW program meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. (**Environmental Regulatory Permits, **Miscellaneous Environmental Documents, **SOPs for Environmental Activities) Programs and procedures shall be updated to include new or revised requirements. |  |  |
|  |  | All work must be conducted in accordance with existing procedures (**SOPs for Environmental Activities). Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. Any noncompliance shall be reported to Environmental *TMR in accordance with Annex 9.2.1 requirements. |  | No deviations from procedures. Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals, and deliverables for the ISW program are listed by program in CLIN 9.16.2 Records Reports and Submittals. |  |  |
| 9.3.1 | Waste Pickup Provide containers and pickup ISW on schedule. | Pickup ISW from any generator on-site at *JSC. Waste is generated from numerous buildings and will be moved to designated storage areas at *JSC. | 1920 pickups |  |
|  |  | Use JSC forms, methods and procedures (Form 27 and Form 1161, see ** Miscellaneous Environmental Documents and **SOPs for Environmental Activities). |  | All required documentation and forms are complete, accurate, and readily accessible |
|  |  | All wastes are picked up from satellite accumulation areas and placed in designated storage areas within 72 hours of request. |  | Waste pickups are completed on time. |
|  |  | Provide assistance to generators when needed to properly package or label wastes. |  |  |
|  |  | Provide verbal assistance, via email, phone or fax to EPFOL generators when requested or needed to properly accumulate, package or label wastes. |  |  |
|  |  | Provide generators of waste at *JSC the appropriate type, size and number of containers as requested within 72 hours. | 1080 containers | Appropriate containers are provided on time. |
|  |  | Institute a container reuse program to minimize the purchase of new containers, as appropriate. |  | Containers are reused. |
| 9.3.2 | Administer ISW waste streams Ensure waste codes are kept current to comply with regulations. | Manage the administrative aspects of all ISW waste streams generated at *JSC and EPFOL. This includes, but is not limited to: characterization, tracking all necessary information, developing and keeping required records, in accordance with all permits, regulations, regulatory agency guidance documents and JSC requirements. NOTE: There are approximately 160 waste codes, and up to 50% of waste codes may be inactive or intermittently generated. | 365 days | All ISW generated at *JSC and EPFOL is completely and accurately characterized and documented as recommended in current Texas Natural Resource Conservation Commission (TNRCC) guidance. |
| 9.3.2.1 | Waste Stream Characterization Characterize all Waste Streams. | Characterize all waste streams. Characterization includes but is not limited to: collecting samples as needed for characterization, identifying all pertinent process knowledge as needed for characterization (including process flow diagrams or other means of identifying waste generation processes), documentation of sampling techniques and rationale, and documentation of all information in accordance with current regulations and TNRCC guidance “Guidelines for the Classification and Coding of Industrial and Hazardous Wastes” (**Environmental Reference Information). Characterization shall be initiated on all new or changed waste streams within 5 working days of receipt or determination of new or changed waste stream. Where practical, the Contractor must assign the lowest accurate waste code (hierarchy from high to low is: class 1 hazardous, class 1 non-hazardous, class 2, class 3) to each waste. | See above. | All required samples are collected and characterization initiated on time, accurately and completely, with lowest practical waste codes. All required information on all wastes received in ISW storage or <90-day accumulation area is available and accurate at all times. |
|  |  | It is the contractor's responsibility to interview or request the necessary information from process owners to complete waste characterization in full compliance with applicable regulatory requirements. The contractor shall adequately determine process knowledge at each point of waste generation to if it does not exist. All waste streams require a process description, but not all waste streams require an engineering analysis or flow diagrams. All waste streams require periodic review for accuracy and updating, generally on an annual basis, along with the characterization information. The COSS contractor, as part of the site-wide program management requirements, shall identify segregation problems, areas to be improved, and conduct or provide training and guidance to improve waste segregation by generators. |  |  |
|  |  | NOTE: Generators are responsible for waste segregation. Another contractor on site will provide analytical services and sampling containers at no cost. Also included, is any sampling or information required to meet TSDR requirements for sampling or analytical information.. |  |  |
|  |  | Transporting or shipping the samples from EPFOL to JSC's onsite laboratory shall be performed by the Contractor. Also included, is any sampling or information required to meet TSDR requirements for sampling or analytical information. |  |  |
| 9.3.2.2 | Accomplish Waste Tracking | Accomplish waste tracking. All ISW generated at *JSC shall be tracked in order to know how wastes are managed from generation to *disposition. This includes but is not limited to the following information: date pick of waste was requested; the building and room number or tank number, as applicable; the organization where the waste originated; | See above | All required information on all ISW generated is complete, accurate and accessible at all times. Documents are complete, accurate and accessible at all times. |
|  |  | where the waste is currently stored; the amount of waste picked up on a daily basis (in pounds); the amount of waste stored in each tank on a daily basis (listed in pounds and gallons); how it was managed (e.g., container type, whether it was combined or moved once received); |  |  |
|  |  | common name of waste; Texas Waste Code Number; date received at storage facility; when and how it was *dispositioned; manifest or bill of lading number; and Information that demonstrates that all wastes are removed in accordance with the <90- day regulation or permit requirement. | . |  |
|  |  | This information shall also be tracked in a database format, in Microsoft Access or SQL Server, where information can be searched, sorted, and accessible to the Environmental *TMR. |  |  |
|  |  | This information shall be tracked manually on a *Daily (D5) basis for B358 container storage area in the B358 Waste Receipt Log and for EF on the EF Waste Receipt Log (**Miscellaneous Environmental Documents). |  |  |
| 9.3.2.3 | Maintain Notice of Registration (NOR) Keep the NOR updated to comply with regulations. | Maintain the JSC, EF, and EPFOL NOR via State of Texas Environmental Electronic Reporting System (STEERS) or legally allowable alternate if STEERS is not functioning. Updated characterization information for new and existing wastes shall be input into STEERS to update the NOR within 7 days of waste determination and prior to shipment of any waste stream. Follow guidance provided by STEERS Users Manual, most current edition (**Environmental Reference Information). Notify and provide data to the Environmental TMR within 5 working days of making updates to NOR in STEERS for review and transmission prior to submittal to the State. Hardware and software requirements are provided in the TRL document - STEERS Reference Manual. NOTE: Up to 50% of waste codes may be inactive or intermittently generated. | 365 days | NORs are accurate and up-to-date at all times. The status of all changes to the NORs is known and documented. NOR updates are completed on time via STEERS whenever possible. |
|  |  | When updated hard copies of the NOR are received from TNRCC, review the information to make sure that the updates were done correctly. Provide written correction notice to submit to TNRCC for updates that were done incorrectly by TNRCC. The review and written correction notice must be completed within 10 working days of receipt of the updated NOR. |  | Review of NORs and written correction notices are complete, accurate and accessible at all times. |
|  |  | Develop and maintain a spreadsheet or database to track all changes to the NOR, update status and the method for providing the information to the TNRCC. The NOR tracking record must be updated within 24 hours of change. |  | NOR tracking record is correct and updated on time. |
| 9.3.3 | Maintain waste satellite accumulation areas Maintain ISW satellite waste accumulation areas in compliance with regulations and requirements. | Mark with signs, paint or tape the delineation of all routine or permanent satellite accumulation areas at *JSC and EPFOL. If multiple satellite accumulation areas are adjacent or in close proximity to one another, mark each with a designator (name or number). Maintain these markings so that they are visible and clearly delineated and identified at all times. Inspect all *JSC satellite accumulation areas on a monthly basis to ensure compliance with regulations. Correct all problems identified during inspections within 24 hours. If problems need generator assistance to correct, immediately notify generator and work together to correct problems. Maintain a list of all satellite accumulation areas by site. Maintain logs of satellite accumulation area inspections by site. Include documentation of findings and corrective action on logs. Update logs and lists within 24 hours of receiving updated information. NOTE: Others will conduct required satellite accumulation area inspections at EPFOL. During the regularly scheduled visits at EPFOL, review the inspection logs periodically to ensure they are complete and accurate, and inspect accumulation areas for compliance with regulations. Any deficiencies shall be reported to EPFOL manager and Environmental *TMR. | 150 satellite accumulation areas | All satellite accumulation areas are identified by markings and names or numbers at all times. All logs and lists are complete, accurate, maintained, and readily accessible. All satellite accumulation areas are inspected on time and for all required items. All problems are corrected on time. |
| 9.3.4 | Operate and manage all ISW storage facilities. Operate and manage all ISW storage and <90 day facilities in compliance with regulations. | Operate and manage all ISW storage and <90-day accumulation facilities (containers and tanks) at JSC and EF according to federal, state and local regulations; SOPs; and O&M Manuals (**SOPs for Environmental Activities, **B8 Tanks O&M Manual, **B9 Tanks O&M Manual). Operate and manage the B358 permitted ISW storage facility as a <90 day storage facility. This includes, but is not limited to: all required inspections, inventory control, recordkeeping, labeling, segregation, container type/ condition, containment management, and keeping the official operating record of the ISW facilities. Inventory control means that facilities shall be operated at all times to stay below regulatory limits and to remove wastes from tanks so that tanks never go into high-level alarm. Non-hazardous waste accumulation and storage areas and tanks shall be operated in accordance with equivalent hazardous waste requirements. The B358 container storage area must be manned from 8:00 am to 3:30 pm *Daily (D) and operated as a < 90 day occulation facility. B358 and EF container storage facilities must be secured and locked at any time that there is no one on duty at the facility. | Two container storage areas, 13 tanks | Facilities are operated and managed in compliance with regulatory and permit requirements and SOPs at all times. Tanks are operational at all times. Wastes are removed so that there is no instance of high-level alarm or within 90 days, whichever occurs first. Documents and databases are complete, accurate and accessible. B358 Storage facility is manned during required hours. Container storage areas are locked when no one is on duty. |
|  |  | All accumulation and storage facilities (including berms, containments, tanks and vaults) must be clean, properly marked, in good condition and in good operational status and integrity at all times. Exterior surfaces must be free of dirt and stains and all coatings must be maintained. If any cracks, coating deterioration or other problems are found, initiate corrective repairs in accordance with Annex 2. Document all findings on ISW inspection logs. |  | No evidence of dirt, stains or deteriorated coatings on exteriors of tanks, vaults, berms, and containment structures. No instance of structures or cracks or deterioration of coatings are found on ISW containment berms. All findings are documented. |
|  |  | Perform tank integrity testing on each ISW storage tank to ensure that the tanks are not leaking. Tanks must be tested at least once per contract year (at intervals between 11 and 13 months). Use testing methods identified in regulatory guidance documents or industry reference standards if cited in regulations. The interior of each tank shall be cleaned prior to integrity testing. Cleaning includes, but is not limited to: taking the tanks out of service, pumping out all wastes, removing and *disposition of any built up sludge or sediment, and cleaning lines and drains. If problems are found during testing, cleaning or inspection, initiate corrective repairs in accordance with Annex 2. | 13 tank tests | Each ISW tank is tested for integrity on time. Corrective repairs are initiated on time. |
| 9.3.5 | Waste treatment system Operate and manage waste treatment system in compliance with requirements. | Manage, operate, inspect, sample, perform record keeping and documentation, in accordance with regulatory requirements, manufacturers instructions and documented procedures for the system: Memtek Metal Finishing Waste Pretreatment System: Operate and manage the system in accordance with the **Memtek O&M Manual, **Memtek Filter Press O&M Manual, and **SOPs for Environmental Activities, and the Clear Lake City Sanitary Sewer Ordinance (**Miscellaneous Environmental Documents). | One pretreatment system | No instance of unscheduled system downtime. No instances of discharged wastewater exceeding effluent limits or Clean Water Act requirements. |
|  |  | Treatment system shall be fully operational *Daily (D7). All treatment shall be completed within 24 hours of generation by Metal Finishing Shop and as often as needed to prevent tank overflows. | 20,000 gallons treated | No instance of tanks overflowing. |
|  |  | Inspect system *Daily (D7). All inspections are performed in accordance with SOPs and regulatory requirements. All information collected for inspections are accurately documented. |  |  |
|  |  | Samples are collected for each treated batch prior to discharge for pH and metals analysis. All samples must be managed from collection through analysis using proper chain of custody techniques. Review all analytical results. All information collected is accurately documented. NOTE: Samples are counted by location, e.g. the Memtek effluent tank is considered one sampling location and all parameters, containers etc. are included in this definition of a sample. | 52 samples | Each treated batch is sampled prior to discharge. 100% accuracy of inspections and documentation logs. |
| 9.3.6 | Arrange for ISW transport and disposition Prepare shipments and arrange for transportation and disposition of ISW. | Arrange for transportation and disposition of all ISW generated at *JSC and EPFOL at authorized Treatment, Storage, Disposal, or Recycling facilities (TSDRs). Use approved and authorized facilities that re-use, recycle and treat wastes rather than disposing of them where practical, utilizing the Environmental Protection Agency (EPA) pollution prevention hierarchy (reuse, recycle, treat, dispose), in that order of preference. This includes, but is not limited to: | 2.5 million pounds of ISW generated | All ISW is prepared for shipment and transported in accordance to applicable regulations, TSDR requirements, JSC policy and contract requirements. |
|  |  | 1. Scheduling and preparing shipments for transportation and disposition in accordance with all regulations and TSDR requirements; |  |  |
|  |  | 2. Preparing and signing all manifests, bills of lading, required supporting documents, forms and certifications; 3. Ensuring that all DOT requirements are in place prior to transporting ISW offsite; |  | All required documents are completely and accurately prepared and provided. |
|  |  | 4. Tracking and managing shipments and manifests and other required documents; Reviewing and tracking invoices and ensuring that they are accurate prior to submission for reimbursement; and Arranging and obtaining the use and location or re-location of any container, truck, tank, rolloff, vehicle, etc, used to temporarily store or accumulate ISW. NOTE: Historical ISW generation is provided in Annual Waste Summaries for JSC, EF, and EPFOL found in **Miscellaneous Environmental Documents. |  | All shipments and manifests and related shipping documents are tracked, managed, and retained in accordance with regulations and policy. Required vessels, containers and vehicles are obtained and located to manage all ISW. |
|  |  | All shipments of ISW leaving *JSC and EPFOL shall be placed in a transportation vehicle containing wastes only from *JSC or EPFOL and not from any other facility or location unless specifically authorized by the Environmental *TMR. All shipments of ISW shall be transported directly to the TSDR facility designated on the manifest or other shipping document. |  | All wastes are transported directly to designated TSDRs. |
|  |  | Trucks or tankers of ISW from *JSC or EPFOL shall not be held over in any location except for *JSC or EPFOL unless specifically authorized by the Environmental *TMR. |  | No wastes are loaded into transportation vehicles and held over at any location except at *JSC or EPFOL. |
|  |  | ISW from *JSC or EPFOL shall not be mixed in any tanker or other container for shipment with wastes from non-NASA generators. All trucks, tankers and containers shall be certified clean by the off-site provider. |  | No *JSC or EPFOL waste is shipped or mixed with waste from other generators. |
|  |  | Inspect all trucks, containers or tankers provided by the transportation contractor to ensure they are clean. Reject any trucks that are not clean. Replacement trucks shall be at no cost to the government. Provide the transporter with all required loading, transporting, unloading, and safety equipment related to shipment of ISW generated at *JSC and EPFOL. | See above | All trucks, tankers and containers provided by transporters for shipments of ISW completely and accurately inspected prior to use and certified clean. |
|  |  | All trucks shall be weighed in and out at the onsite scale at B417a for shipments of JSC ISW. All trucks transporting wastes from EF shall be weighed using the Martin Scale located directly across State Highway 3 from EF, unless directed by the Environmental *TMR. Make all required arrangements for the accurate weighing of shipments originating from EPFOL at the nearest location. |  | All trucks of transported ISW are accurately weighed. |
|  |  | Provide for the necessary transportation, roll-off and storage containers support within 24 hours for routine requests and 4 hours for emergency requests. Ensure that transporters are able to provide, upon request, any of the following, but not limited to: open-top and closed-top rolloffs of 20 and 30 cubic yard size, storage tanks from 500 to 20,000 gallon capacity, 5000-gallon vacuum trucks, and other associated tractors and trailers for transportation. | See above | Requested trucks and containers are provided on-time |
|  |  | Obtain certificates of reclamation, disposal or destruction and place with appropriate manifests. Prepare manifest discrepancy reports containing required information for every manifest that exceeds regulatory time limits or for other regulatory requirements, as identified in 30 Texas Administrative Code (TAC) 335.12-13. All discrepancy reports must be forwarded to the CO, allowing enough time to submit it within regulatory time limits. |  |  |
|  |  | All above activities must be accomplished in a way to maximize efficiency and utility and to meet all rules, regulations, permit conditions and JSC requirements. |  |  |
| 9.3.6.1 | Obtain Contracts for Transportation and Disposal of ISW Obtain transportation and TSDR contracts for ISW generated at *JSC and EPFOL | Obtain and maintain contracts for the following: Obtain and maintain contracts with transporters for ISW. Obtain and maintain contracts with authorized TSDR facilities to provide for disposition of each waste generated at *JSC and EPFOL. Obtain and maintain contracts or provide for lab-packing services if a turn-key service is utilized. Maintain active profiles with two TSDRs (one primary and one backup) for each active waste stream on JSC, EF and EPFOL NORs. TSDR facilities may be required for, but not limited to: Energy Recovery, Fuels Blending, Incineration, Lab-packing, Landfilling, Land Treatment, Used Oil Recycling, Neutralization Battery Recycling, Metals Reclamation, Stabilization, Lamp Recycling, Solvent Reclamation | Contractor Determined | All ISW is dispositioned at an approved and authorized TSDR. Active contracts and waste profiles are in place for each active ISW waste generated. New TSDR facility contracts are obtained on time. Active contracts are provided for all types of dispositioning required. |
|  |  | Use only approved TSDRs. If TSDR fails an audit, obtain new TSDR within 6 months. |  |  |
|  |  | Sufficient numbers of contracts with ISW transporters and TSDR facilities shall be in place by the effective start date of the contract to allow for shipment and disposition of ISW on the first day of the contract. |  |  |
|  |  | For TSD facilities used for incineration or land disposal, only facilities that meet the Off-Site Hazardous Waste Disposal Policy (**Environmental Reference Information) requirements shall be used unless specifically authorized by the Environmental *TMR. |  |  |
| 9.3.6.2 | Audit ISW Transporters Conduct verification audits of all Transportation subcontractors | For each transporter used check and verify that all regulatory requirements are current and valid. Obtain copies of all referenced documents. The information to be verified includes, but is not limited to the following: The transporter’s current Texas National Resources Conservation Committee (TNRCC), other applicable state(s), Environmental Protection Agency (EPA), and Department of Transportation (DOT), permits, licenses and certificates. The listing of drivers certified to operate vehicles transporting industrial solid waste(s), An outline of the driver certification training, A description and proof of vehicle maintenance programs, Proof of adequate and current insurance. | Contractor determined | All transportation companies, drivers and vehicles are compliant with federal, state, and local laws, JSC procedures and contract requirements Only certified and verified transportation companies are used to transport ISW for disposition offsite. All transportation companies are accurately and completely evaluated and verified. |
|  |  | If the transporter utilizes a transfer station prior to the final disposition facility, the transfer facility must be audited in accordance with CLIN 9.3.8 prior to use. |  |  |
|  |  | Provide an annual certification statement to the Environmental *TMR that all transporters are properly permitted or authorized, that all transportation personnel are properly trained and hold valid licenses. |  |  |
|  |  | Failure to include sufficient information for the Environmental *TMR to adequately and accurately assess each proposed TSDR may result in NASA not approving a provider. |  |  |
| 9.3.6.3 | Lab-packing Services Provide lab-packing services for ISW generated at *JSC and EPFOL | Provide the services to lab-pack ISW generated at *JSC and EPFOL. Lab-pack services include: providing containers and packing materials, sorting and compiling waste containers in appropriate containers, labeling drums, preparing manifests and all other shipping documents, and transporting the lab-packs to an approved TSDR within 1 day of completion of the lab-packing operation. Obtain certificates of treatment and disposal for each manifested shipment. If an offsite subcontractor provides this service, the subcontractor shall perform the entire service. | See above | All required lab-pack services are provided. All required documents are complete, accurate and readily accessible at all times. |
|  |  | Provide a certification to the Environmental *TMR, annually on April 30, and prior to initial use, for any lab-pack subcontractor used, that they have all required permits and authorizations and that personnel training is current. |  | A certification is provided for each lab-pack subcontractor on time. |
| 9.3.7 | Conduct Audits of TSDRs Facilities Conduct audits of TSDRs to ensure primary and backup approved facilities for each active waste stream | Conduct physical audits of each TSDRs facilities used to disposition wastes generated by *JSC and EPFOL. Audits must be conducted on each facility before waste is transported or sent to a TSDR. The government shall be notified not less than two weeks prior to each audit conducted to allow the government to make arrangements to attend as an observer. Audits must be conducted on each facility utilized or propose to be used, at least once each contract year. The Environmental *TMR must approve any deviations from this requirement in advance of use of a facility. All audits shall be conducted in accordance with **NASA Procedure for Evaluating TSD Facilities and Disposal Site Evaluation Questionnaire. Any variances from the audit protocol shall be approved by the Environmental *TMR prior to the initiation of the audit. Document the audit and findings in a narrative report and on the referenced checklists. Other checklists may be used once approved by JSC Environmental Office. All field notes, reports, and findings of the Contractor’s audit become Government property and shall be available upon request by the Government. | 10 audits | All TSDRs facilities are audited according to the specified protocol. No instance of waste transported or sent to an un-audited or unapproved TSDR. Audits are conducted and documented completely, accurately and on time. No instance where there is no available approved facility for a waste. |
|  |  | In addition to the requirements in **NASA Procedure for Evaluating TSD Facilities and Disposal Site Evaluation Questionnaire, review and verify the status of each of the following for each TSDR audited and used for disposition of ISW: | See above | See above |
|  |  | a. Compliance with Federal, State, and local laws regarding ISW; Current regulatory compliance status, including final disposition of current or pending enforcement actions; Notices of Violation, penalties and administrative orders, including TSDR responses, rebuttals, and corrective actions that have occurred in the last 3 years; |  |  |
|  |  | Ability of TSDR to perform the totality of services required for the prescribed recycling, treatment, or disposal of ISW; The number of extra associated charges and surcharges assessed; All waste streams generated by the TSDR during management of accepted wastes, how these wastes are dispositioned, and all treatment and disposal facilities used to disposition these wastes; |  |  |
|  |  | For fuel blenders, include a review of cement kilns used; TSDR ability to provide alternative or contingency services in case of facility failure or extended scheduling delays; and All required permits, registrations, certificates, and licenses. |  |  |
|  |  | Provide a recommendation on approval or disapproval for use of the TSDR to the Environmental *TMR for each audited facility, but the final approval/ disapproval authority will be the Government. Maintain a list of approved facilities. Maintain a list of facilities scheduled for auditing, by order of necessity. Research and identify facilities at the top of the Pollution Prevention hierarchy (Re-use, Recycle, Treat, Dispose) for use and approval. At least one facility and one back up facility must be on the approved list for each active waste stream on the NOR. |  |  |
|  |  | NOTE: In some cases the Environmental *TMR may allow ISW to be dispositioned at a TSDR audited by another NASA facility or where an audit has been purchased from another agency or company. | See above | See above |
|  |  | Failure to include sufficient information for the Environmental *TMR to adequately and accurately assess each proposed TSDR may result in NASA not approving a provider. |  |  |
| 9.4 | Air Quality Program Manage Air Emissions in Compliance with all applicable requirements | Implement a comprehensive program to manage all air emission sources. Major elements of this program include: operating the Building 222 Continuous Emissions Monitoring System (CEMs), verify boiler operations data, tracking surface coating operations, keeping records of exempted source operations, performing calculations, inspections, and recordkeeping, making visible emission readings to comply with regulations, and maintaining the Title V and Synthetic minor permits. Minor elements necessary to accomplish a comprehensive program shall be Contractor determined. All elements of this program are currently in place. Ensure that all elements of the air emissions program meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. (**Environmental Regulatory Permits) Programs and procedures shall be updated to include new or revised requirements. NOTE: JSC is a “major source” of air pollution as defined under the Clean Air Act (CAA). EF, SCTF, and EPFOL are all “minor sources”. | One program. | No instances of violation of local, state and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | All work must be conducted in accordance with existing procedures. (** SOPs for Environmental Activities, **Classified Waste Incinerator, **QA/QC Procedural Manual for CEMS) Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. Any noncompliance shall be reported to Environmental *TMR in accordance with Annex 9.2.1 requirements. |  | Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals and deliverables for the air quality program are listed by program in CLIN 9.16.3 Records Reports and Submittals. |  |  |
| 9.4.1 | Operate the Building 222 CEMs Properly operate the Building 222 CEMS to comply with regulations | Operate and maintain the Building 222 CEMS to comply with all operation, calibration, maintenance, recordkeeping, and reporting requirements. Requirements are listed in Building 222 Boiler Permit No. C-19670, Operating Permit #O-01552 (**Environmental Regulatory Permits), and Work Method WM-1040-025 Operate, Maintain, and Test B222 CEMs (** SOPs for Environmental Activities). | One CEMS System | Building 222 CEMs complies with all regulatory and permit requirements. |
|  |  | Operate the CEMS to ensure that nitrogen oxide (NOx) emissions do not exceed 0.10 lb per million BTU heat input on an hourly average basis (per C-19670). |  |  |
|  |  | CEMS shall be operational at all times except for scheduled maintenance. NOTE: CEMS includes, but is not limited to: dual redundant NOx analyzer, oxygen (O2) analyzer, in-stack sample probes, sampling lines, sample conditioning, pumps, filters, data acquisition system KVB Enertec NT-DAHS. |  | No unscheduled CEMs downtime. |
|  |  | a. Inspect the CEMS to ensure Quality Assurances/Quality Control (QA/QC) calibration checks of O2 and NOx Analyzers have passed. Follow corrective action procedures in Work Method WM-1040-025 Operate, Maintain, and Test B222 CEM (** SOPs for Environmental Activities) if analyzers do not pass calibration checks. Accomplish *Daily (D) plus 10% contingency for critical unplanned test activity on weekends. NOTE: For this CLIN, the count of 286 days is based on 52 weeks per year, 5 days per week + 10% = 286 days/year. | 286 days | CEMs are inspected on time and for all required items. |
|  |  | b. Building 222 CEMS Records – Collect and maintain boiler operation records and fuel usage data. Records include, but are not limited to: computer printouts, daily calibration drift data, records of adjustments of CEMS calibration, maintenance logs, and quality assurance assessments. Records must be updated *Daily (D) plus 10% contingency for critical unplanned test activity on weekends. | See above. | Records are complete, accurate, and readily accessible. |
|  |  | c. Building 222 Rolling Average Calculations On a weekly basis, calculate and record CEMS rolling average NOx emission rates in accordance with Permit #C-19670 Special Condition 6, paragraph A.3 (**Environmental Regulatory Permits). | 52 calculations | Records are complete, accurate, and readily accessible. |
|  |  | On a monthly basis, calculate and record boiler rolling average capacity factor in accordance with Title 40 Code of Federal Regulations (CFR) Part 60.49b(d). | 12 calculations |  |
|  |  | d. Building 222 CEMS Relative Accuracy Test Audit (RATA) -- Conduct RATA on both primary and secondary CEMS systems. | One test | Test conducted accurately and on time. |
|  |  | At least 45 days prior to conducting RATA test, submit written notification to Environmental *TMR. Notification is required so that TNRCC regional office can be afforded the opportunity to witness the RATA test in accordance with Permit #C-19670 Special Condition 7, paragraph F (**Environmental Regulatory Permits). |  | Written notification of upcoming RATA test provided to Environmental *TMR on time. |
|  |  | Conduct once annually during the first quarter of each calendar year. Tests shall be conducted in accordance with 40 CFR 60 and Work Method WM-1040-026 RATA Test B222 CEMS (**SOPs for Environmental Activities). |  | No incident of non-reporting |
|  |  | Immediately report all RATA inaccuracy greater than +/- 20% accuracy to Environmental *TMR. |  | No incident of excessive audit inaccuracy. |
|  |  | e. Building 222 CEMS Cylinder Gas Audit (CGA) – Conduct CGA on both primary and secondary CEMS systems. Conduct three times per year, during last three quarters of each calendar year. Tests shall be conducted in accordance with 40 CFR 60 and Work Method WM-1040-027 CGA Test B222 CEMS (** SOPs for Environmental Activities). Immediately report all CGA inaccuracy greater than +/- 15% accuracy to Environmental *TMR. | Three tests | Test conducted accurately and on time. No incident of excessive audit inaccuracy. No incident of non-reporting |
| 9.4.2 | Building 24 Boiler Records Ensure Boiler records are kept to comply with permit | Ensure air emissions from Building 24 Boilers meet regulatory requirements. Requirements are listed in Building 24 Boiler Permit No. C-19211 and Operating Permit #O-01552 (**Environmental Regulatory Permits), and Work Method WM-1040-028 Maintain B24 Boiler Records (**SOPs for Environmental Activities). | Three Boilers | See below. |
|  |  | Building 24 Boiler Data Entry and Records – Keep records of boiler operation to prove compliance with regulatory requirements. On a monthly basis, retrieve daily Building 24 boiler operating records from Operations (see Annex 4). Organize data from daily record to create monthly Boiler compliance record and enter required data into Government provided spreadsheet. Information shall include but is not limited to: daily run-time on natural gas, daily natural gas consumption, daily run-time on diesel fuel, daily consumption of diesel fuel. Include daily record as supporting documentation. NOTE: There are 365 daily operating records created by Operations (Annex 4 – Building 24 Central Plant Steam/ Boiler System) | 12 records | Records are complete, accurate, and readily accessible. |
|  |  | Building 24 Boilers Sample and Data Collection – Collect and maintain certificates or letters from fuel suppliers (i.e., natural gas and diesel fuel) and obtain fuel system information from Operations. |  |  |
|  |  | Obtain an updated certificate/letter from the natural gas fuel supplier certifying total sulfur and hydrogen sulfide (H2S) content once per year. | One natural gas supplier certificate |  |
|  |  | Collect and analyze a sample of natural gas for total sulfur and H2S content once per year. Ensure that natural gas does not exceed 0.25 grains H2S and 5 grains total sulfur per 100 dry standard cubic feet. | One sample analysis for natural gas. | All required samples are collected. |
|  |  | For each delivery of fuel to the Building 24 diesel tank, obtain certificate/letter from diesel fuel supplier stating the name of the supplier and statement that fuel complies with ASTM D-396-98 “Standard Specification for Fuel Oils” (**Environmental Reference Information). | Ten diesel supplier certifications |  |
|  |  | On a monthly basis, retrieve information from Operations (see Annex 4) that includes, but is not limited to: fuel truck delivery date/time, quantity dispensed to Building 24 Diesel Tank, and results of diesel fuel sample analysis. Ensure that sulfur content of No.2 diesel fuel does not exceed 0.5 wt% sulfur. Organize data to create monthly Boiler compliance record and enter required data into Government provided spreadsheet. | 12 monthly fuel records | No instances of fuels exceeding allowable sulfur content. Records are complete, accurate, and readily accessible. |
|  |  | NOTE: Diesel fuel sample analysis for each delivery is performed by Operations (Annex 4 – Operate the Site Fuel Systems). |  |  |
| 9.4.3 | Surface Coating Facilities Ensure surface coating activities comply with regulations. | Ensure air emissions from surface coating activities at JSC, EF, and EPFOL meet regulatory requirements of TNRCC Standard Exemption #75 in accordance with WM-1040-029 Surface Coating Activities (**SOPs for Environmental Activities). NOTE: Surface coating facilities are located at JSC Buildings 9, 43, 304; EF Building 136; and EPFOL (5 facilities). | 365 days | Continuous compliance with applicable regulatory requirements and permit terms & conditions. |
|  |  | a. Collect and maintain logs from building users, maintain operational data, and perform calculations for each surface coating facility and enter data into Government provided spreadsheet. | 60 records | Records shall be up-to-date, complete and accurate. |
|  |  | Using completed Surface Coating Log Forms provided by others, organize data from Log Forms to create monthly surface coating compliance record. Perform monthly calculations as required by TNRCC Standard Exemption #75 by the 30th day of each month for the previous month’s data. |  |  |
|  |  | See sample of Surface Coating Log Form (**Miscellaneous Environmental Documents). |  |  |
|  |  | NOTE: There are about 500 surface coating log forms per year completed by building users. |  |  |
|  |  | b. On a monthly basis at JSC and EF, and quarterly at EPFOL, inspect and maintain inspection log for each surface coating facility. Inspection shall ensure minimum paint booth air velocity compliance records are maintained, equipment is properly maintained, and waste drums are closed. | 52 inspections | Perform inspections monthly and maintain logs. |
| 9.4.4 | TNRCC Standard Exemption Activities Ensure Standard Exemption activities comply with regulations. | Ensure air emissions from exempted sources at *JSC and EPFOL meet regulatory requirements of 30 TAC Chapter 106 in accordance with WM-1040-030 TNRCC Standard Exemption Activities (**SOPs for Environmental Activities). | See below | Continuous compliance with applicable regulatory requirements and exemption criteria. |
|  |  | This work includes, but is not limited to: developing and implementing a system to track all air emissions activities authorized under TNRCC standard exemption, performing reviews of new or modified activities, and providing recordkeeping to completely satisfy regulatory requirements. |  |  |
|  |  | a. Track all air emission activities operated under Standard Exemption at *JSC and EPFOL. It shall be the contractor's responsibility to identify new air emission points, and develop, maintain, and keep a current log of all air emission points at *JSC and EPFOL. Log shall be maintained electronically in Excel or other format approved by the Government. Update log within 24 hours of receipt of updated information. | 250 air emission sources at JSC and EF. 16 sources at SCTF. Five sources at EPFOL. | Records are complete and available upon request. No instances of air emission sources added or changes without authorization. |
|  |  | NOTE: This work may be accomplished as follows: (a) incorporate findings from CLIN 9.2.3 - annual HSE audits of all buildings at *JSC and EPFOL, (b) internal communication and coordination with other COSS Annex functions ( e.g. design & construction), and (c) input from NASA and other on-site organizations. Separate "blanket" site inspections to indentify new sources are contractor determined. |  |  |
|  |  | Each emission point shall be identified by its Universal Transverse Mercator (UTM) coordinates and include a narrative description of the process associated with the emission. Track removal and addition of air emissions sources. Maintain records. |  | All air emissions sources are identified. |
|  |  | b. Perform TNRCC Standard Exemption Reviews. Review new or modified facilities, activities, and design reports/drawings to determine standard exemption applicability. Perform activity on an annual basis to ensure operations and facilities are compliant. | One review | All facilities and operations are compliant. |
|  |  | c. Building 262 Data Collection. Collect and maintain on a monthly basis operational records for Building 262 incinerator as required by standard exemption including, but not limited to: incinerator temperature monitoring circular chart, and daily burn logs. | 12 records | Records are complete, accurate, maintained, and readily accessible. |
|  |  | d. JSC and EF Oil/Water (O/W) Separators Sampling. Collect samples of O/W separators at JSC and EF. JSC O/W separators shall be sampled quarterly, and EF O/W separators shall be sampled annually. | 18 samples | All required samples are collected. |
|  |  | Samples shall be analyzed for True Vapor Pressure (TVP) and Reid Vapor Pressure (RVP). Report analytical results to Environmental *TMR. Results shall be provided within 2 weeks of sampling. NOTE: JSC O/W separators are located at Building 417 and Building 329. There are 10 O/W separators located at EF. |  | Results are complete and accurate Results are provided on time. |
|  |  | e. Emergency Generators Data. Collect and maintain operational data, which is recorded for emergency power generators. Data shall include, at a minimum, run-time of generator and fuel consumption. Records shall be collected from each location on a monthly basis. Monitor generator data to ensure maximum operating hour limits are not exceeded in accordance with TNRCC Standard Exemption No. 5. NOTE: Approximately 40 units are located at various locations on *JSC. | 480 records | Records are complete, accurate, maintained, and readily accessible. |
|  |  | f. Building 383 Air Stripper System. In accordance with WM-1040-003 Groundwater Treatment System Inspections (**SOPs for Environmental Activities), perform weekly test for breakthrough of carbon filter using freon-specific detector tube. All test results and corrective action information shall be kept electronically in Excel or other format approved by the Government. Update logs immediately after readings are taken. | 52 records | All required samples are collected. Results are complete and accurate. Records are complete, accurate, maintained, and readily accessible. |
| 9.4.5 | Perform Calculations for **Emissions Inventory Report. | Perform emission calculations *monthly to estimate the actual quantity of pollutants emitted from all air emission activities at *JSC and EPFOL. This includes surface coating activities but excludes certain fugitive activities such as incidental consumer product usage. This includes criteria pollutants as well as toxic/hazardous air pollutants. Use actual activity or throughput data for previous month for each source. Emission estimates shall be kept electronically in Excel or other format approved by the Government. Update spreadsheet by the 10th work day of each month with updated information. | 250 air emission sources at JSC and EF. 15 sources at SCTF. Five sources at EPFOL. | Calculations are complete, accurate, and readily accessible. |
| 9.4.6 | Opacity Readings Perform opacity readings of stacks and vents and maintain documentation | Perform opacity readings of *JSC stacks and vents to ensure compliance with regulations. Opacity readings must follow EPA Method 9 (40 CF Part 60 Appendix A). Only personnel holding a current, valid TCEQ Visible Emission Evaluator certificate may perform readings. | 18 opacity readings | All opacity readings performed by qualified personnel. |
|  |  | NOTE: TCEQ offers initial certification course and subsequent recertification courses. Recertification in the Houston area is offered every 6 months at a cost. |  |  |
|  |  | Opacity readings are required whenever visible emissions (smoke) are present. This includes but is not limited to the following events: (a) Upon initial start up for any new source at *JSC, |  | All opacity readings are performed accurately and on time. |
|  |  | (b) Once per quarter for all stationary vents at JSC for presence of Visible Emissions, and | 4 quarterly sitewide visible emission observations | Perform visible emission Observations in accordance with EP Method 22 |
|  |  | (c) Whenever any source at JSC is operated on liquid fuel for 24 consecutive hours. |  |  |
|  |  | Maintain logs of opacity readings at *JSC by site. Include documentation of exceedances and corrective action on logs. Update logs immediately after readings are taken. Log shall be maintained electronically in Excel or other format approved by the Government. NOTE: Average opacity reading time is less than 30 minutes, occurs only during daylight hours, and requires no special equipment. |  | All logs are complete, accurate, maintained, and readily accessible. |
| 9.4.7 (NEW) | Title V and Synthetic Minor Permit Management | Contractor shall develop and implement a Title V and Synthetic Minor Permit management program that meets the requirements of 30 TAC Chapter 122. This includes but is not limited to: |  |  |
|  |  | (i) For JSC Title V Federal Operating Permit O-01552 and Synthetic Minor Permit PI-8 Registrations at EF and SCTF: Perform on-going permit maintenance and compliance assurance activities in coordination with other Air Program CLINs. Work includes keeping the actual permits current in terms of sources accounted for, applicable requirements, pertinent operating conditions and locations (see CLIN 9.4.4.a), operating scenarios, ownership assignment, and making permit updates as necessary to keep current. This effort shall include administrative, minor, and significant Title V permit revisions as defined in 30 TAC 122. | 365 days One Title V permit for JSC Two Synthetic minor permit PI-8 registrations (EF and SCTF) | All activities are compliant with regulatory requirements at all times |
|  |  | Provide oversight monitoring (QA/QC and audit support, see CLIN 9.2.2) and registration of new or additional sources or retirement of existing sources from the permit as may be required to reflect the current emission inventory (see CLIN 9.4.5), and assist users with compliance checklists. Maintain up-to-date Potential to Emit (PTE) calculations for JSC, EF, and SCTF. Perform compliance assurance activities for the permits. Keep a log of all deviations, defined as all relevant permit terms or conditions that show an indication of noncompliance. Deviations are found using, at a minimum, compliance method data from monitoring, recordkeeping, reporting, or testing required by the permit or other credible evidence. (NOTE: Deliverables include Permit Revisions, Deviation reports and Annual compliance certification submittals. See 9.16.3 Records Reports and Submittals) |  | Permits are current and accurate at all times Log of deviations is complete and fulfills requirements for root cause and corrective actions |
| 9.5 | Water Pollution Control and Prevention Program Manage activities regarding storm water and sewer discharges in Compliance with all applicable requirements | Implement a comprehensive program to control and prevent water pollution. Major elements of this program include: sanitary sewer discharge management, storm water management, spill prevention, and miscellaneous tasks. Minor elements necessary to accomplish a comprehensive program shall be Contractor determined | One program | No instances of violation of local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | Ensure that all elements of the water quality program meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. (**Environmental Regulatory Permits) Programs and procedures shall be updated to include new or revised requirements. |  |  |
|  |  | All work must be conducted in accordance with existing procedures associated with water quality program. (**SOPs for Environmental Activities). Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. Any noncompliance shall be reported to Environmental *TMR in accordance with Annex 9.2.1 requirements. |  | No deviations from procedures. Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals and deliverables for the water quality program are listed by program in CLIN 9.16.4 Records Reports and Submittals. |  |  |
| 9.5.1 | Manage Sanitary Sewer Discharges Manage all industrial-type discharges to the sanitary sewer at *JSC and EPFOL | Ensure that industrial-type discharges to the sanitary sewer at *JSC and EPFOL meet all applicable requirements and regulations. All discharges shall meet the sewer ordinances for Clear Lake City Sanitary Sewer Ordinance and City of Houston Sanitary Sewer Discharge Limits at all times. (**Miscellaneous Environmental Documents). | 400 discharge points | All discharges are in compliance with sewer ordinances and TPDES rules. |
|  |  | a. Develop a complete list of all discharges to the sanitary sewer from existing data within 4 months of contract start date. Additional buildings and sewer discharge locations shall be surveyed in order to identify all industrial type discharges. Update the list to include all new or changed discharges within 15 working days of identification. The list shall include, but is not limited to: |  | The list of industrial discharges is accurate, complete and accessible at all times. |
|  |  | 1. The source or process generating the discharge, 2. An estimated volume of discharge, 3. The potential or actual pollutants and concentrations, 4. The location of the discharge, |  | All required documents are developed, complete and accurate. |
|  |  | 5. The organization responsible for oversight of activities generating the discharge, 6. A determination of whether the discharge is appropriate; and 7. The identification of any requirements for sampling or reporting for each discharge (based on regulation or local requirement). |  |  |
|  |  | b. Implement the Sanitary Sewer Industrial Discharge Management Plan. Develop all required reports and notifications in accordance with all local, state and federal regulatory, Publicly Owned Treatment Works (POTW) and JSC requirements. | 1 plan | The Sanitary Sewer Industrial Discharge Management Plan is accurate, complete and accessible at all times. |
|  |  | c. Review all requests for new or changed discharges to the sanitary sewer for appropriateness and regulatory requirements. Reviews are completed and finding communicated within 1 week of receipt of request. | 50 reviews | New or changed discharges are identified and added to the Sanitary Sewer Industrial Discharge Management Plan. All reviews of new or changed discharges are complete and accurate. |
|  |  | d. Collect one grab sample of representative sewer discharge per week at JSC, one per month at EF and SCTF, and one per quarter at EPFOL. The sample shall be representative of combined sanitary sewer discharge to POTW to monitor effluent quality for compliance with sewer ordinances. The sample will be collected and submitted to the Environmental Health lab testing for parameters identified in previous reports. Collect samples at point of generation for discharges requiring monitoring by pretreatment discharge requirements in accordance with regulatory schedule. | 100 samples | Samples are accurately collected and delivered to the lab or shipped on time. |
|  |  | Samples are delivered to lab within 30 minutes of collection for *JSC samples. Samples collected at EPFOL shall be shipped in order to meet all holding times and preservation requirements for wastewater samples. |  |  |
|  |  | Copies of all analytical results shall be maintained as a part of the facility operating record. Report results from *JSC on monthly Wastewater Utility Report. Any noncompliance results shall be reported in accordance with Annex 9.2.1 requirements. |  | Copies of analytical results are complete, accurate, and readily accessible at all times. |
| 9.5.2 | Storm Water Management Develop and Implement a Storm Water Management Program for *JSC (and limited activities at EPFOL). | Develop and implement a storm water management program that meets the requirements of TPDES rules and JSC policies and requirements. This includes, but is not limited to: taking all action required by and ensuring compliance with the **JSC Storm Water Pollution Prevention Plan (SWPPP), **EF SWPPP (includes SCTF). The program also includes, but is not limited to: conducting inspections, managing containments, evaluating sewer discharges, conducting audits and managing the Sedimentation and Erosion Control program. | One program | All activities are compliant with regulatory requirements and the appropriate SWPPP at all times |
|  |  | a. Conduct inspections, as required by appropriate SWPPP, of areas at *JSC. Maintain log of inspections in accordance with SWPPPs. Initiate corrective action as necessary in accordance with Annex 9.2.1. | 40 locations | All areas covered under SWPPP are completely and accurately inspected. |
|  |  | Inspect and manage rainfall for all containments at *JSC where hazardous wastes and hazardous materials are stored, as required. Inspection and management includes but is not limited to: 1. Visual inspection, as well as, sample for pH prior to releasing accumulated uncontaminated rainfall so that rainwater is removed within 24 hours of accumulation, 2. Replacing draincaps immediately or pumping out contaminated rainwater and dispositioning it appropriately, 3. Cleaning containments that are contaminated, 4. Providing notice to owner of containments where problems are found. Maintain log of containments inspected and document actions, including but not limited to; date, time, location, person conducting inspection, and actions taken. | 50 containments | Corrective action is initiated. Containments are accurately and completely inspected. Rainwater is accurately removed from containments on time. Containments are free of contamination at all times. Documents are complete, accurate and accessible at all times. |
|  |  | b. Conduct periodic field investigations, upon request, to identify discharges that are inappropriately routed to either sanitary or storm sewer systems. Methods to identify sewer connections and cross connections may include review of engineering drawings, dye testing, smoke testing or other industry standard technique. Notify Environmental *TMR of all such discharges that are incorrectly plumbed in accordance with Annex 9.2.1. | 20 investigations | Sewer connections are accurately determined and identified. Environmental *TMR is notified of all inappropriate discharges. |
|  |  | c. Conduct annual audits against the **JSC SWPPP and **EF SWPPP (includes SCTF) at *JSC and EPFOL to determine compliance with plans, as required, and perform corrective action where non-conformance with plans are found. Any noncompliance shall be reported to Environmental *TMR in accordance with Annex 9.2.1 requirements. | 3 audits | Audits are accurate, complete and on time. |
|  |  | d. Sedimentation and Erosion Control (SEC) Program: Review each Government provided SEC Plan for completeness and inclusion of required elements. NOTE: The SEC Plans are prepared by others. SEC Plans are required for projects requiring de-vegetation or stockpiling of soil or similar materials. SEC Plans will cover activities at *JSC. Once the above SEC Plans are approved by the Government, perform weekly inspections against the approved plans for compliance with regulations. When problems are identified, notify the Environmental *TMR in accordance with Annex 9.2.1. Maintain a list of SEC projects, date of start and completion, name of responsible person for project, status of plan, dates and results of inspections. The list must be updated weekly when there are any active projects with SEC plans. The list must be accessible to Environmental *TMR. | 20 plans | All plans are completely and accurately reviewed. Accurate and complete comments are provided. Reviews and comments are provided on time. Each project requiring a SEC plan is inspected completely, accurately and on-time. All documents are complete, accurate and readily accessible. |
| 9.5.3 | Spill Prevention Control and Countermeasure (SPCC) Program Develop and implement a Spill Prevention Control and Countermeasure program | Develop and implement a SPCC program that meets the requirements of 40 CFR Part 112 and JSC policies and the SPCC plans at JSC and EF. This includes, but is not limited to: planning, conduct all inspections, implement corrective actions, provide for spill containment as required by SPCC plan (**Spill Prevention, Control and Countermeasures Plan, JSC Emergency Response Plan Addendum 40 CFR Part 112 Oil Pollution Prevention). | One program | 100% compliance with regulatory requirements and SPCC plan. |
|  |  | Conduct all inspections and perform all duties listed on inspection logs within the **Spill Prevention, Control and Countermeasures Plan, JSC Emergency Response Plan Addendum 40 CFR Part 112 Oil Pollution Prevention and complete all inspection logs. When problems are identified, notify the Environmental *TMR in accordance with Annex 9.2.1. NOTE: The JSC SPCC plan applies to the following: 11 Petroleum tanks, 18 standby generators, 12 portable generators, seven portable compressors, one fuel truck, 26 container storage areas, two grease traps, three oil water separators, and three transfer units. The EF SPCC plan will address 1 petroleum tank and approximately 100 pieces of ground support equipment such as air start units, compressors, 2 generators, tugs, fuel bowsers, and gas tanks. | 60 Monthly inspections of grease traps and oil water separators 3,016 weekly inspections of tanks, stationary generators, container storage areas, and transfer units Daily inspections of portable units: | Documents are complete, accurate, maintained, and readily accessible. All inspections are conducted. Logs are complete, accurate, maintained and readily accessible. |
| 9.5.4 | Operation and Maintenance of Impoundments | a. Perform the annual cleaning of the Building 222 cooling water impoundment within 3 weeks of request from user. This includes pumping down the water, removing the built up sediment, sediment sampling and disposal. Sediment from the cleaning shall be disposed of in accordance with ISW regulations. | One impoundment cleaning | Cleaning completed on time with no incidents of damage or customer complaints. Sediment is sampled and dispositioned in accordance with regulations. |
|  |  | b. Operate the 10,000-gallon and the 500,000-gallon impoundments at Building 358. Operation of the impoundments includes, but is not limited to: 1. Managing the wastewaters to ensure water can be collected at all times; | Two impoundments | Specified maximum volume levels are maintained at all times. |
|  |  | 2. Ensuring all water discharged to the sanitary sewer (from the impoundments) meets the Clear Lake City Sanitary Sewer Ordinance discharge limits found in **Miscellaneous Environmental Documents; 3. Making sure that the impoundments do not overflow; |  | Discharges meet limits set in Clear Lake City Sewer Ordinance. |
|  |  | 4. Aerating wastewaters, pumping wastewaters to sewer, and operating the underliner dewatering system. Any wastewater that does not meet the discharge limits after aeration or other operations must be disposed of at an authorized offsite facility. All activities must be documented in an operating log on a Daily (D7) basis. Addition of any wastewater other than from normal sources to the impoundment must be approved by the Environmental *TMR prior to collection. NOTE: The small impoundment collects all stormwater and pad washdown water from the Building 358 facility. The larger impoundment collects process and stormwater from the Energy Systems Test (EST) Area via gravity flow. These impoundments are scheduled for removal in FY2003. |  | Impoundments are operational at all times and do not overflow. Documents are complete, accurate and accessible at all times. No unauthorized discharges are made to the impoundments. |
|  |  | c. Clean accumulated sediments from two water knives at Building 10. Perform annual cleaning of each water knife equipment at Building 10 within 3 weeks of user request. Water knives are cleaned at the user’s request on an annual basis. This includes removing the built up sediment, sediment sampling and disposal. Sediment from the cleaning shall be disposed of in accordance with ISW regulations. | Two cleanings | Cleaning completed on time with no incidents of damage or customer complaints. Sediment is sampled and dispositioned in accordance with regulations. |
| 9.6 | Lead Program Implement a comprehensive lead program to track, abate, and manage lead at *JSC | Implement a comprehensive program for *JSC to eliminate or minimize worker and JSC employee exposures to Lead (Pb) dust, particulates, vapors, and any lead contaminated articles, and to eliminate or minimize releases of Lead to the environment during any contractor and subcontractor *lead activity. | One program | No instances of violation of local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | Major elements of this program include: Develop procedures for comprehensive lead program, Tracking and oversight (including sitewide logs), Coordinating with other Contract annex managers, Sampling for COSS *lead activities, Preparation of COSS lead notifications. |  |  |
|  |  | Minor elements necessary to accomplish a comprehensive program shall be Contractor determined. Partial elements of Items #3 and #4 above are currently in place. |  |  |
|  |  | Ensure that all lead program elements meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. Programs and procedures shall be updated to include new or revised requirements. | 365 days |  |
|  |  | Any noncompliance shall be reported to the Environmental *TMR in accordance with Annex 9.2.1. Track data required for all documents and develop and submit all required documents. |  |  |
|  |  | NOTE: *Lead activity includes, but is not limited to the following: Abatement, abrading, cutting, demolition-renovation-rehabilitation, dismantling, hotwork-torch cutting and welding, paint removal by any method, resurfacing, sanding, and any other process creating fugitive or nuisance dust, vapors, or contaminated water or other substances and articles, or combination thereof which contain lead. |  |  |
|  |  | a. Develop written procedures for major lead program elements #2 through #5 above: i.e., tracking and oversight, coordination with other Annex managers, sampling for COSS lead activities, and preparation of notifications. Implement new procedures within 60 days of contract start. Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. All work must be conducted in accordance with approved procedures for lead program. | 4 procedures | Procedures are developed and implemented on time. No deviations from procedures. Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | b. Perform tracking and oversight of all COSS lead work occurring at *JSC, and develop and maintain the following information in a database format, in Microsoft Access or SQL Server, where information can be searched, sorted, and accessible to the Environmental *TMR: | 365 days | In accordance with (IAW) EPA, OSHA, TNRCC, and applicable local requirements |
|  |  | Lead Notification/ Work Database for all activities requiring removal, abatement/ disturbance, hotwork-cutting/welding of suspected and lead containing materials and lead painted surfaces. Database shall contain a brief description of: |  | Log is complete, accurate, maintained, and readily accessible. |
|  |  | Work to be performed, Date and location of sampling, Date sample results received, Analytical results, Date of work start of *lead activity. |  |  |
|  |  | Enter information about the each lead activity into database within 1 working day of receipt and update the required information, as it becomes available. |  | All database information is complete, accurate, maintained, and readily accessible. |
|  |  | c. Coordinating with other Contractor annex managers (i.e. O&M, Construction, Logistics, Rigging, and subcontractors, etc.) to ensure there are pre-job checklists evaluating all work for the presence of lead prior to work start. | 365 days | No instance of work start without pre-job checklist for presence of lead. |
|  |  | d. Inspect and sample all suspect lead containing materials and lead painted surfaces prior to removal or disturbance. Identify appropriate number and locations for lead samples. Obtain or arrange for sampling. Submit samples for analysis. Interpret test results. Report all lead positive sample results. This includes COSS O&M, Designs, Construction, Logistics, and all reconfiguration, rehabilitation, renovation, modification, or demolition work on JSC facilities performed by the COSS contractor and subcontractors. Test results shall be reported to Environmental *TMR and project manager within one day of obtaining results. | 365 days | No instance of suspect lead containing materials and lead painted surfaces disturbed or removed prior to inspection for lead and receipt of sample test results. Test results are on time and accurate. |
|  |  | e. Prepare lead notifications. Make effective notifications to the Occupational Health Office and the appropriate Facility Manager in advance of all lead work including, but not limited to: removal, abatement, or hot work. Notifications due within 1 working day of receipt of information. | 365 days | Lead work notifications submitted on time, with accurate information regarding the date, time, and location of the lead work to be performed. |
| 9.7 | Asbestos Program Implement a comprehensive asbestos program to track, abate, and manage asbestos at *JSC | Implement a comprehensive program for *JSC to eliminate or minimize human exposure to asbestos containing materials (ACM) and potential asbestos containing materials (PACM) at *JSC. This includes eliminating or minimizing releases to the environment of asbestos fibers during all COSS contractor and subcontractor *asbestos activities. This program applies to all Annexes in this Contract performing asbestos work at *JSC. | One program | No instances of violation of local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | Major elements of this program include: Annual sitewide inspection, Tracking and oversight (including sitewide logs), Sampling for COSS asbestos activities, Providing vacuum cleaner servicing, and Preparation of COSS asbestos notifications. |  |  |
|  |  | Minor elements necessary to accomplish a comprehensive program shall be Contractor determined. Partial elements of Items #2 through #5 above are currently in place. |  |  |
|  |  | Ensure that all asbestos program elements meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. (**Asbestos Control Manual) Programs and procedures shall be updated to include new or revised requirements. | 365 days |  |
|  |  | All work must be conducted in accordance with existing procedures associated with asbestos program (see WM-1040-049 Asbestos Program, ** SOPs for Environmental Activities). Any noncompliance shall be reported to the Environmental *TMR in accordance with Annex 9.2.1. |  | No deviations from procedures. |
|  |  | Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals and deliverables for the asbestos program are listed by program in CLIN 9.16.5 Records Reports and Submittals. NOTE: *Asbestos activities includes but is not limited to the following: any disturbance, abatement, demolition- rehabilitation- renovation, removal of asbestos, ACM or PACM during any O&M, project, or construction work. |  | Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | a. Perform visual inspection and assessment of ACM at *JSC once each contract year, IAW 40 CFR 763, Subpart E, Appendix C, item 3, “Inspections”, for planning future asbestos management, abatement, removal and corrective action responses. Record results of inspection and assessment electronically. | One sitewide inspection and assessment of *JSC | Annual inspections and assessments are complete, accurate. |
|  |  | b. Perform tracking and oversight of all asbestos work (COSS and non-COSS) at *JSC. Develop and maintain a procedure to obtain information on all other asbestos work occurring at *JSC. Implement procedure to effectively obtain information on all other asbestos work within 60 days of contract start. | 365 days | Procedure is developed and revised to be complete and accurate. Procedure is developed and implemented on time. |
|  |  | Develop and maintain the following information in a database format, in Microsoft Access or SQL Server, where information can be searched, sorted, and accessible to the Environmental *TMR: |  | All database information is complete, accurate, maintained, and readily accessible. |
|  |  | Track asbestos work information by: Start and finish date, Asbestos Control Manual JPR number, OSHA Asbestos Class number, COSS annex or other contractor activity (i.e., O&M, construction, custodial, cabling, etc.), Asbestos work type description (i.e., disturbances, cleanups, abatements, removals, ceiling and floor tile replacements, etc.), Cumulative asbestos removed annually during O&M and total asbestos removed for all work, and All asbestos work requiring notification to the OMOH contractor and to the TDH for ACM and PACM. Enter information about the each asbestos activity into database within 1 working day of receipt and update the required information, as it becomes available. |  |  |
|  |  | c. Inspect and sample all PACM for asbestos prior to removal or disturbance. Identify appropriate number and locations for asbestos samples. Obtain or arrange for sampling. Submit samples for analysis. Interpret test results. Report all asbestos positive sample results. This includes COSS O&M, Designs, Construction, Logistics, and all reconfiguration, rehabilitation, renovation, modification, or demolition work on JSC facilities performed by the COSS contractor and subcontractors. . If hazardous materials (asbestos) are present, the COSS contractor shall take additional precautions and control measures necessary to protect all personnel occupying the area from harmful exposure during COSS work activities. Test results shall be reported to Environmental *TMR and project manager within one day of obtaining results. | 365 days | No instance of suspect asbestos materials disturbed or removed prior to asbestos inspection and receipt of sample test results. Test results are accurate and on time. |
|  |  | d. High-efficiency particulate arresting (HEPA) Vacuum decontamination and servicing. Provide HEPA vacuum decontamination and servicings, to include the following: Replace paper element, check all electrical and mechanical parts and connections, and clean and decontaminate the HEPA vacuum following applicable sections of the **Asbestos Control Manual, OSHA, EPA, and TDH Asbestos regulations. | 150 HEPA vacuum decons and servicings | HEPA vacuums after cleaning are free from asbestos contamination, proper HEPA filter elements replaced, and the vacuums are restored to service in good working condition. |
| 9.8 | Petroleum Storage Tank Program Develop and Implement a Petroleum Storage Tank Program in compliance with all applicable requirements | Develop and implement a comprehensive Petroleum Storage Tank (PST) program at JSC and EF. Major elements of this program include: develop and maintain an electronic log of all regulated and unregulated storage tanks (including maintenance), conduct tank integrity testing, review all new tank and containment designs and constructions, prepare notification forms, registration forms, and closure reports, and prepare General Land Office discharge prevention and response certificates and applications. Minor elements necessary to accomplish a comprehensive program shall be Contractor determined. All elements of this program are currently in place except the General Land Office Discharge prevention and response certificates and applications, which must be developed by the Contractor. | One program | No instances of violation of local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | NOTE: Tank inspections are covered under the SPCC Plan found in Water Pollution Control program (CLIN 9.5.3) Ensure that all elements of the PST program meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. Programs and procedures shall be updated to include new or revised requirements. |  |  |
|  |  | All work must be conducted in accordance with existing procedures (** SOPs for Environmental Activities). Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. Any noncompliance shall be reported to Environmental *TMR in accordance with Annex 9.2.1 requirements. Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals and deliverables for the PST program are listed by program in CLIN 9.16.6 Records Reports and Submittals. |  | No deviations from procedures. Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | a. Develop and maintain a log of all petroleum storage tanks (both regulated and unregulated) to track all maintenance activities, notification and registration forms and fee submittals. Log shall be maintained electronically in Excel or other format approved by the Government. Update log within 24 hours of receiving updated information. | One log | Log is complete, accurate, maintained, and readily accessible. |
|  |  | b. Perform annual tank integrity testing in accordance with regulatory guidance documents and regulatory cited industry standards, of all tanks to ensure that tanks are not leaking. Testing shall be performed by certified and licensed personnel. | Five integrity tests | Integrity tests are accurate and follow appropriate regulatory guidance and industry standards. Test personnel are certified and licensed |
|  |  | c. Review and provide technical comments for all new tank and containment designs and constructions for compliance with state, federal, NASA, JSC and contract requirements, prepare notifications, registration forms and closure reports, and cover letters for all new tank installations, tank closures. | Contractor determined. | Designs are reviewed and comments provided within 10 days of request. No instances of non-compliance for any notifications, registrations, designs, constructions or closures. |
| 9.9 | Groundwater Protection Program Protect and manage groundwater resources in accordance with all applicable requirements | Implement a comprehensive groundwater protection program at JSC. Major elements of this program include: manage the groundwater treatment system, and perform statistical analysis/ trend tracking. Minor elements necessary to accomplish a comprehensive program shall be Contractor determined. All elements of this program are currently in place. | One program | No instances of violation of local, state, and federal regulations, NASA and JSC policy, directives, procedures, permits and Contract provisions. |
|  |  | Ensure that all elements of the groundwater program meet all requirements of the latest applicable local, state, and federal regulations, policies, directives, permits, and all Contract provisions. (**Environmental Regulatory Permits) Programs and procedures shall be updated to include new or revised requirements. |  |  |
|  |  | All work must be conducted in accordance with existing procedures (**SOPs for Environmental Activities) associated with groundwater program. Provide a copy of any new or revised procedure to the Environmental *TMR 10 days prior to becoming effective. Any noncompliance shall be reported to Environmental *TMR in accordance with Annex 9.2.1 requirements. |  | No deviations from procedures. Environmental *TMR receives on time notification of new or revised procedures. |
|  |  | Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals and deliverables for the groundwater program are listed by program in CLIN 9.16.7 Records Reports and Submittals. | See above | See above |
| 9.9.1 | Manage groundwater treatment system Manage groundwater treatment system in accordance with all applicable requirements | Manage, operate, inspect, sample, perform recordkeeping and documentation, in accordance with regulatory requirements, manufacturer’s instructions and documented procedures for the systems. | 365 days | No unscheduled system downtime. |
|  |  | a. Groundwater Treatment System: Operate and manage the system in accordance with the **Groundwater Treatment System O&M Manual, and WM-1040-034 Operation of the Building 383 Groundwater Treatment System, (SOPs for Environmental Activities), Clear Lake City Sanitary Sewer Ordinance found in the **Miscellaneous Environmental Documents. Ensure that system is maintained to prevent and remove calcium carbonate scale buildup so that maximum efficiency and effectiveness of the system is achieved. System shall be fully operational 7 days per week. Samples are collected in accordance with regulatory standards. |  | No instances of system not operating due to scale build up. No instances of system not operating due to preventative maintenance not being performed. No instances of waste water exceeding effluent limits or Clean Water Act requirements being discharged to sewer. No instances of tank overflows No instance of break through on carbon absorption units. |
|  |  | b. Inspect the groundwater treatment system *Daily (D7). Components or items to be inspected includes but is not limited to the following: all extraction wells; air stripper towers; tanks; pumps; carbon adsorption units; fans; motors; valves; all flow meters; pressure gauges; piping and insulation; outer well casing; electrical panels and all electrical equipment (alarms, etc.) to ensure proper operation in accordance with **Groundwater Treatment System O&M Manual. All inspection information and corrective action information is accurately documented in a written log. Data shall also be maintained electronically in Excel spreadsheet or other format approved by the Government. Spreadsheet shall be updated *Daily (D7). NOTE: Inspections are not included in ISW program inspection requirements. | One inspection log completed 365 days One Excel spreadsheet completed 365 days | No instance of inspection log not completed for each component on a daily basis. No instances of inaccurate inspection logs or spreadsheet information. Spreadsheet is complete, accurate, maintained, and readily accessible. |
|  |  | c. Collect samples quarterly by the 5th day of the month, from Air Stripper 1, Air Stripper 2, Tank 1, and either Tank 2 or Tank 3. Samples collected in accordance with EPA sampling protocol and submitted to lab under proper chain of custody. Review all analytical results; input all analytical results into in Excel spreadsheet. NOTE: Samples are counted by location, e.g. Air Stripper 1 is considered one sampling location and all parameters, containers etc. are included in this definition of a sample. | 16 samples | No instances of groundwater being discharged to sanitary sewer that contains greater than 1 ppb of Freon 113. No instances of late or no sample collection. |
| 9.10 | Emergency Spill Response Provide Spill Response. | Provide emergency response for chemical spills/ releases of regulated hazardous wastes and materials at *JSC. Asbestos spill/release response shall include cleanup, removal, abatement of asbestos containing material (ACM) and potential ACM (PACM) to eliminate, minimize or mitigate potential adverse exposures of personnel to asbestos. All responses shall be IAW all JSC Emergency Response Plans and Management Directives. (**Hazardous Substance Release/Spills, JSC Emergency Response Plan, **Environmental Regulatory Permits). Response personnel shall mobilize immediately upon notification and begin conducting spill-scene containment and response actions: | 60 chemical spills 60 asbestos spill cleanups | Mobilize immediately to begin on-scene response within 10 minutes notice of all spills at JSC and 30 minutes at EF and SCTF, using EPA, TNRCC and OSHA protocols. |
|  |  | 1. Within 10 minutes of notification of a spill at JSC. 2. Within 30 minutes of notification of a spill at EF and SCTF. |  |  |
|  |  | Workload Data does not include any spills or releases caused by the COSS contractor. All costs associated with response to COSS spills or releases shall be paid by the COSS contractor. COSS spills and release response shall be managed in the same manner that all other spills and releases are managed, except for cost. NOTE: TNRCC reportable spills average =5/year. Historically, chemical spills consist of 40-50 small & incidental chemical spills, 10 moderate spills, and 0-5 large spills annually, AND approximately 40–60 small asbestos spill cleanups. See **Spill Response Historical Record. |  |  |
| 9.10.1 | Establish Emergency Response Team Establish an emergency spill response team to respond to all spills of regulated hazardous wastes and materials found on *JSC sites. | Provide sufficient, adequately trained and experienced personnel to support and accomplish Chemical and Asbestos spill response at any *JSC location 24 hours a day, 7 days a week, 365 days per year. Level B protective gear training is required; which includes but is not limited to ability to don full face mask and respirator with SCBA supplied air. | Nothing additional, see above. | The team shall respond to all spill calls. All team members shall be trained IAW all applicable and appropriate regulations and NASA policies. Response available 24 hours per day, 365 days/year. |
| 9.10.2 | Respond to Spills and Releases Respond and cleanup spills and releases of regulated materials. | The Emergency Spill Response Team will respond to all spills and releases of regulated wastes and materials. Immediately notify: 1. The Emergency Operations Center (EOC) at x-33333, or x-34658; 2. The Environmental *TMR by telephone and/ or pager; 3. For Asbestos spill/ releases, also contact the OMOH contractor at x-36726. Perform cleanup and removal of spilled material and contamination; dispose of material generated during cleanup; and decontaminate personnel, equipment, and all property affected by the spilled material in accordance with all applicable EPA and OSHA protocols. | Nothing additional, see above. | Respond IAW JSC Emergency Response Plan, 29 CFR 1910, 40 CFR, 30 TAC 335. No failures to notify the EOC, Environmental Office and the OMOH contractor of spills/ releases at *JSC facilities. All wastes shall be managed IAW Annex 9. Cleanup shall be completed prior to leaving the spill site. |
| 9.10.3 | Spill Response Documentation Accurately document all spill response actions. | All spills shall be reported to the Government and all spill response actions documented. Provide Flash Reports within 2 hours of the spill IAW Work Method WM-1040-038 Emergency Spill Response (**SOPs for Environmental Activities). Include an assessment as to whether or not the spill is reportable to the TNRCC. Maintain a spill response log of all spills and releases including, but not limited to, response action details, size of the spill, corrective action, responsible party, cause of release, and *total cost of clean-up. Submit to the Environmental *TMR within 18 hours a written initial spill response notification report which meets the requirements of TNRCC State of Texas Oil and Hazardous Substance Spill Contingency Plan (**Environmental Reference Information) for required regulatory notifications. Enter information about the each release or spill into NETS Functional Management Module within 3 days of each release or spill and update the required information as it becomes available. A list of fields that must be completed in included as Release Summary and Release Detail in **Environmental Functional Management Report Items. | Nothing additional, see above. | All TNRCC notifications shall be complete and provided on time. All documentation is complete, accurate, easily accessible, and up-to-date. |
| 9.10.4 | Spill Equipment and Supplies Provide all equipment, supplies, and materials necessary for spill response activities. | Maintain an adequate supply of materials necessary for spill response activities and ensure that adequate supplies are transported to each spill scene as necessary. Includes equipment and supplies for use by Emergency Personnel for the decontamination of responders and victims/bystanders (example: disposable kiddies pools, 1-5 gallon pump-up H2O sprayers with neutralizing agents, etc.) Adequate supplies shall be available to support 24-hour spill response. Required reference materials shall be maintained as part of the inventory; e.g., guidebooks, blank forms or permits, MSDS’s, chemical reference manuals. | Nothing Additional, see above. | Inventory and equipment shall be maintained in adequate quantity and type to respond to any spill that may occur at *JSC. Transport for spill supplies shall be available at all times to support spill response efforts. |
| 9.11 | Pollution Prevention and Resource Conservation Minimize pollutants with Pollution Prevention program initiatives | Develop and implement an aggressive and comprehensive Pollution Prevention and Resource Conservation program to minimize the generation of wastes, water pollutants and air emissions at *JSC and EPFOL and meets the requirements of federal, state and JSC requirements. This includes implementing the **JSC Source Reduction and Waste Minimization (SR&WM) Plan, **EF SR&WM Plan and **EPFOL SR&WM Plan. Elements include: tracking and evaluating information, conducting pollution prevention opportunity assessments, tracking the use of ozone depleting substances, Emergency Planning and Community Right-to-Know Act compliance, developing and providing training and awareness, and participating on committees and work groups. | One program | JSC's pollution prevention and resource conservation program includes all elements required by regulation, NASA HQ policy, JSC policy and plans. |
|  |  | Track data required for all documents and develop and submit all required documents. Pollution prevention and resource conservation efforts shall target or emphasize materials or media identified as high priority by the Agency and Center. These include; ozone depleting substances, TRI chemicals, EPA 17 priority chemicals and Executive Order lists. NOTE: All required reports, data, plans, submittals and deliverables for the Pollution Prevention and Resource Conservation program are listed by program in CLIN 9.16.8 Records Reports and Submittals. |  |  |
| 9.11.1 | Track and Evaluate Information Track Information Required to Assess Progress and Effectiveness of Program | Track all information required at *JSC and EPFOL, on a quarterly basis, required to assess progress towards P2 goals, the effectiveness of the Program, to develop agency and regulatory reports, and to submit award applications. Conduct an evaluation of this information to evaluate if the Program is on track to meet goals, to determine if quantities of emissions or waste are higher or lower than expected or normal and determine reasons for changes, and using the information to recommend new P2 targets or opportunity assessments. This includes, but is not limited to: | 12 months | All necessary information is accurately tracked. |
|  |  | a) amounts of ISW generated by waste stream b) amounts of solid waste generated c) amounts of each solid waste and ISW recycled, reclaimed or reused d) new initiatives or projects implemented e) costs savings and cost avoidances gained from implemented P2 projects f) constraints on implementing P2 initiatives |  |  |
|  |  | Enter information into NETS database Pollution Prevention module no later than August 1 each year for previous year pollution prevention activities and progress. A list of fields that must be completed is included as **NASA Annual Pollution Prevention Progress Report Items and Fields. |  | All information is accurately and completely entered into the NETS database. |
| 9.11.2 | Pollution Prevention Opportunity Assessments (PPOA) Conduct PPOA at *JSC and EPFOL | Conduct pollution prevention opportunity assessments (PPOA) and evaluations at *JSC and EPFOL in accordance with applicable Executive Orders and EPA guidance documents. These assessments shall include field surveys using data collection survey forms from which the contractor shall evaluate pollution prevention opportunities for technical, economic and environmental feasibility for implementation. Conducting the PPOA includes contacting and teaming with process owners, scheduling field assessments, reviewing documents, developing teams with process owners, completing forms, developing recommended improvements to effect pollution prevention, conducting cost and payback evaluations for each recommendation, and all other elements required to complete a PPOA. PPOAs shall be completed within 30 days of initiation. | 20 PPOAs | Survey form includes all relevant elements found in regulatory guidance. All documents are complete, accurate and easily accessible. PPOAs are completely and accurately performed. PPOAs are conducted in accordance with stated priorities. |
|  |  | Develop a standard data collection survey form to be used as a checklist or guideline for conducting PPOA. Priority shall be given to processes using materials or wastes included on Agency or Center priority lists (e.g., ozone depleting substances, TRI chemicals, EPA 17 priority chemicals) and areas under regulatory scrutiny. PPOAs may be performed upon the request of process owner. | One form development |  |
|  |  | Team with process owners to implement selected opportunities. Implementation includes but is not limited to activities such as development of procedures, developing and providing training, and providing technical expertise. Maintain a list of summarized PPOAs conducted and a list of upcoming PPOAs. PPOA summaries shall be added to list within 30 days of completion of field assessment. | Six PPOA implementa-tions |  |
| 9.11.3 | Ozone depleting substances (ODS) Track the use of ODS at *JSC and EPFOL. | Develop and implement a program to track the use and emissions of ODS in accordance with Executive Order and Federal regulations. | 365 days | The use and release of all ODS are tracked. |
|  |  | a. Identify all sources where ODS, as identified in 40 CFR Part 82 Subpart A (§82.3 “Controlled Substances” as listed in Appendix A and B), are used at *JSC and EPFOL. Maintain an electronic log of sources, how the ODS are used, the full charge of refrigeration and comfort cooling appliances, the annual amount used, the annual amount released to air/water/waste and replacement or elimination status. Include in the log a list of all equipment containing ODS, and owners of the equipment. b. Identify all ODS recycling or handling equipment, owners of the equipment and a status of notification/certification of equipment and personnel using the equipment. c. Compile information from COSS Contractor and obtain information from all other users of refrigeration and comfort cooling appliances containing more than 50 pounds of refrigerant charge to show compliance with ODS leak repair regulations (40 CFR 82.156). On a monthly basis, prepare an updated summary listing: date of leak discovery, calculated leak rate relative to 15% loss of charge during a 12-month period, date of repair, date of follow-up test, date of submittal of request for delay of repair. d. Track all data required to compile the annual agency ODS usage report for all sources of ODS. e. Provide guidance for Center employees on the proper handling, notification, certification, replacement alternatives, reporting, disposal of ODS for personnel using ODS in their operations. This information shall be provided in pdf format in a COD provided web server folder, as directed by the NASA Environmental Office (JA-131). |  | No instances of violation of EPA required practices in 40 CFR Part 82. |
| 9.11.4 | Emergency Planning Community Right-to-Know Act (EPCRA ) Track and conduct EPCRA activities in full compliance | Develop a program to ensure compliance with EPCRA in accordance with Executive Orders and Federal regulations. This work includes, but is not limited to: determine which chemicals exceed reporting thresholds, provide updated notices to LEPC-HFD-TDH, review annual Section 312 Tier II report for JSC and prepare cover letters, prepare annual Section 313 toxic release inventory (TRI) Form R reports for *JSC and EPFOL, and perform quality assurance (QA), and prepare background report. Maintain records including compliance documentation, inventories, and reports. All records shall be turned over to the Government upon request/ at termination of contract. a. Using government-provided Chemical Inventory Reports, determine if applicable thresholds are met. b. Perform quality assurance (QA) to ensure reports are accurate. | 1 program | All required information is accurately and completely tracked. All required documents are accurate and complete and readily accessible at all times. |
| 9.12 | Communication, Training and Participation in Work Groups Provide outreach and Training Support services | Develop and implement a comprehensive program of environmental training and participation in work groups at JSC. Elements include Providing Training, Assistance and Participating in Committees and Work Groups. | See Below | See Below |
|  |  | Track data required for all documents and develop and submit all required documents. NOTE: All required reports, data, plans, submittals and deliverables for this program are listed by program in CLIN 9.16.9 Records Reports and Submittals. |  |  |
| 9.12.1 | Training and Awareness Develop and provide environmental training and awareness programs. | Develop and provide training programs for the Government and contractor employees at * JSC and EPFOL in all environmental programs. Develop and maintain an environmental training plan that identifies activities or job titles and the associated training requirements (including frequency) for all JSC employees. Develop training courses and conduct training for *JSC and EPFOL personnel, as required by regulation or JSC policy. Provide all training materials and tracking of all personnel trained. Types of training include, but is not limited to: RCRA generator training, SPCC Plan training, SWPPP training, Pollution Prevention Plan training, recycling training, affirmative procurement training; Facility Manager (FM) training, and EMS auditor training. Training shall be consolidated into other training requirements where possible in order to reduce the number and the length of training required for individuals. Training shall be consolidated to include as many environmental programs as possible where practical. Training shall be provided as requested by organizations at *JSC or EPFOL or the Environmental TMR. When developing training include all regulatory required elements to achieve program needs. | 1 training program 78 training classes 10 web-based training modules | All required training is provided to Government and contractor employees. All training is effective, complete, accurate and conducted with a content and frequency to meet regulations and JSC policy. All training requirements and a schedule of all training provided on time and in the correct format. Training documentation for JSC government and contractor employees is complete, accurate and readily accessible. Only approved training materials are used. |
|  |  | All required training shall be developed in two modes, in-person training and web-based training. Training shall be interactive and pertinent to specific job duties where possible. Advertisement or solicitation to attend targeted classes shall be provided. Training shall be effective, well organized and concise. All training modules and materials shall be approved by the Environmental *TMR prior to use. | See above | See above |
|  |  | The training plan shall be updated as required by changes to regulations or policy. Training modules shall be updated within 15 working days of a change in regulation or policy. |  |  |
|  |  | A list of all training requirements, type of training provided and schedule of training shall be provided in pdf format and placed in a COD provided web server folder. All updates shall be made to the folder copy within 15 working days of changes. |  |  |
|  |  | NOTE: Training classes may be held at the JSC Learning Center that has space for approximately 25 trainees at a time. In addition, larger training venues, such at the B2 Teague Auditorium are available for training up to 300 individuals at one time. |  |  |
| 9.12.2 | Participate in Committees and Work Groups Provide technical and regulatory personnel to participate and contribute to meetings, work groups and committees | Attend and participate in committees, work groups, studies and design reviews that address environmental issues as required. This includes environmental committees and work groups within JSC, agency-wide, and external organizations or partnerships that JSC subscribes to. Work within these groups to solve problems and develop recommendations, plans, programs and procedures to achieve agency and JSC environmental objectives, goals and requirements. Participating on committees and work groups also includes attending scheduled meetings, volunteering for ad hoc teams where contractor experience or knowledge is needed, doing work assigned outside of meetings as assigned and within scheduled times, developing and making presentations regarding committee work, and other activities common and expected for members of committees and work groups. Some meeting may be via teleconference or video teleconference. | 100 meetings 36 meetings with agency work groups 8 meetings with organization/ partnerships. (NOTE: Frequency may vary from weekly to quarterly.) | Contractor attends and contributes on assigned committees and work groups. Individuals with pertinent experience or knowledge participate on committees. Assigned action items are completed accurately and on time. |
|  |  | This includes participating in meetings of the Environmental Stewardship Subcommittee (ESS) and Pollution Prevention (P2) Teams at JSC and EF. For the ESS and P2 teams only, provide meeting support (schedule conference rooms, maintain member distribution lists, distribute agendas in advance of meetings, record and distribute meeting minutes, and other similar administrative duties). This also includes participating in meetings and reviewing studies and designs for accuracy, technical content, and adherence to project scopes of work, operation aspects, and maintainability, compliance with regulatory requirements and JSC policies and procedures. | 2 conferences 10 studies 10 designs | For P2 and ESS, agendas and meeting minutes are accurate, complete, and distributed on time. Studies and designs are completely and accurately reviewed. Comments are accurate, complete, and submitted on time. |
|  |  | Committees other than P2 and ESS may include the JSC Recycling Team, the NASA Recycling and Affirmative Procurement Team, the Agency Geographic Information System Team, the NASA Environmental Tracking System Team, the Texas Pollution Prevention Partnership, and others which may be permanent teams or ad hoc teams, as needed or as requested by the Environmental *TMR. Participating also includes attending and making presentations at conferences or workshops sponsored by committees or partnerships. Personnel assigned to work groups must be knowledgeable in the area being addressed by the committee or work group (i.e., a person experienced and qualified in air compliance would participate in a work group working on agency air issues). NOTE: Some meetings will require travel. In the past, 1-2 personnel have attended one-day meetings at various locations in Texas, 3-5 times per year. Out-of-state meetings of 2-4 days occur at various locations 3-5 times per year and require the support of 1-2 personnel. Assume one conference will be for 2 days in a city in Texas and one conference will be for 4 days in another city in the U.S. NASA Environmental Conferences occur biennially, with the last 3 held near KSC, Fl; ARC, S.Fran; and SSFC, New Orleans. The meeting and conference duration does not include travel time. | See above | See above |
| 9.13 | Environmental Management System (EMS) Administer elements of JSC's EMS Program | Administer the elements of the *JSC Environmental Management System (EMS) for the Government. Activities include: maintaining the information in the EMS databases, managing and tracking information to measure the performance of the EMS, developing and revising procedures, and providing EMS information for JSC employees. | 1 program | All information required to measure performance of the EMS is accurate and complete. |
|  |  | a. Maintain the EMS Impact and Program databases. This includes: 1. Reviewing new information entered by others into database, weekly, for accuracy and inform NASA Environmental Office (JA-131) if further information is needed; |  |  |
|  |  | 2. Providing administrative user access functions (setting up user accounts and rights) within 2 days of request, | 150 users | All approved users of EMS databases are provided user access functions within 2 days of request. |
|  |  | 3. Track and trend EMS metrics and targets/objectives, |  |  |
|  |  | 4. Weekly review and status of environmental Close Calls/HATS/QPID or other EMS non-conformance, corrective and preventive action reporting systems to track and pursue closure of non-conformances and corrective action, |  | Close Calls/HATS/QPID/ are reviewed and actions taken to ensure closure for EMS items. |
|  |  | b. Participate in and lead impact team meetings, | 26 meetings |  |
|  |  | c. Develop or revise EMS or environmental procedures as necessary to have a robust EMS. | 25 procedures | EMS procedures are complete and accurate. |
|  |  | d. Develop presentations for the Government on EMS, | 20 presentations | Presentations are complete and accurate. |
|  |  | e. Provide information and update the EMS web page weekly. | 52 web-page updates |  |
| 9.14 | Toxic Substances Control Act (TSCA) Program Manage all equipment and materials containing PCBs in accordance with regulations and JSC policy | Develop and implement a program to meet the requirements of TSCA. Track data required for all documents and develop and submit all required documents. Identify, track, label and report all chemical compounds and equipment containing polychlorinated biphenyls (PCB's) at *JSC and EPFOL. Tracking includes all equipment that contains oil that may contain PCB's in concentrations over 1 ppm in accordance with all applicable regulations. Tracking includes maintaining an accurate inventory of all electrical and other equipment that could possibly contain PCBs. Initiate sampling for PCB compounds annually for all equipment that contain PCBs over 1 ppm, unless sampling will result in damage to the equipment. Maintain and keep current the PCB Containing Equipment (**Environmental Reference Information). Update the list within 10 working days of when electrical equipment is added or removed or changes occur in concentrations of PCBs | One program | The JSC TSCA Program is compliant with all federal, state and local regulations and with JSC policies and procedures All PCBs accurately and completely tracked, labeled, and accounted for at all times. No instances of improperly stored or labeled equipment or material. Sampling is conducted on time. |
|  |  | Ensure all PCB equipment/materials are properly stored, labeled and dispositioned. Ensure labels or additional information on containers does not obscure required warnings, instructions, or product information. |  |  |
|  |  | NOTE: All required reports, data, plans, submittals and deliverables for the TSCA program are listed by program in CLIN 9.16.10 Records Reports and Submittals. NOTE: PCBs are specified in the Toxic Substances Control Act (15 U.S.C. Section 2601 et seq.) and in 40 CFR Part 761 Subpart A. |  |  |
| 9.15 | Personnel, Training, and Certifications Contractor shall provide personnel meeting minimum education, experience, and training for listed critical job functions. | Provide personnel meeting minimum education, experience, and training for listed critical job functions. Maintain sufficient staffing level to provide core hour coverage either on-site or accessible via pager to on-site within one hour. | Contractor determined | See below |
|  |  | Critical personnel functions are listed in this Annex Section. Each individual shall obtain all applicable environmental and other pertinent training as identified in Annex 1. Functional job descriptions are minimum qualifications to meet the listed key and critical job functions and does not relieve the Contractor from providing such additional personnel of sufficient experience, education, and training to accomplish all work prescribed in this Annex. |  |  |
|  |  | If one person is responsible for more than one position, that individual shall meet every qualification stated in the performance requirements for each position. One person shall not serve in the capacity of more than one other critical or key personnel position. |  | No instance or incident of a person serving in the capacity of more than two critical positions. |
| 9.15.1 | Environmental Manager Provide a properly trained and qualified Environmental Manager to oversee and manage the Environmental Program | Shall have a B.S. Degree in Environmental or Chemical Engineering, Chemistry, or other related science degree. An advanced degree is required. Engineers must possess and maintain valid registration by Texas Board of Professional Engineers as a Professional Engineer (P.E.). Shall have no less than a minimum of 5 years continuous work experience as an environmental manager at a large, multi-employer and multi-discipline federal aerospace and/or commercial manufacturing facility, operating with an EPA/State RCRA Treatment/Storage/-Disposal permit as a large quantity generator of hazardous wastes, and plant operations preferably in an ozone non-attainment area. | Contractor determined | No instance of unqualified personnel being assigned. |
|  |  | Shall possess and demonstrate no less than 15 years of total continuous experience in multiple, major, environmental programs with a demonstrated record of continual improvement in environmental compliance. Shall demonstrate that they have recent Texas environmental experience working with the TNRCC, TDH, EPA Region VI, OSHA, DoT, and local regulatory agency laws, standards, and guidance materials. |  |  |
|  |  | Shall ensure that all contractor environmental *documents , and presentations are certified as true, complete, and accurate, and are provided on-time, and of such professional quality to represent the *JSC and NASA as an efficient, effective, and innovative leader in the environmental field. |  |  |
|  |  | Interacts effectively with NASA and regulatory personnel. Shall possess excellent written and verbal communication skills. Shall be an effective negotiator and communicates credibly and persuasively at all levels in the organizations and across all functions. |  |  |
|  |  | Shall delegate authority to an Assistant/Deputy during all absences away from JSC who will be held responsible in the same manner and degree as the Environmental Manager. |  |  |
| 9.15.2 | Hazardous Waste Operations Supervisor Provide a properly trained and qualified Hazardous Waste Operations Supervisor to manage ISW operations | Shall have a B.S. Degree in Environmental Science/ Management or Environmental or Chemical Engineering, Chemistry, or other related science degree. Shall demonstrate no less than 5 years continuous and recent work experience as an effective supervisor of operations of a RCRA permitted Treatment-Storage-Disposal (TSD) hazardous waste facility or at a large quantity industrial waste generating facility. | Contractor determined | No instance of unqualified personnel being assigned. |
|  |  | Shall demonstrate 7 years continuous experience in hazardous waste management and environmental programs. Must demonstrate knowledge of and recent work experience with TNRCC, TDH, EPA Region VI, OSHA, Department of Transportation (DoT), and local regulatory agency laws, standards, and guidance materials. |  |  |
|  |  | Recent pertinent experience of at least 3 years of profiling and characterizing, segregating, packaging, transportation, and disposal of diverse industrial solid wastes is required. Responsible for signing hazardous waste manifests on behalf of *JSC and EPFOL. |  |  |
| 9.15.3 | Spill Response Supervisor/Specialist Provide a properly trained and qualified Spill/Response Supervisor/Specialist to manage and respond to spills and releases | Shall have a B.S. Degree in Environmental Science/ Management or Environmental or Chemical Engineering, Chemistry, or other related science degree. Shall have a minimum of 5 years experience in hazardous material spill response, with experience directing spill response teams and managing spill response resources. | Contractor determined | No instance of unqualified personnel being assigned. |
|  |  | Shall be able to demonstrate working knowledge, and apply spill response principles and meet regulations in the field. Shall have all necessary training and applicable certifications and demonstrate working knowledge of the following: |  |  |
|  |  | Applicable Federal, State, and Local regulations; HAZWOPER, Incident Command System; Determining reportable quantities for EPA CERCLA,-EPCRA,-RCRA,-CWA,-CAA,TDH,-spills,-releases,-discharges and upsets/emissions and exceedances. Preparing spill release and response notification reports to federal, state and local, l regulators and external response personnel; Demonstrate working knowledge and ability to apply TNRCC Risk Reduction Rules and risk based assessment to affected cleanups; Participate in EPCRA local emergency response committee (LEPC) meetings offsite; Demonstrate knowledge regarding selection, proper use, and maintenance of Personal Protective Equipment (PPE) and Identifying, obtaining, and maintaining current training for all spill response personnel; Tracking and evaluating spill/release incidents for corrective action to eliminate or reduce recurrence of similar incidents sitewide. |  |  |
| 9.15.4 | Air Program Specialist Provide a properly trained and qualified Air Program Specialist to manage the Air Program. | Shall possess a B.S. Degree in Environmental, Chemical, Mechanical, or Civil Engineering from an Accreditation Board for Engineering and Technology (ABET)-accredited college or university with major or concentrated study in air issues, advanced degree preferred. Valid registration by Texas Board of Professional Engineers as a Professional Engineer (P.E.) is preferred. The specialist shall posses and maintain valid certification by TNRCC as a Visible Emissions Evaluator. Shall have a minimum of 5 years experience working with the Texas air program regulations and the federal Clean Air Act as a regular part of a job. Shall have a minimum of 5 years industrial air pollution control experience. Experience working in a severe non-attainment jurisdiction area preferred. Requires broad experience with air quality, compliance, and permitting issues. | Contractor determined. | No instance of unqualified personnel being assigned. |
| 9.15.4.1 | Air Quality Technician Provide a properly trained and qualified Air Quality Technician. | Shall possess a B.S. Degree. Shall have a minimum of 2 years experience working with the Texas air program regulations and the federal Clean Air Act as a regular part of a job. Shall have a minimum of 2 years industrial air pollution control experience. The technician shall possess and maintain valid certification by TCEQ as a Visible Emissions Evaluator. Experience working in a severe non-attainment jurisdiction area preferred. | No instance of unqualified personnel being assigned. |
| 9.15.5 | Asbestos/Lead Programs Specialist Provide a properly trained and qualified Asbestos/Lead Programs Specialist to manage the Asbestos and Lead Program | Shall possess a B.S. Degree in Environmental Science, Chemistry, Laboratory Analytical/Technologist. Must have a minimum of 5 years experience in management of asbestos and lead abatement programs. | Contractor determined | No instance of unqualified personnel being assigned. |
|  |  | Shall possess and demonstrate current OSHA and Texas Department of Health (TDH) training certifications: |  |  |
|  |  | a. Asbestos abatement operations, class I-IV. b. Asbestos Site Supervisor; c. Asbestos Competent person; d. Asbestos Inspector/evaluator; e. Asbestos Designer/Planner - Serves as the on-site single point of contact with *JSC for all contractor related asbestos work that occurs in all Annexes. Shall demonstrate working knowledge and experience in preparing, submitting, and tracking all required TDH, OSHA, and EPA asbestos notifications, submittals and reports. |  |  |
| 9.15.6 | Environmental Operations Engineer Provide a properly trained and qualified Environmental Operations Engineer to design, operate, and review environmental treatment systems. | Shall have a B.S. Degree in Environmental, Chemical or Civil Engineering. Shall demonstrate 5 years successful experience designing, operating, maintaining, reviewing and optimizing liquid chemical processes and treatment systems, waste, and water treatment systems, and making recommendations for component and system upgrades to existing systems. | Contractor determined. | No instance of unqualified personnel being assigned. |
| 9.15.7 | Environmental Project Manager/ Specialist Provide a properly trained and qualified Environmental Project Manager/Specialist to manage environmental projects. | Shall have a B.S. Degree in Hydrogeology, Geology, Chemistry, Environmental or Chemical Engineering or related science. Shall have a minimum of 7 years experience in RCRA or CERCLA project management, site assessment, site restoration and restoration technologies, corrective action and closure plans. Demonstrate additional work experience in managing hazardous waste storage facilities, developing policies, plans, procedures, developing and implementing pollution prevention, affirmative procurement, waste minimization programs, activities, plans, and recommending new technologies. Shall have working knowledge of TNRCC regulations and guidance especially the Texas Risk Reduction rules, EPA, OSHA and DOT regulations. | Contractor determined. | No instance of unqualified personnel being assigned. |
| 9.15.8 | Pollution Prevention/ Recycling/ Affirmative Procurement Program Manager/ Specialist Provide a properly trained and qualified Pollution Prevention/Recycling/Affirmative Procurement Program Manager/Specialist to manage Pollution prevention, recycling and affirmative procurement programs. | Shall have a B.S. Degree in Environmental Science or Management or Chemistry, Environmental or Chemical Engineering. Shall have a minimum of 5 years experience in developing pollution prevention and policies, plans, and procedures, and in implementing pollution prevention, and waste minimization programs, activities, plans, and recommending new technologies. Shall have a working knowledge of EPA and TNRCC regulations and guidance regarding source reduction and waste minimization. Additional experience in developing and implementing affirmative procurement programs is preferred. If no experience in affirmative procurement, training must be provided within 6 months of contract award. | Contractor determined. | No instance of unqualified personnel being assigned. |
| 9.15.9 | Training Program Specialist Provide a properly trained and qualified Training Program Specialist to develop and implement environmental training. | Shall have a B.S. Degree in Chemistry, Environmental Science/Management or in Chemical or Environmental Engineering. Shall have a minimum of 5 years experience developing and conducting training in environmental training. For example, pollution prevention/waste minimization and RCRA awareness training. Must have a working knowledge of EPA/TNRCC regulations and guidance in order to develop and provide training programs. Shall have specialized training in developing training programs. | Contractor determined. | No instance of unqualified personnel being assigned. |
| 9.15.10 | Water Pollution Compliance Manager/ Specialist Provide a properly trained and qualified Water Pollution Compliance Manager/Specialist to manage the Water Pollution Control and Prevention Program. | Shall have a B.S. Degree in Chemistry, Environmental Science/Management or in Chemical or Environmental Engineering with major or concentrated study in water or wastewater issues. Shall have a minimum of 7 years experience in NPDES or Texas wastewater compliance programs. Must have a working knowledge of EPA/TNRCC Clean Water Act (CWA) regulations and guidance regarding wastewater and storm water discharges and management. | Contractor determined. | No instance of unqualified personnel being assigned. |
| 9.16 | Records, Reports, and Submittals Develop and Provide Environmental Reports and Submittals | Regulatory guidance shall be used and followed in the gathering of data and information, the manipulation of data, the development of the report and preparation and formatting of the report. All reports shall be submitted within the time frame specified. All reports shall be provided and submitted in an electronic format, including all graphics, photos, and other attachments, unless otherwise specified. All reports required by the regulatory agency or other specifying entity will be formatted in accordance with guidance or regulation. In addition, a hard copy for all reports and plans shall also be provided to the Environmental *TMR. Provide a copy of all plans in pdf format to allow for placement on website. All submittals, unless otherwise specified, shall be letter size (8 1/2 x 11), all attachments will be clear and legible and also provided as letter size. | See below | All documents listed in this section are complete and accurate when submitted to the Environmental *TMR. All documents are submitted on time. Information and corrected reports and submittals are provided for all follow-up agency inquiries. |
|  |  | Where NASA will submit a hard copy or disk copy of a document to an agency, a cover letter shall be provided to accompany the document. The cover letter shall be in the most current version of Microsoft Word unless otherwise specified. All reports will include a cover page with a signed certification that all information contained in the report is accurate and complete and meets regulatory requirements. Corrections are made in time to allow for the Government to make timely submission. |  | Documents are provided in the requested or required format and type. |
|  |  | All background information used to develop the report and its findings shall be provided along with the report. All requested information shall be provided to support follow-up agency inquiries regarding any report or submittal. All reports and submittals shall be updated to include the new and/or corrected information and resubmitted to the Environmental *TMR within the requested time frame. |  | All necessary background information used to generate the documents is provided with the submittal. |
|  |  | Specific requirements for each report are identified in the CLINs listed below. |  |  |
| 9.16.1 | Environmental Compliance Management Records, Reports and Submittals Submit Environmental Compliance Management Records, Reports, and Submittals | Develop and submit the following reports and submittals required for management of the Environmental Compliance Management program. | See below | See above |
| 9.16.1.1 | COSS Environmental Compliance Plan Develop and Submit COSS Environmental Compliance Plan. | Develop and submit a COSS Environmental Compliance Plan according to DRD AN-9-1. | 1 Plan with annual updates. | See DRD and above. |
| 9.16.1.2 | Annual Building Inspection Report Develop and Submit Annual Building Inspection Reports | Report findings from Environmental portion of Health, Safety and Environmental building audits in a narrative format. Reported information shall include but is not limited to; name of auditor, date of audit, name or number of facility being audited, and the scope of the auditor's review; specific positive and noncompliant findings, including citation of federal or state regulation affected; suggested corrective action, where available; and indicate which items will be entered into EMS tracking system for correction. Findings shall be submitted to the lead auditor and the Environmental *TMR within 10 calendar days of conducting the audit. | 186 reports | See above |
| 9.16.1.3 | Self Assessment Findings Report Develop and Submit Self-Assessment Findings Report. | Compile, develop and submit a report for the 4 to 6 programs assessed, as required in CLIN 9.2.3.b and c. The report shall include both a narrative report that gives program health indicators and common findings, and a detail description for each regulatory finding. The regulatory detail includes but is not limited to, the following: | One report | See above |
|  |  | Environmental Program or Media Specific details on the finding identified The specific location of the finding (e.g., building, room) The affected regulatory citation for the finding A root cause explanation A recommended solution Name of evaluator Date of finding |  |  |
|  |  | The Report shall be submitted to the Environmental *TMR within 10 working days of completing the self-assessment. |  |  |
| 9.16.1.4 | Environmental Resource Documents Develop and Update Environmental Resource Documents for JSC, EF, SCTF and EPFOL. | Develop new Environmental Resource Document (ERD) for EPFOL in first contract year. Review, update and maintain a current **JSC ERD, **EF ERD, **SCTF ERD (and also include update of EPFOL ERD after first contract year). The ERDs shall be reviewed and updated at least once each contract year to include new information or changes. All maps, data and tables must be updated to include the most recent agency information during the annual review and update. ERDs shall comply with the National Environmental Policy Act, 14 CFR 1216 and Implementing the Provisions of the National Environmental Policy Act, NPG 8840 (found in **Environmental Reference Information) including, but not limited to; information on the history, cultural factors, archeology, geology, soils, climate, air resources, water resources, land resources, ecological resources, endangered species, floodplains, wetlands, solid and hazardous waste, toxic substances, radioactive materials, noise, along with economic factors. The information is used as a baseline in the determination of environmental impact assessment. The plans shall completely address all factors required in the preparation of an environmental impact statement. Place a copy of each document in pdf format in a COD provided web server folder. Update the folder copy of the document within 10 working days of updating of each document. | One new ERD (Year One only) One updated ERD (Year 2 - 5) | See above |
| 9.16.1.5 | Standard Operating Procedures Develop and update Standard Operation Procedures for environmental activities conducted by COSS Contractor. | Develop new procedures and update existing procedures required for all environmental programs. Procedures shall follow the format of Work Methods and Standard Operating Procedures found in **SOPs for Environmental Activities. | 10 procedures | See above |
| 9.16.2 | ISW Records, Reports and Submittals | Develop and submit the following reports and submittals required for management of the ISW program. |  |  |
| 9.16.2.1 | Annual Waste Summary Submit the Annual Waste Summary for ISW for JSC, EF and EPFOL. | Develop and enter Annual Waste Summary Report for JSC, EF and EPFOL into STEERS following current STEERS Users Manual (**Environmental Reference Information). The report shall be entered into STEERS no later than February 10 of each year for ISW management activities of previous calendar year. In addition, provide a hard copy of the report and the tabular development, along with any necessary explanations on how numbers were derived to the Environmental *TMR to review no later than February 1 each year. | Three reports | See above |
| 9.16.2.2 | Annual Site Activity Report Submit the Annual Site Activity Report for JSC | Submit the JSC Annual Site Activity Report to the Environmental *TMR no later than January 10 each year for activities of previous calendar year. Follow format of JSC Annual Site Activity Report, **Miscellaneous Environmental Documents, and include all information required by JSC's Hazardous Waste Storage Permit, **Environmental Regulatory Permits. Provide as electronic Word document. | One report | See above |
|  |  | NOTE: This report is due as long as JSC has a RCRA TSD permit. It is anticipated that the permit will be canceled by November 2003. |  |  |
| 9.16.2.3 | Monthly Waste Shipment Report Submit Monthly Waste Shipment Report for JSC, EF, and EPFOL. | Submit a monthly summary report, due to Environmental *TMR no later than the 20 of the month, for all shipments of ISW from JSC, EF and EPFOL during the previous month. The report shall include, but is not limited to, the following information: manifest number, transportation company name, TSDR name, date shipped, common name and waste codes of wastes shipped, quantity in pounds. Provide the original and returned copies of manifest and copies of all associated forms and notifications to Environmental *TMR. | 36 reports | See above |
| 9.16.2.4 | Monthly Waste Receipt Summary Submit Monthly Waste Receipt Summary for JSC. | Develop and enter data to complete TNRCC Monthly Waste Receipt Summary report into STEERS for all ISW received at JSC from EF. Data shall be entered into STEERS no later than the 15th of each month for the wastes received the previous month. Follow TNRCC regulations and **STEERS Users Manual to develop the report and enter it into STEERS. | 12 reports | See above |
| 9.16.2.5 | Monthly ISW Generator Report Submit monthly ISW Generator Reports for wastes generated at JSC, EF, SCTF and EPFOL. | Develop a report by Directorate divisions for all ISW generated during the previous month. The report shall include, but is not limited to, the following information; the common name of the waste, the waste code, the directorate generating the waste, the building the waste was generated in, the amount in pounds generated of each waste, and the total amount of all waste (lbs) generated during the month for the directorate. Information shall be in a spreadsheet format, sorted first by Directorate. Within each directorate sort by building and then common name of waste along with the amounts. | 12 reports | See above |
|  |  | The report shall be submitted to Environmental *TMR no later than the 15th of the month for the preceding months waste generation activities. This report shall also be posted on the Environmental homepage on the 15th the month. |  |  |
| 9.16.2.6 | ISW Contingency Plan Develop, review, update and maintain ISW Contingency Plans for JSC, EF, and EPFOL. | Review, update and maintain a current JSC ISW Contingency Plan (**JSC Part B RCRA Permit Application) and EF ISW Contingency Plan (EF Plan includes SCTF) at least annually. Develop an ISW Contingency Plan for EPFOL and review, update and maintain a current version annually, thereafter. Place a copy of each plan in a pdf format in a COD provided web server folder. Contingency Plans must include all elements required by state and federal regulations. In the submittal to the Environmental *TMR, include a summary of each change made to the plan and the justification for each change. Identify any RCRA permit modifications and the class of modification for each update for the JSC ISW Contingency Plan. If no changes are required to the plan, then an annual memo to the Environmental *TMR shall be submitted stating that each plan has been reviewed and that no changes are required. | Three plans | See above |
| 9.16.2.7 | ISW Waste Analysis Plans Review, Update and Maintain ISW Waste Analysis Plans for JSC, EF, and EPFOL | Review, update, and maintain current JSC ISW Waste Analysis Plan (**JSC Part B RCRA Permit Application) and **EF ISW Waste Analysis Plan (EF Plan includes SCTF) at least annually. Develop an ISW Waste Analysis Plan for EPFOL and review and update annually, thereafter. Place a copy of each plan in a pdf format in a COD provided web server folder. The Waste Analysis Plans must include all elements required by state and federal regulations. In the submittal to the Environmental *TMR, include a summary of each change made to the plan and the justification for each change. Identify any RCRA permit modifications and the class of modification for each update for the JSC Waste Analysis Plan. If no changes are required to the plan, then an annual memo to the Environmental *TMR shall be submitted stating that each plan has been reviewed and that no changes are required. | Three plans | See above |
| 9.16.2.8 | TSDR and Transportation Facility Audit Reports Submit summary reports for all audits conducted on TSDR and transportation facilities. | Document all audits and findings in a narrative report in format found in **Audit of Rollins Environmental, Deer Park, Texas. Submit the report to the Environmental *TMR within 15 working days of audit. Include a recommendation as to whether or not NASA should use the facility based on audit findings. Provide a copy of all checklists and materials gathered during the audit (e.g., copies of permits, photos, agency inspection reports, plans, etc). | 10 reports | See above |
| 9.16.2.9 | ISW Tank Inspection Reports Submit Annual Tank Integrity Test Reports | Prepare, review and submit the annual Tank Integrity Test Reports to Environmental *TMR within 10 days of receipt of test receipts. Include a narrative summary that discusses the results of the testing (tanks passed/failed), any problems found during the testing, all corrective repairs performed, conclusions and recommendations. Follow the format of JSC Tank Integrity Test Reports found in **Miscellaneous Environmental Documents. Provide report in hard copy and electronic format. | One report | See above |
| 9.16.2.10 | ISW Tank Cleaning Plans and Reports Develop and Submit Tank Cleaning Plans and Reports | Develop, maintain and submit a bi-annual plan for cleaning all ISW tanks that includes a performance standard for determining the cleanliness of each tank following the cleaning step, a cleaning procedure for each tank and associated piping, and sampling and analysis plan. | One plan | See above |
|  |  | Develop, maintain and submit a report of the results of the cleaning. Reports shall include a narrative summary of all problems found cleaning, and any corrective repairs that were performed. Provide *documents (plan and report) in hard copy and electronic format. | One report |  |
| 9.16.2.11 | Manifest Exception Reports | Develop and submit reports to the Environmental *TMR in accordance with 40 CFR 262.42 and 30 TAC Chapter 335.12 and 13 on any occasion that original copies of manifests are not received from TSDRs within 45 of shipment. The report is due to the Environmental *TMR no later than 46 days after manifests are not received back from the TSDR. | Three reports | See above |
| 9.16.2.12 | Submit Biennial Hazardous Waste Report Submit Biennial Hazardous Waste Report for JSC and EF. | Develop and submit a biennial report containing supplemental information to the Annual Waste Summary, as required by 40 CFR 262.41 and 30 TAC 335.71. This report is due each even numbered year for activities in previous odd numbered year upon request and is due 2 weeks prior to the date it is due to the TNRCC. Information requested may change between reporting years, but is included in data required to be tracked for ISW program. | Two reports every even numbered year. | See above |
| 9.16.2.13 | Closure Plans Update and Submit Closure Plans for JSC and EF ISW permitted and <90 Day accumulation areas. | Review, update and maintain current closure plans (see **Class 2 Permit Modification #1 to JSC RCRA Hazardous Waste Storage Permit) all permitted or <90 day accumulation areas at JSC and EF. The plans shall be reviewed and updated as required to include new conditions or regulatory requirements, as applicable. The updates must be completed within any designated regulatory timeframe. The Closure Plan must include all elements required by state and federal regulations and guidance documents. Submit the updated plans to the Environmental *TMR within 10 working days of completing the changes to the plans. In the submittal to the Environmental *TMR, include a summary of each change made to the plan and the justification for each change. Identify any RCRA permit modifications and the class of modification for each update for the JSC Closure Plan. If no changes are required to the plan, then an annual memo to the Environmental *TMR shall be submitted stating that each plan has been reviewed and that no changes are required. | 4 plans | See above. |
| 9.16.2.14 | RCRA Training Plan Develop and maintain RCRA Training Plans for JSC, EF, and EPFOL. | Review the existing JSC RCRA Training Plan and update it for current conditions and employees as required by regulations, but at least annually. Develop RCRA Training Plans for EF (including SCTF) and EPFOL, and then update them as required by regulations, but at least annually. Place a copy of each plan in pdf format in a COD provided web server folder. The RCRA Training Plans must include all elements required by state and federal regulations. In the submittal to the Environmental *TMR, include a summary of each change made to the plan and the justification for each change. Identify any RCRA permit modifications and the class of modification for each update for the JSC RCRA Training Plan. If no changes are required to the plan, then an annual memo to the Environmental *TMR shall be submitted stating that each plan has been reviewed and that no changes are required. | 3 Plans | See above |
| 9.16.3 | Air Emission Reports | Develop and submit the following reports and submittals required for management of the Air Emissions program |  |  |
| 9.16.3.1 | Develop and Submit **Relative Accuracy Test Audit (RATA) Report | Prepare report, which contains data, formatted per **RATA Report provided in TRL. Includes all attachments. Submit by end of 15th day of the first month after end of the first quarter of the year. | One report | See above |
| 9.16.3.2 | Develop and Submit Quarterly **Cylinder Gas Audit Report | Prepare report, which contains data, formatted per **Cylinder Gas Audit Report provided in TRL. Includes all attachments. Submit by the 15th day of the first month following the end of a quarter. | Three reports | See above |
| 9.16.3.3 | Develop and Submit **40 CFR Subpart Db Semi-Annual CEMS and Excess NOx Emission Report | Gather data to complete the semi-annual NOx excess emissions report. Prepare report, which contains data, formatted per **40 CFR Subpart Db Semi-Annual CEMS and Excess NOx Emission Report. Includes all attachments. Submit by January 15 and July 15 of each year. | Two reports | See above |
| 9.16.3.4 | Develop and Submit **40 CFR Subpart Dc Semi-Annual Excess Emission Report | Gather data to complete the semi-annual NOx excess emissions report. Prepare report, which contains data, formatted per **40 CFR Subpart Dc Semi-Annual Excess Emission Report. Includes all attachments. Submit by January 15 and July 15 of each year. | Two reports | See above |
| 9.16.3.5 | Develop and Submit **Emissions Inventory Report | Develop and submit annual Air Emissions Inventory Report for JSC, EF and SCTF. Separate reports shall be prepared for each facility. Collect emissions data for each air emission source. Input data into spreadsheet provided by the Government. Obtain copy of Hazardous Materials Inventory. Analyze data for final emissions report applicability. Compile data and prepare report, which contains data, formatted per **Emission Inventory Report and in accordance with TNRCC guidance. Includes all attachments including updated Emissions Inventory Questionnaire forms. Each report shall be submitted to NASA Environmental Office no later than March 15 of each year for activities of previous calendar year. In addition, provide a hard copy of the report and the tabular development, along with any necessary explanations on how numbers were derived to Environmental *TMR to review no later than March 15 each year | Three reports | See above |
| 9.16.3.6 | Develop and Submit Air Inspection Preparation Guidelines and Site-Specific Questions as Provided by TNRCC | Gather data to address each section of TNRCC Inspection Preparation Guidelines questions. Prepare report, which contains data, formatted per TNRCC Air Inspection Preparation Guidelines (** Environmental Reference Information). Submit 2 weeks after delivery to Contractor. | One report | See above |
| 9.16.3.7 | Report Analytical Results of Samples of O/W Separators at JSC and EF | For standard exemption compliance verification, take samples and have them analyzed for true vapor pressure (TVP) and Reid vapor pressure (RVP). Report analytical results for two O/W separators at JSC (Building 329 and 417) on a quarterly basis. Report analytical results for ten O/W separators at EF on an annual basis. | Five reports | See above |
| 9.16.3.8 (NEW) | Title V and Synthetic Minor Permit Reports and Submittals Develop and Submit Title V and Synthetic Minor permit revisions, compliance certifications, deviation reports | a) For Title V Permit O-01552 at JSC: (i) Prepare and submit revision applications for changes, additions, or removal of one or more permit terms or conditions. Revision application shall be made on TCEQ Form OP-2 and submitted to Environmental TMR at least 15 days prior to due date to TCEQ. (ii) Prepare notifications of Off-Permit/Operating Flexibility Action for JSC using TCEQ Form OP-NOTIFY. (iii) Prepare deviation reports to identify all relevant permit terms or conditions that show an indication of noncompliance found using, at a minimum, compliance method data from monitoring, recordkeeping, reporting, or testing required by the permit. For each instance of deviation, report the following: When it began, When it ended, What caused the deviation, and What was done to correct the problem. Include reportable and non-reportable emission events during the six month period. Deviation reports shall be submitted on TCEQ Form DevRptf or other format approved by TCEQ and conform to the requirements in 30 TAC §122.145. Reports are due within 15 days of end of the period. (iv) Prepare annual Title V Permit compliance certification report. For emission units identified as having no deviations, state that the emission units were in continuous compliance. For emission units identified as having one or more deviations indicating potentially intermittent compliance, report the monitoring methods used to assess compliance, and the frequency that compliance assessments are to be made. State the total number of deviations that were experienced over the compliance certification period for each term or condition of the permit for which deviations were experienced. Annual compliance certification report shall be submitted on TCEQ Form PCCF or other format approved by TCEQ and conform to the requirements in 30 TAC 122.146. Report is due within 15 days of permit anniversary. b) For Synthetic Minor Permits at EF and SCTF: Prepare and submit revisions for changes, additions, or removal of one or more emission sources that change PTE. Revision application shall be made on TCEQ Form PI-8 and submitted to Environmental TMR at least 15 days prior to due date to TCEQ. | Two revisions per year. Four notifications per year. Two deviation reports per year One compliance certification report per year. One revision per year per site | See above |
| 9.16.4 | Water Pollution Prevention Control Records, Reports and Submittals | Develop and submit the following reports and submittals required for management of the Water Pollution Control program | See below | See above |
| 9.16.4.1 | Sanitary Sewer Industrial Discharge Management Plan Develop and submit Sanitary Sewer Industrial Discharge Management Plan | Develop a Sanitary Sewer Industrial Discharge Management Plan, using the list developed in 9.5.1. The plan shall identify all pertinent discharges and requirements to monitor; submit reports to regulatory agencies; conduct sampling; identify any non-compliances; identify required steps to achieve corrective action; and a schedule for meeting each step to meet all environmental regulations, Center requirements and sewer agency limits. The Plan shall be completed within 6 months of contract start up using existing data and shall be updated as new or changed discharges are identified. The plan shall be updated within 15 working days of identification of new or changed discharge, change in required corrective action or schedule changes or completion. The initial plan shall be submitted on March 31 of year one of the contract. Updated pages shall be sent to the Environmental *TMR within 5 days of updating the plan. Place a copy of the plan in pdf format in a COD provided web server folder, and update the plan in the folder with updated information monthly. | One plan combined plan for *JSC and EPFOL. | See above |
| 9.16.4.2 | Annual Storm Water Plan Compliance Report. Submit an Annual Storm Water Pollution Prevention Compliance Audit Findings Report for JSC, EF and EPFOL. | Develop a report of findings from annual audits of Storm Water Pollution Prevention Plans (SWPPP). The report format shall be determined by the contractor but must include, but is not limited to, the following: Audit date (s), Auditor name, Scope of audit, Findings, Recommended corrective action for all non-compliances including a schedule Changes required to SWPPP, and Estimated cost and schedule to complete each corrective action item Due to Environmental *TMR on February 15 each year. | Three reports. | See above |
| 9.16.4.3 | Update the JSC and EF Storm Water Pollution Prevention Plans. Review and update the JSC and EF Storm Water Pollution Prevention Plans. | Update the JSC and EF Storm Water Pollution Prevention Plans annually following the annual audit identified in 9.9.5.2.c. The plans must follow the format of the **JSC Storm Water Pollution Prevention Plan, **EF Storm Water Pollution Prevention Plan and must include all regulatory requirements. Place a copy of the plan in pdf format in a COD provided web server folder. | Two plans. | See above |
| 9.16.4.4 | Sedimentation and Erosion Control (SEC) Plan Reports Submit reports for each SEC Plan forwarded for review | Provide written comments, in a form format developed by the Contractor, for each plan reviewed. The form shall include, but is not limited to, the following elements: Project Name, Building or Location, Project Manager; Name of Contractor Company, On-site Company Project Manager's Name; Specific comments on items that need to be added to plan to make it acceptable; a decision on whether the plan is acceptable (for example, Plan Approved, Plan Approved with Conditions Stated, No Plan Required, Additional Information is Required as Stated), Name of person reviewing plan, and date reviewed. Submit comments to Environmental *TMR within 10 working days of receipt of a plan. | 20 reports | See above |
| 9.16.4.5 | Spill Prevention Control and Countermeasure (SPCC) Report Review, update and maintain SPCC Plan | Review, update and maintain the **Spill Prevention, Control and Countermeasures Plan, JSC Emergency Response Plan Addendum 40 CFR Part 112 Oil Pollution Prevention twice annually. Review, update and maintain the EF Spill Prevention, Control and Countermeasures Plan. Reviews are conducted semi-annually no later than January 31 and July 31. Updated/amended reports shall be submitted to Environmental *TMR no later than six months after a change in design, construction, operation or maintenance occurs that has a significant effect on the potential for oil discharge, or the plan proves to be ineffective. All reviews and revisions shall be documented in the SPCC Plan Revision/Review Sheet in Table 1 of the plan. PE certifications are documented on all updates/amendments. All updated/amended SPCC plans shall be certified by a professional engineer per 40 CFR 112.3(d) before being made effective. Complete Plan (including drawings, procedures etc. and updates/amendments) are submitted in electronic format. Place a copy of the plan in pdf format in a COD provided web server folder. | Four plan reviews Four updates | See above |
| 9.16.5 | Asbestos Program Records, Reports and Submittals | Develop and submit the following reports and submittals required for management of the Asbestos Program |  |  |
| 9.16.5.1 | Annual Sitewide Asbestos Inspection and Assessment | Submit results of inspection and assessment electronically within 10 working days of completion to the Environmental *TMR and the OMOH contractor for entry into the JSC Asbestos locations database. Inspection and assessment shall fulfill all elements of 40 CFR 763, Subpart E, Appendix C, Item 3 “Inspections”. | One sitewide inspection and assessment of *JSC | Annual inspections and assessments are complete, accurate, and results submitted on time. |
| 9.16.5.2 | Asbestos Notifications | Submit ACM and TDH notifications. |  |  |
|  |  | a. Submit ACM work notifications electronically to the OMOH contractor and Facility Manager for each job with ACM. | 1200 | ACM work notifications submitted on time, with accurate information regarding the date, time, and location of the ACM work to be performed. |
|  |  | b. Submit TDH ACM Demolition/ Renovation and RACM Abatement Original 10 Day Notification (**Environmental Reference Information) to the Environmental *TMR 15 working days before due to the TDH. Amendments to original notifications will be submitted to the Environmental *TMR the next working day after new of changed information is known. | 15 |  |
|  |  | c. Submit TDH Annual O&M Notification on Projected Asbestos Renovation and Demolition. Report is due December 16 each year. | 1 | TDH notifications and amendments are accurate, complete, and submitted on time. |
| 9.16.6 | PST Program Records, Reports, and Submittals | Develop and submit the following reports and submittals required for management of the PST Program | See below | See above |
| 9.16.6.1 | Annual Petroleum Storage Tank (PST) Integrity Report Submit PST tank integrity reports | Prepare and submit the Tank Integrity Test Report to Environmental *TMR within 10 days of receipt of testing results. Report shall follow the format of JSC Tank Integrity Testing Reports found in **Miscellaneous Environmental Documents and shall include a narrative of the results of the integrity testing and provides recommendations for all corrective actions and maintenance activities. | One report. | See above |
| 9.16.6.2 | General Land Office Applications and Certificates Submit General Land Office application for discharge prevention and response certificates and applications. | Prepare and submit the General Land Office application discharge prevention and response certificates and applications for JSC and EF, to Environmental *TMR within 60 days of contract start date. Updates shall be submitted within 5 years or within 60 days of a change of status. | Two application Two response certification | See above |
| 9.16.6.3 | Regulated and Unregulated Petroleum Storage Tank (PST) Database Submit PST database | Obtain and enter the following information into an electronic database and provide a hard copy report by May 1: Tank Identification number and tank location, tank capacity, tank containment type and volume, tank, piping and containment construction material, leak detection system (where applicable), tank registration forms, tank construction forms, General Land office application and certificate information, fee submittal information, maintenance activities per tank, closure information, integrity test information, new tank design and installation information. | One report | See above |
| 9.16.7 | Groundwater Protection Records, Reports, and Submittals | Develop and submit the following reports and submittals required for management of the Groundwater Protection Program | See below | See above |
| 9.16.7.1 | Groundwater Monitoring Well (MW) Statistics and Recovery Trends Report Perform a statistical analysis on all groundwater analytical results and recovery results from the Energy Systems Testing Area (ESTA). | Perform a statistical analysis on all groundwater analytical results from the ESTA groundwater monitoring well analytical results and the groundwater treatment system recovery results in accordance with EPA ‘s most current version of RCRA Groundwater Technical Enforcement Guidance Document (TEGD) and TNRCC’s Texas Risk Reduction Program requirements and guidance documents. Obtain and use groundwater analytical results from monitoring wells provided by the Environmental Health Laboratory and from the sampling and operating the from Groundwater Treatment system. Provide a report in hard copy and electronic format. Reports follows the format of JSC Groundwater Quality Statistical Analysis and Assessment of Groundwater Recovery Trends Report found in **Miscellaneous Environmental Documents. | One report | See above |
| 9.16.8 | Pollution Prevention and Resource Conservation Records, Reports and Submittals | Develop and submit the following reports and submittals required for management of the Pollution Prevention and Resource Conservation program. | See below | See above |
| 9.16.8.1 | Source Reduction and Waste Minimization Report Submit Source Reduction and Waste Minimization Annual Progress Reports for JSC, EF and EPFOL. | Collect and compile all required data to complete and submit Annual TNRCC Source Reduction & Waste Minimization Report for JSC, EF and EPFOL in accordance with TNRCC guidelines and requirements **TNRCC Source Reduction and Waste Minimization Annual Progress Report Instruction Manual and Forms. The current method of reporting is via the TNRCC Web-page, which includes guidance on the elements of the report. Enter the information into the TNRCC website and provide a hard copy and backup data to the Environmental *TMR no later than June 1 each year for the previous calendar year activities. | Three reports. | See above |
| 9.16.8.2 | Pollution Prevention Plans Develop, update and maintain Pollution Prevention Plans for JSC, EF and EPFOL | Develop and maintain Pollution Prevention Plans for JSC, EF (including SCTF) and EPFOL. Each plan shall include all elements required by state and federal requirements and agency and center policy. Each plan shall include all relevant elements, including but not limited to; solid waste, recycling, industrial solid wastes, ozone depleting substances, air emissions, storm water, hazardous materials management, storm water, industrial wastewater discharges, and affirmative procurement. Each plan shall include all goals, objectives and targets developed by the center and agency, a summary of relevant rules and requirements, strategy and implementation plan for achieving goals, references for finding resource, and an annual progress report. | Three plans | See above |
|  |  | Each plan shall be modular, with the first module being the existing **JSC, EF and EPFOL Source Reduction and Waste Minimization Plans. Other modules shall be developed and added to the plan within the first 12 months of the contract. An updated Executive Summary will be prepared, as required by state regulation, each time the Plans are updated. Submit the Executive Summary to the Environmental *TMR with 15 days of date the plan was changed for submission to the TNRCC. |  |  |
|  |  | The Plans shall be updated annually, at a minimum. Place a copy of the plan in pdf format in a COD provided web server folder and update the folder copy within 15 days of updating the plan. |  |  |
| 9.16.8.3 | NASA Recycling and Affirmative Procurement Report Submit Annual NASA HQ Report on Recycling and Affirmative Procurement Status for activities at JSC, EF, SCTF and EPFOL. | Collect, compile and enter all required data to complete the annual Recycling and Affirmative Procurement Report into NETS. The report includes a summary of activities regarding the purchase of materials containing recycled content and actual recycling activities for all of *JSC and EPFOL. See **Recycling and Affirmative Procurement Report Items for a list of all items and fields that are included in this report. Enter all required data into NETS within 2 weeks of receipt of call letter from HQ, annually for previous fiscal year activities. NOTE: Due date varies from year to year but is usually due on March 1. | One combined report. | See above |
| 9.16.8.4 | Pollution Prevention Opportunity Assessment (PPOA) Reports Develop and submit reports for each PPOA conducted. | Submit a report for each PPOA that includes all elements listed in Annex 9.11.2. Include a one-page summary of the nature of the PPOA, findings, recommendations, cost of implementing, and payback period. The report shall be submitted within 30 days of initiation of PPOA. Post the one page summary of each PPOA in a pdf format in a COD provided web server folder. | 20 assessments. | See above |
| 9.16.8.5 | Annual ODS Usage Report Submit Annual NASA HQ ODS Usage Report for activities at JSC and EPFOL | Input the information required to complete the annual ozone depleting substances (ODS) usage report into NETS. The report is for each class 1 and class 2 ODS, as defined by federal regulation, used at *JSC and EPFOL. This includes, but is not limited to the following: | One combined report | See above |
|  |  | ODS Name and CAS number Identify Any Substitute Testing Conducted Quantity Stored (lbs) % of ODS Recycled |  |  |
|  |  | % of ODS Recovered Quantity Used |  |  |
|  |  | User Type and Distribution Percentage Container Type, Quantity (lbs), Average Cost per Pound How the ODS Was Used |  |  |
|  |  | Enter required data to generate the report in NETS no later than July 15 each year for previous calendar year activities. |  |  |
| 9.16.8.6 | Develop Environmental Award Applications Develop and Submit Environmental Award Applications | Develop nomination applications for JSC’s programs to federal, state and agency environmental awards (such as White House Closing the Circle Awards, Texas Environmental Excellence Award), as applicable. Completed applications shall be submitted to the Environmental *TMR within 21 calendar days of request. | Three award applications | See above |
| 9.16.8.7 | Notification to Agencies Submit Notifications to Emergency Agencies. | Prepare updated notification for local emergency planning committees (LEPC), Houston Fire Department (HFD), and TDH. | Contractor determined | See above |
| 9.16.8.8 | Toxic Release Inventory (TRI) Report Submit Annual TRI reports for JSC, EF, SCTF and EPFOL. | Prepare for and conduct an annual Section 313 Toxic Release Inventory (TRI) Form R hardcopy and electronic reports with cover letter for each installation (JSC, EF, SCTF, and EPFOL). Submit to the Government fifteen working days prior to the deadline date for submittal (normally July 01). Each report shall include an assessment noting trends in increases, decreases, and the variety/type chemicals over the past five years of all EPA TRI listed chemicals at the facility under the reporting threshold. Each report shall also provide recommendations for viable chemical substitutions or replacements. Submit background reports explaining methodology, assumptions, and exceptions used in developing each Tier II and TRI Form R reports. Background reports shall include all field notes, logs, inspection sheets. Background reports are due within 10 working days of completion of the annual report. | Four reports | See above |
| 9.16.8.9 | Communication, Training and Participation in Work Groups Records, Reports, and Submittals | Develop and submit the following reports and submittals. | See below | See above |
| 9.16.9.1 | Study and Design Review Comments Submit review comments for studies and designs that have environmental impacts and requirements. | Review and provide written accurate comments within the specified timeframes, for all studies and designs stating that all applicable environmental requirements standards, regulations, *JSC policies or procedures are included. If not included, the comments shall state the exact environmental requirement, regulation, standard, procedure, which must be followed and incorporated into the study and design. Comments shall be provided in the format specified by the government project manager. Submit comments to the Environmental *TMR within 5 days of request for review. | 10 studies, 10 designs | See above |
| 9.16.10 | TSCA Records, Reports, and Submittals | Develop and submit the following reports and submittals required for management of the TSCA program. | See below | See above |
| 9.16.10.1 | Submit Polychlorinated Biphenyl Annual Written Document Log Submit Polychlorinated Biphenyl (PCB) Annual Written Document Log to NASA for JSC and EF. | Submit the PCB Annual Written Document Log for JSC and EF to the Environmental *TMR no later than June 15 of each year. The document log shall include all elements identified in 40 CFR 761.180(b)(2)(i)-(iii). | Two reports. | See above |