###### Executive Summary

The CEC sought to have an improved understanding of the factors that contribute to the great variation in individual renewable electricity technology cost data.  This variation exists in both the data for the cost of installed generating capacity ($/W) and for the cost of production of electricity ($/kWh) from renewable technologies.  The CEC was also interested in better understanding the reasons for the cost differential that exists between renewable electricity generation technologies and documenting the present cost range for each technology.  Finally, the CEC was interested in understanding why the cost data for some renewable technologies have varied significantly over time.

The CEC engaged the Delphi Group to conduct an analysis of the various factors that contribute to these different areas of variation.  For the purpose of this analysis, the CEC was interested in the most commonly employed low impact renewable electricity technologies in North America.  These include:

- Wind power;

- Photovoltaics;

- Geothermal;

- Small-scale hydropower; and

- Biomass derived electricity.

A variety of factors were found to contribute to the variability of cost data for applications of the same renewable electricity technologies.  These include :

- Feasibility Study Costs;

- Economies of Scale;

- Equipment/technology Options;

- Installation Requirements and Site Characteristics;

- Financing Terms;

- Cost of Land;

- Impact Assessment and Permitting;

- Project Renewable Resource Characteristics and Capacity Factors;

- Operating and Maintenance costs;

- Fuel Costs;

- Property Taxation and Land Lease Costs;

- Co-products and Co-benefits;

- Transmission and Grid Connection Costs; and

- Government Policy Factors

For the purpose of this study, two categories of cost impacting factors were created:

i)- factors that directly affect the cost of electricity produced; and

ii)- factors that indirectly affect the cost of electricity by reducing the perceived or effective cost to the project developer or owner.

Factors that directly affect the cost of electricity are factors that have a direct impact on the capital cost of a project (and as such the installed capacity cost and generating cost of a project) or the factors that have a direct impact on the operating cost of a project (and consequently the generating cost only).  Factors that indirectly affect the cost of renewable electricity are generally policy factors that lead to a reduction of the effective cost of various elements of a project.

The following tables illustrate the range of electricity generation capacity costs and electricity generating costs for each renewable energy technology.  These costs are based on the range of costs sited in various literature sources (a listing of which is provided for each technology in this report).   Capacity costs include all feasibility study, design, planning and engineering, equipment, shipping/transport, construction and installation and grid connection costs. Generating costs include all capital, operating and maintenance costs.

Table ES1 – Summary Cost Ranges for Large Scale Wind Power

| Large Scale Wind Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 1,000 to 2,007 |
| Electricity Generation Cost Range (US$/kWh) | 0.05 to 0.15 |

Table ES2 – Summary Cost Ranges for Photovoltaic Power

| Photovoltaic Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 4,600 – 19,500 |
| Electricity Generation Cost Range (US$/kWh) | >0.18 |

Table ES3 – Summary Cost Ranges for Biomass Power

| Biomass Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 1,300 – 2,000 |
| Electricity Generation Cost Range (US$/kWh) | 0.035 – 0.155 |

Table ES4 – Summary Cost Ranges for Hydropower

| Hydropower |
| --- |
| Installed Capacity Cost Range (US$/kW) | 735 – 7,866 |
| Electricity Generation Cost Range (US$/kWh) | 0.026 – 0.195 |

Table ES5 – Summary Cost Ranges for Geothermal Power

| Geothermal Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 1,150 – 5,000 |
| Electricity Generation Cost Range (US$/kWh) | 0.03 – 0.155 |

The particularly significant cost variation over time associated with some renewable electricity technologies was found to be the result of increased commercialization and maturity of markets for these technologies in recent years.  In principal, there are considered to be two generations of commercialized renewable electricity technologies if we consider technology development over the last 120 years.  First generation technologies emerged from the industrial revolution at the end of the 19th century and include hydropower, biomass combustion and geothermal plants.  Biomass combustion technologies and geothermal technologies generally use steam turbines to generate electricity.  For smaller scale applications, internal combustion engines are used to generate electricity from biomass.  Steam turbine and internal combustion engines are very mature.  Hence, capital costs and electricity generating costs for these technologies have not changed significantly with reference to other conventional fossil fuel and nuclear based platforms over the years.  Similarly, hydropower turbines are also a very well established technology with a track record spanning more than a century.  Hydro projects, when appropriately sited have been economical for many years and even represent the lowest cost electricity available in many jurisdictions. Therefore, unlike photovoltaics and wind turbines, the costs of biomass, hydro and geothermal electricity are not on a steep technology-driven downward curve due to their technical maturity.  Photovoltaics and wind turbines are considered to be a part of the second generation renewable technologies.  Second generation technologies are only recently starting to be broadly commercialized as a result of research, development and demonstration efforts which started in the late seventies.  The initial investment in these technologies was prompted by energy security concerns linked to the oil price crises of that time period, but the continued focus on these technologies was mainly due to their potential environmental benefits.  Innovations and ramp-up to commercialization for these two second generation technologies has led to a major decrease in associated installed capacity and generating costs over the past 3 decades.

###### Table of Contents

1.0	Background	1

2.0	Terminology	1

2.1	Cost VS Price	2

2.2	Capital Costs	2

2.3	Operating and Maintenance Costs	2

2.4	Installed Capacity Cost	3

2.5	Electricity Generating Cost	3

3.0	Factors Affecting Renewable Electricity Costs	5

3.1	Factors that Have a Direct Impact on Project Capital Cost	5

3.1.1	Feasibility Study Cost Variability	5

3.1.2	Capacity/Economies of Scale	6

3.1.3	Plant Availability	7

3.1.4	Equipment Cost and Technology Selection Factors	7

3.1.5	Cost of Land	9

3.1.6	Construction and Location/Installation Variables	9

3.1.7	Equipment Lifetime and Decommissioning Requirements	10

3.1.8	Impact Assessment and Permitting	10

3.2	Factors that Have a Direct Impact on Net Cost of Generating Electricity	11

3.2.1	Quality of Renewable Energy Resource and Capacity Factors	11

3.2.2	Operations and Maintenance	13

3.2.3	Fuel Costs	14

3.2.4	Transmission Costs	15

3.2.5	Financing Costs	15

3.2.6	Co-products and Co-benefits	16

3.2.7	Land Leases and Property Taxes	16

3.3	Factors that Have an Indirect Impact the Cost of Electricity	18

3.3.1	Capital Grants	18

3.3.2	Consumer Grants/Rebates	18

3.3.3	Corporate Tax Incentives	19

3.3.4	Production Tax Credits	19

3.3.5	Property Tax Exemptions	21

3.3.6	Sales Tax Rebates	21

3.3.7	Personal Income Tax Incentives	21

3.3.8	Loan Programs and Third Party Finance	21

3.3.9	Emissions Credits	22

3.3.10	Government RD&D Support Programs	22

4.0	Evolution of Renewable Electricity Generation Costs over Time	23

5.0	Renewable Electricity Costs	29

5.1	Wind	29

5.2	Photovoltaics	35

5.3	Biomass	42

5.4	Hydropower	47

5.5	Geothermal	52

6.0	References	58

# Background

The CEC is seeking to have an improved understanding of the factors that contribute to the great variation in individual renewable electricity technology cost data.  This variation exists in both the data for the cost of installed generating capacity and for the cost of production of electricity from renewable technologies.  The CEC is also interested in better understanding the reasons for the cost differential that exists between renewable electricity generation technologies.  Finally, the CEC is also interested in understanding why the cost data for some renewable technologies have varied significantly over time.

For the purpose of this study, the CEC is interested in the most commonly employed low impact renewable electricity technologies in North America.  These include:

- Wind power

- Solar photovoltaics

- Geothermal

- Small-scale hydropower

- Biomass derived electricity

In order to provide this understanding, the CEC hired the Delphi Group to document the present installed cost and generating cost of each renewable electricity type and the various factors that contribute to the great range of cost data that is typically cited for each type.  The Delphi Groups was also hired to provide an explanation of why the cost associated with some renewable electricity technologies has varied significantly over time.

More specifically, cost data to be documented will include both the capital and installation costs associated to the installation of actual capacity for generation, typically provided in $/W(capacity), and the production cost, which is the cost of producing electricity over the lifetime of a given project, typically provided in $/kWh. The main factors that affect these costs and that will be documented in this report include:

- Equipment/technology Options;

- Installation Requirements and Site Characteristics;

- Financing Terms;

- Project Renewable Resource Characteristics;

- Capacity Factors;

- Operating and Maintenance costs;

- Transmission and Grid Connection Requirements; and

- Government Policy Factors

These are all discussed in further detail in the following sections.

# Terminology

Before proceeding to the analysis of cost data for renewable electricity generation and generation technologies and the factors that influence them, several terminology distinctions or clarifications are appropriate.  These include the distinction between “cost” and “price” and the definition of capital costs, fixed costs, variable costs, installed capacity cost and electricity generating cost for the purpose of this study.

## Cost VS Price

Price typically refers to the amount paid by the consumer for a particular good or service.  This generally includes not only the cost of producing the good or the service but also the profit margin required by the seller to ensure the rate of return they desire.  Cost generally refers to all expenses incurred throughout the production of a particular good, in this case the generating plant or the electricity from this plant.  However, most cost data include price data, since most power project developers or power producers purchase materials and equipment at a price and not at cost.  Wherever possible, this report will focus on providing cost data for installed equipment capacity and for electricity generation, however, profit margins are inevitably included in cost data since equipment and services employed to design, build and operate renewable electricity generation facilities are always provided at a price (with profit built in) rather than at cost to a project developer.

Therefore, when referring to the cost of installed generating capacity, figures will be essentially the same as the price paid by the project developer for the purchase and construction of the generating facility.  The “price” of installed generating capacity would only come into play if the project developer was looking to sell the generating facility at a profit.  Similarly, wherever possible cost data for electricity produced from renewables will be based on capital, financing and operating and maintenance costs (which may include price data) to the project developer, whereas the electricity price would also include the mark-up of electricity for profit when the electricity is sold to a utility or and directly to an end user.

## Capital Costs

Capital costs are costs incurred on the purchase of land and equipment and installation and construction services to be used to reach the point of producing goods, in this case renewable electricity.  Capital cost also include feasibility studies, project design, permitting and legal costs incurred to reach the point of initial production.  In other words, capital costs represent the total cost needed to bring a project to a commercially operable status.

Capital costs do not include labor costs except for the labor used for feasibility analysis, project design and construction.  Typically, capital costs are one-time expenses, although payment may be spread out over many years depending on financing arrangements. Capital costs are generally fixed for a given unit of installed electricity generating capacity (i.e., they don’t change over the lifetime of the project), although they do vary from project to project based on equipment configurations and project site specifics.  Capital costs also do not vary depending on the actual level of electricity output occurring from a project. Capital costs can be tied to electricity plant capacity expansions, but these will not be a factor in the cost data reviewed in the present study [1].

## Operating and Maintenance Costs

Operating costs are the recurring expenses which are related to the operation of a business, or a device, component, piece of equipment or facility.  In the case of a renewable electricity generation project or business, it is the amount of resources used or cost incurred by an organization just to maintain existence. These costs include overhead costs, which can include the payment of rent on the office space a business occupies or lease for land on which a generating plant is sited, administrative employee wages, insurance costs, financing costs such as interest or other financing charges, taxes, equipment depreciation etc., depending on the renewable electricity project. They also include non-overhead costs like supplies, such as biomass feedstocks used to create the electricity, and in some cases employee wages.

Operating costs generally fall into two broad categories:

- Fixed costs, which are the same whether the operation is closed, or running at 100% of capacity. Fixed costs are expenses whose total does not change in proportion to the activity of a business, within the relevant time period or scale of production. Fixed costs include, but are not limited to, overheads (rent, insurance, and such) and can include direct costs such as payroll (particularly salaries).

- Variable costs, which may increase depending on whether more production is done, and how it is done.  For electricity projects, the most significant variable cost is typically the cost of fuel, however, with the exception of biomass projects, fuel is free (in the form of geothermal energy, wind or the sun’s rays) for renewable electricity projects.

Because renewable electricity projects also entail the use of devices, components and pieces of equipment to make up overall generating facilities, maintenance costs must also be considered. Maintenance costs are incurred to keep equipment operating at an optimal level of performance. These costs included those associated with routine recurring work required to keep a facility (plant, building, structure, utility system, or other real property) in such condition that it may be continuously used, at its original or designed capacity and efficiency for its intended purpose.  These costs also include the corresponding administrative, managerial, and supervision costs associated with this work.  In the most simple production function, total operating and maintenance cost is equal to fixed costs plus variable costs plus maintenance costs.  [2–4].

## Installed Capacity Cost

The installed capacity cost, also sometimes referred to as the “overnight cost” for a renewable electricity project is typically represented as dollars per unit of installed power generating capacity ($/W).  This cost is calculated by totaling all capital costs incurred to bring the project to the point of production and dividing this total by the total installed rated capacity of electricity generating equipment.  The capital costs usually includes the following:

- Project feasibility studies;

- Engineering design;

- Impact assessment and permitting;

- Equipment procurement of fabrication;

- Site preparation (including site services and access roads);

- Plant construction and installation;

- Grid connection;

- Project management; and

- Commissioning and start-up [5, 6].

## Electricity Generating Cost

Each technology used to produce electricity has specific characteristics which can vary significantly from one to another. Among these characteristics: equipment cost, construction time, electrical output, lifetime and operation and maintenance requirements. Due to these differences it is very difficult to perform a comparison between different technologies by only considering one of those characteristics.  Furthermore, comparison of installed capacity costs alone can be misleading as some technologies have high initial capital costs but require very little operating and maintenance expenditures over their lifetime while other technologies demonstrate the reverse phenomenon.    Fossil fuel plants, for example, have some of the lowest up-front capital costs but incur significant maintenance and fuel costs for the entire life of the plant.  Conversely, photovoltaic projects entail high up-front capital costs but require minimal additional expenditures over their lifetime due to almost negligible operating and maintenance requirements.  In order to provide a better overall lifecycle comparison between technologies, the electricity generating cost is a more representative figure.

The electricity generating cost for a given project, which is also frequently referred to as the levelized cost of power production, is typically presented in dollars per unit of electricity produced ($/kWh).  The levelized cost of power production is the average cost of power production over the life of a power plant, taking into account all capital expenses and operating and maintenance costs.  It is determined by dividing the total life-cycle costs, usually in present dollar values, by the estimated amount of electricity, in kWh, the project will produce over its operating life [7, 8].

# Factors Affecting Renewable Electricity Costs

For the purpose of this study, two categories of cost impacting factors are discussed:

i)- factors that directly affect the cost of electricity produced; and

ii)- factors that indirectly affect the cost of electricity by reducing the perceived or effective cost to the project developer or owner.

Factors that directly affect the cost of electricity are factors that have a direct impact on the capital cost of a project (and as such the installed capacity cost and generating cost of a project) or the factors that have a direct impact on the operating cost of a project (and consequently the generating cost only).  Factors that indirectly affect the cost of renewable electricity are generally policy factors that lead to a reduction of the effective cost of various elements of a project.  These factors are further explained in the following subsections.

## Factors that Have a Direct Impact on Project Capital Cost

The following sub-sections discuss the factors that have a direct impact on project capital costs that can vary from project to project or depending on technology.

### Feasibility Study Cost Variability

Although feasibility studies typically do not represent a major cost relative to other capital costs associated with renewable electricity projects, they can be significant in some instances. Feasibility study requirements, and consequently cost for such studies, vary greatly from technology to technology.  They can also vary significantly between different projects using the same technology.  For renewable electricity projects, a significant factor affecting the cost feasibility studies is the existence and quality renewable resource data for a proposed project site.  Where no data exists or where data is of limited quality for a particular site, data must be collected and analyzed to the point of establishing the viability of developing an actual electricity generation project.  The cost of acquiring reliable data depends on the renewable energy resource and the technology being used to harness it.

The resource assessment requirements for a typical photovoltaic project are relatively simple for most projects as reasonably accurate (with 10-20% uncertainty) insolation data based on satellite data spanning several decades exists for all parts of the planet [9].  This means that the electricity generation potential for a proposed project site can be easily estimated using available resource data and photovoltaic module orientation guidelines, as long as the geographic location of the site is known.  Consequently, the cost of feasibility studies for photovoltaic projects can be essentially negligible compared to other capital costs.  Where large, utility scale projects are envisioned, project developers may seek to install relatively low cost pyronometers to measure the insolation rate at a specific site over a given period of time, typically a year [10].  However, due to the variations in cloud conditions that occur from year to year, this does not necessarily lead to more reliable data than that provided in existing resource databases.

For wind, geothermal and hydropower projects, reliable resource assessment becomes significantly more complicated and expensive.  Although wind resource maps exist for many parts of the world, including most of North America (with the exception of a few parts of Mexico [9]), this data does not always reflect the micro geographic features of a particular site and are not reliable enough to be relied on to project the precise revenue projection requirements needed for utility scale wind projects.  For this reason, most large scale wind projects require at least a years worth of wind characterization to satisfy project financers.  The cost of such characterization can vary significantly depending on the size of the proposed project and the surface area of the site, the geography of the site, site accessibility and the actual duration of the characterization.  Typical onsite characterizations can range in cost from ~US$25,000 to greater than US$150,000.  For smaller wind projects (<100 kW), detailed resource characterization is generally not economical.

The viability of each potential hydropower project is site specific. The power output depends on flow of water and the height of the drop of the available water at a particular site. Conversely, the amount of electricity that can be generated at a particular site depends on the quantity of water available and the variability of flow throughout the year.  Although, some resource databases for specific potential hydropower sites do exist, detailed hydrological and topographic studies are usually required to satisfy most project financers.  Such studies can represent significant costs, which will depend on the exact characteristics of a given site [9, 11].   Similarly, despite the existence of geothermal resource maps for all of North America, costly drilling of exploratory steam field wells is necessary to establish the business case for each geothermal electricity project [12].  Biomass generation project resource assessments are typically expected to be consistent, relative to project scale, from one project to another

### Capacity/Economies of Scale

All renewable electricity technologies benefit from economies of scale in various ways.  Generally, the larger the installation the more power generation capacity there is to amortize the various capital costs over.  Take the example of a geothermal electricity plant, where the planning costs related to exploratory drilling, resource assessment and plant design do not vary significantly with the scale of the geothermal plant to be installed.  This means that these costs can be more rapidly recouped with a larger capacity project, and consequently yield a lower lifecycle cost for electricity generation ($/kWh) and a lower installed capacity cost ($/kW). Furthermore, any project that has financial transaction costs can recoup these costs faster if they are spread over more kilowatt-hours with a larger project.  This can also hold true with operating and maintenance costs.  A larger project will almost always have smaller operations and maintenance costs per kilowatt-hour because of various cost efficiencies than can be leveraged, such as management, maintenance equipment, monitoring etc. [13].

The economies of scale phenomenon can be clearly illustrated taking the example of two wind farms with significantly different installed capacities.  Assuming the same average wind speed of 8 m/sec and identical wind turbine sizes, a 3–MW wind project delivers electricity at a cost of $0.059 per kWh and a 51-MW project delivers electricity at $0.036 per kWh – a drop in costs of $0.023, or nearly 40%.

Figure 3.1 – Electricity cost difference between a 3 MW and 51 MW wind farm (Source: [13])

Economies of scale can also directly result from the purchase of larger capacity equipment, as the construction labour and design costs remain relatively constant regardless of the capacity of a given power technology, such as a steam turbine or a hydro turbine, or do not vary proportionately to the equipment size. The increased size of parts and amount of materials used does, however, contribute to some increase in system cost. Nonetheless, the design and labour cost savings translate to lower installed capacity costs and consequently lower levelized power generation costs.

For example, looking again at wind technology, as you move from a 150 kW wind turbine to a 600 kW turbine, prices will roughly triple, rather than quadruple.  The reason is that there are economies of scale, e.g. the amount of manpower involved in building a 150 kW machine is not very different from what is required to build a 600 kW machine and the safety features and the amount of electronics required to run a small or a large machine is roughly the same [14].

When dealing with installations of modular systems, such as wind turbines and photovoltaics, where standard units are simply repeated to meet installed capacity goals and optimized power generation for a particular project site, economies of scale are also available as a result of the repeatability of manufacturing each individual module and the reduced sales and marketing expenditures required by equipment vendors when selling many units versus just a few.  These economies are usually manifested in preferred pricing for large orders versus single unit or small volume orders.

Taking photovoltaic installations for example, the installed capacity and the levelized electricity generation cost for a 2 kW residential photovoltaic systems is typically roughly double these same costs for a 500 kW utility scale system in the same sun conditions.  A portion of this difference is due to the difference in cost per Watt for a small order of photovoltaic panels compared to a large order.  To put this into perspective, an individual solar cell (~2.3 W) can sell for as high as $5.50 per Watt (peak) compared to a large order of solar cells (500 kW) which can sell at less than $2 per Watt (peak) [6, 15].

### Plant Availability

Plant availability, along with the quality of the renewable resource (discussed below) dictate how much of the installed capacity of a plant can actually be used and consequently how much electricity can be produced from a plant assuming a constant supply of fuel.  The higher the availability of generating equipment, the more power can be produced.  The more power produced, the greater the potential revenues, or displacement of cost of electricity from other sources, and the more rapidly capital and operating and maintenance costs can be repaid.

Plant availability essentially depends on the amount of shut-down time required over a given time period to maintain equipment.  The lower the availability, the more a system will be offline for maintenance. Within a technology, availability factors can vary slightly from vendor to vendor but they are generally close for competitiveness reasons.  However, availability can vary significantly between technologies.  A photovoltaic plant, for example, requires essentially no shut-down time for maintenance, and consequently has an availability factor of nearly 100%.  Hydropower plants also have capacity factors that approach 100%.

Better wind turbine manufacturers are able to achieve availability factors of 98%.  However, since wind turbines only operate when the wind blows, the 2% downtime is not significant [14].  Geothermal plants typically have availability factors of 90-95% and bioenergy plants typically have availability factors ranging from 70-95% depending on the technology and fuel used [16 - 18].

### Equipment Cost and Technology Selection Factors

For a particular application of a given technology at a specific site, equipment costs are generally very competitive between vendors of the same technology and little cost variation exists between reputable suppliers.  When cost differences do exist, they are typically as the result of a performance compromise and are offset by increased costs elsewhere in a given project.  For example, one vendor may offer equipment at a lower cost, but also with a lower warranty period, meaning that an increased risk and potential cost is added at the end of the shorter warranty period.  Vendors may also offer lower prices on equipment with lower efficiencies, but this will lead to the increase of other lifecycle costs such as increased fuel requirements for biomass systems, increased drilling requirements for geothermal plants, increased water diversion or storage for hydro projects and increased land or surface area requirements for photovoltaic and wind projects to achieve the same output.

Equipment cost can, however, vary significant from project to project as a result of the characteristics of each site.  Hydro turbines and wind turbines used in environments prone to freezing and icing issues will require extra features, and hence additional costs, to deal with these factors.  Similarly, an off-grid photovoltaic system will require costly battery back-up equipment while, a grid-connected system can avoid this cost altogether.

For geothermal projects, landscape visual pollution constraints may vary from project to project, meaning that in some cases steam released in plumes from wet cooling towers at plants will be acceptable while in others air-cooled condensers are required to eliminate any visible landscape impact from a project.  Both of these approaches represent significantly different capital outlays [19].

Depending on the nature of the biomass feedstock for a given biomass electricity project, equipment costs can vary significantly.  For example some feedstocks may require chipping, pelletizing, drying or long term storage for their effective use in combustion equipment.  Equipment for each of these activities represents a cost that may not exist in other biomass electricity projects.  Furthermore, where a suitable heat load exists at a project site, an additional cost can be incurred to install heat capture and transfer equipment, the cost of which may not always be completely offset by displaced heating fuel costs.

In addition to equipment cost variations, characteristics of a renewable resource can affect technology choices which also have an impact on the project capital cost per unit of installed power capacity.  For wind, solar and hydro projects, these variations are very minimal, but for geothermal and biomass projects these technology variations can be much more significant.

In geothermal projects, steam plants are most cost effective when the resource steam in wells is available at a temperature above ~175 C.  In these plants steam can be directly expanded through a turbine to produce electricity.  However, because sites rich in steam such as this are rare, it is much more common for hot water from a geothermal resource to be flashed to steam by spraying it into a tank where its pressure is decreased.  This can occur in either a single or dual stage process.  Alternatively, lower temperature heat from the geothermal fluid can be transferred to a volatile working fluid (typically a hydrocarbon such as isobutane or isopentane) that vaporizes and is passed through a turbine.  Such plants are called “binary” because a secondary fluid is used in the actual power cycle.  These plants tend to have higher equipment costs than flash plants.  Because they transfer heat from the geothermal fluid and return all the geothermal fluid to the ground, they do not have condensed steam available as cooling water.  Thus, they must use a separate water source or air-cooled condensers to reduce turbine exhaust temperatures.  Each one of these geothermal configurations entails significantly different costs, and consequently contribute to different levelized generating costs [19].

The great variability of bioenergy resources combined with the broad range of technical approaches to harnessing bioenergy contributes to a great variation in biomass electricity generating costs.  Process routes for converting biomass into electricity include direct combustion, gasification, anaerobic digestion and pyrolysis. Direct combustion generally is a well established and relatively low cost technology that involves burning biomass directly to produce heat to produce steam to drive a turbine for electricity generation.  Initial costs of a direct wood biomass energy system are generally 50% greater than that of a fossil fuel system, but this is mainly due to more complex fuel handling and storage system requirements.

Anaerobic digestion involves decomposition of waste streams such as manure or municipal solid waste in the absence of oxygen to produce a combustible gas similar to natural gas which can be used to drive an a turbine or internal combustion engine generator.  Although the actual generating technologies used in such systems are well established and have relatively low costs, manure handling and digesting equipment can add a significant cost which can be offset by economies of scale in larger projects.

Pyrolysis is a thermo-chemical process used to convert solid biomass to liquid and solid fuels that can be more easily stored, transported and burned than solid wood wastes.  Although not yet fully commercialized, these systems are used to convert biomass streams in remote location or in locations where electricity is not required to fuels that can be easily transported to sites where electricity generation can be done using conventional turbine technology modified to use pyrolysis product fuels in more commercially viable environments.  Little cost data is available on pyrolysis systems to date but they are only expected to be competitive in applications where feedstock are free or have a negative value due to disposal liabilities.

Finally, gasification technologies convert forestry, agricultural and municipal residues into syngas (similar to natural gas, but lower in energy content), which once cleaned and conditioned, can be burned in gas turbines and gas-powered engines to produce electricity [20-22].  Although more expensive than direct combustion of biomass, these systems can improve emissions performance.  Each of these biomass technologies represents different capital and operating and maintenance costs, but can be the only economically competitive option depending on the biomass resource and project location.

### Cost of Land

Where land is not leased, the cost of purchasing land on which electricity generating facilities will be sited can vary drastically depending on the region and several other factors.  Land costs can vary according to perceived value, which generally depends on proximity to urban centers, accessibility, esthetic value, ownership or perceived value of natural resources on land.  The land cost circumstances for every renewable electricity project can therefore vary significantly [23].

### Construction and Location/Installation Variables

Specific construction and installation requirements, and related capital costs can vary significantly from one renewable electricity project to another, even within applications of the same technology.  Accessibility can be a major factor affecting construction and installations costs for a project.  Generally, the more remote and difficult to access the project site, the higher the installation costs.  This most frequently occurs with geothermal, hydro and wind projects, where, by nature, ideal renewable resources are often located in very difficult terrain.  Geothermal resources are typically most promising in mountainous areas, unexploited hydro resources are typically in remote locations, away from populated areas, and ideal wind sites are often in areas of high topographic variations or in remote costal locations.  Although some potential sites may be accessible by existing roads, in many cases land has to be cleared and access roads have to be specifically constructed for the purpose of reaching a development site and erecting a facility.  Construction of access roads can be costly especially since they must be able to withstand significant heavy equipment transit and hauling of large volumes of construction material, such as concrete for foundations or dams, mobile crane equipment, steel piping, drillers, turbines, etc. The cost of roads depends on soil conditions, land cover and a variety of other factors. Furthermore, the longer the access road required, the costlier it becomes.  In some cases, land leases or access fees must be paid for some parts of access roads if they cross property not owned by the project developer.  Overall travel distances to sites from regions of source labour and materials can also differ substantially from project to project.

Distance to power transmission infrastructure capable of handling project power outputs and power conditioning requirements can also vary significantly from project to project.  Where projects are especially remote, distance to existing transmission infrastructure and the costs associated to installing connection lines can be enough on its own to make a project uneconomic. In many cases, easement rights for lines crossing non-owned land can require an additional cost outlay.  Furthermore, depending on the output voltage of a power facility, a transformer may be necessary to convert the low voltage current to 10-30 kV current suitable for most local electrical grids.  The cost of such equipment can vary significantly with size and suitability to local conditions.

Materials requirements can also differ from site to site, concrete requirements for wind turbine foundations, for example, can depend on soil conditions, terrain, tower height, turbine size and wind conditions.  Regional construction labour and civil and electromechanical engineering costs can also vary significantly from jurisdiction to jurisdiction. Furthermore, construction time requirements, and consequently overall labour costs, can also differ drastically from one site or jurisdiction to another. [23-27].

### Equipment Lifetime and Decommissioning Requirements

Equipment lifetimes and retrofit/replacement schedules partially define the total amount of electricity that can be produced from a project.  Equipment from different vendors can have different warranty periods, and consequently different expected lifetimes.  Furthermore, different technologies have different lifetimes.  Hydro plants for example have lifetimes that can exceed 50-year, with the exception of the occasional turbine replacement, if properly constructed and maintained.  Photovoltaics, which have minimal moving part, have warranties of 20 years in many cases and have demonstrated lifetimes of 30 years in certain conditions, although some power loss is expected over their lifetime.  Biomass electricity system turbines and wind turbines typically have shorter expected lifetimes due to their substantial moving parts and the consequent inevitable wear and breakdown of turbine components.  The lifetime of a geothermal plant can greatly depend on the lifetime of the geothermal well resource and how well it is managed.  Decommissioning and disposal costs can also vary from technology to technology. Photovoltaics contain several hazardous materials that can represent an environmental liability if not properly disposed of, while wind turbines must be fully decommissioned and dismantled when they have completed their useful lifetime.

### Impact Assessment and Permitting

Different technologies have different environmental impact assessment and permitting requirements.  For example, photovoltaic installations typically have minimal environmental assessment requirements, due to the fact that they have no moving parts, can be integrated into existing building structures and pose essentially no risk to human health or wildlife.  They do however require some permits related to building codes and electrical connections.

Conversely, wind turbines can have impacts on bird populations if placed in bird migration pathways and can produce unacceptable levels of noise if wind farms are not properly designed.  Wind farm developers are therefore required to conduct environmental impact assessments to identify and minimize these risks, the cost of which can vary depending on the size and location of the project. Permits are also required for wind farm development which can entail further cash outlays including the cost of gaining land use and zoning approval from local and/or state or provincial authorities that regulate such projects. These costs vary widely and often include significant fees for lawyers, public affairs/lobbyists, and engineers involved in the effort to gain community approval.  Where opposition to proposed wind projects is high, such as in more populated areas or in areas close to summer homes or holiday residences, this process can become especially costly.

Similarly environmental assessment of fish habitat impacts for small hydropower projects, air emissions impacts for biomass electricity projects and landscape visual pollution for geothermal projects are required and represent varying costs depending on the project location.  Where these projects are close to populated areas, community opposition can also come into play.

## Factors that Have a Direct Impact on Net Cost of Generating Electricity

Generally, there is no such thing as a single levelized cost for electricity from renewables; rather there are ranges of costs.  There are numerous factors that dictate the levelized cost of electricity from renewables, all of which can vary significantly from one project to another.  The following provides a summary of the factors that affect the cost of renewable electricity by affecting operating and maintenance costs.

### Quality of Renewable Energy Resource and Capacity Factors

For all electricity generating technologies, the availability of fuel is essential to produce electricity.  With renewable technologies the quality and characteristics of the renewable energy resource at or close to project site define the amount of fuel available for electricity generation on an annual basis and when it can be used.  The amount of fuel available has a huge impact on the net cost of generating electricity for all technologies, but the added factor of when or how often the fuel is available can have a particularly significant impact on costs for some renewable technologies as well.

Actual costs per kWh for renewables depend on the number of kWh of electricity actually produced. The capacity factor of a power plant is the ratio of the actual output of a power plant over a period of time and its output if it had operated at full capacity over that time period. This is calculated by totaling the electricity the plant produced and dividing it by how much electricity it would have produced at full capacity [28]. This is a particularly important issue when considering photovoltaics, wind power and some small-scale hydropower projects.  In these cases, the plant may be available to produce electricity, but its fuel, wind, sunlight or water, may not be available or enough of the fuel may not be available to allow the plant to operate at full capacity.

The power available from the wind is a function of the cube of the wind speed.  Average annual wind speed at a project site is therefore the most critical factor in determining the amount of electricity that can be produced from a particular set of equipment.   Wind speed varies widely from one geographic location to another, with coastal and near shore locations and areas with large variations in topography being especially promising.  Wind also varies with the time of day and the time of year, with stronger wind tending to occur at night and in colder months [26]. The capacity factors for wind generators depend almost entirely on the regional wind resource.  For cost-effective projects, a capacity factor of ~ 30% is usually desired [14].

With all other things being equal, a turbine at a site with 5 m/sec winds will produce nearly twice as much power as a turbine at a location where the wind averages 4 m/sec [13, 29]. In terms of cost of generation, the relationship is straight forward: if you produce twice as much electricity per year, with the same equipment, you essentially pay half the cost per kWh, assuming that maintenance cost do not increase significantly with increasing use [14].  The following figure illustrates the cost of wind electricity for varying wind speeds assuming all other factors are constant.

Figure 3.2 – Cost of Wind Electricity Generation at Different Average Wind Speeds (Source: [13])

The capacity factor of a photovoltaic system depends mainly on two things: first the solar conditions at the project site, and second, the orientation of the system. For the latter, most photovoltaic systems are optimally oriented towards the sun (usually oriented toward the equator wherever possible), but in some cases where equator-oriented walls or roofs are not available, a compromise must be made.  Photovoltaic technology is already the most expensive electricity generation option, so non-optimal orientations would not be expected to be economically competitive without substantial subsidies.

In terms of solar conditions at a given site, these also vary dramatically from location to location and depending on the time of year, typically with conditions improving as sites approach the equator.  Direct sun exposure can range from over 6 hours per day in some locations and be lower than 2.5 hours per day in others.   In order to translate, kWpeak (the standardized measure of power output for solar modules assuming ideal solar conditions) to kWh (a measure which takes account of solar conditions), an adjustment for the actual location of the solar panel is generally necessary in order to estimate how much sunlight would be expected to fall on a system of known size for a given location over the period of a year.   Some simple examples of variations in power output depending on geographic location are that a 1 kWpeak system will produce approximately:

- 1800 kWh/year in Southern California

- 850 kWh/year in Northern Germany

- 1600-2000 kWh in India and Australia [30].

Power output from hydropower projects depends on flow of water available and the height of the drop of the available water. The amount of electricity that can be generated also depends on the quantity of water available and the variability of flow throughout the year.  Flow variations occur as a result of seasonal and temporal changes in precipitation for the drainage basin feeding a particular hydropower site.  In the case of storage dam projects, a plant's production may also be affected by requirements to keep the stored water reserve levels from getting too high or low and to provide water for fish downstream [28].

Geothermal and biomass generation projects generally deal with resources that are continuously available, assuming a project is appropriately designed, and hence have capacity factors approaching 100%.  As long as a viable fuel source is available, such projects will only be limited by the capacity and availability factors their power equipment is rated for and will generally not be affected by temporal factors. That being said, for geothermal projects, the heat content of a geothermal reservoir will gradually decrease/decline over time, but this should be minimized for the planned life of the project if an appropriate water re-injection strategy is employed.  Similarly, if a steady stream of biomass feedstock is not secured from the duration of a biomass generation project, the capacity factor issue may come into play, if production rate is reduced or interrupted.

### Operations and Maintenance

Aside from the requirement to replace some of the supporting power conditioning components over their lifetime, operating and maintenance costs are essentially negligible for photovoltaic systems.  This is consistent for virtually all photovoltaic installations.   Operating and maintenance costs for hydroelectric facilities are also quite low, especially with ever increasing automation features which are allowing the management of remote hydropower projects from central locations.  Operating and maintenance costs generally vary according to the age of hydropower plants, with older plants having higher expenses.  If the river on which a hydropower installation is sited has a heavy sediment load, higher costs can result from special attention and extra maintenance requirements [24].

Wind turbines typically need servicing and inspection once every six months to ensure that they remain in a safe state of operation.  Component failures and accidents (such as lightning strikes) may occasionally disable wind turbines, brining about the requirement for further maintenance work [14].  Typically newer generations of turbines have relatively lower repair and maintenance costs than the older generations [31].  Older turbines (25-150 kW) have annual maintenance costs with an average of around 3 percent of the original turbine investment.  Newer turbines are on average substantially larger, which would tend to lower maintenance costs per kW of installed power (you do not need to service a large, modern machine more often than a small one).  For newer machines the estimates range around 1.5 to 2 percent per year of the original turbine investment, depending on accessibility and the size of turbines and wind farms.

Geothermal power plant operating and maintenance costs range from $0.015 to $0.045 per KWh, depending on how often the plant runs. Geothermal plants typically run more than 90% of the time. They can be run up to 97–98% of the time, but this increases maintenance costs. High run times are most commonly found when contractual agreements pay high prices for power. Higher-priced electricity justifies running the plant at high-capacity factors because the resulting higher maintenance costs are recovered. Table 3.1 provides geothermal operating and maintenance cost by plant size. Large plants tend to have lower operating and maintenance costs due to economies of scale.

Table 3.1 - Geothermal Operating and Maintenance Costs 
by Plants Size (U.S. cents/kWh) (Source: [12])

| Cost Component | Small Plants (<5 MW) | Medium (5-30 MW) | Large Plants (>30 MW) |
| --- | --- | --- | --- |
| Steam Fields | 0.35 – 0.7 | 0.25 – 0.35 | 0.15 – 0.25 |
| Power Plants | 0.45 – 0.7 | 0.35 – 0.45 | 0.25 – 0.45 |
| Total | 0.8 – 1.4 | 0.6 – 0.8 | 0.4 – 0.7 |

For biomass electricity projects, the most important variable affecting operating costs from one project to another is the cost of the biomass used as fuel.  This is discussed in further detail in the following sub-section.

### Fuel Costs

For wind, photovoltaic, hydroelectric and geothermal systems, fuel is essentially free once a plant is installed.  For biomass projects, the cost of fuel defines economic competitiveness.  Cost for biomass feedstocks can range from free, or even negative values in cases that involve waste streams with high disposal costs, to significantly higher when feedstocks must be grown, harvested, processed or transported to end-use sites [32].  Types of biomass feedstock used for electricity generation include:

- Agricultural residues which are generated after each harvesting cycle of commodity crops. A portion of the remaining stalks and biomass material left on the ground can be collected and used for electricity generation purposes. Wheat straw and corn stover generally make up the majority of available crop residues.

- Energy crops are produced solely or primarily for use as feedstocks in electricity generation processes. Energy crops includes hybrid poplar, hybrid willow, and switchgrass, which are typically grown on idled or in pasture lands.

- Forestry residues are the biomass material remaining in forests that have been harvested for timber. Timber harvesting operations do not extract all biomass material, because only timber of certain quality is usable for processing into end products by facilities. Therefore, the residual material after a timber harvest is potentially available for electricity generation purposes. Forestry residues are composed of logging residues, rough rotten salvageable dead wood, and excess small pole trees.

- Urban wood waste/mill residues are waste woods from manufacturing operations that would otherwise be landfilled. The urban wood waste/mill residue category includes primary mill residues and urban wood such as pallets, construction waste, and demolition debris, which are not otherwise used.  These streams can be particularly economical since they generally exist close to urban centers with established transmission infrastructure and represent a negative disposal cost.

- Landfill gas is produced from organic waste disposed of in landfills. The waste is covered and compressed mechanically and by the pressure of higher levels. As conditions become anaerobic the organic waste is broken down and landfill gas is produced. This gas builds up and can be used to drive an electric turbine.

- Agricultural manure and biological solids are streams of biomass that can be converted into biogas which can in turn be used to drive a steam turbine or an internal combustion engine to produce electricity.  Manure can be collected from dairy farms, feedlots, pig farms and poultry farms.  Waste biological solids are produced at waste water treatment facilities and food processing plants.  Conversion of these wastes into combustible biogas occurs in anaerobic digesters, which present several key advantages beyond production of electricity including a reduction of waste volume, destruction of parasites and harmful organisms, and creation of high value fertilizer streams.

The characteristics and economics of harnessing each of these feedstock streams for power generation vary significantly, not only from stream to stream, but also from project to project.  The cost of each fuel is defined by production, collection/harvesting, processing, transportation, storage, and in some cases, fuel handling requirements.  Production costs can be especially high when dealing with dedicated energy crops and can vary drastically from one project to another. Variations stem from differences in the cost of agricultural land, soil conditions and climate and annual crop yields. Processing costs can also vary depending on the biomass stream.  For example forestry residues may require chipping to be usable in combustion equipment and manure and biosolids require anaerobic digesters for production of biogas.    Where biomass feedstocks are by-products of other processes, such as forestry residues, manure and biosolids streams, crop residues and landfill gas, project economics can be significantly improved as long as electricity generation projects can be sited close to these streams and still have easy grid access.  If not sited close enough, transportation costs alone can render projects uneconomical. Energy density of fuels can also affect the net transportation cost per delivered kWh of electricity.  The amount of biomass available within a practical transporting distance generally determines the viable size of a biomass electricity generating project.  The following figures can provide some context of the costs associated with some biomass streams.

- For forestry-produced biomass, the cost can range from US$0.5 to 3 per million Btu, with economically successful projects paying less than $1.5 per million Btu

- Urban wood waste and mill residues are often available at $1 per million Btu or less.  However, the cost of collecting urban wood waste and mill residues can range from $0-8 per wet ton for mill residues and from $10-14 per ton for urban residues. [32]

- Burnable municipal solid waste (MSW) is usually landfilled for a fee.  Thus, it has a negative fuel price.  However, plant operators must process MSW to eliminate toxics and generally need to install emissions control equipment, both of which can drive up costs of power generation.

- Studies have shown that transporting giant round bales of switchgrass costs $4.50 to $13.5 per dry tonne ($0.29 to $0.87 per million Btu) for distances of less than 50 miles [33]

- Costs of landfill gas are less variable: these plants can typically produce electricity at 6 to 8 cents per kWh. Larger landfills are often required to install gas recovery systems - making the marginal cost of the energy recovery system the appropriate consideration for determining electricity production costs. Costs of energy recovery systems alone are typically about 5 cents per kWh [34-36].

### Transmission Costs

Transmission and market access constraints can significantly affect the cost of renewable electricity, especially with intermittent technologies such as wind and solar.  Significant connections fees and annual transmission fees are required for photovotaic projects in many jurisdictions, regardless of the size of the system.  Wind can be especially challenging because of its inherent unpredictability.  Deviations from schedule can be penalized in certain jurisdictions without regard to whether they increase or decrease system costs. Furthermore, interconnection procedures are not standardized, and utilities have on occasion imposed such difficult and burdensome requirement on wind plants for connection to transmission lines that wind companies have chosen to build their own lines instead.  These issues can contribute to significant variations in the cost of wind electricity from one project to another or one jurisdiction to another. Such issues are less significant with hydropower, geothermal and biomass projects [14] because they can provide baseload power and are typically fairly large scale.

### Financing Costs

Financing terms are a critical factor for all renewable electricity generation technologies.  Different project developer categories will have access to different finance options, which translates to different financing costs.  For example, a typical 50 MW wind farm that could deliver power at 5 cents/kWh, if financed by a wind developer through financial institutions, could generate electricity at 3.5 cents/kWh if the wind developer had access to the financing terms available to investor-owned utilities when they own wind projects.  The main reason for this is that utility project developers have access to lower interest financing through access to funds from bond-style investments from investors [29].

When financing projects through financial institutions or private investors, interest rates are significantly higher.  Utilities usually have access to financing at interest rates of roughly 7.5% compared to 9.5% for a developer and longer debt payment periods (20 years compared to 12 for developers).  Utilities also don’t have a debt service coverage ratio (DSCR) requirement.  The DSCR is a mechanism by which a lender reduces risk of default on a loan be requiring that a wind project generate enough cash each year to exceed loan repayments.  Typically, this results in a smaller loan than would be most advantageous to the developer.  Financing costs can be especially high for small photovoltaic installations.

In order to offset the higher interest rates that are usually required for renewable projects compared to traditional gas or other utility generation projects, several economic instruments can be employed.  These include low-cost government loans, loan guarantee programs, and interest-rate buy-downs, all of which are discussed in the following section.  [29].

In addition, although wind turbine technology has steadily progressed to a point where its reliability is today comparable to that of other electricity generation technologies, it is still regarded as "novel" and "risky" by many members of the North American financial community (most U.S. projects are still financed by European-based lenders). Lenders therefore offer less favorable financing terms and demand a higher return on investment than for more “conventional” energy sources [14].

### Co-products and Co-benefits

Because biomass generation produces electricity by combustion, the possibility exists to use heat (or steam) not captured by the generator for process or space heating applications.  This is commonly referred to as co-generation or combined heat and power (CHP).  The key economic driver for developing a CHP project is the presence of a heat load onsite or within a close distance to the biomass generation project.  If heat can be produced at a cost that is competitive with heating alternatives, typically from fossil fuel, and a steady heat requirement exists, a net cost saving, or profit from the sale of heat, can be credited to the project and serve to offset the cost of electricity production.  The magnitude of the cost saving differs from project to project, from negligible to significant depending on how much heat can be economically used and the cost of fuel being displaced by the CHP system [21].

Other renewables generally do not have co-product opportunities, although some co-benefits may exist.  For example, emission credits from displaced greenhouse gas or criteria air contaminant emissions reductions can translate to an increased value for renewable electricity projects that can offset costs and accelerate investment payback periods.  Emission credit opportunities vary significantly from jurisdiction to jurisdiction, as does the value for these credits.  Hydropower can provide further co-benefits such as facilitating irrigation, providing flood control, providing water supply and facilitating navigation.  The cost impacts of such co-benefits are, however, difficult to quantify [24]

### Land Leases and Property Taxes

As with the cost of purchasing land, land leases can vary drastically from one jurisdiction to another.  Lease rates vary with the perceived value for land.  This value typically varies with proximity to urban centers, accessibility, esthetic value, ownership and perceived value of natural resources on land.  The circumstances for every renewable electricity project can therefore vary significantly. As an example, land lease costs for small hydropower projects have been known to range from roughly $1,500 per MW of capacity to alleged offers as high as $15,000 per MW. Some are fixed payments and some vary with the amount of electricity produced [24].

Rates of taxation of renewable electricity projects also vary drastically from one jurisdiction to another, most notably at the municipal level.  In Canada for example, municipalities in all provinces levy property taxes to raise additional revenues to cover the cost of local government services, with the intent to allocate these costs across all taxpayers, based on wealth as measured by the assessed value of property owned. There are two fundamental activities related to property taxes – assessment and taxation. Property assessment is simply the process of assigning a dollar value to a property for taxation purposes. This value is then used to calculate the amount of taxes that will be charged to the owner of a property. Taxation is the process of applying a local tax rate to a property’s assessed value to determine the taxes payable by the owner of a property.

Value attributed to renewable electricity projects differs from province to province and tax rates are different for every municipality.  This means that renewable power projects are taxed differently in every municipality.  This can be illustrated by the fact that the annual municipal rate of taxation for a 20 MW wind farm in Canada can range from almost US$ 400,000 in certain parts of Alberta to just US$ 50,000 in certain parts of Ontario [37].

## Factors that Have an Indirect Impact the Cost of Electricity

Factors that have an indirect impact on the cost of renewable electricity mainly refer to the various government policies and economic instruments available for off-setting the increased cost of renewable electricity generation.  These policies and economic instruments include: capital grants, consumer grants and rebates, corporate tax incentives, production tax credits, property tax incentives, sales tax rebates, third party finance and low interest loans, emission reduction credits and research and development incentives.  These factors are seen as indirect because they do not immediately impact the initial capital outlay or reduce operating expenses and are generally not included in cost analysis data developed by groups such as the Energy Information Agency or public utilities.  They do, however, allow a project developer to recoup a portion of these costs after they are incurred through rebates or tax incentives.  These recouped costs can have several after investment impacts of the economics of a project, which include:

- Reduced taxation and increased net profit

- Increased revenues

- Reduced debt financing requirements

- Accelerated repayment of debt and reduced financing charges

All of these impacts translate to reduced investment payback periods, and over the lifetime of the project, reduced levelized electricity generating costs.  All of the policies and economic instruments relevant to renewable electricity projects and employed in North America are discussed in greater detail in the following sub-sections.

### Capital Grants

With capital grants, a percentage of the investment cost in renewable electricity technology and equipment purchase and installation is covered by government-financed schemes directed towards commercial electricity suppliers.     In North America, several states and provinces in the United States and Canada offer a variety of grant programs to encourage the use and development of renewable electricity technologies. Most programs offer support for a broad range of renewable electricity technologies, while some focus on promoting one particular type of renewable electricity such as wind technology or photovoltaics.  These grants are typically primarily available to the commercial, industrial, utility, education, and government sectors.  Programs vary in the amount offered--from $500 to $1,000,000 and some do not set any limits [38, 39].

### Consumer Grants/Rebates

Similar to capital grants, consumer grants and rebates allow for a percentage of the investment costs in renewable electricity equipment purchase and installation to be covered by government-financed schemes directed towards end-users of electricity (residents and businesses).  Such programs are offered both at the state level and also at the local municipal level or directly from utility providers and are usually targeted at small scale installations of photovoltaics and in some cases small wind turbines [38, 39].

### Corporate Tax Incentives

Tax Credits

Corporate tax incentives allow corporations to receive credits or deductions ranging from 10% to 35% against the cost of renewable electricity project planning, equipment or installation to promote their increased use. In some cases, the incentive decreases over time. These tax credits exists in both the US and Canada. In most cases, there is no maximum limit imposed on the amount of the deductible or credit [38, 39].

In Canada, the Canadian Renewable and Conservation Expense (CRCE) category of expenditure is intended to promote the development of conservation and renewable energy projects in the same way that is currently done for investments in other types of resource activities. Under CRCE, eligible expenditures are 100% deductible in the year they are incurred or can be carried forward indefinitely for deduction in later years. These credits can also be transferred to investors using flow-through shares. Eligible expenses typically include engineering and design, site clearing, feasibility studies, contract negotiations and regulatory approvals. For the wind industry, CRCE also includes the capital cost of "test wind turbines," which can constitute up to 20 per cent of the generating capacity in a wind farm [40, 41].

In the US, the permanent extension of the standard investment credit (Section 1916), provides a 10% investment credit for most solar and geothermal technologies. In addition, the Energy Tax Act is a program of tax credits for households and businesses that purchase renewable energy equipment.  Through this program, residential energy income tax credits for solar and wind energy equipment expenditures were set at 30% of the first $2 000 invested and 20% of the next $8 000.

The most important electricity sector incentive available in the US is 10% business energy tax credit for investments in various renewable energy technologies including solar, wind, and geothermal. This credit is in addition to the standard 10% investment tax credit previously mentioned. Public utility property was specifically excluded from eligibility for the tax credits that were to expire at the end of 1982. [42, 43]

Special Depreciation Rules

Shortened or “accelerated” depreciation tax rules exist in all three North American Countries.  In Canada, the federal Income Tax Act provides an accelerated capital cost allowance (30% capital cost allowance rate computed on a declining balance basis) for certain types of renewable energy equipment used to generate electricity or to produce thermal energy for direct use in an industrial process. A range of renewable energy conversion and energy efficiency equipment are eligible for inclusion, such as certain co-generation systems, small-scale hydropower installations, wind energy conversion equipment, certain photovoltaic and active solar heating equipment, and equipment used in certain landfill gas applications.

In the US, a five-year accelerated depreciation for renewable energy property (from a 150% to 200% declining balance method) is available.  This accelerated depreciation applies to "small power production facilities", which includes facilities that produce electricity at a capacity of 80 megawatts or less. Public utility property is also eligible for the accelerated depreciation [14, 26, 42 and 44].

In Mexico, investments in environmentally friendly technology, including renewable energy technology can benefit from accelerated depreciation.  Under the guidelines of this accelerate depreciation program, investors are thus allowed to deduct 100% of the investment after one year of operation, as long as the equipment operates for at least five years following the tax deduction declaration [45, 46].

### Production Tax Credits

In Canada and the US, private entities generating electricity from renewables that are normally subject to taxation are eligible for a federal production tax credit for the electricity they produce. Production tax credits are normally set as a price per kWh ($/kWh) [39]. Basing payments on performance rather than capital investments is seen as a more effective mechanism for ensuring quality projects are developed [38].

In Canada, the Wind Power Production Incentive (WPPI) was designed to provide financial support for the installation of 1,000 megawatts of new capacity between April 2002 and March 2007. The incentive was intended to cover approximately half of the current cost of the premium for wind electricity in Canada compared to conventional sources.  As of June 2006 almost 1000 MW had been supported by WPPI, signifying that the majority of financial resources designated to the program had been deployed to projects.

As the program’s success became evident and the targets began to appear in reach, interest groups began pressuring the federal government to extend WPPI. Consequently, Budget 2005 provided $200 million over 5 years and a total of $920 million over 15 years to expand the Wind Power Production Incentive target to 4,000 MW.  Under the new tranche of the incentive and as with the original terms of the program, an incentive payment of 1 cent per kilowatt-hour of production for the first 10 years of operation would be made to eligible projects commissioned before April 1, 2010. The eligible production per project would be determined by Natural Resources Canada [47].

In addition to WPPI, in Budget 2005, the federal government announced a Renewable Power Production Incentive (RPPI) to stimulate the installation of up to 1,500 MW of new renewable electricity generating capacity, other than wind (small hydro, biomass and geothermal). RPPI’s application to solar energy was never fully formalized.  Similarly to WPPI, an incentive payment of 1 cent per kWh of production would be awarded for the first 10 years of operation of eligible renewable energy projects commissioned after March 31, 2006 and before April 1, 2011. Budget 2005 provided $97 million over five years and a total of $886 million over 15 years for the RPPI.

Both the RPPI and WPPI programs were suspended until further evaluation in early 2006. On January 19th, 2007, a replacement program, entitled the ecoENERGY for Renewable Power program and similar to the original programs, was announced by the federal government that essentially combined both the RPPI and WPPI programs into a smaller funding envelope [48-50]

In the US, the Renewable Electricity Production Credit (REPC), also commonly referred to as the Production Tax Credit (PCT), is a per kilowatt-hour ($/kWh) tax credit for electricity generated by qualified energy resources. Enacted as part of the Energy Policy Act of 1992, the credit expired at the end of 2001, and was subsequently extended in March 2002 as part of the Job Creation and Worker Assistance Act of 2002. The tax credit then expired again at the end of 2003 and was not renewed until October 4, 2004, when it was extended through to December 31, 2005. Subsequently, the Energy Policy Act of 2005 modified the credit and extended it through to December 31, 2007.  Finally, in December 2006, the credit was extended for yet another year, through to December 31, 2008.

Eligible electricity generation technologies under the REPC presently include geothermal energy, biomass energy facilities, including open-loop biomass systems (facilities that use agricultural livestock waste nutrients), small irrigation power, landfill gas, municipal solid waste combustion and wind energy. The Energy Policy Act of 2005 (EPAct 2005) further expanded the credit to certain hydropower facilities, but removed solar facilities from the list of eligible projects.

The original REPC provided a tax credit of 1.5 cents/kWh, adjusted annually for inflation, for wind, closed-loop biomass and geothermal. The inflation adjusted credit amount for projects in 2007 is roughly 2 cents/kWh. Electricity from open-loop biomass, small irrigation hydroelectric, landfill gas, municipal solid waste resources, and hydropower currently receive 1.0 cent/kWh.  The duration of the credit is generally 10 years. However, open-loop biomass, geothermal, small irrigation hydro, landfill gas, and municipal solid waste combustion facilities placed into service after are eligible for the credit for only a five-year period [14, 26, 38, 44, 51].

### Property Tax Exemptions

The majority of the property tax provisions for renewable energy follow a simple model that provides the added value of the renewable device is not included in the valuation of the property for taxation purposes. Property taxes are collected locally, so some states allow the local authorities the option of providing a property tax incentive for renewable energy devices. In the US, six states have such provisions: Connecticut, Iowa, Maryland, New Hampshire, Vermont, and Virginia. Property tax incentives can also take the form of exemptions to owners from paying all or a portion of their taxes on properties using renewable energies, therefore reducing their tax payments.  This is, however, less common  [26, 38, 39].

### Sales Tax Rebates

Sales tax incentives typically provide an exemption from the state or provincial sales tax for the cost of renewable energy equipment. Several provinces and states in North America have enacted such measures, mainly for solar technologies [38, 39].

### Personal Income Tax Incentives

Many states offer personal income tax credits or deductions to cover the expense of purchasing and installing renewable energy equipment. Some states offer personal income tax credits up to a certain percentage or predetermined dollar amount for the cost or installation or renewable energy equipment. Allowable credit may be limited to a certain number of years following the purchase or installation or renewable energy equipment. Eligible technologies may include photovoltaic energy systems, geothermal energy, wind energy, biomass, hydroelectric, and alternative fuel technologies [38, 39].

### Loan Programs and Third Party Finance

Loan programs offer financing for the purchase of renewable energy equipment. Low-interest or no-interest loans for energy efficiency are a very common strategy for demand-side management by utilities. However several state governments also offer loans to assist in the purchase of renewable energy equipment. A broad range of renewable energy technologies are eligible. In many states, loans are available to residential, commercial, industrial, transportation, public, and nonprofit sectors. Repayment schedules vary; while most are determined on an individual project basis, some offer a 7-10 year loan term.

As an example in the US, the Oregon Department of Energy makes low-interest loans for projects that produce electricity from renewable resources, that conserve energy resources or that use recycled materials to create products. The Small Scale Energy Loan Program (SELP) is a self-supporting loan program funded by the sale of Oregon general obligation bonds.  Borrowers can use loan funds to pay most direct energy project costs and related project costs such as engineering and design, permit fees, loan fees and project management costs. Most Oregonians, Oregon businesses, non-profit organizations, state agencies, schools, cities, counties, special districts, state public corporations and federal agencies are eligible [44].

In Canada for example, the government established two complementary funds to stimulate investment in innovative municipal infrastructure projects and environmental practices, including renewable electricity development, for Canadian municipal governments and their public and private sector partners. The government is essentially providing CAN$ 250 million to encourage projects and studies in communities. These funds include the Green Municipal Investment Fund (GMIF) which has a total budget of CAN$ 200 million.
 
GMIF supports the implementation of innovative environmental projects. Through GMIF, a municipal government can borrow at preferred interest rates of 1.5% below the Bank of Canada bond rate. Project partners are also eligible for loans at attractive rates [52, 53].

### Emissions Credits

Several jurisdiction offer government regulated or voluntary incentives programs to reduce emissions such as sulfur dioxide (SO2) or carbon dioxide (CO2). Through typical emissions programs, utilities or industries may receive emissions credits or allowance for each tonne of SO2 or CO2 avoided through internal efficiency or renewable electricity projects or purchase such credits or allowances from independent renewable electricity projects that have been credited for their projects.  This creates a new value stream for renewable electricity project developers, as long as project emission reductions are recognized by the allowance or credit program authority and a customer for credits or allowances exists [44].

Although emissions credits do not directly affect the cost of producing electricity from renewable resources, they do create a new revenue stream for the renewable electricity producers and can allow them to price electricity more competitively relative to traditional power sources.  Furthermore, the revenues from emissions reductions can reduce payback periods and increases the profitability of a renewable electricity project.

### Government RD&D Support Programs

Several jurisdictions have research support program and schemes aimed at the technological advancement of renewable electricity technologies. These include grant programs or foundations for supporting pure research, demonstration activities or commercialization activities related to renewable electricity technologies. These initiatives can also include publicly funded projects such as education schemes or demonstration sites to create awareness about the opportunities and benefits of renewable electricity installations.  Contributions from such programs can lead to reduced research and development cost amortization periods for technologies entering the market and consequently lower initial technology costs to renewable electricity project developers.

An example of such a foundation in Canada is Sustainable Development Technology Canada (SDTC).  The objective of this foundation is to stimulate the development and demonstration of Canadian technologies related to climate change, clean air, water quality and soil through partial funding of eligible projects. Eligible recipients are partnerships that include the private sector and academic and non-governmental organizations. Eligible projects are aimed at advancing the development and demonstration of new sustainable technologies, many of which are renewable electricity technologies [54, 55].

Similarly in the US, a bill passed in 1999, provides funding for research and development specifically targeted at advanced photovoltaic devices.  Research areas covered under the bill include thin films, high-performance devices, silicon materials, characterization techniques, and other innovative concepts [56].

# Evolution of Renewable Electricity Generation Costs over Time

In principal, there are essentially three generations of renewable electricity technologies if we consider technology development over the last 120 years.  First generation technologies emerged from the industrial revolution at the end of the 19th century and include hydropower, biomass combustion and geothermal plants.  Biomass combustion technologies and geothermal technologies generally use steam turbines to generate electricity.  For smaller scale applications, internal combustion engines are used to generate electricity from biomass.  Steam turbine and internal combustion engines are very mature and well established technologies for which only very minor cost improvements relating to the use of advanced materials and efficiency improvements have occurred over their recent history.  Hence, capital costs and electricity generating costs for these technologies has not changed significantly with reference to other conventional fossil fuel and nuclear based platforms over the years.  The main cost drivers for these technologies are presently related to fuel – as fossil fuels become more expensive and face more and more environmental barriers, the business case for biomass and geothermal resource fuels is becoming increasingly well established [57].

Similarly, hydropower turbines are also a very well established technology with a track record spanning more than a century.  Hydro projects, when appropriately sited have been economical for many years and even represent the lowest cost electricity available in many jurisdictions. Improvements in automation and improved turbine designs have lead to improved power production and operating and maintenance cost performance in recent years, but these gains have been relatively small [24, 57]. Therefore, unlike photovoltaics and wind turbines, the costs of biomass, hydro and geothermal electricity are not on a steep technology-driven downward curve due to their technical maturity.

Photovoltaics and wind turbines are considered to be a part of the second generation renewable technologies.  Second generation technologies are only recently starting to be broadly commercialized as a result of research, development and demonstration efforts which started in the late seventies.  The initial investment in these technologies was prompted by energy security concerns linked to the oil price crises of that time period, but the continued focus on these technologies was mainly due to their potential environmental benefits.  Third generation technologies include concentrating solar power and ocean energy, but these are not the focus of this paper since they are still generally considered to be in the research, development and demonstration phase [57].

Several factors have led to the significant reduction in cost of wind and photovoltaic technologies over the past three decades.  For wind turbines, factors have mainly been economies of scale through increased turbine sizes, manufacturing efficiencies and advanced materials solutions, improved turbine efficiencies and increasing turbine heights.  For photovoltaics, these factors have mainly been improved solar cell efficiencies stemming from a variety of manufacturing process innovations, manufacturing economies of scale and efficiencies, more efficient use of silicon feedstock material (still the largest cost component of solar modules) and the advent of lower cost photovoltaic substrates.

The most significant changes in wind technology in the global wind industry are related to the ever increasing size of individual turbines (see Figure 4.1 below).   The size of new installed turbines has increased 100 fold from 50 kW in the early 1980s to 5 MW today [58]. This increase in size has led to increased economies of scale as siting, construction and engineering costs have been proportionately reduced for every unit of wind power capacity installed.

Figure 4.1 – Evolution of large wind turbine scale [58]

Furthermore, the taller the turbine tower and the larger the area swept by the blades, the more powerful and productive the turbine. The swept area of a turbine rotor (a circle) is a function of the square of the blade length (the circle’s radius). The following table shows how a relatively modern 1.65-MW turbine generates 120 times the electricity at just 20 times the cost of an older 25kW-turbine:

Table XX – Evolution of Wind Turbine Costs and Capacity from 1981 to 2000 (Source: [14])

|  | 1981 | 2000 |
| --- | --- | --- |
| Rated Capacity | 25 kW | 1,650 kW |
| Rotor Diameter | 10 meters | 71 meters |
| Total Cost (US$000) | US$ 65 | US$ 1,300 |
| Cost per kW | US$ 2,600 | US$ 790 |
| Output, kWh/year | 45,000 | 5.6 million |

In addition to the increase in area swept by the larger turbine diameter, the increased height of modern turbines also leads to significant power output gains since wind becomes increasingly strong with increasing height. As a result of the trend towards larger turbines, the average capacity of turbines installed in Germany and Denmark increased from approximately 200 kW in 1990 to almost 1.5 MW during 2002. Turbines in the 1.5 to 2.5 MW range have more than doubled their share of the global market - from 16.9% in 2001 to 35.3% in 2003.

Advances in electronic monitoring and controls, blade design, and other features have also contributed to a drop in cost. The mixture of taller turbines, improved components and better siting has resulted in an overall efficiency increase of 2 - 3% annually over the last 15 years [59].

In recent years, a slight temporary increase in turbine prices occurred as a result of increasing steel costs (caused by the sudden increase in fossil fuel prices), and a general shortage of large scale turbine manufacturing capacity to meet demand.  However, the importance of the turbine supply issue is expected to diminish as supply catches up with demand in the next few years.

As previously stated, cost reductions in photovoltaic technology have primarily resulted from improved solar cell efficiencies, manufacturing process innovations, manufacturing economies of scale, more efficient use of silicon and the advent of lower cost photovoltaic substrates.  Efficiency improvements have resulted from several major technology breakthroughs, such as the use of solar cell surface texturization and anti-reflection coatings to improve light absorption and the use of shallower diode junctions and back surface fields to improve separation and capture of charge carriers.  These improvements have all led to significant increases in power output density.  In fact, efficiencies for commercially produced crystalline silicon solar cells have increased by nearly 100 % in the past ten years.  Improvements in efficiency have also translated to the use of less costly high-purity silicon for a given power output.  Furthermore, improvements in automation and silicon wafer handling have allowed manufacturers to use thinner and thinner wafers, providing further reductions in silicon use [60].  The development of improved slicing technologies have also facilitated the use of less silicon per solar cell.

Manufacturing economies of scale have occurred as a result of the ever increasing size of silicon wafer and solar cell manufacturing plants.  The world’s largest solar cell producers have increased individual production levels from roughly 20 MWpeak annually in the year 2000 to over 100 MWpeak annually in 2006.

Today, nearly 85% of the world PV cell and module production in 2004 was based on sliced mono- and polycrystalline silicon cells.  Prior to the year 2000, almost all solar cells were produced using high-purity monocrystalline silicon.  Although mono-crystalline silicon allows for the highest efficiencies in commercial production settings, it is also the most expensive substrate option.  At the turn of the century, polycrystalline silicon, which is significantly less costly to produce than monocrystalline silicon, began to be increasingly used in commercial production of solar cells as a result of process developments that virtually eliminated efficiency differences between mono- and polycrystalline solar cells. Multicrystalline silicon is now quickly becoming the preferred substrate in the industry.

In addition to multicrystalline silicon, several new plants are focusing on thin film (non-crystalline silicon) technologies to avoid the high cost of crystalline silicon altogether.  However, only 47MW of amorphous silicon (3.9% of the total global production capacity) is presently being produced and the balance (~11%) is primarily made up of other non-silicon compound semiconductor solar cells.  These technologies are expected to eventually present significant cost advantages over the crystalline silicon approach.    However, regardless of the notable increase in activity in thin film technology production, crystalline silicon technologies are expected to continue to make up the majority of the PV market over the next 5 to 10 years.  As a result, further cost reduction will still mainly depend on crystalline silicon solar cell technology improvements in the near term [61, 62].

In recent years, a slight reverse trend of increased photovoltaic costs and prices has occurred due to a shortage of high-purity crystalline silicon feedstock.  This shortage occurred as a result of the extremely rapid growth of the global photovoltaic market over the past five years and the parallel pick-up in activity in the semiconductor industry with which the solar industry competes for silicon.  These silicon supply issues are expected to continue until 2008-2009 when significant new solar grade silicon facilities are expected to come online internationally [62]. Figure 4.2 and Table 4.2 provide an illustration of the cost decrease in photovoltaic technology over the past 25 years for the world and the US, respectively.

Figure 4.2 – Evolution of Photovoltaic Global Production and Module Prices since 1975

(Source: [63])

| Table 4.2 - Photovoltaic Cell and Module Shipments by Type, Trade, and Prices, 1982-2004 (Source: [63]) |
| --- |
| Year | U.S. Companies Reporting Shipments | Shipments | Trade | Prices 1 |
|  |  | Crystalline Silicon | Thin-Film Silicon | Total 2 | Imports | Exports | Modules | Cells |
|  | Number | Peak Kilowatts | Dollars per Peak Watt |
| 1982 | 19 | NA | NA | 6,897 | NA | NA | NA | NA |
| 1983 | 18 | NA | NA | 12,620 | NA | 1,903 | NA | NA |
| 1984 | 23 | NA | NA | 9,912 | NA | 2,153 | NA | NA |
| 1985 | 15 | 5,461 | 303 | 5,769 | 285 | 1,670 | NA | NA |
| 1986 | 17 | 5,806 | 516 | 6,333 | 678 | 3,109 | NA | NA |
| 1987 | 17 | 5,613 | 1,230 | 6,850 | 921 | 3,821 | NA | NA |
| 1988 | 14 | 7,364 | 1,895 | 9,676 | 1,453 | 5,358 | NA | NA |
| 1989 | 17 | 10,747 | 1,628 | 12,825 | 826 | 7,363 | 5.14 | 3.08 |
| 1990 | 3 19 | 12,492 | 1,321 | 3 13,837 | 1,398 | 7,544 | 5.69 | 3.84 |
| 1991 | 23 | 14,205 | 723 | 14,939 | 2,059 | 8,905 | 6.12 | 4.08 |
| 1992 | 21 | 14,457 | 1,075 | 15,583 | 1,602 | 9,823 | 6.11 | 3.21 |
| 1993 | 19 | 20,146 | 782 | 20,951 | 1,767 | 14,814 | 5.24 | 5.23 |
| 1994 | 22 | 24,785 | 1,061 | 26,077 | 1,960 | 17,714 | 4.46 | 2.97 |
| 1995 | 24 | 29,740 | 1,266 | 31,059 | 1,337 | 19,871 | 4.56 | 2.53 |
| 1996 | 25 | 33,996 | 1,445 | 35,464 | 1,864 | 22,448 | 4.09 | 2.80 |
| 1997 | 21 | 44,314 | 1,886 | 46,354 | 1,853 | 33,793 | 4.16 | 2.78 |
| 1998 | 21 | 47,186 | 3,318 | 50,562 | 1,931 | 35,493 | 3.94 | 3.15 |
| 1999 | 19 | 73,461 | 3,269 | 76,787 | 4,784 | 55,562 | 3.62 | 2.32 |
| 2000 | 21 | 85,155 | 2,736 | 88,221 | 8,821 | 68,382 | 3.46 | 2.40 |
| 2001 | 19 | 84,651 | 12,541 | 97,666 | 10,204 | 61,356 | 3.42 | 2.46 |
| 2002 | 19 | 104,123 | 7,396 | 112,090 | 7,297 | 66,778 | 3.74 | 2.12 |
| 2003 | 20 | R 97,940 | 10,966 | 109,357 | 9,731 | 60,693 | 3.17 | 1.86 |
| 2004P | 19 | 159,138 | 21,978 | 181,116 | 47,703 | 102,770 | 2.93 | 1.92 |
| 1Prices, in nominal dollars, equal shipment value divided by quantity shipped. Value includes charges for advertising and warranties. Excluded are excise taxes and the cost of freight or transportation for the shipments. Note: Shipments data are for domestic and export shipments, and may include imports that subsequently were shipped to domestic or foreign customers. 2Includes all types of photovoltaic cells and modules (single-crystal silicon, cast silicon, ribbon silicon, thin-film silicon, and concentrator silicon). Excludes cells and modules for space and satellite applications. Web Page: For related information, see http://www.eia.doe.gov/fuelrenewable.html. 3Data were imputed for one nonrespondent who exited the industry during 1990. Sources: 1982-1992—Energy Information Administration (EIA), Solar Collector Manufacturing Activity, annual reports. 1993-2001—EIA, Renewable Energy Annual, annual reports. 2002 forward—EIA, Solar Thermal and Photovoltaic Collector Manufacturing Activities, annual reports. R=Revised. P=Preliminary. NA=Not available. |

# Renewable Electricity Costs

The following tables illustrate the range of electricity generation capacity costs and electricity generating costs for each renewable electricity technology and the extent to which various factors affect these costs.  These costs are based on the range of costs sited in various literature sources (a listing of which is provided for each technology).   Capacity costs include all feasibility study, design, planning and engineering, equipment, shipping/transport, construction and installation and grid connection costs. Generating costs include all capital, operating and maintenance costs.

## Wind

Table 5.5.1 – Installed Capacity Costs for Large Wind Power Facilities by Source

| Source | Capacity Cost (US$/kW)* | Year |
| --- | --- | --- |
| European Wind Energy Association | 1,166 to 1,490 1 | 2003 |
| American Wind Energy Association | 1000 2 | 2005 |
| Government of Alberta | 2,007 3 | 2006 |
| Industry Canada | 1305 4 | 2004 |
| Danish Wind Industry Association | 1000 5 | 2003 |
| Energy Information Administration | 1,167 6 | 2005 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.ewea.org/index.php?id=201 2 http://www.awea.org/pubs/factsheets/EconomicsOfWind-Feb2005.pdf 3 Economic Impact Analysis of Proposed Wind Development Projects in Southeast Alberta - CTRI, http://www.canwea.ca/images/uploads/File/Resources/Final_CRTI_EDA_report_23Nov06.pdf 4 http://strategis.ic.gc.ca/epic/site/rei-ier.nsf/vwapj/final_supply_chain_e.pdf/$file/final_supply_chain_e.pdf; 5 http://www.windpower.org/en/tour/econ/index.htm 6 Energy Information Administration/Assumptions to the Annual Energy Outlook 2006 |

Table 5.1.2 – Electricity Generating Costs for Large Wind Power Facilities by Source

| Source | Capacity Cost (US$/kWh)* | Year |
| --- | --- | --- |
| International Energy Agency | 0.05 - 0.15 1 | 2006 |
| European Wind Energy Association | 0.05 - 0.105 2 | 2003 |
| Puget Sound Energy | 0.076 - 0.106 3 | 2006 |
| BC Hydro | 0.06 - 0.077 4 | 2006 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.iea.org/Textbase/Papers/2006/renewable_factsheet.pdf 2http://www.ewea.org/fileadmin/ewea_documents/documents/publications/factsheets/factsheet_economy2.pdf 3 PSE - Resource Cost Comparison (BC Hydro Report on the F2006 CFT Process pp. 45-48) http://www.bchydro.com/rx_files/info/info48009.pdf 4 BC Hydro Report on the F2006 CFT Process pp. 45-48, http://www.bchydro.com/rx_files/info/info48009.pdf |

Table 5.1.3 – Summary Cost Ranges for Large Scale Wind Power

| Large Scale Wind Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 1,000 to 2,007 |
| Electricity Generation Cost Range (US$/kWh) | 0.05 to 0.15 |

Table 5.1.4 – Cost Variability Impacts for Large Scale Wind Power

| Impacting Factors | Cost Variability Impact | Reasoning |
| --- | --- | --- |
|  | Impact on Installed Capacity Cost | Impact on Electricity Generation Cost |  |
| Capital Cost Factors |  |  |  |
| Feasibility Study Cost Variability | Very low | Very low | Feasibility studies represent a very small fraction of the overall capital costs for typical large wind projects |
| Capacity/Economies of Scale | High | Medium | Significant economies of scale exist for purchase of larger wind turbines and multiple wind turbines, so impacts on capacity costs can be high. Impact on electricity generation cost is lower because actual power production will depend more heavily on the quality of the wind where the wind project is sited. |
| Plant Availability | Very low | Very low | Very little variation in plant availability exists from one equipment supplier to another. Furthermore, plant availability is less significant with wind power projects since it is the availability of wind and not equipment that defines costs of production. |
| Equipment Cost and Technology Selection Factors | Low | Very low | Some slight variations in equipment cost for a given power output can exist between turbines designed for cold environments where icing may occur compared to regular turbines. Any cost difference is expected to be minimal once amortized over the lifetime of the wind power project. |
| Cost of Land | Medium | Low | Where land is purchased for a wind project, land prices can vary significantly from one jurisdiction to another. Although such cost difference are notable when considering cost of installed capacity, they become far less important over the lifetime of the project and on the resulting electricity generation cost. |
| Construction and Location/Installation Variables | Medium | Low | Wind project site characteristics can have a significant impact on the construction and installation costs for a project. However, higher costs are usually counterbalanced by strong wind resources which justify increased relative costs. Although such cost differences are notable when considering cost of installed capacity, they also become far less important over the lifetime of the project and on the resulting electricity generation cost. |
| Equipment Lifetime and Decommissioning Requirements | Very low | Very low | Wind turbines generally have expected lifetimes of 20 years and little variation exists from one manufacture to another. |
| Impact Assessment and Permitting | Medium | Low | Permitting costs, as they pertains to community approval for wind farms can vary greatly from one proposed project to another. Where opposition is high, legal, public relations and lobbying costs can increase substantially. Although this can have a perceivable effect on the capacity cost for renewables, cost impacts are negligible over the total power production from a well planned wind farm. |
| Operating Cost Factors |  |  |  |
| Quality of Renewable Energy Resource and Capacity Factors | N/A | Very high | For a given installed capacity, average wind speed at a project site is the single most important factor in determining the power output for a site. The more power output by a generating project, the lower the effective operating costs per kWh produced. |
| Operations and Maintenance | N/A | Low | Direct operating costs are fairly consistent from one wind farm to another and any variation that occurs is generally the result of economies of scale for larger projects. Maintenance costs vary mostly with age of plants, with older plants requiring more. |
| Fuel Costs | N/A | N/A | Fuel is free for wind power projects. |
| Transmission Costs | N/A | High | Transmission costs can be exceedingly high in some jurisdictions where penalties are incurred in wind projects due to their inherent intermittency. |
| Financing Costs | N/A | High | Financing rates and terms available for utilities are significantly lower than those that are accessible to non-utility project developers. This can have a major cost impact over the lifetime of a project. |
| Co-products and Co-benefits | N/A | N/A | There are no co-products for wind power production. |
| Land Leases and Property Taxes | N/A | High | Municipal property tax rates and practices can vary drastically from one jurisdiction to another. |
| Policy Factors |  |  |  |
| Capital Grants | Medium | Low | Capital grants can help reduce initial capital investment for wind farms. However, due to the relatively small size of grants typically available for wind farm development, the impacts of grants are low over the lifetime of a typical wind farm project. |
| Consumer Grants/Rebates | N/A | N/A | These are typically not available for residential or small scale wind turbines due to their lower cost compared to other renewables such as photovoltaics. |
| Corporate Tax Incentives | High | High | Increased depreciation rates for wind power equipment can greatly reduce the tax burden on wind projects in the first years of their existence and allow for more rapid payback periods for initial investment and earlier debt retirement. Renewable project planning expense clauses in tax codes can also contribute to significantly lowered taxation. Consequently power production costs can vary drastically between regions with and without corporate tax incentives. |
| Production Tax Credits | N/A | High | Production tax credits help to offset the cost premium associated to wind power production compared to traditional sources of electricity. As with other tax incentives, production tax credits can lead to more rapid payback periods and reduced overall operating costs. Consequently net power production costs can vary significantly between regions with and without production tax credits. |
| Property Tax Exemptions | N/A | N/A |  |
| Sales Tax Rebates | N/A | N/A | Sales tax rebates are generally not available for large wind power equipment. |
| Personal Income Tax Incentives | N/A | N/A |  |
| Loan Programs and Third Party Finance | N/A | High | Where favorable interest rates are available through loan and 3rd party finance programs, lifetime financing costs can be greatly reduced for wind projects. |
| Emissions Credits | N/A | High | Where emissions credits are available, significant additional revenue streams for wind projects may exist, which can offset operating expenses. |
| Government RD&D Support Programs | Very low | Very low | Wind technology is heavily commercialized and very mature; therefore R&D costs have mostly been recovered for most wind turbine manufacturers. |

## Photovoltaics

Table 5.2.1 – Installed Capacity Costs for Photovoltaic Facilities by Source

| Source | Capacity Cost (US$/kW)* | Year |
| --- | --- | --- |
| Solarbuzz | 8,000 – 12,000 1 | 2007 |
| Energy Information Administration | 4,600 2 | 2005 |
| BP Solar UK | 9,745 – 19,490 3 | 2007 |
| San Francisco Environment | 9,500 4 | Not available |
| European Photovoltaic Industry Association and Greenpeace | 7,866 – 11,144 5 | 2004 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.solarbuzz.com/StatsCosts.htm (Based on systems ranging from residential with battery back-up to utility scale with no power storage). 2 Energy Information Administration/Assumptions to the Annual Energy Outlook 2006 (Based on average cost of all photovoltaic systems installed in the US). 3 http://www.bp.com/genericarticle.do?categoryId=3050426&contentId=3060054 (Assumes 5 kW system with variety of configurations and architectural features. This is the system price). 4 http://www.sfenvironment.com/aboutus/energy/solarsf/how_costs.htm (Average cost for jurisdiction). 5 Solar Generation – Solar Electricity for over 1 Billion People and 2 Million Jobs by 2020, European Photovoltaic Industry Association and Greenpeace, October, 2004, p.18. (Average installed cost for grid connected systems with no battery back-up and stand-alone systems with battery back-up) |

Table 5.2.2 – Electricity Generating Costs for Photovoltaic Facilities by Source

| Source | Capacity Cost (US$/kWh)* | Year |
| --- | --- | --- |
| Solarbuzz | 0.21 - 0.82 1 | 2007 |
| International Energy Agency | > 0.18 2 | 2006 |
| European Photovoltaic Industry Association and Greenpeace | 0.33 – 1.30 3 | 2004 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.solarbuzz.com/SolarIndices.htm (Based on systems ranging from residential with battery back-up to utility scale with no power storage and range of sun conditions). 2 http://www.iea.org/Textbase/Papers/2006/renewable_factsheet.pdf; 3 Solar Generation – Solar Electricity for over 1 Billion People and 2 Million Jobs by 2020, European Photovoltaic Industry Association and Greenpeace, October, 2004, p.18. (Average installed cost for grid connected systems with no battery back-up and stand-alone systems with battery back-up) |

Table 5.2.3 – Summary Cost Ranges for Photovoltaic Power

| Photovoltaic Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 4,600 – 19,500 |
| Electricity Generation Cost Range (US$/kWh) | >0.18 |

Table 5.2.4 – Cost Variability Impacts for Photovoltaic Power

| Impacting Factors | Cost Variability Impact | Reasoning |
| --- | --- | --- |
|  | Impact on Installed Capacity Cost | Impact on Electricity Generation Cost |  |
| Capital Cost Factors |  |  |  |
| Feasibility Study Cost Variability | Very low | Very low | Feasibility studies for photovoltaic installations are generally very straightforward and little variation in cost exists between installations of similar size. Some slight variation on a “per Watt installed” basis may occur between smaller and larger installations but this is typically offset by the increasing feasibility analysis rigor required for larger projects. |
| Capacity/Economies of Scale | Very high | High | Cost per Wpeak can very significantly from small photovoltaic installations to larger installations. Economies resulting from high volume orders and greater power generation output to amortize engineering and design costs over lead to lower installed cost for larger projects. Because the majority of lifecycle costs for photovoltaic installations are capital equipment costs this also has a large impact on the variability of actual generating costs for this technology. |
| Plant Availability | N/A | N/A | Photovoltaic systems have almost 100% availability. Electricity reduction for a given capacity is almost exclusively by the rate of insolation at a project site. |
| Equipment Cost and Technology Selection Factors | Medium | Low | Some slight variation exists between the cost of thin film technologies and crystalline silicon technologies which can cause variation in the cost per installed Watt. Furthermore, the need for battery back-up in critical power or off-grid applications can also cause some variation in installed capacity cost. Due to the long lifetime of photovoltaic systems, this has only a low variability impact on the cost of electricity production. |
| Cost of Land | Low | Very low | The cost of land is typically not a factor for photovoltaic installations since they are most commonly integrated in existing structures. In the case of very large installations, cost of land can be a slight variability factor. Cost of land is significantly lower than capital equipment costs for most photovoltaic installations meaning that the variability impact is very low on electricity generating costs. |
| Construction and Location/Installation Variables | Very low | Very low | Construction costs, regardless of location, are typically very low compared to equipment costs for photovoltaic systems. |
| Equipment Lifetime and Decommissioning Requirements | Very low | Very low | Photovoltaic systems have very long lifetimes and relative decommissioning costs are expected to be roughly the same regardless of the application. |
| Impact Assessment and Permitting | Very low | Very low | Photovoltaic systems have minimal impacts because they have no moving parts and emit no by-products. Therefore, any impact assessment and permitting requirements are generally low compared to other capital costs and are relatively consistent from one installation to another. |
| Operating Cost Factors |  |  |  |
| Quality of Renewable Energy Resource and Capacity Factors | N/A | Very high | The quality of the sun resource available at a given photovoltaic installation site is the single largest cause of variation for electricity generating cost. The availability of sunlight dictates the amount of electricity that can be generated over the lifetime of a given project. |
| Operations and Maintenance | N/A | Very low | Photovoltaic systems have minimal operating and maintenance costs over their lifetime compared to their capital costs. |
| Fuel Costs | N/A | N/A |  |
| Transmission Costs | N/A | High | Depending on the jurisdiction, significant variation can exist in the annual transmission charges for electricity produced by photovoltaic systems. Such charges typically have a larger net impact on smaller installations than large ones. |
| Financing Costs | N/A | Medium | Variations in the interest rates available for debt financing of photovoltaic installation projects can vary significantly from one jurisdiction to another. These rates can also vary significantly depending on the size of the installation. |
| Co-products and Co-benefits | N/A | N/A |  |
| Land Leases and Property Taxes | N/A | Low | Land lease and property taxation rates can vary significantly from one location to another, but these costs are relatively small over the lifetime of a typical photovoltaic installation compared to capital costs. |
| Policy Factors |  |  |  |
| Capital Grants | High | High | Because capital grants can have a significant impact on the net capital outlay for a photovoltaic installation, they can have a major impact on both the installed net capacity cost and the electricity generating costs. Any variation in the size of grants available from one jurisdiction to another will have a significant variability impact on capacity and generating costs. |
| Consumer Grants/Rebates | High | High | As with capital grants, consumer grants can have a significant impact on the net capital outlay for a photovoltaic installation. As such, they can have a major impact on both the installed capacity cost and the electricity generating costs. Any variation in the size of consumer grants available from one jurisdiction to another will have a significant variability impact on capacity and generating costs. |
| Corporate Tax Incentives | N/A | Medium | Accelerated depreciation and other corporate tax incentives can have a significant impact on the operating cost for a given photovoltaic installation. The variation in tax incentives available from one region to another therefore has a variability impact on the generating cost for photovoltaic installations. Because such tax incentives require purchase of equipment before they can be accessed, they are not considered to have an impact on the installed capacity cost of photovoltaic systems. |
| Production Tax Credits | N/A | Very low | Due to the very high generating costs typically associated to photovoltaic system, which result primarily from high equipment costs, the relatively low renewable electricity production incentives available in some regions has only a minor variability impact on generating cost for this technology. |
| Property Tax Exemptions | N/A | Low | Property taxation rates can vary significantly from one location to another, but these costs are relatively small over the lifetime of a typical photovoltaic installation compared to capital costs. |
| Sales Tax Rebates | Very low | Very low | Sales taxes represent only a very small fraction of the up-front equipment costs for photovoltaic systems. Therefore, the presence of such rebates in some jurisdictions only has a very low variability impact on installed capacity and generating costs. |
| Personal Income Tax Incentives | N/A | Medium | As with corporate tax incentives, personal income tax incentives can have a significant impact on the operating cost for a given photovoltaic installation. The variation in tax incentives available from one region to another therefore has a variability impact on the generating cost for photovoltaic installations. Because such tax incentives require purchase of equipment before they can be accessed, they are not considered to have an impact on the installed capacity cost of photovoltaic systems. |
| Loan Programs and Third Party Finance | N/A | Medium | Variations in the interest rates available from low interest loan programs or preferred third party financing for photovoltaic installation projects in some jurisdiction compared to others can create some significant variation in generating costs. |
| Emissions Credits | N/A | Low | In jurisdictions where emissions credits are available net generating costs could be seen as being reduced indirectly through the creation of an additional revenue stream. However, the value of the additional revenue stream would be expected to be low over the lifetime of a photovoltaic installation when compared to up-front capital costs. |
| Government RD&D Support Programs | Low (Potentially high) | Low (Potentially high) | Government R&D programs from around the world have led to significant cost decreases for photovoltaic equipment over the years. This has consequently led to variability in the installed cost, and resulting generating cost, of photovoltaic systems from year to year. |

## Biomass

Table 5.3.1 – Installed Capacity Costs for Biomass Electricity Facilities by Source

| Source | Capacity Cost (US$/kW)* | Year |
| --- | --- | --- |
| USDA Forest Products Laboratory | 2,000 1 | 2004 |
| Energy Information Administration | 1,659 2 | 2005 |
| Lahmeyer International | 1,300 – 1,800 3 | 2004 |
| Energy Information Administration/Biomass for Electricity Generation | 1300 - 1550 | 2000 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.fpl.fs.fed.us/documnts/techline/wood-biomass-for-energy.pdf 2 Energy Information Administration/Assumptions to the Annual Energy Outlook 2006.(Average cost from all biomass power generation in the US) 3 http://www.lahmeyer.de/publications/faltblatt-biomass-e.pdf (Cost range represents average cost for a 25 MW plant using traditional steam turbine and gasification technologies) 4 http://www.eia.doe.gov/oiaf/analysispaper/biomass/pdf/biomass.pdf (Range represents average cost for landfill gas projects and biomass integrated gasification and combined cycle plants) |

Table 5.3.2 – Electricity Generating Costs for Biomass Electricity Facilities by Source

| Source | Capacity Cost (US$/kWh)* | Year |
| --- | --- | --- |
| International Energy Agency | 0.035 – 0.155 1 | 2006 |
| Government of Oregon | 0.029 – 0.067 2 | N/A |
| USDA Forest Products Laboratory | 0.06 – 0.11 3 | 2004 |
| Renewable Energy Policy Project | 0.035 – 0.12 4 | 2001 |
| Lahmeyer International | 0.051 – 0.083 5 | 2004 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.iea.org/Textbase/Papers/2006/renewable_factsheet.pdf; 2http://www.oregon.gov/ENERGY/RENEW/Biomass/Cost.shtml 3 http://www.fpl.fs.fed.us/documnts/techline/wood-biomass-for-energy.pdf 4 http://www.crest.org/articles/static/1/1004994679_6.html#biof (Cost range includes landfill gas projects and direct combustion projects) 5http://www.lahmeyer.de/publications/faltblatt-biomass-e.pdf (Cost range represents average cost for a 25 MW plant using traditional steam turbine and gasification technologies) |

Table 5.3.3 – Summary Cost Ranges for Biomass Power

| Biomass Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 1,300 – 2,000 |
| Electricity Generation Cost Range (US$/kWh) | 0.035 – 0.155 |

Table 5.3.4 – Cost Variability Impacts for Biomass Power

| Impacting Factors | Cost Variability Impact | Reasoning |
| --- | --- | --- |
|  | Impact on Installed Capacity Cost | Impact on Electricity Generation Cost |  |
| Capital Cost Factors |  |  |  |
| Feasibility Study Cost Variability | Low | Low | Requirements for feasibility studies are typically fairly consistent from one biomass power project to another. Furthermore, these costs are low compared to equipment and construction costs. |
| Capacity/Economies of Scale | Medium | Low | Significant economies of scale exist for purchase of larger steam turbines or combustion engines, so impacts on capacity costs can be significant. Impact on electricity generation cost is lower because actual power production will depend more heavily on the cost of biomass feedstocks over the lifetime of the biomass power project. |
| Plant Availability | Medium | Low | Generally, the higher the plant availability, the higher the cost. Although a cost premium may be justified over the lifetime of a project, it can lead to a higher installed capacity cost. |
| Equipment Cost and Technology Selection Factors | High | Medium | Equipment costs on an installed capacity basis can vary significantly from one biomass conversion technology to another. |
| Cost of Land | Low | Low | The cost of land can vary drastically from one jurisdiction to another. However, land is typically only a minor cost relative to other capital costs. |
| Construction and Location/Installation Variables | Low | Low | Because exact siting of a biomass power installation is less critical than for wind, hydro and geothermal projects, location related construction and installation cost variability is generally less important for this technology. |
| Equipment Lifetime and Decommissioning Requirements | Low | Low | Equipment lifetime and decommissioning requirements are expected to be fairly consistent from one manufacture to another and from one technology to another. Therefore this is expected to be only a low variability factor for installed capacity and generating costs. |
| Impact Assessment and Permitting | Low | Low | Impact assessment and permitting requirements are expected to be fairly consistent from one jurisdiction to another and from one technology to another. Some slight variability can be expected based on the scale of the installation and the nature of the biomass stream to be used as project fuel. However, the cost associated to these activities are low relative to the overall equipment and construction costs for biomass power installations. |
| Operating Cost Factors |  |  |  |
| Quality of Renewable Energy Resource and Capacity Factors | N/A | High | Consistency of availability of biomass fuel can have a significant impact on the cost of biomass power generation. |
| Operations and Maintenance | N/A | Low | Operations and maintenance costs are generally fairly consistent from one jurisdiction to another. Some relative cost variability can occur based on scale of the biomass power installation. |
| Fuel Costs | N/A | Very high | Factors affecting biomass fuel costs, such as transportation distance and harvesting, preparation and storage requirements, can have drastic variability impacts on generating costs. |
| Transmission Costs | N/A | Low | Because biomass power projects are typically large scale, transmission related costs are typically small relative to other operating costs. As such, variation in these costs have minimal variability impacts on overall generating cost. |
| Financing Costs | N/A | Low | Financing costs for biomass power projects are expected to only vary slightly from one jurisdiction to another. |
| Co-products and Co-benefits | N/A | High | The presence of a market for co-product heat from biomass power installations can have a significant impact in terms of creating a new revenue stream or offsetting operating costs. |
| Land Leases and Property Taxes | N/A | Low | Land lease and property tax expenses are expected to be small relative to overall operating costs. As such, relative variability in these expenses from jurisdiction to jurisdiction will only slightly contribute to overall variability of biomass power generating costs. |
| Policy Factors |  |  |  |
| Capital Grants | Medium | Low | Capital grants can help reduce initial capital investment for biomass power projects. However, due to the relatively small size of grants typically available for generally large biomass power developments, the impacts of grants are low over the lifetime of a project. |
| Consumer Grants/Rebates | N/A | N/A | Due to the industrial scale of typical biomass power installations, consumer grants and rebates are not relevant. |
| Corporate Tax Incentives | Medium | Low | Increased depreciation rates for biomass power equipment can greatly reduce the tax burden on biomass projects in the first years of their existence and allow for more rapid payback periods for initial investment and earlier debt retirement. Renewable project planning expense clauses in tax codes can also contribute to significantly lowered taxation. Consequently power production costs can vary drastically between regions with and without corporate tax incentives. |
| Production Tax Credits | N/A | High | Production tax credits help to offset the cost premium associated to biomass power production compared to traditional sources of electricity. As with other tax incentives, production tax credits can lead to more rapid payback periods and offset overall operating costs. Consequently net power production costs can vary significantly between regions with and without production tax credits. |
| Property Tax Exemptions | N/A | N/A |  |
| Sales Tax Rebates | N/A | N/A |  |
| Personal Income Tax Incentives | N/A | N/A |  |
| Loan Programs and Third Party Finance | Low | Medium | Where favorable interest rates are available through loan and 3rd party finance programs, lifetime financing costs can be greatly reduced for biomass power projects. |
| Emissions Credits | N/A | High | Where emissions credits are available, significant additional revenue streams for biomass power projects may exist, which can offset operating expenses. |
| Government RD&D Support Programs | N/A | N/A |  |

## Hydropower

Table 5.4.1 – Installed Capacity Costs for Hydropower Facilities by Source

| Source | Capacity Cost (US$/kW)* | Year |
| --- | --- | --- |
| Hydro Research Foundation | 735 - 4,778 1 | 1993 |
| European Small Hydropower Association | 1,311 – 7,866 2 | 2004 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.hydrofoundation.org/research/faq.html#averageCost 2http://www.esha.be/fileadmin/esha_files/documents/publications/position_papers/ESHA_contributionDGTREN.pdf (Average capacity cost for 12 European jurisdictions) |

Table 5.4.2 – Electricity Generating Costs for Hydropower Facilities by Source

| Source | Capacity Cost (US$/kWh)* | Year |
| --- | --- | --- |
| International Energy Agency | 0.035 – 0.155 1 | 2006 |
| Hydro Research Foundation | 0.07 2 |  |
| European Small Hydropower Association | 0.026 -0.195 3 | 2003 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.iea.org/Textbase/Papers/2006/renewable_factsheet.pdf 2http://www.hydrofoundation.org/research/faq.html#averageCost 3 http://www.esha.be/index.php?id=43 (Based on average cost in six European jurisdictions) |

Table 5.4.3 – Summary Cost Ranges for Hydropower

| Hydropower |
| --- |
| Installed Capacity Cost Range (US$/kW) | 735 – 7,866 |
| Electricity Generation Cost Range (US$/kWh) | 0.026 – 0.195 |

Table 5.4.4 – Cost Variability Impacts for Hydropower

| Impacting Factors | Cost Variability Impact | Reasoning |
| --- | --- | --- |
|  | Impact on Installed Capacity Cost | Impact on Electricity Generation Cost |  |
| Capital Cost Factors |  |  |  |
| Feasibility Study Cost Variability | Medium | Low | Feasibility study costs can vary significantly depending on the existing hydrological data available for a given potential site. Where little data exist, significantly more cost must be incurred to create it. However, over the lifetime of a typical hydropower project, feasibility study costs are relatively low compared to overall lifecycle costs, especially for larger projects. |
| Capacity/Economies of Scale | Medium | Low | Some moderate scale related variations resulting from engineering, design and construction economies of scale can occur from one hydropower project to another. |
| Plant Availability | Very low | Very low | Hydro plants have very high plant availabilities and little variation exists from project to project. |
| Equipment Cost and Technology Selection Factors | Very low | Very low | Hydro turbine costs are generally very consistent regardless of the manufacturer or the region. |
| Cost of Land | Medium | Low | Where land is purchased for a hydropower project, land prices can vary significantly from one jurisdiction to another. Although such cost differences are notable when considering cost of installed capacity, they become far less important over the lifetime of the project and on the resulting electricity generation cost, especially when considering the extremely long lifetime of hydropower projects. |
| Construction and Location/Installation Variables | Very high | Very high | Accessibility and ease of construction can vary drastically from one hydropower site to another. |
| Equipment Lifetime and Decommissioning Requirements | Very low | Very low | Because hydropower equipment generally has extremely long lifetimes and hydro plants are generally retrofitted and modernized rather than being decommissioned, the costs factors do not play a significant role in installed capacity and generating costs from project to project. |
| Impact Assessment and Permitting | Medium | Low | Permitting, as it pertains to fish habitat impacts and other environmental impacts can vary greatly from one proposed project to another depending on project size, configuration and jurisdiction. Although this can have a perceivable effect on the capacity cost for hydropower projects, cost impacts are low over the total power production from a well planned installation. |
| Operating Cost Factors |  |  |  |
| Quality of Renewable Energy Resource and Capacity Factors | N/A | Very high | For a given installed capacity, average annual water run-off for a drainage basin related to a particular project site and the head of that run-off are the most important factors in determining the power output and hence generating cost. These factors vary drastically for every site. |
| Operations and Maintenance | N/A | Low | Operating and maintenance costs of very low for hydropower projects. Some slight variations exist between older and newer projects as a result of increasing levels of automation over time. |
| Fuel Costs | N/A | N/A |  |
| Transmission Costs | N/A | Low | Because hydropower projects are typically somewhat large in scale and provide baseload power, transmission related costs are typically small relative to other operating costs. As such, variation in these costs have minimal variability impact on overall generating cost. |
| Financing Costs | N/A | Very low | Because most hydropower projects in North America are developed by utilities, which have access to fairly consistent interest rates, little variation in financing costs exists from one hydropower project to another. |
| Co-products and Co-benefits | N/A | Very low | Hydropower can provide co-benefits such as facilitating irrigation, providing flood control, providing water supply and facilitating navigation. However, the cost benefits of such co-benefits are generally expected to be very low compared to the overall life-cycle costs for hydropower projects. |
| Land Leases and Property Taxes | N/A | Medium | Land lease and property tax expenses are expected to be small relative to overall operating costs. As such, relative variability in these expenses from jurisdiction to jurisdiction will only slightly contribute to overall variability of hydropower generating costs. |
| Policy Factors |  |  |  |
| Capital Grants | Medium | Low | Capital grants can help reduce initial capital investment for hydropower projects. However, due to the relatively small size of grants typically available for hydropower developments, the impacts of grants are low over the lifetime of a project. |
| Consumer Grants/Rebates | N/A | N/A | Due to the relatively large scale (>10 kW) of typical hydropower installations, consumer grants and rebates are not deemed to be relevant. |
| Corporate Tax Incentives | Medium | Medium | Increased depreciation rates for hydropower equipment can greatly reduce the tax burden on hydropower projects in the first years of their existence and allow for more rapid payback periods for initial investment and earlier debt retirement. Renewable project planning expense clauses in tax codes can also contribute to significantly lowered taxation. Consequently power production costs can vary drastically between regions with and without corporate tax incentives. |
| Production Tax Credits | N/A | High | Production tax credits help to offset the cost premium associated with small, low-impact hydropower production compared to traditional sources of electricity. As with other tax incentives, production tax credits can lead to more rapid payback periods and reduced overall operating costs. Consequently net power production costs can vary significantly between regions with and without production tax credits. |
| Property Tax Exemptions | N/A | N/A |  |
| Sales Tax Rebates | N/A | N/A |  |
| Personal Income Tax Incentives | N/A | N/A |  |
| Loan Programs and Third Party Finance | N/A | Low | Where favorable interest rates are available through loan and 3rd party finance programs, lifetime financing costs can be reduced for hydropower projects. |
| Emissions Credits | N/A | Medium (Potentially high) | Where emissions credits are available, significant additional revenue streams for hydropower projects may exist, which can offset operating expenses. |
| Government RD&D Support Programs | N/A | N/A |  |

## Geothermal

Table 5.5.1 – Installed Capacity Costs for Geothermal Facilities by Source

| Source | Capacity Cost (US$/kW)* | Year |
| --- | --- | --- |
| Renewable Energy Policy Project | 1,150 – 3,000 1 | 2003 |
| Energy Information Administration | 2,100 2 | 2005 |
| Renewable Energy Laboratory | 2,100 3 | 2000 |
| US Department of Energy | 2,500 – 5,000 4 | 2006 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.repp.org/geothermal/geothermal_brief_economics.html 2 Energy Information Administration/Assumptions to the Annual Energy Outlook 2006. 3 http://www.nrel.gov/geothermal/pdfs/28204.pdf 4 http://www1.eere.energy.gov/geothermal/faqs.html (Range is for large and small –scale plants) |

Table 5.5.2 – Electricity Generating Costs for Geothermal Facilities by Source

| Source | Capacity Cost (US$/kWh)* | Year |
| --- | --- | --- |
| International Energy Agency | 0.06 – 0.155 1 | 2006 |
| Renewable Energy Policy Project | 0.03 – 0.07 2 | 2003 |
| National Renewable Energy Laboratory | 0.05 – 0.10 3 | 2000 |
| US Department of Energy | 0.03 – 0.05 4 | 2006 |
| *Assumes exchange rates from 02/12/2006 |
| 1 http://www.iea.org/Textbase/Papers/2006/renewable_factsheet.pdf; 2http://www.repp.org/geothermal/geothermal_brief_economics.html 3 http://www.nrel.gov/geothermal/pdfs/28204.pdf 4 http://www1.eere.energy.gov/geothermal/faqs.html |

Table 5.5.3 – Summary Cost Ranges for Geothermal Power

| Geothermal Power |
| --- |
| Installed Capacity Cost Range (US$/kW) | 1,150 – 5,000 |
| Electricity Generation Cost Range (US$/kWh) | 0.03 – 0.155 |

Table 5.5.4 – Cost Variability Impacts for Geothermal Power

| Impacting Factors | Cost Variability Impact | Reasoning |
| --- | --- | --- |
|  | Impact on Installed Capacity Cost | Impact on Electricity Generation Cost |  |
| Capital Cost Factors |  |  |  |
| Feasibility Study Cost Variability | Very high | High | Feasibility study costs can vary drastically depending on site characteristics, such as depth of the geothermal resource, soil and geological characteristics above the resource, site accessibility and number of boreholes required to find an ideal heat/steam source. Because exploration and feasibility study costs can be a significant portion of the capital costs for a project, they can be an important variability factor in the overall installed capacity and generating costs. |
| Capacity/Economies of Scale | High | Medium | Some moderate cost variations resulting from engineering, design, construction and equipment economies of scale can occur from project to project. |
| Plant Availability | Very low | Very low | Geothermal steam turbine plants have very high plant availabilities and little variation typically exists from one manufacturer to another or from project to project. |
| Equipment Cost and Technology Selection Factors | Medium | Low | Steam turbine costs are generally very consistent regardless of the manufacturer or the region. Some significant capacity cost variations can occur as a result of variations in peripheral equipment requirements such as effluent steam treatment and steam generation equipment. |
| Cost of Land | Low | Low | Where land is purchased for a geothermal power project, land prices can vary somewhat from one jurisdiction to another. However, the most economically viable geothermal sites are all located in similar regions. Variations are generally not significant over the lifetime of the project and on the resulting electricity generation cost. |
| Construction and Location/Installation Variables | High | Medium | Accessibility and ease of construction can vary significantly from one geothermal site to another. |
| Equipment Lifetime and Decommissioning Requirements | Low | Very low | Equipment lifetime and decommissioning requirements are expected to be fairly consistent from one manufacture to another. Therefore this is expected to be only a low variability factor for installed capacity and generating costs. |
| Impact Assessment and Permitting | Low | Very low | Permitting requirements are expected to be fairly consistent from one geothermal installation to another. However, in some circumstances additional costs can be incurred when dealing with opposition to steam vapor trails from effluent stacks. This can contribute to some slight cost variability from one project to another. |
| Operating Cost Factors |  |  |  |
| Quality of Renewable Energy Resource and Capacity Factors | N/A | Very high | The quality of the geothermal resource, mainly its temperature and steam generating capacity are the most important factors affecting the cost of geothermal electricity generation. Because the geothermal resource available is different for every site, these factors contribute to significant generating cost variability. |
| Operations and Maintenance | N/A | High | Operations and maintenance costs are generally fairly consistent from one jurisdiction to another. Some relative cost variability can occur based on scale and configuration of the geothermal power installation. |
| Fuel Costs | N/A | N/A |  |
| Transmission Costs | N/A | Very low | Because geothermal power projects are typically fairly large in scale and provide baseload power, transmission related costs are typically small relative to other operating costs. As such, variations in these costs have minimal variability impact on overall generating cost. |
| Financing Costs | N/A | Very low | Financing costs for geothermal power projects are expected to only vary slightly from one jurisdiction to another. |
| Co-products and Co-benefits | N/A | N/A |  |
| Land Leases and Property Taxes | N/A | Very low | Land lease and property tax expenses are expected to be small relative to overall operating costs. As such, relative variability in these expenses from jurisdiction to jurisdiction will only slightly contribute to overall variability of geothermal power generating costs. |
| Policy Factors |  |  |  |
| Capital Grants | High | Medium | Capital grants can help reduce initial capital investment for geothermal power projects. However, due to the relatively small size of grants typically available for developments compared to the total capital cost for geothermal projects, the impacts of grants are low over the lifetime of a project. |
| Consumer Grants/Rebates | N/A | N/A | Due to the relatively large scale of typical geothermal power installations, consumer grants and rebates are not deemed to be relevant. |
| Corporate Tax Incentives | N/A | Medium | Increased depreciation rates for geothermal power equipment can greatly reduce the tax burden on geothermal projects in the first years of their existence and allow for more rapid payback periods for initial investment and earlier debt retirement. Renewable project planning expense clauses in tax codes can also contribute to significantly lowered taxation. Consequently power production costs can vary drastically between regions with and without corporate tax incentives. |
| Production Tax Credits | N/A | High | Production tax credits help to offset the cost premium associated to geothermal power production compared to traditional sources of electricity. As with other tax incentives, production tax credits can lead to more rapid payback periods and reduced overall operating costs. Consequently net power production costs can vary significantly between regions with and without production tax credits. |
| Property Tax Exemptions | N/A | N/A |  |
| Sales Tax Rebates | N/A | N/A |  |
| Personal Income Tax Incentives | N/A | N/A |  |
| Loan Programs and Third Party Finance | N/A | Medium | Where favorable interest rates are available through loan and 3rd party finance programs, lifetime financing costs can be reduced for geothermal power projects. |
| Emissions Credits | N/A | Medium (Potentially high) | Where emissions credits are available, significant additional revenue streams for geothermal power projects may exist, which can offset operating expenses. |
| Government RD&D Support Programs | Very low | Very low |  |

# References

1. Wikipedia, Capital Cost, http://en.wikipedia.org/wiki/Capital_cost, viewed 02/02/2007.

2. Wikipedia, Fixed Cost, http://en.wikipedia.org/wiki/Fixed_cost, viewed 02/02/2007.

3. Wikipedia, Operating Cost, http://en.wikipedia.org/wiki/Operating_cost, viewed 02/02/2007.

4. Wikipedia,  Maintenance Repair and Operation, http://en.wikipedia.org/wiki/Maintenance%2C_Repair_and_Operations, 02/02/2007.

5. Canadian Energy Research Institute, Levelized Unit Electricity Cost Comparison of Alternate Technologies for Baseload Generation in Ontario, http://www.ceri.ca/Publications/LUECReport.pdf, August, 2004, viewed, 02/02/2007.

6. Energy Information Administration, Assumptions to the Annual Energy Outlook 2006, http://www.eia.doe.gov/oiaf/aeo/assumption/pdf/0554(2006).pdf, viewed 02/02/2007.

7. Oregon -Renewable Resources, Micro Hydroelectric Systems, http://www.oregon.gov/ENERGY/RENEW/Hydro/Hydro_index.shtml#Financing, 02/02/2007.

8. G. Alonso et al, Economic Analysis of the Levelized Cost of Electricity Generation, Instituto  Nacional de Investigaciones Nucleares, http://www3.inspi.ufl.edu/icapp06/program/abstracts/6475.pdf, viewed 02/02/2007.

9. The Delphi Group for the Commission for Environmental Cooperation, Reviewing Gaps in Resource Mapping for Renewable Energy in North America, April 2006, http://www.cec.org/files/PDF/ECONOMY/RE-Gaps-Resource-Mapping_en.pdf, viewed 02/02/2007.

10. The Encyclopedia of Alternative Energy and Sustainable Living, Pyronometer, http://www.daviddarling.info/encyclopedia/P/AE_pyronometer.html, viewed 02/02/2007.

11. International Small-Hydro Atlas, Planning, Developing and Operating Small Hydro, http://www.small-hydro.com/index.cfm?fuseaction=planning.home, viewed 02/02/2007.

12. Renewable Energy Policy Project, Geothermal – Chapter 5: Economics, http://www.repp.org/geothermal/geothermal_brief_economics.html, viewed 02/02/2007.

13. American Wind Energy Association, The Economics of Wind Energy, http://www.awea.org/pubs/factsheets/EconomicsofWind-March2002.pdf, 02/02/2007.

14. Danish Wind Energy Association, Wind Energy Economics, http://www.windpower.org/en/tour/econ/economic.htm, viewed 02/02/2007.

15. Solarbuzz, Solar Electricity Global Benchmark Price Indices (February 2007 Survey Results), http://www.solarbuzz.com/SolarIndices.htm, 02/02/2007.

16. Bond, A.K., Is Biopower a Sustainable and Cost-effective Energy Choice?, http://www.colby.edu/personal/t/thtieten/Biopower.htm, viewed 02/02/2007.

17. Wikipedia, Availability Factor, http://en.wikipedia.org/wiki/Availability_factor, viewed 02/02/2007.

18  World Energy Council, Performance of Generating Plant 2001 – Renewable Energy Plant, http://www.worldenergy.org/wec-geis/publications/reports/pgp/renewable/performance./asp, viewed 02/02/2007.

19. Kutscher, C. F., The Status and Future of Geothermal Electric Power, National Renewable Energy Laboratory, June 2000, http://www.nrel.gov/geothermal/pdfs/28204.pdf, viewed 02/02/2007.

20. The Delphi Group for Human Resources and Social Development Canada, Situational Analysis of the Canadian Renewable Energy Sector with a Focus on Human Resource Issues, January 2007, pp. 7-32.

21. http://www.fpl.fs.fed.us/documents/techline/wood-biomass-for-energy.pdf, viewed 02/02/2007.

22. Oregon -Renewable Resources, Biomass Energy – Cost of Production, http://www.oregon.gov/ENERGY/RENEW/Biomass/Cost.shtml, viewed 02/02/2007.

23. www.geothermal/geothermal_brief_economics.html

24. International Energy Agency – Hydropower, Economic Risk and Sensitivity Analysis for Small-scale Hydropower Projects – IEA Technical Report, March 2000, http://www.small-hydro.com/view/library/documents/economic_risk_report2.pdf?CFID=16383479&CFTOKEN=68477652, viewed 02/02/2007.

25. Solarbuzz, Solar Electricity Index Methodology, http://www.solarbuzz.com/SolarIndicesCalc.htm, viewed 02/02/2007.

26. Minnesotans for Sustainability, The True Cost of Electricity from Wind Power, http://www.mnforsustain.org/windpower_schleede_costs_of_electricity.htm, viewed 02/02/2007.

27. Danish Wind Industry Association, Installation Costs for Wind Turbines, http://www.windpower.org/en/tour/econ/install.htm, viewed 02/02/2007.

28. Wikipedia, Capacity Factor, http://en.wikipedia.org/wiki/Capacity_factor, viewed 02/02/2007.

29. American Wind Energy Association, Resources – Cost, http://www.awea.org/faq/cost.html, viewed 01/17/2007

30. Solarbuzz, Photovoltaic Industry Statistics: Costs, http://www.solarbuzz.com/StatsCosts.htm, viewed 02/02/2007.

31. Danish Wind Industry Association, Operation and Maintenance Costs for Wind, http://www.windpower.org/en/tour/econ/oandm.htm, viewed 01/02/2007.

32. Renewable Energy Policy Project, Bioenergy – Cost of Bioenergy, http://www.repp.org/bioenergy/link5.htm, viewed 02/02/2007.

33. Energy Information Administration, Biomass for Electricity Generation, http://www.eia.doe.gov/oiaf/analysispaper/biomass/, viewed 02/02/2007.

34. Public Renewables Partnership, Biomass, http://www.repartners.org/biomass/biocosts.htm, viewed 02/02/2007.

35. FBi Forest BioPorducts Inc., An Assessment of the Viability of Exploring Bio-energy Resources Accessible to the Atikokan Generating Station in Northwestern Ontario, http://www.energy.gov.on.ca/english/pdf/electricity/Atikokan_report_2006.pdf, viewed 02/02/2007.

36. R. L. Graham et al., The Economics of Biomass Production in the United States, http://bioenergy.ornl.gov/papers/bioam95/graham3.html, viewed 01/02/2002.

37. Current Generation Inc. for the Canadian Wind Energy Association, Taxing Wind in Canada – Property Tax Assessment Policies and Practices in Canada, October 2005, http://www.canwea.ca/images/uploads/File/FINAL-Taxing_Wind_in_Canada.pdf, viewed 01/02/2007.

38. Database of State Incentives for Renewable & Efficiency, Glossary, http://www.dsireusa.org/glossary/glossary.cfm?&CurrentPageID=8&EE=1&RE=1, viewed 02/02/2007.

39. International Energy Agency, Global Renewable Energy Policies and Measures Database – Definitions of Policy Instruments, http://www.iea.org/textbase/pamsdb/policydef.htm, viewed 02/02/2007.

40. International Energy Agency, Global Renewable Energy Policies and Measures Database – Income Tax Act: Canada,  http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=1232, viewed 02/02/2007.

41. Department of Finance Canada, Canadian Renewable and Conservation Expense, www.fin.gc.ca/news96/96-046_2e.html#Amendments, viewed 02/02/2007.

42. International Energy Agency, Global Renewable Energy Policies and Measures Database – Energy Policy Act: United States, http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id/=1061, viewed 02/02/2007.

43. International Energy Agency, Global Renewable Energy Policies and Measures Database – Energy Tax Act: United States, http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=1063, 02/02/2007.

44. Oregon -Renewable Resources, Biomass Energy Incentives,  http://www.oregon.gov/ENERGY/RENEW/Biomass/incentive.shtml, viewed 02/02/2007.

45. International Energy Agency, Global Renewable Energy Policies and Measures Database – Accelerated Depreciation for Environmental Investment, http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=2251, viewed 02/02/2007.

46. Instituto Nacionale de Ecologia, www.ine.gob.mx, viewed 02/02/2007.

47. Natural Resources Canada, Wind Power Production Incentive (WPPI), http://www.canren.gc.ca/programs/index.asp?CaId=107, viewed 11/22/2006.

48. International Energy Agency, Global Renewable Energy Policies and Measures Database – Wind Power Production Incentive: Canada,  http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=846, viewed 02/02/2007.

# 49. Natural Resources Canada. $2 billion ecoENERGY Initiatives to help reduce smog and greenhouse gases, January 2007, http://www.nrcan-rncan.gc.ca/media/newsreleases/2007/200705_e.htm, viewed 02/02/2007.

51. Union of Concerned Scientists, Renewable Energy Tax Credit Extended Again , but Risk of Boom-bust Cycle in Wind Industry Continues, http://www.ucsusa.org/clean_energy/clean_energy_policies/production-tax-credit-for-renewable-energy.html, viewed 02/02/2007.

52. International Energy Agency, Global Renewable Energy Policies and Measures Database – Green Municipal Funds: Canada, http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=325, viewed 02/02/2007.

53. Federation of Canadian Municipalities, Green Municipal Funds, http://www.fcm.ca/english/gmf/gmf.html, viewed 02/02/2007.

54. International Energy Agency, Global Renewable Energy Policies and Measures Database – Sustainable Development Technology Canada, http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=1680, viewed 02/02/2007.

55. Sustainable Development Technologies Canada, About SDTC, www.sdtc.ca, viewed 02/02/2007.

56. International Energy Agency, Global Renewable Energy Policies and Measures Database – Energy for the New Millenium: National Photocoltaics Program Plant (United States), http://www.iea.org/textbase/pamsdb/detail.aspx?mode=gr&id=246, 02/02/2007.

57. International Energy Agency, Renewables in Global Energy Supply – An IEA Fact Sheet, January 2007, http://www.iea.org/Textbase/Papers/2006/renewable_factsheet.pdf, viewed 02/02/2007.

58. European Wind Energy Association, Wind Energy – The Facts: An Analysis of Wind Energy in the EU-25, 2002, http://www.ewea.org/fileadmin/ewea_documents/documents/publications/WETF/Facts_Summary.pdf, viewed 11/22/2006.

59. European Wind Energy Association, Economics, http://www.ewea.org/index.php?id=201, viewed 02/02/2007.

60. http://www.worldscibooks.com/phy_etextbook/p139/p139_chap4.pdf

61.  EPIA/Greenpeace, Solar Generation - Solar Electricity for Over 1 Billion People and 2 Million Jobs by 2020, October 2004, pp. 18-19.

62. PV Review, REFOCUS, Sept/Oct 2005, Elsevier, pp.18-22.

63. Energy Information Administration, Annual Energy Review 2005 – Table 10.5 Photovoltaic Cell Module Shipments by Type, Trade, and Price, 1982-2004,  http://www.eia.doe.gov/emeu/aer/txt/ptb1005.html, viewed 02/02/2007.

# Footnotes

Both of these costs assumed the use of the federal production tax credit.  This example also assumes an installed cost of $1000/kWh, a 30% capacity factor (discussed below), and operations and maintenance (O&M) expenses of  0.65 cents/kWh.

# Text boxes

Overview of Renewable Electricity Costs and Cost Variation

Final Report

Prepared For:

The Commission for Environmental Cooperation

Prepared by:

The Delphi Group

February 27, 2007

DISCLAIMERS

This document is intended solely for use by the Commission for Environmental Cooperation and may not be used or relied upon by any other person, in whole or in part.

Except as otherwise mutually agreed in writing, The Delphi Group, its directors, officers, employees and independent contractors do not assume any legal liability and make no representations or warranties of any kind whatsoever, expressed or implied and disclaim all other warranties, representations, and conditions, whether expressed, implied or arising by custom or trade usage, including without limitation those with respect to accuracy and completeness.  Any reliance on the content of this document will be at your own risk.