FTI OPERATIONal IP User Guide

Telecommunications services GROUP (TSG), ATO-W

Federal Aviation Administration

Version 3.3

February 2008

Approvals:

__________________________________________________________________   _________________

TSG Engineering and Implementation Group Manager, ATO-W	         Date

__________________________________________________________________   _________________

Team Lead, ATO-W	Date

__________________________________________________________________   _________________

Program Lead, 	Date

Table of Contents

1	Introduction	5

1.1	Purpose	5

1.2	Scope	5

1.3	Document Outline	5

2	FTI Operational IP Service Overview	6

2.1	Service Specification	6

2.1.1	Service Connections	6

2.1.2	External User Access	7

2.2	Ops IP Service Ordering Process	8

2.2.1	Service Initiation	9

2.2.2	Specification of Ops IP Service Needs and Parameters	9

2.2.3	Cost Estimation and Funding Transfers	9

2.2.4	Joint Interoperability Testing	9

2.2.5	Service Order Authorization	10

2.2.6	Service Delivery	10

2.2.7	Service Acceptance	10

2.2.8	Service Cutover	10

3	Operational IP Service Options	11

3.1	Supported Interface Types and User Connection Options	11

3.1.1	End System Connections	12

3.1.2	Intermediate System Connections	12

3.1.3	Switch Connections	14

3.2	Ops IP Port Data Rate and Throughput	15

3.3	Service Quality	16

3.3.1	RMA	16

3.3.2	Latency	17

3.4	Multicast	17

4	Basic IP Service Operations	18

4.1	IP Addressing	18

4.2	Service Connection Protocols	18

4.2.1	Physical Layer	19

4.2.2	Data Link Layer	19

4.2.3	Network Layer	20

4.2.4	Upper Layer Protocols	20

4.3	Basic and Enhanced Security Services	21

4.3.1	Basic Data (BD1) Security for IP Services	21

4.3.2	Basic Data with IPSec AH (BD2)	21

5	Enhanced IP Security Services	23

5.1	Packet Filtering Firewall (ED6)	23

5.2	Enhanced Access Control Lists (ED11)	23

5.3	Virtual Private Network, VPN (ED3)	24

5.4	Extranet Gateway Services (ED8)	24

5.4.1	Extranet Gateway for External (non-NAS) Users (ED8)	25

5.4.1.1	ED8 Service Segments	25

5.4.1.2	Provisioning Extranet Gateway (Ops IP ED-8) Services	27

5.4.2	Extranet Gateway for Partially Trusted Users (ED9)	Error! Bookmark not defined.

5.4.3	Extranet Gateway for Trusted Users (ED10)	28

5.4.4	Extranet Connectivity Authorization	28

6	Management and Monitoring	30

7	Future Capabilities	31

7.1	Quality of Service (QoS)	31

7.2	IPv6	31

8	FAQ (TBD)	32

Appendix A: FTI Program Points of Contact	33

Appendix B: FTI Service Classes	34

Appendix C: Diversity and Avoidance	36

C.1	Path Diversity for FTI Services	36

C.2	Ops IP Service Avoidance	37

Appendix D: References and Terminology	38

References	38

Terminology	39

Appendix E: Protocol and Interface Standards	41

Appendix F: Sample IP Service Description (ISD)	41

Appendix G: Acronyms	45

Appendix H: Ops IP External User Service Connection Guidelines	48

List of Figures

Figure 1-1:  FTI Operational IP Service Connection	5

Figure 2-1:  Example NAS End-to-End Connection Implemented via Two Ops IP Services	6

Figure 2-2.  FTI External User Service Connections	7

Figure 2-3.  Operational IP Service Provisioning Process	8

Figure 3-1.  User System Connectivity Options	12

Figure 3-2.  Router/Firewall Connectivity Options	13

Figure 3-3.  Ethernet Switch Connectivity Options	14

Figure 4-1.  Protocol Stack	20

Figure 4-2.  Implementation of Ops IP Service Connection	20

Figure 5-1.  Extranet Gateway Data Flows and Security Controls	26

Table B-1.  Service Class Parameters	34

Figure C-1: FTI Backbone	36

Figure C-2: Ops IP Network Backbone	37

Figure H-1.  Ops IP Extranet Connection	49

List of Tables

Table 3-1.  RMA Categories for IP Operational Services	16

# Introduction

## Purpose

This document provides reference material for prospective National Airspace System (NAS) programs that require Internet Protocol (IP) network connections via the Federal Aviation Administration (FAA) Telecommunications Infrastructure (FTI) Operational IP network.  It is not intended to be a technical specification for system interface development and does not replace the need for engineering interactions.  Objectives of this document include:

- Describe Operational IP service options and connection alternatives in sufficient detail for a user Program Office (PO) to become a knowledgeable consumer of IP services.

- Describe processes and procedures for obtaining FTI Operational IP services.

## Scope

This document addresses the provisioning of inter-facility communications services via the FTI Operational IP Network, including both NAS and non-NAS users. The scope includes service connections between a user system access device and a network edge device as depicted in Figure 1-1. Unless indicated otherwise, any reference to FTI IP, Operational IP, Ops IP or simply IP services refers to FTI Operational IP Network services. Administrative IP services are provisioned via the FTI Mission Support network and are not within the scope of this document. An Ops IP Service Delivery Point (SDP) is defined as the point of demarcation between a User System and the Ops IP Network. [An SDP is typically implemented as a patch panel with terminals for user and FTI wiring.] Interface characteristics are referenced to either the User-side or Network-side of the SDP.  The attachment of a User System to the SDP is referred to as an Ops IP Service connection. A user system’s access device can be implemented as either an end system (e.g. an application processor) or intermediate system (e.g. a router). The network-side of the SDP provides network-layer forwarding and relay functions.

Figure 1-1:  FTI Operational IP Service Connection

## Document Outline

Section 1 provides a general introduction.  Section 2 provides an overview of FTI Operational IP Services and associated service provisioning procedures. Section 3 describes FTI service class parameters and service connection options. Sections 4 and 5 provide an overview of basic and enhanced security features. Section 6 introduces network management and monitoring operational concepts.  Section 7 addresses future capabilities.

# FTI Operational IP Service Overview

FTI objectives include the provisioning of a robust, highly protected, state-of-the-art infrastructure capable of supplying a complete set of telecommunications services as defined in the FTI Service Description Document (FTSD).  This document specifically focuses on new, emerging, Ops IP service requirements, but also applies to services being transitioned to the FTI Operational IP network from legacy systems, such as the FAA Internet Protocol Routed Multi-user Network (FIRMNet).

## Service Specification

FTI services are ordered from a set of predefined service classes that enumerate various combinations of service options. Service classes are composed of specific combinations of service parameters such as availability, latency, restoral time and interface type. The description and specifications of Ops IP service classes and associated Reliability, Maintainability and Availability (RMA) characteristics are discussed in Section 3. The FTI program is capable of providing Ops IP services at any NAS facility. Ops IP services also include perimeter security devices and an extranet gateway which provide a secure method for NAS systems to communicate with non-NAS entities in a controlled manner.

### Service Connections

Ops IP services are connection-less (sometimes referred to as Point-to-Cloud) services with the exception of Virtual Private Network (VPN) connections, which are described later in Section 2.1.2. Ops IP services have a single SDP, which provides connectivity to the NAS Ops IP network. Ops IP network routing and relay functions allow a user system connected to one SDP to communicate and exchange data with a second user system connected to a different SDP.  Figure 2-1 illustrates a typical NAS service data flow provisioned via two Ops IP network services. NAS application data flows, including connections via the Ops IP Network, are defined in application level Interface Control Documents (ICDs) between communicating systems.

Figure 2-1:  Example NAS End-to-End Connection Implemented via Two Ops IP Services

Specification and provisioning of required FTI Operational IP network interconnection services exemplified in Figure 2-1 include four basic elements: user interface parameters, service connection alternatives, service access, and backbone relay and routing services.

User Interface Parameters: Ops IP services are ordered on a per port (location) basis. Service characteristics such as data rate and service availability (further described in Section 3) are ordered for each port (IP service) individually and will determine required characteristics of the Ops IP edge device and associated telecommunications access to the Ops IP network backbone. An Ops IP service can support multiple application data flows for the connected user system.

Service Connection Alternatives:  Configuration of physical connections to Ops IP network edge devices can vary depending on the type of service needed by user programs and the type of user access equipment.  Examples of user access equipments include end systems (hosts), routers and switches.  Allowable connection methods and routing protocols are discussed in Section 3.

Service Access:  User access equipment is connected to an FTI edge device (typically a router). Edge devices support Ops IP SDPs and provide access to Ops IP network routing and relay functions. Telecommunications access provides connectivity between the FTI Ops IP edge device and the Ops IP network backbone.  Depending on locality, facility type, and service requirements, FTI will utilize available access as necessary in the design of the access element (connection of FTI edge device to Ops IP backbone) to satisfy service performance requirements.

Ops IP Backbone Services: The Ops IP backbone provides Wide Area Network (WAN) transmission system connections, backbone switching, and network layer routing, relay and forwarding functions are used to transfer user data packets between SDPs.

### External User Access

Additional remote access connectivity is available for external users as depicted in Figure 2-2. FTI service connections to external users are implemented via an Extranet Gateway.  All FTI external IP users must connect to an SDP within an approved Extranet Gateway.  External (non-NAS) users communicate to the Extranet Gateway via non-Ops IP services (e.g. VPN sessions over the Internet or via dedicated telecommunications services (DTS)). Once connected, external user systems are capable of communicating to a defined set of NAS systems via a restricted Ops IP Subnet established for a particular NAS program. Internal restricted subnets are specifically defined within an Ops IP Supplementary Form for those services.  Extranet Ops IP access and network relay services are controlled via security mechanisms as described in Sections 4 and 5.4. Additional external user service connection guidelines are provided in Appendix H.

Figure 2-2.  External User Service Connections to the Ops IP Network

## Ops IP Service Ordering Process

The service provisioning process for FTI Operational IP network services is shown in Figure 2-3. The FAA Telecommunications Services Group (TSG) is responsible for administering service orders for the agency and coordinating with the FTI Program Office for provisioning of FTI Ops IP network resources.  Potential users should contact TSG engineers for provisioning Ops IP services. Appendix A lists TSG Points of Contact (POCs).  After initial contact with TSG, service parameters are selected based on user requirements, followed by cost estimation, interoperability testing, service ordering, provisioning and delivery, and finally service acceptance and cutover.

Figure 2-3.  Operational IP Service Provisioning Process

### Service Initiation

National Airspace System (NAS) users initiate the process for provisioning telecommunications services by contacting a TSG representative (See Appendix A for TSG POCs) and requesting service.  External users (users not in the NAS administrative domain) are required to have a sponsoring NAS system PO. External users initiate the provisioning of Ops IP services by contacting the PO of the NAS system with which they need to communicate. Service lead time for new service requests is six months before the service needs date for the remainder of FTI transition.  It is goal to reduce the required lead time after transition is completed.

### Specification of Ops IP Service Needs and Parameters

User needs and attributes for FTI services are collected via interactions between the User PO and TSG engineering.  Telecommunications service needs for a program are defined as to type, location, data rate, performance, number/type of physical connections, security, and any other required features.  Defined service needs are then translated into Ops IP service classes and associated parameters.  Each service requirement is associated with a service need date. User service requirements are documented in a Telecommunications Program Plan (TPP) and associated IP Service Description (ISD) data. ISD data includes the specific service orders, associated IP supplemental forms and documentation pertaining to anticipated user system interactions and associated data flows. The TPP and ISD are recognized as formal requirements for the user program; these documents and associated data are developed by TSG engineers and validated with the user PO.  Example ISD information is listed in Appendix F.

### Cost Estimation and Funding Transfers

Once agreement is reached on user requirements, TSG engineering will provide a service cost estimate to the user PO. Trade-offs may be performed to study the effect of changes to service parameters in support of system architecture cost/benefit trades.  Performance parameters for trade-off configurations are defined in terms of Ops IP network service definition parameters.  Cost estimates of service interoperability testing (IT) are also provided. TSG works with the User PO to ensure all service definitions and costs are understood. Interoperability test funding and agreement on end-state service cost estimates is required before IT testing is authorized.

### Joint Interoperability Testing

Service requirements and attributes contained in the TPP and ISD are reviewed, and coordinated with the FTI Interoperability Test (IT) team, which oversees joint (user PO and FTI) IT testing to validate new user service operational concepts parameters.  IT testing evaluates user program interfaces and operational concepts to verify that the identified systems communicate properly via the Ops IP network; IT testing is also used to verify that the new services do not impact other existing systems and services. POCs for IT testing are provided in Appendix A.  IT testing is performed at the WHJTC FTI National Test Bed (FNTB).  Objectives of IT testing include:

- Verification of operational compatibility between user system access devices and Ops IP edge devices

- Verification of end-to-end data flows and operational interoperability between user systems when communicating via the Ops IP network

Operational compatibility testing with the Ops IP network is the responsibility of the FTI IT Team.  Aside from non-NAS extranet gateway users, generally the NAS IP user equipment that is to be tested must be located at the WJHTC. End-to-end application interoperability testing is typically the responsibility of the user system PO. The FTI IT Team can support end-to-end application testing, as required and requested by a user system PO.

### Service Order Authorization

Once verified, user service agreements between TSG and the user PO are finalized by signing the system TPP to baseline requirements and cost estimates. The user PO is typically required to provide funding before TSG authorizes service orders for installation by the FTI vendor.

### Service Delivery

The FTI vendor provisions the services.  Ops IP service provisioning includes establishment of required IP SDPs at the defined locations with required access to the Ops IP backbone. Additional infrastructure equipment and access is installed as required. Service provisioning also includes configuration of the SDPs to be consistent with ordered performance parameters.

### Service Acceptance

Service Acceptance (SA) includes the formal verification and acceptance of ordered Ops IP services. The FTI vendor conducts SA testing in conjunction with the FAA and verifies connectivity and functionality between the site SDP location and the FTI Operational IP Network (point-to-cloud).  SA testing is conducted on the network-side of the SDP (as defined in Figure 1-1). Operational systems are not typically connected during SA.  The Acceptance Report documents the results of the formal FTI acceptance activity and should be signed off by the FAA, or an authorized representative, indicating successful SA completion.  SA results are provided to the FAA for inclusion in the Facility Data Reference File.  TSG engineering monitors status of service SA activities and has the responsibility to keep the user PO informed of all schedule changes; TSG notifies the user PO of completed SA activities.

### Service Cutover

Service cutover is defined as the connection of end user equipment to the user-side of a service demarc. It is the responsibility of the user PO to ensure all site preparation (on the user-side of SDP) has been completed. It is also the user PO responsibility to coordinate with the Technical Operations Control Center (TOCC) (e.g., a Service Operational Center (SOC) or an Operational Control Center (OCC)) as necessary to ensure new/emerging NAS services are appropriately defined and documented before they are activated. For extranet gateway users this is the responsibility of the sponsoring NAS system PO. Coordination includes notifying TSG engineering of service cutover schedules and providing status of any changes to that projected schedule as activities progress. Once notified of a desired cutover date by the user PO, TSG engineering supports coordination between the user PO and the FTI vendor for service cutovers. TSG coordination includes site readiness review and notification of the FTI Primary Network Operations Control Center (PNOCC) of pending cutover activities.  FAA preparations for service cutover may include end-to-end testing by the User PO (such testing should be coordinated between the user PO and the local ANI support as required). FTI support to user testing, if required, should be coordinated through TSG engineering. At the completion of service cutover, the user program may begin to use the new FTI Operational IP service operationally.

# Operational IP Service Options

FTI Operational IP service options are selectable in various combinations.  Combinations of service options and characteristics are referred to as “service classes”.  An Ops IP service class is made up of elements and parameters that characterize specific FTI Service features.  FTI Operational IP service classes are associated with specific levels of:

- Reliability

- Maintainability

- Availability (the combination of these three terms is typically referred to as RMA)

The following sections contain a high level overview of key Ops IP service features, including: supported connection and interface alternatives; WAN data rate determination (i.e. bandwidth and throughput); and service quality features such as latency. Enhanced security options are discussed in Sections 4.3 and 5. Refer to Appendix B for a more detailed discussion of the Service Classes pertaining to Ops IP Services.

## Supported Interface Types and User Connection Options

The attachment of a NAS system access device to an Ops IP Network edge device is referred to as a user connection. The most prevalent interface type for a Ops IP user connection is full or half duplex 10/100 Ethernet over a Category 5e Unshielded Twisted Pair (UTP) cable.  While this is not the only interface standard supported by FTI, the majority of services connect via Ethernet ports. User side serial interfaces for connecting to FTI edge devices are generally discouraged.  Appendix E lists physical and data link standards supported by FTI.

The use of straight-through vs. cross-over cabling for implementing an Ethernet user connection is dependent upon both the user system access device and the FTI edge device at that location. These types of cabling issues are typically resolved during technical discussions between the user program and TSG engineering during service specification interactions.

User program connectivity to an Ops IP network edge device can vary.  Alternatives include:

- End System Connections – Programs connecting end-systems to FTI without an intermediate network device, e.g. router, switch or firewall (See Section 3.1.1).

- Intermediate System Connections – Programs that make use of a local area network and connect to FTI via a NAS user system access device, such as a router or firewall (See Section 3.1.2).

- Intermediate system (routers and firewalls) connections can be ordered as a single or dual port based on program requirements for RMA and diversity

- Switch Connections – Programs that make use of a local area network and connect to FTI via an Ethernet switch (See Section 3.1.3).

- Switch connections can also be ordered as a single or dual connection based on program requirements for RMA and diversity

Figure 3-1 depicts the generic connection scenarios discussed above. Also noted in the figure is the domain space of the IP addresses used on each end of the Ops IP connection. Each of these will be discussed in more detail in the following paragraphs, including connection alternatives at larger sites where the network side of the SDP can have multiple edge devices.

Figure 3-1.  User System Connectivity Options

User programs are responsible for cabling between their access equipment and the Ops IP SDP. Potential distance limitations should be accounted for when implementing an Ethernet interface.  If the total distance from the user system access equipment to Ops IP edge device exceeds the maximum-allowable Category 5e distance of 100 meters (including the length of the FTI cable on network side of demarc), then an alternative such as fiber optic cabling or symmetric digital subscriber line (SDSL) equipment, is required. Extended service (distances above 100 meters) can be provisioned via the FTI contract if required.

### End System Connections

A NAS system can connect an end system (host processor) directly to an Ops IP edge device. In this type of connection (see connection option (i) in Figure 3-1) there is typically one SDP to the user end system and the user program provides the IP address at both ends of the connection.  The user program thus provides an IP address for the Ops IP edge device on the network side of the SDP (NAS compliant IP addresses are obtained from the NAIMES program and associated engineering staff).

End system connections typically use static routing. Required IP addresses are obtained and defined as part of the requirements coordination process with FAA/TSG engineering.  The user IP addresses and associated subnets to be used by the Ops IP edge device are documented in the IP Service Description (ISD) data. If the customer network topology does NOT use their own router, the Ops IP edge device essentially acts as a default gateway for the customer IP hosts.

### Intermediate System Connections

As depicted in connection option (ii) in Figure 3-1, routing coordination can be controlled via either static routing or dynamic routing (using the Border Gateway Protocol (BGP) routing protocol) when a NAS system connection is implemented with a router or firewall on the user side of the SDP.  But in either case the IP address on the user system access device is within the Ops IP network domain and is provided to the user program by TSG engineering.

Routing Protocols: FTI Ops IP network edge devices require knowledge of subnetworks and associated IP addresses on the user side of the SDP to control the forwarding of IP packets. Such knowledge can be obtained via either static route coordination or dynamically via a routing protocol, such as the BGP.

  - If the user system has a single router Ethernet connection to a FTI Ops IP edge device, it is typical to implement routing control via static routing.

  - If the user system network topology includes multiple subnetwork domains, BGP is often the more preferred method. User systems connecting to the Ops IP network with a single connection can be configured with either static or dynamic routing depending on the complexity of the user subnet domain on the user side of the access device.

  - If the user system has multiple router links to the Ops IP network edge device, a dynamic routing protocol such as BGP is recommended.

Figure 3-2 depicts various intermediate system connection scenarios as discussed above.  In all scenarios the Ops IP network address domain is used on both sides of the SDP and user domain addresses are used on the user side of their access device.

Figure 3-2.  Router/Firewall Connectivity Options

### Switch Connections

If the customer network topology does NOT use their own intermediate system (i.e. router or firewall) the Ops IP edge device can act as the default gateway for customer IP hosts as was described in Section 3.1.1.  User system configurations can also include LANs connected via an Ethernet switch as depicted in Figure 3-3, connection type (iii-a). When connecting to user Ethernet switches, FTI Ops IP edge devices use an IP address assignment from the user program address space (as obtained via interactions with the NAIMES engineering staff).

Figure 3-3.  Ethernet Switch Connectivity Options

If redundant FTI service connectivity is required, a second Ethernet link can be established from the customer switch (es) to another OPS IP edge device, as depicted in connection type (iii-b) of Figure 3-3. The OPS IP edge devices will typically use the Hot Standby Routing Protocol (HSRP) to ensure gateway redundancy.  In this case the user system provides three IP addresses.  Each of the two Ops IP edge device interfaces uses an IP address. A third IP address is used for the virtual HSRP address.  This implementation scenario is typically ordered as two RMA-4 Ops IP service connections with avoidance.

A variation of the switch connection (as depicted in Connection Type (iii-c)) includes the case where a user switch connects to an Ops IP edge device on one side and to multiple user routers on the local user side. In this case the HSRP protocol is employed on the user side of switch. The virtual HSRP IP address will be provided to the Ops IP edge device for forwarding interactions.

## Ops IP Port Data Rate and Throughput

User programs are expected to understand their anticipated traffic characteristics and the traffic load they expect to offer to the Ops IP network in order to sustain their inter-facility operations. Offered traffic load projections (inbound and outbound of specific Ops IP SDPs) are coordinated with TSG engineering during service specification interactions.  Projected data flows are used to identify the required Ops IP WAN service data rate.

User programs must account for the difference between the local connection transfer speed and the WAN transfer rate expected for a particular FTI service port. The local connection speed is determined by the type of local interface established between a user access device and the Ops IP edge device at SDP.  As an example, an Ethernet connection provides a 10 Mbps local transfer speed while a fast Ethernet connection provides a 100 Mbps local transfer speed.  Local transfer speed does not directly relate to the allocated WAN access speed, i.e., the rate at which the user traffic will be offered to the Ops IP network.  During the service ordering process, the user program and TSG will jointly develop projections for the offered traffic load and associated characteristics, such as traffic peaking factors and required response time.  These characteristics will be used to determine the required WAN transfer rate of the service port to be ordered.

Rate Limiting:  Rate limiting is an operational control mechanism that limits bursts of users’ packets across the WAN. FTI employs rate limiting to ensure that no SDP consumes more network resources than expected and impacting other users.. This can happen either inadvertently or deliberately. Rate limiting is thus used as one of the defense layers to protect the network and network users against denial of service attacks.

The Ops IP network allocates the WAN data rate for a site (FAA facility) based on the sum of requested user SDP data rates at that facility. Should a user SDP transfer rate to the WAN exceed the subscribed data rate (for that SDP for a sufficient period) excess packets may be queued, delayed and eventually dropped.  User programs should consider the requested WAN data rate as the peak transfer rate that will be required to sustain their application data flows. So while the local transfer rate is determined by the interface type, the allowable sustained WAN data rate is determined by the data rate ordered for the SDP. If a user program’s operational concept is to spread peak transfer rates over a defined period (i.e. for bulk file transfers) the associated buffering and end-to-end control is the responsibility of the user program. In such circumstances the use of reliable upper layer protocols to guard against adverse impacts to their applications is recommended.

Rate limiting mechanisms and their effect on users and on the Ops IP network are still undergoing review. At present, the network limits user packet data flows from a specific user interface (SDP) when the transfer rate exceeds a predetermined threshold; this threshold is currently 120 % of the ordered port speed.  Plans are being implemented to allow higher short-term bursts of user traffic (on a lower priority basis) as long as the sum of offered traffic at the facility does not increase over the access speed ordered for that facility. Technically inclined readers interested in policing and other rate limiting mechanisms are referred to the Policing and Shaping Review on Cisco’s web site: see reference [3] in Appendix D.

## Service Quality

In FTI, the main requirements that characterize Operational IP service quality are RMA, diversity (referred to as avoidance if between different services), and latency. These service characteristics are described in the following sections.  Additional detail is available in the FTI Telecommunications Service Description Document (FTSD).

### RMA

RMA consists of multiple sub-parameters including availability, restoral time, mean time between outages (MTBO) and maximum number of outages.  Each sub-parameter has specified levels. The three categories, RMA2 through RMA4, applicable to FTI Operational IP Services are shown in Table 3-1. However, the FTI service configurations for RMA2 services are still under review and no Ops IP RMA-2 services have been implemented to date.

Table 3-1.  RMA Categories for IP Operational Services

| Parameter | RMA2 | RMA3 | RMA4 |
| --- | --- | --- | --- |
| Minimum Availability (over a 12-month period) | 0.9999719 | 0.9998478 | 0.9979452 |
| Maximum Restoration Time (minutes) | 0.98 | 8.00 | 180 |
| Maximum Diversity/Redundancy Restoration Time (minutes) | 180 | 180 | 180 |
| Maximum Preventive Maintenance Service Interruption Time (hours per year) | 4 | 4 | 8 |
| Minimum Interval (hours) between Service-Interrupting Preventive Maintenance | 2190 | 2190 | 2190 |

Various forms of diversity and redundancy, including but not limited to electrical, physical and equipment are used to meet the required service restoration time for these RMA categories. The proper operation of the Ops IP network and the ability to provide IP services are dependent upon timely restoration when one of the elements that provides that diversity and redundancy fails.  Service Restoration includes both automated (e.g., alternate path switching) and manual (e.g., remote reconfiguration by Network Management and Operations (NMO)) actions taken to restore a service infrastructure outage.  Note that in many IP networking cases, initial restoration bypasses the failed path/element and reduces diversity or redundancy of the service until the failed path/element is repaired or replaced.

Diversity and avoidance refer to the separation between telecommunications paths such that the cause of a disruption or failure in one of the paths will not likely cause a failure in the other path, and therefore a service can continue in spite of the failure. Appendix C provides definitions and more information on diversity and avoidance for Ops IP services.

For Operational IP services, diversity is implemented between the SDP and the backbone, i.e., access diversity.  An Ops IP RMA2/3 service is implemented with access diversity; the user has a single interface (SDP) to the Ops IP network edge device and the Ops IP network will provide any elements necessary for switching between the primary and the backup access path from the edge device to the Ops IP backbone.  Associated switching is transparent to the IP user.

Another option is for the user to order two RMA-4 SDPs with avoidance; in this case the user has two interfaces to the Ops IP network and the network infrastructure will provide avoided paths from the two SDPs to the Ops IP backbone.  The end user is responsible for providing switching/routing elements (hardware and software) capable of switching between the primary and the backup access path as required.

Depending on the type of interface connections used (see Section 3.1) switching may or may not be transparent to the IP user. Dual interfaces to FTI are often implemented with automatic routing protocols such as the Border Gateway Protocol (BGP) to ensure that service disruption is minimal.

### Latency

Latency or packet delay for an end-to-end transfer service is defined from an origination SDP to a destination SDP. The specified latency limit is the 99th percentile latency over a rolling period of 24 hours.  The latency limit for the current FTI operational IP services is 225 milliseconds, measured form a source SDP to a destination SDP. It should be noted that latency is a characteristic of an end-to-end NAS service data flow and encompasses two Ops IP services, as described earlier in Section 2.1.1. Latency is thus a FTI Ops IP network operating characteristic as opposed to an orderable characteristic of an individual IP service.

## Multicast

In networking environments, data can be unicast, multicast, or broadcast.  Data is said to be unicast when transmitted from a source entity to a single destination entity connected to the network.  Data is said to be multicast when transmitted from a source entity to many (but not all) receive entities in an associated subnetwork.  Data is said to be broadcast when transmitted from a source entity to all receive entities connected to the network.

A multicast message is one that is transmitted to select multiple recipients who have joined the appropriate multicast group. The sender has to generate only a single data stream. A multicast-enabled router will forward a multicast datagram to a particular network domain only if there are multicast receivers in that domain. Other stations filter out multicast packets at the hardware level (e.g., Ethernet or Token Ring).

The Ops IP network has the capability to support multicasting technology for users with specialized requirements. The FTI Program office is exploring ways to extend this service more generally to the FAA community at large.  Multicast technology offers the capability to reduce WAN traffic when intended recipients of data are clustered at destinations in close proximity.  Multicast technology was developed to support video streaming and is currently supported by User Datagram Protocol (UDP) which does not offer guaranteed delivery of user data.

# Basic IP Service Operations

This section provides information on basic operations of Ops IP network services, such as:

- How a user can obtain a NAS-compliant IP address space

- Protocols supported at the different internetworking layers

- Description of FTI basic access control paradigms

## IP Addressing

A NAS IP Addressing Plan (see reference [4] in Appendix D) was developed as a joint effort between ATO-R (System Operations Services) and ATO-W (Technical Operations Services).  This addressing plan supports a hierarchical network structure and route aggregation.  It also provides reserved address space to support growth in the number of facilities, the number of systems, and the number of IP addresses required per system.

All NAS Operational IP and Mission Support IP network users are required to obtain address allocations from the NAS IP Address Assignment authority.  IP Address assignments for the NAS are processed by the NAS Aeronautical Information Management Enterprise System (NAIMES).  Contact information for the NAS IP address assignment authority (NAIMES) is given in Appendix A.  Additional processes and procedures for requesting new IPv4 address space will be provided upon a formal request to NAIMES Technical Support.

Addresses for Ops IP Peering:  The only instance where IP addresses are obtained from the FTI PO is where peering is involved between a user access device and an Ops IP edge device.  The IP address provided by the FTI PO is part of the Ops IP network address space and is used for user router ports facing the Ops IP edge device.  These scenarios are described in Section 3.1.  Note that this address (or pair of addresses for diverse connections) is assigned to the user network access device port facing FTI. Addressing for Ops IP Peering will be via the Border Gateway Protocol (BGP)

Private IP Sub-networks: Programs that provision services via the Ops IP network, but intend to operate a private IP sub-network (implemented with private IP addressing schemes that do not conform to the NAS IP addressing standards) are required to tunnel all traffic in a restricted access Virtual Private Network (VPN). These                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                         services will not be able to communicate with services outside the program VPN subnet.  The program access devices used to access the Ops IP network are required to perform any Network Address Translation (NAT) necessary to support the tunneling; the services are also required to be ordered with the Enhanced Data-3 (ED-3) VPN security option.  In summary, the Ops IP network operates in full compliance with the NAS IP addressing scheme. If legacy programs exercising private IP addressing schemes require Ops IP access, it is the program’s responsibility to perform whatever translations are required to access the NAS compliant Ops IP network. Use of private IP addressing does not conform to FAA policy or the FTI Ops IP guidance and is strongly discouraged.

## Service Connection Protocols

The information flow through the FTI operational IP network is shown in Figure 4-1 using the OSI protocol stack as a reference.  In general the FTI operational IP network provides services in layers 1 through 3 of the OSI protocol stack.  Higher layer protocols and associated packets are encapsulated as transparent data in network layer IP packets relayed via the Ops IP Network.

### Physical Layer

The primary physical interface used for FTI Operational IP network connectivity is the physical layer specification of the full-duplex Ethernet (10 Mbps) as specified in IEEE 802.3, including Fast Ethernet (100 Mbps) and Gigabit Ethernet (1,000) Mbps. The physical layer interface (marked by label “User System Connection Point” in Figure 4-1, below) is a local interface and is defined independently for each user interface. The connection is typically implemented via a Category 5e UTP cable with RJ-45 connectors (pin-outs should be compliant with EIA-568a or EIA-568b).

SDP connections are shown in Figure 4-1 (also see Figures 1-1 and 2-1).  Note that as stated in Section 3.1, depending on distance requirements, other media types can be used (e.g. fiber cable for distance over 100 meters). Depending on the RMA requirements of the user (see Section 3.3.1) multiple physical media connections may be used to connect a user system’s access device to the Ops IP edge device. Appendix E provides examples of additional physical interfaces supported by the Ops IP edge devices.

### Data Link Layer

The most generally used data link layer interface for FTI Ops IP network services is Ethernet Version II as specified in Request for Comment (RFC) 894. In addition to Ethernet, the OPS IP service data link layer supports Point-to-Point Protocol (PPP), Serial Line Internet Protocol (SLIP), Fast Ethernet, and FDDI Media Access Control (MAC) and Logical Link Control (LLC). Associated standards with these protocols are given in Appendix E.

Figure 4-1.  Protocol Stack

As in the case of the physical layer, the data link layer protocol interface is a local interface and is defined independently for each user interface specified.  Both the physical and data link layer interfaces are required to define the connection between the user access device and the local Ops IP edge device.  This connection was depicted earlier in Figure 1-1 and is repeated here as Figure 4-2 for the convenience of the reader.  Specification of the physical and data link layer interfaces is required to fully define the allowable interactions of the Ops IP Service Connection.

Figure 4-2.  Implementation of Ops IP Service Connection

### Network Layer

The FTI Operational IP network currently supports the IPv4 routed protocol, as specified in RFC 791 (September 1981).  Related IP standards that are supported in FTI such as the Internet Control Message Protocol (ICMP) are given in Appendix E.  Note that IPv6 support is considered to be a future capability and is discussed in Section 7.2.

Although most current user to FTI Operational IP network interfaces are configured using static routing, the Border Gateway Protocol version 4 (BGP-4) routing protocol can also be used for peering with user access devices as describe earlier in Section 3.

### Upper Layer Protocols

The FTI Operational IP network’s network layer service is based on the IP protocol. IP based packets are typically routed regardless of higher level protocols, such as those used at the transport and application layers, to provide guaranteed service delivery and end-to-end flow control. Upper layer protocols supported by the Ops IP Network are defined in section 4.3.11 of the FTSD. Typical transport layer protocols used by communicating NAS systems include connection-oriented TCP as specified in RFC-793 and the connectionless UDP as specified in RFC 768. As depicted in Figure 4-1, these upper layer protocols are part of the application interface between two communicating NAS entities; they are not typically processed by the Ops IP network.  These upper layer protocols are carried as transparent data in the payload portion of IP Protocol Data Units processed by the Operational IP network.

## Basic and Enhanced Security Services

Basic security services are integral to all NAS and non-NAS telecommunications offered by FTI and meet all basic integrity, availability, authentication, and assurance requirements as defined in internal FTI security documentation; access to this documentation can be requested via the FTI Security Office.

### Basic Data (BD1) Security for IP Services

Basic data security (BD1) is intended to provide a level of protection that meets or exceeds that which is available today with any legacy telecommunications system for the transport of NAS traffic.  As a minimum BD1 controls are applied to all IP Packets in the Ops IP Network.

Basic Data Security provides fundamental security mechanisms that:

- Ensure data flows are only accessible to authorized users

- Require authentication for all external connections

- Prevent unauthorized packet capture or replay

- Prevent NAS data on the Ops IP network from commingling with non-NAS traffic

BD1 security controls require the implementation of adequate physical security and adherence to industry best practices in securing, provisioning and maintaining the FTI Operational IP Network transport infrastructure.  These protections are in addition to the inherent security capabilities provided by the transport technologies.

BD1 may be configured in one of two ways:

- BD1 Restricted (also known as BD1-Closed) - restricts communications to only intra-program IP addresses (e.g., User Request Evaluation Tool (URET)-to-URET communications)

- BD1 Unrestricted (also known as BD1-Open) - allows unrestricted inter-program IP communications, which will enable the associated services to communicate any similarly configured services.

The use of BD1 Restricted thus provides logical separation from other programs through access controls.  Programs that require unrestricted inter-program communications with only some NAS programs, and wish to disallow traffic sent to or received from other NAS program users connected to Operational IP Network should order their SDPs with Enhanced Access Control Lists (ED11) to refine their WAN access controls as needed.

### Basic Data with IPSec AH (BD2)

The Basic Data Security Level 2 (BD2) includes IP Security (IPSec) Authentication Header (AH) capability.  This service is used for the transport of NAS data traffic and provides added authentication capability.  BD2 requirements (formally specified in the FTI protection profile) include:

- Incorporate all functionality, features, and security mechanisms used for BD1 above.

- Incorporate the integrity measures of IPSec AH or its successor.

This service is intended for program services with a clear requirement for specific packet authentication but no requirements for IPSec encryption (see VPN Service described in Section 5.1).

# Enhanced IP Security Services

Enhanced security services are optional security features and must be explicitly ordered by programs wishing to utilize them.  Options include:

- Stateful Packet Filtering Firewall (ED6)

- Enhanced Access Control Lists (ED11)

- VPN (ED3)

- Extranet Gateway Services (ED8)

Options ED6, and ED11 are ordered independently for each required service SDP.  Options ED3 and ED8 are essentially connection-oriented services and required associations be created between two Ops IP services. These relationships are defined in supplemental ordering data.

All Operational IP Network Enhanced Security Services are considered cost plus and programs will need to budget for the inclusion of these selected services above and beyond their basic telecommunication services costs.

## Packet Filtering Firewall (ED6)

ED6 services allow an FAA program/user to add stateful packet filtering firewall to further protect its communications and network traffic from traffic on the WAN.  With ED6 one can assign restrictions to services, ports, protocols, and/or source and destination addresses based on access control lists.  It is important to note that the source and destination is limited to other Operational IP Network users.  Since IP Datagrams can be filtered, routed between network segments, or forwarded between network segments all based on source and destination IP address combinations, ED6 examines the packets after they cross a network boundary and disallows packets based on an unknown IP address(es), unapproved ports, ranges or protocols.

The purpose for providing orderable packet filtering firewall services is to allow individual programs to develop and request customized access controls based on source and destination, as well as to perform ingress and egress packet filtering.  The program is required to submit a list of firewall rules that it wants to employ for this service along with the services, ports, protocols, and/or source and destinations required for the service.  These access controls and filters provide another layer of protection for the programs—not just from unauthorized traffic that may exist on the WAN—but also to insulate or protect program traffic from the traffic that is transmitted by other FAA programs and associated users.

## Enhanced Access Control Lists (ED11)

BD1 router ACLs were originally meant to be innocuous and low maintenance and therefore, any specialized program security requirements were to be implemented in either an appliance firewall (Cisco PIX, or Sidewinder) or as a software implementation (e.g. Context-Based Access Control - CBAC). As programs were being transitioned a requirement was identified for an Ops IP network security service that provides more flexible IP data filtering functionality (based on Access Control Lists, ACL) than BD1 but less than the full firewall filtering feature set of the existing Enhanced Data security services (ED6 described in the previous subsection).

The resulting ED11 security service includes the following features:

- Is fully compatible with the ACL features and controls implemented as a part of Basic Data security (BD1) but allows ACLs for data flows between multiple user systems.

- Should only be used when it is not practical to use CBAC, because of data latency requirements of FAA data traversing the router.

- Should only be used when it is not practical to deploy a firewall appliance (Cisco PIX) because of IP bandwidth consideration.

- Will provide protection between various user system data flows as established within the Ops IP network.

- Can be implemented on any Ops IP services.

## Virtual Private Network, VPN (ED3)

VPN technology is being provided as an orderable service using the IPSec tunnel mode Encapsulating Security Payload (ESP) protocol for encryption. VPNs provide the logical equivalent of dedicated and encrypted point-to-point communications over an IP backbone.  This service is similar to link encryption and is used when a program requires SDP-to-SDP confidentiality, increased integrity, and improved SDP-to-SDP source authentication. It is used to isolate program communications from other Operational IP Network users.  An example of such a requirement would be the need for a program to transmit traffic between a Terminal Radar Approach Control (TRACON) facility and an Air Route Traffic Control Center (ARTCC) and be logically isolated from the rest of the FAA traffic at that site while providing SDP-to-SDP source authentication.

FTI will encapsulate data into a VPN at the point of entry to the Operational IP Network Edge device (SDP/CPE) to ensure that logical data separation and segregation between programs is maintained across the WAN segments of the network and from other NAS user data/source programs.  As with link encryption, the key to end-to-end protection is to be sure that program protection exists outside the boundaries of the Operational IP Network through some other means (i.e., FTI encryption service ends at the SDP).

## Extranet Gateway (ED8)

The FAA WAN Connection Policy [7] governs NAS system connectivity to external systems and provides guidelines for controlling access to and from external systems and networks. The order requires segregation and access control between all of the FAA’s NAS systems and networks from their associated external systems and networks. All external network access to the FTI Ops IP Network is controlled through approved FAA security extranet gateways.

FTI Ops IP extranet gateways provide security control services using a combination of stateful packet inspection firewall, VPN tunneling, Virus scanning and application proxy technology.  The initial gateway has been implemented at the William J. Hughes Technology Center (WJHTC). Additional Extranet Gateways are being installed and implemented at other sites to provide physical diversity and geographical proximity to external users to reduce latency and costs associated with connectivity to the external side of the gateways. Internal access to the gateway is available from all NAS facilities with access to FTI Ops IP Network. External access is available from specifically identified access locations via either Internet connectivity or dedicated service connections.

### Extranet Gateway for External (non-NAS) Users (ED8)

The ED8 Gateway provides Ops IP services with the ability to communicate to external (FAA non-NAS or non-FAA) users. The application layer data flow is thus between a NAS system and an external system, both of which require connectivity to the Ops IP Network. The general guiding definition is that an external user is a user component (inter-networking interface) of a system that that is not in the NAS administrative domain and thus has not been through the FAA/NAS Security Certification and Authorization processes. All external users must connect to the Ops IP network via an extranet gateway. ED8 services provide secure data transfer between specific external user SDPs and NAS user SDPs and are thus inherently connection oriented. Since individual Ops IP interfaces are point-to-cloud (connection-less) services, an association between multiple services is required in order to define an end-to-end service flow between a NAS system and an external (non-NAS) system.

#### ED8 Service Segments

An end-to-end extranet gateway service requires at least two service demarcation points (SDPs), an Internal ED8 SDP and an External ED8 SDP, and the establishment of an association between these two SDPs.  A typical end-to-end extranet service includes the following three segments:

- External access to the ED8 Gateway can be implemented via the Internet or a dedicated transmission service (DTS). A VPN tunnel is required for each external user connection implemented via Internet access. See Appendix H for Internet VPN details.

- An internal connection is required from the internal NAS system SDP to the gateway; these connections provision an internal limited access sub-network within the Ops IP Network. External service data flows within the Ops IP Network are constrained to the sponsor program’s internal limited access sub-network.

- An association between an external user connections and internal Sponsor program limited access sub-networks is required to establish an end-to-end data flow; the authorized data flow association is implemented via an application proxy within the ED8 extranet gateway.

##### Extranet Gateway Capabilities

The FTI extranet gateway provides the capability to connect entities in different security enclaves, such as a NAS system (connected to the Ops IP network) and a system external to the NAS. The FTI extranet gateway provides the capability to protect information flows over an un-trusted environment; it protects the information from the time the data enters the security control at the remote end of an access connection until it exits the user side of the internal ED8-enabled SDP. Ideally all connections through the gateway utilize a full application (layer 7) proxy Appropriate and required security controls at the remote user and NAS sponsor program access LAN’s are determined and defined as part of the FAA SCAP process for the sponsoring NAS system.

##### Extranet Services and Associated Security Controls

A NAS user system PO participating in an extranet service has the added responsibility to act as an extranet user “Sponsor” for external systems connecting to the NAS to access that system. As part of this responsibility the sponsoring NAS PO must ensure that the system security controls adhere to all guidelines and procedures defined for the NAS. Extranet security controls to be used to communicated to external users are delineated by a NAS Sponsor Program as part of the that systems’ SCAP process and are also defined in a user-specific inter-connection agreement (IA) between the NAS sponsoring program and an external user. Once the sponsoring NAS PO identifies an appropriate set of security controls, it specifies which controls will be implemented within the user system, which will be implemented within the sponsor system and which will be implemented within the extranet gateway. Those security controls to be implemented within the ED8 Extranet Gateway must be specified in sufficient detail for them to be ordered and implemented via the FTI vendor. Exhibit 5-1 depicts an example end-to-end extranet data flow; the open arrows represent the three end-to-end service segments described in Section 5.4.1.1.

Figure 5-1.  Extranet Gateway Data Flows and Security Controls

NAS Boundary protection is implemented as a combination of physical, personnel and information security controls. Information security controls include controls implemented within the NAS Sponsor program, the external system and the ED8 Extranet Gateway. The NAS Sponsor program SCAP package includes the description and specification of all security controls to be implemented within each of these information security areas.

An external system is required to implement security controls capable of establishing a VPN tunnel between the external user system WAN access device and the ED8 Extranet Gateway. The security controls to be implemented within the external system should also provide industry standard information security features for isolating the external system processes from un-trusted access by un-trusted users. External system security requirements are addressed in more detail in Appendix H.

A sponsoring NAS system is required to implement an Ops IP limited access subnetwork to support required connectivity between the ED8 Gateway and its NAS system locations participating in the extranet services. The NAS system also choose to implement an internal NAS VPN and any other information security controls identified in their system SCAP that were not obtained via the ED8 extranet gateway.

ED8 gateway security controls participate in both the external and the internal systems with the NAS sponsor system.  The ED8 Application Proxy controls the data flow between the internal and external users; it also manages any and all processing required to authorize the connection of the two segments, including operations of the internal and external demilitarized zones (DMZ) and associated ED8 gateway security controls.

#### Provisioning Extranet Gateway (Ops IP ED-8) Services

Extranet services include “Internal” gateway service connections and “external” gateway service connections. Both are defined as part of ED8 security options associated with Ops IP services. Additional details for external service provisioning are provided in Appendix H.

##### Provisioning Internal Extranet Gateway (Ops IP ED-8) Services

Internal Gateway services (NAS system connections) are ordered via the same processes as any other Ops IP service requirement.  Note if the FAA system is not collocated with the Extranet Gateway, each Internal ED8 service order actually results in an Ops IP limited access sub-network with at least two Ops IP ports, one at an identified system location and a second at a gateway location. The limited access sub-network meta data discussed below is required to establish the desired sub-network for that service.  It should be noted that the ED8 internal ports at the gateway may not be one-to-one with the ED8 internal services at the various NAS system locations; i.e. one port at the gateway could suffice to terminate multiple internal ED8 connections for that program. TSG engineering will work with the NAS user system PO to define required gateway SDPs, internal SDPs and the associated limited access sub-network configuration. Once the sponsor programs limited access sub-network is defined, associated end-to-end services to be offered to external users can then be specified.

Sponsor Program Internal limited access sub-network data includes the following characteristics:

  - Standard service requirements apply:

    - Locations of all required Internal SDPs (including the SDP at the ED8 gateway)

    - Data Rate of each Internal ED8-enabled SDP

    - RMA of each SDP

  - Additional configuration management (CM) and security control information is required to configure the internal ED8 services (to be documented as part of the IP Services Description (ISD) information) including:

    - Definition of connections that are to be part of the ED-8 subnet for that user:

      - Specifically identified SDPs  that will act as the connection end-points

      - Associated USIs for each end-point

      - Assigned IP addresses for each end-point

      - Available IP address subnet at the end of each connection

    - Specification of Application proxy requirements include:

      - Limited access sub-network Identifier

      - NAS System implemented and operated security controls

      - Extranet gateway implemented security controls

      - Identification of Transport layer ports and protocol

      - Identification of Application

    - Operational parameters anticipated for associated ED-8 external services include/require:

      - Number of  anticipated external connections/services (total eventual number)

        - Number projected for first six months of operation

        - Growth factor

      - Projected data rate of individual external connections

      - Projected total data rate anticipated on external service (first year – end state)

Identification of Extranet User VPN connections to be associated with the NAS system service; this log will be incremented as additional extranet user service orders are filed.  [It is envisioned that a NAS system may wish to implement an internal ED8 service sub-network and then incrementally add extranet users.].

##### Provisioning External Extranet Gateway (Ops IP ED-8) Services

External user access is required to have a NAS system PO to sponsor its access. External service connections to Sponsor program systems can be defined once a NAS sponsoring program establishes an limited access sub-network with internal ED8 gateway connections.

An application layer ICD with the sponsoring NAS system is required to support assessment of the required application layer proxy.  It is the responsibility of the sponsoring NAS system PO to coordinate external user service provisioning with the external program and TSG engineering.

The Sponsoring NAS system is required to have completed the SCAP process and NAS connection authorization process before external ED8-enabled services are ordered.

Each external extranet gateway service order must include:

- Anticipated Data Rate and associated traffic flow characteristics

- Associated  internal NAS program SDPs (and associated USIs)

- A fixed IP Address to be used on remote (external) user side of the Access VPN

- Description of user system VPN control mechanism

Appendix H provides additional details for planning and ordering of external ED8-enabled services.

### Extranet Gateway for Trusted Users (ED10)

TBD.

### Extranet Connectivity Authorization

There are currently five approved gateway services available to support external IP connections to the NAS.  These are the NAS Aeronautical Information Management Enterprise System (NAIMES) Internet and NIPRNet Gateways, the two legacy Direct User Access Terminal (DUAT) Internet Gateways, and the FAA Telecommunications Infrastructure (FTI) gateway services.

The NAIMES Gateway services will continue to be used for their existing external connections as required, but all newly defined external NAS IP connections must use the FTI gateway services.  The evoluation of the DUATS gateways and associated services are being reevaluated.

All external NAS IP connections must be coordinated through a sponsoring NAS Program Office (PO).  Sponsoring NAS systems are required to develop and sign an Interconnection Agreement with each external user documenting all connections and services (as specified in FAA Order 1370.95).  Sponsoring NAS systems must submit all external connection requests to the Telecommunications Services Group (TSG) with a notification to the ATO ISS Program.

In order to provide segregation of external NAS IP data flows and internal NAS IP data flows, separate FTI Service Delivery Points (SDP) are required for a NAS system to communicate to external users versus internal NAS users. The FAA Operational IP network must segregate internal and external data flows while in transit.  Additionally the NAS system application assets (e.g. front-end servers) that support communications with external users must be physically separate assets from the assets (e.g. back-end servers) used for communications with internal NAS users.

Communications between NAS system front-end external communication assets and back-end internal NAS communication assets must be made through a Designated Approving Authority (DAA) approved security control (such as a firewall or filtering router service)  that limits communications to only the addresses, ports, protocols and services required for operations.  If operational requirements prevent this type of segregation, a waiver request that includes justification must be submitted by the NAS System PO to the DAA.

Legacy systems that are changing connectivity from non-IP to IP-based communications require a Security Certification and Authorization Package (SCAP) revision.  Any NAS System PO requesting an external NAS IP connection must contact the ATO ISS Program to set up a Level of Effort meeting to determine the extent of the SCAP revision required.

# Management and Monitoring

FTI provides centralized network management and operations (NMO) for the Operational IP Network.  The Ops IP Network is owned and operated by Harris, the prime contractor. Harris is responsible for managing all NMO activities for the Ops IP Network.  These activities include performing scheduled maintenance, restoration, repair, and configuration of the both FTI-installed customer premises equipment (CPE) and coordinating the same activities with their partner telecommunications service providers.

The focal point for managing these activities is the FTI Primary Network Operations Control Center (PNOCC) in Melbourne, Florida; a Backup NOCC (BNOCC) is located in Chantilly, VA. The FTI NOCCs, however, have a single POC as far as the FAA is concerned; this is referred to as the PNOCC (with the understanding that the BNOCC may actually be the active control center at times) In general, the NMO function performed by the FTI NOCC is responsible for the following as related to FTI services:

- Providing oversight and management of the FTI network

- Remotely monitoring and controlling the FTI installed CPE

- Coordinating the activities of their partner telecommunications service providers

- Coordinating scheduled maintenance activities

- Coordinating response to unscheduled FTI service interruptions and/or outages

- Coordinating the activities of the on-site FTI technicians

- Exchanging information about the status, configuration, and performance of FTI services to various Technical  Operations organizations

FTI uses a Unique Service Identifier (USI) to designate each specific interface. Each USI has a designated primary and backup Technical Operations Control Center (TOCC) contact, e.g. a SOC or an OCC.  When the PNOCC needs to contact the FAA about a specific USI, e.g. to report a problem or to request a maintenance release, the PNOCC will contact the TOCC.  Likewise, users should contact their TOCC regarding operational issues with FTI services.  Users and/or the TOCC identify their USIs while communicating with the PNOCC for easy identification and better service.

.

# Future Capabilities

This section discusses emerging FTI capabilities and features that have a potential of being provided as services in the near future.  These capabilities include Quality of Service (QoS), and IPv6.

## Quality of Service (QoS)

QoS refers to the capability of a network to provide better service to selected network traffic over various technologies.  FTI has implemented an aspect of QoS which in FTI is referred to as Rate Limiting (see Section 3.3 for details).  Additional rate limiting and service enhancement options are being discussed and pursued with the FTI service provider, including implementation of full QoS mechanism to further enhance the customer service performance on the FTI Operational IP Network.  Some of the ideas under discussion and evaluation by the FTI service provider are:

- Use of a combination of “packet marking” on the user input ports and the use of WAN QOS mechanisms, to implement a more tolerant rate limiting mechanism.

- The possibility of processing intra-facility IP traffic, with and without rate limiting and QoS implementation for the same.

## IPv6

At the present time IPv6 is considered to be an emerging service.  The Ops IP network service provider is in the process of performing evaluations on IPv6 routing within the FTI backbone using routers at selected sites in order to meet relevant agency mandate related to IPv6 compliance.  FTI CPE is capable of supporting IPv6.   There currently is no firm schedule for supporting IPv6 on the Operational IP Network.

# FAQ (TBD)

Does FTI support or provide Domain Name Services (DNS)?

A DNS translates domain names into IP addresses.  Currently, there is no NAS-wide DNS scheme.  NAS IP users have historically maintained their own DNS.  With NAS wide systems like System Wide Information management (SWIM) that leverage the OPS IP network in the horizon, the importance of NAS-wide DNS is essential.  FTI managed DNS services are limited to the Ops IP address space reserved for Ops IP management traffic and limited extranet applications. At the present time, users continue to be responsible for implementing DNS for their network operations.

Has FTI gone through a Certification & Accreditation process?

FTI is a fully certified system.  The Level 3 Security Certification and Authorization Package (SCAP) was approved September 2005.  This SCAP addresses both NAS and non-NAS infrastructure.  A copy of this relevant Certification and Accreditation (C&A) documents for FTI can be obtained from the program office on request.

Additional FAQs

This is a living document and additional FAQs will be addressed as they come up. Readers are encouraged to submit additional questions as questions and concerns arise.

# Appendix A: FTI Program Points of Contact

Telecommunications Services Group (TSG) Manager
Steve Dash
Steve.Dash@faa.gov

FAA Telecommunications Infrastructure (FTI) Program Manager
Curtis Porter
Curtis.Porter@faa.gov

TSG Engineering Manager 
Maureen Cedro 202-493.1410
Maureen.Cedro@faa.gov

TSG Security Lead 
Jerry Hancock 202.493.5936
Jerry.Hancock@faa.gov

TSG Interoperability Test Lead 
Jim Skalski  609.485.5706

Jim.Skalski@faa.gov

TSG Operations Lead 
Jeff McCoy  202493.5987

Jeffrey.E.McCoy@faa.gov

IP Address Assignment 
NAIMES Technical Support 
Telephone: (703) 326-3905
e-mail:  7-AWA-NAIMES@faa.gov

# Appendix B: FTI Service Classes

FTI telecommunications service classes define specific combinations of RMA, latency  and basic-security levels and are defined in the FTI Telecommunications Services Description (FTSD) document. The latest version of this document is Modification P013. The domain of FTI Service classes associated with the Ops IP Network includes service classes (SC) SC-71, SC-72, SC-73, SC-74 and SC-75.  These services class definitions (as extracted from the FTSD) are provided in Table B-1 for the convenience of the reader.   Enhanced security levels are defined in 4.2.13 of the FTSD.

Table B-1.  Service Class Parameters

| SERVICE CLASS | RMA CAT. | LATENCY LEVEL | BASIC SECURITY LEVEL | INTERFACE TYPE | INTERFACE SECTION (FTSD) | SDP-SDP SECTION (FTSD) | INTERFACE NUMBERS | FEATURE SECTION (FTSD) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 71 | RMA2 | LL-3 | BD1 | ETHERNET DDC | 5.6, 5.8 & 5.9 5.3.2-5.3.5 5.11 & 5.12 | 6.7 6.4 | TABLE 6.4-1 | 4.3.11 |
| 72 | RMA3 | LL-3 | BD1 | ETHERNET DDC T1 | 5.6, 5.8 & 5.9 5.3.2-5.3.5 5.11 & 5.125. 5.4.1.1-5.4.1.4 | 6.7 6.4 6.5.1-6.5.4 | TABLE 6.4-1 TABLE 6.5-1, 6.5-2 or 6.5-3 | 4.3.11 |
| 73 | RMA3 | LL-3 | BD1 | ETHERNET DDC | 5.6, 5.8 & 5.9 5.3.2-5.3.5 5.11 & 5.12 | 6.7 6.4 | TABLE 6.4-1 | 4.3.13 |
| 74 | RMA3 | LL-3 | BD1 | VG ETHERNET ISDN-PRI | 5.1 5.6, 5.8 & 5.9 5.4.2 | 6.1 6.7 6.3 | TABLE 6.1-1 | 4.3.11 |
| 75 | RMA4 | LL-3 | BD1 | ETHERNET FDDI DDC | 5.6, 5.8 & 5.9 5.7 & 5.9 5.3.2-5.3.5 5.11 & 5.12 | 6.7 6.7 6.4 | TABLE 6.4-1 | 4.3.13 |

Definition of Interface Types:

- VG		Includes 4-wire and 2-wire physical interfaces for VG-1, VG-3, VG-6 and VG-8 as specified in section 5.1 of the FTSD

- DDC		Includes RS-232, RS-449, RS-530/530A and V.35 physical interfaces at all data rates from .075 to 1536 Kbps as specified in section 5.3.2 to 5.3.5 of the FTSD.

- DDS		Includes 4-wire physical interfaces at all data rates from 2.4 to 56 Kbps as specified in section 5.3.1 of the FTSD.

- T1		Includes 4-wire physical interfaces for F-1, FB-1, T1C-1536 and T1B-1536 as specified in sections 5.4.1.1 to 5.4.1.4 of the FTSD.

- T1C-1544	Includes 4-wire physical interfaces for T1C-1544 as specified in section 5.4.1.5 of the FTSD.

- ISDN		Includes 4-wire physical interfaces for ISDN-PRI at 1544 Kbps as specified in section 5.4.2 of the FTSD.

- T3		Includes 4-wire physical interfaces for T-3 and Fractional T-3 as specified in section 5.4.3 of the FTSD.

- ETHERNET	Includes physical interfaces for 10BASE-T, 100BASE-T and Gigabit IP service as specified in section 5.6 and 5.9 of the FTSD.

- FDDI		Includes physical interfaces for Fibre Distributed Data Interface (FDDI) IP service as specified in section 5.7 and 5.9 of the FTSD.

# Appendix C: Diversity and Avoidance

The FTI Operational IP Network backbone is highly available and has ten fully meshed core nodes (see Figure C-1). Diversity and avoidance are terms that refer to the separation between telecommunications paths and/or services such that the cause of a disruption or failure in one of the paths will not likely cause a failure in the other path, and therefore a service can continue in spite of the failure.

Figure C-1: FTI Backbone

#### Path Diversity for FTI Services

Path Diversity is defined as physical, electrical, optical, or media separation in the routing of a single connectivity along either of two paths between the SDPs, such that a failure at one point on either path shall not cause the loss of both paths.  For operational IP services diversity is interpreted as diversity between the SDP and the backbone, i.e., diversity for a NAS Operational IP service is defined as diversity in the access of the SDP to the Ops IP backbone as depicted in Figure 2-1  and repeated here as Figure C-2.

High availability (RMA-2 and RMA-3) connection-less (also referred to as point-to-cloud services) Ops IP services provide diversity from the SDP to the Ops IP backbone; the selection of a high availability service class implicitly defines the need for SDP to backbone diversity and is not ordered explicitly.  Facility B on the right of Figure C-2 illustrates the dual access connection of a high availability Ops IP service.

Figure C-2: Ops IP Network Backbone

#### Ops IP Service Avoidance

FTI service avoidance is defined as physical, electrical, optical, and media separation in the routing of multiple services (with endpoints at the same or different facilities) such that a failure at one point on either path shall not cause the loss of both services.  Avoidance thus has the same access properties as diversity, except it is defined between two service paths instead of two paths for a single service.

For operational IP services two ports ordered with avoidance implies the two ports will have avoided paths from their SDP to the operational IP backbone, i.e., the two ports would be implemented with access avoidance. Avoidance must be explicitly ordered. When ordering avoidance for a particular service, one must define what other service is to be avoided. Ordering two SDPs with avoidance also provides the dual access connection to the backbone as depicted at Facility B in Figure C-2

With Ops IP service avoidance, the user has multiple services and thus multiple interfaces to the FTI network and the FTI network will provide separate paths for access.  In case of failure of a path, the end user will have the responsibility to provide any switching elements (hardware and software) necessary for switching between the primary and the backup access path.  Switching will not be transparent to the IP user and the user will have to use separate IP addresses for the different interfaces. Dual interfaces to FTI are often practically implemented with automatic routing protocols such as BGP to ensure that service disruption is minimal.

# Appendix D: References and Terminology

## References

- FTI Telecommunications Services Description( FTSD), Modification P013, Attachment J.1, Document DTF01-02-D-03006, Feb 2005, Federal Aviation Administration, Washington, DC.

- Engineering Guide to FTI Services, August 2003, Federal Aviation Administration, Washington, DC.

- Policing and Shaping Review, Cisco IOS Quality of Service Solutions Configuration Guide, Release 12.1, http://www.cisco.com/en/US/products/sw/iosswrel/ps1831/products_configuration_guide_chapter09186a00800c60d1.html, CISCO Corporation, San Jose, CA.

- Internet Protocol Version 4 (IPv4) Address Assignment Plan,
NAS1370-500.5, August 2004, Air Traffic Organization, Federal Aviation Administration, Washington, DC.

- FTI Security CONOPS,  Version 2.0, March 2005, Federal Aviation Administration, Washington, DC.

- FTI Network Management & Operations Concept of Operations,  Version 2.0.1, March 2005, Federal Aviation Administration, Washington, DC,

- FAA WAN Connectivity Security, Order 1370.95, November 2006 , Federal Aviation Adminsitration, Washington, DC.

## Terminology

In this document, the following definitions are used:

Access Device: An Ops IP access device is defined as user system equipment that supports user connections to the FTI Operational IP network.

Circuit:  A circuit is a point-to-point or multipoint telecommunications link between specific locations.

Corrective Maintenance and Service Restoration:  Corrective maintenance is defined as the automated (e.g., alternate path switching, dial back-up) and manual (e.g., remote reconfiguration by Network Management and Operations (NMO) personnel, technician dispatched to site) actions taken by FTI to restore a service outage. Corrective maintenance is separate and distinct from preventive maintenance.

Edge Device: An Ops IP edge device is defined as an FTI CPE element that supports user connections to the FTI Operational IP network.

Emerging Services:  The term “emerging service” refers to a new program’s projected required services or new services for existing programs.

Extranet: An extranet is part of the FAA’s intranet that is extended to users outside the FAA. In the context of this document, an extranet is a private network that uses the Internet protocols and public telecommunications resources to provide secure access from FAA suppliers, vendors, partners, customers, or businesses to a subset of FAA’s intranet resources.

FTI Connection Oriented Service:  An FTI connection oriented service is an SDP-to-SDP telecommunication link provided by the FTI service provider.

FTI Ops IP Service Delivery Point (SDP): An FTI Ops IP Service Delivery Point (SDP) is defined as the point of demarcation between a User System and the Ops IP Network. Interface characteristics are referenced to either the User-side or Network-side of the SDP.

Internet Access Point (IAP): An IAP is defined as a specialized form of a security gateway used for connecting protected FAA network resources and the Internet. There are restrictions on the types of FAA network resources that are allowed to connect to an IAP.

NAS Intranet: The FAA intranet is a TCP/IP-based information and content management infrastructure.  It is accessible only by NAS systems and users for the purpose of sharing data. NAS intranet services are provisioned via NAS systems (TCP protocol machines are embedded in the NAS systems themselves) which access NAS inter-connection services (see NAS System-to-System Ops IP services) provisioned from the FTI Operational IP network.

NAS System-to-System Ops IP Service:  While Ops IP services are defined, ordered and implemented as individual Point-to-Cloud services, logical NAS end-to-end data flows allow two NAS systems to communicate using the IP protocol.

Ops IP SDP Connection:  An Ops IP SDP connection is a circuit or local cable providing a communications path for the flow of IP packets (over Data Link and Physical mechanisms and protocols) between a user access device and an FTI edge device.

Ops IP Network:  The NAS Operational IP Network is the IP-based service offering available via the FTI contract. It is composed of an IP-based backbone infrastructure and associated user accesses referred to as IP Service Delivery Points (SDPs).

Ops IP Extranet Gateway: The Ops IP extranet gateway is a specialized form of a security gateway implemented on the Ops IP Network.  It is used to extend the FAA’s intranet to users outside the FAA.  The Ops IP extranet is implemented by approved external communications from authorized non-NAS entities to the external side of the Ops IP extranet gateway.

Ops IP Relay Functions:  Ops IP relay functions (sometimes referred to as the forwarding function) include all processing and storage and handling of user packets to enable the transfer of a user packet from a source to a destination SDP.

Ops IP Routing Functions:  Ops IP routing functions include all processing and exchange of management data required to determine the routing of a user packet within the Ops IP Network.   This includes the exchange of addressing and routing information across an Ops IP Connection (i.e. between a user access device and an FTI edge device) and routing exchanges between various network layer entities (routers) within the Ops IP Network. IP Routing protocols enable routers to build up a forwarding table that correlates final destinations with next hop addresses.

Ops IP Service: Ops IP services are connection-less (sometimes referred to as Point-to-Cloud) services. They have a single SDP that provides connectivity to the NAS Ops IP network. For Ops IP services the service is not end-to-end but extends from the user system to the Ops IP network.

Preventive Maintenance:  Preventive maintenance is defined as any FTI maintenance action that is planned and scheduled in advance. Preventive maintenance is tracked against individual connectivities and support system interfaces, and may be either service interrupting or non-service interrupting. Preventive maintenance is separate and distinct from corrective maintenance.

Reliability and Availability:  For purposes of reliability and availability, an outage occurs whenever any interface, SDP-to-SDP service, or network performance parameter is not within specified performance limits.  Minimum requirements for SDP-to-SDP services and support system interfaces are provided in the FTSD.

Security Gateway:  A controlled access point between a protected network and an unprotected network.

# Appendix E: Protocol and Interface Standards

1.	Physical Layer

- Ethernet interface as specified in IEEE 802.3

- EIA/TIA-232 interface as specified in ANSI/EIA/TIA-232-C, D, and E

- EIA/TIA-449 interface as specified in EIA/TIA-449A

- EIA-530 interface as specified in EIA/TIA-530

- EIA-530A interface as specified in EIA/TIA-530A

- V.35 interface as specified in ITU V.35 and ISO 2593

- ISDN interface (2B+D) as specified in ASNI (T1.601) and ASNI (T1.601)

- T1 interface as specified in ANSI T1.403-1999

- T3 interface as specified in Bellcore GR-499-CORE Section 10.5.4

- FDDI as specified in IEEE 802.5

- Data Link Layer

- PPP as specified in RFC 1661

  - Other PPP related RFCs that are supported are:

    - RFC 1663: PPP Reliable Transmission, July 1994

    - RFC 1662: HDLC-Like Framing, July 1994

    - RFC 1598: PPP in X.25, March 1994

    - RFC 1618: PPP over ISDN, May 1994

    - RFC 2363: PPP over FUNY, July 1998

    - RFC 1570: PPP LCP Extentions, January 1994

    - RFC 2484: PPP LCP Internationalization Configuration Option, Jaunuary 1999

    - RFC 1989: PPP Link Quality Monitoring, August 1996

    - RFC 1962: The PPP Compression Control Protocol (CCP), June 1996

    - RFC 1994: PPP Challenge Handshake Authentication Protocol (CHAP), August 1996

    - RFC 2284: PPP Extensible Authentication Protocol (EAP), March 1998

    - RFC 1968: The PPP Encryption Control Protocol (ECP), June 1996

    - RFC 2419: The PPP DES Encryption Protocol, Version 2 (DESE-bis), September 1998

    - RFC 2420: The PPP Triple-DES Encryption Protocol (3DESE), September 1998

- SLIP as specified in RFC 1055

  - The SLIP interface supports physical dedicated serial links and dialup lines with line speeds from 1.2 kbps to 19.2 kbps

- Ethernet MAC layer as specified in IEEE 802.3 and Ethernet II; Ethernet LLC layer as specified in IEEE 802.2 LLC

- FDDI MAC and LLC layers as specified in ANSI X3.239-1994 and IEEE 802.2 LLC respectively

- Network Layer

- RFC 791: Internet Protocol, September 1981

- RFC 792: Internet Control Message Protocol (ICMP), September 1981

- RFC 919: Broadcasting Internet Datagrams, October 1984

- RFC 922: Broadcasting Internet Datagrams in the Presence of Subnets, October 1984

- RFC 950: Internet Standard Subnetting Procedure, August 1985

- RFC 1112: Host Extensions for IP Multicasting, August 1989

- RFC 1654:  Border Gateway Protocol 4 (BGP-4), July 1994

- RFC 1247:  Open Shortest Path First (OSPF) Version 2, July 1991

- RFC 2281:  Hot Standby Router Protocol (Cisco), March 1998

- Transport Layer

  - RFC 793:  Transmission Control Protocol (TCP), September 1981

  - RFC 768:  User Datagram Protocol (UDP), August 1980

Additional RFC Compatibility

The RFCs listed in the previous section were explicitly identified in the FTI FTSD and/or associated documentation.  The development of the FTI Operational IP Network has resulted in an IP network that is compatible with any Internet Engineering Task Force (IETF) request For Comments (RFC) supported by the Cisco IOS.  The complete list of Cisco compatible RFCs is can be found on the Cisco web site:

“http://www.cisco.com/en/US/products/ps6350/prod_bulletin0900aecd802eaa4f.html”

In general, FTI Operational IP services will support any service as defined in the above reference for standards supported in CISCO IOS Software releases 12.4 and 12.2S.  However, there are many RFCs/features that have not (at time of the writing of this document) been tested in the FTI test bed at the WJHTC.  Any questions or concerns about Ops IP compatibility should be referred to the TSG engineering staff.

Appendix F: Sample IP Service Description (ISD)

General items contained in ISD for a particular service (SDP)

- Program Name

- Connectivity ID

- USI (once one has been assigned)

- Facility LID

- Facility FAC

- Required Availability

- Required Restoration Time

- Latency Limit

- Avoidance (between multiple SDPs, i.e. identification of pairs of SDPs that should avoid each other)

- RMA Level

- Service_Class

- SVC

- PDC

- Interface_Type

- Security Level

- Required_Service_Date

- Domain of communicating systems {Set of SDPs with which the defined SDP will communicate}

- Projected data rate of each data flow identified in item 19 (in each direction)

- Max_Data_Rate (sum of all expected data flows through a SDP)

- Busy_Hour_Usage

Additionally, for BD1 Services

- Multicast or Unicast Services

- Multicast Group Addresses

- Routing Protocol in use by user program

- BGP Peer (if applicable)

- Distance from user equipment to FTI SDP

- SDP physical interface

- User equipment at SDP

- Applicable subnets/hosts

- User program operating systems

- Client-server applications using the WAN

- IP addresses of management workstations

- Technical POC

For ED3 and Internal ED8 VPN Subnet Tunnel Services

- VPN subnet reference_name

- SDP (referenced by either a Connection_ID or a USI) of each end of each VPN tunnel

- For an Internal ED8 VPN at least one SDP is required to be co-located with an Extranet Gateway

- Allowable Tunnel Protocols

- Allowable Tunnel Ports

- Address Range and Subnet Mask for each side of each VPN tunnel

- VPN subnet service Technical POC

- For Internal ED8 VPN subnets:

- Anticipated number of external connections

- Anticipated data rate of each external connection

For External ED8 Services

- Associated NAS System Internal VPN Subnet reference Name

- Source IP Address, Subnet, Host and Port of external user system access device

- ED8 service Technical POC

For ED6 Services (in addition to BD1 Material)

- Source Address, Subnet, Host and Port

- Destination Address, Subnet, Host and Port

- Technical POC

# Appendix G: Acronyms

ADTN		Agency Data Telecommunications Network

AH		Authentication Header

AMS		Acquisitions Management System

ANSI		American National Standards Institute

ARTCC	Air Route Traffic Control Center

ATC		Air Traffic Control

ATCT		Airport Traffic Control Tower

ATMS		Asynchronous Transfer Mode Service

ATO		Air Traffic Operations

BD1		Basic Data

BD2		Basic Data with IPSec AH

BGP		Border Gateway Protocol

BNOCC	Backup Network Operations Control Center (FTI)

Bps		Bits per Second

BWM		Bandwidth Manager

C&A 		Certification & Accréditation

CCITT		Comite Consultatif Internationale de Telegraphique et Telephonique

CDRL		Contract Deliverable Requirements List

COI		Critical Operation Issues

CONOPS	Concept of Operations

COS		Class of Service

COTS		Commercial off-the-Shelf

CPE		Customer Premises Equipment

CPP		Critical performance Parameters

CSIRC		Computer Security Incident Response Center

DAA		Designated Approving Authority

DCE		Data Circuit Terminating Equipment

DDC		Direct Digital Connectivity

DDS		Digital Data Services

DMN		Data Multiplexing Network

DMZ		de-militarized zone

DNS		Domain Name Service

DS		Dedicated Service

DS-1		Digital Service-1

DS-2		Digital Service-2

DS-3		Digital Service-3

DTE		Data Termination Equipment

DTS		Dedicated Transmission Service

EAP		Extensible Authentication Protocol

ED2		Encryption

ED3		VPN Technology

ED6		Packet Filtering Firewall

ED7		Bastion Host

ED8		Extranet Gateway for Untrusted Users

ED9		Extranet Gateway for Partially Untrusted Users

ED10		Extranet Gateway for Trusted Users

ESP		Encapsulating Security Payload

F1		Fractional T-1

F3		Fractional T-3

FAA		Federal Aviation Administration

FAATSAT	FAA Telecommunications Satellite

FAC		Facility Code

FAQ		Frequently Asked Questions

FDDI		Fiber Distributed Data Interface

FIRMNet	FAA IP-Routed Multiuser Network

FNTB		FTIN National Test Bed

FR		Frame Relay

FRS		Frame Relay Service

FSA		Field Service Area

FTI		FAA Telecommunications Infrastructure

FTP		File Transfer Protocol

FTS 2001	Federal Telecommunications System 2001

FTSD		FTI Telecommunications Services Description

HDLC		High-Level Data Link Control

HSRP		Hot Standby Routing Protocol

HTTP		Hypertext Transfer Protocol

HW		Hardware

Hz		Hertz

IBS		Integrated Business System (FTI)

ICD		Interface Control Document

ICMP		Internet Control Message Protocol

IETF		Internet Engineering Task Force

IKE		Internet Key Exchange

IP		Internet Protocol

IPCP		Internet Protocol Control Protocol

IPN		Interior Protected Network

IPS		Internet Protocol Service

IPSec		IP Security

ISD		IP Service Description

ISDN		Integrated Services Digital Network

ISO		International Standards Organization

ISS		Information Systems Security

IT		Interoperability Testing

Kbps		Kilobits Per Second

Khz		Kilohertz

LAN		Local Area Network

LAPB		Link Access Procedures, Balanced

LDRCL	Low Density Radio Communications Link

LINCS		Leased Interfacility NAS Communications System

LL		Latency Limit

LLC		Logical Link Control

MAC		Media Access Control

Mbps		Megabits Per Second

MOU		Memorandum of Understanding

Ms		Milliseconds

MSD1		Basic Mission Support Data Service

MTBO		Mean Time Between Outage

MTTR		Mean Time To Repair

NADIN	National Airspace Data Interchange Network

NAIMES	NAS Aeronautical Information Management

NAS		National Airspace System

NAT		Network Address Translation

NIMS		NAS Infrastructure Management System

NMO		Network Management and Operations

NNCC		National Network Control Center (FAA)

NOCC		Network Operations Control Center (FAA)

O&M		Operations and Maintenance

OCC		Operations Control Center (FAA)

OT		Operational Testing

PAT		Port Address Translation

PNOCC	Primary Network Operations Control Center (Service Provider)

PO		Program Office

POC		Point of Contact

POP		Point of Presence

PP		Protection Profile

PPP		Point-to-Point Protocol

PSN		Packet Switched Network

QoS		Quality of Service

RCL		Radio Communications Link

RFC		Request for Comments

RFS		Request for Service

RMA		Reliability/Maintainability/ Availability

RTP		Real Time Protocol

SA		Service Acceptance

SCAP		Security Certification and Authorization Package

SDP		Service Delivery Point

SIR		Screening Information Request

SLIP		Serial Line IP

SMO		System Management Office

SMTP		Simple Mail Transfer Protocol

SNMP		Simple Network Management Protocol

SOC		Service Operations Center (FAA)

SSC/WC	Service Support Center/Work Center

SUI		Security Users Interface

SWIM		System Wide Information Management

T-1		1.544 Mbps (DS-1) Service

TBD		To Be Determined

TCP		Transmission Control Protocol

TDM		Time Division Multiplexing

TOCC	Technical Operations Control Center, a generic term for the FAA control center (such as an OCC, SOC, etc.) serves as the operational point of contact for an individual FTI service

TRACON	Terminal Radar Approach Control Center

TSG		Telecommunications Service Group

TSP		Telecommunications Service Priority

TPP		Telecommunications Program Plan

UDP		User Datagram Protocol

UTP		Unshielded Twisted Pair

UI		User Interface

USI		Unique Service Identifier

VG		Voice Grade

VPN		Virtual Private Network

WAN		Wide Area Network

WJHTC	William J. Hughes Technical Center

APPENDIX H:  Ops IP External User Service Connection Guidelines

(This appendix is being revised.)

Background / Purpose

For the purposes of this document any system not in the FAA’s National Airspace System (NAS) security enclave is considered an external system. This appendix provides guidance to external system owners for provisioning a connection to a NAS system. External connections to a NAS system require security controls as defined in the FAA Telecommunications Infrastructure (FTI) Enhanced Data security - option 8 (referred to as ED8-enabled services). ED8-enabled services support the establishment of virtual connections between NAS systems and external systems. ED8 services can extend the NAS Ops IP network into an “extranet” over non-FAA transport resources (such as the Internet or Dedicated Transmission Services, DTSs). FTI ED8 extranet gateways terminate all ED8-enabled services. The gateway makes use of IP Security (IPSec) controls such as Virtual Private Networks (VPNs) to create authorized connections between external systems and the ED-8 gateway; these VPN tunnels are referred to as “Access VPN” security controls. Similar security controls are used to connect the ED-8 gateway to the desired NAS system; these Ops IP connections are referred to as an “Ops IP VPN Subnet”. Additional FTI Network security controls, referred to as the ED8 Application Proxy, support the connection of access VPN tunnels to the Ops IP VPN Subnet. The combination of Access VPN tunnels, FTI network security controls and additional security controls implemented by the NAS sponsor program are used to establish “Boundary Protection” for critical NAS systems. Figure H-1 depicts a typical extranet connection between a NAS system and an external system.

Figure H-1.  Ops IP Extranet Connection

Roles and Responsibilities

FAA Sponsor Program – Extranet services, by definition, provide a service connection between a NAS system and an external system.  It is the responsibility of the NAS system participating in an extranet service connection to be the “Sponsor Program” for the external system. The FAA Sponsor Program manages the “application space” and associated data with which an external user system interacts.  This group acts as the champion for establishing end-to-end connectivity services via FAA telecommunications assets.  They provide all application details (such as ICDs), create Memorandum of Agreements (MOAs) and exchange technical data required for establishing a connection, including the acquisition of public IP address space through the FAA’s centrally managed address authority and managing data exchanges.  The sponsor program is also responsible for certifying the data quality, ensuring NAS system integrity and ultimately obtaining authorization to connect the external system to the Ops IP network.

FAA Telecommunications Services Group (TSG) – TSG provisions and manages all telecommunication services for the FAA including FTI and the associated FTI Operational (Ops) IP network resources.  The Ops IP network provides network level connectivity between an FAA system and the ED8 extranet gateway.  The Ops IP network is thus the mechanism that transfers IP packets between an FAA sponsor system and the internal side of the extranet gateway.  TSG accepts external service connection requests from the NAS Sponsor Program and works with the Sponsor PO (and the external system owner as required) to define extranet service attributes:

- Connection attributes of NAS sponsor system to internal side of the extranet gateway

- Connection attributes of external end-user program to the external side of the gateway.

- Security control attributes of extranet gateway required for permitting information flows between the internal VPN Subnet and the access VPN tunnels.

Once the end-to-end service connection is understood and funded, TSG submits service orders to the FTI vendor for the required ED8-enabled services and associated security controls.

FAA Telecommunications Infrastructure (FTI) Vendor – FTI Services (including all Ops IP services and associated ED8-enabled extranet services) are installed and operated by the FTI Vendor.  Once extranet gateway services are ordered, appropriate resources are installed and configured by the FTI vendor. The FTI Vendor will work directly with the external system technical staff to establish, configure and verify connectivity to appropriate external systems as required. The Ops IP staff operates network level services only and is not involved in the design or specification of application layer services and associated data exchanges.

Extranet End-User – The Extranet end-user is the external organization that intends to provide and/or consume NAS data. An external system must comply with all FAA policies and technical requirements as well as sign any MOAs required to operate.  The end-user should appoint a single point of contact to manage and oversee establishment of connectivity.  This is particularly required in organizations where several departments are employed to build the connection.

Getting Connected

The basic process for getting connected via an ED8 extranet gateway service includes:

- Complete Initial Planning:

- Work with FAA sponsor program to gather the necessary information on the application operation including Interface Control Documents (ICDs) and other guidance material.

- Exchange IP address information (with NAS sponsor program and TSG engineers) necessary to configure the access VPN tunnels and allow the application to connect to the ED8 gateway.  This data will be documented via an “IP Supplemental Form”.

- Verify extranet VPN equipment for compatibility with Ops IP access VPN requirements.

- Complete and return any required program MOA/MOU.

- Establish Connection:

- Work with the FTI Vendor (Harris) Ops IP staff to configure the access VPN tunnel between the external system access device and the FAA ED8 extranet gateway.

- Get Certified:

- In some cases, it will be necessary to certify your system before it is allowed to communicate with FAA operational (NAS) systems.  This may be accomplished by connection to an interim test system.  This step is FAA sponsor program dependent and often includes interoperability testing with the FAA sponsor program.

- Begin Operation:

- Once the FAA application sponsor grants permission to operate, you will be allowed the appropriate access to exchange data.  Please see section below “Support Concept” for additional information.

External End-User Security Responsibilities

ED8-enabled services are used to establish virtual connections between NAS systems and external systems not directly attached to the NAS. ED8-enabled services thus facilitate the extension of the NAS network into an “extranet” by using non-FAA transport resources (such as the Internet or Dedicated Transmission Services, DTSs). Each end of an extranet connection must be secured from hostile attack.  Some NAS programs require periodic audits to certify compliance with established security requirements.  The security requirements can vary by NAS program, depending upon the sensitivity of the data. Complete detail for a specific NAS program is provided in the MOA as developed by the sponsoring NAS system for external users.

For the purpose of general guidance, the following notes are considered standard practice in the establishment of security controls for isolating processes that will connect to a NAS system via the Ops IP extranet gateway (These descriptions reference terms as illustrated in Figure H-1):

- External systems are required to install security controls to protect any application processing environment that interfaces to a NAS system via extranet services.  The objective of external system security controls is to isolate the external processes, access devices and the associated ED8-enabled interface from other external systems and un-trusted user access.

- External system security controls are required to have the following properties:

  - Established security policies

    - Have a documented security policy.

    - Demonstrate adherence to all security policies.

    - Security policy must allow only approved traffic flows.

    - Security policy must be granular enough to specify filtering based on source IP address, destination IP address, and ports.

  - Security controls must protect the application environment and associated access device that that implements the user-side of the NAS Service Delivery Point (SDP).

    - Security controls and access device must be on the same platform, or the security controls must be between the access device and the Internet.

  - The security controls must maintain logs that store data necessary to analyze a potential attack.

    - Logs must show detailed data on connection attempts and VPN negotiations.

    - Logs must be made available to FAA upon request.

  - The security control must employ minimum firewall functionality such as stateful inspection.

  - The client hosts (platforms for the external application processes and access device) participating in the access VPN must be protected from unauthorized access and Internet attack.

- An external user must run the VPN and security control software on a machine that runs a secured and hardened operating system.

- The user must maintain the remote end access VPN security control and additional firewall operating system software at a currently supported version and apply all appropriate system and security patches.

Support Concept

The FAA Sponsor Programs (example:  Traffic Flow Management (TFM), NADIN/ Weather Message and Switching Center Replacement (WMSCR) maintain operations staff and monitor the health of their program’s applications and associated extranet service instantiations.  Individual application support groups act as the one-stop hotline for interaction with external customers, providing all coordination and assistance for application based operations.  Ops IP Network operations provide support only after it has been determined to be a network / extranet service connectivity issue.  FTI does not monitor individual user VPNs and is not aware of the state of applications. For these reasons it is critical that all support be coordinated though the sponsor program.

Ops IP Access VPN Tunnel Technical Requirements

To establish and operate an access VPN service to the ED8 extranet gateway, external users must comply with all security configurations as well as be compatible with ED8 gateway equipment.  IPSec encompasses a suite of protocols, however the FAA reserves the right to dictate particular choices to meet best practices and security mandates.  In general, to establish extranet services users must:

- Provide one or more fixed public IP addresses for the access VPN to the gateway (to be provided via the IP Supplemental form for external end-users). It is the responsibility of the NAS sponsor program to provide the data, but it is the responsibility of the external user to coordinate with both the NAS sponsor program and the TSG engineering staff to obtain all required information and configure the access VPN tunnel.

- Comply with standard ED8 access VPN service / IPSec settings:

  - Encapsulation Security Payload  (ESP)

  - Encryption:  AES-256

  - Authentication:  SHA-1

  - IPSec / IKE Authentication:  Pre-shared secret and digital certificate

  - IKE phase 1: Diffie-Hellman group 5

  - Perfect Forward Secrecy (PFS): Diffie-Hellman group 1

  - Pre-shared secret key (to be exchanged at the time of VPN establishment)

Note:  Ops IP Network does not use simplified mode, aggressive mode or VPN communities for ED8 access VPN tunnels.

- Conservatively configure security settings to permit only the required application traffic.  The IP source, destination, and ports must be fully specified.

Example:

Client source IP:		x.x.x.x

Destination IP (Server):	y.y.y.y

Destination TCP Port:		3000

- Prohibit all other access.

Equipment Compatibility

All ED8 access VPN tunnels created between the FAA and external end-user systems are based on IPSec.  Vendor implementation variances could result in compatibility problems even though IPSec is an open suite of standards (see RFC 2401 for general information).  The likelihood of vendor incompatibility has diminished significantly over the last several years.

Cisco appliances are used to decrypt/terminate ESP IPSec tunnels between the FAA and  external users. Below is the vendor documentation listing its compatibility with other Cisco products as well as known alternative vendors for this functionality.  The lists may not be complete and should not be regarded as mandatory. It is provided simply as a courtesy to potential end-users.

Site-to-Site VPN Compatibility Between FTI Cisco Appliance and Other VPN Products

| VPN Gateway | Versions Supported |
| --- | --- |
| Cisco ASA 5500 Series Appliances | Cisco ASA Software Version 7.0(1) and later |
| Cisco IOS Software Routers | Cisco IOS Software Release 12.1(6)T and later |
| Cisco PIX Security Appliances | Cisco PIX Security Appliance Software Version 6.0(1) and later |
| Cisco VPN 3000 Series Concentrators | Cisco VPN 3000 Series Concentrator Software Version 3.0 and later |

The following products have been tested successfully with the FTI Cisco Appliance Key exchange and ESP encryption:

| Vendor | Product | Product Version | Operating System |
| --- | --- | --- | --- |
| Check Point Software | *Checkpoint VPN-1/Firewall-1 NGX on SecurePlatform | R60 | customized Linux |
| Check Point Software | Checkpoint VPN-1/Firewall-1 NGX on SecurePlatform | R60 HFA03 | SecurePlatform |
| Cisco Systems | Cisco 87x & 18X Integrated Service Routers | 12.4(6)T2 | Proprietary |
| Cisco Systems | *Cisco IOS Router Family Vers 12.4(1a) | 12.4(1a) | Proprietary |
| Cisco Systems | Cisco IOS Router Family Vers 12.4(6)T | 12.4(6)T | Proprietary |
| Cisco-Linksys | BEFVP41 | 2.0 | Proprietary |
| FortiNet Inc. | FortiGate Family of Antivirus Firewalls | 2.80 | FortiOS V2.8 |
| Huawei-3com | *Quidway SecPath Security Gateway Family | 3.30 | Proprietary |
| Intoto Inc. | iGateway | 3.3SP1P25 | Proprietary |
| Juniper Networks | Netscreen Security Gateway Product Group | 5.0.0r4 | Proprietary |
| Lucent Technologies | *Lucent VPN Firewall IPsec Product Group | 8.0.302 | Proprietary |
| Lucent Technologies | Lucent VPN Firewall IPsec Product Group | 8.0.396 | Proprietary |
| Secure Computing Corporation | Sidewinder G2 Firewall | 6.1.0.00 | Proprietary |
| Stonesoft Corporation | StoneGate Firewall | 2.61 | customized Linux |
| TippingPoint, a division of 3Com | TippingPoint X505 | 2.2.4.6517 | Proprietary |