EIPP Data Management Task Team Architecture

Abstract

The Eastern Interconnection Phasor Project is advancing the state of the art in power system monitoring and shares information deemed to be valuable in enhancing the reliability of the bulk power grid. Within the project various teams have been assembled to address activities essential to the successful deployment of the project.  One of the teams is the Data Management Task Team.  This paper will describe both the current and future states of data management and especially how the future state will support the long term vision of the EIPP that calls for delivering value within the operations environment using new inter-regional information and measurement systems.

.

1. Introduction

The work of the EIPP is carried out in six Task Teams with coordination and guidance from a Work Group consisting of over 220 interested stakeholders. Each of the Task Teams is led by an industry member with support from a DOE-funded CERTS team member. The Task Team leads along with NERC, CERTS and DOE representation form a Leadership Committee that acts to facilitate communication and coordination among the project team members [1].  This paper will focus on the work of one the teams, the Data Management Task Team.  Specifically, we will present both the current and proposed future architecture that will support the EIPP data transfer, synchronization, references and archiving.

2. Existing Architecture

Within the EIPP, each participating organization sets its own requirements for data management and handling. To support the EIPP endeavor the Tennessee Valley Authority (TVA) has made a substantial investment in developing a centralized EIPP Phasor Data Concentrator, called a “Super

PDC”, and have set up a comprehensive database of phasor measurements. The initial objectives for the Super PDC were simple. First and foremost the project team wanted to create a system with an open and completely scalable architecture that specifically supported the most popular phasor data transmission protocols, in particular: PC37.118, IEEE1344, the BPA PDCstream and Ole for Process Control (or OPC).

Figure 1 – Existing Architecture

In the current working implementation of the Super PDC, all of these transmission protocols have been developed. The project team has tested and deployed IEEE1344, PDC stream and OPC. Additionally, the C37.118 protocol is currently being tested with several different PMU vendors.

3. Improving the Architecture

Recently, the data management task team has been working to develop an architecture that will support the transition of the EIPP from a research project with useful operational characteristics into a highly robust, fault tolerant, and scaleable information system that can be used in mission critical aspects of power system operations (as input to state estimators and network security analysis applications for example).  Such an architecture will enable the EIPP to evolve into a North American Phasor Data Network (NAPDN) if desired.

Any good architecture needs to be derived from a solid set of requirements.  Other EIPP working groups are developing these requirements more formally, but the data management task team has identified several key system elements that have led to an initial proposal for the new architecture.  Those requirements have led to identifying a need for the following standardized interfaces:

- Aggregated real-time phasor data stream input

- Un-aggregated real-time phasor data stream input

- Aggregated real-time phasor data stream output

- Historical database query / response, publish / subscribe interface

- Web based application interfaces

These interfaces are designed to allow applications that can benefit from phasor measurement data – both real time and historical – to have a well defined method of obtaining that data from several points within the overall NAPDN. Figure 2 illustrates the overall architecture.

Figure 2 – NAPDN Architecture

The overall network topology is a hub and spoke type design.  The hub is represented by the element labeled the Distributed Phasor Data Repository (DPDR).  This entity is actually a distributed computing / communications environment that is geographically dispersed but still serves as the hub for the purposes of this architecture.  The spokes leading away from the hub terminate at Corporate Entities (CE) which represents the end users and producers of phasor measurement data.

Figure 3 drills down into the DPDR to reveal its underlying topology.  The DPDR consists of three corporate entities which all receive, maintain, and replicate all of the real time phasor data streams and all historical data.  Each of these corporate entities exposes several identical interfaces that provide access to the data products as well as necessary management applications to maintain the DPDR itself.

Figure 3 – Distributed Data Repository

Each Corporate Entity (CE) has the same architecture and interfaces whether they are part of the DPDR or are at the end of a spoke as a client.  Figure 4 illustrates the CE architecture and interfaces.  Each CE maintains one or more Phasor Measurement Units (PMU), a Phasor Data Concentrator (PDC), a local data historian, and one or more applications.

Figure 4 – Corporate Entity Architecture

The externally visible interfaces are very similar to those at the DPDR level and include:

- Aggregated real-time phasor data stream input

- Un aggregated real-time phasor data stream input

- Aggregated real-time phasor data stream output

- Historical database query / response, publish / subscribe interface

These interfaces allow the CE to act as either a simple client and supplier of PMU data to the CM, or to act as one of the constituent CEs of the DPDR itself.  When a CE acts as part of the DPDR, the same interfaces and internal actors (PDC and historian) are used to maintain a replicated image of the real-time phasor data stream and historical data for the entire network.  The architecture is the same for all CEs, but the network and data management elements would be sized appropriately to handle full data set.

Figure 5 illustrates the standardized interfaces to the individual components (actors) that make up a CE.  All of these interfaces are the same as those defined previously.  The strength of the architecture lies in its use of a small number of well defined interfaces based on international standards.  The interfaces are the same in each of the entities in the architecture but they are used differently and have different capacity requirements depending on where they lie in the hierarchy.

This high level architectural proposal is intended to provide a vehicle for discussion.  As the discussion evolves, more complete architectural renderings, use cases, interface descriptions, message requirements, and other architectural elements must be developed and documented.  In particular, the formal requirements being developed by other EIPP teams must be supported by relevant use cases, analyzed, and then mapped to appropriate technologies that will be used to implement the architecture.

Figure 5 – CE Component Actors and Interfaces

4. Message Architecture Design Options

The previous section described a vision for the high level conceptual architecture for the NAPDN.  The data management team has done some preliminary investigation into some of the details of how the interfaces described earlier might be implemented and the messaging architecture that might be capable of supporting it.

5. Reference Implementation

In an effort to bring this design “down to earth” and explore implementation issues, a reference architecture is under development.  A publish / subscribe architecture has been chosen due to its many successful implementations and demonstrated scalability by various vendors including BEA (www.bea.com), Tibco (www.tibco.com) and IBM (www.ibm.com).   As you can see from figure 6, the collective capability of a set of publish / subscribe message brokers can implement a single CM or even support a federated CM model.

Figure 6 - Set of publish/subscribe message brokers

Publish / subscribe is a style of messaging application in which the providers of information (publishers) are decoupled from the consumers of that information (subscribers) using a broker. In a publish / subscribe system, a publisher does not need to know who uses the information (publication) that it provides, and a subscriber does not need to know who provides the information that it receives as the result of a subscription.

Utilities, Super PDC’s, regulatory organizations can publish their phasor information to the CM cloud without a concern as to how the data is replicated and can browse/subscribe to the information by topic.

6. Topic Trees

It is important to separate the actual phasor data from the metadata that describes the phasor streams.   Such metadata will include information about the sponsoring utility, bus monitored, voltage, substation, location, protocol, query capability and sensor characteristics for example.  Typically a message broker implements a Topic Tree that is a hierarchy of the metadata that will be used for browsing / subscribing. Wild cards can be used in a metadata query to determine the available PMU streams.  This metadata tree can initially be configured with a few key nodes but can be extended indefinitely as utilities implement / publish additional PMU’s.   These publications can be forwarded immediately to current subscribers, retained indefinitely or expire some time in the future.  A typical topic tree might be a geographic tree such as:

Figure 7 – Topic Tree generic example

Each character string in the figure represents a node in the topic tree.  A complete topic name is created by aggregating nodes from one or more levels in the topic tree.  Levels are separated by the “/” character.  The format of a fully specified topic name is: “root/level2/level3”.

The valid topics in the topic tree shown above are:

“USA”

“USA/Alabama”

“USA/Alaska”

“USA/Alabama/Auburn”

“USA/Alabama/Mobile”

“USA/Alabama/Montgomery”

“USA/Alaska/Juneau”

In defining a phasor Topic Tree it is important to identify relatively stable topic nodes.  With all the mergers and acquisitions in the utility industry a company name and corporate affiliation can be volatile.  Fortunately, transmission assets are firmly anchored in the dirt (physical location) and their voltage is fixed based on the transmission infrastructure deployed.  So a proposed stable Topic  Tree could be:

Figure 8 – Phasor Topic Tree Example

Such a structure would allow a subscriber to browse / identify the phasor measurement by region, voltage, substation or bus.  The data level could provide metadata (Information) about the actual utility, company, latitude / longitude, equipment manufacturer, date of publish / update, author or other pertinent information about the measurement.  The other data nodes could provide an actual stream of data in response to a query (History query from a historian) or URL/links to the actual PMU data streams.

6. Conclusions

The Data Management Task Team has evaluated the existing Super PDC as well as other relevant architectures and has established a proposed future architecture that will support the EIPP data transfer, synchronization, references and archiving.  They have evaluated the known requirements for data management and handling.  The data management task team has identified several key system elements that have led to an initial proposal for the new architecture.  These include: aggregated real-time phasor data stream input, un-aggregated real-time phasor data stream input, aggregated real-time phasor data stream output, historical database query / response, publish / subscribe interface and web based application interfaces.  The group has also recommended a reference architecture and also introduced the concept of Topic Trees to manage the storage and retrieval of the data and metadata.  The group still has significant work to complete within the EIPP but is well on its way to establishing a solid model for the other working

7. References

[1] Eastern Interconnection Phasor Project Donnelly, M.; Ingram, M.; Carroll, J.R. System Sciences, 2006. HICSS '06. Proceedings of the 39th Annual Hawaii International Conference on Volume 10,  Date: 04-07 Jan. 2006.