Intermediate LAP Problems

Based on evaluation of previous problems submitted where the metrologist used a computer for calculations, all problems must now be worked with a hand calculator and all steps should be included for evaluation.  Each problem is worth 10% of the final grade.

The intermediate problems have been revised to develop your interpretation of training materials and assess your ability to evaluate and integrate procedures and measurement control processes in the laboratory.  Most of the problems will not have a right or wrong answer but will evaluate your thinking process in addition to your measurement skills.  Provide a calibration report for each problem as appropriate:  3, 4, 5, 9.

Summary of Contents:

1.	Calculation of Air Buoyancy

2.	Estimation of Magnitude and Significance of Air Buoyancy Correction

3.	Double Substitution of Unequal Nominal Weights and the Use of Tare Weights (1 kg to 2 lb, with ABC)

4.	Performance of 3-1 Weighing Design at 1 kg level (1. vs 1.. vs Summation)

5.	Compare actual results of calibration of a 100 g test item using both a double substitution procedure and a 3-1 weighing design.  Discuss advantages and disadvantages of each.

6.	Length Calibration

7.	Volume Transfer Measurement Control

8.	Performance of Gravimetric Calibration

9.	Cause and Effect Diagram of either 1) Mass, 2) Length, or 3) Volume.  Identify sources of variation.

10.	Measurement Error Analysis of either 1) Mass, 2) Length, or 3) Volume.  Estimate magnitude of uncertainty components from #9.

1.	Following SOP 2, Calculate the es and the a values.  Show all of your work, including any conversions.  HINT: pay attention to details.  Also, use the CIPM formula - you may download an executable Fortran file from our internet site:  http://www.nist.gov/labmetrology, under Technical Resources.

Situation A:

Temperature		20 °C

Pressure		760 mm Hg

Humidity		42% R. H.

Situation B:

Temperature		72 °F

Pressure		29.75 in Hg

Humidity		35% R. H.

Situation C:

Temperature		70 °F

Pressure		736 mm Hg

Humidity		60% R. H.

Situation D:

Temperature		23 °C

Pressure		690 mm Hg

Humidity		10% R. H.

Situation E:

Temperature		21 °C

Pressure		101 kPa

Humidity		45% R. H.

2. 	Using the air density calculated for each of the five situations in problem number one, calculate the magnitude of the air buoyancy correction using the formula provided in SOP 2 and as indicated below to evaluate the conditions described here.  Compare the calculated value to your reported uncertainty and discuss the significance of the correction.

Condition A:

100 gram Standard, s = 8.0 g/cm3

100 gram Unknown (x), x = 8.3903 g/cm3

Condition B:

500 milligram Standard, s = 8.41 g/cm3

500 milligram Unknown (x), x = 16.6 g/cm3

3.	Using a 1-kilogram mass standard, calibrate a 2-lb mass standard.  You will need to use tare weights to bring the two values close enough together to perform a double substitution following SOP 4.  Air buoyancy corrections must be made for all weights used in the comparison.  Estimate the uncertainty of the calibration and justify the components of your estimate of uncertainty.  Provide all actual data and calculations.

4.	Using two one-kilogram standards and a summation of one kilogram, perform a 3-1 weighing design.  Remember to evaluate the process standard deviation and the check standard value; provide corrections of true mass and apparent mass vs 8.0 g/cm3 for the unknown one kilogram.  If you are using reference standards with NIST calibrations, compare your observations to the NIST reported values.  Provide all data and calculations.

If you are a State metrologist you must use the 1 kg. vs 1 kg.. vs  500 g, 300 g, and 200 g standards and compare the Cx and Sc values to the NIST reported values.  If you already maintain a control chart for these values at the 1 kilogram level, enter these values and provide a copy of that control chart.  If you don't have a control chart at the 1-kilogram level yet, use these values to start one as indicated in previous memoranda to State laboratories.

5.	Perform a calibration of a 100-gram test item.  Use both SOP 4, double substitution and SOP 5, 3-1 weighing design.  Provide Cx values and an estimate of uncertainty for both procedures.  Compare your results and discuss the advantages and disadvantages of each procedure for general calibration purposes in your laboratory.  Be sure to discuss advantages and disadvantages in terms of verifying uncertainties and proving traceability, as well and integrating measurement control needs into the calibration process.

6.	Length Calibration.  Length calibrations (or dimensional calibrations) have received the least attention in the OWM training programs.  A few metrologists have expressed concern that the amount of training is inadequate.  Please discuss what areas you feel have not been covered adequately.  Review SOP 10, 11, and 12 and note what items you have concerns about.  Prepare an outline that you would use to present length calibrations to new metrologists and include all topics you feel would be essential.

7.	Volume Transfer Measurement Control.

a.  	Discuss the volume transfer workload in your laboratory.

b.  	Detail the measurement control program you have in place to assess uncertainties as well as traceability to NIST.  Provide an example.

c.  	Discuss the advantages and disadvantages of your current measurement control program, from the perspective of adequacy, time required to maintain measurement control, time required for assessment, problems with implementation and/or integration into your calibration and testing process.

d.  	Make recommendations (for review) to improve your current measurement control practices to minimize the disadvantages yet maintain the advantages for effectively estimating uncertainties and maintaining traceability.

8.	Perform a gravimetric calibration using either SOP 13, 14, 15, or other fully documented procedure.  Indicate which procedure was used, provide all data, calculations, and a completed calibration report that fully describes the test item.  You may select any appropriate artifact from your laboratory for the test.  Examples: pipet, buret, glass flasks, metal 1- or 5-gallon neck type or slicker plate standard.  Be sure to select the best procedure, balance, and standards for your test.  Provide an estimate of the calibration uncertainty and justify the uncertainty components used in the measurement error analysis.

9.	Prepare a Cause & Effect Diagram (blank form attached) for any measurement service provided by your laboratory.  Be as complete in your assessment of sources of error as possible.

10.	Using the sources of error from problem number 9, estimate the magnitude of error that may be contributed by each component.  Prepare a table of the components and try to estimate how much error or uncertainty may be contributed by each item.  Justify your estimates with any data, observations, or documentation that you have available.

| Source of Error | Estimate of Magnitude |
| --- | --- |