Section III.	Public Notice Rule - Primacy Revision Crosswalk  Example Format

The Primacy Revision Crosswalk will be used by EPA in determining, section by section, whether the State regulations are as stringent as the federal regulations.

The revised PN Rule amended the Consumer Confidence Report (CCR) rule as well as various provisions in 40 CFR Part 141 to be consistent with the final Public Notification Regulation.  All of the sections in 40 CFR Part 141 affected by these changes are listed first in the PN crosswalk beginning on the following page.

| Primacy Revision Crosswalk for the PN Rule |
| --- |
| FEDERAL REQUIREMENT | FEDERAL CITATION | STATE CITATION Document title; page #; and § or ¶ | If different than federal requirement note here and explain on separate sheet |
| SUBPART B - MAXIMUM CONTAMINANT LEVELS |
| §141.11- Maximum Contaminant Levels for Inorganic Chemicals |
| The non-community water system is meeting the public notification requirements under §141.209, including continuous posting of the fact that nitrate levels exceed 10 mg/l and the potential health effects of exposure; and * * * * | §141.11(d)(2) |  |  |
| SUBPART C - MONITORING AND ANALYTICAL REPORTING REQUIREMENTS |
| §141.21 - Coliform Sampling; and §141.22 - Turbidity Sampling and Analytical Requirements |
| Amended by revising “§141.32" to read “Subpart Q” in §141.21(g)(1) and (g)(2) and §141.22(b) | §141.21(g)(1) §141.21(g)(2) §141.22(b) |  |  |
| §141.23 - Inorganic Chemical Sampling and Analytical Requirements |
| Amended by revising “§141.32" to read “Subpart Q” in §141.23(n) and (o) | §141.23(n) §141.23(o) |  |  |
| Where nitrate or nitrite sampling results indicate an exceedance of the maximum contaminant level, the system shall take a confirmation sample within 24 hours of the system’s receipt of notification of the analytical results of the first sample. Systems unable to comply with the 24-hour sampling requirement must immediately notify persons served by the public water system in accordance with §141.202 and meet other Tier 1 public notification requirements under Subpart Q of this part. Systems exercising this option must take and analyze a confirmation sample within two weeks of notification of the analytical results of the first sample. | §141.23(f)(2) |  |  |

| §141.24 - Organic Chemicals Other Than Total Trihalomethanes, Sampling and Analytical Requirements |
| --- |
| Amended by removing §141.24(f)(15)(iii) and §141.24(h)(11)(iii) | §141.24(f)(15)(iii) §141.24(h)(11)(iii) |  |  |
| §141.26 - Monitoring Frequency for Radioactivity in Community Water Systems; and §141.30 - Total Trihalomethanes Sampling, Analytical, and Other Requirements |
| Amended by revising “§141.32" to read “Subpart Q” | §141.26(a)(4) §141.26(b)(5) §141.30(d) |  |  |
| SUBPART D - REPORTING AND RECORDKEEPING |
| §141.31- Reporting Requirements |
| The public water system, within 10 days of completing the public notification requirements under Subpart Q of this part for the initial public notice and any repeat notices, must submit to the primacy agency a certification that it has fully complied with the public notification regulations. The public water system must include with this certification a representative copy of each type of notice distributed, published, posted, and made available to persons served by the system and to the media. | §141.31(d) |  |  |
| §141.33 - Record Maintenance |
| Copies of public notices issued pursuant to Subpart Q and certifications made to the primacy agency pursuant to §141.31 must be kept for three years after issuance. | §141.33(e) |  |  |

| SUBPART G - NATIONAL REVISED PRIMARY DRINKING WATER REGULATIONS: MAXIMUM CONTAMINANT LEVELS AND MAXIMUM RESIDUAL DISINFECTANT LEVELS |
| --- |
| §141.63 - Maximum Contaminant Levels for Microbiological Contaminants |
| Amended by revising “§141.32” to read “Subpart Q” in §141.63(b) | §141.63(b) |  |  |
| SUBPART H - FILTRATION AND DISINFECTION |
| §141.75 - Reporting and Recordkeeping Requirements |
| If at any time the turbidity exceeds 5 NTU, the system must consult with the primacy agency as soon as practical, but no later than 24 hours after the exceedance is known, in accordance with the public notification requirements under §141.203(b)(3). | §141.75(a)(5)(ii) |  |  |
| If at any time the turbidity exceeds 5 NTU, the system must consult with the primacy agency as soon as practical, but no later than 24 hours after the exceedance is known, in accordance with the public notification requirements under §141.203(b)(3). | §141.75(b)(3)(ii) |  |  |
| SUBPART L - DISINFECTANT RESIDUALS, DISINFECTION BYPRODUCTS, AND DISINFECTION BYPRODUCT PRECURSORS |
| §141.133 - Compliance Requirements |
| Amended by revising “§141.32” to read “Subpart Q” in §141.133(b)(1)(i), (b)(1(iii), (b)(2), (b)(3), and (c)(1)(i) | §141.133(b)(1)(i) §141.133(b)(1)(iii) §141.133(b)(2) §141.133(b)(3) §141.133(c)(1)(i) |  |  |
| Amended by revising“§141.32(a)(1)(iii)(E)” (which appears twice) to read “Subpart Q” in §141.133(c)(2)(i) | §141.133(c)(2)(i) |  |  |
| Amended by revising “§141.32(e)(78)” to read “Subpart Q” in §141.133(c)(2)(ii) | §141.133(c)(2)(ii) |  |  |
| SUBPART O - CONSUMER CONFIDENCE REPORTS |
| §141.153 - Content of the Reports |
| A report that contains data on contaminants that EPA regulates using any of the following terms must include the applicable definitions: *** | §141.153(c)(3) |  |  |
| Maximum residual disinfectant level goal or MRDLG: The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. | §141.153(c)(3)(iii) |  |  |
| Maximum residual disinfectant level or MRDL: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. | §141.153(c)(3)(iv) |  |  |
| Contaminants subject to an MCL, action level, maximum residual disinfectant level, or treatment technique (regulated contaminants). | §141.153(d)(1)(i) |  |  |
| The likely source(s) of detected contaminants to the best of the operator’s knowledge. Specific information regarding contaminants may be available in sanitary surveys and source water assessments, and should be used when available to the operator. If the operator lacks specific information on the likely source, the report must include one or more of the typical sources for that contaminant listed in Appendix A to this subpart that are most applicable to the system. | §141.153(d)(4)(ix) |  |  |
| The table(s) must clearly identify any data indicating violations of MCLs, MRDLs, or treatment techniques, and the report must contain a clear and readily understandable explanation of the violation including: the length of the violation, the potential adverse health effects, and actions taken by the system to address the violation. To describe the potential health effects, the system must use the relevant language of Appendix A to this subpart. | §141.153(d)(6) |  |  |
| Lead and copper control requirements prescribed by Supbart I of this part. For systems that fail to take one or more actions prescribed by §§ 141.80(d), 141.81, 141.82, 141.83, or 141.84, the report must include the applicable language of Appendix A to this subpart for lead, copper, or both. | §141.153(f)(3) |  |  |
| Treatment techniques for acrylamide, epichlorohydrin prescribed by Subpart K of this part. For systems that violate the requirements of Subpart K of this part, the report must include the relevant language from Appendix A to this subpart. | §141.153(f)(4) |  |  |
| §141.154 - Required Additional Health Information |
| Community water systems that detect TTHM above 0.080 mg/l, but below the MCL in §141.12, as an annual average, monitored and calculated under provisions of §141.30, must include health effects language for TTHMs prescribed by Appendix A. | §141.154(e) |  |  |

| §141.155 - Report Delivery and Recordkeeping |
| --- |
| Any system subject to this subpart must retain copies of its Consumer Confidence Report for no less than 3 years | §141.155(h) |  |  |
| Appendix A to Subpart O |
| Appendices A, B, and C to Subpart O (published with the final CCR Rule) contained various pieces of information about the contaminants EPA regulates. Those 3 appendices are deleted and the information is combined into a new, comprehensive Appendix A to Subpart O. | Appendices A, B, and C to Subpart O |  |  |
| The new Appendix A to Subpart O contains: -New regulatory and health effects language from the Stage 1 D/DBP rule that EPA published in December 1998. -Revised health effects language for fluoride and fecal coliform/E. coli MCL violations. Revised Appendix A to Subpart O can be found, after the PN crosswalk. |  |  |  |

| SUBPART P - ENHANCED FILTRATION AND DISINFECTION |
| --- |
| §141.175 - Reporting and Recordkeeping Requirements |
| If at any time the turbidity exceeds 1 NTU in representative samples of filtered water in a system using conventional filtration treatment or direct filtration, the system must consult with the primacy agency as soon as practical, but no later than 24 hours after the exceedance is known, in accordance with the public notification requirements under §141.203(b)(3). | §141.175(c)(1) |  |  |
| If at any time the turbidity in representative samples of filtered water exceed the maximum level set by the State under §141.173(b) for filtration technologies other than conventional filtration treatment, direct filtration, slow sand filtration, or diatomaceous earth filtration, the system must consult with the primacy agency as soon as practical, but no later than 24 hours after the exceedance is known, in accordance with the public notification requirements under §141.203(b)(3). | §141.175(c)(2) |  |  |

| SUBPART Q - PUBLIC NOTIFICATION RULE |
| --- |
| §141.201- General Public Notification Requirements |
| Who Must Give Public Notice? Each owner or operator of a public water system (community water systems, non-transient non-community water systems, and transient non-community water systems) must give notice for all violations of national primary drinking water regulations (NPDWR) and for other situations, as listed in Table 1 to §141.201 of the federal rule. The term NPDWR violations is used in this subpart to include violations of the maximum contaminant level (MCL), maximum residual disinfection level (MRDL), treatment technique (TT), monitoring requirements, and testing procedures in part 141. | §141.201(a) |  |  |
| (From Table 1 to §141.201 - Violation Categories and Other Situations Requiring a Public Notice) NPDWR violations |  |  |  |
| (i) Failure to comply with an applicable MCL or MRDL. |  |  |  |
| (ii) Failure to comply with a prescribed TT. |  |  |  |
| (iii) Failure to perform water quality monitoring, as required by the drinking water regulations. |  |  |  |
| (iv) Failure to comply with testing procedures as prescribed by a drinking water regulation. |  |  |  |

| (2) Variances and exemptions under §§1415 and 1416 of SDWA. |  |  |  |
| --- | --- | --- | --- |
| (i) Operation under a variance or an exemption. |  |  |  |
| (ii) Failure to comply with the requirements of any schedule that has been set under a variance or exemption. |  |  |  |
| (3) Special public notices |  |  |  |
| (i) Occurrence of a waterborne disease outbreak or other waterborne emergency. (ii) Exceedance of the nitrate MCL by non-community water systems (NCWSs), where granted permission by the primacy agency under 141.11(d) of this part. (iii) Exceedance of the secondary maximum contaminant level (SMCL) for fluoride. (iv) Availability of unregulated contaminant monitoring data. (v) Other violations and situations determined by the primacy agency to require a public notice under this subpart, not already listed in Appendix A. |  |  |  |
| What Type of Public Notice Is Required for Each Violation or Situation? Public notice requirements are divided into three tiers to take into account the seriousness of the violation or situation and of any potential adverse health effects that may be involved. The public notice requirements for each violation or situation listed in Table 1 of this section are determined by the Tier to which it is assigned. Table 2 of this section provides the definition of each Tier. Appendix A of this part identifies the tier assignment for each specific violation or situation. (From Table 2 to §141.201 - Definition of Public Notice Tiers ) | §141.201(b) |  |  |
| Tier 1 public notice - required for NPDWR violations and situations with significant potential to have serious adverse effects on human health as a result of short-term exposure. |  |  |  |
| Tier 2 public notice - required for all other NPDWR violations and situations with potential to have serious adverse effects on human health. Tier 3 public notice - required for all other NPDWR violations and situations not included in Tier 1 and Tier 2. |  |  |  |
| Who Must Be Notified? Each PWS must provide public notice to persons served by the water system, in accordance with this subpart. PWSs that sell or otherwise provide drinking water to other PWSs (i.e., to consecutive systems) are required to give public notice to the owner or operator of the consecutive system. The consecutive system is responsible for providing public notice to the persons it serves. If a PWS has a violation in a portion of the distribution system that is physically or hydraulically isolated from other parts of the distribution system, the primacy agency may allow the system to limit distribution of the public notice to only persons served by that portion of the system which is out of compliance. Permission by the primacy agency for limiting distribution must be granted in writing. A copy of the notice must also be sent to the primacy agency, in accordance with the requirements under §141.31(d). | §141.201(c) §141.201(c)(1) §141.201(c)(2) §141.201(c)(3) |  |  |
| §141.202 - Tier 1 Public Notice Requirements - Form, Manner, and Frequency of Notice |
| Which Violations or Situations Require a Tier 1 Public Notice? Table 1 of this section lists the violation categories and other situations requiring a Tier 1 public notice. Appendix A to this subpart identifies the Tier assignment for each specific violation or situation. (From Table 1 to §141.202 - Violation Categories and Other Situations Requiring a Tier 1 Public Notice) Violations of the MCL for total coliforms when fecal coliform or E. coli are present in the water distribution system (as specified in §141.63(b)), or when the water system fails to test for fecal coliforms or E. coli when any repeat sample tests positive for coliform (as specified in §141.21(e)); | §141.202(a) |  |  |
| (2) Violation of the MCL for nitrate, nitrite, or total nitrate and nitrite, as defined in §141.62, or when the water system fails to take a confirmation sample within 24 hours of the system’s receipt of the first sample showing an exceedance of the nitrate or nitrite MCL, as specified in §141.23(f)(2); |  |  |  |
| (3) Exceedance of the nitrate MCL by non-community water systems, where permitted to exceed the MCL by the primacy agency under §141.11(d), as required under §141.209; |  |  |  |
| (4) Violation of the MRDL for chlorine dioxide, as defined in §141.65(a), when one or more samples taken in the distribution system the day following an exceedance of the MRDL at the entrance of the distribution system exceed the MRDL, or when the water system does not take the required samples in the distribution system, as specified in §141.133(c)(2)(i); |  |  |  |
| (5) Violation of the turbidity MCL under §141.13(b), where the primacy agency determines after consultation that a Tier 1 notice is required or where consultation does not take place within 24 hours after the system learns of the violation; |  |  |  |

| (6) Violation of the Surface Water Treatment Rule (SWTR) or Interim Enhanced Surface Water Treatment Rule (IESWTR) treatment technique requirement resulting from a single exceedance of the maximum allowable turbidity limit (as identified in Appendix A), where the primacy agency determines after consultation that a Tier 1 notice is required or where consultation does not take place within 24 hours after the system learns of the violation; |  |  |  |
| --- | --- | --- | --- |
| (7) Occurrence of a waterborne disease outbreak, as defined in §141.2, or other waterborne emergency (such as a failure or significant interruption in key water treatment processes, a natural disaster that disrupts the water supply or distribution system, or a chemical spill or unexpected loading of possible pathogens into the source water that significantly increases the potential for drinking water contamination); |  |  |  |
| (8) Other violations or situations with significant potential to have serious adverse effects on human health as a result of short-term exposure, as determined by the primacy agency either in its regulations or on a case-by-case basis. |  |  |  |

| When is the Tier 1 Public Notice to be Provided? What Additional Steps Are Required? | §141.202(b) |  |  |
| --- | --- | --- | --- |
| PWSs must: Provide public notice as soon as practical but no later than 24 hours after the system learns of the violation; Initiate consultation with the primacy agency as soon as practical, but no later than 24 hours after the PWS learns of the violation or situation, to determine additional public notice requirements; and | §141.202(b)(1) §141.202(b)(2) |  |  |
| Comply with any additional public notification requirements (including any repeat notices or direction on the duration of posted notices) that are established as a result of the consultation with the primacy agency. Such requirements may include the timing, form, manner, frequency, and content of repeat notices (if any) and other actions designed to reach all persons served. | §141.202(b)(3) |  |  |
| What is the Form and Manner of the Public Notice? | §141.202(c) |  |  |
| PWSs must provide the notice within 24 hours in a form and manner reasonably calculated to reach all persons served. The form and manner used by the PWS are to fit the specific situation, but must be designed to reach residential, transient, and non-transient users of the water system. |  |  |  |

| In order to reach all persons served, water systems are to use, at a minimum, one or more of the following forms of delivery: |  |  |  |
| --- | --- | --- | --- |
| Appropriate broadcast media (such as radio and television); | §141.202(c)(1) |  |  |
| Posting of the notice in conspicuous locations throughout the area served by the water system; | §141.202(c)(2) |  |  |
| (3) Hand delivery of the notice to persons served by the water system; or | §141.202(c)(3) |  |  |
| (4) Another delivery method approved in writing by the primacy agency. | §141.202(c)(4) |  |  |
| §141.203 - Tier 2 Public Notice Requirements - Form, Manner, and Frequency of Notice |
| Which Violations or Situations Require a Tier 2 Public Notice? Table 1 of this section lists the violation categories and other situations requiring a Tier 2 public notice. Appendix A to this subpart identifies the tier assignment for each specific violation or situation. (From Table 1 to §141.203 - Violation Categories and Other Situations Requiring a Tier 2 Public Notice) | §141.203(a) |  |  |
| All violations of the MCL, MRDL, and treatment technique requirements, except where a Tier 1 notice is required under §141.202(a) or where the primacy agency determines that a Tier 1 notice is required; |  |  |  |
| Violations of the monitoring and testing procedure requirements, where the primacy agency determines that a Tier 2 rather than a Tier 3 public notice is required, taking into account potential health impacts and persistence of the violation; and |  |  |  |
| Failure to comply with the terms and conditions of any variance or exemption in place. |  |  |  |
| When is the Tier 2 Public Notice to be Provided? | §141.203(b) |  |  |
| PWSs must provide public notice as soon as practical, but no later than 30 days after the system learns of the violation. If the public notice is posted, the notice must remain in place for as long as the violation or situation persists, but in no case for less than seven days, even if the violation or situation is resolved. The primacy agency may, in appropriate circumstances, allow additional time for the initial notice of up to three months from the date the system learns of the violation. Extensions granted by the primacy agency must be in writing. | §141.203(b)(1) |  |  |
| The PWS must repeat the notice every three months, as long as the violation or situation persists, unless the primacy agency determines that appropriate circumstances warrant a different repeat notice frequency. | §141.203(b)(2) |  |  |
| In no circumstance may the repeat notice be given less frequently than once per year. Primacy agency determinations allowing repeat notices to be given less frequently than once every three months must be in writing. |  |  |  |

| For the turbidity violations specified in this paragraph, PWSs must consult with the primacy agency as soon as practical but no later than 24 hours after the PWS learns of the violation, to determine whether a Tier 1 public notice under §141.202(a) is required to protect public health. When consultation does not take place within the 24-hour period, the water system must distribute a Tier 1 notice of the violation within the next 24 hours (i.e., no later than 48 hours after the system learns of the violation), following the requirements under §141.202(b) and (c). | §141.203(b)(3) |  |  |
| --- | --- | --- | --- |
| Consultation with the primacy agency is required for: Violation of the turbidity MCL under §141.13(b); or ) Violation of the SWTR or IESWTR treatment technique requirement resulting from a single exceedance of the maximum allowable turbidity limit. |  |  |  |

| What is the Form and Manner of the Tier 2 Public Notice? | §141.203(c) |  |  |
| --- | --- | --- | --- |
| PWSs must provide the initial public notice and any repeat notices in a form and manner that is reasonably calculated to reach persons served in the required time period. The form and manner of the public notice may vary based on the specific situation and type of water system, but it must at a minimum meet the following requirements: |  |  |  |
| (1) Unless directed otherwise by the primacy agency in writing, a CWS must provide notice by: | §141.203(c)(1) |  |  |
| (i) Mail or other direct delivery to each customer receiving a bill and to other service connections to which water is delivered by the PWS; and | §141.203(c)(1)(i) |  |  |
| (ii) Any other method reasonably calculated to reach other persons regularly served by the system, if they would not normally be reached by the notice required in paragraph (c)(1)(i) of this section. Such persons may include those who do not pay water bills or do not have service connection addresses (e.g. house renters, apartment dwellers, university students, nursing home patients, prison inmates, etc.) | §141.203(c)(1)(ii) |  |  |
| Other methods may include: publication in a local newspaper; delivery of multiple copies for distribution by customers that provide drinking water to others (e.g. apartment building owners or large private employers); posting in public places served by the system or on the Internet; or delivery to community organizations. |  |  |  |
| (2) Unless otherwise directed by the primacy agency in writing, a NCWS must provide notice by: | §141.203(c)(2) |  |  |
| (i) Posting the notice in conspicuous locations throughout the distribution system frequented by persons served by the system, or by mail or direct delivery to each customer and service connection (where known); and | §141.203(c)(2)(i) |  |  |
| (ii) Any other method reasonably calculated to reach other persons served by the system if they would not normally be reached by the notice required in paragraph (c)(2)(i) of this section. Such persons may include those served who may not see a posted notice because the posted notice is not in a location they routinely pass by. Other methods may include: publication in a local newspaper or newsletter distributed to customers; use of E-mail to notify employees or students; or delivery of multiple copies in central locations (e.g., community centers). | §141.203(c)(2)(ii) |  |  |

| §141.204 - Tier 3 Public Notice Requirements - Form, Manner, and Frequency of Notice |
| --- |
| Which Violations or Situations Require a Tier 3 Public Notice? | §141.204(a) |  |  |
| Table 1 of this section list the violation categories and other situations requiring a Tier 3 public notice. Appendix A to this subpart identifies the tier assignment for each specific violation or situation. (From Table 1 to §141.204 - Violation Categories and Other Situations Requiring a Tier 3 Public Notice) (1) Monitoring violations under 40 CFR part 141, except where a Tier 1 notice is required under §141.202(a) or where the primacy agency determines that a Tier 2 notice is required; |  |  |  |
| Failure to comply with a testing procedure established in 40 CFR part 141, except where Tier 1 notice is required under §141.202(a) or where the primacy agency determines that a Tier 2 notice is required; |  |  |  |
| Operation under a variance granted under section 1415 or exemption granted under section 1416 of the Safe Drinking Water Act; |  |  |  |
| Availability of unregulated contaminant monitoring results, as required under §141.207; and |  |  |  |
| Exceedance of the fluoride SMCL, as required under §141.208. |  |  |  |

| When is the Tier 3 Public Notice to be Provided? | §141.204(b) |  |  |
| --- | --- | --- | --- |
| PWSs must provide the public notice not later than one year after the PWS learns of the violation or situation or begins operating under a variance or exemption. Following the initial notice the PWS must repeat the notice annually for as long as the violation, variance, exemption, or other situation persists. If the public notice is posted, the notice must remain in place for as long as the violation, variance, exemption, or other situation persists, but in no case less than seven days (even if the violation or situation is resolved). | §141.204(b)(1) |  |  |
| Instead of individual Tier 3 public notices, a PWS may use an annual report detailing all violations and situations that occurred during the previous twelve months, as long as the timing requirements of paragraph (b)(1) of this section are met. | §141.204(b)(2) |  |  |
| What is the Form and Manner of the Tier 3 Public Notice? | §141.204(c) |  |  |
| PWSs must provide the initial notice and any repeat notices in a form and manner that is reasonably calculated to reach persons served in the required time period. The form and manner of the public notice may vary based on the specific situation and type of water system, but it must at a minimum meet the following requirements: |  |  |  |
| Unless directed otherwise by the primacy agency in writing, community water systems must provide notice by: | §141.204(c)(1) |  |  |
| (i) Mail or other direct delivery to each customer receiving a bill and to other service connections to which water is delivered by the PWS; and | §141.204(c)(1)(i) |  |  |
| (ii) Any other method reasonably calculated to reach other persons regularly served by the system, if they would not normally be reached by the notice required in paragraph (c)(1)(i) of this section. Such persons may include those who do not pay water bills or do not have service connection addresses (e.g., house renters, apartment dwellers, university students, nursing home patients, prison inmates, etc..). Other methods may include: publication in a local newspaper; delivery of multiple copies for distribution by customers that provide their drinking water to others (e.g., apartment building owners or large private employers); posting in public places or on the Internet; or delivery to community organizations. | §141.204(c)(1)(ii) |  |  |

| (2) Unless otherwise directed by the primacy agency in writing, a NCWS must provide notice by: | §141.204(c)(2) |  |  |
| --- | --- | --- | --- |
| (i) Posting the notice in conspicuous locations throughout the distribution system frequented by persons served by the system, or by mail or direct delivery to each customer and service connection (where known); and | §141.204(c)(2)(i) |  |  |
| (ii) Any other method reasonably calculated to reach other persons served by the system, if they would not normally be reached by the notice required in paragraph (c)(2)(i) of this section. | §141.204(c)(2)(ii) |  |  |
| Such persons may include those who may not see a posted notice because the notice is not in a location they routinely pass by. Other methods may include: publication in a local newspaper or newsletter distributed to customers; use of E-mail to notify employees or students; or, delivery of multiple copies in central locations (e.g., community centers). |  |  |  |

| In What Situations May the Consumer Confidence Report (CCR) Be Used to Meet the Tier 3 Public Notice Requirements? | §141.204(d) |  |  |
| --- | --- | --- | --- |
| For community water systems, the CCR required under subpart O of this part may be used as a vehicle for the initial Tier 3 public notice and all required repeat notices, as long as: The CCR is provided to persons served no later than 12 months after the system learns of the violation or situation as required under §141.204(b); The Tier 3 notice contained in the CCR follows the content requirements under §141.205; and The CCR is distributed following the delivery requirements under §141.204(c). | §141.204(d)(1) §141.204(d)(2) §141.204(d)(3) |  |  |

| §141.205 - Content of the Public Notice |
| --- |
| What Elements Must Be Included in the Public Notice for Violations of NPDWR or Other Situations Requiring a Public Notice? | §141.205(a) |  |  |
| When a PWS violates a NPDWR or has a situation requiring public notification, each public notice must include the following elements: |  |  |  |
| A description of the violation or situation, including the contaminant(s) of concern, and (as applicable) the contaminant level(s); | §141.205(a)(1) |  |  |
| When the violation or situation occurred; | §141.205(a)(2) |  |  |
| Any potential adverse health effects from the violation or situation, including the standard language under paragraph (d)(1) or (d)(2) of this section, whichever is applicable; | §141.205(a)(3) |  |  |
| The population at risk, including subpopulations particularly vulnerable if exposed to the contaminant in their drinking water; | §141.205(a)(4) |  |  |
| Whether alternative water supplies should be used; | §141.205(a)(5) |  |  |
| What actions consumers should take, including when they should seek medical help, if known; | §141.205(a)(6) |  |  |
| What the system is doing to correct the violation or situation; | §141.205(a)(7) |  |  |
| When the water system expects to return to compliance or resolve the situation; | §141.205(a)(8) |  |  |
| The name, business address, and phone number of the water system owner, operator, or designee of the PWS as a source of additional information concerning the notice; and | §141.205(a)(9) |  |  |
| (10) A statement to encourage the notice recipient to distribute the public notice to other persons served, using the standard language under paragraph (d)(3) of this section, where applicable. | §141.205(a)(10) |  |  |
| What Elements Must Be Included in the Public Notice for PWSs Operating Under a Variance or Exemption? | §141.205(b) |  |  |
| If a PWS has been granted a variance or an exemption, the public notice must contain: |  |  |  |
| (i) An explanation of the reasons for the variance or exemption; | §141.205(b)(1)(i) |  |  |
| (ii) The date on which the variance or exemption was issued; | §141.205(b)(1)(ii) |  |  |
| (iii) A brief status report on the steps the system is taking to install treatment, find alternative sources of water, or otherwise comply with the terms and schedules of the variance or exemption; and | §141.205(b)(1)(iii) |  |  |
| (iv) A notice of any opportunity for public input in the review of the variance or exemption. | §141.205(b)(1)(iv) |  |  |
| If a PWS violates the conditions of a variance or exemption, the public notice must contain the ten elements listed in paragraph (a) of this section. | §141.205(b)(2) |  |  |

| How is the Public Notice to be Presented? | §141.205(c) |  |  |
| --- | --- | --- | --- |
| Each public notice required by this section: |  |  |  |
| (i) Must be displayed in a conspicuous way when printed or posted; | §141.205(c)(1)(i) |  |  |
| (ii) Must not contain overly technical language or very small print; | §141.205(c)(1)(ii) |  |  |
| (iii) Must not be formatted in a way that defeats the purpose of the notice; and | §141.205(c)(1)(iii) |  |  |
| (iv) Must not contain language which nullifies the purpose of the notice. | §141.205(c)(1)(iv) |  |  |
| (2) Each public notice required by this section must comply with multilingual requirements, as follows: | §141.205(c)(2) |  |  |
| (i) For PWSs serving a large proportion of non-English speaking consumers, as determined by the primacy agency, the public notice must contain information in the appropriate language(s) regarding the importance of the notice or contain a telephone number or address where persons served may contact the water system to obtain a translated copy of the notice or to request assistance in the appropriate language. | §141.205(c)(2)(i) |  |  |
| (ii) In cases where the primacy agency has not determined what constitutes a large proportion of non-English speaking consumers, the PWS must include in the public notice, the same information as in paragraph (c)(2)(i) of this section, where appropriate to reach a large proportion of non-English speaking persons served by the water system. | §141.205(c)(2)(ii) |  |  |
| What Standard Language Must PWSs Include in Their Public Notice? | §141.205(d) |  |  |
| PWSs are required to include the following standard language in their public notice: |  |  |  |
| Standard health effects language for MCL or MRDL violations, treatment technique violations, and violations of the condition of a variance or exemption. PWSs must include in each public notice the health effects language specified in Appendix B to this subpart corresponding to each MCL, MRDL, and treatment technique violation listed in Appendix A to this subpart, and for each violation of a condition of a variance or exemption. | §141.205(d)(1) |  |  |
| Standard language for monitoring and testing procedure violations. PWSs must include the following language in their notice, including the language necessary to fill in the blanks, for all monitoring and testing procedure violations listed in Appendix A to this subpart: . “We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During [compliance period], we [‘did not monitor or test’ or ‘did not complete all monitoring or testing’] for [contaminant(s)], and therefore cannot be sure of the quality of your drinking water during that time.” | §141.205(d)(2) |  |  |
| Standard language to encourage the distribution of the public notice to all persons served. PWSs must include in their notice the following language (where applicable): | §141.205(d)(3) |  |  |
| “Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.” |  |  |  |

| §141.206 - Notice to New Billing Units or New Customers |
| --- |
| What is the Requirement for Community Water Systems? | §141.206(a) |  |  |
| CWSs must give a copy of the most recent public notice for any continuing violation, the existence of a variance or exemption, or other ongoing situations requiring public notice to all new billing units or new customers prior to or at the time service begins. |  |  |  |
| What is the Requirement for Non-Community Water Systems? | §141.206(b) |  |  |
| NCWSs must continuously post the public notice in conspicuous locations in order to inform new consumers of any continuing violation, variance or exemption, or other situation requiring a public notice for as long as the violation, variance, exemption, or other situation persists. |  |  |  |
| §141.207- Special Notice of the Availability of Unregulated Contaminant Monitoring Results |
| When is the Special Notice to be Given? | §141.207(a) |  |  |
| The owner or operator of a community water system or non-transient, non-community water system required to monitor under §141.40 must notify persons served by the system of the availability of the results of such sampling no later than 12 months after the monitoring results are known. |  |  |  |
| What is the Form and Manner of the Special Notice? The form and manner of the public notice must follow the requirements for a Tier 3 public notice prescribed in §§141.204(c), (d)(1), and (d)(3). The notice must also identify a person and provide the telephone number to contact for information on the monitoring results. | §141.207(b) |  |  |
| §141.208- Special Notice for Exceedance of the SMCL for Fluoride |
| When is the Special Notice to be Given? | §141.208(a) |  |  |
| CWSs that exceed the fluoride SMCL of 2 mg/l as specified in §143.3 (determined by the last single sample taken in accordance with §141.23), but do not exceed the MCL of 4 mg/l for fluoride (as specified in §141.62), must provide the public notice in paragraph (c) of this section to persons served. Public notice must be provided as soon as practical but no later than 12 months from the day the water system learns of the exceedance. |  |  |  |
| A copy of the notice must also be sent to all new billing units and new customers at the time service begins and to the State public health officer. The PWS must repeat the notice at least annually for as long as the SMCL is exceeded. If the public notice is posted, the notice must remain in place for as long as the SMCL is exceeded, but in no case less than seven days (even if the exceedance is eliminated). On a case-by-case basis, the primacy agency may require an initial notice sooner than 12 months and repeat notices more frequently than annually. |  |  |  |

| What is the Form and Manner of the Special Notice? | §141.208(b) |  |  |
| --- | --- | --- | --- |
| The form and manner of the public notice (including repeat notices) must follow the requirements for a Tier 3 public notice in §§141.204(c), (d)(1), and (d)(3). |  |  |  |
| What Mandatory Language Must Be Contained in the Special Notice? | §141.208(c) |  |  |
| The notice must contain the following language, including the language necessary to fill in the blanks: |  |  |  |
| ‘”This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age. At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/l) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community water system [name] has a fluoride concentration of [insert value] mg/l. |  |  |  |
| Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to contact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water. |  |  |  |
| Drinking water containing more than 4 mg/l of fluoride (the U.S. Environmental Protection Agency’s drinking water standard) can increase your risk of developing bone disease. Your drinking water does not contain more than 4 mg/l of fluoride, but we’re required to notify you when we discover that the fluoride levels in your drinking water exceed 2 mg/l because of this cosmetic dental problem. |  |  |  |
| For more information, please call [name of your water system contact] of [name of community water system] at [phone number]. Some home water treatment units are also available to remove fluoride from drinking water. To learn more about available home water treatment units, you may call NSF International at 1-877-NSF-HELP.” |  |  |  |

| §141.209 - Special Notice for Nitrate Exceedances Above MCL by Non-Community Water Systems (NCWS), Where Granted Permission by the Primacy Agency under §141.11(d) |
| --- |
| When is the Special Notice to be Given? | §141.209(a) |  |  |
| The owner or operator of a non-community water system granted permission by the primacy agency under §141.11(d) to exceed the nitrate MCL must provide notice to persons served according to the requirements for a Tier 1 notice under §141.202(a) and (b). |  |  |  |
| What is the Form and Manner of the Special Notice? | §141.209(b) |  |  |
| Non-community water systems granted permission by the primacy agency to exceed the nitrate MCL under §141.11(d) must provide continuous posting of the fact that nitrate levels exceed 10 mg/l and the potential health effects of exposure, according to the requirements for Tier 1 notice delivery under §141.202(c) and the content requirements under §141.205. |  |  |  |

| §141.210 - Notice By Primacy Agency On Behalf of the Public Water System |
| --- |
| May the Primacy Agency Give Notice on Behalf of the PWS? | §141.210(a) |  |  |
| The primacy agency may give the notice required by this subpart on behalf of the owner and operator of the PWS if the primacy agency complies with the requirements of this subpart. |  |  |  |
| What is the Responsibility of the PWS When Notice is Given by the Primacy Agency? | §141.210(b) |  |  |
| The owner or operator of the PWS remains responsible for ensuring that the requirements of this subpart are met. |  |  |  |

Appendix A  to Subpart O – Regulated Contaminants

Key

AL=Action Level

MCL=Maximum Contaminant Level

MCLG=Maximum Contaminant Level Goal

MFL=million fibers per liter

MRDL=Maximum Residual Disinfectant Level

MRDLG=Maximum Residual Disinfectant Level Goal

mrem/year=millirems per year (a measure of radiation                     absorbed by the body)

N/A=Not Applicable

NTU=Nephelometric Turbidity Units

(a measure of water clarity)

pCi/l=picocuries per liter (a measure of radioactivity)

ppm=parts per million, or milligrams per liter (mg/l)

ppb=parts per billion, or micrograms

per liter (g/l)

ppt=parts per trillion, or nanograms              per liter

ppq=parts per quadrillion, or                          picograms per liter

TT=Treatment Technique

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major Sources in Drinking Water | Health Effects Language |
| --- | --- | --- | --- | --- | --- | --- |
| Microbiological Contaminants |
| Total Coliform Bacteria | MCL: (systems that collect 40 samples/ month) 5% of monthly samples are positive; (systems that collect < 40 samples/ month) 1 positive monthly sample | 0 | Naturally present in the environment | Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems. |
| Fecal coliform and E. coli | 0 | 0 | Human and animal fecal waste |  |  |  |  |

|  |  |  | Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely-compromised immune systems. |
| --- | --- | --- | --- |
| Total organic carbon (ppm) | TT | - | TT | n/a | Naturally present in the environment | Total organic carbon (TOC) has no health effects. However, total organic carbon provides a medium for the formation of disinfection by products. These byproducts include trihalomethanes (THMs) and haloacetic acids (HAAs). Drinking water containing these byproducts in excess of the MCL may lead to adverse health effects, liver or kidney problems, or nervous system effects, and may lead to an increased risk of getting cancer. |
| Turbidity (NTU) | TT | - | TT | n/a | Soil runoff | Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea and associated headaches. |
| Radioactive Contaminants |
| Beta/photon emitters (mrem/yr) | 4 mrem/yr | - | 4 | 0 | Decay of natural and man-made deposits | Certain minerals are radioactive and may emit forms of radiation known as photons and beta radiation. Some people who drink water containing beta and photon emitters in excess of the MCL over many years may have an increased risk of getting cancer. |
| Alpha emitters (pCi/l) | 15 pCi/l | - | 15 | 0 | Erosion of natural deposits | Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. |
| Combined radium (pCi/l) | 5 pCi/l | - | 5 | 0 | Erosion of natural deposits | Some people who drink water containing radium 226 or 228 in excess of the MCL over many years may have an increased risk of getting cancer. |
| Uranium (g/l) | 30 g/l* | - | 30 | 0 | Erosion of natural deposits | Some people who drink water containing uranium in excess of the MCL over many years may have an increased risk of getting cancer and kidney toxicity. |
|  | * Uranium MCL is effective December 8, 2003. |  |  |
| Inorganic Contaminants |
| Antimony (ppb) | .006 | 1000 | 6 | 6 | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder | Some people who drink water containing antimony well in excess of the MCL over many years could experience increases in blood cholesterol and decreases in blood sugar. |
| Arsenic (ppb) | 0.01* | 1000 | 10* | 0* | Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes | Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an increased risk of getting cancer. |
|  | * Arsenic values are effective January 23, 2006. Until then, the MCL is 0.05 mg/l and there is no MCLG. |  |  |
| Asbestos (MFL) | 7 MFL | - | 7 | 7 | Decay of asbestos cement water mains; Erosion of natural deposits | Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps. |
| Barium (ppm) | 2 | - | 2 | 2 | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits | Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure. |
| Beryllium (ppb) | .004 | 1000 | 4 | 4 | Discharge from metal refineries and coal-burning factories; Discharge from electrical, aerospace, and defense industries | Some people who drink water containing beryllium well in excess of the MCL over many years could develop intestinal lesions. |
| Bromate (ppb) | .010 | 1000 | 10 | 0 | By-product of drinking water chlorination | Some people who drink water containing bromate in excess of the MCL over many years may have an increased risk of getting cancer. |
| Cadmium (ppb) | .005 | 1000 | 5 | 5 | Corrosion of galvanized pipes; Erosion of natural deposits; Discharge from metal refineries; Runoff from waste batteries and paints | Some people who drink water containing cadmium in excess of the MCL over many years could experience kidney damage. |
| Chloramines1 (ppm) | MRDL = 4 | - | MRDL = 4 | MRDLG = 4 | Water additive used to control microbes | Some people who use water containing chloramines well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chloramines well in excess of the MRDL could experience stomach discomfort or anemia. |
| Chlorine (ppm) | MRDL = 4 | - | MRDL = 4 | MRDLG = 4 | Water additive used to control microbes | Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort. |
| Chlorine dioxide1 (ppb) | MRDL = .8 | 1000 | MRDL = 800 | MRDLG = 800 | Water additive used to control microbes | Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia. |
| Chlorite1 (ppm) | 1 | - | 1 | 0.8 | By-product of drinking water chlorination | Some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorite in excess of the MCL. Some people may experience anemia. |
| Chromium (ppb) | .1 | 1000 | 100 | 100 | Discharge from steel and pulp mills; Erosion of natural deposits | Some people who use water containing chromium well in excess of the MCL over many years could experience allergic dermatitis. |
| Copper (ppm) | AL=1.3 | - | AL=1.3 | 1.3 | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives | Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s Disease should consult their personal doctor. |
| Cyanide (ppb) | .2 | 1000 | 200 | 200 | Discharge from steel/metal factories; Discharge from plastic and fertilizer factories | Some people who drink water containing cyanide well in excess of the MCL over many years could experience nerve damage or problems with their thyroid. |
| Fluoride (ppm) | 4 | - | 4 | 4 | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories | Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Fluoride in drinking water at half the MCL or more may cause mottling of children’s teeth, usually in children less than nine years old. Mottling, also known as dental fluorosis, may include brown staining and/or pitting of the teeth, and occurs only in developing teeth before they erupt from the gums. |
| Lead (ppb) | AL=.015 | 1000 | AL=15 | 0 | Corrosion of household plumbing systems; Erosion of natural deposits | Infants and children who drink water containing lead in excess of the action level could experience delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pressure. |
| Mercury [inorganic] (ppb) | .002 | 1000 | 2 | 2 | Erosion of natural deposits; Discharge from refineries and factories; Runoff from landfills; Runoff from cropland | Some people who drink water containing inorganic mercury well in excess of the MCL over many years could experience kidney damage. |
| Nitrate (ppm) | 10 | - | 10 | 10 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits | Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. |
| Nitrite (ppm) | 1 | - | 1 | 1 | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits | Infants below the age of six months who drink water containing nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. |
| Selenium (ppb) | .05 | 1000 | 50 | 50 | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines | Selenium is an essential nutrient. However, some people who drink water containing selenium in excess of the MCL over many years could experience hair or fingernail losses, numbness in fingers or toes, or problems with their circulation. |
| Thallium (ppb) | .002 | 1000 | 2 | 0.5 | Leaching from ore-processing sites; Discharge from electronics, glass, and drug factories | Some people who drink water containing thallium in excess of the MCL over many years could experience hair loss, changes in their blood, or problems with their kidneys, intestines, or liver. |

| Synthetic Organic Contaminants including Pesticides and Herbicides |
| --- |
| 2,4-D (ppb) | .07 | 1000 | 70 | 70 | Runoff from herbicide used on row crops | Some people who drink water containing the weed killer 2,4-D well in excess of the MCL over many years could experience problems with their kidneys, liver, or adrenal glands. |
| 2,4,5-TP [Silvex] (ppb) | .05 | 1000 | 50 | 50 | Residue of banned herbicide | Some people who drink water containing silvex in excess of the MCL over many years could experience liver problems. |
| Acrylamide | TT | - | TT | 0 | Added to water during sewage/ wastewater treatment | Some people who drink water containing high levels of acrylamide over a long period of time could have problems with their nervous system or blood, and may have an increased risk of getting cancer. |
| Alachlor (ppb) | .002 | 1000 | 2 | 0 | Runoff from herbicide used on row crops | Some people who drink water containing alachlor in excess of the MCL over many years could have problems with their eyes, liver, kidneys, or spleen, or experience anemia, and may have an increased risk of getting cancer. |
| Atrazine (ppb) | .003 | 1000 | 3 | 3 | Runoff from herbicide used on row crops | Some people who drink water containing atrazine well in excess of the MCL over many years could experience problems with their cardiovascular system or reproductive difficulties. |
| Benzo(a)pyrene [PAH] (nanograms/l) | .0002 | 1,000,000 | 200 | 0 | Leaching from linings of water storage tanks and distribution lines | Some people who drink water containing benzo(a)pyrene in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer. |
| Carbofuran (ppb) | .04 | 1000 | 40 | 40 | Leaching of soil fumigant used on rice and alfalfa | Some people who drink water containing carbofuran in excess of the MCL over many years could experience problems with their blood, or nervous or reproductive systems. |
| Chlordane (ppb) | .002 | 1000 | 2 | 0 | Residue of banned termiticide | Some people who drink water containing chlordane in excess of the MCL over many years could experience problems with their liver or nervous system, and may have an increased risk of getting cancer. |
| Dalapon (ppb) | .2 | 1000 | 200 | 200 | Runoff from herbicide used on rights of way | Some people who drink water containing dalapon well in excess of the MCL over many years could experience minor kidney changes. |
| Di(2-ethylhexyl) adipate (ppb) | .4 | 1000 | 400 | 400 | Discharge from chemical factories | Some people who drink water containing di (2-ethylhexyl) adipate well in excess of the MCL over many years could experience general toxic effects or reproductive difficulties. |
| Di(2-ethylhexyl) phthalate (ppb) | .006 | 1000 | 6 | 0 | Discharge from rubber and chemical factories | Some people who drink water containing di (2-ethylhexyl) phthalate in excess of the MCL over many years may have problems with their liver, or experience reproductive difficulties, and may have an increased risk of getting cancer. |
| Dibromochloro-propane (ppt) | .0002 | 1,000,000 | 200 | 0 | Runoff/leaching from soil fumigant used on soybeans, cotton, pineapples, and orchards | Some people who drink water containing DBCP in excess of the MCL over many years could experience reproductive problems and may have an increased risk of getting cancer. |
| Dinoseb (ppb) | .007 | 1000 | 7 | 7 | Runoff from herbicide used on soybeans and vegetables | Some people who drink water containing dinoseb well in excess of the MCL over many years could experience reproductive difficulties. |
| Diquat (ppb) | .02 | 1000 | 20 | 20 | Runoff from herbicide use | Some people who drink water containing diquat in excess of the MCL over many years could get cataracts. |
| Dioxin [2,3,7,8-TCDD] (ppq) | .00000003 | 1,000,000,000 | 30 | 0 | Emissions from waste incineration and other combustion; Discharge from chemical factories | Some people who drink water containing dioxin in excess of the MCL over many years could experience reproductive difficulties and may have an increased risk of getting cancer. |
| Endothall (ppb) | .1 | 1000 | 100 | 100 | Runoff from herbicide use | Some people who drink water containing endothall in excess of the MCL over many years could experience problems with their stomach or intestines. |
| Endrin (ppb) | .002 | 1000 | 2 | 2 | Residue of banned insecticide | Some people who drink water containing endrin in excess of the MCL over many years could experience liver problems. |
| Epichlorohydrin | TT | - | TT | 0 | Discharge from industrial chemical factories; An impurity of some water treatment chemicals | Some people who drink water containing high levels of epichlorohydrin over a long period of time could experience stomach problems, and may have an increased risk of getting cancer. |
| Ethylene dibromide (ppt) | .00005 | 1,000,000 | 50 | 0 | Discharge from petroleum refineries | Some people who drink water containing ethylene dibromide in excess of the MCL over many years could experience problems with their liver, stomach, reproductive system, or kidneys, and may have an increased risk of getting cancer. |
| Glyphosate (ppb) | .7 | 1000 | 700 | 700 | Runoff from herbicide use | Some people who drink water containing glyphosate in excess of the MCL over many years could experience problems with their kidneys or reproductive difficulties. |
| Heptachlor (ppt) | .0004 | 1,000,000 | 400 | 0 | Residue of banned pesticide | Some people who drink water containing heptachlor in excess of the MCL over many years could experience liver damage and may have an increased risk of getting cancer. |
| Heptachlor epoxide (ppt) | .0002 | 1,000,000 | 200 | 0 | Breakdown of heptachlor | Some people who drink water containing heptachlor epoxide in excess of the MCL over many years could experience liver damage, and may have an increased risk of getting cancer. |
| Hexachlorobenzene (ppb) | .001 | 1000 | 1 | 0 | Discharge from metal refineries and agricultural chemical factories | Some people who drink water containing hexachlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys, or adverse reproductive effects, and may have an increased risk of getting cancer. |
| Hexachloro- cyclopentadiene (ppb) | .05 | 1000 | 50 | 50 | Discharge from chemical factories | Some people who drink water containing hexachlorocyclopentadiene well in excess of the MCL over many years could experience problems with their kidneys or stomach. |
| Lindane (ppt) | .0002 | 1,000,000 | 200 | 200 | Runoff/leaching from insecticide used on cattle, lumber, gardens | Some people who drink water containing lindane in excess of the MCL over many years could experience problems with their kidneys or liver. |
| Methoxychlor (ppb) | .04 | 1000 | 40 | 40 | Runoff/leaching from insecticide used on fruits, vegetables, alfalfa, livestock | Some people who drink water containing methoxychlor in excess of the MCL over many years could experience reproductive difficulties. |
| Oxamyl [Vydate] (ppb) | .2 | 1000 | 200 | 200 | Runoff/leaching from insecticide used on apples, potatoes and tomatoes | Some people who drink water containing oxamyl in excess of the MCL over many years could experience slight nervous system effects. |
| PCBs [Polychlorinated biphenyls] (ppt) | .0005 | 1,000,000 | 500 | 0 | Runoff from landfills; Discharge of waste chemicals | Some people who drink water containing PCBs in excess of the MCL over many years could experience changes in their skin, problems with their thymus gland, immune deficiencies, or reproductive or nervous system difficulties, and may have an increased risk of getting cancer. |
| Pentachlorophenol (ppb) | .001 | 1000 | 1 | 0 | Discharge from wood preserving factories | Some people who drink water containing pentachlorophenol in excess of the MCL over many years could experience problems with their liver or kidneys, and may have an increased risk of getting cancer. |
| Picloram (ppb) | .5 | 1000 | 500 | 500 | Herbicide runoff | Some people who drink water containing picloram in excess of the MCL over many years could experience problems with their liver. |
| Simazine (ppb) | .004 | 1000 | 4 | 4 | Herbicide runoff | Some people who drink water containing simazine in excess of the MCL over many years could experience problems with their blood. |
| Toxaphene (ppb) | .003 | 1000 | 3 | 0 | Runoff/leaching from insecticide used on cotton and cattle | Some people who drink water containing toxaphene in excess of the MCL over many years could have problems with their kidneys, liver, or thyroid, and may have an increased risk of getting cancer. |
| Volatile Organic Contaminants |
| Benzene (ppb) | .005 | 1000 | 5 | 0 | Discharge from factories; Leaching from gas storage tanks and landfills | Some people who drink water containing benzene in excess of the MCL over many years could experience anemia or a decrease in blood platelets, and may have an increased risk of getting cancer. |
| Carbon tetrachloride (ppb) | .005 | 1000 | 5 | 0 | Discharge from chemical plants and other industrial activities | Some people who drink water containing carbon tetrachloride in excess of the MCL over many years could experience problems with their liver and may have an increased risk of getting cancer. |
| Chlorobenzene (ppb) | .1 | 1000 | 100 | 100 | Discharge from chemical and agricultural chemical factories | Some people who drink water containing chlorobenzene in excess of the MCL over many years could experience problems with their liver or kidneys. |
| o-Dichlorobenzene (ppb) | .6 | 1000 | 600 | 600 | Discharge from industrial chemical factories | Some people who drink water containing o-dichlorobenzene well in excess of the MCL over many years could experience problems with their liver, kidneys, or circulatory systems. |
| p-Dichlorobenzene (ppb) | .075 | 1000 | 75 | 75 | Discharge from industrial chemical factories | Some people who drink water containing p-dichlorobenzene in excess of the MCL over many years could experience anemia, damage to their liver, kidneys, or spleen, or changes in their blood. |
| 1,2-Dichloroethane (ppb) | .005 | 1000 | 5 | 0 | Discharge from industrial chemical factories | Some people who drink water containing 1,2-dichloroethane in excess of the MCL over many years may have an increased risk of getting cancer. |
| 1,1-Dichloroethylene (ppb) | .007 | 1000 | 7 | 7 | Discharge from industrial chemical factories | Some people who drink water containing 1,1-dichloroethylene in excess of the MCL over many years could experience problems with their liver. |
| cis-1,2-Dichloroethylene (ppb) | .07 | 1000 | 70 | 70 | Discharge from industrial chemical factories | Some people who drink water containing cis-1,2-dichloroethylene in excess of the MCL over many years could experience problems with their liver. |
| trans-1,2-Dichloroethylene (ppb) | .1 | 1000 | 100 | 100 | Discharge from industrial chemical factories | Some people who drink water containing trans-1,2-dichloroethylene well in excess of the MCL over many years could experience problems with their liver. |
| Dichloromethane (ppb) | .005 | 1000 | 5 | 0 | Discharge from pharmaceutical and chemical factories | Some people who drink water containing dichloromethane in excess of the MCL over many years could have liver problems and may have an increased risk of getting cancer. |
| 1,2-Dichloropropane (ppb) | .005 | 1000 | 5 | 0 | Discharge from industrial chemical factories | Some people who drink water containing 1,2-dichloropropane in excess of the MCL over many years may have an increased risk of getting cancer. |
| Ethylbenzene (ppb) | .7 | 1000 | 700 | 700 | Discharge from petroleum refineries | Some people who drink water containing ethylbenzene well in excess of the MCL over many years could experience problems with their liver or kidneys. |
| Haloacetic Acids (HAA) (ppb) | .060 | 1000 | 60 | n/a | By-product of drinking water disinfection | Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer. |
| Styrene (ppb) | .1 | 1000 | 100 | 100 | Discharge from rubber and plastic factories; Leaching from landfills | Some people who drink water containing styrene well in excess of the MCL over many years could have problems with their liver, kidneys, or circulatory system. |
| Tetrachloroethylene (ppb) | .005 | 1000 | 5 | 0 | Discharge from factories and dry cleaners | Some people who drink water containing tetrachloroethylene in excess of the MCL over many years could have problems with their liver, and may have an increased risk of getting cancer. |
| 1,2,4-Trichlorobenzene (ppb) | .07 | 1000 | 70 | 70 | Discharge from textile-finishing factories | Some people who drink water containing 1,2,4-trichlorobenzene well in excess of the MCL over many years could experience changes in their adrenal glands. |
| 1,1,1-Trichloroethane (ppb) | .2 | 1000 | 200 | 200 | Discharge from metal degreasing sites and other factories | Some people who drink water containing 1,1,1-trichloroethane in excess of the MCL over many years could experience problems with their liver, nervous system, or circulatory system. |
| 1,1,2-Trichloroethane (ppb) | .005 | 1000 | 5 | 3 | Discharge from industrial chemical factories | Some people who drink water containing 1,1,2-trichloroethane well in excess of the MCL over many years could have problems with their liver, kidneys, or immune systems. |
| Trichloroethylene (ppb) | .005 | 1000 | 5 | 0 | Discharge from metal degreasing sites and other factories | Some people who drink water containing trichloroethylene in excess of the MCL over many years could experience problems with their liver and may have an increased risk of getting cancer. |
| TTHMs [Total trihalomethanes] (ppb) | 0.10/.080 | 1000 | 100/80 | n/a | By-product of drinking water chlorination | Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. |
| Toluene (ppm) | 1 | - | 1 | 1 | Discharge from petroleum factories | Some people who drink water containing toluene well in excess of the MCL over many years could have problems with their nervous system, kidneys, or liver. |
| Vinyl Chloride (ppb) | .002 | 1000 | 2 | 0 | Leaching from PVC piping; Discharge from plastics factories | Some people who drink water containing vinyl chloride in excess of the MCL over many years may have an increased risk of getting cancer. |
| Xylenes (ppm) | 10 | - | 10 | 10 | Discharge from petroleum factories; Discharge from chemical factories | Some people who drink water containing xylenes in excess of the MCL over many years could experience damage to their nervous system. |

# Footnotes

The PN Rule published in the Federal Register on May 4, 2000 updated Appendix A of the CCR Rule.  Information for this contaminant was incorrectly placed in the volatile organic contaminants section of Appendix A instead of the inorganic contaminants section.  EPA will publish a technical correction to the rule to correct this error.

The PN Rule published in the Federal Register on May 4, 2000 updated Appendix A of the CCR Rule.  Information for this contaminant was incorrectly placed in the volatile organic contaminants section of Appendix A instead of the inorganic contaminants section.  EPA will publish a technical correction to the rule to correct this error.