| Participant: |  | Technical Qualification Program “TQP” Functional Area Qualification Standard Electrical Systems and Safety Oversight Qualification Card | Qualification Card Issue Date: |  |
| --- | --- | --- | --- | --- |
| Projected Completion Date: |  |  | Standard Issue Date: | August 2007 |
| Office/Division: |  |  | Revision: |  |

Note: When regulations, Department of Energy Directives, or other industry standards are referenced in the Qualification Standard, the most recent version should be used.

| No. | Required Competencies | CompetencyLevel | Learning Method | EvaluationMethod | Incumbent Initials & Date | Qualifying Official Signature | Date | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KNOWLEDGE OF ELECTRICAL THEORY & EQUIPMENT |
|  | Electrical personnel shall demonstrate a working level knowledge of electrical and circuit theory, theorems, terminology, laws, and analysis. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of basic AC theory. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of the construction and operation of AC generators (such as operating characteristics, method of torque production, and the advantages of specific motor types). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of the construction and operation of AC motors (such as operating characteristics, method of torque production, and the advantages of specific motor types). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of AC reactive components, including inductive and capacitive reactance and phase relationships in reactive circuits. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of electrical transmission and distribution systems (IEEE Brown Book; reference IEEE Std-399). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of transformers. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of Uninterruptible Power Supplies (UPS). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of Variable Frequency (speed) Drives (VFDs). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of electrical test instruments and measuring devices. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of the principles and concepts of natural phenomena hazards such as static electricity (NFPA 77) and their effects on personnel and electrical systems. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of DC generators. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of DC motors. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of battery construction, voltage production, and hazards (IEEE Std-450, etc.). |  |  |  |  |  |  |  |
|  | ELECTRICAL ISSUE IDENTIFICATION & REPORTING |
|  | Electrical personnel shall demonstrate a working level knowledge of surveillance and assessment techniques, reporting, and follow up actions for electrical systems and programmatic elements of an electrical safety program, such as management systems, problem remediation and trends processes, inspection programs, training and qualification programs, and oversight of contractor assurance systems. |  |  |  |  |  |  |  |
| INTEGRATED SAFETY MANAGEMENT |
|  | Electrical personnel shall demonstrate the ability to communicate technical issues (both orally and written) when working or interacting with the contractor, stakeholders, and other internal and external organizations. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge with the Environmental Safety and Health (ES&H) reporting requirements as noted in DOE M 231.1-1A, Environment, Safety and Health Reporting Manual. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of problem analysis principles and the ability to apply the techniques necessary to identify problems, determine potential causes of problems, and identify corrective action(s). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate the ability to perform electrical safety and system walkdowns, and observe and report nonconformance to OSHA 29 CFR 1910, 29 CFR 1926, NFPA-70 (National Electrical Code), NFPA-70E, and IEEE C2- NESC. |  |  |  |  |  |  |  |
| SAFETY & HEALTH RELATED TO ELECTRICAL SYSTEMS and COMPONENTS |
| This section is optional and should be used by the program and/or field offices to assist them with specific technical qualifications for that office. |
|  | Electrical personnel shall demonstrate a working level knowledge of how electrical hazards are addressed via the Integrated Safety Management System (ISMS) process, including applicable site contractor(s) job planning (job hazard analysis and identification and integration of hazard controls within work package) and application of hazard controls during the work control process. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of 29 CFR 1910. 331-335; 29 CFR 1910.269; and NFPA 70E, Article 110, Electrical Safety-Related Work Practices. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of the site contractor’s procedure/work control program, how electrical work performed by the site contractor is within planned controls, and the specific work control requirements for each job observed. The level of rigor of these jobs should allow the candidate to review the functional areas, requirements, and workscope for compliance with 29 CFR 1910, 29 CFR 1926, and NFPA 70E. |  |  |  |  |  |  |  |
| FUNCTIONAL AREA SPECIFIC |
|  | From the jobs observed in Competency 22 above, electrical personnel shall demonstrate the ability to assess how well contractor management systems (lessons learned and other feedback processes) are integrated with the work planning and ISMS process and how lessons learned are addressed by each contractor’s ISMS feedback process (DOE P 450.4, Safety Management System Policy). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of 29 CFR 1910; 29 CFR 1926; and NFPA 70E, Article 420 requirements. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of the safety requirements in DOE-HDBK-1092-2004, Electrical Safety Handbook. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of the requirements related to safe work practices for laser operations (NFPA 70E, Chapter 3, etc.). |  |  |  |  |  |  |  |
| ELECTRICAL MAINTENANCE MANAGEMENT FOR NUCLEAR AND NON-NUCLEAR FACILITIES |
| This section is optional and should be used by the program and/or field offices to assist them with specific technical qualifications for that office. |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of the DOE maintenance management requirements as defined in DOE O 433.1A, Maintenance Management Program for DOE Nuclear Facilities, and DOE Guide 433.1-1, Nuclear Facility Maintenance Management Program Guide for Use with DOE O 433.1 (IEEE Yellow Book; reference IEEE Std-902). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of the safety requirements for electrical equipment maintenance as defined by NFPA 70B, manufactures requirements, American Society for Testing and Materials (ASTM), ANSI, etc. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of safety-related maintenance requirements as defined in 29 CFR 1910.269 and NFPA 70E, Chapter 2. |  |  |  |  |  |  |  |
| ELECTRICAL DESIGN & INSTALLATION (SAFETY AND SYSTEMS) |
| This section is optional and should be used by the program and/or field offices to assist them with specific technical qualifications for that office. |
|  | Electrical personnel shall demonstrate a working level knowledge of the current National Electrical Code and the requirements for wiring design and protection (NFPA 70 and NFPA 70E, Chapter 4). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge with the requirements for the installation of lightning protection systems (NFPA 780; UL 96, Lightning Protection Components; and UL 96A, Installation Requirements for Lightning Protection Systems). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a working level knowledge of electrical diagrams, such as one-line diagrams, schematics, construction drawings, as-built drawings, and wiring diagrams. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of the configuration management process as applied to electrical documentation (e.g., documenting, controlling, revising, and issuance of electrical drawings) and drawings that are updated and issued “as built” (DOE-STD-1073-2003, Configuration Management Program and DOE O 414.1C, Quality Assurance). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge with battery installations, maintenance, testing, and replacement as described in NFPA 70E, Chapter 3; IEEE Std-450; IEEE C2 - NESC; manufactures recommendations; etc. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge with ventilation and battery room requirements as cited in 29 CFR 1910; 29 CFR 1926; NFPA 70E, Chapter 3; IEEE Std-450; IEEE C2 – NESC; etc. |  |  |  |  |  |  |  |
| ELECTRICAL VITAL SAFETY SYSTEMS (VSS) |
| This section is optional and should be used by the program and/or field offices to assist them with specific technical qualifications for that office. *This section also applies to safety significant, safety class, and defense-in-depth structures, systems, and components. |
|  | Mandatory Performance Activity: Electrical personnel shall demonstrate a familiarity level of knowledge of 10 CFR 830, Nuclear Safety Management, and DOE O 414.1C as related to electrical safety programs, processes, and systems, to include: Knowledge of site VSS interfaces for electrical, software, and instrument and control systems (complete competency 38); The basic purpose of the Unreviewed Safety Question (USQ) process; General purpose and constitution of the DSA; Purpose and content of Technical Safety Requirements (TSR) documentation. |  |  |  |  |  |  |  |
|  | Review and evaluate a USQ determination, including walking down the proposed change/potential inadequacy with the cognizant contractor electrical VSS system engineer or DOE Facility Representative (FR). Review and evaluate an authorization agreement, and then discuss TSRs (and/or other controls) with the cognizant contractor electrical VSS system engineer. Review and evaluate a Safety Evaluation Report (SER) and discuss with the cognizant contractor electrical VSS system engineer. Walkdown a facility with Safety System Oversight (SSO) person, safety analyst, or cognizant contractor electrical VSS engineer and identifying the safety controls contained in a TSR. Complete a review of a hazard analysis or accident analysis, including walking down the scope of work area or accident scenario with the cognizant contractor electrical VSS system engineer or DOE FR. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of all assigned electrical power VSS and how they are addressed during the design, construction, and operation of nuclear facilities |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarly level knowledge of the possible functional interfaces/relationships between all electrical VSS and instrument and control safety software, analysis safety software, and design safety software. |  |  |  |  |  |  |  |
|  | Mandatory Performance Activity: Electrical personnel shall demonstrate the ability to perform a quarterly walkthrough, bi-annual status walkthrough, or an assessment and generate a report identifying observations and/or findings. |  |  |  |  |  |  |  |
|  | During a walkthrough of assigned electrical VSS, the electrical personnel shall demonstrate a familiarity level knowledge of functional classifications for safety systems and the design expectations associated with all assigned electrical systems that carry these functional classifications, as described in DOE O 420.1B, Facility Safety, and its associated guide DOE G 420.1-1. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety systems criteria for VSS (IEEE Stds-308-2001, 323-2003, 379-2000, 384-1992, and 603-1998; DOE O 420.1B; DOE G 420.1-1; etc.) |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for emergency, standby, and UPS systems for VSS (IEEE Stds-387-1984, 650-1990, and 944-1986; DOE O 420.1B; DOE G 420.1-1; etc.). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for VSS accident monitoring instrumentation (IEEE Std-497-2002, DOE O 420.1B, DOE G 420.1-1, etc.). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for VSS Motor Control Centers (MCC) (IEEE Std-649-1991, DOE O 420.1B, DOE G 420.1-1, etc.). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for digital computers supporting VSS (IEEE Std-7-4.3.2-2003, Annex E; DOE O 420.1B; DOE G 420.1-1; etc.). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for VSS protection systems (IEEE Stds-741-1997 and 833-1988, DOE O 420.1B, DOE G 420.1-1, etc.). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for Instrumentation and Control (I&C) equipment grounding of VSS (IEEE Std-1050-1996, DOE O 420.1B, DOE G 420.1-1, etc.). |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety design requirements for VSS Motor Operated Valves (MOV) (IEEE Stds-1290-1996, DOE O 420.1B, DOE G 420.1-1, etc.). |  |  |  |  |  |  |  |
| ELECTRICAL SAFETY REQUIREMENTS AND PRACTICES |
| This section is optional and should be used by the program and/or field offices to assist them with specific technical qualifications for that office. |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of electrical safety requirements and practices in the following list of regulatory and consensus standards documents, including the relationship between these documents and which are “enforceable” in your site’s contractors contract such as OSHA (29 CFR 1910 and Subpart S, and 29 CFR 1926 Subparts K and V); NFPA 70E, Standard for Electrical Safety in the Workplace/Maintenance; NFPA-70B, Recommended Practice of Electrical Equipment Maintenance; DOE-HDBK-1092-2004, Electrical Safety Handbook; and 10 CFR 851, Worker Safety and Health Program. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level knowledge of DOE O 414.1C, Quality Assurance, as it pertains to electrical systems. |  |  |  |  |  |  |  |
|  | Electrical personnel shall demonstrate a familiarity level of knowledge of DOE O 430.1B, Real Property Asset Management, with regard to life cycle asset management. |  |  |  |  |  |  |  |

| U.S. Department of Energy |
| --- |
| Technical Qualification Program “TQP” |
| Electrical Systems and Safety Oversight Qualification Card Certification of Completion |
| The candidate has successfully completed the Electrical Safety Systems and Oversight TQP Qualification. The candidate has successfully completed a final qualification activity consisting of a comprehensive written examination, an oral board examination, or a walkthrough and is recommended for final qualification. |
| First-Level Supervisor | Date |

| U.S. Department of Energy |
| --- |
| Technical Qualification Program “TQP” |
| Electrical Systems and Safety Oversight Final Qualification |
| The candidate has successfully completed the Electrical Safety Systems and Oversight TQP Qualification. |
| Second-Level Supervisor | Date |