APPENDIX A

TELEPHONE FEATURE REQUIREMENTS

The requirements in this appendix are functional business requirements based on discussions with representatives from NOAA offices and review of recent telephone system acquisitions by NOAA components.  Using these requirements, each bidder shall provide a checklist showing which features described here are provided as part of the basic offering, which are available at additional cost (providing the cost), and which cannot be provided.

Single consolidated telephone solution capable of being “partitioned” into multiple systems to serve different offices

  - Separate management option for each “partition”

  - Separate reporting for each “partition” for system usage, configuration, and activities

Highly reliable

Low maintenance requirements

Spatially redundant (remote site with hot standby system) components, including call processors, databases, power supplies, and other critical items

Capability to migrate to full or partial IP-capability for trunking and endpoints in a “converged” network when business needs mandate.

Comprehensive feature /function complement including, but not limited to, the following:

Section 508 compliant

Campus-wide intercom (and voice broadcast) capability

Improved centralized voice mail with expanded capacity

Support remote access to Voice Mail boxes

Message Indicator light

Improved speakerphone

Conference calling

Distinctive station ringing

Headset compatibility

Automated redial

Call forwarding capability (outside of campus system) for Telework

Support both individual telephone numbers and shared number “pools”

Provide permanent “feature” buttons (e.g.: Hold, Pick-up, Transfer, Conference, etc.) and additional user-programmable “soft” buttons

Speed dial

Call transfer capability within campus

Caller ID display

Scaleable to support “call group” requirements of separate organizations on campus with population of approximately 4600 users

Supporting distributed Help Desk

Automated Call Distribution

Auto Attendant capability

Call Management Center capability

Interactive Voice Response capability

Reporting functionality (call detail, duration, wait time, etc.)

Computer-Telephony integration (priced as option)

Integrated Voice and E-mail messaging (priced as option)

Enhanced Conferencing capability (priced as option)

Diverse Entry to campus (priced w/ details)

Service Protection -

A. System Back-up - The system programming shall be capable of rapid restoration after failure to the configuration it had before failure by means of CD-ROM, PCMIA or diskette.

B. Power Protection - Power from a central uninterruptible power supply (UPS) source is readily available and a separate protected source will not be required

C. Optional Features

1. Redundant power supply

2. Redundant processor

Flexibility to address Continuity of Operations Plan (COOP) for multiple alternatives -- describe several scenarios with varying levels of compromised or non-functionality.

Site down – SSMC facility is without power, and communications might still functional.  Staff remain in the building for a period of time depending on the conditions, length, and severity of the outage.

Site evacuation – The site must be evacuated due to threat or other potential hazard to the occupants.  Power and communications are still functional

Site partially functional – Part of the site is without power or communications.  Evacuation might be necessary for parts of the building.

Comprehensive networking and feature transparency among all locations

Multiple, simultaneous incoming call handling options:

DID

Automated attendant

Live attendant or answering positions

The vendors’ responses will include information, such as network and hardware components that are required to support any or all of these applications, “unit” pricing for implementation and support, and what NOAA must provide in terms of resources, network capabilities, and staff.

Physical Requirements - Contractor shall inspect available space in Telephone/LAN wire closet prior to submitting bid and confirm that adequate space, power, air conditioning and any other required facilities are adequate to support the equipment which will be installed under this project. The Contractor will affirm the adequacy of these facilities as a part of its quotation.