EPA New England

MEMORANDUM

DATE:	August 14, 2006

SUBJ:	Technical Support Document for Massachusetts’ Request to Amend Certification of

Roadway Tunnel Ventilation Systems in the Metropolitan Boston Air Pollution Control District.

FROM: 	Donald O. Cooke, Environmental Scientist

Air Quality Unit, Office of Ecosystem Protection

TO:	Files

I have completed my review of Massachusetts' July 12, 2006, submission to revise the certification of roadway tunnel ventilation systems in the Metropolitan Boston Air Pollution Control District approved into the Massachusetts State Implementation Plan on October 8, 1992, (57 FR 46310).

Technical Support Document

Background and Purpose.

On July 12, 2006, the State of Massachusetts submitted a formal revision to its State Implementation Plan (SIP).  The SIP revision consists of technical revisions to 310 CMR 7.38, entitled “Certification of Tunnel Ventilation Systems in the Metropolitan Boston Air Pollution Control District”.  The technical revisions apply to the emissions monitoring section of the regulation at 310 CMR 7.38(8)(a) and are a result of improved emissions monitoring techniques developed during early operating phases of the Central Artery/Tunnel Project (CA/T Project) and of the availability of more cost effective, longitudinal tunnel ventilation technology.  A new subsection 310 CMR 7.38 (1)(b) requires the tunnel ventilation systems subject to federal New Source Performance Standard or National Emission Standard for Hazardous Air Pollutants to operate in compliance these regulations.  A new section 310 CMR 7.38 (10) “Removal of Air Pollution Control and Monitoring Equipment” has been added to protect air pollution control equipment, and equipment used to monitor emissions or operations required in accordance with 310 CMR 7.38.   In addition to the technical revisions, typographical errors are also being corrected in the existing regulation.

The Certification of Tunnel Ventilation Systems in the Metropolitan Air Pollution Control District regulation, 310 CMR 7.38, was promulgated on January 18, 1991 and applies to the construction and operation of any tunnel ventilation system for highway projects constructed after January 1, 1991.  On October 8, 1992, EPA approved 310 CMR 7.38 as a revision to the Massachusetts SIP (57 FR 46310).  In the final rule, EPA agreed with Massachusetts Department of Environmental Protection (MA DEP) that tunnel ventilation systems are not stationary sources subject to Prevention of Significant Deterioration (PSD) or to New Source Review (NSR) permitting requirements of the Clean Air Act (CAA), nor to MA DEP Plan Approval and Emissions Limitations Regulation for stationary sources, 310 CMR 7.02.

The purpose of the regulation is to require certification that tunnel ventilation systems for highway projects in the Metropolitan Boston Air Pollution Control District including the CA/T Project, meet applicable air quality requirements, thereby protecting public health and the environment.  The regulation requires an initial, “preconstruction” certification, an operation certification (required 12-15 months after a project becomes fully operational), and re-certification every five years.  In accordance with 310 CMR 7.38(2)(a) through (c), the proponent must certify that the project will not: (a) cause or exacerbate a violation of any National Ambient Air Quality Standard as set forth at 40 CFR 50, or a Massachusetts Ambient Air Quality Standard as set forth at 310 CMR 6.00; or (b) cause or exacerbate a violation of the MA DEP’s one hour ambient NO2 guideline of 320 ug/m3; or (c) result in an actual or projected increase in the total amount of non-methane hydrocarbons measured within the project area when compared with the no-build alternative.

This action will improve emission monitoring techniques for roadway tunnel ventilation systems in the Boston Metropolitan Air Control District.  Under the air emission monitoring  protocol established by this process as a SIP element, MA DEP will be able to amend the monitoring requirements to ensure that the most appropriate monitoring techniques are implemented, and that  ambient air quality does not exceed Federal National Ambient Air Quality Standards (NAAQS) in the tunnel portal areas, or downwind of the roadway ventilation stacks.  Air emission monitoring protocols, subsequent modifications, (preconstruction, operating, and 5-year renewal operating certificates), and all mitigation plans or conditions imposed by the state under this SIP revision, will be subject to Federal enforcement under the SIP.  While the certification process is established as a SIP element; approval of individual certifications or conditions which require written approval by MA DEP, will not require SIP revisions.  This concept is included in the existing SIP-approved rule and the recent revisions do not change this previously established process.  Finally, statistical and modeling elements were addressed under subsection (8)(a) to be used where actual emission monitoring is not feasible.

Addition of Longitudinal Ventilation.

During the late 1980s when the CA/T Project was initially planning and designing the ventilation system, the only Federal Highway Administration (FHWA) authorized tunnel ventilation system was the traditional “full transverse ventilation.”  Therefore, when 310 CMR 7.38 was promulgated in 1991, the emissions monitoring requirements were based on full transverse ventilation technology.  In 1995, FHWA issued a memorandum titled “Mechanical Ventilation in Road Tunnels using Jet Fans” authorizing applicable projects, including the CA/T Project, to use longitudinal ventilation with jet fan technology.  The availability of this additional ventilation technology was neither anticipated nor provided for in 310 CMR 7.38 (8).

Following the FHWA authorization memo, the CA/T Project studied the supplementary use of longitudinal ventilation at several exit ramps as a cost saving measure.   The CA/T Project subsequently filed a Notice of Project Change, and implemented longitudinal ventilation at eight exit ramps.  Although longitudinal ventilation was approved for use on the CA/T Project, the resulting emission impacts at the eight exit ramp portals cannot be monitored using CFR Part 60 Continuous Emissions Monitoring (CEM) methods because Part 60 is designed to measure emissions from stacks, not exit ramp portals.  The revised subsection 7.38(8)(a) specifically requires the development of an “Air Emissions Monitoring Protocol” to install and operate emissions monitoring and recording equipment in tunnel roadway exit portals that utilize longitudinal ventilation.

The revisions to the Certification of Tunnel Ventilation Systems in the Metropolitan Air Boston Control District, contain a revised set of allowable techniques and emissions monitoring approaches that incorporate elements of 40 CFR 58 – Ambient Air Quality Surveillance, 40 CFR 60 – Standards of Performance for New Stationary Sources, 40 CFR 75 – Continuous Emission Monitoring, as well as statistical analysis, computer modeling, and innovative technologies.  This proposed “hybrid” approach to emission monitoring, (which includes elements of ambient air quality monitoring and continuous emission monitoring), will provide more accurate monitoring of ambient emissions within the portal area environment which could not be conducted with the original stack monitoring approach under 40 CFR 60 Appendix B –Performance Specifications.  Additional monitoring flexibility is proposed by allowing the MA DEP approved “Air Emissions Monitoring Protocol” to be modified, but any modification would require written approval by MA DEP.

Ted Williams Tunnel Emission Monitoring Program.

The years of experience gained from the monitoring program developed since the early opening phase of the TWT, as well as the need to meet the unique monitoring requirements of longitudinal ventilation, has afforded DEP and the CA/T Project the opportunity to develop and assess more appropriate monitoring methods than those allowed by the traditional 40 CFR Part 60 CEM methods as required by 310 CMR 7.38.   These proposed monitoring approaches will apply to the CA/T Project as well as apply to future highway projects with tunnel ventilation systems.

On December 15, 1995, the Ted Williams Tunnel (TWT) opened to commercial and authorized traffic only.  MA DEP notified the CA/T Project that the emissions monitoring requirements of the regulation applied to this restricted-use tunnel operation and required the CA/T Project to develop and begin an air monitoring program to measure the emissions from ventilation buildings six and seven, which service the TWT.  The CA/T Project then developed an emissions monitoring and data collection and reporting program, which was subsequently approved by MA DEP.  In 1996, the CA/T Project began the emissions monitoring program, which was originally planned for five quarters (15 months).  The monitoring program was extended to nine quarters (27 months) at the request of MA DEP, and was refined and enhanced during this period.  The monitoring program approved for this “early opening phase” lasted through December 1998.    Data gathered during this monitoring program served two purposes.  First it provided an indication of the emission levels from the two ventilation buildings during the “early opening phase.”  Second, as required by 310 CMR 7.38 (8), it would be used to determine the appropriate scope of the required compliance monitoring program (CMP) for the CA/T Project’s eventual full operation.  It should be noted that monitoring has continued since the specific “early opening phase” as required by 310 CMR 7.38 (8) and is being used to gather supplemental data to further refine the CMP.

Vent building six in South Boston serves a section of TWT including east and west-bound lanes and has six exhaust stacks linked to two ventilation zones.  Vent building seven in East Boston serves a section of TWT including east and westbound lanes, Ramp T-AD, and has fourteen exhaust stacks linked to five ventilation zones.  Of the seven ventilation zones, six cover both the east and westbound lane directions.  MA DEP determined that monitoring at the exhaust plenums of these six ventilation zones instead of the twenty associated exhaust stacks housed in ventilation buildings six and seven would enable a more efficient and cost effective capture of all ventilation building emissions for TWT without compromising the results.

Based on the monitoring program completed in 1998, MA DEP and the CA/T Project determined that there were more practical alternatives to monitoring in strict accordance with 40 CFR Part 60.  For example, while 310 CMR 7.38(2)(c) requires a tunnel ventilation system, project roadway or roadway network (including the CA/T) to “not result in an actual or projected increase in the total amount of” NMHC, no monitor actually exists to measure NMHC; instead, THC emissions are the chemical substances typically measured.  In attempting to measure THC, the monitored concentrations of THC were found to be low, leading to “operational difficulties regarding system calibration and maintenance due to low concentration measurements” (see page 33 in “Ted Williams Tunnel Emissions Monitoring Data Collection Program and Proposed Project-Wide Compliance Monitoring Program - Final Report - Revision 1,” April 2000).  Based on these issues, MA DEP has devised an innovative approach of using continuously monitored traffic data as a surrogate for NMHC.

Similarly, based on the results of continuous CO, NO and NOx monitoring in the TWT, the CA/T Project proposed a statistical approach to explore the possibility of using continuously monitored CO emission levels as a surrogate to predict NO and NOx concentrations.  The results of a correlation analysis indicate a moderate to strong correlation between CO and NO and CO and NOx.  This correlation analysis was based on data sets representing different seasons, ventilation zones, and direction of traffic.   Pollutant monitoring data collected since this “early opening phase” continues to support the CO/NOX relationship and a statistical approach to determining NOx emissions based on measured CO concentrations.

The “Air Emissions Monitoring Protocol” to be required under the proposed SIP revision provides flexibility in monitoring at the exhaust stacks or exhaust plenums of roadway tunnel ventilation buildings.  In addition, the “Air Emission Monitoring Protocol” can provide alternative methods to cost-effectively and accurately measure emissions.  MA DEP has devised innovative approaches of using continuously monitored traffic data as a surrogate for NMHC; as well as using continuously monitored carbon monoxide (CO) emission levels as a surrogate to predict nitrous oxide (NO) and nitrogen oxides (NOx) concentrations.

Future Monitoring Improvements

MA DEP has also proposed a revision to the emissions monitoring requirements at 310 CMR 7.38 (8)(a) to allow flexibility so that as technological advances occur in contaminant and emissions monitoring, MA DEP will be able to modify monitoring procedures without necessarily having to complete a regulatory revision process.  Therefore, the proposed regulation would allow affected projects to periodically modify or update their air emission monitoring protocol with written approval of MA DEP.

Administrative Processing

A Public Hearing on the State's proposed amendments to 310 C.M.R. 7.38 was held on July 19, 2005, after proper advertisement and legal notice.  Following the public comment period Massachusetts Department of Environmental Protection – Bureau of Waste Prevention, Division of Consumer and Transportation Programs, prepared a summary and satisfactory responded to comments raised.  The regulation was filed with the Massachusetts Secretary of State on December 13, 2005 and became effective upon publication in the Massachusetts Register on December 30, 2005.

EPA is now proceeding with the publishing of a direct final rulemaking notice, at the same time as we are publishing the notice of proposed rulemaking associated with a direct final rule in the Federal  Register.  The EPA is publishing this action without prior proposal because the Agency views this as a noncontroversial amendment and anticipates no adverse comments.  However, in the proposed rules section of this Federal Register publication, EPA is publishing a separate document that will serve as the proposal to approve the SIP revision should relevant adverse comments be filed.  If the EPA receives relevant adverse comments, then EPA will publish a notice withdrawing the final rule and informing the public that the rule will not take effect.  All public comments received will then be addressed in a subsequent final rule based on the proposed rule.  The EPA will not institute a second comment period on the proposed rule.  If EPA receives adverse comment on an amendment, paragraph, or section of this rule and if that provision may be severed from the remainder of the rule, EPA may adopt as final those provisions of the rule that are not the subject of an adverse comment.

# Footnotes

Boston Metropolitan Air Control District is defined at 310 CMR 7.00 -- Air Pollution Control Districts; as well as at 40 CFR 81.19 -- Metropolitan Boston Intrastate Air Quality Control Region.