A Road Map to the Decarbonization of the U.S. Energy Mix.

The Potential Impact of Solar Thermal Energy

Reuel Shinnar*, Francesco Citro

The Clean Fuels Institute

City College of New York

Presented at the AAAS Symposium on the Decarbonization of the U.S. Energy Mix, St. Louis, February 2006

I.	Introduction

Today, 85% of the energy used in the U.S. comes from carbon-rich fossil fuels: oil, natural gas and coal (1). But, the demand throughout the world is increasing and there is little doubt that proven resources of oil and natural gas will peak in the next twenty to fifty years. It is not surprising that many leaders in Government and technology are calling for their replacement by alternative energy sources. Additional motivation for the decarbonization of the U.S. energy mix is the danger of global warming, which many attribute to the CO2 emissions that accompany the use of fossil fuels.

Any switch to alternative energy to be doable and affordable has to be done over a long period, at least 30 to 50 years. It is hardly too soon to develop a blueprint and timetable for achieving this goal.

In this paper we present a plan for the gradual replacement of 98% of our total fossil fuel needs with available and affordable technology (which would also reduce 97% of present total CO2 emissions). We show that the direct use of electricity produced from alternative sources can replace 72% of the fossil fuel we consume. Another 26% can be replaced by hydrocarbons produced from syngas, a mixture of carbon oxides produced by gasifying biomass and hydrogen generated by electrolysis powered by alternative energy sources. 50% of this goal could be achieved over thirty years, and 80-90% over about 50 years. We have limited the scope of this paper to a discussion of our technological options. A comprehensive plan would also focus on other critical problems such as priorities and costs, political and economic constraints, regulatory issues and government-mandated incentives without which the free market is not likely to reduce CO2 emissions or prepare for a distant, uncertain future. However, for society the penalty of strongly reduced oil and gas supplies would be catastrophic, unless we prepare in advance, as the timescale for achieving a substantial reduction is very large. Such a plan must be based on existing technologies, or at least on technologies that are available in a form which can be scaled up and implemented at a cost that can be estimated reliably. While research could and should lead to better technologies, and should be continued, we can never be sure which research will lead to useful results. In the 1970s, a worldwide research effort to produce H2 from nuclear reactors by thermochemical cycles was terminated with no results after approximately 40 billion (2005 dollars) dollars were spent (2). Further constraint on any such a plan is that the new technology should allow gradual phase in and preferably should use available distribution systems, which suggests wide use of electricity from alternative sources.

It is encouraging that proven technologies for decarbonizing our energy mix that use existing distribution systems already exist. The approach described in this paper is to a large part based on electricity from alternative sources, and the prime candidate is solar thermal energy with storage. Plants with 354 MWe installed capacity have been operating in California since the late 1980’s (3). This technology has been overlooked until now despite the fact that it probably has a larger potential than all other options. Our paper will compare its capabilities and costs with other available options. Before costs are taken into consideration, however, it must be acknowledged that technologies that achieve decarbonization by replacing power plants and other existing uses of fossil fuels cannot be competitive in the free market without some form of government incentive or subsidy. The only time when this is possible without incentives is either when the equipment becomes obsolete or the technology is no longer competitive or the fossil fuels costs become too expensive. We will show, however, that for new installations with specific applications a variety of alternative technologies are already competitive. Of these, solar thermal energy has applications on the broadest scale.

It appears that the free market is actually moving the U.S. towards a tolerance for increased CO2 emissions. Natural gas, hydrogen and ammonia plants in the U.S. vent about 100 million tons of already separated CO2 a year into the air (4). Based on ref. 5, an investment of $4.6 billion would be required to separate 100 million tons of CO2 a year in coal power plants. In recent years, a large fraction of the natural gas-fired combined cycle power plants for generating base power have been shut down due to high gas prices. They are being replaced by conventional coal-fed power plants. Also, petroleum feedstocks are becoming heavier, thus increasing CO2 emissions. It is urgent that we achieve decarbonization by promoting specific applications for proven technologies that are economically attractive. We have shown elsewhere that some large applications of thermal solar energy are already economically competitive (6).

- Available Methods for the Decarbonization of the Economy

Today, only three options are available to help reduce the consumption of fossil fuels:

1.	Reducing total energy demands.

2.	Switching to alternative energy sources.

3.	Converting coal feed to H2 (if our only aim is to reduce CO2 emissions) and sequestering the CO2 simultaneously.

As all available methods for alternative energy have limitations, a comprehensive plan should not be based on a single option. Following is a more detailed discussion of the options for alternative energy.

1.	Solar thermal energy with storage is a proven technology, which is ready for implementation (6). We will show that it can supply most of the energy needs of the U.S., which can be supplied by electricity. Solar thermal is already competitive with most technologies currently in use for intermediate loads, which constitute 50% of our electricity needs. Furthermore, this technology can be designed to generate large amounts of instantaneously dispatchable, variable electricity to compensate for fluctuations in demand (presently 10% of our electricity needs). In the future it could also be used to compensate for uncontrollable inputs from other alternative energy sources, such as wind and solar cells.

2.	Nuclear energy. New, safer designs have been developed, but they are unproven as none have yet been built on a commercial scale. Furthermore, the disposal of nuclear waste is a problem that is yet to be solved. To become the major alternative energy source, 1000 GWe nuclear energy plants would have to be built. The implementation of this large nuclear capacity would require further study as to the long-range availability of nuclear fuel and the disposal of accumulated waste on a global scale. As other countries may follow our lead, our nuclear energy capacity must be expanded with caution because of its potential for global impact, increasing the danger of nuclear weapons proliferation.

3.	Geothermal and hydroelectric plants. Excellent energy sources, but with limited total output.

4.	Wind is already a competitive energy source that is growing steadily. Its limitation is that wind can vary strongly, and that the amount of uncontrollable energy input that the national electricity grid can accept, without compensation for variations, is limited. Solar thermal energy, as mentioned before, could provide the compensation and stabilization that the large-scale use of wind energy would require.

5.	Solar cells. At present, solar cells are too expensive for large-scale implementation but this should change with further research. Like wind, solar cells lack storage. Unlike wind, however, sunlight is available for only part of the day. The advantage of solar cells over thermal solar technology is that they can be placed throughout the country. If solar cells could be produced cheaply, they could become part of an advanced grid, stabilized by thermal solar plants with large storage capacity. Until further research leads to the removal of these limitations, their total contribution will be very limited.

6.	Biomass. Biomass is the only source of alternative energy that can create liquid fuels for aviation and petrochemical feedstocks for industry. But, biomass will not be able to provide more than about 10% of the total energy we use at present. However, by gasifying biomass and combining it with H2 from alternative sources to form syngas, triple this amount could be produced to supply the many types of hydrocarbons that cannot be replaced by electricity (see section VI).

- Quantitative Estimates for the Potential of Decarbonization by Electricity from Alternative Energy Sources

Before we estimate the full potential impact of solar thermal energy on the decarbonization of the U.S. energy mix we must first determine the fraction of our fossil fuel use that can be replaced by electricity generated from the alternative sources currently available. Table 1 and Figure 1 summarize our total energy consumption and provides a detailed breakdown of our current use of fossil fuels (1). CO2 emissions caused by the various uses of fossil fuels are shown in Table 2 and Figure 2 (1).

From Table 1 we note that coal-fired power plants contribute to 25% of total fossil fuels consumption (which cause 33% of total CO2 emissions, Table 2), while power plants using natural gas and oil represent 7% of total fossil fuels use (6% of total CO2 emissions, Table 2). All these power plants fueled by fossil fuels could be replaced by electricity from alternative sources.

As natural gas and oil emit much less CO2 per kWh, the most cost efficient way to reduce CO2 would be to replace all existing coal-powered plants by building 300 GWe (based on ref. 1) of alternative energy power plants such as solar thermal plants or coal power plants with sequestration of CO2. As replacing all power plants is very expensive, if the only goal is CO2 sequestration, CO2 scrubbers for existing power plants merit a second look. Present plans for CO2 sequestration are based on building totally new power plants as well as pipelines for the CO2. We show later that solar thermal plants with storage cost slightly less to build per kW capacity than coal-fired plants with CO2 sequestration. Both technologies should be considered, however, for the significant potential advantages of each.

# If reducing CO2 emissions is a serious national priority, this would be the most effective way to achieve it. Replacing electricity generated from oil and gas would require another 120 GWe of electricity from alternative sources (based on ref. 1).

# Other uses for fossil fuels that are relatively easy to replace with electricity include all residential and commercial non-electric energy use, 13% of the total use for fossil fuels (Table 1) which generate 11% of all CO2 emissions at present (Table 2). The distribution system and the technology needed for the implementation of this changeover are already available. Most uses of fossil fuels for these applications can be met much more efficiently by using electricity directly. For example, in many situations heat pumps are more efficient than conventional heating systems.

Petroleum constitutes 40% of our energy mix (1). The petroleum we use for commercial, residential, and power (9% of total petroleum, already counted above) would be easy to replace by using electricity from alternative sources directly (Table 1).

Petroleum's main use -almost 70% of the total is for transportation, Table 1- can be shifted in part to alternative fuels. 80% of the gasoline now used for private cars and light trucks (60% of oil used for transportation, ref. 7), can be replaced by hybrid cars with plug-in batteries. This replacement of gasoline with electricity is probably the cheapest and most politically attractive way to reduce oil consumption and is competitive today with $40 a barrel of crude oil. Additionally, railroads driven by electricity can take on much of the hauling now handled by heavy trucks; we can probably shift 60% of the oil used for big trucks (29% of oil used for transportation, ref. 7), but this requires more studies as to the costs involved. Both contributions could save 20% of total fossil fuels (Table 1), which is 44% of our total petroleum consumption or 65% of the oil used for transportation (6).

Shifting from hydrocarbon fuels to electricity would provide an attractive solution that would be easier to achieve than replacing coal power plants. Unlike coal power plants, which last about 50 years, cars are replaced much more frequently. Secondly, our dependence on imported fossil fuels would be reduced substantially. Reducing oil consumption has attracted much wider support than CO2 reduction, because dependence on imported oil, whose prices can fluctuate very widely, has strongly negative political and economical implications. Furthermore, fossil-fuels resources are being depleted at an increasing rate worldwide, and it would be wise to prepare for a non-fossil energy mix long before peaking occurs. By replacing 65% of the oil used for transportation with electricity from alternative sources would also decrease CO2 emissions by 21% (Table 2).

Regarding the use of natural gas we noted before that all residential, commercial and power generation uses can be replaced by electricity. 37% of the natural gas (10% of total fossil fuels used) is used by industry, we have no break down of the specific uses, but based on one of the authors’ experience (R.S.) at least 70% is for internal power and steam generation, furnaces (such as in distillation) and H2 production. All these uses, 7% of total fossil fuels (which generates 5% CO2 emissions) are switchable to electricity from alternative sources. The only use that is not switchable is for chemical feedstocks, approximately 30% of industrial gas use, or 3% of total fossil fuels.

Another 2% of total fossil fuels that cannot be switched at all is direct industrial use of coal.

In summary it is feasible with existing technologies to replace 72% of the fossil fuels now used with electricity from alternative sources (Table 3a, and Figure 3). This shift would also reduce CO2 emissions by 76% (Table 3a).

In section VI we will discuss how to replace the other 26% (2% coal in industry is not replaceable), also shown in Figure 3.

IV.	Solar Thermal Energy with Storage

A more detailed technical discussion of solar thermal energy with storage can be found in the authors’ recent paper, which is in publication (available electronically), and is cited below as a reference (6). As the main objective undertaken here is to assess the potential of solar thermal technology for decarbonizing our energy mix, only the relevant points of the previous work will be summarized.

Solar thermal technology utilizes solar collectors of the trough type to concentrate solar rays on a flowing liquid that is able to sustain very high temperatures (= 800 ºF). The heat thus collected can then be used directly to raise steam for driving the turbines of electricity-generating plants. Alternatively, the energy can be harvested and stored as sensible heat in large underground ponds. Later, the stored energy can be fed to the steam plant instantaneously to meet variable power needs. This technology has been amply demonstrated in a 354 MWe modular plant (consisting of 9 solar thermal units) that has been running in the Mojave Desert for the past 20 years (see Appendix A in ref. 6).

Solar thermal energy has been evaluated in two reports by the National Research Council (NRC, refs. 8 and 9). Both concluded that it is unlikely to become competitive with conventional coal power. While this conclusion may be correct, the reports missed two important points:

  - Solar thermal energy with storage is the only alternative energy source -other than nuclear energy- that can supply all our energy needs (6). All other alternative energies have severe inherent limitations.

  - Given the capital costs projected currently, solar thermal energy may not be competitive with coal or nuclear energy for base power (6). As will be explained in the next section, however, it can become competitive with all other conventional sources because of its capacity for storing heat (6). Indeed, it can supply 60% of the requirements of our electric grid, intermediate and peak load, at an acceptable cost.

IV.1	The Importance and the Cost of Variable Loads in the Generation of Electricity

Most cost comparisons for alternative energy, including the two evaluations of thermal solar by NRC (8, 9), compare the cost of base loads (40% of our total electricity consumption, 10). But at present, solar thermal for base load in more expensive than conventional coal power plants and nuclear power plants. However, when we consider the other 60% of the load, intermediate and peak electricity, the comparison changes completely and, as shown below, solar thermal energy becomes attractive even at present prices. Similarly, gas turbines are only competitive for peak loads (400 hours a year).

The effect of operating power plants for only a fraction of the time adds to capital-related costs. Capital costs are a large fraction of the total cost of electricity from nuclear and coal power plants. Although the penalty for natural gas plants would be smaller, they are not included in our comparison as the cost of natural gas has increased five-fold in the last ten years and the current shortage of gas does not allow for a large expansion.

For a solar thermal power plant, one can consider the solar collectors and the storage facilities for the heat transfer fluid as a plant producing storable heat for feeding the steam power plant. In the design of a solar thermal plant, the collectors and the heat storage (90% of the capital cost, ref. 6) are designed to supply the total expected electricity/day. Only the steam power plant is designed to the maximum expected load. For nuclear and coal power plants with load-following capability, the entire plant must be designed for maximum load. The steam power plant of a solar thermal plant is cheaper by a factor of four than a coal power plant and by a factor of seven than a nuclear power plant. For intermediate loads (13 hours/day) the capital cost of solar thermal energy increases by only 10% vs. 85% for nuclear and coal power plants. Despite the fact that initially the capital investment for solar thermal plants is double that of coal and nuclear plants, their cost-effective design for intermediate and peak loads plus their lower maintenance costs and “zero” fuel costs make them competitive even today (6).

Furthermore, solar thermal technology could be integrated with wind and solar cells to provide an output for the electric grid that is reliable and controllable in order to offset strong variations in demand and fluctuations in input from environmental sources. Thus, solar thermal plants are the energy sources of choice whenever large instantaneous control capabilities are required, an essential need in a decarbonized economy. For example, solar thermal energy can provide the equivalent of a 4 GWe power plant for 6 hours a day, at a 30% increased capital cost compared to a 1 GWe power plant designed for base load vs. 300% for nuclear or coal technology.

IV.2	Estimated Costs for Solar Thermal Energy

The cost estimates for solar thermal energy were taken from the recent Sargent and Lundy report (11) commissioned by the U.S. DOE and reviewed by the NRC (9) as discussed in detail in reference 6. In our earlier discussion of these estimates we compared published data for solar thermal plants with both nuclear and various coal technologies (6). At this point, it is important to emphasize that although the estimate for solar thermal technology by Sargent and Lundy is based on available technology and a conventional approach to building power plants, it misses two critical factors:

a.	With a much larger market and increased competition, costs should be reduced significantly. For example, LNG plants and combined-cycle power plants leveled out at half the initial predicted cost.

b.	Additionally, they did not take into account that, with a large market, solar collectors (70% of cost, ref. 11) could be designed for mass production so that costs could be reduced by a factor of three.

It is fortunate that solar power is already sufficiently competitive for many existing large-scale needs to initiate the creation of this market. Ultimately, solar thermal plants could become the cheapest source of alternative energy and of electric power in general.

A comparison of the costs of base power appears in Table 4, while Table 5 compares the costs of intermediate power for the technologies discussed above. From Table 4 we note that for base power, solar thermal is competitive only with future coal power plants with sequestered CO2. We discuss this later. For variable loads (60% of our electricity demand), however, solar thermal is already competitive (Table 5). With increased large-scale use, it should also become competitive for base loads.

As most deserts in the U.S. are in the Southwest, we will need to connect the Pacific grid to the National grid so that solar thermal power could serve the whole nation. Fortunately, the distances which must be spanned are not large but planning on a national scale will be required.

IV.3	Compensation for Variable Power Inputs and Fluctuations in Demand on the Grid

Variable power requirements were a problem for the grid until recently only because of variations in consumer demand. When switching to a non-fossil energy economy, wind and solar cells will become a large source of fluctuations in power generation as they have a strongly variable output and lack a capacity for storage. Solar thermal plants, however, are uniquely suited for large-scale load following. Such plants could make it possible to create an advanced grid that integrates nuclear, wind and solar cell technologies because solar thermal energy can compensate for variations in demand and fluctuations in power inputs into the grid.

The actual composition of the advanced grid and the fraction of the grid generating capacity solar thermal electricity should contribute require further studies. It is encouraging to realize, however, that the available U.S. desert area is sufficient to generate several times our current energy needs (the control of such a grid will be different from the present one but the theoretical tools for designing such a grid are available). Thus, we have the technology to supply all our future electricity needs from alternative sources at a reasonable cost. Moreover, the switch to electricity from alternative sources can be done gradually.

V.	The Potential Contributions of Solar Thermal Energy and Electricity from Alternative Sources

In the preceding section we tried to show that solar thermal energy can serve as a viable source of electricity. It is also the only source of alternative electricity that, like nuclear energy, can support a major share of our electric energy needs. Although we advocate a more diversified approach, the fact is that there is sufficient sunlit area in the U.S. for supplying all our energy needs. The total power that could be generated from all other proven alternative energy sources, such as hydroelectric, geothermal, wind, and solar cells, is severely limited. Furthermore, solar thermal can become the mainstay of an advanced grid. Solar thermal technology merits a more thorough reevaluation. Several large demonstration plants (250-400 MWe) with adequate storage capacity should be subsidized by Government support -as was provided to launch nuclear power- to help prove that solar thermal power can be useful to industry at acceptable cost.

This paper focuses on an existing version of solar thermal energy (3). Other designs that have been proposed should also be evaluated, but only those with sufficient storage can have a large impact.

Full decarbonization of the U.S. economy can take from 30 to 50 years; so, implementation cannot wait until either global warming has an unacceptable impact or oil and natural gas supplies have peaked, as then it will be too late. The cheapest way to initiate decarbonization is by building new power plants and enlarging our National grid with alternative energy slowly until we double or triple our total electricity generating capacity. We must start now.

We showed in Section III that on a BTU basis, 72% of the decarbonization of the energy mix could be achieved by available, affordable technology. The fact that alternative technologies are already available does not mean the U.S. should stop research for new and better ideas. To the contrary, a detailed plan for the development of available technologies as outlined above could serve as a yardstick in the evaluation of new research proposals and achievements.

Our discussion of the advanced grid did not include coal power plants with CO2 sequestration because they are designed to produce base power, not intermediate or variable power, and therefore are not suitable for stabilizing the grid. Additionally, such plants have a higher electricity cost than any other power source. Although they may create no CO2 emissions, new coal plants do not address the need to decarbonize our energy mix. Furthermore, coal reserves are finite and should be preserved as a chemical resource for the long range. For the near term, however, coal plants with CO2 sequestration could be used for generating H2 to stretch crude oil reserves and upgrade heavy oil and tar sands. H2 from coal gasifiers with CO2 sequestration is at present much cheaper than H2 from electrolysis (based on Table 4, $11-12 per MMBtu for the gasifier vs. close to $30 for electrolysis, 12).

In Section III we discussed how 72% of the energy we derive from fossil fuels could be shifted gradually to electricity from alternative sources. In the section which follows we consider how we can develop decarbonized energy to meet the balance of our needs.

VI.	The Role of H2 and Biomass in the Decarbonization of Our Energy Mix

Many resources have recently been placed behind programs that aim to develop H2 as a main energy source. But H2 is an energy carrier not an energy source, because energy is required to generate it. H2 can be produced from natural gas, which is already in short supply. Were we to generate sufficient H2 to fuel our cars, we would double our total natural gas consumption. Producing H2 from coal would introduce a difficult switching problem, as H2 cannot be produced at a gas station and so, an extensive transport system would be required. The only available way to produce H2 from alternative sources is by electrolysis, an expensive process. Other ways to produce H2 from alternative sources, e.g., the photoelectrochemical and photochemical decomposition of water, have not yet been developed, but, merit research. A recent NRC report concluded that the H2 economy requires further research and is not ready for implementation (13). This places H2 beyond the scope of our discussion.

As long as H2 must be made by electrolysis, it is clearly preferable to use electricity directly whenever possible. As electricity costs are comparable to many uses of oil and gas, the direct use of electricity from alternative sources should be maximized in the near future. As noted above, however, about 28% of our use of fossil fuels cannot be replaced with the direct use of electricity nor can they be replaced by direct use of H2; e.g., we cannot substitute electricity or H2 for petrochemical feedstocks or airplane fuel. As will be discussed below, H2 can play a different important role in the development of alternative fuels.

We have the technology to synthesize almost any known hydrocarbon from syngas (a mixture of H2, CO and CO2) either via methanol or from Fischer-Tropsch intermediates (14, 15), which can be made to react by using shape-selective catalysts (16, 17). The H2 needed for both these processes can be obtained from electrolysis. The source of the carbon oxides is less obvious. If they are generated by combusting fossil fuels, we continue to create the same CO2 emissions as before. It has been suggested that CO2 can also be separated from air, but this is not practical as 20 lbmol of CO2 would be required per equivalent barrel of crude produced (at a theoretical 100% efficiency). Since the concentration of CO2 in the air is only 0.03%, it would require 65,000 lbmol of air (or 21 million SCF) to produce one barrel of oil. The non feasibility of such an approach becomes obvious if we consider that for a 50,000 barrel/day plant, the volume of air that would have to pass through the CO2 scrubber (or extractor) is equal the volume that would be required to combust enough coal to fuel 600 GWe coal-powered plants (twice the total capacity of all coal power plants installed today in the U.S.).

The only way available to obtain carbon oxides from renewable sources is from the gasification or combustion of biomass with oxygen. The technology for the gasification of biomass is available as gasifying biomass is very similar to the gasification of peat or lignite (for example, in the Winkler or the DOW gasifier, ref. 18).

The role of H2 in biomass utilization is based on the underlying chemistry. The production of all hydrocarbons, including fuels from syngas is based on the overall reactions:

n CO + 2n H2 ( (CH2)n + n H2O 	(1)

n CO2 + 3n H2 ( (CH2)n + 2n H2O 	(2)

Reactions (1) and (2) occur during the Fischer-Tropsch process which is preferable for producing diesel and jet fuel. Each of the two overall reactions above can also occur in two steps with methanol as an intermediate. This is the preferred route for producing gasoline and most chemicals (16, 17).

Most biomass has a chemical composition Cn(H2O)m and contains H2 only in the form of water. Just as in coal liquefaction, the H2 for the syngas is formed from CO by the shift reaction:

CO + H2O ( CO2 + H2 	(3)

which can occur either in the gasifier or in a separate shift reactor. As reaction (1) requires two moles H2 per mole CO, we have to shift at least two moles of CO (reaction 3) for each mole of CH2, ending up with one-third of the carbon in the product and the rest as CO2. If we add H2 from alternative sources we can convert all the CO and CO2 formed during the gasification to CH2 thus tripling the useful product. In addition, we save the shift reactor and the CO2 removal.

We estimate that biomass could provide 10% of our total energy needs. By adding H2, the yield could be tripled to 30%, enough to meet our energy for which electricity cannot be substituted directly (26% of total fossil fuels used, as estimated in Section III, which also reduce CO2 emissions by another 21%, breakdowns are given in Table 3b). If we could generate H2 by electrolysis on site, the oxygen could be used for gasification. Producing the methanol intermediate without H2 addition is so similar to producing methanol from a sub-bituminous coal that it should cost no more. Adding H2 would half the cost of the production process, though the H2 itself is more expensive.

At present, H2 can be produced by electrolysis at a cost of $30/MMBtu (12) or about $150 a barrel gasoline (a barrel of gasoline is approximately 5 MMBtu). An important research project would be to reduce the cost of H2 produced from alternative energy sources, which is recommended in ref. 13.

  - Summary.

In this paper we try to show that with the technologies currently available, 98% (72% by electricity from alternative sources and 26% by syngas processes, the carbon oxides for the syngas being produced by the gasification of biomass and the H2 by electricity from alternative sources) of our economy could be decarbonized at an affordable cost, albeit this is more expensive than cheap oil or coal without pollution control (replacing 98% of fossil fuels would also reduce 97% of CO2 emissions, 76% by using electricity from alternative sources and 21% by syngas processes).

We focused here on what could be done with existing technology, and showed that we do have the technology to create a viable economy that does not depend on fossil fuels. In no way we want to imply that total replacement of all fossil fuel energy is required in 50 years time span. 50% decarbonization in thirty years and 80-90% in fifty years is probably a more reasonable goal, which would stretch our oil and gas reserves and reduce CO2 emissions.

We also showed that solar thermal energy could play a significant role in such a program and could anchor an advanced grid, which integrates a variety of alternative energy sources. The U.S. is fortunate to have the resources and desert area needed for supply all its energy needs. Further development of these technologies and their introduction on a large scale would provide a model for the world, especially for developing nations. As the problems inherent in such a plan are not solely technical, the free market cannot be expected to invest in CO2 reduction or to fund an uncertain future. It is clear that Government planning and support will be needed before we can achieve these goals. It is encouraging to know, however, that the tools for decarbonizing our economy are available to us if we have the will to use them. The first step would be a wide discussion and formulation of a detailed plan and timetable for implementation. This plan should also include more detailed evaluation of the different technologies, including approximate cost estimates, not only for the technologies, but also the cost of the implementation (enlargement of the grid, replacement of equipment, etc.). The starting point should be applications that are competitive or nearly competitive today.

In ref. 6 we gave a ballpark estimate as to how much alternative electric generation capacity would be needed, we came up with 1500-2000 GWe, somewhere in the 5-6 trillion dollar range. Over 30 years this is 170-200 billion dollars a year, definitely an affordable cost if society wants to do it. It would also stimulate the American economy.

The plan should also be coordinated closely with another critically urgent need, which would share many elements: how to deal with the coming peaking of oil reserves.

# Acknowledgements

The authors want to express their sincere appreciation to Dr. Mildred Green Shinnar for editing, and in part rewriting, the paper. The authors also want to thank Dr. Robert L. Hirsch, Dr. John J. Wise, and David Gushee for reviewing the paper and providing valuable comments.

|  | Residential | Commercial | Industrial | Transportation | Electricity | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Petroleum* | 1.546 | 0.753 | 9.436 | 26.131 | 1.207 | 39.073 |
| Natural Gas* | 5.244 | 3.217 | 8.317 | 0.668 | 5.062 | 22.508 |
| Coal* | 0.010 | 0.083 | 1.776 | 0 | 20.888 | 22.757 |
| Renewable Energy | 0.435 | 0.106 | 1.751 | 0.239 | 3.619 | 6.150 |
| Nuclear Energy | 0 | 0 | 0 | 0 | 7.973 | 7.973 |
| Total |  |  |  |  |  | 98.461 |
| *: Total Fossil Fuels Consumption |  |  |  |  |  | 84.338 |

Table 1.	U.S. Energy Consumption by Sector and Source (Quadrillion Btu), Year 2003.

|  | Residential | Commercial | Industrial | Transportation | Electricity | Total | Total (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Petroleum | 106 | 54 | 422 | 1822 | 96 | 2500 | 43.3 |
| Natural Gas | 277 | 171 | 420 | 35 | 267 | 1170 | 20.3 |
| Coal | 1 | 9 | 186 | 0 | 1906 | 2102 | 36.4 |
| Total |  |  |  |  |  | 5772 | 100 |

Table 2.	U.S. CO2 Emissions by Sector and Source (Million Metric Tons), Year 2003.

| Fossil Fuel Use | Fossil Fuel Replaced (%) | CO2 Emissions Reduction (%) |
| --- | --- | --- |
| All Coal for Electricity | 25 | 33 |
| All Natural Gas and Petroleum for Electricity | 7 | 6 |
| All Natural Gas + Coal + Petroleum for Residential and Commercial | 13 | 11 |
| 65% of Petroleum used in Transportation | 20 | 21 |
| 70% of Industrial Natural Gas (used for power and steam generation, furnaces and H2 production) | 7 | 5 |
| Total | 72 | 76 |

Table 3a.	Potential for Fossil Fuels Replacement and CO2 Reduction by Electricity from Alternative Sources.

| Fossil Fuel Use | Fossil Fuel Replaced (%) | CO2 Emissions Reduction (%) |
| --- | --- | --- |
| All Petroleum in Industry | 11 | 7 |
| 35% of Petroleum used in Transportation | 11 | 11 |
| 30% of Industrial Natural Gas (used for chemical feedstocks) | 3 | 2 |
| All Natural Gas used in Transportation | 1 | 1 |
| Total | 26 | 21 |

Table 3b.	Potential for Fossil Fuels Replacement and CO2 Reduction by Syngas Processes (carbon oxides produced by biomass gasification with H2 by electricity from alternative sources).

|  | Investment ($/kW installed) | Hours per Year | Cost per kWh (cents) |
| --- | --- | --- | --- |
| Solar Thermal – Near Term [11] | 4000* | 4900 | 8.0 |
| Solar Thermal – Future [11] | 3220 | 4900 | 6.2 |
| Conventional Coal Power Plant (with Scrubbers) [5, 19] | 1200 | 6500 | 4.5 |
| Clean Coal [5] | 1550 | 6500 | 5.6 |
| Clean Coal [19] (with CO2 separation in the plant –no counting cost of sequestration) Estimated Cost of Sequestration | 2000 | 6500 | 7.0 2-3 |
| Nuclear [19] | 2200 | 6500 | 6.0 |

###### Table 4.	Electricity Costs for Solar Thermal Compared to Coal and Nuclear (6)

*: the estimate was obtained as follows:

near term estimate in ref. 4: 4,816 $/kW installed

20% scalable with exponential scale-up factor of 0.6 saves 540 $/kW installed

8 parallel trains built simultaneously should save 10-20% of the non-scalable part of the plant, for a saving of 380-760 $/kW installed.

|  | Intermediate (cents/kWh) |
| --- | --- |
| Solar Thermal – Near Term | 8.0 |
| Solar Thermal – Future | 6.2 |
| Conventional Coal Power Plant (with Scrubbers) | 8.0 |
| Clean Coal | 10-11 |
| Clean Coal (with CO2 sequestration in the plant –no counting cost of disposal) Estimated Cost of Sequestration | 12-13 2-3 |
| Nuclear | 10-11 |

Table 5.	Cost per kWh of Energy During Intermediate Loading (6)

Figure 1.	U.S. Energy Consumption by Source (Year 2003)

Figure 2.	U.S. CO2 Emissions By Sources (Year 2003)

Figure 3.	Potential Replacement of the U.S. Fossil Fuels By Alternative Energy

1: Petroleum used in Residential + Commercial + Power Generation

2: Gasoline

3: Diesel

4: Jet Fuel

5: Petroleum used in Industry

6: Natural Gas used in Residential + Commercial + Power Generation

7: Natural Gas used in	 Industry

8: Natural Gas used in	 Transportation

9: Coal

References

    - http://www.eia.doe.gov

    - Shinnar, R., Shapira D., and Zakai, S.,  "Thermochemical and Hybrid Cycles for Hydrogen Production. A Differential Economic Comparison with Electrolysis" I&EC Process Design & Development. 20, 581. (1981).

    - Shinnar, R., “The Raise and Fall of Luz”, ChemTech, 23, 50-53, (1993).

    - Shinnar, R., “The Hydrogen Economy, Fuel Cells and Electric Cars”, Technology in Society, Vol. 25, Num. 4, pages 453-576, (2003).

    - Holt, N. (EPRI); “Gasification Process Selection – Trade-offs and Ironies”, Presented at the Gasification Technologies Conference, Washington, DC, October 4-6, (2004).

    - Shinnar, R.; Citro, F.; “Solar Thermal Energy: The Forgotten Energy Source”, (in publication, available @ www1.ccny.cuny.edu/ci/cleanfuels).

    - Davis, S. C., Diegel, S. W.; “Transportation Energy Data Book”, Edition 24, prepared by ORNL for EERE, U.S. DOE, (2004). Available @ http://cta.ornl.gov/data/index.shtml.

    - “Renewable Power Pathways. A Review of the US Department of Energy’s Renewable Energy Programs”, Commission on Engineering and Technical Systems, NRC, National Academy Press, Washington, D.C., (2000).

    - “Critique of the Sargent and Lundy Assessment of Cost and Performance. Forecasts for Concentrating Solar Power”, NRC report, 2002.

    - http://www.eas.asu.edu/~holbert/eee463/ECONOMICS.HTML

    - S&L (Sargent & Lundy). “Assessment of Parabolic Trough and Power Tower Solar Technology Cost and Performance Forecasts”, Draft 3, SL-5641, 2002. Chicago: Sargent & Lundy LLC.

    - Shinnar, R.; Citro, F.; “Evaluating Processes in the Early Research Stage”, (in publication, available @ www1.ccny.cuny.edu/ci/cleanfuels).

    - “The Hydrogen Economy: Opportunities, Costs, Barriers, and R&D Needs”, National Research Council, (2004).

    - Anderson, R. B.; “The Fischer-Tropsch Synthesis”, Academic Press Inc., (1984).

    - Shinnar, R.; Haag, W. O.; Huang, T. J.; Kuo, J. W.; “Conversion of Synthesis Gas to Hydrocarbon Mixtures Utilizing Dual Reactors”, United States patent # 4,252,736, (1981).

    - Chang, C. D.; “Hydrocarbons from Methanol”, Marcel Dekker, Inc., New York, (1983).

    - Chen, N. Y.; “Shape Selective Catalysis in Industrial Applications”, Marcel Dekker, Inc., New York, (1989).

    - DOE (Department of Energy), “Major Environmental Aspects of Gasification-Based Power Generation Technologies, Final Report”, Office of Fossil Energy, National Energy Technology Laboratory (NETL), (2002).

    - Private Communications with Bechtel.

# Footnotes

* To whom correspondence should be addressed. Tel.: 212-650-6679. Fax: 212-650-6686.

E-mail: shinnar@ccny.cuny.edu.