Country or Region: Croatia Wastewater and Sewage Market Report - 2008

Dalila Uzelac 2008

Summary

Due to its complexity, environmental protection has been recognized as one of the most demanding areas in the process of approximation to the EU acquis communitaire. The Republic of Croatia was granted the status of candidate country for EU membership on 18 June 2004.  Accession negotiations with the EU were launched in 2005 and Croatia is looking forward to becoming a newcomer in 2010.

Croatia is a relatively sparsely populated European country with 4.5 million inhabitants. .  Coverage of water supply services ranks high compared to other countries in the region.  In Croatia, 76% of the population has access to water through a publicly owned, operated and maintained water supply network. The rest of the population has access through local or individual water supply facilities. However, coverage for sewage is only around 40 %, and less than 12 % of all collected wastewater is being treated. Only 6% of wastewater is given full treatment . Sanitation is provided through a publicly owned, operated and maintained sanitation network, while the rest receives services through local or individual sanitation facilities.. Under existing conditions, wastewater management is deficient and water pollution constitutes a problem in a number of Croatian coastal municipalities. The fact that 5,400 settlements are inhabited by fewer than 500 persons each represents a unique challenge for our country. The above mentioned facts restrict a choice of policy options and specific actions that can be implemented in a cost-effective way.

The major direct environmental investments so far have focused on water protection issues and include the construction of sewage systems and wastewater treatment facilities. It is expected that approximately US $ 2 billion will be invested in wastewater sector until 2020 to be brought in line with the EU standards and requirements. Croatia is currently a beneficiary of the EU pre-accession instruments (IPA), with projects financed from EU funds, international financial institutions and co-financing from the Croatian government budget.

1.  Water and Wastewater Management

The total waste-water volume discharged in surface and coastal waters is equivalent to that of

about 10.5 million inhabitants (including domestic and industry discharges). Industrial waste water is often discharged into the municipal sewage system, in many cases without adequate pre-treatment. The degradation of seawater quality in some parts of the coast due to discharges of raw sewage has resulted in visible problems, including localized eutrophication (water pollution caused by excessive plant nutrients) and phytoplankton bloom, as well as less-visible contamination of the marine life by organic and non-organic micro-polluting substances. General objectives for water and wastewater management in Croatia in the coming years include:

• Bringing Croatian water management regulations in line with relevant EU regulations.

• Creation and maintenance of Water Information System (WIS).

• Extending public water supply to 90% of the population (73% at present).

• Providing wastewater collection, treatment and disposal systems for a population

equivalent of 10.5 million.

• Implementation of further flood control and multi-purpose projects.

• Monitoring of surface and groundwater quality / water pollution control.

• Seven major and 350 medium and small coastal harbours require substantial modernization, mainly through giving concessions to domestic and foreign investors.  The following harbors have highest investment priority: Rijeka Harbor, and the harbors in Ploce, Split, Zadar, Dubrovnik, Sibenik and Pula. Special care is given to the development of infrastructure for the transport of passengers in the Dalmatian harbors, due to the poor present condition and estimated large number of future passengers (especially tourists).

• The inland waterways of the Danube, Sava, Drava and Kupa rivers are in a need of renovation and rehabilitation. (The total length of inland waterways for ships up to the tonnages of 150 tons totals 922 km, of which 502 km are usable for ships up to the tonnage of 1,500 tons.)

• There is a need to reconstruct and modernize river harbors and piers, especially Sisak, Slavonski Brod, Osijek and Vukovar.

In general, it is difficult to get an accurate picture of the scale of the pollution discharged in

Croatia’s water bodies. However, it is clear that in terms of treatment facilities, Croatia is

under-equipped and the bulk of its waste waters is treated only mechanically. In recent years a number of municipal facilities have been or are being built.

Within the framework of the Danube Convention, pollution hot spots on the Danube’s tributary

rivers have been identified in each country that participates in the Danube Strategic Action Plan.

In Croatia this has happened along the Sava, Drava, Kupa and Danube rivers.

On the Adriatic coast, waste-water treatment plants have been upgraded considerably in the

resorts to improve the quality of bathing water. In general, along the coast, efforts focus on

building sewage networks to further reduce individual discharges and develop collective sewage

systems, primary waste-water treatment and deep injection into the sea.

On the islands, there are reportedly very few sewage systems and treatment facilities. This

results in waste water still being disposed of in the same way as in the past, i.e. discharged into

the sea through the sewage system after simple mechanical pre-treatment. Biological facilities are rare, and the quality of their operations questionable. Settlements along the coast have direct individual discharges. The increase in tourists and tourism activities and settlements adds to the problem.

2. Institutional and Legislative Framework

2.1. Institutional Framework

The water management activities in Croatia are divided into: legal (competence of the Croatian

Parliament and the Government of the Republic of Croatia), administrative (competence of the

Ministry of Agriculture, Forestry, and Water Management – Water Management Directorate,

and other units of State and local and regional authorities), and operative water management

activities (competence of Croatian Waters).

The Ministry of Agriculture, Forestry, and Water Management

is the primary agent of administrative, legal, and professional activities of implementation of the water management policy ensuring:

- Preparation of acts and other regulations, international and bilateral contracts and agreements

- Implementation of acts and regulations, international and bilateral contracts and agreements

- Compliance of regulations with the regulations of the European Union

- Monitoring and analysis of the state and coordination of water management development with the requirements of economic development

- Development of water management plans

- Protection of water and sea from pollution from land-based sources

- Planning and coordination of development of public water supply and sewerage systems

- Establishment, monitoring and improvement of the water information system and document management

- Administrative and professional supervision of water management activities of Croatian Waters and water management bodies of county and local/regional authorities

Croatian Waters / Hrvatske vode (HV)  is a government agency  responsible for overall water resource management in Croatia, as well as for the initiation and implementation of related investment projects. Croatian Waters operates in the entire area of the Republic of Croatia. Major operational activities of Croatian Waters are:

- Preparation of water management master plans, water management plans for river basins, and water management schemes

- Development of terms of reference, conceptual designs, studies, investment programs, and revision of project documents

- Organization of construction and maintenance of water management facilities

- Investment activities related to realization of plans

- Planning and collection of funds for financing of water management activities.

Unlike budgetary funding, Croatian Waters provide municipal users with a direct professional,

technical, economic, and legal help for defining, preparation, and implementation of projects of

various degrees of complexity. A segment of activities related to water management is under the authority of other ministries and state administrative organizations, such as:

Ministry of Environmental Protection, Physical Planning, and Construction – performs

administrative and other tasks related to the general environmental protection policy for creation

of conditions for sustainable development, and overall protection of air, water, sea, flora and

fauna.

Ministry of the Sea, Tourism, Transportation, and Development – performs administrative, professional, and other activities related to the organization of strategic infrastructure projects and investment programs of special importance to the Republic of Croatia (water supply, wastewater sewerage, etc.) which are entirely or partially financed from the State Budget, coordinates the activities of other subjects in the construction of such facilities, monitors and controls the investments, and performs professional activities related to the commencement, coordination, and monitoring of activities regulated by acts and regulations that govern the development of islands.

Local and regional authorities – perform activities from their domain in accordance with the

Law on Local and Regional Self-government (NN 33/01) and in accordance with special acts

that determine individual activities and tasks that the units of local and regional authorities are

obliged to organize within their activities

2.2. Legislative Framework

Water management in Croatia operates within the legal framework of: the Constitution of the

Republic of Croatia, the Water Act (NN 107/95),  Law on Amendments to the Water Act (NN 150/05) and the Act on Financing Water Management (NN107/95, NN 88/98).

3. Current status and opportunities

Household wastewater disposal falls under the administrative competence of the local

government authorities (municipalities). All major Croatian towns have a sewage system for

the collection of municipal wastewater in place, wastewater treatment plants are present and

functioning to varying degrees. Studies of Croatian Waters (Hrvatske Vode ) www.voda.hr

describe the current situation and the needs for the development and construction of a wastewater treatment facilities in Croatia. In the process of achieving EU standards in the field of household wastewater treatment, additional funds need to be raised and allocated .

Industrial wastewater treatment and the condition of treatment plants are not at the same level of

development in the Croatian industry. Major companies have more developed wastewater

treatment facilities, but the majority of industry lacks the necessary funds for investments in

modern equipment. In this field, future investments in the development and construction of

equipment in accordance with EU standards will be needed.

Priorities of the Croatian Government and plans for development and construction of

wastewater treatment plants have not been defined entirely yet but they will be completed in the

process of accession to the EU and harmonized with EU standards.

3.1.  Projects:

3.1.1. Adriatic Project / The Coastal Cities Pollution Control Project

In 2004, Croatian Government signed an agreement with the World Bank for a partial financing of a $250 million worth project of coastal city pollution control. The project’s target is the upgrade of municipal sewage systems and wastewater treatment facilities on the coast. A number of tenders for wastewater treatment equipment/facilities have been out since the beginning of 2005 and many more are expected in the years ahead. Responsible institutions are: Croatian Waters,  Ministry of Agriculture, Forestry and Water Management and Ministry of Environmental Protection, Physical Planning and Construction. 

The on-going Coastal Cities Pollution Control Project is designed to improve the quality of Croatia’s Adriatic coastal waters to meet European Union environmental requirements under the acquis communautaire.

The Government of Croatia has selected the Adaptable Program Loan (APL), the first time that this instrument is being used in the country.  The APL provides a framework for the phased implementation of pollution control programs and implementing the medium-term investment program needed to comply with requirements for EU accession by helping Croatian Waters, the implementing agency for the project, to take a phased approach to planning and identifying funding sources, while building the necessary regulatory, monitoring, and control capacity.  The World Bank loan is the first phase of a medium term investment program that is part of a wider 10-year investment program designed to bring Croatia in line with EU wastewater treatment requirements. With respect to the wastewater treatment, twenty facilities are planned to be built by the year 2010, and there are plans for additional wastewater facilities for towns of 2,000-15,000 inhabitants by the year 2025.

Contact information:

HRVATSKE VODE

Hrvatske vode Jadranski projekt d.o.o.

Dinko Polic, B.Sc.C.E., Project Director

Vukovarska 220

10000 Zagreb

Croatia

Tel.: +(385 1) 630-7548

E-mail: pdinko@voda.hr

www.voda.hr

### 3.1.2.  Karlovac Wastewater Management Project

The municipal water company owned by the City of Karlovac, Vodovod I Kanalizacija (ViK), has received a loan from the European Bank for Reconstruction and Development (EBRD) to implement a program of investment to improve its wastewater management.  The proposed project has an estimated total cost of US $ 38 million. The project is co-financed by the EU ISPA program.. The project has commenced in 2006 and it is expected to be completed by 2010.

The procurement of the following goods, works and services is required:

- Consultancy and Technical Assistance (Project Implementation Consultants and Supervision Consultants);

- Supply of Technical Support Equipment;

- Supply Sewer Maintenance Equipment;

- Construction and refurbishment of wastewater collectors, pumping stations and water pipes (FIDIC Red Book);

- Construction of WWTP (FIDIC Yellow Book).

All contracts under the project will be implemented consistent with the EBRD’s Procurement Policies and Rules and will be open to firms from any country.

Contact information:

Vodovod i kanalizacija d.o.o.

Mr. Kresimir Veble

General Manager

Gazanski trg 8, 47000 Karlovac, Croatia

Phone: +385 47 648 017

+385 47 649 100

Fax: +385 47 649 154

Mobile:+385 98 246 244

E-mail: kresimir.veble@ka.t-com.hr

### 3.1.3.  Inland Water Project(s)

Inland Water Project is in preparation, financed by the World Bank and IBRD in the amount of  US $ 18 million. It will cover flood, sewage and wastewater treatment problems in the continental part of Croatia.

Contact information:

HRVATSKE VODE

Mr. Miroslav Steinbauer

Vukovarska 220

10000 Zagreb

Croatia

Tel.: +(385 1) 630-7303

E-mail: steinbauer@voda.hr

www.voda.hr

4. Institutional and Legislative Framework

4.1. Institutional Framework

The water management activities in Croatia are divided into: legal (competence of the Croatian

Parliament and the Government of the Republic of Croatia), administrative (competence of the

Ministry of Agriculture, Forestry, and Water Management – Water Management Directorate,

and other units of State and local and regional authorities), and operative water management

activities (competence of Croatian Waters).

The Ministry of Agriculture, Forestry, and Water Management

is the primary agent of administrative, legal, and professional activities of implementation of the water management policy ensuring:

- Preparation of acts and other regulations, international and bilateral contracts and agreements

- Implementation of acts and regulations, international and bilateral contracts and agreements

- Compliance of regulations with the regulations of the European Union

- Monitoring and analysis of the state and coordination of water management development with the requirements of economic development

- Development of water management plans

- Protection of water and sea from pollution from land-based sources

- Planning and coordination of development of public water supply and sewerage systems

- Establishment, monitoring and improvement of the water information system and document management

- Administrative and professional supervision of water management activities of Croatian Waters and water management bodies of county and local/regional authorities

Croatian Waters / Hrvatske vode (HV)  is a government agency  responsible for overall water resource management in Croatia, as well as for the initiation and implementation of related investment projects. Croatian Waters operates in the entire area of the Republic of Croatia. Major operational activities of Croatian Waters are:

- Preparation of water management master plans, water management plans for river basins, and water management schemes

- Development of terms of reference, conceptual designs, studies, investment programs, and revision of project documents

- Organization of construction and maintenance of water management facilities

- Investment activities related to realization of plans

- Planning and collection of funds for financing of water management activities.

Unlike budgetary funding, Croatian Waters provide municipal users with a direct professional,

technical, economic, and legal help for defining, preparation, and implementation of projects of

various degrees of complexity. A segment of activities related to water management is under the authority of other ministries and state administrative organizations, such as:

Ministry of Environmental Protection, Physical Planning, and Construction – performs

administrative and other tasks related to the general environmental protection policy for creation

of conditions for sustainable development, and overall protection of air, water, sea, flora and

fauna.

Ministry of the Sea, Tourism, Transportation, and Development – performs administrative, professional, and other activities related to the organization of strategic infrastructure projects and investment programs of special importance to the Republic of Croatia (water supply, wastewater sewerage, etc.) which are entirely or partially financed from the State Budget, coordinates the activities of other subjects in the construction of such facilities, monitors and controls the investments, and performs professional activities related to the commencement, coordination, and monitoring of activities regulated by acts and regulations that govern the development of islands.

Local and regional authorities – perform activities from their domain in accordance with the

Law on Local and Regional Self-government (NN 33/01) and in accordance with special acts

that determine individual activities and tasks that the units of local and regional authorities are

obliged to organize within their activities

4.2. Legislative Framework

Water management in Croatia operates within the legal framework of: the Constitution of the

Republic of Croatia, the Water Act (NN 107/95),  Law on Amendments to the Water Act (NN 150/05) and the Act on Financing Water Management (NN107/95, NN 88/98).

4.3. Legal framework for foreign investments

Foreign investments in Croatia are regulated by the Company Act. According to this Act,

foreign investors have the same rights, obligations and legal status within an enterprise as

domestic investors, provided the condition of reciprocity is met. Foreign investors can acquire

rights to additional guarantees, which are not given to domestic investors. The Croatian

Constitution states that rights acquired through capital investments cannot be withdrawn by law

or any other legal act. It also insures free repatriation of profits and free repatriation of capital.

.

Types of investment allowed for foreign legal entities include:

• Investment of capital on a contractual basis;

• Investment of capital in a company;

• Investment of capital in a bank or an insurance company;

• Starting up as a sole trader or a craftsman;

• Acquiring the right to exploit natural resources or other assets of interest to Croatia;

• Taking part in Build-Operate-Transfer (BOT) deals and in Build-Own-Operate-Transfer

(BOOT) deals.

5. Financing

## According to the rough estimates of the Ministry of Environmental Protection, Physical Planning and Construction (MEPPPC) www.mzopu.hr  and the World Bank www.worldbank.hr Croatia will need to invest up to US $ 10 billion in the environment sector prior to the European Union (EU) accession. Rough estimates anticipate that the total environmental investment needed to meet average EU standards (waste, water and air) will be at least US $ 1.300 per capita. After studies conducted, wastewater treatment needs have been estimated at US $ 5 billion.

## 5.1. Domestic sources

The Act on Financing Water Management regulates the sources of funding for activities within the water management system, the manner of determining individual responsibility and collection of charges, and other issues concerning the allocation of funds.  As water and wastewater projects are strategic capital investments, it is necessary to provide partial financing from the national budget and the budgets of units of local self-government, from other domestic sources and from abroad. To this end, Croatian government established The Environmental Protection and Energy Efficiency Fund (www.fzoeu.hr) in 2004.  The Fund is established to finance the preparation, implementation and development of programs, projects and similar activities concerned with the preservation, sustainable utilization and improvement of the environment, as well as with energy efficiency and the use of renewable sources of energy. The Fund grants funds to legal entities and persons for programs, projects and other activities as defined in the Environmental Protection and Energy Efficiency Fund Act.  The financing takes the form of loans, subsidies, financial aids and grants. Fund is distributed on the basis of invitations for proposals. The Fund resources for financing of projects and programs are collected from permanent sources, i.e. the charges and contributions paid by the polluters and users of environment, interest on loans, donations, money from international bilateral and multilateral co-operation in onshore joint ventures, as well as the revenues from the national budget, budgets of the local self-government and local administration and self-government units for specific programs and purposes, from donations, service fees, sales of shares, equity capital, rights and things owned by the Croatian Privatization Fund i.e. the Republic of Croatia and from other sources.

Croatian Waters (www.voda.hr), a public utility company plays very important role in financing water supply, sewage and wastewater treatment projects. There is a series of public revenues from waters, i.e. water management contribution, charge on water use, charge for water protection, charge for sand and gravel extraction, basin water management charge, and a special charge investing in land improvement and drainage systems (to local authorities). The wastewater and sewage non-compliance fees are imposed for non-compliance with the conditions prescribed to protect water against pollution. All water charges are collected by the water agency, Croatian Watetrs. The overall revenue from these charges is around 70 per cent of Croatian Waters total revenues.

## 5.2. International financing

International institutions have financed projects, programs and various other environmental activities in Croatia through returnable or non-returnable funding.  The environmental and infrastructure projects are in the first place financed by loans of international financial institutions, such as the World Bank ( www.worldbank.hr), the IBRD-International Bank for Reconstruction and Development (www.ibrd.hr), the EBRD-European Bank for Reconstruction and Development (www.ebrd.com)  and the EIB-European Investment Bank (www.eib.org).

Currently,  the most important co-financing sources for sewage and wastewater treatment projects are the World Bank and the IPA (Instrument for Pre-Accession Assistance), the EU pre-accession fund.

Since Croatia joined the World Bank in 1993, the Bank has funded projects totaling over US$1.2 billion. The ongoing project funded by the World Bank in the amount of US $ 150 million is the Croatian Adriatic Coastal Pollution Control Project (Adriatic Project). The Project of upgrading municipal sewage systems and wastewater treatment facilities along the Adriatic coast, commenced in 2004 and it is expected to last for approximately 10 years.

##### The Instrument for Pre-accession Assistance (IPA), 2007 - 2013

A new instrument of EU assistance available to the Republic of Croatia in the period from 2007 until Croatia’s accession to the EU.  Environmental projects are covered in the Component III - Regional Development for co-financing infrastructure environmental projects. In 2008, 24.00 million EUR has been allocated for the environmental protection projects.

6. Wastewater Treatment Systems & Sewage Systems used in Croatia

6.1. Wastewater treatment systems:

- Mechanical

- Biological

- Membrane

- Plant Lagoons

6.2. Sewage systems

- Mixed

- Separate

The typical sewage system is mixed (faecal and precipitation waters together). Only a few smaller cities and residential districts of bigger towns have separate or split sewage systems (faecal and precipitation waters are split)

7. Type of Projects

Currently, wastewater treatment projects and sewage projects are mainly Turnkey projects on a

Build Operate Transfer (BOT) basis with the planned Design Build Operate (DBO)  projects in future.

8. Competition

German, Austrian and French companies have got long history of cooperation with the Republic of Croatia in major infrastructure projects.

9. Current Wastewater Sector Market Demand

water pumps, separators, pipes, filters, bio-filters, sludge treatment equipment

10.  Useful Contacts

Croatian Waters - Hrvatske Vode, HV - www.voda.hr

Ministry of Agriculture, Forestry and Water Management - www.mps.hr/eng/ministarstvo

Ministry of Environmental Protection, Physical Planning and Construction - www.mzopu.hr

Ministry of the Sea, Tourism, Transport and Development - www.mmtpr.hr

Agency for Environmental Protection - www.azo.hr

Fund for Environmental Protection and Energy Efficiency; www.fzoeu.hr

For More Information

The U.S. Commercial Service in Zagreb, Croatia can be contacted via e-mail at: dalila.uzelac@mail.doc.gov ; Phone: +(385 1) 661-2224; Fax: +(385 1) 661-2446, or visit our website: www.buyusa.gov/your_office

The U.S. Commercial Service — Your Global Business Partner

With its network of offices across the United States and in more than 80 countries, the U.S. Commercial Service of the U.S. Department of Commerce utilizes its global presence and international marketing expertise to help U.S. companies sell their products and services worldwide.  Locate the U.S. Commercial Service trade specialist in the U.S. nearest you by visiting http://www.export.gov/.

Disclaimer: The information provided in this report is intended to be of assistance to U.S. exporters. While we make every effort to ensure its accuracy, neither the United States government nor any of its employees make any representation as to the accuracy or completeness of information in this or any other United States government document. Readers are advised to independently verify any information prior to reliance thereon. The information provided in this report does not constitute legal advice.

International copyright, U.S. Department of Commerce, 2006. All rights reserved outside of the United States.

# Footnotes

Environmental acquis communitaire is a collective term for all the policies, laws, directives and goals in the area of environment agreed with the EU