T_M_SHAW 060396

Revised 6/14/96

Proposal for Master Clock Fanout Cable and TSI Return Cable

A set of proposals were made at the end of the CDF infrastructure meeting on May 22, 1996 on how to cable the TSI return signals and the Master Clock.  What follows is the result after feedback from all (we hope) systems.

Master Clock Fanout Cabling

- Assume the use of National’s LVDS differential line drivers and receivers.  P/Ns are DS90C032 and DS90C32.  Testing done by Steve Chappa has verified that there are no problems with these devices.

-  Cable Termination at the Receiver end should consist of a SMT resistor (100 ohms) across the differential inputs which matches the cable impedence.

-  While most systems require 4 signals, at least one system (SVX) has identified the need for five signals.  It was decided at the clock meeting on 6/13/96 to simply run an additional “CABLE B” to such systems.  CABLE B will contain the 53Mhz clock required by SVX.

This decision allows us to continue to use the high quality Category 5 cable we have tested (4 pair limit), as well as the connectors.  CABLE A and CABLE B will have different keys to prevent them from being switched at front panels.

CABLE PINOUT  for CDF Readout Crate with TRACER

CABLE A

Pin	Signal

1	Master_Clock		(132 ns clock)

2	Master_Clock*

3	Beam_Crossing

4	Beam_Crossing*

5	Beam_Zero		(once around marker)

6	Beam_Zero*

7	Abort_Gap

8	Abort_Gap*

CABLE B

Not Required

CABLE PINOUT  for “SVX-like” Readout Crate

CABLE A

Pin	Signal

1	Sync			(one tick every 132 ns clock)

2	Sync*

3	Beam_Crossing

4	Beam_Crossing*

5	Beam_Zero		(once around marker)

6	Beam_Zero*

7	Abort_Gap

8	Abort_Gap*

CABLE B

Pin	Signal

1	53MHz_Beam_Clk	(one tick every 132 ns clock)

2	53MHz_Beam_Clk*

3	N/C

4	N/C

5	N/C

6	N/C

7	N/C

8	N/C

BOARD MOUNT CONNECTORS

(AMP Catalog 82101)

CABLE A

AMP Shielded Data Link Connectors, 8 Conductor, Side Entry  Panel and PCB Ground

Part # 3-520459-3

(Note: this part uses the “C” key to distinguish it from the TSI return cable)

CABLE B

AMP Shielded Data Link Connectors, 8 Conductor, Side Entry  Panel and PCB Ground

Part # 5-520459-3

(Note: this part uses the “E” key to distinguish it from the TSI return cable)

CABLE CONNECTORS

Cable - Plug Assemblies for Round Cable (order 1 part each per cable end)

Sub- assembly		Part # 3-520424-3   “C” key

Sub- assembly		Part # 5-520424-3   “E” key

Top Shield		Part # 520464-1

Bottom Shield		Part # 520465-1

Ferrule			Part # 520437-1

Boot			Part # 520853-1

Trigger System Interface - DONE, BUSY, ERROR cable

-  The proposal is to use the same differential line drivers, National’s LVDS DS90C032 and DS90C32 as we are using for the clock fanout.

- The same PCB board mount and cable connectors will be used, with the exception that these will have “A” key coding.  This is being done to prevent someone from mixing the TSI return cables with the clock fanout cables.

Board Mount Connectors:

AMP Shielded Data Link Connectors, 8 Conductor, Side Entry PCB Ground

Part # 1-520459-3	“A” Key

Cable - Plug Assemblies for Round Cable (order 1 part each per cable end)

Sub- assembly		Part # 1-520424-3  “A” Key

Top Shield		Part # 520464-1

Bottom Shield		Part # 520465-1

Ferrule			Part # 520437-1

Boot			Part # 520853-1

PINOUT

Pin	Signal

1	DONE

2	DONE*

3	ERROR

4	ERROR*

5	WAIT

6	WAIT*

7	L1_DONE	(This signal is unique to SVX)

8	L1_DONE*

Other Useful Part Numbers

Hand Tools required for Cable assembly

Connector Hand Tool Frame		Part # 58194-1

Die Sets for Connectors		Part # 58195-3

Ferrule Hand Tool Frame		Part # 69710-1

Die Sets for Ferrules			Part # 1-58166-2

Cable

Teststand use:

Category 5, PVC jacketed Cables/overall Bedfoil Shield, 4 Pair		Part # 1633A

Available Now

Category 5, Plenum-Paired Cables/overall Bedfoil Shield, 4 Pair		Part # 1646A

Available 1/97

(Beldon Wire and Cable Catalog)