Questions for DTFASO-09-R-00008, Security Fence Installation ATCT/TRACON Facility, Florence, South Carolina

Note: A land survey will have to be performed with a new lease description developed at the Tower to add additional land to the lease between the Airport and the FAA.

Note: The plates mounted to the pedestals with have to accommodate Card reader, visual intercom and Knox Box at slide gate locations. At the pedestrian gates the pedestal will have to have dual heads because the visual intercom will have to be mounted higher.

1. Is Grounding of the Fence required?

Yes, per the specifications and drawing sod-100706-c02

2.  Part III – Section J – List of Attachments shows that there are reference drawings but they were not included.

Reference Drawings have been added to the website as attachments.  Please check http://faaco.faa.gov/index.cfm for additional drawings.

- Plan Sheet Y01 – Notes 6, 7, 10, 11, 15 not identified by number/symbol on site plan drawing?

Note 6: The x’s on the drawing. It covers the TRACON and both parking lots and the Tower.

Note 7: The slide gates are located in between the safety loops note 14 on the drawing

Note 10: See question 6 and pictures

Note 11: Gate motors are inside the fence on the side of the safety loops, shown with an arrow and noted as gate operators.

Note 15: See note 12 for location. Also the pedestrian gate pedestal will have to dual heads and the part number is not listed.

- The single page in attachment B is for “Electrical work, Interior”. Are there drawings or additional information associated with attachment B?

Document has been attached to the website entitled Attachment B pt. 2. http://faaco.faa.gov/index.cfm

5.  In note 10, it states “contractor shall remove trees indicated”. On the drawing there are no trees indicated.

The site should maintain a 20’ clear zone around the facility when possible. There are several trees and shrubs that need to be removed around the TRACON and some bushes at the Tower. See pictures added to website (http://faaco.faa.gov/index.cfm)

- In note 8, do you need a card reader or a keypad install at pedestrian gate?

Card reader

- If you have existing cards for the card readers, will you be using these or new cards have to be procured?

There are no card readers or cards currently used at this site. Contractor will procure these card readers through the approved vendor, Johnson Controls.

8.   How big of a padlock, does the equipment gate require? FAA provided.

9.  On the drawings sent, there is a legend for a wiring path however, it doesn't show or state where the wiring should go into? The contractor will have to determined path, after the cables are located in ground. See note four on Drawing FLO-D-801044-Y01. The wires are routed back to the panels in the TRACON and Tower

- Note 8 on the drawings calls for 1” fabric on the gates. Does that mean that the rest of the fence will be the standard 2” fabric?

The contractor has two options for the gates, use the 1” mesh or put a plate around the handle. This is a security request to keep people from putting their hand through the fence. The remainder of the fence will 2”.