{Insert Logo and

Name of Institute}

Quality Management System Report

{Type of CMC[example: Dimensional Metrology]}

Date:{yyyy-mm-dd}

# Instructions

Please look over this template and remove anything that does not apply. The parts that should be changed in reference to your institution are {underlined and in brackets}. Please also add any relevant information pertaining to your institution that is not already mentioned below. Instructions or examples are included in [brackets], please remove these before submission.

Please save all documents in the same folder. The following naming convention is recommended:   (Folder name: {Institution}_QS_Date in year, month, day format) and create a hyperlink to the related documentation, as indicated on this master document. As an example, the folder name for NRC of Canada would be:  NRC_QS_2008-06-13

Table of Content

Instructions	2

1. Quality System Structure	4

1.1 Quality Policies	4

1.2 Organizational Chart (link)	4

1.3 Quality Management Policies and Responsibilities	5

2. Quality Manual Components	7

2.1 Table of Content (link)	7

2.2 Cross-Reference Table between ISO/IEC 17025 and the Quality   Documentation of the {INSTITUTION or DI} (link)	7

2.3 List of CMCs (link)	7

2.4 List of Type of CMC Documents and Procedures (link)	7

2.5 List of {INSTITUTION}  Documents and Procedures (link)	7

3. Quality System Implementation	7

3.1 Complaints and Appeals	7

3.2 Control of Nonconforming Calibration or Measurement Work	9

3.3 Corrective Actions	10

3.4 Internal Audits	11

3.6 Management Reviews	13

4. Assessment Process	15

4.1 Current Status	15

4.2 Assessment Report	15

# 1. Quality System Structure

## 1.1 Quality Policies

{INSTITUTION} is committed to providing ……

The quality manual contains statements of the policies to be followed to achieve these objectives and addresses the requirements of the international standard ISO/IEC 17025:2005.

{INSTITUTION} is committed to complying with the above standard and requires all staff involved in calibration and measurement services to familiarize themselves with the policies described in the current issue of the quality manual and the associated procedures.  Staff must also ensure that their conduct conforms to the above mentioned policies and procedures.]

## 1.2 Organizational Chart (link)

[Link to document: {INSTITUTION}_OrgChart]

## 1.3 Quality Management Policies and Responsibilities Policy

The {INSTITUTION} quality system ensures that its calibration and measurements services comply with the specified requirements of ISO/IEC 17025.  Quality-related activities are governed by written procedures, where applicable, with emphasis on the following:

Prevention as well as detection of non-conformance;

Selection and monitoring of suppliers of materials and services that affect the quality of service;

Procedures ensuring the safe and confidential handling, packaging, storing, and delivery of materials;

Procedures to establish and monitor calibration and measurement processes;

Regular internal audits and management reviews;

Continual improvement of the effectiveness of the quality system

Effective corrective and preventive action procedures for dealing with client complaints and other instances of non-conformance; and

Appropriate techniques to monitor quality and seek clients’ feedback.

### Scope

This policy applies to all functions of the calibration and measurement services.

### Responsibilities

Calibration and measurement services personnel who manage, perform and verify work affecting quality are responsible for the implementation of the quality system.

The Quality System Coordinator is responsible for ensuring that the quality system is implemented, properly documented and maintained. The Quality System Coordinator may delegate certain responsibilities to appropriate staff.

### Quality System Document Structure

The controlled version of the Quality Manual is available at [{enter where the quality manual is available}].

The {INSTITUTION} Quality System is designed around the following document structure:{  }

The {INSTITUTION} Calibration and Measurement Services Quality Manual

This document states the quality policy and describes the quality system within calibration and measurement services.  It outlines the philosophies and policies as well as the goals and objectives of calibration and measurement services.

{INSTITUTION} Operating Procedures

{INSTITUTION} has procedures that describe how the quality system functions and who is responsible for calibration and measurement services. The procedures adhere to the principles and practices defined in the Quality Manual and detail how the quality principles and practices are applied and who is responsible.

Calibration and/or Measurement Procedures

Documented procedures are available which describe how a calibration or measurement is performed.  Detailed requirements of tasks which affects the quality of output are defined.  This is to ensure consistent calibration or measurement methods in order to achieve the standard of measurement required.  Where appropriate, a direct link exists to a known national or international standard method.  Where no standard method exists, the calibration and measurement is consistent with best metrological and scientific practice.

Group/Scope Quality Procedures

A group/scope covering a specific area of metrology within {INSTITUTION} may develop its own procedures to describe how their part of the quality system functions. These procedures must adhere to the principles and practices defined in the Quality Manual and meet at least the requirements outlined in the {INSTITUTION}  Operation Procedures.

### Quality System Records include:

quality system documentation;

quality system files;

published standards;

statutory regulations;

training and qualification records of calibration and measurement services personnel;

correspondence and agreements with clients;

internal audits and follow-ups;

complaints, follow-ups and clients feedback;

quality system reviews; and

documentation of the output from operating procedures and calibration or measurement operating procedures.

### Strategic Planning Framework

### Long term strategic planning at {INSTITUTION}  is a quality system activity which is dictated by  ………. policy. {INSTITUTION}’s implementation of this policy is carried out under the leadership of the ………..

# 2. Quality Manual Components

2.1 Table of Content (link)

[Link to document: INSTITUTION_Quality manual components]

## 2.2 Cross-Reference Table between ISO/IEC 17025 and the Quality   Documentation of the {INSTITUTION or DI} (link)

[Link to document: INSTITUTION_Cross-reference table]

2.3 List of CMCs (link)

[Link to document: INSTITUTION_CMCList]

## 2.4 List of Type of CMC Documents and Procedures (link)

[Link to document: INSTITUTION_CMC Docs and procedures]

## 2.5 List of {INSTITUTION}  Documents and Procedures (link)

[Link to document: INSTITUTION_Docs and procedures]

# 3. Quality System Implementation

3.1 Complaints and Appeals

### Policy

{INSTITUTION} calibration and measurement services records and investigates client complaints.  If a client’s complaints are substantiated the non-conformance is resolved and the resolution is recorded.  Non-substantiated complaints are also recorded and may be identified as a preventive action.  In cases where complaints are not solved to the client’s satisfaction, an appeal mechanism is available.

3.2 Feedback

This policy applies to feedback received from clients or other parties regarding services offered by {Institution} calibration and measurement services.

### Responsibilities

### {INSTITUTION}  personnel are responsible for directing complaints to ….

In the case of an appeal, the ….

The …………  is responsible for the general implementation of this policy and for ensuring that records of complaints and appeals, results of investigations and follow-ups are maintained.  The ………………..is responsible for ensuring that client complaints and appeals are handled appropriately based on the nature of the complaint and that handling of complaints is consistent ….

### Records

Complaints Log and Records {[ insert where it available]}

### Statistics

Since {Date} : {#} complaints

{ Description of complaint}, raised and resolved {Date}

### Quality Procedures for Handling Complaints and Client Feedback

[Link to document: INSTITUTION_Procedures for complaints]

### Quality Procedures for Handling Appeals

[Link to document: INSTITUTION_Procedures for appeals]

3.3 Control of Nonconforming Calibration or Measurement Work

### Policy

{INSTITUTION} calibration and measurement services personnel ensure that nonconformities are identified, removed from use, and corrected.  Affected parties are notified of nonconformities if deemed necessary.

### Scope

This policy applies to any aspect of the calibration and measurement services work, or its results which do not conform to procedures or to a client’s agreed upon requirements.

### Responsibilities

{INSTITUTION} personnel are responsible for identifying and reporting nonconformities to the Technical Supervisor for review and action, and for informing the Quality System Coordinator.

The Quality System Coordinator is responsible for the general implementation of this policy and for ensuring that records of nonconformities and how they were resolved are maintained.  The Quality System Coordinator is responsible for ensuring that resolution of nonconformities is handled appropriately based on the nature of the nonconformities and that handling of nonconformities is consistent throughout {INSTITUTION}  calibration and measurement services.

The Quality System Coordinator is responsible for ensuring that corrective action is initiated when an evaluation of a nonconformity indicates it could recur or that {INSTITUTION} calibration and measurement services is not in compliance with quality system policies and procedures.

### Records

Complaints Log and Records

### Statistics

Since {Date} : {#} nonconformities

{ Description of nonconformity},, raised and resolved {Date}

### Quality Procedures for Handling nonconformities

[Link to document: INSTITUTION_Procedures for nonconformities]

3.4. Corrective Actions

### Policy

{INSTITUTION} calibration and measurement services implements corrective actions when the evaluation of a non-conformance indicates it could recur or that {INSTITUTION} calibration and measurement services is not in compliance with quality system policies and procedures.

### Scope

This policy applies to the {INSTITUTION} calibration and measurement services.

### Responsibilities

The …………….. is responsible for ensuring that corrective action is initiated when an evaluation of a non-conformance indicates it could recur or that {INSTITUTION}  calibration and measurement services is not in compliance with quality system policies and procedures.

The ……………  is responsible for the general implementation of this policy and for ensuring that records of corrective actions and follow-ups are maintained.

### Corrective action

The {INSTITUTION} calibration and measurement services procedures for corrective action include:

effective review of reports of nonconformities to identify when a corrective action is initiated;

investigating the root cause of a nonconformities;

recording the results of the investigation;

determining the corrective action needed to eliminate or manage the cause of the nonconformities;

documenting required changes;

applying controls to ensure that effective, corrective action is taken ;

auditing the appropriate areas of activity, when necessary, to ensure the laboratory continues to comply with required criteria; and

ensuring that relevant information on actions taken is submitted for management review.

### Records

Corrective/Preventive and Improvement Action Log and Records

Records of responses to Internal Audits and External Assessments

### Statistics

Since {Date} : {#} Corrective Action { Description of Corrective Action},, carried out and reviewed for effectiveness {Date}

### Quality Procedures for Corrective and Preventive Action

[Link to document name: INSTITUTION_Procedures for corrective action]

3.5. Internal Audits

### Policy

{INSTITUTION} carries out internal audits to determine whether the calibration and measurement services' activities, and documented policies and procedures meet the requirements of the quality system and are effective in achieving the stated quality objectives.

When auditing calibration procedures, every effort is made to balance the need for a conflict of interest-free process with the need to ensure the participation of auditors with the highest level of technical knowledge in order to compare the written calibration procedures to the internationally validated methods.

### Scope

This policy applies to internal audits for the quality system.

### Responsibilities

The ………………….  is responsible for:

scheduling and coordinating internal audits,

maintaining audit records,

initiating corrective actions on the basis of the audit results,

communicating audit results.

specifying qualification requirements of internal auditors and coordinating training activities for internal auditing.

The …………..   authorizes the Quality System Coordinator to schedule and coordinate internal audits and to initiate corrective actions.  The …………….. also identifies areas of importance for auditing, reviewing audit results and for monitoring results of corrective action.

### Audit

Calibration and measurement services have documented procedures for planning and implementing internal audits.  These audits verify compliance of quality and technical activities and results, with the requirements of the quality system.

The ………………………  proposes an audit plan for approval by the…………….   .

Internal audits are conducted by qualified personnel who are independent of the activity audited.

Records are maintained of all audits. Audit findings are documented and communicated to the accountable personnel as well as to the ……………..  for timely, corrective action.

### Procedures for Performing Internal Audits

[Link to document: INSTITUTION_Procedures for Internal Audits]

### Bios of Internal Auditors

{#} staff members are formally trained in conducting internal audits to ISO/IEC 17025, of whom {#} are trained as Team Leaders.

The Internal Auditing training was provided by {Name}.

[Link to document: INSTITUTION_Bios of internal auditors]

### Summary of Current Cycle of Internal Audits

| Scope | Audit dates | Number of nonconformities | Date resolved |
| --- | --- | --- | --- |

3.6 Management Reviews

### Policy

{INSTITUTION} Quality System and its calibration and measurement activities are reviewed at sufficient intervals to ensure their continuing suitability and effectiveness in satisfying ISO/IEC 17025 and stated quality policy and objectives.

### Scope

This policy applies to all activities within the calibration and measurement services.

### Responsibilities

The {INSTITUTION} Management Team reviews the Quality Management System for  calibration and measurement activities.

Formal audit action items and corrective action items are included, when appropriate, as agenda items for {Institution} Management Team meetings.

Minutes of the review meetings are maintained to ensure that actions arising from the reviews are discharged as required.

### Frequency

Management reviews are held at least once a year and are scheduled well in advance to ensure full attendance.

### Guidelines for the Preparation and Implementation of Management Reviews

[Link to document: INSTITUTION_Guidelines for management review]

### Management Review -

Reviews include at least the following:

Complaints;

Client feedback;

Corrective and preventive action requests;

Internal Audit reports;

Assessments by external bodies;

Results of intercomparisons;

Changes in the volume and type of the calibration and measurement work;

Performance parameters including the identification and acquisition of physical resources and qualified personnel needed to achieve the required quality level; and

Amendments to the quality system, including the quality manual, to ensure future requirements are addressed.

### Summary of Management Review

Present

Absent

Minutes

# 4. Peer Review/Assessment Process

4.1 Current Status

[{Please insert current status of assessment process}]

4.2 Peer Review/Assessment Report

A Peer Review/Assessment visit to {Type of CMC} was carried out by {Name of external Peer Reviewers/Assessors} from {Date} to {Date}.

The purpose of the visit was to confirm conformance of the laboratory’s quality management system to the requirements of ISO/IEC 17025:2005.

The Team Leader was {Name}.

The Technical Experts were:

{Name}

{Name}

{Name}

The short bios of the members of the Peer Review/Assessment team are given in the attached document:

[Link to document: _Peer review/Assessment Team biosReport]

The report of the Peer Review/Assessment, and initial responses, are given in the attached document:

[Link to document: MI_ Peer Review/Assessment t Report]

In parallel with the Peer Review/Assessment visit, the Technical Assessors carried out a peer review of {Type of CMC} activities with the objective of establishing that:

The applicant {INSTITUTION} has adequate competence to disseminate national standards to clients with its claimed Calibration and Measurement Capabilities; and

The {INSTITUTION} meets the technical requirements of ISO/IEC 17025, General Requirements for the Competence of Testing and Calibration Laboratories, and ISO Guide 34, General requirements for the competence of reference material producers.

The report of the peer review is given in the attached document:

[Link to document : INSTITUTION_Peer Review]

  - Action Plan for addressing findings [include actions and indication of completions dates (yyyy-mm-dd) and any follow-up applicable]

[Link to document: INSTITUTION_Action Plan]