Enabling climate-quality calibration of satellite remote sensing instruments using the Moon

# Statement of Problem and Objective

A unique effort to utilize the Moon as a standard light source for radiometric calibration of Earth-imaging instruments in orbit has been developed under the USGS Astrogeology Team at Flagstaff, AZ.  Because this is a NASA-funded project, contractual obligations effectively limit the application of lunar calibration to NASA Earth Observing System (EOS) instruments, although the technique can be applied to almost any sensor system within the operational wavelength range of 350 nm to 2500 nm.  If the USGS were to directly support maintaining and further development of lunar calibration as an enabling technology, the calibration needs of the larger remote sensing and climate monitoring communities would be better served.

# Relevance and Impact

The USGS has taken a leading role in US land imaging programs, and climate change is one of the most important issues facing society today.  The lunar calibration technique has demonstrated capabilities for sensor stability monitoring with the precision needed to detect climate change, and for cross-calibration of instruments having similar wavelength channels on different spacecraft platforms.  Direct benefits to USGS land imaging programs from lunar calibration include, among others: 1) the Moon provides a stable reference that can establish a common radiometric scale for instruments whose mission lifetimes do not overlap, such as the anticipated gap between Landsat-7 and the Landsat Data Continuity Mission; 2) the Moon provides a common source for cross-calibration of sensor systems whose data products are being used to develop the contiguous, long-term monitoring records of Earth observations that are essential for detecting the effects of climate change; 3) the USGS could provide lunar calibration as a service to other US agencies involved in environmental remote sensing (e.g. NOAA), as well as to the foreign satellite programs that are being relied upon to supplement US Earth-observing capabilities as these capabilities diminish.

# Work Strategy

Ongoing project efforts are focused on refinement of the lunar photometric models that underpin the lunar calibration technique.  Because these models are developed from a dataset of ground-based observations, accurate characterization and removal of atmospheric artifacts is required.  Reduction of uncertainties in this process and in the absolute radiometric scale of the dataset and models are continuing activities that are necessary to “smooth the bumps” in the modeled lunar reflectance and validate the Moon as an absolute calibration reference.  Servicing the spacecraft instrument teams that utilize lunar calibration is a fundamental aspect of the program.

# Partnerships

All development work on lunar calibration since the project’s inception has been done at the USGS Flagstaff Science Center, where the observational database is housed and where the radiometric measurements of the Moon were acquired from a dedicated observatory on campus.  Continuing project needs could benefit from collaboration with the Landsat Calibration/Validation group at the EROS Data Center.