## Transducer
form date: 2/96
Transducer Installation and Calibration Report Example
Report Date:
I. Site/Customer Information
Site Name:
Site Contact/Phone #:
Contractor Company Name:
Contractor Name/Contact:
Installer Company Name:
Installer Name/Phone Number:
Date Installed/Calibrated:
II. Transducer:
Flow Meter [ ] |  | Temperature Sensor [ ] |  |  | Device ID #:
Pulse Generator [ ] |  | Status Indicator [ ]
Current Transducer [ ]
Other [ ] Describe:
Device Type:
Variable being measured:
Expected range of variable (w/units): |  |  |  | --
III. Device Specifications:
Make:
Model:
Serial #:
Location at site:
Location in system:
Output:
Multiplier: |  |  |  | [ ] |  | Include copy of calibration tag
Precision: |  |  |  | [ ] |  | Include specification sheet
Accuracy: |  |  |  | [ ] |  | Include invoice for device
Range (w/units): |  | -- |  | [ ] |  | Attach copy of manual
IV. Calibration Results
Method:
Standard used:
Units of readings:
Data logger:
Notes:
Adjustment | Date | Time | Transducer | Standard |  | Percent, | Comments
Iteration |  |  | Reading | Reading | T - S | T - S
|  |  | T | S |  | S

## Data Logger
U:\[AppB_Met.xls]Data Logger
form date: 2/96
Data Logger Report Example
Report Date:
I. Site/Installer Information
Site Name:
Site Contact/Phone #:
Contractor Company Name:
Contractor Name/Contact:
Installer Company Name:
Installer Name/Phone Number:
Date Installed/Programmed:
II. Data Collection Information
Data Output Format:
Data Reporting Period:
Storage Capacity of Data Logger:
Downloading Procedure:
Person/Company Responsible
For Delivering Data to Federal Agency:
III. Data Format
|  |  | Expected | Sampling
Channel | Output | Units | Range | Rate
IV. Transducers
|  | Transducer | Transducer | Transducer | Transducer
Channel | Transducer/Location | Output | Vendor/Model | Install Date | Calibrated