TECHNICAL REPORT ON A FIXED WING

HORIZONTAL GRADIOMETER

AEROMAGNETIC SURVEY

SILVER BELL, ARIZONA

BLOCK

CONTRACT 01CRCN0040

March 2002

for

UNITED STATES GEOLOGICAL SURVEY

by

GOLDAK EXPLORATION TECHNOLOGY LTD.

Goldak Exploration Technology Ltd.

25 Duncan Crescent

Saskatoon, Saskatchewan

Canada		S7H 4K3

Tel:	(306) 249-4474

Fax:	(306) 249-4475

Cell:	(306) 222-5104

Email:	ben@goldak-exploration.com

URL:	www.goldak-exploration.com

1.  INTRODUCTION	4

2. SURVEY AREA LOCATION	4

Illustration – Silver Bell Ideal Flight Plan	5

3.  DATA SPECIFICATION	5

4.  AIRCRAFT AND EQUIPMENT	6

4.1 Aircraft	6

Illustration – Horizontal Gradient Configuration at San Bernardino, CA	7

4.2 Magnetometer and Compensation	7

Illustration - C-GJBA Total Field Figure of Merit	9

Illustration - C-GJBA Gradients Figure of Merit	9

4.3 Magnetic Base Station	10

Illustration - Base Magnetometer Marana 1 Site	10

Illustration - Base Magnetometer Marana 2 Site	11

4.4 VLF-EM System	11

4.5 GPS Positioning System	11

Illustration - Base GPS Marana Airport Site	13

4.6 Radar Altimeter	13

4.7 Barometric Altimeter	13

4.8 Flight Path Camera	14

4.9 GEDAS Digital Recorder	14

5.  DATA PROCESSING AND PRESENTATION	14

5.1 Total Field Leveling and Magnetic Gradient Processing	14

5.2 Map Presentations	15

Illustration – Silver Bell TMI Image	16

5.3 Multi-parameter Analog Profiles	17

5.4 Digital Data Files	17

5.5 Flight Path Video	19

6.  DETAILED EQUIPMENT SPECIFICATIONS	19

Illustration – Survey Aircraft 3-View	22

7.  STATEMENT OF QUALIFICATIONS	23

Appendix 1 – Weekly Progress Reports	24

Appendix 2 – Flight Logs	26

# 1.  INTRODUCTION

This report describes an airborne geophysical survey carried out in the Silver Bell mining district of Arizona on behalf of the United States Geological Survey during March of 2002.

The field crew was based from Tucson, AZ and the aircraft based at the Marana airport.

Aircraft equipment operated included three cesium vapor, digitally compensated magnetometers, a GPS real-time and post-corrected differential positioning system, a flight path recovery camera, VHS titling and recording system, as well as radar and barometric altimeters.  All data was recorded digitally in GEDAS binary file format.

Reference ground equipment included two GEM Systems GSM-19W Overhauser magnetometers.  These were both setup at opposite ends of the Marana airport property.

A Novatel 12 channel GPS base station was set up at the Tucson Aeroservice Center for differential post-flight corrections.

The center of the survey block is approximately 30 kilometers west of the city of Marana, AZ. Three calibration flights and three survey flights where required to complete this area.  All flights took place between March 4th and 7th.

# 2. SURVEY AREA LOCATION

The Silver Bell block is centered approximately 30 kilometers west of the city of Marana, AZ.  The center of the area is at N 32(25’, W 111( 30’.  The survey consisted of 2036 kilometers of lines oriented on an azimuth of 000(/180(T (true with respect to UTM North) with control lines at 090(/270(T.

The traverse lines where flown on a spacing of 250 meters with a control line separation of 1500 meters.

Aircraft height was specified at 250 meters above ground.  A vertical navigation drape surface was prepared using USGS topographic data and a maximum climb / descent gradient of 6%.

The area is sparsely populated with approximately 10% cultural coverage.

The survey boundary is defined by the following WGS-84, UTM Zone 12N coordinates:

440395  3577560

440504  3596035

463989  3595923

463923  3577448

### Illustration – Silver Bell Ideal Flight Plan

# 3.  DATA SPECIFICATION

The nominal traverse line separation for this block was 250 meters, with a control line spacing of 1500 meters.  The tolerance for horizontal line navigation was a maximum deviation of 50% nominal line spacing.  Additionally, a maximum inter-line gap over a 3200-meter distance was 150% nominal line spacing.

Altitude control was accomplished by the GEDAS auto-drape system.  Digital topographic data for the area was obtained from the USGS and used to compute a smooth surface that cleared the high points in the terrain by the specified clearance and directed a safe rate of climb and descent to the flight crew.  The climb / descent rate, or gradient used was 6%.  This rate allows safe operation of the survey aircraft.

The specified terrain clearance altitude was 250 meters with a tolerance of ( 60 meters from an ideal drape surface over a 1000-meter distance, with the usual exceptions made for rugged terrain, regulatory compliance or aircraft safety considerations

Due to the singular large terrain feature in the center of the block, the surface height, or minimum clearance height, was reduced to give a better average terrain clearance.  This resulted in a lower clearance over the main mountain top, but a much better average height above terrain.  The modified vertical guidance plan actually flown was approved by USGS technical personnel.

Diurnal activity tolerance was specified as maximum 5nT change in 5 minutes.  Pulsations of 5 minutes of less were limited to 2nT; 5-10 minutes 4nT and 10-20 minutes 8nT.

The flight data magnetic noise tolerance was specified as not to exceed ( 0.1 nT over a maximum of 10% of the line.

The aircraft maneuver noise was specified as a maximum of 3nT per pitch or roll maneuver of up to 20(.  The maximum heading error was specified as 1nT.  The survey aircraft easily meets this specification with GSC FOMs of less than 1.0nT.

The Geological Survey of Canada FOM specification is (5( pitches, (10( rolls and (5( yaws on all four cardinal headings.  The FOM is then the arithmetic sum of the mean peak-to-peak response for all 12 maneuvers.

# 4.  AIRCRAFT AND EQUIPMENT

## 4.1 Aircraft

The aircraft used was a Piper PA-31 Navajo, registration C-GJBA, owned and operated by Goldak Exploration.  The aircraft is fitted with a 3-meter stinger attached to the rear fuselage on the centerline of the aircraft. The attitude sensing fluxgate magnetometer is positioned at the midpoint of the stinger.   The primary cesium sensor is mounted in the aft end of the tail stinger. The aircraft also has magnetometers installed in composite pods on each wingtip.  The pods mount the sensors 1.2 meters outboard of the aircraft wingtip.  The three magnetometers form a two-axis horizontal gradiometer with following dimensions:

Lateral 		584"	14.834m

Longitudinal	384"	9.754

The aircraft has been extensively modified, both mechanically and electrically to minimize the effects of maneuvering on the measured magnetic field.  The aircraft has a demonstrated Figure of Merit of less than 0.7 nT as measured to GSC (Geological Survey of Canada) specification.  Typical FOMs under less than ideal calibration environments are 0.9 nT for the tail magnetometers.  This low level of magnetic noise is considered to be exceptional by experts at the National Research Council.

### Illustration – Horizontal Gradient Configuration at San Bernardino, CA

## 4.2 Magnetometer and Compensation

The airborne magnetometers used are a matched set of Geometrics G-822A optically pumped cesium vapor types with sensitivity of 0.005 nT.  The magnetometer’s Larmor signal is decoupled and counted by a RMS Instruments AADCII compensator, and data produced at a rate of either 10 Hz with a resolution of 0.001 nT.  The data bandwidth is from 0 to 0.9 Hz with an internal noise level of less than 0.002 nT.

The AADCII compensates for magnetic noise due to aircraft motion and heading.  Prior to the survey, the aircraft is taken to an area of low magnetic gradient at a high altitude (7000’ AGL +) and put through a series of rolls, pitches and yaws on each of the survey’s cardinal headings.  This is done so that the AADCII can form a model of the aircraft’s magnetic characteristics without the near influence of the local geology.  The remaining magnetic distortion is quantified by a term known as the Figure of Merit, or FOM. A figure of merit of 2.0 or less is used by the Geological Survey of Canada as standard survey criteria.  As stated above, this aircraft has an exceptional typical FOM of approximately 0.9 nT.

Three calibration flights were required due to an electrical problem detected on the aircraft during the first calibration.  The problem was discovered to be a failed ground isolation bushing on the left engine alternator.  The intermittent ground contact during pitch maneuvers, and subsequent airframe current shifting, caused the calibration process to fail.  Several diagnostic flights were made and the problem was isolated and repaired.

The following tables represent the digital analysis of the FOM data taken prior to this survey in the vicinity of the survey area.  The results are generally typical and are indicative of good compensation fits to the aircraft maneuver noise.

The compensation and FOM flight was performed near the survey area over an area of low magnetic gradient. This area was selected using a coarse gridded image of total magnetic intensity obtained from the USGS website. The flight was accomplished on March 5th.  The results are as follows:

RMS AADCII Compensator Statistics

|  | Un-comp Std Dev | Comp Std Dev | Improvement Ratio | Solution Norm |
| --- | --- | --- | --- | --- |
| Right Wing | 1.364 e00 | 4.607 e-02 | 29.6 | 36.5 |
| Left Wing | 1.358 e00 | 5.090 e-02 | 26.7 | 42.2 |
| Tail | 2.612 e-01 | 3.690 e-02 | 7.1 | 16.3 |
| Lateral Gradient | 1.476 e00 | 1.008 e-01 | 14.6 | 41.2 |
| Long Gradient | 8.497 e00 | 7.559 e-02 | 12.4 | 37.2 |
| Memory Slot | 4 |

Figure of Merit # 1 – Tail Magnetometer (MBc)

|  | North | East | South | West | Sum |
| --- | --- | --- | --- | --- | --- |
| Pitch | 0.07 | 0.12 | 0.12 | 0.07 | 0.38 |
| Roll | 0.02 | 0.04 | 0.04 | 0.03 | 0.13 |
| Yaw | 0.03 | 0.15 | 0.02 | 0.07 | 0.27 |
| Sum | 0.12 | 0.31 | 0.18 | 0.17 | FOM=0.78nt |

Figure of Merit # 1 – Lateral Gradient (GXc)

|  | North | East | South | West | Sum |
| --- | --- | --- | --- | --- | --- |
| Pitch | 0.08 | 0.14 | 0.05 | 0.20 | 0.47 |
| Roll | 0.09 | 0.12 | 0.07 | 0.08 | 0.36 |
| Yaw | 0.12 | 0.25 | 0.05 | 0.42 | 0.84 |
| Sum | 0.29 | 0.51 | 0.17 | 0.70 | F0M=1.67nt |

Figure of Merit #4 – Longitudinal Gradient (GYc)

|  | North | East | South | West | Sum |
| --- | --- | --- | --- | --- | --- |
| Pitch | 0.07 | 0.05 | 0.04 | 0.08 | 0.24 |
| Roll | 0.10 | 0.12 | 0.05 | 0.07 | 0.34 |
| Yaw | 0.06 | 0.08 | 0.04 | 0.05 | 0.23 |
| Sum | 0.23 | 0.25 | 0.13 | 0.20 | FOM=0.81nt |

The following plots are graphical representations of the FOM data taken immediately prior to this survey.

### Illustration - C-GJBA Total Field Figure of Merit

### Illustration - C-GJBA Gradients Figure of Merit

## 4.3 Magnetic Base Station

Two magnetic base stations were used for this block to provide redundancy and some cultural rejection.  Both setup locations meet the reference station proximity requirements set out in the contract.

Both units were GEM Systems GSM-19W Overhauser magnetometers and were setup at opposite ends of the Marana airport property.

Station 1 was located at UTM Zone12N coordinates 479295E, 3585695N.

### Illustration - Base Magnetometer Marana 1 Site

### Illustration - Base Magnetometer Marana 2 Site

Both the aircraft data acquisition system and the base magnetometer are synchronized to UTC time derived from the aircraft GPS system and recorded in the form of seconds after midnight.

Simultaneously collected data from both magnetometers was averaged over a period of 12 hours of quiet magnetic activity to estimate the “normal” field value at those points.  These values will be used in all subsequent diurnal corrections.  The value used for site Marana-1 (database channel BaseMag1) was 48722 nT.

## 4.4 VLF-EM System

The VLF-EM system was not recorded for this survey.

## 4.5 GPS Positioning System

The GPS receiver in the survey aircraft is a Novatel 3151R Propak 12 channel differential unit that communicates directly with the GEDAS system.  The base station GPS is also a Novatel 3151R Propak whose data is logged by a battery powered industrial portable computer.  A survey grade GPS base antenna and choke ring is used to minimize multi-path errors.  The system can be used for differential positioning in either real-time, or post-corrected mode.

The positioning system also incorporates a Racal Landstar real-time DGPS system that receives real-time differential corrections from an orbiting geo-synchronous communications satellite.  These corrections from this device allow 2-5 meter positioning accuracy in real-time.  A GPS base station is also recorded during the survey flight to provide a higher level of accuracy and an independent confidence check to the Landstar RT DGPS system.

GPS signals are occasionally “dithered” by the US Department of Defense for security reasons.  This dithering can cause positioning errors of up to 100 meters.  In addition to dithering, atmospheric and ionospheric effects typically reduce the accuracy of the non-differential positioning to approximately 10 meters RMS.  If a suitable stationary GPS receiver on a known, or assumed position, is used to record the apparent errors in the satellite range data, those errors can be used to correct the moving receiver in the aircraft to a an accuracy of 2-5 meters RMS.  This compensation process is called differential correction and can be either applied to the moving receiver in real time for higher dynamic accuracy, or applied later to find out where the aircraft was with high accuracy.  This is called real-time and post-corrected differential positioning respectively.

The field crew was based from the InTown Suites in Tucson, AZ.  The address of the motel is:

InTown Suites

4314 West Ina Rd.

Tucson, Arizona

85741

The GPS base station was setup on the roof peak of the Tucson Aeroservice Center at the Marana airport.  The address is:

11700 West Avra Valley Rd. #85

Marana, Arizona

85653

After acquiring data for 16 hours, the averaged position was given as

Latitude: 		32 24 12.3706       		( = 0.247m

Longitude: 	             -111 13 08.9150             	( = 0.217m

Elevation (MSL): 	620.071m ASL       	             ( = 0.532m

This position was further corrected using the program “GrafNav” and data acquired from an (IGS) base station located nearby (approx 31km). The station location is published as:

Station:              COT1

Service:	CORS

Latitude:	32 13 28.04340

Longitude:	-110 58 18.75790

Elevation:	733.188(m) above ellipsoid

The COT1 base station data was used to differentially correct approximately 14 hours of data acquired at our base station location at the Tucson Aeroservice Center. The resultant differentially corrected master position is used throughout the entire “Silver Bell” survey.

The differentially corrected antenna position was computed to be:

Latitude:	34 24 12.38460    	( = 0.025m

Longitude:	-111 13 08.8864 	( = 0.022m

Elevation: 	619.515m ASL*		( = 0.053m

*The USGS Geoid99 model was used to transform Height Above Ellipsoid to Height Above Sea Level

See also the attached sheets describing the results from the grafnav program in graphical form.

The position difference between the autonomous position averaging period and the post-processed position was:

Latitude 	( = 44cm

Longitude:	( = 77cm

Elevation: 	( = 55cm

This sub-meter difference is well within the noise levels expected from a simple averaged solution and serves to validate the post-corrected solution.

### Illustration - Base GPS Marana Airport Site

## 4.6 Radar Altimeter

The radar altimeters used were a Terra TRA-3000 digital unit with accuracy of (3 meters in the range of typical survey altitudes, and a Thompson CSF ERT-160 with an accuracy of 1 meter over a range of 0 to 2500 meters.

## 4.7 Barometric Altimeter

The barometric altimeter monitored by the system is a Setra model 270 with accuracy of (1 meters.

## 4.8 Flight Path Camera

The flight path is recorded by a Panasonic GP-KR222 SV hi-resolution color video camera located in the lower rear fuselage of the aircraft.  The video is recorded by a Panasonic AG-1980P SVHS recorder.  Data pertaining to position, time, speed, altitude, line number and direction are superimposed in the videotape by a Horita SCT-50 video titler.

## 4.9 GEDAS Digital Recorder

All data is processed and recorded digitally by our GEDAS system.  The GEDAS is an industrial rack-mount Intel Pentium based PC computer operating at 233 MHz with multiple hard-drives, IO ports and ADAC devices.

The GEDAS system records time, magnetic, and VLF data at 10 Hz.  All positioning data is recorded at 2Hz.  Data files are organized on a flight-by-flight basis in a proprietary binary format.  The data is then converted post-flight to a Geosoft compatible format.

Data can be downloaded from the system by either floppy disk or Iomega ZIP disk.  Data can be delivered in the field by floppy, ZIP disk, Iomega JAZ disk or CD-ROM.

# 5.  DATA PROCESSING AND PRESENTATION

All positions in the databases are represented in both the WGS-84 (NAD-83) datum as well as the NAD-27 datum. UTM coordinates are calculated in Zone 12N.  All maps are presented in the WGS-84 datum.

## 5.1 Total Field Leveling and Magnetic Gradient Processing

The post-survey data processing was performed by Patterson, Grant and Watson (PGW) of Toronto, Ontario.  PGW has been involved in geophysical data processing internationally for many years.  We have used them for our data processing for more than three years.

The contact at PGW with respect to this data set is Mr. Karl Kwan.  He may be reached at:

Paterson, Grant & Watson Limited 
8th Floor, 85 Richmond Street West 
Toronto, Ontario, M5H 2C9 
CANADA 

Telephone: (416) 368-2888 
Fax: (416) 368-2887 
e-mail: pgw@pgw.on.ca 
www.pgw.on.ca

The following are the processing steps documented by PGW.

- Trimming of overlapping lines.

- Leveling and microleveling of two measured horizontal gradients (not required in the contract) Gxn and Gyn. The leveling of measured horizontal gradient channels is done using base level shifts (pulling up or down) technique, or static correction. After that, microleveling was applied. The final horizontal gradient channels are named gxn_final and gyn_final. Since the flight line direction is EW, gxn is actually the horizontal derivative in Cartesian +Y direction, and gyn is the horizontal derivative in Cartesian +X direction.

- Two horizontal gradient grids were made from final processed channels. These two grids were used to compute a pseudo magnetic total field (not required in the contract), using griddxdy2tf.gx developed by PGW. The calculated total field magnetic grid is called sg_ctf.grd.

- Tie line leveling of mbc_dc1 channel. Starting off with statistical leveling of all tie lines, and then the traverse lines were leveled using all intersections. The level corrections were checked at each intersection, and no extremes were allowed in. The tie line leveled data were stored in mbc_dc1_lev channel.

- Microleveling of mbc_dc1_lev channel. The final mag channel is mbc_final. A grid was generated from this channel, using the minimum curvature algorithm.

- Microleveling of differentially corrected GPS heights, stored in dgpsz_final, and grid dgpsz_final.grd.

- Microleveling of radar altimeter data, stored in ralt_final, and grid ralt_final.grd.

- Microleveling of digital elevation or pseudo topography, stored in topo_final, and grid topo_final.grd.

- Calculation if IGRF, and stored in IGRF channel.

- IGRF removed final total field magnetics, store in mbc_res_final channel, and grid mbc_res_final.grd.

## 5.2 Map Presentations

A map with flight path, survey boundary and magnetic contours has been produced for the Silver Bell block at a scale of 1:50,000.  This map has been plotted on opaque film.  The final map and a grid image is shown below.

Illustration – Silver Bell Final Map

### Illustration – Silver Bell TMI Image

## 5.3 Multi-parameter Analog Profiles

Selected channels have been presented in analog chart style on continuous thermal paper.  Included in these channels are Total Field Mag, course and fine scales, corrected GPS, barometric and radar altitudes as well as the magnetic fourth difference noise for the tail sensor.

## 5.4 Digital Data Files

Digital data has been provided on CDROM in ASCII XYZ with format and content as stipulated in the contract.  The grids have also been provided in ASCII GXF format.

In addition to the data formats above, a standard Geosoft Montaj GDB database and standard GRD grids provided.

The following is a primary channel definition list for the Geosoft GDB database.  Note that additional temporary, work and special system channels may exist in the database and may be ignored.

BALT 		          	BAROMETRIC ALTIMETER

BaseMag1		DIURNAL BASE MAGNETIC FIELD 1, DE-SPIKED, FILTERED

BaseMag1R		DIURNAL BASE MAGNETIC FIELD 1, RAW

BaseMag2		DIURNAL BASE MAGNETIC FIELD 2, DE-SPIKED, FILTERED

BaseMag2R		DIURNAL BASE MAGNETIC FIELD 2, RAW

BPRESS		BAROMETRIC PRESSURE MEASURED IN AIRCRAFT

DGPSZ			DIFFERENTIALLY CORRECTED GPS ALTITUDE (MSL)

DiurX1			DIURNAL TOLERANCE EXCEPTION LEVEL

DLat			DIFFERENTIALLY CORRECTED GPS LATITUDE

DLon			DIFFERENTIALLY CORRECTED GPS LONGITUDE

Fid			LINE FIDUCIAL COUNTER

GHoriz			TOTAL HORIZONTAL GRADIENT (SUM OF SQUARES)

GPSQ			GPS QUALITY INDICATOR

GPSZ0			REAL-TIME GPS ALTITUDE

GPSZCorr		POST-CORRECTION APPLIED TO GPS Z

GPSZDiff		POST-CORRECTION GPS Z NOISE

GTIME			GPS TIME

GXc			LATERAL GRADIENT, COMPENSATED

GXc_Lag		LATERAL GRADIENT, LAGGED

GXn			LATERAL GRADIENT, NORMALIZED

GXu			LATERAL GRADIENT, UNCOMPENSATED

GYc			LONGITUDINAL GRADIENT, COMPENSATED

GYc_Lag		LONGITUDINAL GRADIENT, LAGGED

GYn			LONGITUDINAL GRADIENT, NORMALIZED

GYu			LONGITUDINAL GRADIENT, UNCOMPENSATED

GZc			VERTICAL GRADIENT, COMPENSATED

GZc_Lag		VERTICAL GRADIENT, LAGGED

GZ_Lev			VERTICAL GRADIENT, LEVELED

GZn			VERTICAL GRADIENT, NORMALIZED

GZu			VERTICAL GRADIENT, UNCOMPENSATED

LAT0			REAL-TIME GPS LATITUDE

Line			LINE NUMBER

LON0			REAL-TIME GPS LONGITUDE

MBc			LOWER TAIL MAG, COMPENSATED

MBc_D4		LOWER TAIL MAG, 4TH DIFF NOISE

MBc_DC1		LOWER TAIL MAG, COMPENSATED, DIURNAL CORRECTED

MBc_Lag		LOWER TAIL MAG, COMPENSATED, LAGGED

MBc_Lev		TIE LINE LEVELED TOTAL FIELD

MBu			LOWER TAIL MAG, UNCOMPENSATED

MLc			LEFT WING MAG, COMPENSATED

MLc_D4		LEFT WING MAG, 4TH DIFF NOISE

MLu			LEFT WING MAG, UNCOMPENSATED

MRc			RIGHT WING MAG, COMPENSATED

MRc_D4		RIGHT WING MAG, 4TH DIFF NOISE

Mru			RIGHT WING MAG, UNCOMPENSATED

MTc			UPPER TAIL MAG, COMPENSATED

MTc_D4		UPPER TAIL MAG, 4TH DIFF NOISE

MTu			UPPER TAIL MAG, UNCOMPENSATED

ONLINE		IN / OUT GRID LOGICAL FLAG

RadarTopo		RADAR ALTIMETER / GPS DERIVED TOPOGRAPHIC ALTITUDE

RALT1A		RADAR ALTIMETER NUMBER 1

RAlt1A_Lag		RAD ALT 1, LAGGED

RALT2			RADAR ALTIMETER NUMBER 2

RAlt2_Lag		RAD ALT 2, LAGGED

RAlt_Err		RADAR ALTIMETER 1 DIFFERENCE FROM IDEAL

Velocity			AIRCRAFT VELOCITY IN M/S

VLFLQ			VLF, LINE QUAD

VLFLQ_Lag		VLF, LINE QUAD, LAGGED

VLFLT			VLF, LINE TOTAL

VLFLT_Lag		VLF, LINE TOTAL, LAGGED

VLFOQ			 VLF, ORTHO QUAD

VLFOQ_Lag		VLF, ORTHO QUAD, LAGGED

VLFOT			VLF, ORTHO TOTAL

VLFOT_Lag		VLF, ORTHO TOTAL, LAGGED

VMl			RMS AADC VECTOR MAG, LONGITUDINAL

VMt			RMS AADC VECTOR MAG, TRANSVERSE

VMtf			RMS AADC VECTOR MAG, TOTAL FIELD

VMv			RMS AADC VECTOR MAG, VERTICAL

X			X CHANNEL IN USE

X_27			NAD 27 E

X_84			WGS 84 E

X0			REAL-TIME WGS 84 E

Xtr			X CHANNEL TRIMMED TO BLOCK

Y			Y CHANNEL IN USE

Y_27			NAD 27 N

Y_84			WGS 84 N

Y0			REAL-TIME WGS 84 N

Ytr			Y CHANNEL TRIMMED TO BLOCK

The following channels have been imported to the database as a result of the PGW processing.

GXn_Final		PGW leveled lateral gradient

GYn_Final		PGW leveled longitudinal gradient

MBc_DC2_Lev		PGW leveled, diurnally corrected total field

MBc_Final		Final total field after microleveling

DGPSZ_Final		Microleveled GPS altitude

Ralt_Final		Microleveled radar altitude

Topo_Final		Computed topography DEM

IGRF			IGRF field removed

MBc_Res_Final		Final total field after IGRF residual removed

The following is a list of channels defined in the ASCII XYZ data file as produced by USGS contract.

Channel	Units 		Description

Line		N/A		Line number

Dlon		Geographic	Post-corrected Longitude, WGS-84 datum

Dlat		Geographic	Post-corrected Latitude, WGS-84 datum

X_84		meters		UTM easting, WGS-84 datum

Y_84		meters		UTM northing, WGS-84 datum

X_27		meters		UTM easting, NAD-27 datum

Y_27		meters		UTM northing, NAD-27 datum

Fiducial		N/A		Database fiducial counter

Date		N/A		Date  YYYY:MM:DD

Time_HMS	N/A		Time in HH:MM:SS

RALT1A	meters		Radar altitude (AGL)

BALT		meters		Barometric altitude (ASL)

DGPSZ		meters		GPS altitude (ASL)

BaseMag1	nT		Diurnal base measurement

MBc_Lag	nT		Lagged tail magnetometer

MBc_DC1	nT		Diurnally corrected tail magnetometer

mbc_res	nT		Tail magnetometer with IGRF residual field removed

mbc_res_final 	nT		Microleveled tail magnetometer with IGRF residual field removed

## 5.5 Flight Path Video

Flight path video for this survey is supplied on VHS tapes, one per flight.  Times, positions, direction and speed are overlain on the tape for detailed flight path recovery if required.

# 6.  DETAILED EQUIPMENT SPECIFICATIONS

Our detailed equipment technical specifications are as follows:

Aircraft

C-GJBA			Piper PA-31 Navajo

4m composite tail stinger w/ vertical gradiometer

Demonstrated Figure of Merit = 0.9nT

Sensor Separation

Lateral 		584"	14.834m

Longitudinal	384"	9.754

Aircraft Magnetometers:

Manufacturer:			Geometrics

Type and Model Number:	Cesium G-822A

Range in nT:			20,000 to 90,000

Sensitivity in nT:		0.005

Sampling Rate:	 		20Hz

Base Station Magnetometer:

Manufacturer:			GEM Systems

Type and Model Number:	Overhauser GSM-19W

Range in nT:			20,000 to 120,000

Sensitivity in nT:		0.01

Sampling Rate:			5Hz maximum (0.5Hz typical)

Solar Power Supply:		1 - Solarex MSX50

Real-time Magnetic Compensator:

Manufacturer:			RMS Instruments

Type and Model Number:	AADCII

Range in nT:			20,000 to 100,000

Resolution in nT:		0.001

Sampling Rate:			20Hz

Digital Acquisition System:

Manufacturer:			Goldak Exploration Technology

Type and Model Number:	GEDAS

Sampling Rate:			20Hz

Data Format:			GEDAS binary

Positioning Cameras:

Manufacturer:			Panasonic

Model:				GPKR402 HRSV

Lens:				WV-LR4R5 4.5mm

FOV at 1000 feet AGL is 1040 x 1300 feet

Barometric Altimeter:

Manufacturer:			Setra

Type and Model Number:	270

Range:				-1000 to 10,000 feet

Resolution:			1 meter

Radar Altimeter 1:

Manufacturer			Thompson CSF

Type and Model Number:	ERT-160

Range:				0-8000 feet

Resolution:			1 meter

Accuracy:			1-2%

Radar Altimeter 2:

Manufacturer			Terra

Type and Model Number:	TRA300 – TRI40

Range:				0-2500 feet

Resolution:			1 meter

Accuracy:			5-7%

Positioning System:

Manufacturer:			Goldak Exploration Technology Ltd.

Type and Model Number:	GEDAS

Displays:			10” color LCD graphical display

Graphic LCD pilot indicator

GPS Subsystem:

GPS Receiver:

Manufacturer			Novatel

Type and Model Number:	3151R Propak

GPS Real Time Differential Receiver:

Manufacturer			Racal

Type and Model Number:	Landstar

GPS Base Station:

Manufacturer			Novatel

Type and Model Number:	3151R Propak

System Resolution:			1 meter

Overall accuracy:			3 m in real-time, <1m post-corrected

Computers:

Manufacturer:			Compaq

Type and Model Number: 	Pentium 400, laptop PC

Manufacturer:			Toshiba

Type and Model Number: 	Pentium 200, 100CS laptop PC

Plotters and Printers:

Manufacturer:			Canon

Type and Model Number: 	Bubblejet, BJC10 color page printer

Data backup:

Manufacturer:			Iomega

Type and Model Number: 	100Mb Zip drive

Manufacturer:			Iomega

Type and Model Number: 	1.0Gb Jaz drive

Manufacturer:			Hewlett Packard

Type and Model Number:	Sure Store CD-ROM writer

Software

Manufacturer:			Geosoft

Function:			Geophysical data processing

Type and Model Number: 	Oasis Montaj

Manufacturer:			Waypoint Consulting

Function:			GPS post-processing

Type and Model Number: 	GrafNav

Manufacturer:			Geomatics Canada

Function:			GPS post-processing

Type and Model Number: 	GPSPace

### Illustration – Survey Aircraft 3-View

# 7.  STATEMENT OF QUALIFICATIONS

Ben Goldak

I reside at 25 Duncan Crescent in Saskatoon, Saskatchewan.

I hold a B.Sc. Adv. in Computer Science from the University of Saskatchewan.

I have been active in the field of geophysics since 1980.

I have examined the data referred to in this report and find it to be of suitable quality for purposes of geological interpretation.

I am President of Goldak Exploration Technology Ltd.

Ben Goldak						April 24, 2002

# Appendix 1 – Weekly Progress Reports

# Appendix 2 – Flight Logs