QUALITY ASSURANCE PROJECT PLAN

Analysis of Particulate Bound Nutrients in Urban Stormwater

Prepared by:

Name

Address

Edison, NJ

Telephone

Table of Contents:

SECTION 1.0
PROJECT OVERVIEW, OBJECTIVES, AND ORGANIZATION	1

1.1  General Overview	1

1.2  Project Overview	1

1.3  Project Background/Objectives	1

1.4  Project Hypotheses	2

1.5  Project Organization and Responsibility	2

SECTION  2.0
EXPERIMENTAL DESIGN	3

2.1  Parameters of Interest	6

2.2  Factors of Interest	6

2.3  Possible Variation in Experimental Design	7

2.4  Filtration Procedure	8

2.4  Analytical Procedures	9

2.4.1  Approved Methods	9

2.4.2  Unproven Methods	9

SECTION 3.0
SAMPLING PROCEDURES	10

3.1  Sample Collection	10

3.2  Sample Size and Subsampling	11

3.3  Sample Preservation and Storage	11

3.4  Sample Transport	12

3.5  Sampling Schedule	12

SECTION 4.0
QUALITY ASSURANCE OBJECTIVES	12

4.1  Determining QA Objectives	12

4.2  Quantitative QA Objectives	13

4.2.1  Precision	13

4.2.2  Accuracy	13

4.2.3  Method Detection Limits	13

4.2.4  Completeness	13

4.3  Qualitative QA Objectives	14

4.3  Consequences of QA Objectives Not Being Met	14

SECTION 5.0
DATA HANDLING PROCEDURES	14

5.1  Data Reporting	14

5.2  Data Reduction	14

5.3  Data Validation	15

SECTION 6.0
REFERENCES	15

APPENDIX A:  ANALYTE INFORMATION	17

APPENDIX B:  SIMPLIFIED PARTICLE SETTLING ANALYSIS	19

SECTION 1.0

PROJECT OVERVIEW, OBJECTIVES, AND ORGANIZATION

1.1  General Overview

The purpose of this project is to investigate the extent of nutrient association with suspended solids in urban stormwater.  The focus will be on phosphorus and nitrogen species due to their importance in water quality management.  All research will be conducted at the Urban Watershed Research Facility (UWRF) in Edison, New Jersey.

1.2  Project Overview

Stormwater samples will be collected from an on-site outfall within the Edison, NJ EPA facility.  Gross characteristics such as temperature, pH, redox potential, hardness,  total suspended solids, and particle size distribution will be measured on the unfiltered sample.  Subsamples will be subjected to direct microfiltration through polyester mesh/membrane filters ranging in pore size over three and a half orders of magnitude (80 - 0.45 m).  All filtrates, as well as the unfiltered sample, will be analyzed for phosphorus and nitrogen species, and total organic carbon.  The entire experiment shall be repeated three times per season (4 seasons - winter, spring, summer, and fall) over the course of one year to assess seasonal variability.

1.3  Project Background/Objectives

Nutrients are important players in the degradation of waterbodies because they are often the elements that limit primary productivity and, hence, are the key factors controlling eutrophication. The focus on nutrients has centered on nitrogen and phosphorus, due to the general belief that phosphorus is the limiting factor in freshwater bodies, while nitrogen is the limiting factor in saline waters (Cripps, 1995).  It has been demonstrated that phosphorus is often closely associated with suspended and colloidal particles in aqueous solutions (Braskerud, 2002; Coveney et al., 2002, Cripps, 1995; Haygarth et al., 1997; Hens and Merckx, 2002; Shand et al., 2000; and Tiehm et al., 1999).  Several studies have been conducted in which the sizes of particulate phosphorus has been investigated.  Most of these studies have concentrated on the colloidal size range (8.0 m through 1000 Daltons) and were conducted using agricultural runoff/leachate/soil water or wastewater (Haygarth et al., 1997; Hens and Merckx, 2002; Shand et al., 2000; and Tiehm et al., 1999).  Yet, where the data is available, more than half of the phosphorus was removed by the first filtration (71% of reactive phosphorus > 0.45 m, Haygarth et al., 1997; and ~60% of total phosphorus > 1.6 m, Shand et al., 2000).  Larger size particles were examined in the wastestream of a salmonid hatchery (Cripps, 1995).  Still, the concentration of particulate phosphorus was reduced by approximately 50% after the first filtration (200 m).  These results highlight the importance of larger sizes in the association of phosphorus with particles.

Not as much emphasis has been placed on nitrogen association with particles.  This is most likely because organic nitrogen in particulate form, such as dead plant matter, is easily solublized (Chapra, 1996).  Therefore, settling is considered, at best, a short-term removal mechanism for nitrogen and appreciable accumulation of particulate organic nitrogen can quickly become a nitrogen source.  For example, England (2001) studied the leaching of a combination of grass clippings and decomposing leaves in stormwater and found that 31% of the total kjeldahl nitrogen was released within one day.  Yet, it has been reported that ammonia nitrogen adsorbs strongly to soil and clay particles (Standard Methods, 1998).  Thus, particulate nitrogen should not be discounted.

Urban stormwater runoff has been identified as a prominent source of nutrient pollution, therefore, nutrient removal is essential for stormwater best management practices (BMP) (Brezonik et al., 2002).  Sedimentation and subsequent burial is often cited as a major removal mechanism for both phosphorus and nitrogen. However, no known research has been conducted on the size relationship of particle-bound nutrients in urban stormwater.  Characterization of particulate phosphorus and nitrogen by size and species will enable more accurate sedimentation modeling of these nutrients.  This, in turn, will aid in urban stormwater BMP design for nutrient management.  Thus, the primary objective of this study is to determine the distribution of particle-bound phosphorus and nitrogen species throughout the size range of suspended solids typically found in urban stormwater.

1.4  Project Hypotheses

There are two main hypotheses in this project.

- Particulate association of nutrients will vary with particle size.

- Particulate association of nutrients will vary with season.

1.5  Project Organization and Responsibility

Table 1-1.  Project Programmatic Schedule

| Task | Responsibility per Task | Date of Completion |
| --- | --- | --- |
| 0 - Quality Assurance Project Plan/ Technical Directive | EPA |  |
| 1 - Technical Memorandum | Contractor | Five days after Technical Directive is received |
| 2 - Sample collection | Contractor | Immediately after rain events following approval of the technical memorandum |
| 3 - Sample packaging, preservation, and transport to the laboratory | Contractor | Immediately after task 2 is completed |
| 4 - Sample filtration and analysis | Contractor | To begin immediately after samples are received and processed. Holding times should not be exceeded |
| 5 - Analytical results forwarded to technical lead | Contractor | Ten days after final analysis is completed |
| 6 - Significance Assessment | EPA | One week following delivery of implicated analytical results |

Table 1-2.  Project Responsibility

| Responsibility | Personnel |
| --- | --- |
| EPA QA Officer | XX |
| EPA Technical Lead | XX |
| Project Manager | XX |
| Laboratory and technical requirements | XX |

SECTION  2.0

EXPERIMENTAL DESIGN

Several factors have been reported to control the degree to which phosphorus is associated with particles.  These factors include, temperature, pH, redox potential, hardness, and organic carbon content (Haygarth et al., 1997).  Organic carbon content is also expected to correlate with the degree to which nitrogen is associated with particles because detrital material is likely to be a major component of the particulate nitrogen content of stormwater.  Selig et al. (2002) demonstrated that since the temperature and organic carbon content of stormwater runoff are seasonally affected parameters, the degree of phosphorus association with particles is also seasonal.  Following this logic, the degree of nitrogen association with particles should be seasonal, as well.  Data collected and analyzed previously at the laboratory facilities onsite has indicated that significant seasonal variation does exist for the percentage of particle association concerning both nutrients (data not published).  Therefore, stormwater samples will be taken during all four seasons.  In each season, three storms will be sampled for a total of twelve storm events.

Figure 2-1: Diagram of sample analysis to be carried out on each sampled storm event

Stormwater samples will be collected using an automatic sampler.  Sampling procedures will be discussed in more detail in Section 3.0.  When a stormwater sample is collected, it will be divided into five subsamples.  One subsample will be used as the unfiltered sample, and the remaining four subsamples will be directly filtered through mesh/membrane filters of different pore sizes ranging from 0.45 to 80 m.  Four of the controlling factors, temperature, pH, redox potential, and hardness, will be measured on the unfiltered subsample only.  Particle characterization including, total suspended solids (TSS) and particle size distribution (PSD)(by % volume and % number), also will be measured on the unfiltered subsample.  All five subsamples will be analyzed for eight nutrient species; total phosphorus (TP), total reactive phosphorus (TRP), total acid-hydrolyzable phosphorus (TAHP), bioavailable phosphorus (BioP), total nitrogen (TN), total kjeldahl nitrogen (TKN), ammonia nitrogen (TNH4), and total organic carbon (TOC).  Thus the study will be comprised of fourteen analytes.  The unfiltered sample will be analyzed for all fourteen analytes, while the four filtrates will have eight analytes each.  Each analyte will be measured in triplicate.  A diagram of the sample analysis to be carried out for each storm event is summarized in Figure 2-1.  The resulting experimental design is a four tiered nested design as shown in Figure 2-2.

Figure 2-2: Nested Experimental Design (Only one season (winter) is shown for brevity)

2.1  Parameters of Interest

Sixteen parameters of interest have been identified for this study.  Other than the six gross parameters (temperature, pH, redox potential, hardness, TSS, and PSD) measured on the unfiltered sample only and the eight size differentiated parameters (TP, TRP, TAHP, BioP, TN, TKN, TNH4, and TOC) measured on all five subsamples (unfiltered and five filtrates), two nutrient species will be indirectly measured on all five subsamples for each storm event.  The total organic form of both the nitrogen and phosphorus species can be calculated from the collected information.  Total organic phosphorus (TOP), will be calculated as: TOP = TP - (TRP + TAHP), and total organic nitrogen (TON) will calculated as: TON = TKN - TNH4.

2.2  Factors of Interest

Two factors of interest have been identified for this study, particle size and season.  Particle size has been divided into five classes or ranges defined as follows:

 > 80 m = unfiltered - 80 m filtrate

 20 - 80 m = 80 m filtrate - 20 m filtrate

 5 - 20 m = 20 m filtrate - 5 m filtrate

 0.45 - 5 m = 5 m filtrate - 0.45 m filtrate

 < 0.45 = 0.45 m filtrate

The filter sizes were chosen to cover particles over three orders of magnitude (i.e., 80 - 0.45 m).  The three larger filter sizes were chosen based upon a simplified particle settling analysis using Stoke’s Law.  Typical BMP parameters for detention time and depth were assumed as two days and 1.5 m, respectively.  Table 2-1 summarizes the results of the particle settling analysis for each of the filter pore sizes chosen to demonstrate the broad range in BMP operational conditions covered by the experimental design of this project.  The equations and other assumptions used to create this table are included in Appendix B.  Although particles less than 5 m in size are unlikely to drive practical BMP design, the 0.45 m filter was included due to it’s significance as the traditional division between dissolved and particulate matter.

| Table 2-1: Particle Settling Analysis for Chosen Filter Pore Sizes |
| --- |
| Particle Diameter (filter pore size) m | Settling Velocity m/d | Required Detention Time at Depth = 2 m | Required Depth at Detention time = 2 d |
| 80 | 270 | 8 min. | 135 m |
| 20 | 19 | 2 hr. | 9.3 m |
| 5 | 1 | 1.4 days | 53 cm |
| 0.45 | 0.009 | 180 days | 4.3 mm |

The second factor of interest is season.  Season has four divisions, winter, spring, summer, and fall.  Definition of the seasons will be based on the equinoxes and solstices as follows:

 Winter: December 22 - March 21

 Spring: March 22 - June 21

 Summer: June 22 - September 21

 Fall: September 22 - December 21

2.3  Possible Variation in Experimental Design

The nested experimental design with four tiers and sixteen parameters of interest as laid out in this document is very labor intensive.  For efficiency, several parameters and factors of interest will be assessed for significance at various times during this study.  If the parameter/factor is found to be insignificant it shall be dropped from the remainder or a specified portion of the experimental design.  The assessments of significance and possible variations in experimental design are summarized in Table 2-2.

| Table 2-2: Guidelines for Possible Variations in Experimental Design |
| --- |
| Parameter/ Factor | Significance Assessment | Consequences of Insignificance |
|  | Frequency | Condition of Significance |  |
| All Nitrogen Species (TN, TKN, TNH4) | After 1st storm event of each season | TPN†  15% TN (TN of 0.45 m filtrate  0.85  TN of unfiltered sample) | Nitrogen species will be excluded from the remaining two storms of the season |
| Individual phosphorus and nitrogen forms (TRP, TAHP, BioP, TKN, TNH4) | After 1st storm event of each season | Differences between size classes must be significant at the 90 % level (ANOVA) | Any form that is not significant will be measured on the unfiltered sample only for the remaining two storms of the season |
| Filter sizes | After 1st storm event of each season | Differences between two adjacent particle size classes must be significant at the 90 % level (paired student’s t-test) for least one parameter | When all 8 size differentiated parameters are insignificant, the larger of the two adjacent filters will be dropped for the remaining two storms of the season |
| † TPN = total particulate nitrogen = (TN of unfiltered sample - TN of 0.45 m filtrate) |

Assessment of the particulate nitrogen species is of particular importance for maintaining project focus and efficiency.  The annual percentage of particulate nitrogen in urban stormwater data collected previously (Nietch, not published) was low, 18 % (std. dev. 24.5 %).  Particle size associations will not assist in controlling nitrogen contamination, even if it leads to particle capture efficiencies of 100 %, if particulate nitrogen does not contribute to a significant amount of the total nitrogen.  Therefore, particulate nitrogen will not be considered if found to be less than 15% of the total nitrogen concentration.  Although the annual average of particulate nitrogen may be low, significant variation may exist between seasons as was the case in the Nietch data.  In the winter, particulate nitrogen contributed an average of 40.9 % and was as high as 96.2 % on one occasion (Nietch, not published).  Therefore, the significance of particulate nitrogen must be re-evaluated with the first sample of each season.

Information on the particle association of individual nutrient forms (TRP, TAHP, BioP, TKN, and TNH4) is not readily available.  It is possible that some of the parameters included in the experimental design may not vary significantly with particle size.  This alone is an important piece of information, however, if no significant differences between particle size classes are found for any individual nutrient form it should be dropped from the four filtrate analyses for the remainder of the season.  Re-evaluation at the beginning of each season will ensure a large enough sample size to comfortably make a non-significant conclusion.

The final possible variation in experimental design concerns the choice of filter pore sizes.  The filter pore sizes were chosen in-part based on previous studies on particulate phosphorus and a simple sedimentation analysis.  However, the each individual size class (as determined by the filter pore sizes) may not provide useful information in the evaluation of nutrient association with particles for the urban stormwater sampled in this study.  Therefore, the significance of each filter size will be assessed after the first storm in each season as detailed in Table 2-2.

All significance assessments and the ultimate decision to vary the experimental design will be made by the technical lead and PO within one week of receiving the analytical data of concern.  If variation to the experimental design is warranted, then an addendum to the QAPP will be generated and submitted for review.

2.4  Filtration Procedure

If possible, filtration should be carried out directly to avoid modification of the samples caused by excessive handling and repeated filtration.  However, overly turbid samples may be pre-filtered using a pore size larger than the passing diameter of interest, when necessary.  Before use, each filter shall be washed with 20 mL of laboratory pure water, then conditioned with 20 mL of sample.  This filtrate shall be discarded and the filter shall be moved to a clean filtration apparatus before filtration of the retained filtrate.  Filters shall be changed out with similarly conditioned filters as needed in order to avoid the size discrimination associated with filter clogging.  Filtration may be carried out under full vacuum conditions using the following filters:

 80 m filter - Polyester Spectra/Mesh® membrane (Spectrum® Laboratories)

 20 m filter - Polyester Spectra/Mesh® membrane (Spectrum® Laboratories)

 5 m filter - Poretics® Polyester Membrane filter (Osmonics Laboratory)

 0.45 m filter - Poretics® Polyester Membrane filter (Osmonics Laboratory)

Poretics® Polyester (PETE) filters are recommended by Osmonics Laboratory Products for applications that required precise filtration.  The exceptionally uniform pores of this membrane type allow for pore size tolerance of +0 % / -20 %.  The PETE Spectra/Mesh® membranes also have exceptionally low pore size tolerances of 5 %.

2.4  Analytical Procedures

2.4.1  Approved Methods

All analytes, with one exception (see section 2.4.2), will be measured using USEPA-approved techniques outlined in Standard Methods (1998).  Individual methods along with their detection limits are listed in Table A-1, Appendix A.

2.4.2  Unproven Methods

One unproven method, the measurement of bioavailable phosphorus, will be performed as part of this study.  Bioavailable phosphorus (BioP) is of particular importance to research, such as the present study, in which environmental impact is the main focus.  Only those forms of phosphorus that are available to support biological activity are capable of causing trophic degradation.  BMPs for urban stormwater could remove 100 % of the particulate-bound phosphorus in stormwater runoff yet still have a minimal effect in controlling the environmental impact on receiving waters if the particulate phosphorus does not contribute to the BioP.  Therefore, the percentage of particulate phosphorus that is bioavailable in urban stormwater runoff is of primary concern.  The percentage of particulate-bound phosphorus in agricultural runoff that is bioavailable varies greatly from 10 - 90% (Dils and Heathwaite, 1998).  To date, BioP has not been evaluated for urban runoff.

The strip P method of measuring BioP was developed for the analysis of agricultural runoff in 1993 by a group of scientists with the US Department of Agriculture (Sharpley et al., 1995).  The method uses iron oxide-impregnated paper strips as a sink for phosphorus which approximates algal uptake of phosphorus.  The strip P method consists of two main steps, (1) Fe-oxide strip preparation and (2) Sample analysis.  Preparation of the Fe-oxide strips (step 1) can be preformed well in advance of sample collection as long as the storage guidelines mentioned below are followed.  The following procedure for the strip P method was taken from Sharpley et al. (1995) and Dils and Heathwaite (1998).

Strip P method for measuring BioP:

(1) Fe-oxide strip preparation

- obtain 15-cm dia. Whatman #50 filter paper

- immerse filter paper in 10 % (w/v, i.e., 10 g FeCl3-6H2O in 100 mL laboratory grade water) solution of FeCl3-6H2O and promptly remove [Note: Do not allow immersion time to exceed 30 seconds.]

- air dry filter paper vertically held to line with clothes pins until completely dry (approximately 1 hour) [Note: Filters must be kept out of direct sunlight once drawn through the FeCl3-6H2O solution.  Exposure to sunlight will make the filter paper brittle.]

- immerse filter paper in 2.7 M NH4OH (174.2 mL 30% NH4OH reagent diluted to 1 L with laboratory grade water) and promptly remove [Note: Timing is important here.  Overexposure to NH4OH (greater than thirty seconds) will cause uneven distribution of Fe-oxide on filter paper and therefore must be avoided.]

- air dry filter paper using the same conditions as above

- cut prepared filter paper into 10 cm by 2 cm strips - 5 strips can be cut from each filter

- store strips in an air tight bag until use

(2) Sample analysis

- measure 50 mL of sample into an 70 mL test tube (glass, 25  200 mm, with teflon lined

screw cap) and add one prepared Fe-oxide strip

- pack test tube into a TCLP extractor using styrofoam or other appropriate filler material

- shake sample and strip end- over-end for 16 hours at 25C

- remove Fe-oxide strip and rinse with deionized water to remove any adhering particles

- air dry Fe-oxide strip for approximately 1 hour

- add dried strip to 40 mL 0.1 M H2SO4 in an 70 mL test tube

- pack test tube into the TCLP extractor using styrofoam or other appropriate filler material

- shake strip in acidic solution end-over-end for 1 hour

- remove and discard strip

- neutralize acidic solution with NaOH

- perform phosphorus measurement on the resulting solution employing the same method used for TRP (i.e., Standard Methods 4500-P E.(UWRF SOP028), see Table A-1, Appendix A)

SECTION 3.0

SAMPLING PROCEDURES

3.1  Sample Collection

Samples shall be collected using an American Sigma automatic sampling station placed at the outfall located near the junction of Avenue D and EPA loop Road  (left pipe) on-site at the Edison EPA facility following UWRF SOP021 and SOP022.  The samplers shall be programmed to collect flow-weighted samples and to notify the on-site contractor by cellular modem when a rain event has occurred.  Samples shall be retrieved promptly (i.e., within 6 hours of the storm’s end) by a technician.  Collected samples shall be returned to the laboratory for immediate processing.

The sample collection apparatus includes sensors that measure flow characteristics, pH, conductivity, temperature, and dissolved oxygen.  This equipment shall be calibrated according to the procedures provided by American Sigma.  During sample collection the technician shall log all available data.  The data shall be provided to the EPA PO and technical lead with the analytical results.

The automatic sampler shall be fitted with a clean sample container in anticipation of a storm event.  Sample containers should be cleaned following UWRF SOP019[by washing in phosphate-free detergent, rinsing with hot dilute hydrochloric acid (HCl), then rinsing several times with laboratory grade water].  Both the sample container and the automatic sampling equipment should be cleaned in between storm events.

3.2  Sample Size and Subsampling

Suggested sample sizes are indicated in Table A-1, Appendix A.  These sample sizes are estimates only, actual sample sizes may need adjusting.  The total stormwater sample volume should be approximately 10 liters to comfortably cover all analyses and replicates.

Due to the possible effects of temperature on the association of phosphorus with particles, the 10 L sample shall be left in the field until processing can be initiated.  Given the sampling location (shaded from direct sunlight and set down in a depression such that it should be protected from wind chills), temperature variations in the field are not expected to change significantly over the six hour window during which samples are to be collected.  Upon return of the sample to the laboratory, the composite sample should be adequately mixed and divided into five major subsamples following the subsampling procedures in UWRF SOP047.  (Ignore subsample volumes for individual species.  Subsample volumes and handling shall follow this document instead.).  Four of these subsamples, the filtrates (approximately 1.75 L each), shall be passed through prepared filters of the four filter pore sizes.  Details on the filtration procedure were covered earlier in section 2.3.  The remaining major subsample (approximately 3 L) will be used as the unfiltered sample.  Aliquots for the individual analytes can then be taken from each of the five major subsamples.  Appropriate sample containers for each analyte are summarized in Table A-1, Appendix A.

3.3  Sample Preservation and Storage

Research focused on preservation and storage of nutrients have concluded that no single preservation method is reliable for all samples (Gardolinski et al., 2001 and Haygarth et al., 1995).  Therefore, samples shall be analyzed immediately.  When immediate analysis is not feasible samples should be preserved and stored according to the guidelines provided in Table A-1, Appendix A.  Maximum holding times for each analyte are listed in Table A-1.  Redox potential and particle size distribution analysis must be completed immediately after subsampling as these analytes cannot be stored.  Holding times for the remaining analytes range from 48 hours to 28 days.

3.4  Sample Transport

Samples shall be transported following UWRF SOP003, 005 (ignore sample icing), and 006.

3.5  Sampling Schedule

A valid storm event is a storm which produces at least 0.125-inch (1/8th inch) total rainfall preceded by at least 72 dry/rain-free hours and produces the required amount of runoff/sample (i.e., 10 L).  The first three valid storm events will be sampled during each season as previously described in section 2.2.  Therefore, twelve storm events will be sampled during the course of the study.

SECTION 4.0

QUALITY ASSURANCE OBJECTIVES

4.1  Determining QA Objectives

There are two main hypotheses set forth in this study, particle association of nutrients will vary by size and by season.  According to the experimental design of this study, five size fractions are defined and N = 36 per size fraction (i.e., N = 12 storms  3 replicates).  Also, all four seasons are included and N = 45 per season (i.e., N = 3 storms  5 size classes  3 replicates).  SigmaStat software was used to estimate the power of detecting a one standard deviation difference at a 95 % confidence level in comparisons between factor level means.  The power of detection among size fractions and seasons (ANOVA) is 94.6 % and 99.1 %, respectively.

Three additional analyses will be made per analyte per storm event in the interest of quality assurance.  The quality assurance samples will be collected and analyzed concurrently with the triplicate analysis on each analyte in each size class.  Five size classes, triplicate analyses, and three QA/QC samples add up to a total of 18 samples per analyte per storm event (excluding those analytes measured on the unfiltered fraction only).  The three QA/QC samples shall consist of the following:

- matrix spikes (one per analyte per event) - one spike of each analyte utilizing National Institute of Standards and Technology (NIST) certified, or equivalent matrix spikes within the expected  concentration range,

- laboratory filter blanks (one per event) - laboratory grade water will be filtered through one filter step chosen at random, then subsampled, preserved, and analyzed as with the stormwater samples,

- laboratory control sample (one per analyte per event) - secondary standard.

4.2  Quantitative QA Objectives

4.2.1  Precision

Precision measures the degree of agreement among replicate analyses of a sample.  It quantifies the repeatability of a given measurement.  The precision for three or more replicates is estimated by calculating the relative standard deviation (RSD), as

where, s = the standard deviation of the replicate analyses and

= the mean of the replicate analysis.

The acceptable RSD level for the triplicate analyses called for in this study has been set at 20 %.

4.2.2  Accuracy

Percent recovery of spiked samples has been set at 85 - 115 %.

4.2.3  Method Detection Limits

Detection limits for each analyte are listed in Table A-1, Appendix A.  With the exception of the particle size distribution (PSD), the detection limits for each specified method are taken from Standard Methods (1998).

4.2.4  Completeness

Completeness refers to the percentage of valid data received from actual analyses performed in the laboratory.  Completeness (C) is calculated as where, V = the number of measurements judged valid and T = the total number of measurements.  The completeness of a data set for any given storm event must be 70 %.  This level of completeness will ensure the power of ANOVA hypothesis testing is above 80 % (n = 25 (69 % of design) at 80 % power for 5 size class ANOVA).

4.3  Qualitative QA Objectives

The comparability of data collected during this study will be achieved by following the quantitative QA/QC objectives described in section 4.2.  The representativeness of the data will be achieved through the triplicate analysis of each analyte.

4.3  Consequences of QA Objectives Not Being Met

The QA objectives should guide all decisions regarding data quality.  It is the analyst’s responsibility to ensure that QA objectives are met.  In the event that QA objectives are not met, an investigation of causes will be conducted and corrective measures put in place.  The initial attempt to correct the problem will be made by laboratory personnel.  If the problem is corrected, all effected samples will be re-analyzed when possible.  If the problem is of a different nature, then it will be discussed with the PO and Technical Lead of the project.  If necessary, corrective action will be taken.

Data that does not meet QA Objectives shall be reported, albeit clearly flagged.  Decisions on using the data for statistical analysis will be made by the EPA on a case-by-case basis.

SECTION 5.0

DATA HANDLING PROCEDURES

5.1  Data Reporting

Technical Memorandum

Upon completion of a sampling event a technical memorandum shall be submitted to the EPA Technical Lead.  The technical memorandum shall include any variations from the sample handling and processing procedures outlined in this document as well as the complete data set.  Any other general observations made during the collection of the data that may be useful in the data analysis should also be discussed.  The data set shall be summarize into seven spreadsheet tables; physical characteristics and flow data from the auto sampler (e.g., pH, PSD results, flow rate, etc.), each size fraction’s information (phosphorus species, nitrogen species, and TOC - five tables), and QA/QC data.

5.2  Data Reduction

The EPA will analyze the data using analysis of variance (ANOVA) statistical techniques.

5.3  Data Validation

The validity of the data will be ensured by following the QA/QC requirements presented in Section 4.0.  All data that does not conform to these requirements should be clearly flagged in the technical memorandum.

SECTION 6.0

REFERENCES

American Public Health Association, American Water Works Association, and Water Environment Federation.  (1998).  Standard Methods for the Examination of Water and Wastewater,  20th Edition.

Braskerud, B. C.  (2002).  “Factors affecting phosphorus retention in small constructed wetlands treating agricultural non-point source pollution.”  Ecological Engineering, 19, 41-61.

Chapra, Steven C.  (1996).  Surface Water-Quality Modeling, preliminary edition.  The McGraw-Hill Companies, Inc., New York, New York.

Brezonik, Patrick L. and Stadelmann, Teresa H.  (2002).  “Analysis and predictive models of stormwater runoff volumes, loads, and pollutant concentrations from watersheds in the Twin Cities metropolitan area, Minnesota, USA.”  Water Research, 36, 1743-1757.

Coveney, M. F., Stites, D. L., Lowe, E. F., Battoe, L. E., and Conrow, R.  (2002).  “Nutrient removal from eutrophic lake water by wetland filtration.”  Ecological Engineering, 19, 141-159.

Cripps, Simon J.  (1995).  “Serial particle size fractionation and characterization of an aquacultural effluent.”  Aquaculture, 133, 323-339.

Dils, R. M. and Heathwaite, A. L.  (1998).  “Development of an iron-oxide impregnated paper strip technique for the determination of bioavailable phosphorus in runoff.”  Water Research, 32(5), 1429-1436.

England, Gordon.  (2001).  “Success stories of Brevard County, Florida stormwater utility.”  Journal of Water Resources Planning and Management, May/June, 180-185.

Gardolinski, Paulo C. F. C., Hanrahan, Grady, Achterburg, Eric P., Gledhill, Martha, Tappin, Alan D., House, William A., and Worsfold, Paul J.  (2001).  “Comparison of sample storage protocols for the determination of nutrients in natural waters.”  Water Research, 35(15), 3670-3678.

Haygarth, Phillip M., Warwick, Melanie S., and House, W. Alan.  (1997).  “Size distribution of colloidal molybdate reactive phosphorus in river waters and soil solution.”  Water Research, 31(3), 439-448.

Haygarth, P. M., Ashby, C. D., and Jarvis, S. C.  (1995).  “Short-term changes in the molybdate reactive phosphorus of stored soil waters.”  Journal of Environmental Quality, 24(6), 1133-1140.

Hens, Maarten and Merckx, Roel.  (2002).  “The role of colloidal particles in the speciation and analysis of “dissolved” phosphorus.”  Water Research, 36, 1483-1492.

Nietch, Christopher.  (unpublished data - sampling took place between 12/14/2000 and 2/10/2002).  Stormwater nutrient sampling in two residential areas with approximately 17 % imperviousness.

Selig, Uwe, Hübener, Thomas, and Michalik, Manfred.  (2002).  “Dissolved and particulate phosphorus forms in a eutrophic shallow lake.”  Aquatic Sciences, 64, 97-105.

Shand, C. A., Smith, S., Edwards, A. C., and Fraser, A. R.  (2000).  “Distribution of phosphorus in particulate, colloidal, and molecular-sized fractions of soil solution.”  Water Research, 34(4), 1278-1284.

Sharpley, Andrew N., Robinson, J. S., and Smith, S. J.  (1995).  “Bioavailable phosphorus dynamics in agricultural soils and effects on water quality.”  Geoderma, 67, 1-15.

Tiehm, A., Herwig, V., and Neis, U.  (1999).  “Particle size analysis for improved sedimentation and filtration in waste water treatment.”  Water Science and Technology, 39(8), 99-106.

APPENDIX A:  ANALYTE INFORMATION

Table A-1. Analyte Methods and Sampling Information

| Analyte | Analytical Method* | Detection Limit** (mg/L) | Sample Volume & Container*** | Maximum Holding Times | Preservation Method |
| --- | --- | --- | --- | --- | --- |
| Redox Potential | 2580 B. Oxidation- Reduction Potential | NA | 100 mL, polyethylene, TFE, or glass | analyze on collection | DO NOT STORE |
| Hardness † | 2340 C. EDTA Titrimetric Method | -- | 25 mL, acid washed glass | -- | -- |
| Total Suspended Solids (TSS) | 2540 D. (UWRF SOP030) Total Suspended Solids Dried at 103-105C | 6.0 | 100 mL, plastic or glass | 7 days | refrigerate at 4C |
| Particle Size Distribution (PSD) | 2560 D. (UWRF SOP045 - LS230) Light-Scattering Method | 0.04 m | 200 mL, glass | NA | DO NOT STORE |
| Total Phosphorus (TP) | 4500-P B.5. Persulfate Digestion, followed by 4500-P E. Ascorbic Acid Method (UWRF SOP025) | 0.005 | 50 mL, glass rinsed with hot dilute HCL, then rinsed several times with laboratory grade water. Phosphorus containing commercial detergents are strictly prohibited. | 48 hr | refrigerate at 4C |
| Total Reactive Phosphorus (TRP) | 4500-P E. (UWRF SOP028) Ascorbic Acid Method | 0.003 | See TP | 48 hr | refrigerate at 4C |
| Total Acid Hydrolyzable Phosphorus (TAHP) | 4500-P B.2. Acid Hydrolysis, followed by 4500-P E. Ascorbic Acid Method (UWRF SOP029) | 0.002 | See TP | 48 hr | refrigerate at 4C |
| Bioavailable Phosphorus (BioP) | Strip P Method‡ | 0.003 | See TP | 48 hr | refrigerate at 4C |
| Total Nitrogen (TN) | 4500-N C. Persulfate Method | 0.01 | 10 mL, HPDE | 48 hr | refrigerate at 4C |
| Total Kjeldahl Nitrogen (TKN) | 4500-Norg C. (UWRF SOP023) Semi-Micro Kjeldahl Method | 0.005 | 250 mL, HPDE | 28 days | refrigerate at 4C, do not acidify |
| Total Ammonia Nitrogen (TNH4) | 4500-NH3 F. (UWRF SOP024) Phenate Method | 0.007 | 25 mL, HPDE | 28 days | acidify to pH of 1.5 - 2.0 with concentrated H2SO4, refrigerate at 4C, neutralize with NaOH or KOH immediately before analysis |
| Total Organic Carbon (TOC) | 5310 D. Wet Oxidation | 0.1 | 10 mL, amber glass (acid washed, sealed with foil, and baked 1 hr at 400C) with TFE lined caps (detergent washed, rinsed repeatedly with organic-free water, foil wrapped, and baked 1hr at 100C) | 28 days | acidify to pH of 1.5 - 2.0 with concentrated H2SO4, refrigerate at 4C |

* Method name and numbers refer to Standard Methods (1998), unless otherwise noted.  Facility specific standard operating procedure numbers associated with each standard method are provided in parentheses.

**Method detection limits taken from UWRF SOP as determined in house, except for TN and TOC.

***Unless specified otherwise, cleaning procedure should follow EPA standard cleaning procedure “B” (wash in phosphate-free detergent with hot tap water, triple rinse with deionized water and oven dry).

† Detection limit, maximum holding time, and sample preservation methods for this analyte not listed in Standard Methods (1998).

‡ Unproven method - See section 2.4.1

APPENDIX B:  SIMPLIFIED PARTICLE SETTLING ANALYSIS

| Determination of practical particle size range: |  |  |  |
| --- | --- | --- | --- |
| Assume: |  |  |  |  |  |  |
| BMP characteristics | depth = | 1.5 | m |  |  |
|  |  | detention time = | 2 | days |  |  |
|  |  | water density (pw) = | 1 | g/cm2 |  |  |
| particle characteristics | spherical particle shape |  |  |  |
|  |  | particle density (ps) = | 2.25 | g/cm2 |  |  |
|  | settling velocity theory (Stokes's Law in convenient form): |  |  |
|  |  | Vs = 0.033634(ps-pw)d^2 | where d = particle diameter |
|  | Vs = depth/detention time = | 0.75 | m/d |  |  |

# Text boxes

4 Seasons		 3 Storms 		5 Size Classes          3 Replicates  =  180 samples

(for all seasons)