SUPPORTING STATEMENT

# PREMARKET NOTIFICATION SUBMISSION 510(K)

# 21 CFR PART 807, SUBPART E

# OMB NO. 0910-0120

# A.	JUSTIFICATION

Section 510(k) of the Federal Food, Drug, and Cosmetic Act (the act) and the implementing regulation 21 CFR 807 Subpart E, require a person who intends to market a medical device to submit a premarket notification submission to the Food and Drug Administration at least 90 days before proposing to begin the introduction, or delivery for introduction into interstate commerce, for commercial distribution of a device intended for human use.  Based on the information provided in the notification, FDA must determine whether the new device is substantially equivalent to a legally marketed device, as defined in 21 CFR 807.92(a)(3).  If the device is not determined to be substantially equivalent to a legally marketed device, it must have an approved premarket approval application (PMA), Product Development Protocol or be reclassified into Class I or Class II before being marketed.  The FDA makes the final decision of whether a device is equivalent or not equivalent.

1. 	Circumstances Making the Collection of Information Necessary

The Food and Drug Administration (FDA) is requesting approval for the information collection requirements contained within 21 CFR 807 Subpart E. These requirements are:

# 21 CFR 807.81 - Reporting

# States when a premarket notification is required.

# 21 CFR 807.87 - Reporting

# Specifies information required in a premarket notification submission.

A premarket notification is required to be submitted by a person who is:

Introducing a device to the market for the first time;

Introducing or reintroducing a device which is significantly changed or modified in design, components, method of manufacturer, or the intended use that could affect the safety and effectiveness of the device.

Section 510(k) of the FD&C Act allows for exemptions to the 510(k) submissions, i.e., a premarket notification would not be required if the FDA determines that premarket notification is not necessary for the protection of the public health, and they are specifically exempted through the regulatory process.  Under 21 CFR 807.85, “Exemption from premarket notification”, a device is exempt from premarket notification if the device intended for introduction into commercial distribution is not generally available in finished form for purchase and is not offered through labeling or advertising by the manufacturer, importer, or distributor for commercial distribution, and the device meets one of the following conditions:

(1)	It is intended for use by a patient named in order of the physician or dentist (or other specially qualified persons); or

(2)	It is intended solely for use by a physician or dentist and is not generally available to other physicians or dentists.

A commercial distributor who places a device into commercial distribution for the first time under their own name and a repackager who places their own name on a device and does not change any other labeling or otherwise affect the device, shall be exempted from premarket notification if:

(1)	The device was legally in commercial distribution before May 28, 1976; or

(2)	A premarket notification was submitted by another person.

Additionally, the Food and Drug Administration Modernization Act of 1997 (FDAMA) provided the authority for statutory exemption from the premarket notification requirements of the act in section 510(l) and 510(m).  Section 510(l) states that a 510(k) is not required for any class I device with the exception of those that are intended for a use which is of substantial importance in preventing impairment of human health, or presents a potential unreasonable risk of illness or injury.  Section 510(m) states that a class II device may be exempted from the 510(k) requirements of that act if a 510(k) is not necessary to provide reasonable assurance of safety and effectiveness.

21 CFR Section 807.87 on premarket notification lists the information required in each submission.  Each premarket notification submission shall contain the following information:

(a)	The device name, including both the trade or proprietary name and the common or usual name or classification name of the device.

(b)	The establishment registration number, if applicable, of the owner or operator submitting the premarket notification submission.

(c)	The class in which the device has been put under section 513 of the Act and, if known, its appropriate panel; or if the owner or operator determines that the device has not been classified under such section, a statement of the determination and the basis for the person’s determination that the device is not so classified.

(d)	Action taken by the person required to comply with the requirements of the Act under section 514 for performance standards.

(e)	Proposed labels, labeling, and advertisements sufficient to describe the device, it’s intended use, and the directions for its use.  Where applicable, photographs or engineering drawings should be supplied.

(f)	A statement indicating that the device is similar to and/or different from other products of a comparable type in commercial distribution, accompanied by data to support the statement.  This information may include an identification of similar products, materials, design considerations, energy expected to be used or delivered by the device, and a description of the operational principles of the device.

(g)	Where a person required to register intends to introduce into commercial distribution a device that has undergone a significant change or modification that could significantly affect the safety or effectiveness of the device, or the device is to be marketed for a new or different indication for use, the premarket notification submission must include appropriate supporting data to show that the manufacturer has considered what consequences and effects that change or modification or new use might have on the safety and effectiveness of the device.

(h)	A 510(k) summary as described in §807.92 or a 510(k) statement as described in §807.93.

- A financial certification or disclosure statement or both, as required by part 54 of 21 Code of Federal Regulations.

(j) For submissions claiming substantial equivalence to a device which has been classified into class III under section 513(b) of the act:

- Which was introduced or delivered for introduction into interstate commerce for commercial distribution before December 1, 1990 and

(ii)	For which no final regulation requiring premarket approval has been issued under section 515(b) of the act, a summary of the types of safety and effectiveness problems associated with the type of devices being compared and a citation to the information upon which the summary is based (class III summary).  The 510(k) submitter shall also certify that a reasonable search of all information known or otherwise available about class III device and other similar legally marketed devices has been conducted (class III certification), as described in  807.94.  This information does not refer to information that already has been submitted to the  Food and Drug Administration (FDA) under Section 519 of the act. FDA may require the submission of the adverse safety and effectiveness data described in the class III summary or citation.

( k)A statement that the submitter believes, to the best of his or her knowledge, that all data and information submitted in the premarket notification are truthful and accurate and that no material fact has been omitted.

(l)	Any additional information regarding the device requested by the Commissioner that is necessary for the Commissioner to make a finding as to whether or not the device is substantially equivalent to a device in commercial distribution.  A request for additional information will advise the owner or operator that there is insufficient information contained in the original premarket notification submission for the Commissioner to make this determination and that the owner or operator may either submit the requested data or a new premarket notification containing the requested information at least 90 days before the owner or operator intends to market the device or submit a premarket approval application in accordance with section 515 of the Act.  If additional information is not submitted within 30 days following the date of the request, the Commissioner will consider the premarket notification to be withdrawn.

2.	Purpose and Use of the Information

The information collected in a premarket notification is used by the medical, scientific, and engineering staffs of FDA in making substantial equivalence determinations as to whether or not devices can be allowed to enter the U.S. market.  If the information were not collected, the impact to the Federal program would be negligible.  The impact, however, to the public health of the U.S. would be great.  The premarket notification review process allows for scientific and/or medical review of devices, subject to 510(k) of the Act, to confirm that the new devices are as safe and as effective as legally marketed predicate devices.  This review process, therefore, prevents potentially unsafe and/or ineffective devices, including those with fraudulent claims, from entering the U.S. market.

- Use of Information Technology and Burden Reduction

There are no technical or legal obstacles to the collection of this information.  The Center for Devices and Radiological Health (CDRH) has carefully studied the subject of electronic submittals of Premarket Notifications (510(k)s), and has concluded that electronic submittals would be helpful to the review process.

CDRH is accepting medical device applications in electronic form. The Office of Device Evaluation (ODE) is currently developing formal guidelines regarding electronic submissions. Submission of electronic documents rather than paper will be voluntary on the part of manufacturers, and will also meet the requirements of GPEA.  Reviewers will have ready access to the electronic submission for reading and review on their desktop computers.  Reviewer notes will also be stored electronically directly, without the need to scan paper documents.

Until they are finalized, CDRH is requesting that industry give prior notification of their desire to submit an application in electronic form. This lead time is important in order to assure that the reviewer has the necessary hardware and software to review the electronic application so that the electronic submission will facilitate the review process.

It should be understood that an electronic application does not change the order in which submissions are reviewed. No preferential treatment will be given to manufacturers who submit an electronic application. In addition, at least one paper copy of the submission is also required. Additional copies of some reports may be requested in order to help facilitate the review.

An electronic version of the application should be submitted in a Portable Document Format (PDF) since the ODE staff will use Adobe Acrobat Exchange to review the PDF submission. This will assure that what a reviewer views on the screen is the same as what would have been seen on paper.  Applications may be submitted on 3 diskettes or CD-ROM. If the application would require more than three diskettes, the preferred medium would be a CD-ROM.

At the present time, CDRH only accepts the electronic 510(k) submission in forms such as a diskette or CD-ROM, and does not accept the submissions via an electronic form such as the internet world wide web at http://www.fda.gov/cdrh/elecsub.html.   In FY 99 ODE received 8 electronic 510(k) submissions and received 40 in FY 2000.

4. 	Efforts to Identify Duplication and Use of Similar Information

FDA is the only agency responsible for the collection of this information, and there are no requirements for the submission of similar information.  Therefore, no duplication of data exists.  No data exists from any source, other than the premarket notification submitter, that can be used to provide FDA with information regarding safety and effectiveness of devices subject to this regulation.  No other data can be used to monitor the introduction of the devices subject to Section 510(k) of the Act.

5.	Impact on Small Businesses or Other Small Entities

FDA aids small business in dealing with the requirements of the regulations by providing guidance and information through the Division of Small Manufacturers Assistance, and through the scientific and administrative staff within the Center, and workshops in which the Center Staff participate.  These efforts help to assure that the burden on all manufacturers, including small manufacturers, is minimized.

6.	Consequences of Collecting the Information Less Frequently

Data relative to 510(k) premarket notification cannot be collected less frequently.  The 1976 Medical Device Amendments to the Federal Food, Drug, and Cosmetic Act require that notification be submitted at least 90 days before a device intended for human use is introduced into commerce.  Ensuring compliance with the Act would not be possible if data were collected less frequently.

The information collected in the premarket notification is necessary for FDA to ensure that only those submissions for devices, that are as safe and effective as legally marketed predicate devices, are cleared for marketing.

A premarket notification [510(k)] is a premarketing application submitted to FDA to demonstrate substantial equivalence to a legally marketed device currently on the U.S. market, which does not require premarket approval.  The consequence of not obtaining this information would be that the FDA would not be able to provide a mechanism for clearing devices for market.

7. 	Special Circumstances Relating to the Guidelines of  5 CFR 1320.5

This information collection is consistent with the guidelines prescribed in 5 CFR 1320.5.

8.	Comments in Response to the Federal Register Notice and Efforts to Consult Outside Agency

In accordance with 5 CFR 1320.8(d), on April 30, 2001 (66 FR 21398), a 60-day notice for public comment (Attachment 4 ) was published in the Federal Register.  No comments were received from the public.

The premarket notification program is one of the most scrutinized programs in FDA.  During 1987-1988, the General Accounting Office (GAO) studied the premarket notification program; and during 1989-1990 the Inspector General’s (IG’s) Office of the DHHS did an in-depth review of the program.  During 1992, the IG followed up their recommendations from 1990.  Based on the reviews of both the GAO and IG, no major problems were identified with the premarket notification program related to those individuals/groups who are required to submit premarket notification applications. GAO did make two major recommendations for the premarket notification program:

(1) to develop criteria for consistent review; and

(2) to develop written documentation to detail the decision-making process.

Both of these recommendations have been completed and implemented.

The premarket notification program is constantly involved in on-going discussions, video conferences, and training with groups outside the agency including the following:

AdVaMed

1200 G Street, NW

Suite 400

Washington, DC  20005

(202) 783-8700

Contact:  Ms. Nancy Singer, Esq.

Food and Drug Law Institute (FDLI)

1701 K Street, NW

Suite 904

Washington, DC  20006

(202) 371-1420

Contact: Mr. John Villforth, President

Regulatory Affairs Professional Society (RAPS)

11300 Rockville Pike

Suite 1000

Rockville, MD 20852

(301) 770-2920

Contact:  Ms. Linda Temple

National Electrical Manufacturers Association (NEMA)

1300 North 17th Street

Suite 1847

Rosslyn, VA 22209

(703) 841-3200

Contact:  Mr. Robert Britain

Medical Device Manufacturers Association (MDMA)

1900 K. Street, NW

Suite 300

Washington, D.C.  20006

(202) 496-7150

Contact:   Stephen Northrup

Orange County Regulatory Affairs Discussion Group

PMB 624

5405 Alton Parkway 5A

Irvine, CA  92604-3718

(949) 348-9141

New England Biomedical Discussion Group

P.O. Box 1282

Attleboro Falls, MA 02763-0282

(508) 888-3324

Contact: Mr. David Leo

Also, due to the premarket notification program’s regulatory nature, FDA is constantly in contact with the respondents during the review of their submissions.

9. 	Explanation of Any Payment or Gift to Respondents

There is no decision to provide any payment or gift to respondents.

10.	Assurance of Confidentiality Provided to Respondent

Confidentiality of information submitted to FDA under a premarket notification is governed by the provisions of 21 CFR 807.95, and is mandated.  However, the purpose of the 510(k) summaries or 510(k) statements submitted in a premarket notification is to make information available to the public within 30 days once a device has been cleared for marketing.  These provisions do not permit disclosure of information in a premarket notification submission that is made trade secret or commercial confidential unless that information has been previously disclosed or as permitted under the Federal Freedom of Information Act.

11.	Justification for Sensitive Questions

This information collection does not include questions pertaining to sexual behavior, attitude, religious beliefs, or any other matters that are commonly considered private or sensitive in nature.

12.	Estimates of Hour Burden Including Annualized Hourly Costs

The total reporting cost to industry is estimated at $8,000 per submission.  Approximately 80 hours is required to complete a 510(k) package (exclusive of preparing clinical data, research, etc.)  The average to industry per hour for this type of work is $150. The estimated submission cost of $8,000 multiplied by 4,000 submissions per year equals $32,000,000, which is the aggregated industry reporting cost.

Using FY 2000 data, the total estimated recordkeeping cost to industry is $250,000.  The estimated total numbers of 510(k)s which are distributed by firms, as required when they choose to provide a 510(k) statement under 21 CFR 807.93, annually is 20,000.  Approximately 30 minutes are needed to process a request for information, so the total annual hours expended is 10,000.  An average salary for recordkeepers is $25 per hour; therefore, the total number of hours (10,000) multiplied by the average salary ($25) equals $250,000.  The total cost for both the reporting and recordkeeping burden is therefore estimated to be $32,250,000.

A summary form, FDA Form 3514 (Attachment 6), has been created to assist respondents in organizing 510(k) data for submission to FDA.  This form also assists respondents in organizing and submitting data for other FDA medical device programs such as PMA's, IDE's, HDE, etc.

21 CFR 807.81 - Reporting - and 21 CFR 807.87 - Reporting - 321,000 burden hours

21 CFR 807.93 - Recordkeeping - 10,000 burden hours

The total burden (1,000 hours) for FDA Form 3514 has been included in this information collection.  Once this collection has been approved, the form will be referenced in the OMB information collections to which it is associated.  These collections are OMB Numbers 0910-0078 (IDE, 150 respondents and 75 hours), 0910-0231 (PMA, 40 regular respondents, 300 PMA supplement respondents, and 170 hours), 0910-0332 (HDE, 10 respondents and 5 hours) and this collection , 0910-0120 (510(k), 1,500 respondents and 750 hours).  A reference in each of the OMB Information Collections mentioned above will indicate that the overall burden for this form has been recognized in this collection (OMB 0910-0120).

Any person/manufacturer who proposes to begin commercial distribution of a device, intended for human use, into interstate commerce is required to send a premarket notification submission to the FDA at least 90 days in advance of marketing.  The definition of person/manufacturer has now been expanded to include hospitals who re-use or re-manufacture single use devices.  The estimated 4,000 submissions expected to be received by FDA includes those submitted by hospitals re-manufacturing single-use medical devices.  Based on trends experienced in the past three (3) years, an estimated 4,000 submissions are expected each year.  FDA’s administrative and technical staff, who are familiar with the requirements for submission of premarket notifications, estimate that an average of 80 hours are required to prepare a submission.  There is a variance in the preparation of the premarket notification submission because of the vast and varying complexities of medical devices.  This includes preparation and writing of the notification, typing, and responding to any requests from FDA for supplemental information.  FDA, therefore, estimates that a total of 331,000 hours of effort for reporting and recordkeeping are required for the 4,000 anticipated submissions.

Since FY 2000, the Center has received an average of 4,200 original 510(k) submissions per year.  That figure has been decreasing each year, and is projected to decrease further in the future due to FDAMA, product reclassification efforts and CDRH reengineering and strategic efforts. The burden has changed due to the decrease in the number of submissions received from respondents, as more 510(k)-device exemptions have been granted.  The total estimated burden hours for completion of a premarket notification have been therefore reduced.

The estimate of burden for this collection of information is shown in the following tables:

# Table 1.--Estimated Annual Reporting Burden 1

| 21 CFR Section | Form Number | No. of Respondents | Annual Frequency per Response | Total Annual Responses | Hours per Response | Total Hours |
| --- | --- | --- | --- | --- | --- | --- |
| 807 Subpart E (807.81 & 807.87 - 510(k) ) |  | 4,000 | 1 | 4,000 | 80 | 320,000 |
|  | FDA Form 3514 | 2,000 | 1 | 2,000 | 0.5 | 1,000 |
| TOTALS | 321,000 |

1 There are no capitol costs or operating and maintenance costs associated with this collection of information.

Table 2.--Estimated Annual Recordkeeping Burden 2

| 21 CFR Section | Form Number | No. of Recordkeepers | Annual Frequency per Recordkeeping | Total Annual Records | Hours per Recordkeeper | Total Hours |
| --- | --- | --- | --- | --- | --- | --- |
| 807.93 |  | 2,000 | 10 | 20,000 | 0.5 | 10,000 |
| TOTALS | 10,000 |

2 There are no capital costs or operating and maintenance costs associated with this collection of information.

FDA has based these estimates on conversations with industry and trade association representatives, and from internal review of the documents listed in the tables above.

13.	Estimate of Other Total Annual Cost Burden to Respondents or Recordkeepers

There are no additional costs associated with this information collection.

14.	Annualized Cost to the Federal Government

FDA estimates that a total of 185 full time equivalent (FTE) positions consisting of a combination of medical officers, dental officers, scientific, and engineering professionals and support staff are required for premarket notification review and processing.  Based on a cost of $92,296 per position (which is the agency’s average cost of an FTE including their benefits), the estimated annual Federal cost is $17,074,760.

FTEs			Cost/FTE (incl Overhead)		Total Cost

185					$92,296				$17,074,760

15.	Explanation for Program Changes or Adjustments

The burden to this collection has decreased by 79,000 hours due to a decrease in the number of submissions received from respondents.  The decease in submissions has been attributed to an increased number of 510(k) device exemptions that have been granted by FDA.

16.	Plans for Tabulation and Publication and Project Time Schedule

FDA does not intend to publish the results of this information collection.

17.	Reason(s) Display of OMB Expiration Date is Inappropriate

Currently, CDRH is not requesting an exemption for display of the OMB expiration date.

18.	Exception to Certification for Paperwork Reduction Act Submissions

Currently, CDRH is not requesting an exemption to Certification for the Paperwork Reduction Act Submissions.

B.	Collection of Information Employing Statistical Methods

There are no statistical methods being employed in this collection of information.

# List of Attachments to Supporting Statement:

Attachment	1 -	The Safe Medical Devices Act (SMDA) of 1990 (PL 101-629)

Attachment	2 -	The Federal Food, Drug, and Cosmetic Act, Section 513

Attachment	3 -	Code of Federal Regulations (21 CFR 807)

Attachment	4 -	Federal Register 60 day Notice Soliciting Comments on 510(k) Submissions

Attachment 5 -	FDAMA, Sections 510(l) and 510(m)

Attachment 6 -	FDA Form 3514