Signal Processing Working Group

Graham Appleby

Charter

The following Charter was created by the ILRS Governing Board at The Hague ILRS Meeting of 1999 April.

To determine accurate laser range Centre-of-Mass corrections for a variety of satellites, appropriate to the major observing configurations.

In particular, to examine the corrections necessary to transform from raw range measurements to the centre-of-mass of each satellite target, having regard to:

- array transfer function

- pulse-width and signal strength

- receiver characteristics (single photon, multi-photon, etc.)

To determine optimum processing strategies for each case.

- location measure in forming normal points (mean, mode, LEHM, something else)

- role of skewness and kurtosis measures

- filtering and trend-removal procedures

To propose procedures for recording and reporting the data required and used in determining and applying the corrections.

- Data base used by Operational, Data and Analysis Centres

- Station Information data base

- Explicit data needed in ILRS NP and FR files

- Format changes as appropriate

Membership

The following ILRS members are formally serving on the Working Group, but other members have contributed to the work being carried out:

Andrew Sinclair, Christopher Moore, Georg Kirchner, John Luck, Leigh Dahl, Mike Selden, Peter Dunn, Reinhart Neubert, Stefan Riepl, Thomas Zagwodski, Toshimichi Otsubo, Ulrich Schreiber.

Introduction

The ILRS tracking network consists principally of three types of observing system. Those employing multi-channel plate detectors (MCPs) and large numbers of return photons, systems employing single photon detectors (principally SPADs) and working close-to single-photon levels of return, and systems using SPADs but working at greater than single photon return levels. Modern SPADs employ a compensation circuit which can be tuned to the laser pulse-length (Kirchner, et al, 1996), and thus minimise energy-dependent time-walk effects.  Most of the systems in the network continue to produce high-precision laser range measurements, but this very diversity amongst the systems means that to realise the full potential accuracy in the measurements they have to be processed in a way commensurate with the differing observing characteristics. In particular it has been known for some time that the centre of mass correction (CoM) to be applied to range measurements varies according to the type of system making the measurement (Otsubo, et al, 1999; Sinclair, et al, 1995). For example, results to date suggest that measurements to the principal geodetic satellite LAGEOS made by a system working at single-photon return levels are on average some 10mm long on the same measurements made by an MCP system working at high return levels. If this effect is not taken into account when the data are analysed, such a 'range bias' will be absorbed partly into station height determination, the quality of which will thus be degraded. For determination of scale, for which the SLR technique is particularly suited, such system-dependent differences will necessarily impact on the accuracy of a solution for GM for example. Advances in understanding these phenomena have been made over a number of years, most notably under the guidance of Andrew Sinclair within the EUROLAS network. This ILRS Working Group will build on that understanding.

During this first year, the strategy has been to understand the observing practices of some of the major systems in order to model those processes and derive appropriate CoM corrections. This has been carried out by involving them in the procedure and by analysing full-rate satellite and calibration range data and statistical measures of system stability. At an early stage the Group agreed that the aim is not necessarily to recommend changes to current processing practices, as this could potentially create a discontinuity relative to older data sets from a given system.

Summary of work carried out to date

The Group has built on previous work in order to develop and test models to derive CoM corrections appropriate to various observing systems for a number of satellite arrays. In particular, the following have been considered:

- CoM corrections for LAGEOS and AJISAI for single-photon detector systems;

- Return energy effects for single-photon detectors;

- Data clipping effects;

- Statistics to monitor system stability;

- Planar array effects (e.g. GLONASS);

- TOPEX/POSEIDON array model.

Full details of these studies and results to date are presented by the originators on a web-site

( http://nercslr.nmt.ac.uk/sig/signature.html ) which is also linked-to in the Working Groups section of the official ILRS web-site. As an example of some of this work we present here in more detail some results of determinations of system-dependent centre-of-mass (CoM) corrections for LAGEOS.

Principles

To outline the principles of the ongoing work to derive tracking-system-dependent CoM corrections for the current constellation of laser-tracked satellites, we discuss the work being carried out for the primary geodetic satellite LAGEOS, and specifically for systems employing single-photon detectors. Our baseline assumption is that the pre-launch ground tests carried out for NASA on LAGEOS-2 are applicable only to systems using multi-photon detectors such as MCPs. The CoM correction determined from these tests was 251mm, the value currently in use by the analysis community to process range observations from the entire network.

We can begin to model the laser ranging process by convolving a (Gaussian) representation of the energy distribution of the laser pulse with an impulse function for the satellite reflector array (LRA). Previously both Degnan and Neubert have derived analytical impulse functions applicable to the spherical laser satellites and which give relative reflectivity as a function of distance from the surface of LAGEOS. We use here the impulse function of Neubert (1996). The resulting distribution represents the probability density function (pdf) of the returning pulse from the satellite. We can then statistically sample from this pdf, modelling both the efficiency of the detector and the return energy (single or multi-photon), and further convolve with a model of the detector and timing system response. In practice, we use the range-distribution of measurements to a system's calibration target to represent the whole-system response to a flat target. The mean value of this response, computed according to the station's standard practice, is the system's origin. About this origin we then convolve the system response with the satellite impulse, obtaining a model of the expected distribution of range measurements obtained at single-photon return levels, as a function of distance from the surface of LAGEOS. If we now process this model to obtain the mean value, using the same rejection criteria as employed at the station when forming normal points, we obtain an estimate of the mean value of the CoM correction appropriate to that system.

This analysis has been carried out for two systems employing compensated SPADS, namely Herstmonceux, UK, and Koganei, Japan which use similar observing strategies. Herstmonceux  works strictly at a single-photon level of return for all satellites, while Koganei attempts to keep the return rate reasonably low. The results of the analysis suggest that for the Herstmonceux system a CoM correction of 240 mm is appropriate, while for Koganei a value of 246 mm is indicated. Uncertainties in these values are estimated to be at a level of about +/- 2 mm.

The distributions of range residuals in histogram form and our empirical models are shown in Figure 1. The long 'tail' in the model distributions is characteristic of the SPAD response. Apparent in the distributions of range residuals are the different clipping levels employed by the systems which cause the truncation in the data with respect to the models.

Figure 1. Comparison of data distribution with single-photon empirical model.

The same analysis has been carried out using calibration and LAGEOS range data from Graz, Austria.  The system employs a compensated SPAD detector working at a multi-photon level of return, and employs a tighter clipping level than the other two stations. The result, as shown in Figure 2, is a more symmetrical distribution of range residuals, and as expected a poorer agreement of the single-photon model. More work is required to model properly this scenario, which suggests that a higher CoM value is appropriate.

Figure 2. Comparison of Graz data distribution with single-photon empirical model.

Presentation of Results.

Much of the work carried out by members of the Working Group was presented during the Colloquium on SLR-System Calibration Issues held in conjunction with the EOS/SPIE Symposium on Remote Sensing in Florence on 20-24 September 1999. The following presentations were made:

- Mark Torrence - GM determination from multi-satellite analysis, and subsequent CoM deductions;

- Graham Appleby - Single photon model for LAGEOS;

- Reinhart Neubert - Data clipping and return energy effects + a model for the T/P array;

- Toshimichi Otsubo - AJISAI and GLONASS array functions and systematic effects;

- Van Husson - Signatures in GLONASS range data;

- Francois Barlier - Signatures in GLONASS range data;

- Andrew Sinclair (written report) - Statistics to measure systems' stability;

- Pippo Bianco - Probable observational evidence of LAGEOS rotation by MLRO observations;

- Stefan Riepl - Turbulence effects in SLR data.

Several of the presentations related to the signature effects of the large, planar arrays on the GLONASS spacecraft. Both Husson and Barlier presented observational evidence of systematic 'bias-type' effects in range residuals which increase as a function of satellite elevation. Otsubo presented a novel explanation for the observed effects, pointing out that SLR systems that work at high return levels will tend to measure from the edge of the array, whilst those working at low return levels will obtain reflections from all parts of the visible array. The systematic difference in the range measurements from these two types of system can amount to a relative 'bias' of up to 15cm, this mechanism possibly explaining the reported radial offset between laser range measurements and microwave-based orbits for the GLONASS satellites.

The last two presentations related to interesting spin-off applications from studies of satellite signature effects. The results presented by Bianco on work carried out with R. Devoti, V. Luceri and M. Seldon were obtained from analyses of range residuals from LAGEOS-2. The detection of signature-induced modulation of the residuals was used to infer a rotation rate of the satellite of about 11 seconds. This technique has been successfully employed by Otsubo et al in the determination of a time-series of rotation rate values for the Japanese geodetic satellite AJISAI.

Riepl investigated the presence of range residuals 'ahead' of the modelled leading edge, which are evident in Figure 1 and more clearly seen in the corresponding results from AJISAI investigations. This slight misfit can be explained by scintillations in the received signal strength induced by atmospheric turbulence. Due to signal-strength statistics we cannot exclude the possibility that a SPAD-detector, operated on average at say 10% return rate, is detecting a few returns up to the level of 100 photons. Modelling this effect in conjunction with a time walk model for the SPAD we find that the maximum peak shift of the resulting signature for AJISAI is about 1cm.

Recommendations

From discussions during the colloquium we make the following recommendations to other ILRS Working Groups:

- For some current satellites (including GLONASS, ETALON, Starlette), this Working Group needs better information on array characteristics and configuration (to Missions W/G);

- For all future missions, this Working Group must have access to pre-launch detailed information on composition and 3-D configuration of elements of the LRA. (to Missions W/G);

- That each Site/System Log File include 'standard practice' information (detector, return energy, data clipping) (to Networks and Engineering W/G)

Future Work.

Detailed information on the location and characteristics of the elements of the GLONASS and ETALON LRA has been provided by the Russian Space Agency, thanks to the efforts of H. Kunimori on behalf of the Missions Working Group. This will enable more precise modelling work for these two classes of satellites.

Impulse functions for most of the spherical satellites will be computed by Neubert and Otsubo.

Models will be developed for multi-photon systems (MCP and SPAD).

References

Kirchner, G, Koidl, F. Automatic SPAD time walk compensation, proc. Tenth Int. Workshop on Laser Ranging Instrumentation, pp 293-296. Fumin Y, Wanzhen, C, eds, Shanghai, 1996.

Neubert, R. An analytical model of satellite signature effects, proc Ninth Int. Workshop on Laser Ranging Instrumentation, pp 82-91. Luck, J McK, ed, Canberra, 1996.

Otsubo, T.,  Amagai, J., Kunimori, H. The centre-of-mass correction of the geodetic satellite AJISAI for single-photon laser ranging, IEEE Trans. on Geoscience and Remote Sensing, Vol 37, No. 4, pp 2011-2018, 1999.

Otsubo, T., Amagai, J., Kunimori, H, Elphick, M. Spin motion of AJISAI satellite derived from spectral analysis of laser ranging data. Accepted for publication in IEEE Trans. on Geoscience and Remote Sensing.

Sinclair, A.T, Neubert, R., Appleby, G.M. The LAGEOS centre of mass correction for different detection techniques, proc Annual EUROLAS meeting, pp 31-36, Sinclair, A.T., ed, Royal Greenwich Observatory, 1995.