Project Definition Form

Project Name:

Building Address:

All Facility/Procedure Related Contacts:

(Names, organization, title, contact information)

(I.A)	Goals of the Analysis:

(I.B)	Questions to Be Answered:

(I.C)	Facility Definition and Boundaries:

(I.D)	Analysis Tier (Tier 1 or Tier 2):

(I.E)	Desired Accuracy of Results:

(±____%, or other criteria)

(I.F)	Estimated Budget For Performance Analysis:

(I.G)	Dates of:

Site visits:

Monitoring period:

(I.H)	Basic Building Data:

Building description:

(Floor plan, gross area, floors, space uses, typical occupancy patterns)

Principal Building Function(s):

Principal building types are classified according to the commercial activities, which are types of business, commerce, or function carried on within each building (based on EIA 2003).

Indicate percent floor area for all that apply:

|  | Education |  | Health Care |  | Office |  | Religious Worship |  | Parking |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Food Sales |  | Lodging |  | Public Assembly |  | Other Service |  | Other |
|  | Food Service |  | Mercantile |  | Public Order and Safety |  | Warehouse and Storage |  | Vacant |

Equipment Specifications:

(For all major energy-using equipment at the facility: number, sizes, models, energy ratings, etc.)

Utility Company(s) and Rate Schedule(s):

(Attach to this form)

All relevant Building Drawings: (e.g., floor plans, elevations, electrical panel layouts, lighting plans, HVAC plans, plumbing plans, outdoor lighting plans)

(Obtain at this time)

(I.I)	 Pre-Existing Performance Data

(Obtain at this time)

| Measurement Planning Form (Tier 1) |
| --- |
| Item | Performance Metric | Necessary Data | Point of Measurement or Source of Data | Measurement Frequency | Measurement Equipment |
|  |  |  |  |  | Device(s) | Quantity |
| 1 | Gross Interior Floor Area |  |  | One Time | N/A | N/A |
| 2 | Functional Area |  |  | One Time | N/A | N/A |
| 3 | Total Facility Energy Use |  |  | Monthly |  |  |
| 4 | Facility Energy Production |  |  | Monthly |  |  |
| 5 | Net Facility Energy Use |  |  | Monthly |  |  |
| 6 | Net Facility Electrical Demand1 |  |  | Monthly |  |  |
| 7 | Net Facility Purchased Energy Cost |  |  | Monthly |  |  |
| 8 | Net Facility Load Factor |  |  | Monthly |  |  |
| 9 | Indoor Zone Temperature |  |  | Monthly |  |  |
| 10 | Outdoor Ambient Temperature (also HDD and CDD) |  |  | Monthly |  |  |

1 If there is no on-site electricity generation or electricity from co-generation equipment, the Net Facility Electrical Demand becomes the Total Facility Electrical Demand.

| Measurement Planning Form (Tier 2) |
| --- |
| Item | Performance Metric | Necessary Data | Point of Measurement or Source of Data | Measurement Frequency | Measurement Equipment |
|  |  |  |  |  | Device(s) | Quantity |
| 1 | Gross Interior Floor Area |  |  | One time | N/A | N/A |
| 2 | Functional Area |  |  | One time | N/A | N/A |
| 3 | Installed Lighting Energy Use |  |  | Time series |  |  |
| 4 | Plug-In Lighting Energy Use |  |  | (See Section 6.5.1) |  |  |
| 5 | Facade Lighting Energy Use |  |  | Time series |  |  |
| 6 | Building Lighting Energy Use |  |  | Time series |  |  |
| 7 | Heating Energy Use |  |  | Time series |  |  |
| 8 | Cooling Energy Use |  |  | Time series |  |  |
| 9 | Air Distribution Energy Use |  |  | Time series |  |  |
| 10 | Cold Storage Transfer |  |  | Time series |  |  |
| 11 | Other HVAC Energy Use |  |  | Time series |  |  |
| 12 | HVAC Energy Use |  |  | Time series |  |  |
| 13 | DHW Energy Use |  |  | Time series |  |  |
| 14 | DHW Load |  |  | Time series |  |  |
| 15 | DHW System Efficiency | Use items 13, 14 | N/A | Monthly | N/A | N/A |
| 16 | Plug Loads Energy Use |  |  | Time series |  |  |
| 17 | People-Mover Energy Use |  |  | Time series |  |  |
| 18 | Other Building Energy Use |  |  | Time series |  |  |
| 19 | Building Energy Use |  |  | Time series |  |  |
| 20 | Building Energy Use Intensity | Use items 2, 19 | N/A | Annual | N/A | N/A |
| 21 | Building Purchased Energy Cost |  | Utility Bills | Monthly | N/A | N/A |
| 22 | Building Purchased Energy Cost Intensity | Use items 2, 21 | N/A | Annual | N/A | N/A |
| 23 | Building Electrical Demand | Use item 19 | N/A | Monthly | N/A | N/A |
| 24 | Building Electrical Demand Intensity | Use items 2, 23 | N/A | Monthly | N/A | N/A |
| 25 | Process Energy Use |  |  | Time series |  |  |
| 26 | Outdoor Energy Use |  |  | Time series |  |  |
| 27 | Cogeneration Fuel Use |  |  | Time series |  |  |
| 28 | Cogeneration Electrical Energy Output |  |  | Time series |  |  |
| 29 | Cogeneration Thermal Energy Output |  |  | Time series |  |  |
| 30 | Cogeneration Losses | Use items 27, 28, 29 | N/A | Time series | N/A | N/A |
| 31 | PV Energy Production |  |  | Time series |  |  |
| 32 | Wind Energy Production |  |  | Time series |  |  |
| 33 | Other Facility Electrical Energy Production |  |  | Time series |  |  |
| 34 | Electrical Generation System Losses |  |  | Time series |  |  |
| 35 | Thermal Energy Production |  |  | Time series |  |  |
| 36 | Produced Energy Storage Transfer |  |  | Time series |  |  |
| 37 | Facility Energy Production |  |  | Time series |  |  |
| 38 | Total Facility Energy Use |  |  | Time series |  |  |
| 39 | Net Facility Energy Use |  |  | Time series |  |  |
| 40 | Net Facility Purchased Energy Cost |  | Utility Bills | Monthly | N/A | N/A |
| 41 | Total Facility Electrical Demand | Use item 38 | N/A | Monthly | N/A | N/A |
| 42 | Net Facility Electrical Demand | Use item 39 | N/A | Monthly | N/A | N/A |
| 43 | Net Facility Load Factor | Use items 39, 42 | N/A | Monthly | N/A | N/A |
| 44 | Indoor Zone Temperature |  |  | Time series |  |  |
| 45 | Outdoor Ambient Temperature (also HDD and CDD) |  |  | Time series |  |  |

| Monthly and Annual Metrics (Tier 1) |
| --- |
| Metric | Units | Month | Annual |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |
| Total Facility Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Purchased Energy Cost |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility Energy Production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Electrical Demand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Indoor Zone Temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outdoor Ambient Temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Heating Degree Days (base 65°F) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling Degree Days (base ___°F) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Monthly and Annual Metrics (Tier 2) |
| --- |
| Metric | Units | Month | Annual |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |
| Gross Interior Floor Area |  |  |  |
| Functional Area |  |  |  |
| Installed Lighting Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Plug-In Lighting Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facade Lighting Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Lighting Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Heating Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cooling Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Air Distribution Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold Storage Transfer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other HVAC Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HVAC Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DHW Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DHW Load |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DHW System Efficiency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Plug Loads Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| People-Mover Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Building Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Energy Use Intensity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Purchased Energy Cost |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Purchased Energy Cost Intensity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Electrical Demand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Building Electrical Demand Intensity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Process Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outdoor Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cogeneration Fuel Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cogeneration Electrical Energy Output |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cogeneration Thermal Energy Output |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cogeneration Losses |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PV Energy Production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Wind Energy Production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Facility Electrical Energy Production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical Generation System Losses |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Thermal Energy Production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Produced Energy Storage Transfer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Facility Energy Production |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Facility Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Purchased Energy Cost |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Facility Electrical Demand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Electrical Demand |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Net Facility Load Factor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Indoor Zone Temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Outdoor Ambient Temperature (also HDD and CDD) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |