Topic List:

- Ski Run Stormfilter Vault Report – Nicole Beck

- Ground Water Nutrient Loading to Nearshore – Jim Thomas

- Preview of Water Quality Project Inventory – Chad Praul

Topic Summaries:

Ski Run Stormfilter Vault Report – Nicole Beck

The Stormfilter system is comprised of 50 perlite / zeolite filter cartridges enclosed in a concrete vault located at Ski Run marina in South Lake Tahoe.  2nd Nature Inc was contracted to provide data analysis and a final report in 2004.  The first observation from the data was that the vault was retaining a small portion of the flow volume in the cartridge bay.  2nd Nature also noted that lab results indicated that a couple of the traditionally dissolved analyses were performed on samples that were never filtered.  This underscored the importance of clear communication with lab staff on analysis techniques and proper communication with labs as some have different protocols and guidelines for analysis depending on what the sample is looking for.  For these reasons most data gathered in Lake Tahoe is incomparable to one another because of inconsistencies in analysis.  This also highlights the need for standardization of protocols and a fluid, consistent method for analysis.  However, constituents in this study are still valid in calculating removal effectiveness of the vault because they were consistently analyzed within the study.

Results showed that TSS removal effectiveness averaged 60% (except for the first two events after installation) and TP removal effectiveness averaged 44%.  The results showed lower effectiveness levels for dissolved nutrients- ranging from 37% to -32%.  Given the 18% load reduction due solely to volume retention, these numbers were not inspiring to the analysis team, but acceptable.  Field personnel suspect that negative efficiencies for Nitrite arise from chemical reactions taking place in the stagnant water retained between events.  2nd Nature made several recommendations including use of pre-project monitoring whenever feasible, reducing volume retained between events through proper installation and post-construction cleaning of vaults.  Contact Russ Wigart rwigart@ci.south-lake-tahoe.ca.us or Nicole Beck nbeck@2ndnatureinc.com for additional information. (Provided by Russ Wigart)

Ground Water Nutrient Loading to Nearshore – Jim Thomas

Jim presented a pilot study that was intended to design a method for determining the flux of groundwater and its nutrient load to the lake.  This work is important because previous estimates have been made by calculating the difference between the water inputs and outflows of the lake.  The team also evaluated the nutrient load from one area of the lake that had significant turbidity (and chlorophyll) but no significant surface water inflow.  The team drilled a series of groundwater wells in the Kings Beach area and used them to calculate nutrient loads from this area.  They concluded that their method provided an adequate method for determining the GW nutrient loads and calculated nutrient loading values (for Kings Beach) of TN=850 kg/yr. and TP=31 kg/yr.  Their research further noted that the GW nitrogen comes from naturally occurring organic matter, not from atmospheric inputs or synthetic fertilizer.

Jim also briefly mentioned additional work he is producing in collaboration with Alan Heyvaert and Phil Bachand.  The team is characterizing the sorption capabilities of Tahoe soils, below infiltration basins.  This research should provide additional information about the movement rates of phosphorous fronts towards the lake and into ground water.  The LTIMP Chair will invite the research team for a complete presentation at an upcoming meeting.  For additional information contact jthomas@dri.edu.

Preview of the Water Quality Project Inventory – Chad Praul

The Inventory has been a collaborative effort between the TMDL, NTCD, USFS, and NDEP that intends to provide a system to inventory all water quality projects completed at Lake Tahoe.  This system is composed of a Microsoft Access database and ArcView GIS map, linked by a custom VBA script.  The Inventory currently contains 132 projects comprised of about 1080 BMPs.

The database can be analyzed to total BMPs for the whole Basin, by State, by year of implementation, or by Implementer. An example of the results available from the database: Nevada has installed 3 times more stormwater vaults than California, while California has 11 times more stormwater basin volume than Nevada.  These differences may illustrate differences in terrain or differences in treatment strategies.

The GIS shows size and location of projects (not individual BMPs) and can also illustrate interesting facts about current implementation.  The project areas can be added to estimate that 5% of the Lake Tahoe watershed area has been “treated,” 46% of roads have been “treated,” and 42% of urban area has been “treated.”  The GIS can also calculate these values for each of the 64 priority watersheds that drain to the lake.

The Inventory has taken data stored in many formats/locations and converted it into easily accessible knowledge for Basin management.  It can be used for modeling the effects of BMPs on our watershed, as a guide to maintenance of stormwater infrastructure and to report progress of programs like the EIP.

The Inventory is designed to be used by non-technical users and is available for download at www.ntcd.org/documents.htm.  The downloaded .exe file will place all required data files in the appropriate folders of your computer, however the Inventory requires users to have Microsoft Access and ArcView 9 to run.   Comments on data quality and data gaps are welcome.  Please contact cpraul@ntcd.org.

In Attendance:

Nancy Alvarez, USGS*

Nicole Beck, 2nd Nature

Robert Erlich, Lahontan

Mark Gookin, Wood Rodgers

Jenna Greene, USGS

Melanie Greene, Parsons

Christine Kirick, K/J Consultants

Alfred Knotts, EDOT

Kevin Murphy, Sac. State

Chad Praul, NTCD*

Jenifer Quickel, EDOT*

Andy Smith, WET Lab*

Carl Thodal, USGS

Jim Thomas, DRI

Adrian Tieslau, Tieslau Enginering

Matt Vitale, NTCD*

Next Agenda:

# Text boxes

Total: 16 people, 12 affiliations

The next meeting will take place in the TRPA conference rooms on Wednesday August 3, 2005 at 9 AM.  Meetings are normally held on the first Wednesday morning of every month.

- Overviw of nationwide river restoration study by NRRSS – Matt Kondolf

- Sediment source control tests using a physical rain simulator – Mark Grismer

*subject to change – Please send agenda suggestions to cpraul@ntcd.org

Key Announcements:

- Water Quality Project Inventory available at www.ntcd.org/documents.htm