## CommlRefrig
Equipment Types to Investigate |  | Installed Base, Thousands, 1997 | Equipment Lifetime (yrs) | Reference 1 Annual Primary Energy Use | Annual Primary Energy Use (Quads) | Device Annual Primary Energy Use (Current), MMBtu | Device Annual Energy Use (Current), KWH | Typical New Annual Energy Use, MMBtu | Typical New Annual Energy Use, KWH | Savings of Best Available, Relative to Stock | Best Available Annual Energy Use, MMBtu | Best Available Energy Savings, Quads | Best Available Energy Savings, Quads (2008-2030) | Future Technologies Energy Savings Potential, % | Annual Energy Use (Future Technologies), MMBtu | Future Technologies Energy Savings, Quads | Future Technologies Energy Savings, Quads (2008-2030) | Current Market Share of Technology | Energy Test Standards | Any Mandatory or Voluntary Programs? | Study Needs | Issues around Implementing Technology for C&S | Information | Source
Supermarket |  | 30 | 20 | 0.326 | 0.32873 | 10957.6639 | 999969.3261 |  | 999969.3261 |  |  | 0.03 | 0.36 | [5 empty] | CSA C657 (Display Cabinets) |  | Refine understanding of current situation and savings potential | System Complexity and Variations | Installed Base (30,000), Current Energy Use | Reference 1
1 | Brushless DC Evaporator Fan Motors | [14 empty] | 0.025833 | 0.31 |  | Various ASHRAE and ARI Standards for condensing unit performance and energy |  |  | Field Installation Variations | Installed Base (29,000) | Reference 3, Table 8, All Food Sales Buildings minus Food Sales Buildings up to 5000sqft
2 | Combination: Hot Gas Defrost, Antisweat Heater Control, Defrost Control, Liquid-Suction Heat Exchangers for Low Temperature applications, Evaporative Condensers, Floating Head Pressure, Heat Reclaim, and Mechanical Subcooling | [14 empty] | 0.023 | 0.276 | [5 empty] | Annual Quad Savings, Technology 1 | Reference 1, p. 1-5
[23 empty] | Annual Quad Savings, Technology 2 | Reference 1, pp. 1-4,5
Walk-in Cooler |  | 540 | 20 | 0.095065 | 0.095861 |  | 16200 |  | 16200 |  |  |  | 0 | [5 empty] | Various ASHRAE and ARI Standards for condensing unit performance and energy |  | Refine understanding of current situation and savings potential | Field Installation Variations | Installed Base, Current Energy Use | Reference 1
1 | Combination: Floating Head Pressure, Ambient Subcooling, Evaporator Fan Shutdown, Brushless DC Evaporator and Condenser Fan Motors | [12 empty] | 32% |  | 0.030675 | 0.3681 | [5 empty] | Percent Energy Savings | Reference 1, Table 5-23, row 13
Walk-in Freezer |  | 275 | 20 | 0.063952 | 0.064488 |  | 21400 |  | 21400 |  |  |  | 0 | [5 empty] | Various ASHRAE and ARI Standards for condensing unit performance and energy |  | Refine understanding of current situation and savings potential |  | Installed Base, Current Energy Use | Reference 1
1 | Combination: External Heat Rejection, Hot Gas Defrost, Evaporator Fan Shutdown, Brushless DC Evaporator and Condenser Fan Motors | [12 empty] | 33% |  | 0.021281 | 0.25537 | [5 empty] | Percent Energy Savings | Reference 1. Table 5-24, Row 13
Walk-in Combo (Cooler/Freezer) |  | 65 | 20 | 0.021332 | 0.021511 |  | 30200 |  | 30200 |  |  |  | 0 | [5 empty] | Various ASHRAE and ARI Standards for condensing unit performance and energy |  | Refine understanding of current situation and savings potential |  | Installed Base, Current Energy Use | Reference 1
1 | Combination: External Heat Rejection, Hot Gas Defrost, Evaporator Fan Shutdown, Brushless DC Evaporator and Condenser Fan Motors | [12 empty] | 33% |  | 0.0070985 | 0.085182 | [5 empty] | Percent Energy Savings | Assume same savings as Walk-In Freezers
Vending Machines |  | 4100 | 20 | 0.134 | 0.13512 |  | 3032.7241 |  | 3032.7241 |  |  |  | 0 | [5 empty] | CSA C804 | California and Canada Mandatory proposed |  |  | Installed Base, Current Energy Use | Reference 1
1 | Combination: High-Efficiency Compressor and Brushless DC Evaporator Fan Motor | [12 empty] | 28% |  | 0.037834 | 0.45401 |  | ASHRAE 32.1 | Energy Star Under Consideration |  |  | Percent Energy Savings | Reference 1. Table 5-21, Row 11
Beverage Merchandisers |  | 800 | 20 | 0.052 | 0.052435 |  | 6031.4998 |  | 6031.4998 |  |  |  | 0 | [5 empty] | California treats as Glass-Door Reach-In, Applicable Standard ASHRAE 117-92 | California Mandatory proposed |  |  | Installed Base, Current Energy Use | Reference 1
1 | Combination: High-Efficiency Compressor and Brushless DC Evaporator Fan Motor | [12 empty] | 35% |  | 0.018352 | 0.22023 | [5 empty] | Percent Energy Savings | Reference 1. Table 5-17, Row 12
Reach-in Refrigerators |  | 1300 | 20 | 0.054 | 0.054452 |  | 3854.4496 |  | 3854.4496 |  |  |  | 0 | [5 empty] | CSA C827 | California and Canada Mandatory proposed |  |  | Installed Base, Current Energy Use | Reference 1
1 | Combination: Hot Gas Antisweat, High Efficiency Compressor, Brushless DC Evaporator and Condenser Fan Motors | [12 empty] | 44% |  | 0.023959 | 0.28751 |  | ASHRAE 117-92 | Energy Star |  |  | Percent Energy Savings, Technology 1 | Reference 1. Table 5-19, Row 10
2 | Combination: Improved Face Frame Design, Improved Gasket, Reduced Antisweat Heater Wattage, Condensate Line Trap, Brushless DC Evaporator Fan Motor, PSC Condenser Fan Motor, Evaporator Fan Shutdown, Refrigeration System Optimization. | [12 empty] | 67% |  | 0.036483 | 0.4378 | [5 empty] | Percent Energy Savings, Technology 2 | Reference 18
3 | Energy Star | [12 empty] | 29% |  | 0.015791 | 0.18949 | [5 empty] | Percent Energy Savings, Energy Star | Reduction in ASHRAE 117 Energy use from 9kWh/day (Reference 18) to 6.39kWh/day for 43.5 cuft unit
Reach-in Freezers |  | 800 | 20 | 0.065 | 0.065544 |  | 7539.3748 |  | 7539.3748 |  |  |  | 0 | [5 empty] | CSA C827 | California and Canada Mandatory proposed |  |  | Installed Base, Current Energy Use | Reference 1
1 | Combination: Hot Gas Antisweat, High Efficiency Compressor, Brushless DC Evaporator and Condenser Fan Motors | [12 empty] | 35% |  | 0.022941 | 0.27529 |  | ASHRAE 117-92 | Energy Star |  |  | Percent Energy Savings, Technology 1 | Reference 1. Table 5-18, Row 13
Ice Machines |  | 1200 | 20 | 0.102 | 0.10285 |  | 7887.3459 |  | 7887.3459 |  |  |  | 0 | [5 empty] | CSA C742 | Canada Mandatory |  | Product Variations | Installed Base, Current Energy Use | Reference 1
1 | Combination: High Efficiency Compressor, Reduced Evaporator Thermal Cycling | [12 empty] | 10% |  | 0.010285 | 0.12342 |  | ARI 810 | FEMP Voluntary |  |  | Percent Energy Savings, Technology 1 | Reference 1. Table 1-8, Combination of options with payback < 2 years.
2 | FEMP Recommended | [12 empty] | 9% |  | 0.0092569 | 0.11108 | [5 empty] | Percent Energy Savings, FEMP | Based on ARI average consumption for air-cooled ice makers with 401 to 500 lb/day capacity (7.05 kWh/100lb) and water-cooled ice makers with 301 to 500lb/day capacity (5.62kWh/100lb) compared with FEMP recommended and “best available” data for these ranges.
3 | FEMP Best Available | [12 empty] | 17% |  | 0.017485 | 0.20982
Water Coolers |  | 6030 | 10 |  | 0.043049 |  | 656.9601 |  | 656.9601 |  |  |  | 0 | [5 empty] | ASHRAE 18-87 (R97) | Canada Mandatory Proposed |  |  | Installed Base, Current Energy Use | Reference 2, Table 4-20
1 | Combination: High Insulation Value, Energy Efficient Compressors, Better Thermal Bond between coil and evaporator, Improved Motor Efficiency, and Storage Coil Redesign | [12 empty] | 35% |  | 0.015067 | 0.25614 |  | CSA C815-99 | Energy Star |  |  | Percent Energy Savings, Technology 1 | Reference 2, Table 5-28
2 | Energy Star | [12 empty] | 33.33% |  | 0.014348 | 0.24392 |  | Energy Star |  |  |  | Percent Energy Savings, Energy Star | Energy Star Website (1.2 kWh per day for Hot/Cold units)
Note on C5: Number of Supermarkets
Note on J5: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J9: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J11: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J13: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J15: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J17: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J19: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J23: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J25: ADL: Small difference expected relative to installed base; sssumed same as typical new
Note on J29: ADL: Small difference expected relative to installed base; sssumed same as typical new

## References
Reference
1. “Energy Savings Potential for Commercial Refrigeration Equipment”, ADL for DOE, June 1996
2. “Characterization of Commercial Appliances”, ADL for DOE, June 1993
3. “A Look at Commercial Buildings in 1995: Characteristics, Energy Consumption, and Energy Expenditures”, DOE Energy Information Administration, October 1998.
4. EPA Energy Star Website (www.EnergyStar.gov).
5. California Energy Commission Website (www.energy.ca.gov/appliances, www.energy.ca.gov/efficiency/appliances/index.html)
6. Air-Conditioning and Refrigeration Institute Website (www.ari.org)
7. Spreadsheet “ccap-w3.xls” received from EPA.
8. Database of Ice Machine data received from ARI.
9. MA333M (formerly MA35M) Report of Air-Conditioning and Refrigeration Equipment, U.S. Census Bureau.
10. Appliance Magazine Statistical Review, published in April issues of the magazine, and Portrait of the U.S. Appliance Industry, published in September issues.
11. Guide to Canada’s Energy Efficiency Regulations, National Resources Canada, Office of Energy Efficiency, 1999.
12. C827-98: Energy Performance Standard for Food Service Refrigerators and Freezers, Canadian Standards Association, September 1998
13. C742-98: Performance of Automatic Ice-Makers and Ice Storage Bins, Canadian Standards Association, September 1998
14. C815-99: Energy Performance of Drinking Water Coolers, Canadian Standards Association, December 1999
15. FEMP Website - www.eren.doe.gov/femp/procurement/begin.html
16. Spreadsheet “vending data.xls” received from EPA
17. CAN/CSA-C804-96: Energy Performance of Vending Machines, Canadian Standards Association, December 1996
18. Application of Best Industry Practice to the Design of Efficient Commercial Refrigerators, ADL project funded by DOE, currently ongoing.