Minimum Efficiency Standards in the Residential Sector

This file summarizes the minimum efficiency standards now in force for residential equipment.  The end-uses covered include space conditioning, water heaters, refrigerators, freezers, dishwashers, clotheswashers, dryers, ovens, and ranges.

These tables and associated text passages are taken directly from Wenzel, Tom P., Jonathan G. Koomey, Gregory J. Rosenquist, Marla C. Sanchez, and James W. Hanford. 1997. Energy Data Sourcebook for the U.S. Residential Sector. Berkeley, CA: Lawrence Berkeley National Laboratory. LBNL-40297.  September.  Contact Jonathan G. Koomey for questions about this report (JGKoomey@lbl.gov) or go to the web page http://enduse.lbl.gov/Projects/RED.html.

3.6. Standards for space conditioning equipment

Equipment Standards

Efficiency standards for space conditioning equipment were enacted in 1987 under the National Appliance Energy Conservation Act (NAECA).  The date of initial implementation depends upon the type of equipment.  The standards for heating equipment are given in Table 3.22, while those for cooling are given in Table 3.23.  All standards are based on an efficiency (or energy factor) derived from a test procedure.

| Table 3.22. Minimum Efficiency Standards for Residential Heating Equipment (1) |
| --- |
| Database |
| Year | Minimum |
|  | Type | Code | Fuel | Effective (2) | Efficiency (3) |
|  | Heat Pump |
|  | Split System | HP | Elec | 1992 | 6.8 | HSPF |
| Single Package | HP | Elec | 1993 | 6.6 | HSPF |
| Furnace | FRN | Gas | 1992 | 78 | AFUE |
| Furnace | FRN | Oil | 1992 | 78 | AFUE |
| Boiler | H2O | Gas | 1992 | 80 | AFUE |
| Boiler | H2O | Oil | 1992 | 80 | AFUE |
| Direct Heating |
|  | wall heater w/fan |
|  | <42000 Btu/hr | RM | Gas | 1990 | 73 | AFUE |
| >42000 Btu/hr | RM | Gas | 1990 | 74 | AFUE |
| wall heater (gravity) |
|  | <10000 Btu/hr | RM | Gas | 1990 | 59 | AFUE |
| 10-12000 Btu/hr | RM | Gas | 1990 | 60 | AFUE |
| 12-15000 Btu/hr | RM | Gas | 1990 | 61 | AFUE |
| 15-19000 Btu/hr | RM | Gas | 1990 | 62 | AFUE |
| 19-27000 Btu/hr | RM | Gas | 1990 | 63 | AFUE |
| 27-46000 Btu/hr | RM | Gas | 1990 | 64 | AFUE |
| >46000 Btu/hr | RM | Gas | 1990 | 65 | AFUE |
| floor heater |
|  | <37000 Btu/hr | RM | Gas | 1990 | 56 | AFUE |
| >37000 Btu/hr | RM | Gas | 1990 | 57 | AFUE |
| room heater |
|  | <18000 Btu/hr | RM | Gas | 1990 | 57 | AFUE |
| 18-20000 Btu/hr | RM | Gas | 1990 | 58 | AFUE |
| 20-27000 Btu/hr | RM | Gas | 1990 | 63 | AFUE |
| 27-46000 Btu/hr | RM | Gas | 1990 | 64 | AFUE |
| >46000 Btu/hr | RM | Gas | 1990 | 65 | AFUE |
| Shipment-weighted avg (4) |
| 64 | AFUE |

1) All standards levels from NAECA 1987.

2) Effective date is January 1 of year indicated.

3) AFUE is Annual Fuel Utilization Efficiency (%); HSPF is Heating

Season Performance Factor (kBtu/kWh).

4) Shipment-weighted average standard-level for direct heating equipment

based on 1993 shipments (GRI 1994).

Table 3.23.  Minimum Efficiency Standards for Residential Cooling Equipment (1)

|  | Database |
| --- | --- |
| Year | Minimum |
|  | Type | Code | Fuel | Effective (2) | Efficiency (3) |
|  | Central Air Conditioner |
|  | Split System | CAC | Elec | 1992 | 10.0 | SEER |
| Single Package | CAC | Elec | 1993 | 9.7 | SEER |
| Heat Pump |
|  | Split System | HP | Elec | 1992 | 10.0 | SEER |
| Single Package | HP | Elec | 1993 | 9.7 | SEER |
| Room Air Conditioner |
|  | w/o reverse cycle and w/louvers |
|  | <6000 Btu/hr | RAC | Elec | 1990 | 8.0 | EER |
| 6000-7999 Btu/hr | RAC | Elec | 1990 | 8.5 | EER |
| 8000-13999 Btu/hr | RAC | Elec | 1990 | 9.0 | EER |
| 14000-19999 Btu/hr | RAC | Elec | 1990 | 8.8 | EER |
| >20000 Btu/hr | RAC | Elec | 1990 | 8.2 | EER |
| w/o reverse cycle and w/o louvers |
|  | <6000 Btu/hr | RAC | Elec | 1990 | 8.0 | EER |
| 6000-7999 Btu/hr | RAC | Elec | 1990 | 8.5 | EER |
| 8000-13999 Btu/hr | RAC | Elec | 1990 | 8.5 | EER |
| 14000-19999 Btu/hr | RAC | Elec | 1990 | 8.5 | EER |
| >20000 Btu/hr | RAC | Elec | 1990 | 8.2 | EER |
| w/reverse cycle and w/louvers | RAC | Elec | 1990 | 8.5 | EER |
| w/reverse cycle and w/o louvers | RAC | Elec | 1990 | 8.0 | EER |
| Shipment-weighted average standard (4) |
| 8.5 | EER |
| Room Air Conditioner |
|  | w/o reverse cycle and w/louvers |
|  | <6000 Btu/hr | RAC | Elec | 2000 | 9.7 | EER |
| 6000-7999 Btu/hr | RAC | Elec | 2000 | 9.7 | EER |
| 8000-13999 Btu/hr | RAC | Elec | 2000 | 9.8 | EER |
| 14000-19999 Btu/hr | RAC | Elec | 2000 | 9.7 | EER |
| >20000 Btu/hr | RAC | Elec | 2000 | 8.5 | EER |
| w/o reverse cycle and w/o louvers |
|  | <6000 Btu/hr | RAC | Elec | 2000 | 9.0 | EER |
| 6000-7999 Btu/hr | RAC | Elec | 2000 | 9.0 | EER |
| 8000-13999 Btu/hr | RAC | Elec | 2000 | 8.5 | EER |
| 14000-19999 Btu/hr | RAC | Elec | 2000 | 8.5 | EER |
| >20000 Btu/hr | RAC | Elec | 2000 | 8.5 | EER |
| w/reverse cycle and w/louvers |
|  | <20000 Btu/hr | RAC | Elec | 2000 | 9.0 | EER |
| >20000 Btu/hr | RAC | Elec | 2000 | 8.5 | EER |
| w/reverse cycle and w/o louvers |
|  | <14000 Btu/hr | RAC | Elec | 2000 | 8.5 | EER |
| >14000 Btu/hr | RAC | Elec | 2000 | 8.0 | EER |
| casement-only | RAC | Elec | 2000 | 8.7 | EER |
| casement-slider | RAC | Elec | 2000 | 9.5 | EER |

1) All standards levels from NAECA 1987, except for latest room air standards (1997 Final Rulemaking in Federal Register vol. 62, no. 185).

2) Effective date is January 1 of year indicated, except for latest room air standards, which become effective October 1, 2000.

3) SEER is seasonal energy efficiency ratio (kBtu/kWh); EER is energy efficiency ratio (kBtu/kWh).

4) Shipment-weighted average standard based on 1994 shipments (AHAM 1996).

4.5. Standards for water heaters

Efficiency standards for water heaters were enacted in 1987 under the National Appliance Energy Conservation Act (NAECA) and were implemented in 1990.  The standard specifies a minimum energy factor for storage water heaters based on water heater size.  The energy factor is based on the U.S. DOE test procedure mentioned above.  The standard and estimated UECs associated with the standard are shown in Table 4.4.

| Table 4.4. Minimum Efficiency Standards for Residential Storage Water Heaters |
| --- |
| Calculated | Calculated |
|  | Year | Minimum Efficiency | Average | Standard | Standard |
| Fuel | Eff. | Standard Equation | Volume | EF | UEC |
| Gas | 1990 | EF=0.62-(0.0019 * Volume) | 40 gallons | 0.54 | 19.4 MMBtu/yr |
| Oil | 1990 | EF=0.59-(0.0019 * Volume) | 32 gallons | 0.51 | 20.5 MMBtu/yr |
| Electric | 1990 | EF=0.95-(0.00132 * Volume) | 52 gallons | 0.88 | 3510 kWh/yr |

1) Effective date is January 1 of year indicated.

2) Standard level from NAECA 1987.  Volume is rated storage volume in gallons.

3) Average volume is for typical size unit.

4) UEC based on usage of 45.3 gal/day and at 77F temperature rise.

5.5. Standards for Residential Refrigerators

National efficiency standards for refrigerators were enacted under the National Appliance Energy Conservation Act (NAECA) and first implemented in 1990.  The standard specifies a maximum energy use for refrigerators based on the type of refrigerator and the size.  The energy usage is based on the U.S. DOE test procedure.  More stringent standards were implemented in 1993; a third round of national standards will become effective July 1, 2001.  The standard levels are summarized in Table 5.2.

Note that the 2001 standards will result in a near-doubling of the average energy factor under the 1990 standard levels, and a near-tripling of the average energy factor in 1980 (Figure 5.2).  In other words, the average energy consumption of new units will have been reduced by nearly two-thirds over a twenty-year period.

Table 5.2.  Minimum Efficiency Standards for Residential Refrigerators

|  | Year |
| --- | --- |
|  | Average |
| Calc. | Fraction |
| Eff. |
|  | Capacity |
| Calculated |
| EF | of |
|  | Type | (1) | Maximum UEC Equation (2) |
| (Adj. Vol.) (3) |
| UEC |
| (4) | Sales (5) |
|  | MND | 1990 | UEC= | 16.3 | * Capacity + | 316 | 5.0 | cuft | 398 | kWh/yr | 4.60 | 4.7% |
|  | PAD | 1990 | UEC= | 21.8 | * Capacity + | 429 | 14.6 | cuft | 747 | kWh/yr | 7.13 | 5.6% |
|  | TAD | 1990 | UEC= | 23.5 | * Capacity + | 471 | 20.6 | cuft | 956 | kWh/yr | 7.88 | 72.9% |
|  | SAD | 1990 | UEC= | 27.7 | * Capacity + | 488 | 27.2 | cuft | 1243 | kWh/yr | 8.00 | 6.2% |
|  | BAD | 1990 | UEC= | 27.7 | * Capacity + | 488 | 27.2 | cuft | 1243 | kWh/yr | 8.00 | 2.5% |
|  | TADI | 1990 | UEC= | 26.4 | * Capacity + | 535 | 20.6 | cuft | 1079 | kWh/yr | 6.97 | 0.7% |
|  | SADI | 1990 | UEC= | 30.9 | * Capacity + | 547 | 27.2 | cuft | 1389 | kWh/yr | 7.16 | 7.4% |
|  | Average (6) | 1990 | n/a |
| 20.6 | cuft | 976 | kWh/yr | 7.71 | 100.0% |
|  | MND | 1993 | UEC= | 13.5 | * Capacity + | 299 | 3.6 | cuft | 348 | kWh/yr | 3.78 | 13.0% |
|  | PAD | 1993 | UEC= | 10.4 | * Capacity + | 398 | 14.6 | cuft | 550 | kWh/yr | 9.69 | 0.0% |
|  | TAD | 1993 | UEC= | 16.0 | * Capacity + | 355 | 20.7 | cuft | 686 | kWh/yr | 11.01 | 66.4% |
|  | SAD | 1993 | UEC= | 11.8 | * Capacity + | 501 | 27.5 | cuft | 826 | kWh/yr | 12.16 | 8.0% |
|  | BAD | 1993 | UEC= | 16.5 | * Capacity + | 367 | 27.5 | cuft | 821 | kWh/yr | 12.23 | 1.1% |
|  | TADI | 1993 | UEC= | 17.6 | * Capacity + | 391 | 20.7 | cuft | 755 | kWh/yr | 10.00 | 1.2% |
|  | SADI | 1993 | UEC= | 16.3 | * Capacity + | 527 | 27.5 | cuft | 975 | kWh/yr | 10.29 | 10.4% |
|  | Average (6) | 1993 | n/a |
| 19.8 | cuft | 686 | kWh/yr | 10.54 | 100.0% |
|  | MND | 2001 | UEC= | 19.9 | * Capacity + | 98 | 3.6 | cuft | 170 | kWh/yr | 7.75 | 13.0% |
|  | PAD | 2001 | UEC= | 10.4 | * Capacity + | 398 | 14.6 | cuft | 550 | kWh/yr | 9.69 | 0.0% |
|  | TAD | 2001 | UEC= | 9.8 | * Capacity + | 276 | 20.7 | cuft | 479 | kWh/yr | 15.78 | 66.4% |
|  | SAD | 2001 | UEC= | 4.9 | * Capacity + | 508 | 27.5 | cuft | 643 | kWh/yr | 15.62 | 8.0% |
|  | BAD | 2001 | UEC= | 4.6 | * Capacity + | 459 | 27.5 | cuft | 586 | kWh/yr | 17.14 | 1.1% |
|  | TADI | 2001 | UEC= | 10.2 | * Capacity + | 356 | 20.7 | cuft | 567 | kWh/yr | 13.32 | 1.2% |
|  | SADI | 2001 | UEC= | 10.1 | * Capacity + | 406 | 27.5 | cuft | 684 | kWh/yr | 14.68 | 10.4% |
|  | Average (6) | 2001 | n/a |
| 19.8 | cuft | 476 | kWh/yr | 15.21 | 100.0% |
|  | Type: |
| MND | Refrigerators and Refrigerator-Freezers with manual defrost |
|  | PAD | Refrigerator-Freezer - partial automatic defrost |
|  | TAD | Refrigerator-Freezers - automatic defrost with: Top-mounted freezer w/o through-the-door ice service |
|  | SAD | Refrigerator-Freezers - automatic defrost with: Side-mounted freezer w/o through-the-door ice service |
|  | BAD | Refrigerator-Freezers - automatic defrost with: Bottom-mounted freezer w/o through-the-door ice service |
|  | TADI | Refrigerator-Freezers - automatic defrost with: Top-mounted freezer w/ through-the-door ice service |
|  | SADI | Refrigerator-Freezers - automatic defrost with: Side-mounted freezer w/ through-the-door ice service |

6.5. Standards for Residential Freezers

Efficiency standards for freezers were enacted under the National Appliance Energy Conservation Act (NAECA) and first implemented in 1990.  The standard specifies a maximum energy use for freezers based on type and size.  The energy usage is based on the U.S. DOE test procedure mentioned above.  More stringent standards were implemented at the start of 1993; a third round of national standards will become effective July 1, 2001.  The standard levels are summarized in Table 6.2.

Table 6.2.  Efficiency Standards for Residential Freezers

| Year |
| --- |
|  | Average |
| Calc. | Fraction |
|  | Eff. |
|  | Capacity |
| Calculated |
| EF | of |
| Type | (1) | Maximum UEC Equation (2) |
| (Adj. Vol.) (3) |
| UEC |
| (4) | Sales (5) |
|  | UPM | 1990 | UEC= | 10.9 | * Capacity + | 422 | 26.3 | cuft | 709 | kWh/yr | 13.55 | 36.6% |
| UAD | 1990 | UEC= | 16.0 | * Capacity + | 623 | 29.4 | cuft | 1093 | kWh/yr | 9.81 | 9.5% |
| CHT | 1990 | UEC= | 14.8 | * Capacity + | 223 | 20.2 | cuft | 522 | kWh/yr | 14.13 | 53.9% |
| Average (6) | 1990 | n/a |
| 23.3 | cuft | 645 | kWh/yr | 13.20 | 100.0% |
|  | UPM | 1993 | UEC= | 10.3 | * Capacity + | 264 | 23.3 | cuft | 504 | kWh/yr | 16.87 | 37.9% |
| UAD | 1993 | UEC= | 14.9 | * Capacity + | 391 | 29.3 | cuft | 828 | kWh/yr | 12.93 | 12.5% |
| CHT | 1993 | UEC= | 11.0 | * Capacity + | 160 | 18.5 | cuft | 364 | kWh/yr | 18.59 | 49.7% |
| Average (6) | 1993 | n/a |
| 21.7 | cuft | 475 | kWh/yr | 16.67 | 100.0% |
|  | UPM | 2001 | UEC= | 7.6 | * Capacity + | 258 | 23.3 | cuft | 434 | kWh/yr | 19.59 | 37.9% |
| UAD | 2001 | UEC= | 12.4 | * Capacity + | 326 | 29.3 | cuft | 691 | kWh/yr | 15.50 | 12.5% |
| CHT | 2001 | UEC= | 9.9 | * Capacity + | 144 | 18.5 | cuft | 327 | kWh/yr | 20.69 | 49.7% |
| Average (6) | 2001 | n/a |
| 21.7 | cuft | 413 | kWh/yr | 19.17 | 100.0% |
| Type: | UPM | Upright Freezers with Manual Defrost |
| UAD | Upright Freezers with Automatic Defrost |
| CHT | Chest Freezers and all other freezers |

7.5. Standards for Residential Dishwashers

Efficiency standards for dishwashers were first enacted under the National Appliance Energy Conservation Act (NAECA) and implemented in 1988.  These standards required only that dishwashers have the option to dry without heat.  Further efficiency standards became effective in 1994, as shown in Table 7.3.

| Table 7.3. Minimum Efficiency Standards for Residential Dishwashers |
| --- |
|  | Hot Water | Motor, Booster, | Total |
| Database | Year | Min. | Energy | & Dryer Energy | UEC |
|  | Type | Code | Effective | EF | (kWh/cycle) | (kWh/cycle) | (kWh/cycle) |
|  | Standard | DW | 1994 | 0.46 | 1.60 | 0.58 | 2.17 |
| Standard Water Heating | DW | 1994 | 0.46 | 1.60 | 0.58 | 2.17 |
| Compact (Water Heating) | DW | 1994 | 0.62 | 1.11 | 0.51 | 1.61 |

8.5. Standards for Residential Clothes Washers

Efficiency standards for clothes washers were first enacted under the National Appliance Energy Conservation Act (NAECA).  These standards required only that clothes washers have an unheated water option for the rinse cycle.  New standards became effective in 1994, and are shown in Table 8.3.

| Table 8.3. Efficiency Standards for Residential Clothes Washers |
| --- |
|  | Hot Water | Motor | Total |
| Database | Year | Min. | Energy | Energy |
| UEC |
|  | Type | Code | Effective | EF | (kWh/cycle) | (kWh/cycle) |
| (kWh/cycle) |
|  | Using DOE Test Procedure |
| Standard, Top-Loading | CW | 1994 | 1.18 | 1.94 | 0.27 | 2.21 |
| Compact, Top-Loading | CW | 1994 | 0.90 | 1.36 | 0.25 | 1.61 |
| Using P&G Data |
| Standard, Top-Loading | CW | 1994 | 1.18 | 1.50 | 0.27 | 1.77 |
| Compact, Top-Loading | CW | 1994 | 0.90 | 1.05 | 0.25 | 1.30 |

9.5. Standards for Residential Dryers

Efficiency standards for clothes dryers were first enacted in 1988 under the National Appliance Energy Conservation Act (NAECA), and required only that gas clothes dryers not have a constantly burning pilot light.  Table 9.3 shows minimum efficiency standards for residential dryers.

| Table 9.3. Minimum Efficiency Standards for Residential Dryers |
| --- |
| Database | Year | Min. | Total |
|  | Type | Fuel | Code | Effective | EF | UEC |
|  | Standard | Electric | DR | 1994 | 3.01 | 2.33 | kWh/cycle |
| Compact (120V) | Electric | DR | 1994 | 3.13 | 0.96 | kWh/cycle |
| Compact (240V) | Electric | DR | 1994 | 2.90 | 1.03 | kWh/cycle |
| Standard | Gas | DR | 1994 | 2.67 | 8.95 | kBtu/cycle |

11.4 Efficiency Standards For Ovens and Ranges

Starting in 1990, gas cooktops and ovens with electric cords were no longer allowed to have a constantly burning pilot light.  Thus, most new gas cooktops and ovens must have electric or electronic ignition systems, which will decrease gas usage and increase electricity usage for gas ranges.