## INTRODUCTION

A biennial survey of cost and staffing information (CCAS) has been conducted for educational institutions by the Association of Higher Education Facilities Officers (APPA).  The 1997-98 survey has been completed, and this survey will be the last conducted under the CCAS umbrella, as energy is a subset of too limited interest within the overall scope of CCAS.

The energy data obtained for this survey have been shown to have significant quality problems over time, and the data for the 1997-98 survey are no exception.  This is not uncommon, as dealing with energy consumption data across multiple fuels can be quite complicated and requires significant knowledge to maintain data consistency.  APPA has a strategic partnership with the US Dept of Energy (DOE), and APPA requested that Oak Ridge National Laboratory, a multifunction laboratory of DOE, review the data for the 1997–98 survey year.

This review showed that the survey instrument was not precise enough and the energy data had many problems (revealed through internal consistency checks).  The data were checked to determine if corrections could be made to restore the internal consistency among data quantities.  As an example, one institution was reported as having over 800,000 students, with a resulting floor area per student of 1.7 square feet.

Most of the data were restored to apparent reasonable consistency, with only five institutions that had data that were definitely not reasonable, although other unreliable data were found subsequently, as reported below.  Some institutions did not report enough data to check for reasonableness, so these will have no data reported in the tables in this report.  The resulting data for approximately 180 institutions show a strong correlation of energy use and energy cost with floor area, having R2 values of 0.81 and 0.80, respectively, which indicates that the overall data set is reasonably consistent and meets (indeed exceeds) expectations for these data quantities.

Despite the data restoration effort, some errors undoubtedly remain, and warnings will be stated along with the data throughout.  However, the results available now should provide good information for institutions that wish to compare costs and performance indexes across institutions.  A summary of all the data are also provided in a spreadsheet so that users who need to make data corrections can do so for their records.

Data structure inconsistencies for primary and secondary fuels were also a problem, e.g., reporting self-generated electricity kWh as well as the fuel used to generate the electricity in the first place.  Fortunately, respondents usually reported costs consistently, so for cases where an energy quantity was reported without an associated cost, the energy was treated as a secondary quantity and not part of the consumption of the institution.  In general, serious care is required to assure that primary and secondary energy quantities are reported separately.

Separation of fuel costs from energy operations costs is desirable for comparison purposes.  Fuel cost was the primary interest of the work reported here.  Some data may have operations costs included with fuel costs, but the overall impact appears slight.  These problems appear to exist for some of the reported steam cost data, but there are only a few cases in total.  Some slight problems in this vein may also exist for other fuels.

## ANNUAL ENERGY PERFORMANCE INDEXES

Four annual energy indexes are calculated based on the revised data and tabulated in the energy performance indexes table:

- Dollars per million Btu of source energy

- Energy Use Index (EUI), thousands of Btu of total source energy per square foot of gross floor area of the overall institution

- Dollars per gross square foot of total gross floor area

- Dollars per student, although the reporting of number of students has difficulties

SOURCE ENERGY is calculated to provide an indication of the primary fuel used.  Source energy is used because it provides a much more consistent basis for comparison of overall dollar and energy indexes than using 3,413 Btu per kWh, which would require stratification by fraction of total energy use that is electricity to allow internally consistent comparisons.  Thus, some conversion of steam and electric data is required, where either was reported as a primary fuel quantity.  For electricity, the conversion used was 10,280 Btu of fuel consumed to deliver a kWh to the user.  This factor is not correct for all cases, but without more detailed information, one factor will have to suffice.

All fuels required a conversion factor to calculate Btu of fuel consumed.   As with electricity, the conversion factors are the same for every institution, since institution-specific factors were not available.  The conversion factors used were:

- Electricity, purchased or self-generated	  10,280 Btu / kWh

- Natural gas					    1,030 Btu / cu ft

- #1 Fuel oil					135,000 Btu / gal

- #2 Fuel oil					139,000 Btu / gal

- #6 Fuel oil					154,000 Btu / gal

- Coal						25 million Btu / ton

- Steam						    1,250 Btu / lb delivered

- Other					average Btu per $ of all other fuels

As indicated, there will be inaccuracies using these same factors for all institutions, and there are likely inaccuracies related to peculiarities in how costs were reported.  But the overall results appear quite reasonable, and particular anomalies can be adjusted by specific institutions if appropriate and desired.

Facility energy data distributions are typically not normal, so reporting of mean values can be very misleading.  Instead, percentile values such as quartiles should be given.  For the approximately 180 institutions with reconstructed data, percentiles for each index are:

|  | Percentile |
| --- | --- |
| Index | 5% | 10% | 25% | 50% | 75% | 90% | 95% |
| $ per million Btu | $2.82 | $3.10 | $3.83 | $4.65 | $5.50 | $6.73 | $7.45 |
| EUI, kBtu / sq-ft | 122 | 137 | 173 | 223 | 298 | 387 | 428 |
| $ per sq-ft | $0.55 | $0.66 | $0.80 | $1.09 | $1.37 | $1.78 | $2.01 |
| $ per student | $104 | $140 | $216 | $356 | $598 | $907 | $1300 |

Eight institutions have suspect data on $ per million Btu.  These eight are identified in the tables as:  Pima Cnty Comm College -- AZ, Stanford Univ -- CA, Quinnipiac College -- CT, Brigham Young Univ/Hawaii -- HI, Wabash College -- IN, Boston Univ -- MA, Univ of Maryland/ Baltimore -- MD, Ocean County College – NJ.  Of these eight, the data for Wabash College were determined to be unreliable.  Data for Boston University, University of Maryland / Baltimore, and Ocean County College appear questionable, but they are still reported in the table.  Users of the data beware of the reported values for these institutions.  Data for the other four are somewhat questionable and should be used with caution.

Four institutions have suspect data on EUI, and these are reported in the tables as:  Univ of Iowa -- IA , Michigan State Univ -- MI, Univ of Minnesota -- MN, Univ of Alberta -- ALB.  The data for Iowa, Michigan State, and the University of Minnesota are questionable.  There may be double-counting of fuels at Iowa, and the other two institutions may have low floor area values reported.  The data for Alberta are somewhat questionable.

Five institutions have suspect data on $ per sq ft.  Two were reported previously:  Ocean County College – NJ and Univ of Minnesota – MN, so these institutions remain questionable.  The three others are reported in the tables as:  Dartmouth College -- NH, East Carolina Univ -- NC, and York Univ -- ONT.  Data for all these institutions are questionable.

The $ per student data have to be viewed with some caution.  Some institutions have significant functions beyond educating students, so the cost of energy for the whole institution divided by the number of students is quite high.  The whole issue of enrollment values, and trying to develop an equivalent number of full-time students is a challenge in itself.  Some institutions apparently chose to simply report total students, perhaps because most were part time.  Whatever the case, some of the lower values of cost per student probably reflect different methods of counting enrollment.

Despite being able to flag the specific instances of questionable data here, there still likely remain data problems for other institutions, but the impact of the other data problems is hopefully minor.

## CARNEGIE CLASSIFICATION BREAKOUT

A breakout of median and mean of the performance indices by Carnegie classification is probably more important than performing comparisons across the entire set of data.  Additional breakouts would also be useful, but the data set is too limited to permit further disaggregation.  Carnegie class was considered the most important to report.  Median and mean values are given in tables first and then by index in figures.

| Carnegie class | # | Median Value |
| --- | --- | --- |
|  |  | $ per Million Btu | EUI | $/SF | $/student |
| K-12 | 7 | $5.94 | 124 | $0.80 | $114 |
| Associate | 14 | $5.91 | 203 | $1.04 | $138 |
| Baccalaureate | 25 | $5.20 | 194 | $0.92 | $507 |
| Masters | 51 | $4.45 | 211 | $0.96 | $252 |
| Doctoral | 21 | $4.31 | 209 | $0.97 | $357 |
| Research | 51 | $4.17 | 291 | $1.20 | $487 |
| Specialized | 10 | $5.53 | 233 | $1.37 | $1,300 |
| All | 179 | $4.65 | 223 | $1.09 | $356 |

| Carnegie class | # | Mean Value |
| --- | --- | --- |
|  |  | $ per Million Btu | EUI | $/SF | $/student |
| K-12 | 7 | $5.66 | 147 | $0.83 | $202 |
| Associate | 14 | $5.93 | 208 | $1.23 | $151 |
| Baccalaureate | 25 | $5.36 | 188 | $0.98 | $576 |
| Masters | 51 | $4.60 | 234 | $1.05 | $297 |
| Doctoral | 21 | $4.37 | 237 | $1.06 | $471 |
| Research | 51 | $4.38 | 308 | $1.28 | $592 |
| Specialized | 10 | $5.82 | 265 | $1.44 | $1,433 |
| All | 179 | $4.83 | 246 | $1.14 | $484 |

Overall, institutions should generally compare themselves to the medians of each index to see how they are doing.

## EUI PERCENTILE PROFILES

Although much more could be done to present the data percentiles, the small sample sizes make meaningful statistics difficult to obtain.  The following figure shows a distribution of EUI by Carnegie classification for the data reported here.  These profiles are based on an initial statistical distribution that was adjusted in an ad hoc manner to smooth out the profiles.  The profiles probably provide a reasonable representation of the general distribution of source EUI for the different classes, but larger samples are needed if one wants improved confidence in such distributions.  Due to the ad hoc nature of the adjustment of the distributions, further work on the other indices was not conducted, and the statistically calculated percentile distributions are not reported.

Users can compare their EUI to the graph to estimate an approximate ranking of energy efficiency performance.  However, all users are cautioned that adjustments for types of facilities on each campus would be appropriate to obtain more robust rankings.  This author has a specific energy efficiency performance rating procedure that can be applied to compare campuses against the entire US commercial / institutional sector to obtain adjusted ratings of performance.  Please consult the author for obtaining such a rating for a specific campus.

A high percentile ranking on this chart means a more energy efficient institution.  However, this chart represents the first time that such information has been displayed, and there is still some uncertainty over whether the distributions should remain as they are.  For instance, should research institutions really have such high energy use as shown here, or should efficient institutions use significantly less. For now, this is all that is available.

## CONCLUSION

The energy data from the 1997–98 CCAS Survey conducted by APPA have been reviewed and adjusted.  Statistical information from the corrected data are reported to allow higher education institutions to compare energy indexes among themselves.  The spreadsheet containing all the base data is available and included with this report.  The overall table of energy performance indexes for all institutions in the CCAS Survey follows.  A second table on enrollment, floor area, and Carnegie classification is provided also.

# Annual Energy Performance Indexes

| Institution | State / Prov | $ per Million Btu | EUI kBtu/sq-ft | Dollars per sq-ft | Dollars per student |
| --- | --- | --- | --- | --- | --- |
| UNIV OF NORTH ALABAMA | AL | $5.15 | 229 | $1.18 | $302 |
| UNIV OF ALABAMA/HUNTSVILLE | AL | $5.43 | 209 | $1.14 | $473 |
| JOHN BROWN UNIV | AR | $5.31 | 220 | $1.17 | $507 |
| UNIV OF ARKANSAS/ LITTLE ROCK | AR | $3.65 | 411 | $1.50 | $326 |
| UNIV OF ARKANSAS | AR | - - - - | - - - - | - - - - | - - - - |
| THUNDERBIRD/ GRAD SCH OF INTL MGMT | AZ | $5.87 | 219 | $1.29 | $419 |
| PHOENIX COLLEGE | AZ | $7.45 | 233 | $1.73 | $164 |
| ARIZONA STATE UNIV/ MAIN CAMPUS | AZ | $4.81 | 238 | $1.15 | $309 |
| PIMA CNTY COMM COLLEGE* | AZ | $8.31 | 232 | $1.93 | $140 |
| AZUSA PACIFIC UNIV | CA | $6.57 | 133 | $0.88 | $161 |
| CALIFORNIA STATE UNIV/ LONG BEACH | CA | $5.31 | 173 | $0.92 | $189 |
| CALIFORNIA POLYTECHNIC UNIV | CA | $4.55 | 182 | $0.83 | $178 |
| CALIFORNIA STATE UNIV/ FRESNO | CA | $5.30 | 243 | $1.29 | $199 |
| SAN JOSE STATE UNIV | CA | $4.57 | 206 | $0.94 | $235 |
| COLLEGE OF SAN MATEO | CA | $5.03 | 190 | $0.96 | $64 |
| STANFORD UNIV* | CA | $8.94 | 81 | $0.72 | $764 |
| UNIV OF CALIFORNIA/ BERKELEY | CA | $4.36 | 225 | $0.98 | $458 |
| UNIV OF CALIFORNIA/ SAN DIEGO | CA | $4.92 | 318 | $1.56 | $926 |
| UNIV OF CALIFORNIA/ SAN FRANCISCO | CA | $7.00 | 257 | $1.80 | $1,720 |
| UNIV OF CALIFORNIA/ SANTA BARBARA | CA | $5.86 | 190 | $1.11 | $291 |
| UNIV OF CALIFORNIA/ SANTA CRUZ | CA |  |  |  | . |
| SAN MATEO CNTY COMM COLL DIST | CA | $5.79 | 188 | $1.09 | $69 |
| CANADA COLLEGE | CA | $6.65 | 172 | $1.15 | $85 |
| THE COLORADO COLLEGE | CO |  |  |  | . |
| UNIV OF COLORADO | CO | $6.77 | 187 | $1.27 | $457 |
| JEFFERSON CNTY PUB SCHOOLS | CO | $5.94 | 113 | $0.67 | $85 |
| TEIKYO POST UNIV | CT | - - - - | - - - - | - - - - | - - - - |
| QUINNIPIAC COLLEGE* | CT | $8.65 | 189 | $1.63 | $306 |
| UNIV OF DELAWARE | DE | $4.76 | 300 | $1.43 | $558 |
| EMBRY-RIDDLE AERONAUTICAL UNIV | FL | $6.94 | 211 | $1.46 | $408 |
| FLORIDA A&M UNIV | FL |  |  |  | . |
| UNIV OF FLORIDA | FL | $5.24 | 241 | $1.26 | $668 |
| UNIV OF MIAMI | FL | $6.73 | 110 | $0.74 | $186 |
| GEORGIA INST OF TECHNOLOGY | GA | $3.91 | 280 | $1.09 | $782 |
| GEORGIA SOUTHERN UNIV | GA | $4.70 | 204 | $0.96 | $202 |
| UNIV OF GEORGIA | GA | $3.65 | 234 | $0.85 | $335 |
| FULTON CNTY BOARD OF ED | GA | $6.85 | 116 | $0.80 | $114 |
| BRIGHAM YOUNG UNIV/HAWAII* | HI | $8.75 | 121 | $1.06 | $478 |
| GRACELAND COLLEGE | IA | $5.02 | 160 | $0.80 | $186 |
| IOWA STATE UNIV | IA | $4.25 | 334 | $1.42 | $637 |
| UNIV OF IOWA** | IA | $3.33 | 536 | $1.78 | $893 |
| RICKS COLLEGE | ID | $3.70 | 152 | $0.56 | $128 |
| UNIV OF IDAHO | ID | $3.13 | 197 | $0.62 | $226 |
| EASTERN ILLINOIS UNIV | IL | $4.36 | 298 | $1.30 | $355 |
| NORTHEASTERN ILLINOIS UNIV | IL | $4.14 | 283 | $1.17 | $182 |
| SOUTHERN ILLINOIS UNIV/ CARBONDALE | IL | $3.26 | 355 | $1.16 | $433 |
| UNIV OF ILLINOIS/ URBANA-CHAMPAIGN | IL | $3.07 | 387 | $1.19 | $585 |
| UNIV OF ILLINOIS/ SPRINGFIELD | IL | $5.37 | 278 | $1.49 | $444 |
| UIC COLL OF MEDICINE/ ROCKFORD | IL | $5.57 | 246 | $1.37 | $1,300 |
| BUTLER UNIVERSITY | IN | $3.69 | 298 | $1.10 | $371 |
| INDIANA UNIV/ BLOOMINGTON | IN | $2.82 | 311 | $0.88 | $399 |
| INDIANA UNIV - PURDUE UNIV/ INDIANAPOLIS | IN | $4.59 | 186 | $0.85 | $396 |
| PURDUE UNIV | IN | $1.50 | 429 | $0.64 | $259 |
| UNIV OF NOTRE DAME | IN |  |  |  | . |
| WABASH COLLEGE | IN | - - - - | - - - - | - - - - | - - - - |
| SISTERS OF ST. BENEDICT MONASTERY | IN | $4.31 | 174 | $0.75 | $2,168 |
| PITTSBURGH STATE UNIV | KS | $5.31 | 138 | $0.73 | $241 |
| EMPORIA STATE UNIV | KS | $3.93 | 178 | $0.70 | $247 |
| KANSAS STATE UNIV | KS | $5.20 | 370 | $1.92 | $672 |
| UNIV OF KANSAS | KS | $4.33 | 237 | $1.03 | $316 |
| GEORGETOWN COLLEGE | KY | $4.63 | 200 | $0.92 | $499 |
| KENTUCKY STATE UNIV | KY | $5.32 | 168 | $0.90 | $549 |
| UNIV OF KENTUCKY | KY | $3.65 | 231 | $0.84 | $376 |
| MOREHEAD STATE UNIV | KY | $3.62 | 306 | $1.11 | $434 |
| LSU SCH OF MEDICINE/ SHREVEPORT | LA | $3.92 | 389 | $1.53 | $1,533 |
| LSU MED CENTER HOSP/ SHREVEPORT | LA | $3.92 | 351 | $1.38 | - - - - |
| BOSTON UNIV** | MA | $8.96 | 180 | $1.62 | $670 |
| CLARK UNIV | MA | $4.12 | 137 | $0.57 | $427 |
| MOUNT HOLYOKE COLLEGE | MA | $5.20 | 127 | $0.66 | $713 |
| SMITH COLLEGE | MA | $4.18 | 260 | $1.09 | $1,075 |
| UNIV OF MASSACHUSETTS/ AMHERST | MA | $4.65 | 292 | $1.36 | $591 |
| WILLIAMS COLLEGE | MA | $4.73 | 194 | $0.92 | $843 |
| NORTHFIELD MT HERMON SCHOOL | MA | $5.05 | 124 | $0.63 | $715 |
| FROSTBURG STATE UNIV | MD | $5.05 | 173 | $0.88 | $273 |
| TOWSON UNIV | MD | $4.97 | 211 | $1.05 | $246 |
| UNIV OF MARYLAND/ BALTIMORE** | MD | $12.99 | 158 | $2.06 | $1,522 |
| COLBY COLLEGE | ME | $5.78 | 215 | $1.24 | $875 |
| UNIV OF SOUTHERN MAINE | ME | $6.71 | 137 | $0.92 | $265 |
| MICHIGAN STATE UNIV** | MI | $2.95 | 514 | $1.52 | $740 |
| OAKLAND UNIV | MI | $4.94 | 188 | $0.93 | $233 |
| SIENA HEIGHTS UNIV | MI | $5.06 | 140 | $0.71 | $177 |
| UNIV OF MICHIGAN | MI | $7.19 | 300 | $2.16 | $1,502 |
| WESTERN MICHIGAN UNIV | MI | $5.39 | 342 | $1.84 | $764 |
| MACALESTER COLLEGE | MN | $3.87 | 203 | $0.79 | $493 |
| UNIV OF MINNESOTA** | MN | $5.83 | 471 | $2.75 | $1,034 |
| HENNEPIN TECH COLLEGE | MN | $7.53 | 163 | $1.23 | $308 |
| UNIV OF MISSOURI | MO | $2.61 | 461 | $1.20 | $826 |
| UNIV OF MISSOURI/ ROLLA | MO | $4.61 | 402 | $1.85 | $945 |
| UNIV OF MISSOURI/ KANSAS CITY | MO | $4.09 | 238 | $0.97 | $357 |
| MILLSAPS COLLEGE | MS | $5.32 | 217 | $1.16 | $598 |
| UNIV OF MISSISSIPPI | MS | $4.55 | 251 | $1.14 | $487 |
| MONTANA STATE UNIV/ BILLINGS | MT | $4.45 | 181 | $0.81 | $350 |
| UNIV OF MONTANA | MT | $3.16 | 149 | $0.47 | $156 |
| NC A&T STATE UNIV | NC | $4.23 | 278 | $1.18 | $395 |
| UNIV OF NORTH CAROLINA/ ASHEVILLE | NC | $5.58 | 305 | $1.70 | $501 |
| CAMPBELL UNIV | NC | $3.73 | 329 | $1.23 | $369 |
| CENTRAL PEIDMONT COM COLLEGE | NC | $6.58 | 123 | $0.81 | $171 |
| DUKE UNIV | NC | $3.34 | 424 | $1.42 | $1,616 |
| EAST CAROLINA UNIV** | NC | $6.67 | 338 | $2.25 | $521 |
| ELON COLLEGE | NC | - - - - | - - - - | - - - - | - - - - |
| NORTH CAROLINA CENTRAL UNIV | NC | $4.04 | 206 | $0.83 | $227 |
| NORTH CAROLINE STATE UNIV | NC | $5.21 | 271 | $1.41 | $485 |
| UNIV OF NORTH CAROLINA/ GREENSBORO | NC | $5.90 | 307 | $1.81 | $614 |
| WESTERN CAROLINA UNIV | NC | $4.07 | 234 | $0.95 | $374 |
| UNIV OF NORTH CAROLINA/ WILLMINGTON | NC | $5.54 | 279 | $1.55 | $348 |
| DARTMOUTH COLLEGE** | NH | $7.58 | 349 | $2.64 | $2,296 |
| MIDDLESEX COUNTY COLLEGE | NJ |  |  |  | . |
| OCEAN COUNTY COLLEGE** | NJ | $11.47 | 251 | $2.88 | $295 |
| RUTGERS/ THE STATE UNIV OF NEW JERSEY | NJ | $4.92 | 356 | $1.75 | $731 |
| NEW MEXICO STATE UNIV | NM | $5.44 | 404 | $2.19 | $841 |
| UNIV NEVADA/ LAS VEGAS | NV | $5.18 | 242 | $1.25 | $231 |
| COLGATE UNIV | NY | $4.46 | 221 | $0.99 | $667 |
| CORNELL UNIV | NY | $4.74 | 343 | $1.62 | $1,181 |
| BOWLING GREEN STATE UNIV | OH | $3.93 | 302 | $1.19 | $394 |
| DENISON UNIV | OH | $2.82 | 238 | $0.67 | $487 |
| HIRAM | OH | $6.00 | 152 | $0.91 | $602 |
| MIAMI UNIV | OH | $3.69 | 149 | $0.55 | $194 |
| OHIO UNIV | OH | $3.10 | 252 | $0.78 | $269 |
| XAVIER UNIV | OH | $5.19 | 168 | $0.87 | $175 |
| UNIV OF CENTRAL OKLAHOMA | OK | $2.85 | 347 | $0.99 | $161 |
| THE UNIV OF TULSA | OK | $2.90 | 417 | $1.21 | $488 |
| LEWIS & CLARK COLLEGE | OR | $4.48 | 163 | $0.73 | $225 |
| LINFIELD COLLEGE | OR | $3.30 | 144 | $0.47 | $252 |
| OREGON STATE UNIV | OR | $3.46 | 221 | $0.77 | $300 |
| PORTLAND STATE UNIV | OR | $4.41 | 91 | $0.40 | $130 |
| UNIV OF OREGON | OR | $3.07 | 338 | $1.04 | $270 |
| CATLIN GABLIN SCHOOL | OR | $5.00 | 109 | $0.54 | $100 |
| BRYN MAWR COLLEGE | PA | $7.08 | 165 | $1.17 | $946 |
| CARNEGIE MELLON UNIV | PA | $5.65 | 305 | $1.72 | $907 |
| HARRISBURG AREA COM COLLEGE | PA | $6.06 | 269 | $1.63 | $197 |
| HAVERFORD COLLEGE | PA | $6.80 | 129 | $0.88 | $997 |
| MORAVIAN COLLEGE | PA | $6.26 | 136 | $0.85 | $560 |
| PENN STATE UNIV | PA | $3.74 | 367 | $1.37 | $533 |
| PENN STATE/ HARRISBURG | PA |  |  |  | . |
| UNIV OF RHODE ISLAND | RI | $7.17 | 207 | $1.48 | $528 |
| CITADEL MILITARY COLL/ SOUTH CAROLINA | SC | $3.32 | 485 | $1.61 | $685 |
| FURMAN UNIV | SC | $4.97 | 169 | $0.84 | $619 |
| MIDLANDS TECHNICAL COLLEGE | SC | $5.76 | 196 | $1.13 | $113 |
| UNIV OF SOUTH CAROLINA/SPARTANBURG | SC | $5.39 | 208 | $1.12 | $151 |
| BLACK HILLS STATE UNIV | SD | $4.21 | 172 | $0.72 | $222 |
| SOUTH DAKOTA STATE UNIV | SD | $2.89 | 376 | $1.09 | $379 |
| UNIV OF SOUTH DAKOTA | SD | $2.20 | 171 | $0.38 | $120 |
| UNIV OF MEMPHIS | TN | $5.13 | 167 | $0.86 | $282 |
| MIDDLE TENNESSEE STATE UNIV | TN | $4.65 | 200 | $0.93 | $227 |
| THE UNIV OF TENNESSEE/ KNOXVILLE | TN | $4.23 | 219 | $0.93 | $559 |
| UNIV OF THE SOUTH | TN | $6.93 | 134 | $0.93 | $1,037 |
| UNIV OF NORTH TEXAS | TX | $4.31 | 242 | $1.04 | $236 |
| ALAMO COMM COLLEGE DISTRICT | TX | $3.72 | 253 | $0.94 | $56 |
| ST. MARY'S UNIV | TX | - - - - | - - - - | - - - - | - - - - |
| TARLETON STATE UNIV | TX | $3.78 | 178 | $0.67 | $146 |
| TEXAS LUTHERAN UNIV | TX | $5.00 | 206 | $1.03 | $460 |
| TEXAS WESLEYAN UNIV | TX | $3.91 | 200 | $0.78 | $157 |
| TRINITY UNIV | TX | $3.61 | 219 | $0.79 | $693 |
| UNIV OF TEXAS/ ARLINGTON | TX | $4.18 | 274 | $1.14 | $257 |
| UNIV OF TEXAS/ PERMIAN BASIN | TX | $6.72 | 285 | $1.91 | $630 |
| TEXAS A&M UNIV/ CORPUS CHRISTI | TX | $4.34 | 344 | $1.49 | $230 |
| TEXAS A&M UNIV/ TEXARKANA | TX | $4.00 | 192 | $0.77 | $86 |
| UNIV OF UTAH | UT | $3.54 | 374 | $1.32 | $477 |
| SALT LAKE COMM COLLEGE | UT | $2.65 | 288 | $0.76 | $96 |
| COLLEGE OF WILLIAM AND MARY | VA | $4.24 | 163 | $0.69 | $275 |
| JAMES MADISON UNIV | VA | $3.89 | 261 | $1.02 | $293 |
| RADFORD UNIV | VA | $3.95 | 162 | $0.64 | $170 |
| VIRGINIA COMMONWEALTH UNIV | VA | $4.71 | 209 | $0.98 | $263 |
| UNIV OF VIRGINIA | VA | $3.81 | 327 | $1.25 | $771 |
| VIRGINIA POLYTECH INST & STATE UNIV | VA | $3.57 | 329 | $1.18 | $363 |
| VIRGINIA INST OF MARINE SCIENCE | VA | $5.50 | 354 | $1.95 | $4,700 |
| FAIRFAX COUNTY PUBLIC SCHOOLS | VA | $6.04 | 156 | $0.94 | $134 |
| PRINCE WILLIAM CNTY PUB SCHOOLS | VA | $6.02 | 241 | $1.45 | $164 |
| LOUDOUN COUNTY PUBLIC SCHOOLS | VA | $4.69 | 170 | $0.80 | $104 |
| NORWICH UNIV | VT | $5.05 | 137 | $0.69 | $302 |
| UNIV OF WASHINGTON | WA | $2.84 | 248 | $0.70 | $338 |
| WESTERN WASHINGTON UNIV | WA | $5.51 | 200 | $1.10 | $289 |
| MARQUETTE UNIV | WI | $4.59 | 88 | $0.41 | $196 |
| UNIV OF WISCONSIN/ MILWAUKEE | WI | $3.91 | 200 | $0.78 | $261 |
| UNIV OF WISCONSIN/ LA CROSSE | WI | $2.79 | 215 | $0.60 | $161 |
| UNIV OF WISCONSIN/ RIVER FALLS | WI | $2.90 | 165 | $0.48 | $157 |
| UNIV OF WISCONSIN/ STEVENS POINT | WI | $3.01 | 225 | $0.68 | $216 |
| UNIV OF WISCONSIN/ WHITE WATER | WI | $3.90 | 120 | $0.47 | $128 |
| WEST VIRGINIA UNIV | WV |  |  |  | . |
| UNIV OF WYOMING | WY | $2.34 | 248 | $0.58 | $318 |
| LARAMIE CNTY COMM COLLEGE | WY | $3.30 | 211 | $0.70 | $160 |
| UNIV OF ALBERTA* | ALB | $3.96 | 508 | $2.01 | $886 |
| BRITISH COLUMBIA INST OF TECH | BC | $4.78 | 184 | $0.88 | $135 |
| OKANAGAN UNIV COLLEGE | BC |  |  |  | . |
| UNIV OF MANITOBA | MAN | $4.21 | 287 | $1.21 | $305 |
| MEM UNIV/ NEWF’NDL’AND & LABRADOR | NEW | $5.06 | 241 | $1.22 | $216 |
| ST. FRANCIS XAVIER UNIV | NOV | $6.33 | 243 | $1.54 | $481 |
| UNIV COLLEGE OF CAPE BRETON | NOV | - - - - | - - - - | - - - - | - - - - |
| UNIV OF WESTERN ONTARIO | ONT | $4.39 | 291 | $1.28 | $369 |
| UNIV OF WINDSOR | ONT | $4.22 | 303 | $1.28 | $659 |
| YORK UNIV** | ONT | $6.41 | 386 | $2.47 | $420 |
| MCGILL UNIV | QUE | $4.75 | 270 | $1.28 | $457 |
| UNIVERSITE' LAVAL | QUE | $5.38 | 206 | $1.11 | $323 |

Notes:	1.  Blank entries indicate data were not reported.

- ‘- - - -‘ indicates data were too difficult to correct or too suspect to report.

- ‘*’ indicates somewhat questionable data

- ‘**’ indicates questionable data

# Classification Data

| Institution | State / Prov | Type | Enroll-ment | Area | Carnegie | APPA Region |
| --- | --- | --- | --- | --- | --- | --- |
| UNIV OF NORTH ALABAMA | AL | Public | 4,568 | 1,169,005 | Masters | Southeastern |
| UNIV OF ALABAMA/ HUNTSVILLE | AL | Public | 4,127 | 1,719,200 | Doctoral | Southeastern |
| JOHN BROWN UNIV | AR | Private | 1,257 | 546,000 | Baccalaureate | Central |
| UNIV OF ARKANSAS/ LITTLE ROCK | AR | Public | 7,999 | 1,738,073 | Masters | Central |
| UNIV OF ARKANSAS | AR | Public | 12,394 | 6,368,933 | Research | Central |
| THUNDERBIRD/ GRAD SCH OF INTL MGMT | AZ | Private | 1,530 | 498,000 | Specialized | Rocky Mountain |
| PHOENIX COLLEGE | AZ | Public | 4,650 | 440,000 | Associate | Rocky Mountain |
| ARIZONA STATE UNIV/ MAIN CAMPUS | AZ | Public | 39,109 | 10,540,200 | Research | Rocky Mountain |
| PIMA CNTY COMM COLLEGE | AZ | Public | 15,025 | 1,094,601 | Associate | Rocky Mountain |
| AZUSA PACIFIC UNIV | CA | Private | 6,000 | 1,100,000 | Masters | Pacific Coast |
| CALIFORNIA STATE UNIV/ LONG BEACH | CA | Public | 19,800 | 4,076,366 | Masters | Pacific Coast |
| CALIFORNIA POLYTECHNIC UNIV | CA | Public | 15,463 | 3,324,581 | Masters | Pacific Coast |
| CALIFORNIA STATE UNIV/ FRESNO | CA | Public | 16,800 | 2,598,586 | Masters | Pacific Coast |
| SAN JOSE STATE UNIV | CA | Public | 19,983 | 4,988,189 | Masters | Pacific Coast |
| COLLEGE OF SAN MATEO | CA | Public | 8,525 | 566,521 | Associate | Pacific Coast |
| STANFORD UNIV | CA | Private | 13,811 | 14,644,857 | Research | Pacific Coast |
| UNIV OF CALIFORNIA/ BERKELEY | CA | Public | 30,290 | 14,181,867 | Research | Pacific Coast |
| UNIV OF CALIFORNIA/ SAN DIEGO | CA | Public | 18,667 | 11,066,901 | Research | Pacific Coast |
| UNIV OF CALIFORNIA/ SAN FRANCISCO | CA | Public | 3,522 | 3,370,000 | Research | Pacific Coast |
| UNIV OF CALIFORNIA/ SANTA BARBARA | CA | Public | 20,097 | 5,257,394 | Research | Pacific Coast |
| UNIV OF CALIFORNIA/ SANTA CRUZ | CA | Public | 10,500 | 3,673,263 | Research | Pacific Coast |
| SAN MATEO CNTY COMM COLL DIST | CA | Public | 17,913 | 1,140,135 | Specialized | Pacific Coast |
| CANADA COLLEGE | CA | Public | 3,289 | 242,656 | Associate | Pacific Coast |
| THE COLORADO COLLEGE | CO | Private | 1,900 | 1,900,000 | Baccalaureate | Rocky Mountain |
| UNIV OF COLORADO | CO | Public | 25,109 | 9,060,600 | Specialized | Rocky Mountain |
| JEFFERSON CNTY PUB SCHOOLS | CO | Public | 82,756 | 10,506,494 | K12 | Rocky Mountain |
| TEIKYO POST UNIV | CT | Private | 598 | 237,000 | Specialized | Eastern |
| QUINNIPIAC COLLEGE | CT | Private | 5,289 | 989,927 | Masters | Eastern |
| UNIV OF DELAWARE | DE | Public | 17,655 | 6,889,527 | Research | Eastern |
| EMBRY-RIDDLE AERONAUTICAL UNIV | FL | Private | 4,145 | 1,153,988 | Masters | Southeastern |
| FLORIDA A&M UNIV | FL | Public | 9,098 | 2,642,537 | Masters | Southeastern |
| UNIV OF FLORIDA | FL | Public | 29,921 | 15,800,000 | Research | Southeastern |
| UNIV OF MIAMI | FL | Private | 12,626 | 3,181,595 | Research | Southeastern |
| GEORGIA INST OF TECHNOLOGY | GA | Public | 11,822 | 8,455,542 | Research | Southeastern |
| GEORGIA SOUTHERN UNIV | GA | Public | 13,126 | 2,765,097 | Masters | Southeastern |
| UNIV OF GEORGIA | GA | Public | 29,693 | 11,663,038 | Research | Southeastern |
| FULTON CNTY BOARD OF ED | GA | Public | 61,169 | 8,743,675 | K12 | Southeastern |
| BRIGHAM YOUNG UNIV/ HAWAII | HI | Private | 2,294 | 1,032,324 | Baccalaureate | Pacific Coast |
| GRACELAND COLLEGE | IA | Private | 2,399 | 556,745 | Baccalaureate | Midwest |
| IOWA STATE UNIV | IA | Public | 25,384 | 11,370,692 | Research | Midwest |
| UNIV OF IOWA | IA | Public | 27,871 | 13,972,142 | Research | Midwest |
| RICKS COLLEGE | ID | Private | 8,250 | 1,879,799 | Associate | Pacific Coast |
| UNIV OF IDAHO | ID | Public | 9,897 | 3,635,333 | Research | Pacific Coast |
| EASTERN ILLINOIS UNIV | IL | Public | 11,777 | 3,218,641 | Masters | Midwest |
| NORTHEASTERN ILLINOIS UNIV | IL | Public | 6,211 | 963,591 | Masters | Midwest |
| SOUTHERN ILLINOIS UNIV/ CARBONDALE | IL | Public | 18,583 | 6,964,939 | Research | Midwest |
| UNIV OF ILLINOIS/ URBANA-CHAMPAIGN | IL | Public | 35,979 | 17,752,285 | Research | Midwest |
| UNIV OF ILLINOIS/ SPRINGFIELD | IL | Public | 2,574 | 764,850 | Masters | Midwest |
| UIC COLL OF MEDICINE/ ROCKFORD | IL | Public | 200 | 189,669 | Specialized | Midwest |
| BUTLER UNIVERSITY | IN | Private | 3,858 | 1,300,000 | Masters | Midwest |
| INDIANA UNIV/ BLOOMINGTON | IN | Public | 31,239 | 14,221,000 | Research | Midwest |
| INDIANA UNIV - PURDUE UNIV/ INDIANAPOLIS | IN | Public | 18,208 | 8,472,977 | Doctoral | Midwest |
| PURDUE UNIV | IN | Public | 37,715 | 15,213,050 | Research | Midwest |
| UNIV OF NOTRE DAME | IN | Private | 10,281 | 7,219,776 | Research | Midwest |
| WABASH COLLEGE | IN | Private | 800 | 763,657 | Baccalaureate | Midwest |
| SISTERS OF ST. BENEDICT MONASTERY | IN | Private | 140 | 405,000 | Specialized | Midwest |
| PITTSBURGH STATE UNIV | KS | Public | 5,265 | 1,735,882 | Masters | Central |
| EMPORIA STATE UNIV | KS | Public | 4,625 | 1,637,188 | Masters | Central |
| KANSAS STATE UNIV | KS | Public | 20,306 | 7,092,664 | Research | Central |
| UNIV OF KANSAS | KS | Public | 25,108 | 7,714,181 | Research | Central |
| GEORGETOWN COLLEGE | KY | Private | 1,372 | 742,000 | Baccalaureate | Southeastern |
| KENTUCKY STATE UNIV | KY | Public | 1,798 | 1,101,546 | Masters | Southeastern |
| UNIV OF KENTUCKY | KY | Public | 24,171 | 10,800,000 | Research | Southeastern |
| MOREHEAD STATE UNIV | KY | Public | 6,357 | 2,492,168 | Masters | Midwest |
| LSU SCH OF MEDICINE/ SHREVEPORT | LA | Public | 705 | 708,467 | Specialized | Southeastern |
| LSU MED CENTER HOSP/ SHREVEPORT | LA | Public |  | 1,458,276 | Specialized | Southeastern |
| BOSTON UNIV | MA | Private | 23,036 | 9,554,649 | Research | Eastern |
| CLARK UNIV | MA | Private | 1,899 | 1,436,202 | Doctoral | Eastern |
| MOUNT HOLYOKE COLLEGE | MA | Private | 1,860 | 2,011,000 | Baccalaureate | Eastern |
| SMITH COLLEGE | MA | Private | 2,840 | 2,806,503 | Baccalaureate | Eastern |
| UNIV OF MASSACHUSETTS/ AMHERST | MA | Public | 21,823 | 9,480,000 | Research | Eastern |
| WILLIAMS COLLEGE | MA | Private | 2,164 | 1,991,754 | Baccalaureate | Eastern |
| NORTHFIELD MT HERMON SCH | MA | Public | 1,099 | 1,258,067 | K12 | Southeastern |
| FROSTBURG STATE UNIV | MD | Public | 4,316 | 1,345,613 | Masters | Eastern |
| TOWSON UNIV | MD | Public | 15,277 | 3,593,992 | Masters | Eastern |
| UNIV OF MARYLAND/ BALTIMORE | MD | Public | 5,975 | 4,417,554 | Specialized | Eastern |
| COLBY COLLEGE | ME | Private | 1,804 | 1,268,900 | Baccalaureate | Eastern |
| UNIV OF SOUTHERN MAINE | ME | Public | 6,234 | 1,792,756 | Masters | Eastern |
| MICHIGAN STATE UNIV | MI | Public | 42,603 | 20,780,498 | Research | Midwest |
| OAKLAND UNIV | MI | Public | 9,160 | 2,300,000 | Masters | Midwest |
| SIENA HEIGHTS UNIV | MI | Private | 2,000 | 500,000 | Baccalaureate | Midwest |
| UNIV OF MICHIGAN | MI | Public | 36,964 | 25,752,833 | Research | Midwest |
| WESTERN MICHIGAN UNIV | MI | Public | 17,073 | 7,073,334 | Doctoral | Midwest |
| MACALESTER COLLEGE | MN | Private | 1,698 | 1,066,362 | Baccalaureate | Midwest |
| UNIV OF MINNESOTA | MN | Public | 35,864 | 13,500,000 | Research | Midwest |
| HENNEPIN TECH COLLEGE | MN | Public | 3,192 | 800,000 | Associate | Midwest |
| UNIV OF MISSOURI | MO | Public | 18,890 | 12,957,826 | Research | Central |
| UNIV OF MISSOURI/ ROLLA | MO | Public | 4,050 | 2,064,376 | Doctoral | Central |
| UNIV OF MISSOURI/ KANSAS CITY | MO | Public | 7,183 | 2,629,702 | Doctoral | Central |
| MILLSAPS COLLEGE | MS | Private | 1,256 | 649,574 | Baccalaureate | Southeastern |
| UNIV OF MISSISSIPPI | MS | Public | 10,115 | 4,310,839 | Research | Southeastern |
| MONTANA STATE UNIV/ BILLINGS | MT | Public | 1,730 | 750,000 | Masters | Rocky Mountain |
| UNIV OF MONTANA | MT | Public | 10,924 | 3,634,631 | Doctoral | Rocky Mountain |
| NC A&T STATE UNIV | NC | Public | 6,777 | 2,272,271 | Masters | Southeastern |
| UNIV OF NORTH CAROLINA/ ASHEVILLE | NC | Public | 3,092 | 909,500 | Baccalaureate | Southeastern |
| CAMPBELL UNIV | NC | Private | 3,195 | 961,081 | Masters | Southeastern |
| CENTRAL PEIDMONT COM COLLEGE | NC | Public | 6,810 | 1,436,202 | Associate | Southeastern |
| DUKE UNIV | NC | Private | 11,000 | 12,562,929 | Research | Southeastern |
| EAST CAROLINA UNIV | NC | Public | 17,846 | 4,128,229 | Masters | Southeastern |
| ELON COLLEGE | NC | Private | 3,536 | 1,183,823 | Masters | Southeastern |
| NORTH CAROLINA CENTRAL UNIV | NC | Public | 5,664 | 1,541,557 | Masters | Southeastern |
| NORTH CAROLINE STATE UNIV | NC | Public | 27,529 | 9,448,183 | Masters | Southeastern |
| UNIV OF NORTH CAROLINA/ GREENSBORO | NC | Public | 10,613 | 3,591,036 | Doctoral | Southeastern |
| WESTERN CAROLINA UNIV | NC | Public | 6,007 | 2,355,330 | Masters | Southeastern |
| UNIV OF NORTH CAROLINA/ WILLMINGTON | NC | Public | 8,378 | 1,882,000 | Masters | Southeastern |
| DARTMOUTH COLLEGE | NH | Private | 4,302 | 3,737,500 | Doctoral | Eastern |
| MIDDLESEX COUNTY COLLEGE | NJ | Public | 7,577 | 734,000 | Associate | Eastern |
| OCEAN COUNTY COLLEGE | NJ | Public | 3,544 | 362,388 | Associate | Eastern |
| RUTGERS/ THE STATE UNIV OF NEW JERSEY | NJ | Public | 39,848 | 16,625,000 | Specialized | Eastern |
| NEW MEXICO STATE UNIV | NM | Public | 11,975 | 4,586,775 | Research | Rocky Mountain |
| UNIV NEVADA/ LAS VEGAS | NV | Public | 14,332 | 2,640,345 | Masters | Pacific Coast |
| COLGATE UNIV | NY | Private | 2,700 | 1,827,000 | Baccalaureate | Eastern |
| CORNELL UNIV | NY | Private | 18,428 | 13,400,000 | Research | Eastern |
| BOWLING GREEN STATE UNIV | OH | Public | 15,000 | 4,988,995 | Doctoral | Midwest |
| DENISON UNIV | OH | Private | 2,017 | 1,461,269 | Baccalaureate | Midwest |
| HIRAM | OH | Private | 1,066 | 703,494 | Baccalaureate | Midwest |
| MIAMI UNIV | OH | Public | 15,984 | 5,651,950 | Doctoral | Midwest |
| OHIO UNIV | OH | Public | 19,782 | 6,799,878 | Research | Midwest |
| XAVIER UNIV | OH | Private | 6,500 | 1,300,000 | Masters | Midwest |
| UNIV OF CENTRAL OKLAHOMA | OK | Public | 10,126 | 1,649,361 | Masters | Central |
| THE UNIV OF TULSA | OK | Private | 3,903 | 1,575,337 | Doctoral | Central |
| LEWIS & CLARK COLLEGE | OR | Private | 3,200 | 987,000 | Baccalaureate | Pacific Coast |
| LINFIELD COLLEGE | OR | Private | 1,516 | 805,255 | Masters | Pacific Coast |
| OREGON STATE UNIV | OR | Public | 14,300 | 5,603,264 | Research | Pacific Coast |
| PORTLAND STATE UNIV | OR | Public | 10,553 | 3,416,378 | Doctoral | Pacific Coast |
| UNIV OF OREGON | OR | Public | 17,207 | 4,470,945 | Research | Pacific Coast |
| CATLIN GABLIN SCHOOL | OR | Private | 870 | 159,139 | K12 | Pacific Coast |
| BRYN MAWR COLLEGE | PA | Private | 1,558 | 1,260,000 | Baccalaureate | Eastern |
| CARNEGIE MELLON UNIV | PA | Private | 7,379 | 3,884,211 | Research | Eastern |
| HARRISBURG AREA COM COLLEGE | PA | Public | 5,094 | 615,099 | Associate | Eastern |
| HAVERFORD COLLEGE | PA | Private | 1,125 | 1,281,200 | Baccalaureate | Eastern |
| MORAVIAN COLLEGE | PA | Private | 1,529 | 1,009,334 | Baccalaureate | Eastern |
| PENN STATE UNIV | PA | Public | 37,779 | 14,652,675 | Research | Eastern |
| PENN STATE/ HARRISBURG | PA | Public | 3,600 | 500,000 | Masters | Eastern |
| UNIV OF RHODE ISLAND | RI | Public | 9,008 | 3,211,369 | Research | Eastern |
| CITADEL MILITARY COLL/ SOUTH CAROLINA | SC | Public | 3,766 | 1,600,000 | Masters | Southeastern |
| FURMAN UNIV | SC | Private | 2,500 | 1,847,159 | Baccalaureate | Southeastern |
| MIDLANDS TECHNICAL COLLEGE | SC | Public | 5,958 | 600,000 | Associate | Southeastern |
| UNIV OF SOUTH CAROLINA/SPARTANBURG | SC | Public | 3,500 | 471,000 | Baccalaureate | Southeastern |
| BLACK HILLS STATE UNIV | SD | Public | 2,377 | 728,699 | Baccalaureate | Central |
| SOUTH DAKOTA STATE UNIV | SD | Public | 7,509 | 2,615,688 | Masters | Central |
| UNIV OF SOUTH DAKOTA | SD | Public | 6,197 | 1,974,506 | Doctoral | Central |
| UNIV OF MEMPHIS | TN | Public | 15,452 | 5,089,169 | Doctoral | Southeastern |
| MIDDLE TENNESSEE STATE UNIV | TN | Public | 15,455 | 3,753,017 | Doctoral | Southeastern |
| THE UNIV OF TENNESSEE/ KNOXVILLE | TN | Public | 21,389 | 12,894,555 | Research | Southeastern |
| UNIV OF THE SOUTH | TN | Private | 1,274 | 1,424,984 | Baccalaureate | Southeastern |
| UNIV OF NORTH TEXAS | TX | Public | 18,804 | 4,252,568 | Doctoral | Central |
| ALAMO COMM COLLEGE DISTRICT | TX | Public | 39,667 | 2,350,684 | Associate | Central |
| ST. MARY'S UNIV | TX | Private | 3,737 | 1,035,555 | Masters | Central |
| TARLETON STATE UNIV | TX | Public | 6,474 | 1,404,171 | Masters | Central |
| TEXAS LUTHERAN UNIV | TX | Private | 1,344 | 600,000 | Baccalaureate | Central |
| TEXAS WESLEYAN UNIV | TX | Private | 3,172 | 635,071 | Masters | Central |
| TRINITY UNIV | TX | Private | 2,325 | 2,037,608 | Masters | Central |
| UNIV OF TEXAS/ ARLINGTON | TX | Public | 17,165 | 3,854,050 | Doctoral | Central |
| UNIV OF TEXAS/ PERMIAN BASIN | TX | Public | 1,444 | 475,456 | Masters | Central |
| TEXAS A&M UNIV/ CORPUS CHRISTI | TX | Public | 4,403 | 679,406 | Masters | Central |
| TEXAS A&M UNIV/ TEXARKANA | TX | Public | 667 | 74,600 | Masters | Central |
| UNIV OF UTAH | UT | Public | 23,574 | 8,497,251 | Research | Rocky Mountain |
| SALT LAKE COMM COLLEGE | UT | Public | 12,731 | 1,595,020 | Associate | Rocky Mountain |
| COLLEGE OF WILLIAM & MARY | VA | Public | 7,571 | 3,013,339 | Doctoral | Southeastern |
| JAMES MADISON UNIV | VA | Public | 12,877 | 3,713,348 | Masters | Southeastern |
| RADFORD UNIV | VA | Public | 8,377 | 2,228,865 | Masters | Southeastern |
| VIRGINIA COMMONWEALTH UNIV | VA | Public | 18,121 | 4,856,257 | Research | Southeastern |
| UNIV OF VIRGINIA | VA | Public | 18,417 | 11,383,838 | Research | Southeastern |
| VIRGINIA POLYTECH INST & STATE UNIV | VA | Public | 25,213 | 7,779,792 | Research | Southeastern |
| VIRGINIA INST OF MARINE SCIENCE | VA | Public | 115 | 277,758 | Specialized | Eastern |
| FAIRFAX COUNTY PUBLIC SCHOOLS | VA | Public | 149,830 | 21,446,088 | K12 | Southeastern |
| PRINCE WILLIAM CNTY PUB SCHOOLS | VA | Public | 51,638 | 5,829,822 | K12 | Southeastern |
| LOUDOUN COUNTY PUBLIC SCHOOLS | VA | Public | 26,091 | 3,400,000 | K12 | Southeastern |
| NORWICH UNIV | VT | Private | 2,593 | 1,129,802 | Masters | Eastern |
| UNIV OF WASHINGTON | WA | Public | 33,600 | 16,156,000 | Research | Pacific Coast |
| WESTERN WASHINGTON UNIV | WA | Public | 10,890 | 2,852,230 | Masters | Pacific Coast |
| MARQUETTE UNIV | WI | Private | 8,996 | 4,342,081 | Doctoral | Midwest |
| UNIV OF WISCONSIN/ MILWAUKEE | WI | Public | 15,594 | 5,219,186 | Research | Midwest |
| UNIV OF WISCONSIN/ LA CROSSE | WI | Public | 8,080 | 2,170,250 | Masters | Midwest |
| UNIV OF WISCONSIN/ RIVER FALLS | WI | Public | 5,100 | 1,680,000 | Masters | Midwest |
| UNIV OF WISCONSIN/ STEVENS POINT | WI | Public | 7,673 | 2,447,955 | Masters | Midwest |
| UNIV OF WISCONSIN/ WHITE WATER | WI | Public | 8,901 | 2,446,054 | Masters | Midwest |
| WEST VIRGINIA UNIV | WV | Public | 23,000 | 6,076,372 | Research | Southeastern |
| UNIV OF WYOMING | WY | Public | 11,094 | 6,075,639 | Research | Rocky Mountain |
| LARAMIE CNTY COMM COLLEGE | WY | Public | 2,623 | 602,864 | Associate | Rocky Mountain |
| UNIV OF ALBERTA | ALB | Public | 26,977 | 11,904,628 | Research | Rocky Mountain |
| BRITISH COLUMBIA INST OF TECH | BC | Public | 15,134 | 2,330,604 | Associate | Pacific Coast |
| OKANAGAN UNIV COLLEGE | BC | Public | 6,045 | 93,118 | Baccalaureate | Pacific Coast |
| UNIV OF MANITOBA | MAN | Public | 21,083 | 5,319,374 | Research | Central |
| MEM UNIV/ NEWFOUNDLAND & LABRADOR | NEW | Public | 15,822 | 2,799,923 | Masters | Eastern |
| ST. FRANCIS XAVIER UNIV | NOV | Public | 3,200 | 1,000,000 | Baccalaureate | Eastern |
| UNIV COLLEGE OF CAPE BRETON | NOV | Public | 3,200 | 589,241 | Baccalaureate | Eastern |
| UNIV OF WESTERN ONTARIO | ONT | Public | 21,629 | 6,246,700 | Research | Eastern |
| UNIV OF WINDSOR | ONT | Public | 4,725 | 2,437,800 | Doctoral | Eastern |
| YORK UNIV | ONT | Public | 33,795 | 5,749,194 | Research | Eastern |
| MCGILL UNIV | QUE | Public | 21,325 | 7,607,320 | Research | Eastern |
| UNIVERSITE' LAVAL | QUE | Public | 24,779 | 7,222,400 | Research | Eastern |