## ecal_tb_inv
Fermilab PREP Equipment Loan to Protvino
Russian Customs Needs a Picture of each item, sorted by shipping box | [8 empty] | Blue Background indicates hand carried, from Julia Yarba
Electronics: 10 year straight-line depreciation to a 2% minimum value | [8 empty] | Yellow Background indicates equipment from the Bay Test Stand
Computers: 5 year straight-line depreciation to a 2% minimum value | [7 empty] | 2001 | Light Blue background indicates equipment new issue from PREP
Index | Manufacturer | Post-Shipment Change?(Date) | IHEP/FNAL Attachment number | Box# | Model (Class_Name) | Po_Date | Po_Item_Cost | Depreciated Value | Property Number | Serial Number | Qnty | Description
1 | LeCroy |  | 2 1 | A | 2285a | 1983 | 2156 | 43 | 42638 | 67626 | 1 | CAMAC ADC |  | per Joel Butler (from Dave Carlson):
2 | LeCroy |  | 2 1 | A | 2285a | 1983 | 2156 | 43 | 42690 | 98118 | 1 | CAMAC ADC |  | electronics: | 10 year straight-line depreciation
3 | LeCroy |  | 2 1 | A | 2285a | 1983 | 2156 | 43 | 42676 | 63764 | 1 | CAMAC ADC |  |  | to a minimum of 2%
4 | LeCroy |  | 2 1 | A | 2285a | 1983 | 2156 | 43 | 42641 | 63474 | 1 | CAMAC ADC |  | computers: | 5 year straight-line depreciation
5 | LeCroy |  | 2 1 | A | 2285a | 1983 | 2156 | 43 | 42661 | 63480 | 1 | CAMAC ADC |  |  | to a minimum of 2%
6 | LeCroy |  | 2 1 | A | 2285a | 1983 | 2156 | 43 | 42684 | 98111 | 1 | CAMAC ADC
7 | LeCroy |  | 2 1 | A | 2280 | 1980 | 2500 | 50 | 34192 | 53475 | 1 | CAMAC ADC controller
8 | LeCroy |  | 2 1 | A | 2280 | 1987 | 4095 | 82 | 60941 | A02170 | 1 | CAMAC ADC controller
9 | Fermilab |  | 2 1 | A | 156 | 1976 | 495 | 10 | 506447 | 18 | 1 | CAMAC Power Supply Controller
10 | Fermilab |  | 2 1 | A | 156 | 1976 | 490 | 10 | 507434 | 89 | 1 | CAMAC Power Supply Controller
11 | KinSys |  | 2 1 | A | 3290 | 1975 | 495 | 10 | 22093 | 111 | 1 | CAMAC Dataway display
12 | KinSys |  | 2 1 | A | 3290 | 1978 | 495 | 10 | 27641 | 188 | 1 | CAMAC Dataway display
13 | Fermilab |  | 2 1 | A | RFD04 | 1987 | 300 | 6 | 514324 | N/A | 1 | CAMAC NIM to ECL conv
14 | Fermilab |  | 2 1 | A | RFD05 | 1987 | 300 | 6 | 538566 | N/A | 1 | CAMAC ECL to NIM conv
15 | Jorway |  | 2 1 | A | 41 | 1983 | 395 | 8 | 43355 | 217 | 1 | CAMAC Output register
16 | Jorway |  | 2 1 | A | 51 | 1987 | 640 | 13 | 61523 | 192 | 1 | CAMAC Visual branch terminator
17 | Jorway |  | 2 1 | A | 65 | 1986 | 400 | 8 | 58565 | 163 | 1 | CAMAC Input Register
18 | Jorway |  | 2 1 | A | 71b | 1988 | 1496 | 30 | 64840 | 380 | 1 | CAMAC Type A2 crate contr | w/ gradded LAM conn on back
19 | Jorway |  | 2 1 | A | 71b | 1988 | 1496 | 30 | 64853 | 397 | 1 | CAMAC Type A2 crate contr | w/ gradded LAM conn on back
20 | DSP Tech |  | 2 1 | A | 850C | 1984 | 512 | 10 | 50391 | 6010 | 1 | CAMAC Crate
21 | DSP Tech |  | 2 1 | A | 860F | 1986 | 359 | 7 | 512388 | 6893 | 1 | Fan,Crate,CAMAC
22 | DSP Tech |  | 2 1 | A | 860P | 1987 | 800 | 16 | 13606 | 7077 | 1 | Camac PS 6V50A, 12V3A, 24V6A
23
24
25 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540624 | B37484 | 1 | TDC Camac 32Ch 16Bit Multihit
26 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540712 | B37423 | 1 | TDC Camac 32Ch 16Bit Multihit
27 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 534758 | B36655 | 1 | TDC Camac 32Ch 16Bit Multihit
28 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540376 | B36688 | 1 | TDC Camac 32Ch 16Bit Multihit
29 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540461 | B37417 | 1 | TDC Camac 32Ch 16Bit Multihit
30 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540561 | B37428 | 1 | TDC Camac 32Ch 16Bit Multihit
31 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540562 | B37413 | 1 | TDC Camac 32Ch 16Bit Multihit
32 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540720 | B37388 | 1 | TDC Camac 32Ch 16Bit Multihit
33 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 540786 | B37402 | 1 | TDC Camac 32Ch 16Bit Multihit
34 | LeCroy |  | 2 2 | T | 3377 | 1994 | 2050 | 615 | 544193 | B49211 | 1 | TDC Camac 32Ch 16Bit Multihit | Need to verify the data for this 3377
35 | LeCroy |  | 2 2 | T | 4222 | 1987 | 3412 | 68 | 61988 | 86078 | 1 | CAMAC Gate and delay gen
36 | LeCroy |  | 2 2 | T | 2551 | 1983 | 1395 | 28 | 44264 | A01125 | 1 | CAMAC Scaler
37 | LeCroy |  | 2 2 | T | 2551 | 1977 | 1235 | 25 | 25524 | 27547 | 1 | CAMAC Scaler
38 | LeCroy |  | 2 2 | T | 2132 | 1980 | 807 | 16 | 32678 | 42339 | 1 | CAMAC HV interface
39 | DSP Tech |  | 2 2 | T | 860C | 1986 | 1000 | 20 | 59355 | 6893 | 1 | CAMAC Crate
40 | DSP Tech |  | 2 2 | T | 860F | 1987 | 458 | 9 | 513445 | 7069 | 1 | Fan,Crate,CAMAC
41 | DSP Tech |  | 2 2 | T | 860P | 1986 | 900 | 18 | 512392 | 6893 | 1 | Camac PS 6V50A,12V3A,24V6A
42
43
44 | SEC |  | 2 3 | CMC1 | SEC: 850C | 1984 | 512 | 10 | 50365 | 5976 | 1 | CRATE,CAMAC
45 | SEC |  | 2 3 | CMC1 | SEC: 850F | 1985 | 291 | 6 | 509617 | 6371 | 1 | FAN,CRATE,CAMAC
46 | SEC |  | 2 3 | CMC1 | SEC: PCS850 | 1984 | 1000 | 20 | 509115 | 5976 | 1 | Camac PS 6V50A,12V3A,24V6A
47
48 | [7 empty] | 6898 |  |  |  | Subtotal of the 3 CAMAC subsystems
49 | LeCroy |  | 5 | HV1 | 1449M | 1983 | 1500 | 30 | 42383 | 93404 | 1 | HV 1440 system mainframe
50 | FNAL |  | 5 | HV1 | <homemade> | 1983 | 20 | 0 | n/a | n/a | 1 | Power cord for 1440 Mainframe
51 | LeCroy |  | 5 | HV1 | 1445 | 1983 | 900 | 18 | 510554 | 99264 | 1 | HV controller for 1440 Sys
52 | LeCroy |  | 5 | HV1 | 1441 | 1983 | 2350 | 47 | 44535 | 69266 | 1 | LV Power supply for 1440 Sys
53 | LeCroy |  | 5 | HV1 | 1442 | 1982 | 1950 | 39 | 39398 | 66808 | 1 | Power supply for 1440
54 | LeCroy |  | 5 | HV1 | 1442 | 1982 | 1950 | 39 | 44561 | 69676 | 1 | Power supply for 1440
55 | LeCroy |  | 5 | HV1 | 1443NF/12 | 1983 | 1300 | 26 | 49909 | A02647 | 1 | 1440 Sys 16 Chan Neg HV Card
56 | LeCroy |  | 5 | HV1 | 1443NF/12 | 1984 | 1193 | 24 | 49891 | A02517 | 1 | 1440 Sys 16 Chan Neg HV Card
57 | LeCroy |  | 5 | HV1 | 1443NF/12 | 1983 | 1428 | 29 | 42458 | 92886 | 1 | 1440 Sys 16 Chan Neg HV Card
58 | LeCroy |  | 5 | HV1 | 1443NF/12 | 1988 | 1424 | 28 | 561915 | A38200 | 1 | 1440 Sys 16 Chan Neg HV Card
59 | LeCroy |  | 5 | HV1 | 1443PF/12 | 1986 | 1428 | 29 | 60059 | A28922 | 1 | 1440 Sys 16 Chan Pos HV Card
60 | LeCroy |  | 5 | HV1 | 1443PF/12 | 1986 | 1428 | 29 | 60060 | A28963 | 1 | 1440 Sys 16 Chan Pos HV Card
61 | LeCroy |  | 5 | HV1 | 1443PF/12 | 1988 | 1419 | 28 | 64970 | A40094 | 1 | 1440 Sys 16 Chan Pos HV Card
62 | LeCroy |  | 5 | HV1 | 1443PF/12 | 1988 | 1419 | 28 | 64988 | A38435 | 1 | 1440 Sys 16 Chan Pos HV Card
63 | LeCroy |  | 5 | HV1 | 1443PF/12 | 1986 | 1360 | 27 | 57396 | A29088 | 1 | 1440 Sys 16 Chan Pos HV Card
64
65 | [7 empty] | 421
66 | Dawn |  | 3 | VME1 | 11.1009 | 1996 | 3370 | 1685 | 545120 | n/a | 1 | VME crate
67
68
69 | LeCroy |  | 4 2 | Nim2 | 429 | 1975 | 436 | 9 | 21767 | 18420 | 1 | NIM 4Chan Logic FAN In/Out
70 | LeCroy |  | 4 2 | Nim2 | 429 | 1975 | 436 | 9 | 21734 | 17999 | 1 | NIM 4Chan Logic FAN In/Out
71 | LeCroy |  | 4 2 | Nim2 | 429 | 1976 | 545 | 11 | 23783 | 22130 | 1 | NIM 4Chan Logic FAN In/Out
72 | LeCroy |  | 4 2 | Nim2 | 612AM | 1977 | 851 | 17 | 26236 | 29857 | 1 | NIM 12chan X10 Photomultiplier Amp
73 | LeCroy |  | 4 2 | Nim2 | 612AM | 1976 | 798 | 16 | 24621 | 27574 | 1 | NIM 12chan X10 Photomultiplier Amp
74 | LeCroy |  | 4 2 | Nim2 | 621AL | 1974 | 695 | 14 | 15975 | 13287 | 1 | NIM 4chan 100Mhz Discriminator
75 | LeCroy |  | 4 2 | Nim2 | 364 | 1971 | 595 | 12 | 3169 | 6773 | 1 | NIM 2 chan 4-fold Majority Logic
76 | LeCroy |  | 4 2 | Nim2 | 364 | 1971 | 495 | 10 | 1961 | 6760 | 1 | NIM 2 chan 4-fold Majority Logic
77 | LeCroy |  | 4 2 | Nim2 | 364 | 1972 | 595 | 12 | 5684 | 7469 | 1 | NIM 2 chan 4-fold Majority Logic
78 | LeCroy |  | 4 2 | Nim2 |  | 1974 | 695 | 14 | 19195 | 15528 | 1 | NIM 2 Chan Gate Generator
79 | LeCroy |  | 4 2 | Nim2 | 222 | 1977 | 788 | 16 | 25154 | 28969 | 1 | NIM 2 Chan Gate Generator
80 | Mechtronics |  | 4 2 | Nim2 | 500 | 1978 | 250 | 5 | 502432 | 1008 | 1 | NIM Pulse Amplifier, 16-512x
81 | MechTron |  | 4 2 | Nim2 | 3034 | 1987 | 410 | 8 | 513754 | 87100600 | 1 | NIM BIN
82 | PD |  | 4 2 | Nim2 | AEC-320-9 | 1987 | 760 | 15 | 513795 | 707584 | 1 | NIM BIN PS 6v10a,12v3a,24v1.5a
83
84
85 | MechTron |  | 4 1 | Nim1 | 151 | 1975 | 228 | 5 | 21493 | 501009 | 1 | NIM BIN
86 | PD |  | 4 1 | Nim1 | AEC-320-9 | 1987 | 726 | 15 | 513550 | 705312 | 1 | NIM BIN PS 6v10a,12v3a,24v1.5a
87
88 | [7 empty] | 188 |  |  |  | subtotal of the 3 NIM subsystems
89 | Jorway |  |  | CBL1 in MISC | BH-1M26 | 1978 | 205 | 4 | 503642 | 630 | 1 | branch CAMAC cable, 1 meter
90 | Jorway |  |  | CBL1 in MISC | BH-1M26 | 1978 | 205 | 4 | 503623 | 618 | 1 | branch CAMAC cable, 1 meter
91 | Jorway |  |  | CBL1 in MISC | BH-1M26 | 1982 | 214 | 4 | 505677 | 1013 | 1 | branch CAMAC cable, 1 meter
92 | Bit3 |  |  | CBL1 in MISC | <homemade> | 1982 | 30 | 1 | n/a | n/a | 1 | VME-PCI Interface cable
93 | Mechtronics |  |  | CBL1 in MISC | 404 | 1978 | 125 | 3 | 502467 | 302008 | 1 | Preamp, FET Low Noise, 7500X
94 | Micron |  | 1 | CBL1 in MISC | RT5158TW | 1996 | 30 | 1 | n/a | 32771352 | 1 | Keyboard | Estimated Cost. 5 year depreciation!
95 | Microsoft |  | 1 | CBL1 in MISC | 2.1A | 1996 | 15 | 0 | n/a | 649023 | 1 | Mouse | Estimated Cost. 5 year depreciation!
96 | Micron |  | 1 | CBL1 in MISC | <n/a> | 1996 | 3 | 0 | n/a | n/a | 1 | Mouse pad | Estimated Cost. 5 year depreciation!
97 | Fermilab |  |  | SC1 in MISC | FERMI: RFDVS | 1989 | 764 | 15 | 552643 | n/a | 1 | Scaler, Visual, 3 Channel, 100MHz, Rackmount, w power cord
98 | Fermilab |  |  | SC1 in MISC | FERMI: RFDVS | 1983 | 764 | 15 | 552724 | n/a | 1 | Scaler, Visual, 3 Channel, 100MHz, Rackmount, w power cord
99 | Fermilab |  |  | SC1 in MISC | FERMI: RFDVS | 1983 | 764 | 15 | 552065 | n/a | 1 | Scaler, Visual, 3 Channel, 100MHz, Rackmount, w power cord
100 | Fermilab |  |  | SC1 in MISC | FERMI: RFDVS | 1983 | 764 | 15 | 515675 | n/a | 1 | Scaler, Visual, 3 Channel, 100MHz, Rackmount, w power cord
101 | CES |  | 3 | SC1 in MISC | CBD8210 | 1996 | 4263 | 2132 | 543733 | 945 | 1 | VME Camac branch driver
102 | FNAL |  |  | PP-96/16 in MISC | PP-96/16 <homemade> | 1986 | 50 | 1 | n/a | n/a | 1 | Patch panel attached to 16 Ribbon Coax Cables for 2280 ADC System
103 | FNAL |  | 5 | MISC | <Homemade> | 2000 | 133 | 120 | n/a | BTeV-1 - 60 | 60 | 60 meter HV Cables | Estimated Cost.
104 | Tektronix |  | 6 | MISC | K212 | 1987 | 297 | 6 | 513527 | n/a | 1 | Oscilloscope, Portable Cart | extrapolated from other carts
105 | Tektronix |  | 6 | MISC | K212 | 1987 | 297 | 6 | 545355 | n/a | 1 | Oscilloscope, Portable Cart | extrapolated from other carts
106 | Polymicro Technologies | <Handcarried> |  | FIBER1 in MISC | Part# 2001562-000 | 2001 | 5000 | 5000 | n/a | n/a | 1 | One 250 Meter Reel of 300 Micron Quartz Fiber
107 | Hamamatsu PhotoMultiplier Tubes (PMT's) | <Handcarried> |  | PMT in MISC | R5800 | 2001 | 3360 | 3360 | CA596-601, 604, 609-612, 614, 616-617, 621-623, 626, 628, 633, 637-638, 641, 645 |  |  | 2 original shipping boxes "PMT1" and "PMT2" are both packed in the original outer box marked "PMT", in box MISC. 24 new PMT's @ $140 each total $3360. | CA639, CA640 & CA646, kept at FNAL for testing. Original invoice cost includes bases left at Fermilab.
108
109
110 | Tektronix |  | 6 | Osc1 in MISC | 2465A | 1986 | 5780 | 116 | 60275 | B013850 | 1 | Oscilloscope, 4Chan 350Mhz
111 | Tektronix |  | 6 | Osc1 in MISC | 2465B | 1989 | 5150 | 103 | 68625 | B050534 | 1 | Oscilloscope w/power cord & probe bag
112 | Tektronix |  | 6 | Osc1 in MISC | P6136 | 1987 | 100 | 2 | 549857 | n/a | 1 | Oscilloscope, Passive Probe (in probe bag) | extrapolated from other P6136 probes
113 | Tektronix |  | 6 | Osc1 in MISC | P6136 | 1987 | 100 | 2 | 546119 | n/a | 1 | Oscilloscope, Passive Probe (in probe bag) | extrapolated from other P6136 probes
114 | [7 empty] | 223
115 | Micron |  | 1 |  | Lxa M55HIPLUS- P200-MT | 1997 | 2367 | 473 | 545627 | 980800-004 | 1 | PC Pentium w power cord. Sensitive Item # 53444, System Tag # S07092. | 5 year depreciation!
116 | Sony |  | 1 |  | CPP-17sf-2 | 1996 | 851 | 17 | 542332 | 7133525 | 1 | Display with power cord. | 5 year depreciation!
117
118 | LeCroy |  |  | Julia Handcarry | ASB | 1983 | 70 | 1 | 564098 | n/a | 1 | ASB cable for 2280 w unmarked ASBT | w/unmarked ASBT
119 | LeCroy |  |  | Julia Handcarry | CRD-ASBT | 1983 | 30 | 1 | 511499 | n/a | 1 | Card, ASB Terminator for 2280 Sys
120 | LeCroy |  |  | Julia Handcarry | CBL-ASB | 1983 | 70 | 1 | 538725 | n/a |  | Cable, ASB for 2280 ADC Sys
121 | LeCroy | PREP return dated 2/12/01 |  | Not Sent | CBL-ASB | 1983 | 70 | 0 | 505616 | n/a | 1 | Cable, ASB for 2280 ADC Sys Returned to PREP dated 2/12/01
122 | LeCroy | PREP return dated 2/12/01 |  | Not Sent | CRD-ASBT | 1983 | 30 | 0 | 513440 | n/a | 1 | Card, ASB Terminator for 2280 Sys Returned to PREP dated 2/12/01
123 | LeCroy | PREP return dated 2/12/01 |  | Not Sent | 4501 | [6 empty] | Nim to Camac converter Returned to PREP dated 2/12/01
124 | FNAL |  |  | Julia Handcarry | <homemade> | 1983 | 30 | 1 | n/a | n/a | 1 | Serial Control Cable for 1440 Sys
125
126 | LeCroy |  |  | Not Sent | 4501 | [6 empty] | Nim to Camac converter
127 | [6 empty] | Total: | 12287 |  |  |  | w/o subtotals, w/o PMT's & Fiber
Index | Manufacturer | Post-Shipment Change?(Date) |  | Box# | Model (Class_Name) | Po_Date | Po_Item_Cost | Depreciated Value | Property Number | Serial Number | Qnty | Description
The majority of the cost is attributable to a few items: | [10 empty] | use BTeV budget code "BAN"
But, | 6150 | index |  | 25 | through index | 34 | reflects the current value of the 3377 TDC modules.
and | 2132 | index |  | 101 |  |  | reflects the current value of the CBD Camac Branch Driver VME module
|  |  |  | 490 | index | 115 | through index | 116 | reflects the computer CPU & Monitor cost
|  |  |  | 1 | index | 94 | through index | 96 | reflects the computer Keyboard, Mouse & Mousepad cost
and | 491 | [5 empty] | reflects the current value of the Computer System (CPU, Monitor, Keyboard, Mouse & Mouse pad)
|  |  |  | 223 | index | 110 | through index | 113 | reflects the Oscilloscopes and probes cost.
|  |  |  | 12 | index | 104 | through index | 105 | reflects the 2 scope carts cost.
and | 235 | [5 empty] | reflects the current value of the Oscilloscopes, scope-carts and probes.
total | 9008 | out of |  | 12287 | which is | 73.31% | of the total value of this shipment.
Reminder:
and | 3360 | index |  | 107 |  |  | reflects the Hamamatsu Phototube cost
and | 5000 | index |  | 106 |  |  | reflects the fiber-optic cable reel cost