DATE: February 27, 2007

Subject: Microbiological Contamination of Corn Cob Bedding

At the 2006 National AALAS meeting Dr. Julius Thigpen (NIEHS) reported that corncob bedding carries a higher microbiological load than other types of lab animal bedding and recommended that it should be autoclaved before using.    To confirm Dr. Thigpen’s observations I analyzed various types of lab animal bedding, used at the NIH in Bethesda, for microbiological concentrations.

I compared the microbiological load from seven types of lab animal bedding that was not autoclaved.  The results confirmed that the microbiological load for corncob bedding was greater than for other types of bedding (Table 1).   It was also positive for Listeria.

Table 1

| Fresh Bedding | Coliforms (MPN/g) | Aerobic Plate Count (cfu/g) | Listeria | Mold Count (cfu/g) | Yeast Count (cfu/g) |
| --- | --- | --- | --- | --- | --- |
| Corn Cob 1/8 | <3 | 80,000 | Positive | 1,000 | 3,000 |
| Corn Cob 1/4 | 3.6 | 2,600,000 | Positive | 260,000 | 200,000 |
| Hardwood | <3 | 300 | Negative | 33,000 | <10 |
| Pine Shavings | <3 | 400 | Negative | 30,000 | <10 |
| Tekchip | <3 | 2,000 | Negative | 10 | 600 |
| Paperchip | <3 | 7,000 | Negative | 50 | 70 |
| Tekfresh | <3 | 980 | Negative | 600 | <10 |

To determine if autoclaving corn cob bedding has an affect on the microbiological load of the bedding after exposure to animal waste, samples of bedding were either autoclaved or not and then placed in microisolator cages and 20 ml of a slurry made from dirty bedding was applied to each cage of bedding . The contaminated bedding was kept in the microisolator cages for two weeks before analyses. The results show that the autoclaved corncob bedding samples had lower bacteria and fungi concentrations and were negative for Listeria compared to corncob bedding that was not autoclaved (Table 2).

Table 2

| Used Bedding | Coliforms (MPN/g) | Aerobic Plate Count (cfu/g) | Listeria | Mold Count (cfu/g) | Yeast Count (cfu/g) |
| --- | --- | --- | --- | --- | --- |
| Corn Cob 1/8 autoclaved-1 | <3 | 7300 | Negative | 10 | <10 |
| Corn Cob ¼ autoclaved-2 | <3 | 5100 | Negative | <10 | <10 |
| Corn Cob 1/8 autoclaved-3 | 43 | 2,300,000 | Negative | <10 | 2,900 |
| Corn Cob 1/8 not autoclaved-1 | 460 | 110,000 | Positive | 30,000 | 20,000 |
| Corn Cob 1/4 not autoclaved- 2 | >1,100 | 1,800,000 | Positive | 200,000 | 70,000 |
| Corn Cob 1/8 not autoclaved- 3 | 460 | 270,000 | Positive | 40,000 | 20,000 |

Bedding is an excellent growth media for bacteria, yeasts, and fungi.  Noxious gases such as ammonia and carbon dioxide are products of animal waste and microbiological metabolism.   The effects of elevated carbon dioxide levels on murine physiological responses are unknown. However, elevated ammonia levels cause histological changes in respiratory mucosa and increase susceptibility to murine respiratory mycoplasmosis. They also reduce the drug-metabolizing activity of hepatic microsomal enzymes and thus potentially alter the responsiveness of animals to pharmacological studies (Weisbroth, 1979). Listeria can be pathogenic causing septicemia, meningitis, encephalitis, pneumonia, intrauterine or cervical infections resulting in abortions or still births.  Listeria contamination is an indicator of inadequate quality assurance post heat-processing at the production plant. Some yeasts and molds can be opportunistic pathogens causing infection in immunocompromised animals. Molds can produce mycotoxins that are harmful.  Mold spores can be allergenic. Aerobic plate count (APC) is intended to indicate the level of microorganisms in a product. APC can be used to indicate post heat-processing contamination. These surveys appear to confirm Dr. Thigpen’s results and suggest that corncob bedding should be autoclaved prior to using in lab animal cages.

Weisbroth, S. H. (1979) Chemical Contamination of Beddings: Problems and Recommendations. Lab Anim 8, 24-34.

Dennis Barnard

Lab Animal Nutritionist, MSc

DVR/ORS/NIH